## Result sheet
Method name: LS_241112_Fluorescence_Actino_Sample (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1708008206
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦PODI:V1.10.2
Date: |  |  |  | 2025-07-18
Time: |  |  |  | 11:02
System |  |  |  | IBVT171
User |  |  |  | IBVT171\Tecan
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Wait
Shaking
Wait
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Label 1
| Absorbance |  |  |  |  | blue 1
| Absorbance |  |  |  |  | blue 2
| Absorbance |  |  |  |  | red 1
| Absorbance |  |  |  |  | red 2
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | A1-A12;B1-B11
Start Time |  |  |  | 2025-07-18 10:39:26
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 30
Wait minimum [°C] |  |  |  | 29
Wait maximum [°C] |  |  |  | 31
End Time |  |  |  | 2025-07-18 10:39:26
Start Time |  |  |  | 2025-07-18 10:39:26
Shaking (Linear) Duration [s] |  |  |  | 7
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-07-18 10:39:33
Start Time |  |  |  | 2025-07-18 10:39:33
Wait (Time) hh:mm:ss |  |  |  | 00:05:01
Wait position |  |  |  | Current
End Time |  |  |  | 2025-07-18 10:44:34
Start Time |  |  |  | 2025-07-18 10:44:34
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-07-18 10:44:44
Start Time |  |  |  | 2025-07-18 10:44:44
Wait (Time) hh:mm:ss |  |  |  | 00:00:10
Wait position |  |  |  | Current
End Time |  |  |  | 2025-07-18 10:44:54
Mode | Fluorescence Intensity Scan Top Reading
Name | Label 1
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-A12;B1-B11
Start Time |  |  |  | 2025-07-18 10:44:54
Temperature [°C] |  |  |  | 29.9
Wavel. | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11
520 | 2820 | 2678 | 2314 | 45971 | 45607 | 28932 | 27859 | 9287 | 9040 | 9356 | 9213 | 5118 | 4971 | 4865 | 4637 | 9068 | 8909 | 9369 | 9677 | 6695 | 6970 | 6680 | 7686
522 | 470 | 751 | 311 | 46003 | 44971 | 28052 | 26420 | 8192 | 7896 | 8365 | 7852 | 3442 | 3501 | 3378 | 3603 | 6969 | 7047 | 7365 | 8112 | 4959 | 5719 | 5102 | 6101
524 | 387 | 722 | 241 | 46481 | 45293 | 28502 | 26754 | 8991 | 8577 | 9095 | 8554 | 3504 | 3563 | 3407 | 3660 | 6986 | 7074 | 7400 | 8131 | 5286 | 6087 | 5410 | 6491
526 | 382 | 741 | 238 | 46623 | 45708 | 28785 | 26979 | 9932 | 9511 | 9980 | 9420 | 3676 | 3697 | 3472 | 3735 | 7009 | 7197 | 7558 | 8283 | 5777 | 6619 | 5885 | 7021
528 | 387 | 764 | 235 | 46448 | 45749 | 29071 | 26960 | 10691 | 10196 | 10788 | 10050 | 3772 | 3769 | 3527 | 3811 | 7131 | 7315 | 7607 | 8330 | 6173 | 7200 | 6397 | 7672
530 | 387 | 791 | 236 | 46314 | 45505 | 29132 | 26874 | 11550 | 11071 | 11589 | 10857 | 3891 | 3907 | 3591 | 3867 | 7160 | 7332 | 7662 | 8386 | 6695 | 7929 | 6889 | 8399
532 | 389 | 810 | 237 | 46196 | 45387 | 29033 | 26827 | 12331 | 11726 | 12266 | 11447 | 3996 | 3951 | 3647 | 3907 | 7197 | 7389 | 7721 | 8448 | 7281 | 8679 | 7588 | 9044
534 | 386 | 827 | 239 | 45737 | 44879 | 28852 | 26477 | 12946 | 12366 | 12824 | 12015 | 4048 | 4035 | 3705 | 3934 | 7225 | 7442 | 7772 | 8501 | 7825 | 9400 | 8187 | 9742
536 | 385 | 848 | 242 | 45107 | 44132 | 28561 | 26183 | 13576 | 12884 | 13452 | 12540 | 4129 | 4096 | 3719 | 3945 | 7222 | 7462 | 7866 | 8573 | 8412 | 10093 | 8844 | 10572
538 | 385 | 861 | 240 | 44864 | 43684 | 28235 | 25850 | 13987 | 13245 | 13786 | 12933 | 4165 | 4158 | 3704 | 3987 | 7257 | 7495 | 7861 | 8580 | 8969 | 10812 | 9388 | 11179
540 | 394 | 883 | 242 | 44054 | 42746 | 28083 | 25473 | 14308 | 13603 | 14019 | 13304 | 4230 | 4199 | 3723 | 3971 | 7258 | 7572 | 7962 | 8652 | 9591 | 11569 | 10074 | 12041
542 | 395 | 894 | 245 | 43752 | 42317 | 27682 | 25173 | 14614 | 13783 | 14244 | 13415 | 4239 | 4218 | 3706 | 3934 | 7282 | 7622 | 8053 | 8687 | 10066 | 12145 | 10669 | 12593
544 | 392 | 925 | 253 | 42647 | 41600 | 27401 | 24706 | 14597 | 13659 | 14287 | 13330 | 4250 | 4262 | 3682 | 3912 | 7344 | 7688 | 8086 | 8768 | 10542 | 12840 | 11272 | 13371
546 | 390 | 931 | 260 | 41922 | 40683 | 27098 | 24434 | 14517 | 13688 | 14163 | 13366 | 4287 | 4260 | 3635 | 3862 | 7337 | 7732 | 8121 | 8749 | 11058 | 13295 | 11841 | 13882
548 | 395 | 946 | 260 | 40896 | 39627 | 26643 | 23803 | 14199 | 13504 | 13819 | 13093 | 4206 | 4237 | 3565 | 3799 | 7360 | 7662 | 8077 | 8740 | 11374 | 13685 | 12160 | 14257
550 | 392 | 969 | 260 | 39749 | 38563 | 26087 | 23308 | 13866 | 13081 | 13534 | 12690 | 4161 | 4158 | 3458 | 3667 | 7316 | 7642 | 8122 | 8756 | 11663 | 13993 | 12525 | 14614
552 | 401 | 960 | 267 | 38819 | 37618 | 25641 | 22853 | 13675 | 12783 | 13110 | 12414 | 4085 | 4125 | 3389 | 3598 | 7310 | 7714 | 8097 | 8735 | 11806 | 14249 | 12852 | 15000
554 | 401 | 980 | 272 | 37757 | 36483 | 25074 | 22276 | 13131 | 12427 | 12652 | 11939 | 4009 | 4036 | 3254 | 3453 | 7241 | 7626 | 8111 | 8723 | 11916 | 14421 | 12907 | 15232
556 | 402 | 968 | 278 | 36678 | 35476 | 24719 | 21689 | 12738 | 11932 | 12204 | 11492 | 3916 | 3979 | 3142 | 3340 | 7258 | 7607 | 8072 | 8725 | 11974 | 14398 | 13087 | 15327
558 | 399 | 983 | 281 | 35685 | 34650 | 24183 | 21237 | 12246 | 11544 | 11821 | 11106 | 3803 | 3903 | 3036 | 3228 | 7302 | 7576 | 8057 | 8706 | 12080 | 14468 | 13019 | 15341
560 | 409 | 991 | 279 | 34648 | 33506 | 23695 | 20740 | 11668 | 11106 | 11386 | 10646 | 3706 | 3818 | 2911 | 3082 | 7263 | 7628 | 8060 | 8741 | 12308 | 14609 | 13177 | 15440
562 | 398 | 989 | 285 | 33740 | 32604 | 23443 | 20372 | 11275 | 10689 | 10866 | 10306 | 3633 | 3744 | 2817 | 2978 | 7295 | 7628 | 8110 | 8667 | 12199 | 14566 | 13232 | 15513
564 | 403 | 998 | 283 | 32691 | 31419 | 22840 | 19790 | 10840 | 10247 | 10445 | 9812 | 3490 | 3610 | 2677 | 2847 | 7229 | 7589 | 8134 | 8688 | 12216 | 14568 | 13168 | 15431
566 | 408 | 1001 | 283 | 31519 | 30394 | 22359 | 19227 | 10361 | 9741 | 10098 | 9401 | 3366 | 3482 | 2540 | 2715 | 7303 | 7586 | 8051 | 8713 | 12223 | 14535 | 13070 | 15360
568 | 402 | 989 | 282 | 30320 | 29401 | 21697 | 18770 | 9889 | 9307 | 9666 | 9011 | 3268 | 3377 | 2442 | 2623 | 7191 | 7560 | 8090 | 8725 | 12180 | 14382 | 13034 | 15357
570 | 391 | 983 | 277 | 29126 | 28261 | 21131 | 18191 | 9382 | 8899 | 9134 | 8594 | 3131 | 3299 | 2320 | 2470 | 7234 | 7608 | 8011 | 8738 | 12038 | 14298 | 12847 | 15191
572 | 387 | 985 | 273 | 28199 | 27277 | 20532 | 17724 | 9033 | 8512 | 8755 | 8206 | 3037 | 3160 | 2226 | 2386 | 7208 | 7558 | 8021 | 8646 | 12103 | 14274 | 12831 | 15119
574 | 387 | 966 | 270 | 27105 | 26198 | 20009 | 17163 | 8593 | 8151 | 8316 | 7841 | 2937 | 3092 | 2096 | 2277 | 7242 | 7572 | 8030 | 8647 | 12033 | 14081 | 12760 | 14971
576 | 376 | 944 | 261 | 26166 | 25363 | 19556 | 16645 | 8244 | 7858 | 8016 | 7563 | 2820 | 2989 | 2027 | 2203 | 7253 | 7595 | 8099 | 8660 | 11950 | 14096 | 12558 | 14804
578 | 368 | 939 | 250 | 25306 | 24250 | 19053 | 16167 | 7910 | 7534 | 7648 | 7180 | 2738 | 2870 | 1946 | 2101 | 7299 | 7635 | 8024 | 8631 | 11847 | 14047 | 12453 | 14614
580 | 356 | 919 | 241 | 24312 | 23367 | 18355 | 15609 | 7577 | 7154 | 7321 | 6970 | 2649 | 2807 | 1867 | 2005 | 7227 | 7591 | 8053 | 8630 | 11817 | 13774 | 12384 | 14507
582 | 344 | 901 | 231 | 23396 | 22477 | 17938 | 15074 | 7314 | 6850 | 7046 | 6689 | 2568 | 2725 | 1806 | 1950 | 7318 | 7612 | 7972 | 8745 | 11702 | 13746 | 12187 | 14402
584 | 336 | 876 | 220 | 22406 | 21536 | 17339 | 14637 | 6953 | 6521 | 6760 | 6311 | 2464 | 2633 | 1732 | 1865 | 7264 | 7607 | 8021 | 8659 | 11619 | 13635 | 12072 | 14212
586 | 323 | 864 | 207 | 21762 | 20806 | 16817 | 14224 | 6691 | 6263 | 6473 | 6086 | 2393 | 2561 | 1683 | 1812 | 7291 | 7601 | 7972 | 8568 | 11479 | 13316 | 11893 | 13909
588 | 303 | 839 | 199 | 20725 | 20056 | 16201 | 13759 | 6333 | 5977 | 6202 | 5742 | 2322 | 2473 | 1610 | 1740 | 7232 | 7587 | 8003 | 8587 | 11304 | 13206 | 11743 | 13732
590 | 294 | 808 | 191 | 19919 | 19162 | 15802 | 13323 | 6032 | 5715 | 5882 | 5559 | 2244 | 2393 | 1565 | 1692 | 7166 | 7558 | 7918 | 8509 | 11211 | 13014 | 11509 | 13579
592 | 281 | 787 | 174 | 19216 | 18493 | 15269 | 12862 | 5783 | 5447 | 5597 | 5272 | 2175 | 2322 | 1501 | 1622 | 7174 | 7506 | 7935 | 8438 | 10986 | 12774 | 11291 | 13359
594 | 268 | 763 | 165 | 18387 | 17581 | 14760 | 12475 | 5433 | 5208 | 5392 | 5023 | 2109 | 2265 | 1450 | 1578 | 7157 | 7478 | 7879 | 8511 | 10869 | 12611 | 11224 | 13029
596 | 259 | 749 | 156 | 17716 | 16997 | 14376 | 12006 | 5212 | 4944 | 5085 | 4794 | 2038 | 2165 | 1387 | 1509 | 7087 | 7383 | 7820 | 8345 | 10538 | 12254 | 10914 | 12766
598 | 239 | 721 | 150 | 16867 | 16334 | 13981 | 11697 | 5007 | 4744 | 4890 | 4564 | 1980 | 2136 | 1365 | 1456 | 6988 | 7373 | 7757 | 8245 | 10463 | 11971 | 10629 | 12597
600 | 231 | 697 | 141 | 16229 | 15684 | 13441 | 11266 | 4721 | 4508 | 4626 | 4325 | 1871 | 2034 | 1303 | 1403 | 6957 | 7303 | 7641 | 8202 | 10106 | 11768 | 10342 | 12298
602 | 218 | 680 | 129 | 15526 | 14878 | 13058 | 10874 | 4469 | 4260 | 4390 | 4141 | 1821 | 1967 | 1256 | 1353 | 6924 | 7145 | 7574 | 8172 | 10001 | 11368 | 10188 | 11958
604 | 210 | 656 | 121 | 14950 | 14374 | 12650 | 10546 | 4250 | 4062 | 4254 | 3936 | 1764 | 1889 | 1214 | 1296 | 6831 | 7114 | 7480 | 8031 | 9753 | 11134 | 9880 | 11617
606 | 204 | 630 | 116 | 14370 | 13877 | 12156 | 10214 | 4077 | 3854 | 4003 | 3776 | 1707 | 1837 | 1196 | 1264 | 6724 | 6974 | 7413 | 7942 | 9573 | 10851 | 9654 | 11387
608 | 188 | 616 | 109 | 13797 | 13319 | 11891 | 9869 | 3882 | 3685 | 3844 | 3565 | 1641 | 1756 | 1144 | 1216 | 6607 | 6934 | 7270 | 7819 | 9309 | 10629 | 9365 | 11066
610 | 183 | 598 | 107 | 13325 | 12822 | 11665 | 9644 | 3723 | 3540 | 3695 | 3445 | 1591 | 1732 | 1109 | 1176 | 6600 | 6920 | 7157 | 7720 | 9089 | 10306 | 9266 | 10862
612 | 179 | 578 | 106 | 12781 | 12274 | 11186 | 9270 | 3541 | 3373 | 3503 | 3269 | 1533 | 1679 | 1084 | 1156 | 6506 | 6751 | 7062 | 7622 | 8983 | 10127 | 9021 | 10494
614 | 167 | 559 | 102 | 12266 | 11791 | 10818 | 8988 | 3370 | 3214 | 3346 | 3132 | 1466 | 1579 | 1033 | 1101 | 6371 | 6639 | 7030 | 7514 | 8745 | 9766 | 8718 | 10291
616 | 163 | 542 | 96 | 11718 | 11232 | 10441 | 8760 | 3199 | 3066 | 3208 | 2989 | 1412 | 1535 | 1002 | 1056 | 6273 | 6553 | 6884 | 7355 | 8504 | 9583 | 8422 | 9911
618 | 159 | 522 | 90 | 11278 | 10799 | 10121 | 8437 | 3069 | 2908 | 3033 | 2880 | 1366 | 1486 | 969 | 1037 | 6161 | 6406 | 6774 | 7253 | 8255 | 9323 | 8239 | 9668
620 | 152 | 514 | 88 | 10759 | 10350 | 9730 | 8104 | 2920 | 2759 | 2903 | 2707 | 1303 | 1418 | 927 | 994 | 6046 | 6330 | 6667 | 7154 | 8063 | 9071 | 8021 | 9382
622 | 145 | 495 | 82 | 10347 | 9880 | 9471 | 7815 | 2802 | 2697 | 2782 | 2613 | 1266 | 1370 | 904 | 960 | 5955 | 6154 | 6475 | 6967 | 7941 | 8895 | 7806 | 9130
624 | 145 | 474 | 81 | 9848 | 9456 | 9169 | 7526 | 2701 | 2551 | 2677 | 2508 | 1226 | 1337 | 873 | 930 | 5812 | 6118 | 6392 | 6882 | 7677 | 8574 | 7641 | 8832
626 | 136 | 463 | 76 | 9370 | 9132 | 8817 | 7296 | 2566 | 2448 | 2553 | 2405 | 1175 | 1281 | 844 | 886 | 5713 | 5942 | 6300 | 6767 | 7482 | 8341 | 7406 | 8606
628 | 129 | 453 | 73 | 9020 | 8735 | 8457 | 7043 | 2473 | 2333 | 2460 | 2309 | 1141 | 1257 | 825 | 879 | 5611 | 5844 | 6101 | 6566 | 7263 | 8117 | 7227 | 8347
630 | 124 | 429 | 74 | 8659 | 8339 | 8163 | 6745 | 2364 | 2243 | 2363 | 2192 | 1103 | 1212 | 797 | 846 | 5509 | 5757 | 5957 | 6431 | 7056 | 7910 | 6932 | 8050
632 | 123 | 414 | 72 | 8250 | 7894 | 7926 | 6528 | 2268 | 2137 | 2266 | 2109 | 1058 | 1165 | 784 | 830 | 5414 | 5624 | 5854 | 6335 | 6836 | 7635 | 6799 | 7850
634 | 120 | 404 | 69 | 7977 | 7667 | 7585 | 6313 | 2200 | 2070 | 2189 | 2041 | 1036 | 1133 | 759 | 812 | 5292 | 5513 | 5752 | 6202 | 6688 | 7433 | 6633 | 7688
636 | 115 | 387 | 65 | 7645 | 7348 | 7348 | 6043 | 2095 | 1970 | 2131 | 1949 | 1007 | 1107 | 743 | 800 | 5220 | 5443 | 5608 | 6083 | 6531 | 7250 | 6448 | 7430
638 | 109 | 377 | 61 | 7315 | 7024 | 7103 | 5787 | 2025 | 1932 | 2047 | 1884 | 984 | 1071 | 749 | 785 | 5052 | 5287 | 5562 | 5951 | 6302 | 7052 | 6256 | 7226
640 | 103 | 361 | 65 | 6979 | 6756 | 6896 | 5637 | 1947 | 1828 | 1954 | 1810 | 954 | 1048 | 725 | 777 | 4931 | 5198 | 5398 | 5804 | 6075 | 6815 | 6036 | 7028
End Time | 29.9 A4: 2025-07-18 11:01:25
Mode | A1: Absorbance
Name | A1: blue 1
Measurement wavelength [nm] | 29.9 A4: 640
Number of flashes | 29.9 A4: 10
Settle time [ms] | 29.9 A4: 50
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-07-18 11:01:29
Temperature [°C] | 29.9 A4: 30
<> | A1: 1; A2: 2; A3: 3; 29.9 A4: 4; 29.9 A5: 5; 29.9 A6: 6; 29.9 A7: 7; 29.9 A8: 8; 29.9 A9: 9; 29.9 A10: 10; 29.9 A11: 11; 29.9 A12: 12
A | A1: 0.0409; A2: 0.0851; A3: 0.0406; 29.9 A4: 0.0683; 29.9 A5: 0.0709; 29.9 A6: 0.0586; 29.9 A7: 0.0582; 29.9 A8: 0.1971; 29.9 A9: 0.1945; 29.9 A10: 0.2311; 29.9 A11: 0.2153; 29.9 A12: 0.5575
B | A1: 0.4741; A2: 1.9033; A3: 1.7119; 29.9 A4: 0.0528; 29.9 A5: 0.0583; 29.9 A6: 0.0553; 29.9 A7: 0.0555; 29.9 A8: 0.0494; 29.9 A9: 0.0498; 29.9 A10: 0.0505; 29.9 A11: 0.0527
C
D
E
F
G
H
End Time | 29.9 A4: 2025-07-18 11:01:37
Mode | A1: Absorbance
Name | A1: blue 2
Measurement wavelength [nm] | 29.9 A4: 640
Number of flashes | 29.9 A4: 10
Settle time [ms] | 29.9 A4: 50
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-07-18 11:01:40
Temperature [°C] | 29.9 A4: 30
<> | A1: 1; A2: 2; A3: 3; 29.9 A4: 4; 29.9 A5: 5; 29.9 A6: 6; 29.9 A7: 7; 29.9 A8: 8; 29.9 A9: 9; 29.9 A10: 10; 29.9 A11: 11; 29.9 A12: 12
A | A1: 0.0411; A2: 0.0873; A3: 0.0409; 29.9 A4: 0.069; 29.9 A5: 0.0709; 29.9 A6: 0.0584; 29.9 A7: 0.0584; 29.9 A8: 0.2296; 29.9 A9: 0.2381; 29.9 A10: 0.2746; 29.9 A11: 0.2716; 29.9 A12: 0.6353
B | A1: 0.5542; A2: 2.0032; A3: 1.8634; 29.9 A4: 0.053; 29.9 A5: 0.0582; 29.9 A6: 0.0554; 29.9 A7: 0.0557; 29.9 A8: 0.0493; 29.9 A9: 0.0497; 29.9 A10: 0.0505; 29.9 A11: 0.0526
C
D
E
F
G
H
End Time | 29.9 A4: 2025-07-18 11:01:48
Mode | A1: Absorbance
Name | A1: red 1
Measurement wavelength [nm] | 29.9 A4: 530
Number of flashes | 29.9 A4: 10
Settle time [ms] | 29.9 A4: 50
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-07-18 11:01:51
Temperature [°C] | 29.9 A4: 30
<> | A1: 1; A2: 2; A3: 3; 29.9 A4: 4; 29.9 A5: 5; 29.9 A6: 6; 29.9 A7: 7; 29.9 A8: 8; 29.9 A9: 9; 29.9 A10: 10; 29.9 A11: 11; 29.9 A12: 12
A | A1: 0.0437; A2: 0.1094; A3: 0.0434; 29.9 A4: 0.123; 29.9 A5: 0.1264; 29.9 A6: 0.1292; 29.9 A7: 0.1455; 29.9 A8: 0.1622; 29.9 A9: 0.1745; 29.9 A10: 0.1829; 29.9 A11: 0.1744; 29.9 A12: 0.3236
B | A1: 0.2889; A2: 0.8403; A3: 0.7964; 29.9 A4: 0.1851; 29.9 A5: 0.2045; 29.9 A6: 0.2047; 29.9 A7: 0.2054; 29.9 A8: 0.3181; 29.9 A9: 0.3598; 29.9 A10: 0.3768; 29.9 A11: 0.3911
C
D
E
F
G
H
End Time | 29.9 A4: 2025-07-18 11:01:58
Mode | A1: Absorbance
Name | A1: red 2
Measurement wavelength [nm] | 29.9 A4: 530
Number of flashes | 29.9 A4: 10
Settle time [ms] | 29.9 A4: 50
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-07-18 11:02:01
Temperature [°C] | 29.9 A4: 30
<> | A1: 1; A2: 2; A3: 3; 29.9 A4: 4; 29.9 A5: 5; 29.9 A6: 6; 29.9 A7: 7; 29.9 A8: 8; 29.9 A9: 9; 29.9 A10: 10; 29.9 A11: 11; 29.9 A12: 12
A | A1: 0.0438; A2: 0.1095; A3: 0.0441; 29.9 A4: 0.1229; 29.9 A5: 0.1265; 29.9 A6: 0.1294; 29.9 A7: 0.1454; 29.9 A8: 0.1618; 29.9 A9: 0.1723; 29.9 A10: 0.183; 29.9 A11: 0.1762; 29.9 A12: 0.3271
B | A1: 0.2908; A2: 0.8433; A3: 0.8035; 29.9 A4: 0.1853; 29.9 A5: 0.2044; 29.9 A6: 0.2042; 29.9 A7: 0.2053; 29.9 A8: 0.3179; 29.9 A9: 0.3598; 29.9 A10: 0.3767; 29.9 A11: 0.3906
C
D
E
F
G
H
End Time | 29.9 A4: 2025-07-18 11:02:08
Ex | Blank | BlankB | BlankR | DOE 11.7 | DOE 11.7 | DOE 12.7 | DOE 12.7 | DOE 11.7 | DOE 11.7 | DOE 11.7 | DOE 11.7 | DOE 12.7 | DOE 12.7 | DOE 12.7 | DOE 12.7 | DOE 11.7 | DOE 11.7 | DOE 11.7 | DOE 11.7 | DOE 12.7 | DOE 12.7 | DOE 12.7 | DOE 12.7
Ex | Blank | BlankB | BlankR | f | f | f | f | b | b | b | b | b | b | b | b | r | r | r | r | r | r | r | r
Ex | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1