## Result sheet
Method name: LS_241112_Fluorescence_Actino_Sample (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1708008206
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦PODI:V1.10.2
Date: |  |  |  | 2025-06-27
Time: |  |  |  | 12:45
System |  |  |  | IBVT171
User |  |  |  | IBVT171\Tecan
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Wait
Shaking
Wait
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Label 1
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Label 2
| Absorbance |  |  |  |  | blue 1
| Absorbance |  |  |  |  | blue 2
| Absorbance |  |  |  |  | red 1
| Absorbance |  |  |  |  | red 2
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | C1-E12;F1-F8
Start Time |  |  |  | 2025-06-27 11:35:44
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 30
Wait minimum [°C] |  |  |  | 29
Wait maximum [°C] |  |  |  | 31
End Time |  |  |  | 2025-06-27 11:35:44
Start Time |  |  |  | 2025-06-27 11:35:44
Shaking (Linear) Duration [s] |  |  |  | 7
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-06-27 11:35:51
Start Time |  |  |  | 2025-06-27 11:35:51
Wait (Time) hh:mm:ss |  |  |  | 00:05:01
Wait position |  |  |  | Current
End Time |  |  |  | 2025-06-27 11:40:52
Start Time |  |  |  | 2025-06-27 11:40:52
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-06-27 11:41:02
Start Time |  |  |  | 2025-06-27 11:41:02
Wait (Time) hh:mm:ss |  |  |  | 00:00:10
Wait position |  |  |  | Current
End Time |  |  |  | 2025-06-27 11:41:12
Mode | Fluorescence Intensity Scan Top Reading
Name | Label 1
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | C1-E12;F1-F8
Start Time |  |  |  | 2025-06-27 11:41:12
Temperature [°C] |  |  |  | 29.9
Wavel. | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | Start | DOE 1.3.1 | DOE 1.3.2 | DOE 2.3.1 | DOE 2.3.2
520 | 3484 | 3599 | 3242 | 6627 | 7122 | 7190 | 7834 | 32553 | 35997 | 32668 | 29742 | 10280 | 9963 | 6801 | 6587 | 16046 | 15305 | 7797 | 7696 | 45863 | 54253 | OVER | 62172 | 3691 | 65264 | 2662 | 13132 | 8629 | 3005 | 3101 | 2979 | 2897 | 3533 | 3574 | 3240 | 3098 | 3976 | 3388 | 3743 | 3170 | 6964 | 7645 | 4638 | 4108 |  | 1882 | 918 | 11620 | 7595
522 | 387 | 915 | 460 | 4057 | 4908 | 4585 | 5339 | 33904 | 37199 | 33814 | 30234 | 7848 | 7238 | 3942 | 3906 | 14667 | 14112 | 6673 | 6556 | 45755 | 54319 | OVER | 62491 | 2096 | 67657 | 1209 | 11561 | 7421 | 1522 | 1465 | 1557 | 1519 | 2113 | 2084 | 1742 | 1729 | 407 | 452 | 526 | 463 | 3743 | 5027 | 1403 | 1353
524 | 288 | 824 | 333 | 4035 | 4908 | 4593 | 5375 | 35654 | 40065 | 35298 | 32251 | 7943 | 7284 | 3908 | 3856 | 14664 | 14127 | 6751 | 6688 | 46605 | 55582 | OVER | 63823 | 2090 | 68500 | 1168 | 11739 | 7555 | 1525 | 1460 | 1575 | 1542 | 2131 | 2112 | 1755 | 1743 | 299 | 345 | 436 | 369 | 3686 | 5038 | 1317 | 1281
526 | 285 | 844 | 333 | 4132 | 5042 | 4700 | 5573 | 38614 | 42344 | 37526 | 33918 | 8063 | 7461 | 3919 | 3887 | 14597 | 14133 | 6822 | 6829 | 47457 | 56357 | OVER | 64945 | 2097 | 69244 | 1195 | 11915 | 7659 | 1563 | 1503 | 1610 | 1603 | 2194 | 2190 | 1841 | 1795 | 297 | 346 | 437 | 370 | 3760 | 5077 | 1333 | 1318
528 | 287 | 857 | 330 | 4215 | 5127 | 4754 | 5612 | 40637 | 45492 | 39365 | 35735 | 8225 | 7570 | 3986 | 3941 | 14517 | 14077 | 6862 | 6956 | 47756 | 56902 | OVER | 65402 | 2123 | 69694 | 1193 | 12121 | 7814 | 1614 | 1550 | 1663 | 1651 | 2255 | 2240 | 1886 | 1844 | 297 | 348 | 442 | 372 | 3824 | 5127 | 1373 | 1362
530 | 291 | 869 | 337 | 4302 | 5212 | 4838 | 5730 | 43075 | 48197 | 41384 | 37665 | 8307 | 7729 | 4005 | 3958 | 14319 | 13913 | 6853 | 7091 | 47866 | 57080 | OVER | 65674 | 2153 | 70397 | 1212 | 12207 | 7920 | 1655 | 1595 | 1716 | 1699 | 2293 | 2303 | 1938 | 1926 | 301 | 354 | 443 | 380 | 3848 | 5206 | 1406 | 1385
532 | 289 | 899 | 330 | 4384 | 5289 | 4915 | 5890 | 45195 | 50974 | 43381 | 39415 | 8436 | 7807 | 4024 | 3962 | 14041 | 13584 | 6860 | 7190 | 48286 | 57141 | OVER | 65922 | 2137 | 70502 | 1223 | 12271 | 7969 | 1697 | 1628 | 1748 | 1734 | 2390 | 2345 | 2011 | 1980 | 304 | 357 | 452 | 382 | 3864 | 5252 | 1436 | 1424
534 | 287 | 900 | 330 | 4465 | 5375 | 4985 | 5921 | 47041 | 52983 | 44876 | 40937 | 8463 | 7852 | 4026 | 3996 | 13823 | 13419 | 6854 | 7169 | 48060 | 57425 | OVER | 65930 | 2162 | 70292 | 1212 | 12202 | 8071 | 1732 | 1671 | 1791 | 1787 | 2415 | 2403 | 2047 | 2034 | 304 | 357 | 447 | 388 | 3893 | 5254 | 1463 | 1442
536 | 291 | 926 | 334 | 4575 | 5398 | 5012 | 6035 | 48730 | 55024 | 46188 | 42403 | 8531 | 7910 | 4055 | 4009 | 13345 | 13136 | 6789 | 7212 | 47743 | 57158 | OVER | 65674 | 2171 | 69670 | 1216 | 12215 | 8022 | 1771 | 1718 | 1843 | 1813 | 2473 | 2462 | 2102 | 2084 | 303 | 357 | 454 | 395 | 3935 | 5306 | 1487 | 1492
538 | 289 | 936 | 337 | 4618 | 5428 | 5080 | 6138 | 49950 | 56778 | 47338 | 43248 | 8549 | 7999 | 4057 | 4031 | 13071 | 12839 | 6722 | 7265 | 47287 | 56673 | OVER | 65471 | 2161 | 69838 | 1200 | 12146 | 8032 | 1781 | 1727 | 1871 | 1851 | 2491 | 2502 | 2149 | 2122 | 313 | 363 | 457 | 392 | 3921 | 5319 | 1503 | 1522
540 | 291 | 950 | 345 | 4680 | 5537 | 5128 | 6164 | 51002 | 57945 | 48225 | 44049 | 8585 | 8001 | 4057 | 4012 | 12639 | 12382 | 6671 | 7217 | 46874 | 56476 | OVER | 65251 | 2155 | 69289 | 1216 | 12207 | 7926 | 1838 | 1760 | 1916 | 1898 | 2548 | 2529 | 2173 | 2166 | 314 | 368 | 467 | 396 | 3946 | 5347 | 1508 | 1538
542 | 295 | 961 | 337 | 4727 | 5556 | 5165 | 6257 | 51724 | 58439 | 48461 | 44677 | 8664 | 8024 | 4067 | 4015 | 12328 | 12120 | 6562 | 7222 | 46498 | 56146 | 71392 | 65047 | 2165 | 68567 | 1216 | 12115 | 7941 | 1853 | 1804 | 1930 | 1943 | 2573 | 2572 | 2222 | 2194 | 315 | 365 | 472 | 413 | 3977 | 5317 | 1531 | 1545
544 | 294 | 965 | 350 | 4778 | 5616 | 5194 | 6254 | 51989 | 58390 | 48798 | 45013 | 8654 | 7998 | 4089 | 4029 | 11889 | 11761 | 6486 | 7180 | 46297 | 55832 | 70573 | 64340 | 2176 | 68292 | 1212 | 11914 | 7889 | 1888 | 1834 | 1981 | 1970 | 2594 | 2611 | 2275 | 2248 | 315 | 373 | 480 | 411 | 3946 | 5368 | 1538 | 1562
546 | 295 | 980 | 337 | 4738 | 5570 | 5200 | 6260 | 51575 | 58122 | 48383 | 44891 | 8691 | 8065 | 4074 | 3999 | 11398 | 11260 | 6355 | 7096 | 45839 | 54861 | 70358 | 63611 | 2143 | 67758 | 1204 | 11750 | 7806 | 1910 | 1867 | 2004 | 2007 | 2620 | 2604 | 2277 | 2270 | 322 | 381 | 483 | 416 | 3946 | 5334 | 1521 | 1558
548 | 300 | 991 | 341 | 4750 | 5593 | 5128 | 6201 | 50844 | 57443 | 47719 | 43991 | 8602 | 8006 | 4064 | 3989 | 10912 | 10894 | 6225 | 6948 | 45152 | 54088 | 69312 | 62739 | 2141 | 66893 | 1196 | 11624 | 7663 | 1909 | 1887 | 2000 | 2023 | 2630 | 2640 | 2280 | 2270 | 326 | 382 | 486 | 420 | 3930 | 5287 | 1529 | 1553
550 | 298 | 998 | 339 | 4673 | 5527 | 5076 | 6197 | 49284 | 56364 | 46358 | 43247 | 8506 | 7887 | 4022 | 3973 | 10457 | 10298 | 6064 | 6824 | 43907 | 53157 | 68025 | 61681 | 2111 | 65509 | 1193 | 11346 | 7557 | 1921 | 1893 | 2003 | 2051 | 2602 | 2615 | 2294 | 2270 | 333 | 385 | 489 | 428 | 3865 | 5220 | 1497 | 1525
552 | 297 | 1010 | 343 | 4659 | 5491 | 5062 | 6149 | 48536 | 54343 | 45200 | 42248 | 8445 | 7848 | 4017 | 3968 | 10035 | 9946 | 5904 | 6667 | 43007 | 52290 | 66822 | 60614 | 2105 | 64362 | 1179 | 11206 | 7344 | 1937 | 1911 | 2027 | 2052 | 2608 | 2627 | 2286 | 2284 | 336 | 395 | 493 | 441 | 3820 | 5127 | 1495 | 1515
554 | 302 | 1000 | 342 | 4591 | 5407 | 5002 | 6034 | 46571 | 51978 | 43761 | 40825 | 8303 | 7710 | 4014 | 3925 | 9464 | 9426 | 5695 | 6461 | 42153 | 51327 | 65422 | 59407 | 2093 | 62552 | 1164 | 10892 | 7232 | 1944 | 1921 | 2043 | 2045 | 2588 | 2622 | 2294 | 2295 | 337 | 400 | 499 | 444 | 3794 | 5081 | 1447 | 1480
556 | 299 | 1022 | 339 | 4533 | 5334 | 4925 | 5997 | 44709 | 50452 | 42044 | 39367 | 8188 | 7634 | 3957 | 3915 | 9048 | 9080 | 5556 | 6322 | 41242 | 49981 | 64233 | 58182 | 2081 | 61680 | 1170 | 10660 | 7118 | 1958 | 1912 | 2047 | 2066 | 2587 | 2621 | 2296 | 2287 | 344 | 404 | 506 | 448 | 3734 | 4959 | 1430 | 1443
558 | 304 | 1021 | 335 | 4469 | 5344 | 4855 | 5862 | 42642 | 48031 | 40401 | 38145 | 8061 | 7540 | 3932 | 3869 | 8587 | 8635 | 5389 | 6172 | 40314 | 49033 | 62821 | 57120 | 2069 | 60283 | 1158 | 10452 | 6936 | 1957 | 1925 | 2049 | 2059 | 2591 | 2580 | 2284 | 2275 | 347 | 409 | 511 | 456 | 3637 | 4916 | 1402 | 1414
560 | 298 | 1028 | 334 | 4381 | 5202 | 4814 | 5815 | 40453 | 45502 | 38986 | 36062 | 7939 | 7399 | 3883 | 3859 | 8168 | 8247 | 5216 | 5978 | 39279 | 48062 | 61472 | 55924 | 2052 | 58963 | 1156 | 10232 | 6803 | 1946 | 1917 | 2047 | 2062 | 2576 | 2583 | 2286 | 2279 | 349 | 413 | 512 | 458 | 3579 | 4831 | 1365 | 1386
562 | 298 | 1030 | 340 | 4339 | 5112 | 4732 | 5747 | 39008 | 43798 | 36909 | 34717 | 7908 | 7312 | 3885 | 3816 | 7832 | 7804 | 5046 | 5785 | 38230 | 46924 | 59873 | 54480 | 2040 | 57702 | 1149 | 10035 | 6664 | 1961 | 1944 | 2049 | 2070 | 2569 | 2578 | 2275 | 2271 | 353 | 421 | 517 | 468 | 3535 | 4749 | 1339 | 1358
564 | 303 | 1034 | 329 | 4265 | 5068 | 4685 | 5639 | 36980 | 41038 | 35211 | 33182 | 7757 | 7169 | 3815 | 3778 | 7344 | 7466 | 4844 | 5614 | 37077 | 45480 | 58327 | 53215 | 2020 | 55782 | 1144 | 9687 | 6525 | 1944 | 1914 | 2056 | 2061 | 2541 | 2543 | 2283 | 2266 | 356 | 416 | 525 | 477 | 3455 | 4653 | 1298 | 1323
566 | 299 | 1031 | 325 | 4213 | 4945 | 4631 | 5503 | 34767 | 39135 | 33418 | 31562 | 7589 | 7052 | 3789 | 3733 | 6995 | 7062 | 4669 | 5392 | 35967 | 44277 | 56533 | 51671 | 2012 | 54242 | 1108 | 9395 | 6325 | 1939 | 1915 | 2044 | 2056 | 2486 | 2534 | 2229 | 2226 | 357 | 424 | 531 | 481 | 3377 | 4527 | 1278 | 1287
568 | 296 | 1020 | 318 | 4114 | 4864 | 4514 | 5467 | 33436 | 37195 | 31994 | 30130 | 7422 | 6895 | 3761 | 3699 | 6689 | 6734 | 4507 | 5206 | 34927 | 43035 | 54563 | 49922 | 1997 | 52798 | 1107 | 9098 | 6197 | 1925 | 1914 | 2017 | 2035 | 2464 | 2510 | 2214 | 2208 | 360 | 424 | 532 | 482 | 3316 | 4410 | 1237 | 1249
570 | 290 | 1022 | 310 | 4061 | 4780 | 4460 | 5368 | 31436 | 34887 | 30306 | 28403 | 7237 | 6735 | 3691 | 3593 | 6297 | 6375 | 4353 | 4974 | 33695 | 41203 | 52678 | 48001 | 1970 | 50730 | 1080 | 8819 | 5995 | 1916 | 1893 | 2009 | 2029 | 2431 | 2458 | 2183 | 2181 | 363 | 426 | 538 | 486 | 3245 | 4307 | 1225 | 1230
572 | 295 | 1006 | 306 | 4000 | 4707 | 4365 | 5244 | 29754 | 33343 | 28782 | 26914 | 7060 | 6618 | 3641 | 3559 | 5987 | 6075 | 4166 | 4818 | 32512 | 40042 | 51280 | 46646 | 1940 | 49251 | 1074 | 8591 | 5841 | 1910 | 1878 | 1990 | 2021 | 2415 | 2428 | 2164 | 2141 | 354 | 428 | 531 | 492 | 3145 | 4195 | 1178 | 1182
574 | 284 | 1023 | 297 | 3882 | 4618 | 4253 | 5132 | 28442 | 31374 | 27499 | 25605 | 6925 | 6391 | 3577 | 3482 | 5718 | 5800 | 3989 | 4642 | 31380 | 38408 | 49240 | 45233 | 1928 | 47104 | 1038 | 8290 | 5701 | 1875 | 1851 | 1950 | 1995 | 2385 | 2373 | 2133 | 2130 | 355 | 422 | 530 | 491 | 3075 | 4086 | 1152 | 1153
576 | 280 | 997 | 288 | 3842 | 4563 | 4217 | 5072 | 26894 | 29927 | 26211 | 24445 | 6761 | 6224 | 3512 | 3444 | 5444 | 5508 | 3882 | 4464 | 30249 | 37413 | 47398 | 43657 | 1882 | 45594 | 1018 | 8034 | 5557 | 1850 | 1845 | 1947 | 1963 | 2363 | 2372 | 2132 | 2091 | 355 | 420 | 531 | 488 | 3018 | 3982 | 1132 | 1139
578 | 271 | 996 | 281 | 3749 | 4462 | 4133 | 4994 | 25840 | 28249 | 25254 | 23179 | 6616 | 6086 | 3447 | 3389 | 5149 | 5285 | 3730 | 4320 | 29259 | 36151 | 45837 | 42076 | 1861 | 43780 | 994 | 7756 | 5412 | 1833 | 1828 | 1920 | 1950 | 2297 | 2337 | 2097 | 2063 | 350 | 427 | 529 | 486 | 2949 | 3880 | 1108 | 1114
580 | 267 | 983 | 274 | 3676 | 4381 | 4031 | 4855 | 24308 | 27150 | 23817 | 22096 | 6454 | 5921 | 3395 | 3337 | 4874 | 4996 | 3584 | 4135 | 27970 | 34639 | 43884 | 40447 | 1828 | 42075 | 957 | 7506 | 5196 | 1797 | 1789 | 1900 | 1914 | 2247 | 2296 | 2041 | 2041 | 345 | 417 | 530 | 491 | 2857 | 3759 | 1069 | 1083
582 | 258 | 969 | 266 | 3629 | 4289 | 4004 | 4794 | 23101 | 25827 | 22926 | 21066 | 6217 | 5774 | 3350 | 3274 | 4669 | 4782 | 3440 | 4038 | 26946 | 33563 | 42254 | 38940 | 1774 | 40673 | 941 | 7263 | 5052 | 1786 | 1787 | 1870 | 1880 | 2223 | 2263 | 2018 | 2007 | 346 | 408 | 529 | 488 | 2786 | 3695 | 1048 | 1058
584 | 248 | 968 | 254 | 3530 | 4182 | 3891 | 4709 | 22069 | 24344 | 21829 | 19990 | 6074 | 5621 | 3270 | 3200 | 4426 | 4586 | 3329 | 3890 | 25894 | 32180 | 40294 | 37537 | 1739 | 39094 | 929 | 7053 | 4913 | 1757 | 1743 | 1825 | 1841 | 2181 | 2228 | 1973 | 1968 | 338 | 399 | 519 | 492 | 2718 | 3585 | 1025 | 1030
586 | 246 | 947 | 244 | 3459 | 4104 | 3853 | 4591 | 21069 | 23250 | 21027 | 19190 | 5888 | 5431 | 3219 | 3124 | 4249 | 4381 | 3216 | 3774 | 25046 | 31103 | 39093 | 36274 | 1720 | 37279 | 884 | 6765 | 4749 | 1731 | 1724 | 1800 | 1819 | 2142 | 2178 | 1951 | 1931 | 331 | 398 | 518 | 486 | 2639 | 3484 | 999 | 1007
588 | 230 | 931 | 237 | 3364 | 4028 | 3740 | 4474 | 19927 | 22004 | 19831 | 18088 | 5705 | 5291 | 3148 | 3069 | 4055 | 4192 | 3133 | 3635 | 24109 | 29869 | 37019 | 34619 | 1652 | 35787 | 855 | 6546 | 4576 | 1696 | 1688 | 1757 | 1799 | 2086 | 2117 | 1885 | 1899 | 332 | 388 | 517 | 487 | 2566 | 3401 | 979 | 987
590 | 224 | 922 | 227 | 3307 | 3944 | 3659 | 4376 | 19168 | 20965 | 18942 | 17370 | 5560 | 5134 | 3071 | 3027 | 3893 | 4020 | 3039 | 3542 | 23047 | 28664 | 35837 | 33133 | 1624 | 34513 | 824 | 6308 | 4459 | 1656 | 1651 | 1734 | 1744 | 2053 | 2087 | 1857 | 1869 | 321 | 381 | 503 | 478 | 2502 | 3311 | 949 | 968
592 | 219 | 902 | 218 | 3227 | 3814 | 3547 | 4240 | 18194 | 20136 | 17974 | 16530 | 5409 | 5018 | 3004 | 2935 | 3718 | 3832 | 2948 | 3439 | 22219 | 27353 | 34158 | 31806 | 1570 | 32918 | 795 | 6052 | 4304 | 1628 | 1612 | 1692 | 1716 | 2005 | 2036 | 1801 | 1818 | 321 | 375 | 496 | 477 | 2430 | 3192 | 927 | 931
594 | 204 | 885 | 212 | 3137 | 3719 | 3496 | 4150 | 17217 | 18930 | 17311 | 15694 | 5218 | 4826 | 2925 | 2899 | 3624 | 3686 | 2897 | 3358 | 21266 | 26398 | 32878 | 30598 | 1530 | 31543 | 767 | 5860 | 4131 | 1581 | 1597 | 1663 | 1684 | 1959 | 2017 | 1792 | 1794 | 315 | 373 | 494 | 472 | 2371 | 3115 | 903 | 912
596 | 197 | 870 | 201 | 3032 | 3640 | 3375 | 4048 | 16391 | 17891 | 16324 | 14936 | 5056 | 4687 | 2853 | 2809 | 3497 | 3592 | 2838 | 3270 | 20429 | 25355 | 31421 | 29536 | 1481 | 30340 | 733 | 5646 | 3983 | 1557 | 1546 | 1625 | 1648 | 1921 | 1962 | 1744 | 1755 | 305 | 356 | 486 | 467 | 2301 | 3022 | 869 | 882
598 | 189 | 856 | 193 | 2977 | 3534 | 3315 | 3932 | 15665 | 17125 | 15599 | 14246 | 4937 | 4578 | 2791 | 2756 | 3382 | 3477 | 2752 | 3199 | 19693 | 24288 | 30220 | 28215 | 1441 | 29061 | 713 | 5449 | 3854 | 1513 | 1525 | 1589 | 1621 | 1862 | 1895 | 1696 | 1711 | 296 | 363 | 486 | 462 | 2211 | 2921 | 860 | 863
600 | 182 | 858 | 190 | 2879 | 3445 | 3206 | 3841 | 14846 | 16151 | 14833 | 13621 | 4752 | 4410 | 2732 | 2688 | 3274 | 3312 | 2699 | 3088 | 18707 | 23082 | 28700 | 26900 | 1404 | 27759 | 687 | 5236 | 3662 | 1498 | 1488 | 1553 | 1577 | 1826 | 1843 | 1672 | 1672 | 288 | 349 | 481 | 456 | 2153 | 2844 | 828 | 834
602 | 173 | 822 | 178 | 2814 | 3318 | 3150 | 3717 | 14067 | 15322 | 14145 | 12872 | 4625 | 4305 | 2684 | 2601 | 3175 | 3243 | 2633 | 3029 | 17927 | 22248 | 27468 | 25577 | 1349 | 26348 | 651 | 5010 | 3506 | 1451 | 1445 | 1504 | 1541 | 1776 | 1812 | 1611 | 1614 | 282 | 339 | 465 | 448 | 2099 | 2730 | 804 | 813
604 | 163 | 809 | 171 | 2738 | 3245 | 3041 | 3620 | 13356 | 14571 | 13541 | 12322 | 4520 | 4119 | 2611 | 2549 | 3080 | 3138 | 2601 | 2961 | 17317 | 21525 | 26452 | 24787 | 1316 | 25379 | 635 | 4816 | 3403 | 1413 | 1426 | 1472 | 1502 | 1729 | 1778 | 1587 | 1589 | 279 | 336 | 465 | 445 | 2020 | 2677 | 797 | 812
606 | 161 | 796 | 161 | 2664 | 3186 | 2976 | 3590 | 12602 | 13838 | 12856 | 11640 | 4396 | 4044 | 2561 | 2514 | 2995 | 3054 | 2548 | 2875 | 16633 | 20687 | 25345 | 23785 | 1295 | 24322 | 620 | 4633 | 3283 | 1403 | 1405 | 1447 | 1484 | 1695 | 1730 | 1538 | 1561 | 272 | 333 | 455 | 445 | 1967 | 2579 | 771 | 778
608 | 153 | 777 | 158 | 2611 | 3089 | 2916 | 3443 | 12021 | 13102 | 12175 | 11083 | 4229 | 3901 | 2477 | 2441 | 2924 | 2964 | 2481 | 2830 | 15885 | 19643 | 24161 | 22582 | 1248 | 23116 | 595 | 4442 | 3158 | 1354 | 1361 | 1411 | 1429 | 1662 | 1695 | 1508 | 1509 | 272 | 322 | 455 | 441 | 1909 | 2494 | 754 | 766
610 | 145 | 764 | 151 | 2515 | 3030 | 2827 | 3375 | 11435 | 12597 | 11651 | 10638 | 4081 | 3796 | 2445 | 2386 | 2848 | 2883 | 2470 | 2769 | 15276 | 18912 | 23237 | 21730 | 1222 | 22454 | 567 | 4277 | 3053 | 1338 | 1333 | 1392 | 1423 | 1609 | 1642 | 1470 | 1491 | 271 | 317 | 453 | 429 | 1856 | 2426 | 732 | 738
612 | 143 | 752 | 144 | 2477 | 2946 | 2762 | 3284 | 10825 | 11847 | 11107 | 10035 | 3981 | 3662 | 2390 | 2329 | 2788 | 2823 | 2396 | 2700 | 14590 | 17975 | 22034 | 20914 | 1191 | 21277 | 559 | 4052 | 2906 | 1297 | 1309 | 1347 | 1380 | 1584 | 1607 | 1452 | 1453 | 269 | 312 | 436 | 430 | 1801 | 2353 | 719 | 734
614 | 135 | 746 | 145 | 2384 | 2868 | 2697 | 3203 | 10267 | 11247 | 10597 | 9561 | 3865 | 3549 | 2315 | 2271 | 2683 | 2739 | 2328 | 2628 | 13946 | 17302 | 20911 | 19987 | 1153 | 20302 | 534 | 3933 | 2799 | 1259 | 1267 | 1310 | 1342 | 1525 | 1566 | 1399 | 1417 | 256 | 306 | 437 | 423 | 1730 | 2264 | 696 | 712
616 | 128 | 720 | 135 | 2334 | 2793 | 2636 | 3105 | 9782 | 10577 | 10045 | 9063 | 3724 | 3416 | 2265 | 2231 | 2636 | 2658 | 2307 | 2547 | 13341 | 16444 | 20166 | 18881 | 1131 | 19270 | 520 | 3769 | 2652 | 1236 | 1244 | 1289 | 1314 | 1489 | 1517 | 1374 | 1388 | 255 | 301 | 425 | 415 | 1685 | 2172 | 695 | 699
618 | 127 | 702 | 132 | 2270 | 2700 | 2538 | 3035 | 9181 | 10065 | 9544 | 8595 | 3577 | 3336 | 2211 | 2158 | 2558 | 2581 | 2246 | 2486 | 12748 | 15681 | 19084 | 18077 | 1088 | 18653 | 496 | 3615 | 2572 | 1204 | 1209 | 1264 | 1294 | 1443 | 1500 | 1338 | 1325 | 252 | 289 | 425 | 413 | 1608 | 2085 | 672 | 688
620 | 124 | 684 | 131 | 2215 | 2636 | 2496 | 2954 | 8781 | 9508 | 9004 | 8114 | 3514 | 3201 | 2155 | 2102 | 2491 | 2493 | 2179 | 2404 | 12188 | 15030 | 18195 | 17261 | 1034 | 17584 | 481 | 3463 | 2449 | 1168 | 1176 | 1215 | 1238 | 1406 | 1453 | 1303 | 1300 | 246 | 290 | 413 | 406 | 1546 | 2053 | 646 | 665
622 | 120 | 670 | 120 | 2166 | 2571 | 2419 | 2858 | 8368 | 8987 | 8560 | 7706 | 3375 | 3126 | 2088 | 2066 | 2403 | 2418 | 2115 | 2327 | 11666 | 14260 | 17356 | 16401 | 1010 | 16678 | 475 | 3328 | 2342 | 1154 | 1155 | 1197 | 1222 | 1367 | 1410 | 1277 | 1271 | 245 | 285 | 405 | 396 | 1499 | 1931 | 633 | 648
624 | 118 | 657 | 120 | 2087 | 2483 | 2357 | 2775 | 7887 | 8487 | 8193 | 7300 | 3286 | 3014 | 2022 | 2001 | 2332 | 2367 | 2061 | 2249 | 11188 | 13660 | 16557 | 15651 | 984 | 15976 | 452 | 3174 | 2256 | 1112 | 1124 | 1161 | 1184 | 1332 | 1371 | 1236 | 1234 | 234 | 282 | 398 | 403 | 1440 | 1879 | 627 | 643
626 | 108 | 642 | 114 | 2056 | 2421 | 2304 | 2696 | 7539 | 8072 | 7783 | 6969 | 3153 | 2904 | 1991 | 1951 | 2262 | 2289 | 2012 | 2211 | 10598 | 13058 | 15834 | 15033 | 956 | 15074 | 436 | 3037 | 2154 | 1077 | 1093 | 1119 | 1165 | 1301 | 1320 | 1186 | 1197 | 237 | 272 | 394 | 387 | 1393 | 1807 | 602 | 621
628 | 107 | 628 | 109 | 1991 | 2349 | 2230 | 2638 | 7190 | 7646 | 7399 | 6565 | 3041 | 2802 | 1927 | 1898 | 2187 | 2203 | 1942 | 2111 | 10293 | 12361 | 14979 | 14170 | 930 | 14501 | 425 | 2908 | 2069 | 1066 | 1067 | 1095 | 1130 | 1259 | 1291 | 1159 | 1166 | 232 | 268 | 387 | 381 | 1334 | 1735 | 589 | 607
630 | 104 | 615 | 107 | 1941 | 2279 | 2147 | 2561 | 6847 | 7245 | 7021 | 6232 | 2943 | 2707 | 1875 | 1865 | 2111 | 2132 | 1891 | 2038 | 9684 | 11860 | 14232 | 13606 | 888 | 13732 | 407 | 2764 | 1974 | 1028 | 1050 | 1063 | 1095 | 1209 | 1263 | 1132 | 1129 | 227 | 274 | 384 | 376 | 1269 | 1663 | 578 | 590
632 | 96 | 587 | 103 | 1869 | 2220 | 2088 | 2477 | 6462 | 6907 | 6682 | 5916 | 2807 | 2635 | 1835 | 1793 | 2048 | 2055 | 1836 | 1962 | 9280 | 11268 | 13621 | 13004 | 869 | 13008 | 393 | 2647 | 1910 | 994 | 1005 | 1042 | 1057 | 1188 | 1234 | 1092 | 1108 | 219 | 260 | 374 | 360 | 1238 | 1616 | 562 | 568
634 | 95 | 572 | 98 | 1823 | 2143 | 2023 | 2398 | 6195 | 6588 | 6404 | 5671 | 2731 | 2539 | 1781 | 1741 | 2003 | 2001 | 1802 | 1934 | 8883 | 10704 | 12873 | 12350 | 838 | 12434 | 380 | 2540 | 1824 | 974 | 979 | 1002 | 1035 | 1144 | 1195 | 1074 | 1069 | 216 | 259 | 367 | 349 | 1197 | 1556 | 543 | 554
636 | 92 | 563 | 97 | 1771 | 2075 | 1959 | 2333 | 5957 | 6345 | 6121 | 5442 | 2635 | 2426 | 1705 | 1687 | 1941 | 1935 | 1745 | 1853 | 8500 | 10237 | 12316 | 11840 | 817 | 11833 | 371 | 2450 | 1734 | 954 | 963 | 968 | 1012 | 1115 | 1158 | 1023 | 1044 | 210 | 251 | 366 | 351 | 1151 | 1484 | 520 | 531
638 | 88 | 553 | 95 | 1728 | 2008 | 1903 | 2263 | 5707 | 6066 | 5844 | 5235 | 2527 | 2355 | 1680 | 1652 | 1875 | 1882 | 1676 | 1799 | 8103 | 9758 | 11796 | 11181 | 790 | 11232 | 361 | 2342 | 1686 | 913 | 924 | 941 | 976 | 1072 | 1123 | 1009 | 1012 | 209 | 245 | 353 | 344 | 1102 | 1423 | 501 | 514
640 | 89 | 535 | 85 | 1664 | 1953 | 1836 | 2204 | 5528 | 5842 | 5656 | 4979 | 2426 | 2228 | 1643 | 1582 | 1832 | 1811 | 1634 | 1742 | 7738 | 9269 | 11111 | 10659 | 761 | 10760 | 351 | 2237 | 1617 | 895 | 896 | 936 | 940 | 1042 | 1082 | 983 | 984 | 199 | 238 | 346 | 334 | 1061 | 1378 | 485 | 500
End Time | 29.9 C4: 2025-06-27 12:12:42
Mode | C1: Fluorescence Intensity Scan Top Reading
Name | C1: Label 2
Scan selection | 29.9 C4: Emission Scan
Excitation | 29.9 C4: Monochromator
Excitation wavelength [nm] | 29.9 C4: 483
Excitation bandwidth [nm] | 29.9 C4: 20
Emission wavelength start [nm] | 29.9 C4: 520
Emission wavelength end [nm] | 29.9 C4: 640
Emission wavelength step size [nm] | 29.9 C4: 2
Emission scan number | 29.9 C4: 61
Emission bandwidth [nm] | 29.9 C4: 20
Gain Manual | 29.9 C4: 100
Mirror | 29.9 C4: Automatic (Dichroic 510)
Number of flashes | 29.9 C4: 30
Integration time [µs] | 29.9 C4: 40
Lag time [µs] | 29.9 C4: 0
Settle time [ms] | 29.9 C4: 0
Z-Position [μm] | 29.9 C4: 20000
Z-Position mode | 29.9 C4: Manual
Part of Plate | 29.9 C4: C1-E12;F1-F8
Start Time | 29.9 C4: 2025-06-27 12:12:47
Temperature [°C] | 29.9 C4: 29.9
Wavel. | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8
520 | 3063 | 3514 | 2670 | 5304 | 6102 | 6032 | 6434 | 29309 | 33437 | 30073 | 27701 | 8906 | 8246 | 5492 | 6056 | 15431 | 14848 | 7209 | 6867 | 40877 | 50047 | 64083 | 55774 | 3291 | 62058 | 2625 | 12304 | 8250 | 3080 | 2960 | 2957 | 2836 | 3617 | 3568 | 3023 | 3231 | 3016 | 3015 | 3554 | 2949 | 5835 | 6457 | 3656 | 3640
522 | 355 | 877 | 367 | 3047 | 3711 | 3555 | 4078 | 30229 | 34669 | 30934 | 28131 | 6260 | 5631 | 3152 | 3119 | 14197 | 13506 | 6171 | 5825 | 40618 | 50042 | 64754 | 55774 | 1944 | 62808 | 1118 | 10801 | 7131 | 1576 | 1502 | 1601 | 1595 | 2107 | 2083 | 1777 | 1762 | 317 | 387 | 429 | 397 | 3084 | 4114 | 1108 | 1091
524 | 261 | 827 | 271 | 3051 | 3717 | 3529 | 4077 | 32035 | 37193 | 32452 | 29693 | 6317 | 5703 | 3133 | 3078 | 14263 | 13527 | 6228 | 5921 | 41374 | 50803 | 65666 | 56998 | 1932 | 63919 | 1102 | 11020 | 7206 | 1585 | 1508 | 1635 | 1625 | 2133 | 2112 | 1798 | 1783 | 247 | 293 | 356 | 303 | 3046 | 4099 | 1048 | 1019
526 | 262 | 854 | 268 | 3124 | 3798 | 3603 | 4188 | 34025 | 39488 | 34328 | 31410 | 6465 | 5826 | 3139 | 3103 | 14204 | 13510 | 6225 | 6010 | 42128 | 51641 | 66440 | 58105 | 1978 | 64854 | 1112 | 11212 | 7361 | 1637 | 1569 | 1690 | 1674 | 2209 | 2175 | 1885 | 1844 | 246 | 285 | 350 | 296 | 3115 | 4145 | 1083 | 1053
528 | 265 | 868 | 267 | 3178 | 3843 | 3683 | 4264 | 35938 | 42096 | 35989 | 33124 | 6564 | 5883 | 3176 | 3155 | 14005 | 13435 | 6221 | 6039 | 42357 | 52378 | 66974 | 58621 | 1998 | 65362 | 1121 | 11292 | 7482 | 1693 | 1609 | 1755 | 1727 | 2257 | 2220 | 1925 | 1903 | 244 | 288 | 361 | 302 | 3165 | 4216 | 1092 | 1076
530 | 259 | 897 | 269 | 3272 | 3938 | 3721 | 4382 | 38031 | 44434 | 37876 | 34458 | 6628 | 5980 | 3190 | 3154 | 13745 | 13254 | 6217 | 6062 | 42435 | 52604 | 66858 | 58841 | 2021 | 65911 | 1133 | 11421 | 7521 | 1745 | 1674 | 1813 | 1781 | 2325 | 2275 | 1988 | 1963 | 249 | 289 | 359 | 307 | 3185 | 4220 | 1129 | 1110
532 | 263 | 915 | 276 | 3323 | 4025 | 3788 | 4472 | 39600 | 46702 | 39659 | 36118 | 6742 | 6075 | 3230 | 3199 | 13459 | 12965 | 6127 | 6033 | 42870 | 52907 | 66865 | 59351 | 2006 | 65371 | 1140 | 11447 | 7576 | 1778 | 1712 | 1850 | 1845 | 2386 | 2339 | 2038 | 2037 | 245 | 293 | 356 | 312 | 3168 | 4274 | 1170 | 1132
534 | 263 | 933 | 275 | 3361 | 4045 | 3838 | 4556 | 41443 | 48489 | 40953 | 37497 | 6819 | 6137 | 3223 | 3200 | 13129 | 12723 | 6057 | 6041 | 42541 | 53012 | 66726 | 59334 | 2014 | 64995 | 1145 | 11450 | 7590 | 1807 | 1759 | 1900 | 1884 | 2402 | 2370 | 2091 | 2074 | 249 | 289 | 367 | 313 | 3211 | 4320 | 1191 | 1155
536 | 265 | 950 | 275 | 3428 | 4095 | 3893 | 4611 | 42852 | 50575 | 41896 | 38843 | 6815 | 6170 | 3247 | 3212 | 12791 | 12366 | 5956 | 5954 | 42378 | 52618 | 66739 | 59045 | 2021 | 65138 | 1134 | 11410 | 7634 | 1872 | 1812 | 1945 | 1934 | 2468 | 2425 | 2154 | 2140 | 255 | 295 | 367 | 315 | 3242 | 4313 | 1207 | 1181
538 | 267 | 960 | 273 | 3484 | 4156 | 3894 | 4655 | 43396 | 51999 | 42642 | 39524 | 6859 | 6241 | 3268 | 3206 | 12327 | 12002 | 5803 | 5881 | 42087 | 52247 | 66214 | 58926 | 2008 | 64529 | 1137 | 11383 | 7582 | 1897 | 1843 | 1973 | 1969 | 2504 | 2433 | 2190 | 2170 | 257 | 295 | 369 | 317 | 3219 | 4337 | 1229 | 1201
540 | 268 | 991 | 270 | 3503 | 4189 | 3936 | 4703 | 44585 | 52983 | 43701 | 40501 | 6909 | 6278 | 3263 | 3192 | 11952 | 11659 | 5749 | 5842 | 41681 | 52016 | 65819 | 58298 | 1999 | 64392 | 1141 | 11344 | 7544 | 1947 | 1886 | 2015 | 2022 | 2541 | 2494 | 2240 | 2219 | 253 | 299 | 380 | 322 | 3244 | 4351 | 1241 | 1230
542 | 268 | 999 | 276 | 3544 | 4199 | 3946 | 4754 | 45017 | 53408 | 44080 | 40904 | 6929 | 6290 | 3246 | 3244 | 11627 | 11308 | 5646 | 5854 | 41365 | 51849 | 65597 | 57885 | 2009 | 63691 | 1143 | 11258 | 7500 | 1969 | 1905 | 2065 | 2055 | 2580 | 2513 | 2275 | 2271 | 259 | 301 | 379 | 324 | 3256 | 4360 | 1255 | 1250
544 | 268 | 1020 | 272 | 3540 | 4224 | 3975 | 4782 | 45038 | 53881 | 44500 | 40992 | 6954 | 6301 | 3270 | 3248 | 11164 | 10999 | 5509 | 5761 | 40972 | 51333 | 65124 | 57732 | 2002 | 63188 | 1136 | 11103 | 7446 | 1992 | 1947 | 2092 | 2113 | 2608 | 2539 | 2312 | 2293 | 263 | 311 | 384 | 337 | 3230 | 4368 | 1271 | 1249
546 | 271 | 1035 | 272 | 3571 | 4209 | 3969 | 4806 | 44932 | 53661 | 43959 | 41054 | 6908 | 6311 | 3240 | 3235 | 10722 | 10575 | 5386 | 5682 | 40405 | 50595 | 64006 | 57155 | 2008 | 62874 | 1125 | 11031 | 7349 | 2030 | 1977 | 2129 | 2147 | 2603 | 2561 | 2323 | 2335 | 264 | 313 | 385 | 342 | 3242 | 4315 | 1250 | 1247
548 | 273 | 1046 | 277 | 3534 | 4198 | 3937 | 4752 | 44142 | 53083 | 43635 | 40425 | 6891 | 6298 | 3249 | 3188 | 10280 | 10100 | 5218 | 5548 | 39640 | 49737 | 63094 | 56149 | 1987 | 61664 | 1125 | 10810 | 7249 | 2047 | 1999 | 2139 | 2147 | 2617 | 2574 | 2348 | 2356 | 267 | 319 | 391 | 344 | 3197 | 4294 | 1262 | 1229
550 | 276 | 1048 | 278 | 3529 | 4135 | 3901 | 4738 | 43156 | 51538 | 42521 | 39417 | 6853 | 6153 | 3235 | 3179 | 9739 | 9628 | 5093 | 5381 | 38845 | 48929 | 61506 | 55070 | 1984 | 60252 | 1124 | 10631 | 7111 | 2051 | 2018 | 2161 | 2159 | 2637 | 2557 | 2361 | 2331 | 269 | 320 | 401 | 355 | 3179 | 4246 | 1240 | 1222
552 | 278 | 1055 | 272 | 3509 | 4129 | 3901 | 4667 | 42027 | 50526 | 41311 | 38951 | 6808 | 6137 | 3223 | 3183 | 9294 | 9257 | 4955 | 5284 | 38471 | 48101 | 60890 | 54306 | 1961 | 59297 | 1109 | 10382 | 7005 | 2082 | 2039 | 2180 | 2193 | 2655 | 2580 | 2355 | 2384 | 273 | 317 | 399 | 356 | 3129 | 4191 | 1218 | 1206
554 | 277 | 1052 | 269 | 3442 | 4074 | 3819 | 4619 | 40572 | 48479 | 40055 | 37646 | 6671 | 6035 | 3200 | 3165 | 8835 | 8731 | 4761 | 5138 | 37269 | 47055 | 59558 | 52950 | 1948 | 58111 | 1100 | 10213 | 6785 | 2086 | 2035 | 2189 | 2190 | 2638 | 2571 | 2357 | 2367 | 276 | 328 | 405 | 357 | 3093 | 4134 | 1195 | 1183
556 | 274 | 1060 | 269 | 3429 | 4024 | 3781 | 4553 | 39038 | 46864 | 38624 | 36247 | 6609 | 6001 | 3164 | 3130 | 8397 | 8411 | 4622 | 5032 | 36356 | 46163 | 58469 | 52031 | 1944 | 57153 | 1100 | 9965 | 6678 | 2077 | 2040 | 2184 | 2200 | 2623 | 2558 | 2362 | 2365 | 272 | 328 | 403 | 361 | 3060 | 4063 | 1175 | 1155
558 | 274 | 1077 | 276 | 3380 | 3962 | 3732 | 4523 | 37188 | 44997 | 36997 | 34973 | 6509 | 5889 | 3141 | 3117 | 7945 | 7989 | 4467 | 4912 | 35535 | 45185 | 57128 | 50863 | 1936 | 55491 | 1091 | 9824 | 6551 | 2087 | 2032 | 2205 | 2212 | 2601 | 2535 | 2358 | 2357 | 281 | 332 | 408 | 362 | 3009 | 3982 | 1134 | 1129
560 | 273 | 1076 | 268 | 3328 | 3930 | 3689 | 4442 | 35502 | 42816 | 35560 | 33363 | 6452 | 5853 | 3130 | 3097 | 7600 | 7628 | 4356 | 4710 | 34757 | 44073 | 55519 | 49685 | 1911 | 54034 | 1091 | 9558 | 6425 | 2089 | 2039 | 2183 | 2214 | 2605 | 2559 | 2362 | 2355 | 281 | 339 | 415 | 375 | 2983 | 3939 | 1119 | 1111
562 | 275 | 1079 | 269 | 3264 | 3878 | 3642 | 4375 | 34375 | 40871 | 34441 | 32180 | 6374 | 5734 | 3128 | 3057 | 7238 | 7293 | 4227 | 4618 | 34052 | 43014 | 54566 | 48489 | 1908 | 53122 | 1071 | 9239 | 6246 | 2086 | 2038 | 2177 | 2208 | 2589 | 2549 | 2341 | 2346 | 287 | 344 | 421 | 382 | 2929 | 3856 | 1095 | 1092
564 | 274 | 1077 | 264 | 3212 | 3843 | 3608 | 4334 | 32451 | 38710 | 32462 | 30668 | 6238 | 5619 | 3094 | 3021 | 6884 | 6942 | 4083 | 4431 | 32967 | 42185 | 52594 | 47174 | 1891 | 51589 | 1066 | 9095 | 6104 | 2080 | 2051 | 2169 | 2211 | 2555 | 2523 | 2350 | 2319 | 285 | 346 | 431 | 386 | 2833 | 3774 | 1075 | 1064
566 | 273 | 1074 | 262 | 3162 | 3770 | 3543 | 4243 | 30558 | 36593 | 30968 | 29309 | 6091 | 5548 | 3069 | 2991 | 6468 | 6550 | 3926 | 4330 | 32030 | 40706 | 51112 | 45798 | 1875 | 49723 | 1054 | 8791 | 5969 | 2071 | 2024 | 2171 | 2198 | 2537 | 2502 | 2313 | 2321 | 288 | 348 | 422 | 388 | 2784 | 3694 | 1049 | 1029
568 | 271 | 1067 | 258 | 3114 | 3683 | 3480 | 4185 | 29259 | 34667 | 29737 | 27811 | 5929 | 5392 | 2990 | 2954 | 6198 | 6213 | 3752 | 4133 | 30867 | 39332 | 49552 | 44505 | 1861 | 48269 | 1037 | 8492 | 5797 | 2046 | 2020 | 2138 | 2176 | 2511 | 2478 | 2301 | 2284 | 287 | 353 | 428 | 389 | 2743 | 3593 | 1029 | 1019
570 | 267 | 1061 | 252 | 3055 | 3632 | 3427 | 4110 | 27438 | 32960 | 28136 | 26496 | 5863 | 5329 | 2959 | 2931 | 5882 | 5885 | 3649 | 4004 | 29820 | 38105 | 47761 | 42930 | 1850 | 46687 | 1017 | 8276 | 5618 | 2027 | 2005 | 2113 | 2150 | 2475 | 2456 | 2245 | 2261 | 289 | 345 | 431 | 398 | 2650 | 3498 | 999 | 1000
572 | 264 | 1049 | 250 | 2992 | 3593 | 3378 | 4008 | 26287 | 31394 | 26993 | 25168 | 5683 | 5183 | 2923 | 2871 | 5562 | 5641 | 3475 | 3888 | 28845 | 36888 | 46010 | 41536 | 1806 | 45112 | 983 | 7954 | 5496 | 2021 | 1989 | 2097 | 2143 | 2448 | 2427 | 2240 | 2255 | 292 | 350 | 427 | 395 | 2595 | 3458 | 980 | 980
574 | 261 | 1041 | 239 | 2966 | 3497 | 3313 | 3959 | 24784 | 29803 | 25629 | 23890 | 5589 | 5083 | 2852 | 2843 | 5252 | 5337 | 3361 | 3758 | 27770 | 35540 | 44151 | 40181 | 1784 | 43259 | 978 | 7731 | 5352 | 1991 | 1961 | 2074 | 2113 | 2394 | 2381 | 2201 | 2214 | 286 | 348 | 429 | 397 | 2530 | 3328 | 956 | 958
576 | 255 | 1040 | 236 | 2906 | 3455 | 3236 | 3905 | 23815 | 28406 | 24694 | 22895 | 5446 | 4934 | 2830 | 2788 | 5028 | 5118 | 3261 | 3632 | 26964 | 34161 | 43066 | 38749 | 1754 | 41721 | 964 | 7523 | 5226 | 1961 | 1929 | 2041 | 2107 | 2366 | 2373 | 2195 | 2183 | 289 | 341 | 429 | 400 | 2481 | 3218 | 934 | 928
578 | 250 | 1021 | 233 | 2841 | 3384 | 3198 | 3840 | 22535 | 26877 | 23537 | 21719 | 5329 | 4798 | 2766 | 2748 | 4747 | 4843 | 3197 | 3488 | 25985 | 33204 | 41572 | 37442 | 1739 | 40438 | 943 | 7293 | 5054 | 1958 | 1914 | 2011 | 2066 | 2322 | 2327 | 2157 | 2139 | 287 | 349 | 429 | 400 | 2406 | 3143 | 905 | 914
580 | 244 | 1005 | 218 | 2800 | 3315 | 3135 | 3753 | 21307 | 25511 | 22604 | 20751 | 5143 | 4689 | 2719 | 2687 | 4498 | 4604 | 3025 | 3370 | 24783 | 31881 | 39519 | 35989 | 1709 | 38910 | 912 | 6984 | 4908 | 1914 | 1893 | 2000 | 2053 | 2288 | 2279 | 2127 | 2129 | 283 | 339 | 434 | 397 | 2343 | 3085 | 886 | 887
582 | 230 | 1002 | 213 | 2728 | 3274 | 3094 | 3695 | 20436 | 24453 | 21657 | 19816 | 5073 | 4572 | 2681 | 2657 | 4346 | 4442 | 2949 | 3279 | 24044 | 30809 | 38336 | 34662 | 1661 | 37179 | 890 | 6776 | 4743 | 1877 | 1863 | 1964 | 1998 | 2263 | 2251 | 2099 | 2110 | 276 | 334 | 423 | 393 | 2303 | 3009 | 866 | 874
584 | 223 | 970 | 203 | 2683 | 3183 | 3008 | 3607 | 19277 | 23313 | 20463 | 18780 | 4856 | 4424 | 2625 | 2589 | 4113 | 4226 | 2842 | 3190 | 23003 | 29460 | 36607 | 33319 | 1616 | 35745 | 860 | 6581 | 4599 | 1854 | 1822 | 1908 | 1964 | 2198 | 2190 | 2058 | 2059 | 274 | 331 | 425 | 392 | 2223 | 2928 | 838 | 849
586 | 222 | 964 | 198 | 2616 | 3127 | 2961 | 3539 | 18471 | 22138 | 19778 | 18025 | 4769 | 4330 | 2579 | 2543 | 3952 | 4047 | 2773 | 3102 | 22227 | 28531 | 35306 | 32040 | 1585 | 34462 | 839 | 6344 | 4479 | 1823 | 1792 | 1899 | 1937 | 2147 | 2188 | 2019 | 2031 | 272 | 328 | 421 | 398 | 2172 | 2847 | 828 | 835
588 | 213 | 950 | 193 | 2563 | 3075 | 2884 | 3444 | 17736 | 21053 | 18797 | 17117 | 4629 | 4168 | 2532 | 2490 | 3731 | 3825 | 2702 | 3015 | 21347 | 27307 | 33711 | 30706 | 1556 | 32830 | 806 | 6073 | 4333 | 1791 | 1760 | 1847 | 1894 | 2122 | 2120 | 1971 | 1987 | 270 | 322 | 416 | 393 | 2096 | 2767 | 807 | 807
590 | 202 | 947 | 191 | 2509 | 2983 | 2835 | 3366 | 16808 | 20185 | 18121 | 16435 | 4482 | 4047 | 2468 | 2432 | 3600 | 3719 | 2623 | 2919 | 20636 | 26326 | 32498 | 29753 | 1523 | 31622 | 781 | 5865 | 4196 | 1751 | 1731 | 1808 | 1860 | 2079 | 2097 | 1959 | 1950 | 256 | 318 | 410 | 387 | 2061 | 2715 | 781 | 791
592 | 198 | 914 | 179 | 2439 | 2900 | 2749 | 3271 | 15873 | 19031 | 17066 | 15543 | 4336 | 3964 | 2407 | 2388 | 3436 | 3546 | 2549 | 2850 | 19597 | 25245 | 30868 | 28556 | 1478 | 30170 | 748 | 5688 | 4016 | 1701 | 1712 | 1766 | 1825 | 2023 | 2040 | 1902 | 1901 | 260 | 316 | 414 | 386 | 2013 | 2620 | 765 | 766
594 | 188 | 896 | 165 | 2385 | 2846 | 2693 | 3194 | 15208 | 18228 | 16605 | 14963 | 4232 | 3841 | 2368 | 2324 | 3333 | 3409 | 2500 | 2781 | 18944 | 24442 | 29731 | 27440 | 1442 | 29181 | 722 | 5483 | 3890 | 1669 | 1661 | 1742 | 1796 | 1988 | 1992 | 1875 | 1868 | 255 | 300 | 401 | 383 | 1942 | 2542 | 743 | 750
596 | 180 | 878 | 165 | 2323 | 2781 | 2615 | 3129 | 14415 | 17249 | 15713 | 14022 | 4085 | 3719 | 2292 | 2275 | 3212 | 3279 | 2456 | 2700 | 18122 | 23327 | 28478 | 26133 | 1375 | 27751 | 694 | 5251 | 3734 | 1652 | 1615 | 1700 | 1751 | 1932 | 1950 | 1808 | 1822 | 247 | 296 | 401 | 377 | 1889 | 2477 | 730 | 726
598 | 172 | 867 | 156 | 2272 | 2663 | 2553 | 3061 | 13770 | 16611 | 14941 | 13605 | 4007 | 3587 | 2277 | 2204 | 3090 | 3159 | 2391 | 2668 | 17401 | 22481 | 27412 | 25212 | 1345 | 26585 | 668 | 5052 | 3624 | 1592 | 1595 | 1664 | 1704 | 1904 | 1899 | 1772 | 1784 | 241 | 295 | 392 | 373 | 1842 | 2379 | 702 | 698
600 | 163 | 836 | 154 | 2196 | 2633 | 2486 | 2953 | 13126 | 15582 | 14220 | 12784 | 3847 | 3451 | 2214 | 2176 | 2992 | 3087 | 2338 | 2615 | 16703 | 21383 | 26093 | 24055 | 1313 | 25264 | 639 | 4912 | 3493 | 1582 | 1553 | 1620 | 1682 | 1829 | 1846 | 1742 | 1731 | 243 | 288 | 391 | 369 | 1789 | 2317 | 684 | 687
602 | 155 | 815 | 143 | 2132 | 2569 | 2403 | 2872 | 12429 | 14696 | 13466 | 12150 | 3702 | 3396 | 2155 | 2111 | 2901 | 2964 | 2312 | 2560 | 15947 | 20503 | 24839 | 22999 | 1257 | 24287 | 616 | 4686 | 3330 | 1534 | 1522 | 1579 | 1645 | 1803 | 1826 | 1691 | 1693 | 234 | 280 | 383 | 372 | 1727 | 2225 | 663 | 673
604 | 148 | 810 | 138 | 2089 | 2490 | 2374 | 2804 | 11873 | 14146 | 12940 | 11640 | 3616 | 3274 | 2093 | 2064 | 2834 | 2898 | 2288 | 2501 | 15378 | 19654 | 23779 | 22143 | 1222 | 23419 | 598 | 4547 | 3206 | 1500 | 1482 | 1555 | 1585 | 1752 | 1766 | 1653 | 1657 | 232 | 276 | 378 | 363 | 1669 | 2177 | 655 | 659
606 | 145 | 793 | 133 | 2040 | 2412 | 2302 | 2723 | 11278 | 13392 | 12282 | 10989 | 3473 | 3175 | 2051 | 2029 | 2746 | 2824 | 2231 | 2478 | 14640 | 18863 | 22836 | 21278 | 1202 | 22356 | 578 | 4325 | 3102 | 1457 | 1447 | 1526 | 1559 | 1713 | 1725 | 1617 | 1629 | 232 | 273 | 378 | 357 | 1618 | 2091 | 633 | 640
608 | 145 | 779 | 128 | 2009 | 2369 | 2240 | 2649 | 10718 | 12718 | 11754 | 10452 | 3416 | 3088 | 2001 | 1953 | 2691 | 2724 | 2204 | 2412 | 14089 | 18041 | 21782 | 20400 | 1152 | 21355 | 562 | 4161 | 2943 | 1426 | 1421 | 1464 | 1522 | 1677 | 1711 | 1581 | 1576 | 222 | 264 | 372 | 356 | 1572 | 2022 | 622 | 620
610 | 138 | 765 | 129 | 1938 | 2313 | 2224 | 2580 | 10208 | 12100 | 11180 | 9979 | 3327 | 3013 | 1979 | 1918 | 2625 | 2677 | 2181 | 2371 | 13645 | 17332 | 20978 | 19314 | 1145 | 20531 | 551 | 4011 | 2847 | 1408 | 1398 | 1439 | 1497 | 1645 | 1662 | 1531 | 1544 | 219 | 258 | 376 | 351 | 1528 | 1967 | 605 | 616
612 | 130 | 738 | 123 | 1884 | 2238 | 2130 | 2521 | 9666 | 11432 | 10629 | 9519 | 3214 | 2911 | 1926 | 1895 | 2543 | 2586 | 2150 | 2323 | 13005 | 16534 | 20024 | 18545 | 1106 | 19488 | 515 | 3849 | 2740 | 1358 | 1351 | 1419 | 1449 | 1598 | 1610 | 1517 | 1516 | 214 | 257 | 364 | 351 | 1460 | 1901 | 591 | 603
614 | 123 | 726 | 116 | 1841 | 2196 | 2087 | 2478 | 9252 | 10833 | 10021 | 9005 | 3105 | 2815 | 1865 | 1848 | 2479 | 2514 | 2079 | 2284 | 12412 | 15819 | 19104 | 17729 | 1074 | 18672 | 503 | 3692 | 2632 | 1317 | 1325 | 1375 | 1433 | 1559 | 1572 | 1462 | 1459 | 208 | 255 | 353 | 345 | 1420 | 1850 | 575 | 577
616 | 122 | 705 | 115 | 1788 | 2146 | 2022 | 2398 | 8725 | 10221 | 9688 | 8576 | 3016 | 2705 | 1826 | 1802 | 2408 | 2449 | 2048 | 2184 | 11946 | 15122 | 18218 | 16935 | 1044 | 17731 | 492 | 3534 | 2502 | 1297 | 1288 | 1338 | 1384 | 1514 | 1542 | 1425 | 1430 | 207 | 247 | 350 | 333 | 1378 | 1773 | 548 | 572
618 | 116 | 692 | 111 | 1749 | 2084 | 1987 | 2333 | 8318 | 9656 | 9213 | 8038 | 2914 | 2635 | 1767 | 1760 | 2322 | 2368 | 2013 | 2152 | 11372 | 14497 | 17369 | 16114 | 1009 | 16959 | 477 | 3380 | 2403 | 1267 | 1247 | 1320 | 1351 | 1481 | 1492 | 1394 | 1395 | 204 | 246 | 348 | 337 | 1331 | 1715 | 557 | 556
620 | 114 | 671 | 107 | 1690 | 2013 | 1920 | 2269 | 7788 | 9211 | 8679 | 7655 | 2811 | 2534 | 1720 | 1696 | 2261 | 2292 | 1961 | 2103 | 10870 | 13895 | 16514 | 15486 | 977 | 16160 | 458 | 3252 | 2300 | 1239 | 1225 | 1274 | 1309 | 1423 | 1457 | 1358 | 1348 | 200 | 245 | 342 | 327 | 1275 | 1649 | 534 | 547
622 | 112 | 657 | 102 | 1651 | 1959 | 1866 | 2208 | 7452 | 8706 | 8330 | 7267 | 2725 | 2479 | 1694 | 1654 | 2223 | 2237 | 1887 | 2033 | 10415 | 13201 | 15786 | 14750 | 962 | 15421 | 444 | 3086 | 2211 | 1192 | 1193 | 1239 | 1288 | 1396 | 1404 | 1335 | 1315 | 198 | 239 | 336 | 320 | 1237 | 1590 | 525 | 531
624 | 106 | 641 | 97 | 1611 | 1909 | 1834 | 2141 | 7050 | 8272 | 7919 | 6903 | 2637 | 2351 | 1640 | 1616 | 2144 | 2160 | 1851 | 1967 | 9884 | 12553 | 14888 | 14060 | 934 | 14632 | 430 | 2967 | 2118 | 1170 | 1170 | 1203 | 1243 | 1348 | 1377 | 1285 | 1305 | 191 | 228 | 332 | 315 | 1177 | 1527 | 515 | 512
626 | 101 | 620 | 95 | 1574 | 1871 | 1769 | 2102 | 6712 | 7917 | 7549 | 6564 | 2533 | 2294 | 1591 | 1573 | 2076 | 2120 | 1806 | 1915 | 9416 | 12067 | 14235 | 13431 | 911 | 14018 | 417 | 2856 | 2053 | 1132 | 1138 | 1178 | 1222 | 1307 | 1333 | 1255 | 1258 | 188 | 231 | 329 | 306 | 1127 | 1478 | 489 | 503
628 | 101 | 611 | 97 | 1522 | 1802 | 1724 | 2040 | 6366 | 7508 | 7203 | 6261 | 2465 | 2216 | 1551 | 1525 | 2012 | 2041 | 1770 | 1856 | 9074 | 11467 | 13615 | 12716 | 870 | 13346 | 409 | 2699 | 1935 | 1093 | 1096 | 1151 | 1182 | 1287 | 1294 | 1222 | 1224 | 188 | 225 | 321 | 306 | 1108 | 1427 | 483 | 490
630 | 95 | 594 | 90 | 1474 | 1744 | 1662 | 1981 | 6061 | 7095 | 6888 | 5951 | 2362 | 2155 | 1515 | 1477 | 1956 | 1973 | 1711 | 1793 | 8646 | 10919 | 12913 | 12179 | 851 | 12665 | 388 | 2581 | 1860 | 1086 | 1083 | 1110 | 1147 | 1241 | 1250 | 1192 | 1196 | 181 | 219 | 314 | 303 | 1047 | 1367 | 472 | 479
632 | 90 | 579 | 88 | 1437 | 1706 | 1615 | 1924 | 5786 | 6784 | 6551 | 5695 | 2279 | 2078 | 1481 | 1450 | 1894 | 1925 | 1677 | 1740 | 8267 | 10435 | 12261 | 11533 | 812 | 12011 | 374 | 2501 | 1786 | 1040 | 1029 | 1074 | 1110 | 1203 | 1222 | 1137 | 1156 | 180 | 210 | 308 | 297 | 1015 | 1314 | 455 | 463
634 | 89 | 565 | 78 | 1388 | 1647 | 1565 | 1846 | 5561 | 6490 | 6307 | 5416 | 2199 | 1995 | 1421 | 1403 | 1864 | 1848 | 1626 | 1680 | 7990 | 9945 | 11737 | 11037 | 799 | 11398 | 368 | 2404 | 1694 | 1007 | 1005 | 1059 | 1074 | 1179 | 1188 | 1103 | 1129 | 175 | 211 | 300 | 289 | 975 | 1269 | 443 | 448
636 | 87 | 551 | 82 | 1340 | 1594 | 1517 | 1813 | 5285 | 6314 | 6051 | 5177 | 2117 | 1920 | 1393 | 1359 | 1795 | 1797 | 1594 | 1656 | 7551 | 9488 | 11182 | 10523 | 761 | 10922 | 360 | 2295 | 1631 | 992 | 987 | 1010 | 1068 | 1145 | 1154 | 1086 | 1094 | 172 | 211 | 293 | 287 | 942 | 1210 | 418 | 435
638 | 82 | 532 | 78 | 1309 | 1554 | 1472 | 1752 | 5125 | 6042 | 5825 | 4997 | 2050 | 1851 | 1343 | 1331 | 1729 | 1750 | 1536 | 1585 | 7215 | 9064 | 10660 | 10062 | 744 | 10439 | 341 | 2174 | 1581 | 961 | 960 | 990 | 1025 | 1100 | 1112 | 1059 | 1070 | 170 | 204 | 290 | 284 | 922 | 1170 | 412 | 415
640 | 81 | 508 | 76 | 1257 | 1485 | 1424 | 1703 | 4915 | 5822 | 5662 | 4785 | 1997 | 1749 | 1303 | 1279 | 1690 | 1687 | 1509 | 1549 | 6899 | 8584 | 10174 | 9563 | 717 | 9934 | 338 | 2100 | 1518 | 919 | 918 | 964 | 997 | 1081 | 1094 | 1042 | 1028 | 162 | 200 | 291 | 274 | 866 | 1128 | 391 | 408
End Time | 29.9 C4: 2025-06-27 12:44:12
Mode | C1: Absorbance
Name | C1: blue 1
Measurement wavelength [nm] | 29.9 C4: 640
Number of flashes | 29.9 C4: 10
Settle time [ms] | 29.9 C4: 50
Part of Plate | 29.9 C4: C1-E12;F1-F8
Start Time | 29.9 C4: 2025-06-27 12:44:15
Temperature [°C] | 29.9 C4: 29.9
<> | C1: 1; C2: 2; C3: 3; 29.9 C4: 4; 29.9 C5: 5; 29.9 C6: 6; 29.9 C7: 7; 29.9 C8: 8; 29.9 C9: 9; 29.9 C10: 10; 29.9 C11: 11; 29.9 C12: 12; 29.9 D1: Start; 29.9 D2: DOE 1.3.1; 29.9 D3: DOE 1.3.1; 29.9 D4: DOE 1.3.2; 29.9 D5: DOE 1.3.2; 29.9 D6: DOE 2.3.1; 29.9 D7: DOE 2.3.1; 29.9 D8: DOE 2.3.2; 29.9 D9: DOE 2.3.2
A | 29.9 D2: 0.0491; 29.9 D3: 0.0475; 29.9 D4: 0.0478; 29.9 D5: 0.041; 29.9 D6: 0.0341; 29.9 D7: 0.0293; 29.9 D8: 0.0394; 29.9 D9: 0.0283
B
C | C1: 0.0459; C2: 0.0918; C3: 0.0389; 29.9 C4: 0.0413; 29.9 C5: 0.0444; 29.9 C6: 0.0436; 29.9 C7: 0.0523; 29.9 C8: 0.9682; 29.9 C9: 0.9375; 29.9 C10: 0.7268; 29.9 C11: 0.7984; 29.9 C12: 0.0448
D | C1: 0.0451; C2: 0.0449; C3: 0.0444; 29.9 C4: 0.6668; 29.9 C5: 0.5495; 29.9 C6: 0.2705; 29.9 C7: 0.1553; 29.9 C8: 0.0462; 29.9 C9: 0.0446; 29.9 C10: 0.0452; 29.9 C11: 0.0463; 29.9 C12: 0.077
E | C1: 0.0526; C2: 0.0454; C3: 0.044; 29.9 C4: 0.0478; 29.9 C5: 0.1409; 29.9 C6: 0.1393; 29.9 C7: 0.1396; 29.9 C8: 0.1328; 29.9 C9: 0.1259; 29.9 C10: 0.1211; 29.9 C11: 0.1312; 29.9 C12: 0.1201
F | C1: 0.0441; C2: 0.0423; C3: 0.0411; 29.9 C4: 0.041; 29.9 C5: 0.0423; 29.9 C6: 0.0426; 29.9 C7: 0.043; 29.9 C8: 0.0411
G
H
End Time | 29.9 C4: 2025-06-27 12:44:27
Mode | C1: Absorbance
Name | C1: blue 2
Measurement wavelength [nm] | 29.9 C4: 640
Number of flashes | 29.9 C4: 10
Settle time [ms] | 29.9 C4: 50
Part of Plate | 29.9 C4: C1-E12;F1-F8
Start Time | 29.9 C4: 2025-06-27 12:44:30
Temperature [°C] | 29.9 C4: 29.7
<> | C1: 1; C2: 2; C3: 3; 29.9 C4: 4; 29.9 C5: 5; 29.9 C6: 6; 29.9 C7: 7; 29.9 C8: 8; 29.9 C9: 9; 29.9 C10: 10; 29.9 C11: 11; 29.9 C12: 12; 29.9 D1: Start; 29.9 D2: DOE 1.3.1; 29.9 D3: DOE 1.3.1; 29.9 D4: DOE 1.3.2; 29.9 D5: DOE 1.3.2; 29.9 D6: DOE 2.3.1; 29.9 D7: DOE 2.3.1; 29.9 D8: DOE 2.3.2; 29.9 D9: DOE 2.3.2
A | 29.9 D2: 0.0552; 29.9 D3: 0.0548; 29.9 D4: 0.0533; 29.9 D5: 0.0444; 29.9 D6: 0.0398; 29.9 D7: 0.0365; 29.9 D8: 0.0465; 29.9 D9: 0.034
B
C | C1: 0.0459; C2: 0.085; C3: 0.0401; 29.9 C4: 0.0413; 29.9 C5: 0.0445; 29.9 C6: 0.0436; 29.9 C7: 0.0522; 29.9 C8: 1.0466; 29.9 C9: 0.9749; 29.9 C10: 0.7845; 29.9 C11: 0.88; 29.9 C12: 0.0446
D | C1: 0.0452; C2: 0.0451; C3: 0.0445; 29.9 C4: 0.6677; 29.9 C5: 0.5502; 29.9 C6: 0.2721; 29.9 C7: 0.1554; 29.9 C8: 0.0461; 29.9 C9: 0.0444; 29.9 C10: 0.0449; 29.9 C11: 0.0464; 29.9 C12: 0.0773
E | C1: 0.0526; C2: 0.0456; C3: 0.0437; 29.9 C4: 0.0478; 29.9 C5: 0.1402; 29.9 C6: 0.1398; 29.9 C7: 0.1383; 29.9 C8: 0.1294; 29.9 C9: 0.1248; 29.9 C10: 0.1215; 29.9 C11: 0.1315; 29.9 C12: 0.119
F | C1: 0.0441; C2: 0.0422; C3: 0.0412; 29.9 C4: 0.0411; 29.9 C5: 0.0424; 29.9 C6: 0.0426; 29.9 C7: 0.045; 29.9 C8: 0.041
G
H
End Time | 29.9 C4: 2025-06-27 12:44:42
Mode | C1: Absorbance
Name | C1: red 1
Measurement wavelength [nm] | 29.9 C4: 530
Number of flashes | 29.9 C4: 10
Settle time [ms] | 29.9 C4: 50
Part of Plate | 29.9 C4: C1-E12;F1-F8
Start Time | 29.9 C4: 2025-06-27 12:44:45
Temperature [°C] | 29.9 C4: 29.6
<> | C1: 1; C2: 2; C3: 3; 29.9 C4: 4; 29.9 C5: 5; 29.9 C6: 6; 29.9 C7: 7; 29.9 C8: 8; 29.9 C9: 9; 29.9 C10: 10; 29.9 C11: 11; 29.9 C12: 12; 29.9 D1: Start; 29.9 D2: DOE 1.3.1; 29.9 D3: DOE 1.3.1; 29.9 D4: DOE 1.3.2; 29.9 D5: DOE 1.3.2; 29.9 D6: DOE 2.3.1; 29.9 D7: DOE 2.3.1; 29.9 D8: DOE 2.3.2; 29.9 D9: DOE 2.3.2
A | 29.9 D2: 0.0142; 29.9 D3: 0.0124; 29.9 D4: 0.0118; 29.9 D5: 0.0142; 29.9 D6: 0.0116; 29.9 D7: 0.0145; 29.9 D8: 0.0112; 29.9 D9: 0.0089
B
C | C1: 0.0523; C2: 0.0992; C3: 0.0417; 29.9 C4: 0.0644; 29.9 C5: 0.0688; 29.9 C6: 0.0665; 29.9 C7: 0.0814; 29.9 C8: 0.4351; 29.9 C9: 0.4343; 29.9 C10: 0.3593; 29.9 C11: 0.3705; 29.9 C12: 0.0619
D | C1: 0.0629; C2: 0.0608; C3: 0.0604; 29.9 C4: 0.3437; 29.9 C5: 0.2887; 29.9 C6: 0.1701; 29.9 C7: 0.1164; 29.9 C8: 0.0694; 29.9 C9: 0.0697; 29.9 C10: 0.0679; 29.9 C11: 0.0707; 29.9 C12: 0.0842
E | C1: 0.0755; C2: 0.05; C3: 0.0524; 29.9 C4: 0.0557; 29.9 C5: 0.1585; 29.9 C6: 0.1592; 29.9 C7: 0.1651; 29.9 C8: 0.1535; 29.9 C9: 0.1537; 29.9 C10: 0.1496; 29.9 C11: 0.1584; 29.9 C12: 0.146
F | C1: 0.0559; C2: 0.0541; C3: 0.0535; 29.9 C4: 0.0559; 29.9 C5: 0.0533; 29.9 C6: 0.0562; 29.9 C7: 0.0529; 29.9 C8: 0.0506
G
H
End Time | 29.9 C4: 2025-06-27 12:44:57
Mode | C1: Absorbance
Name | C1: red 2
Measurement wavelength [nm] | 29.9 C4: 530
Number of flashes | 29.9 C4: 10
Settle time [ms] | 29.9 C4: 50
Part of Plate | 29.9 C4: C1-E12;F1-F8
Start Time | 29.9 C4: 2025-06-27 12:45:00
Temperature [°C] | 29.9 C4: 29.6
<> | C1: 1; C2: 2; C3: 3; 29.9 C4: 4; 29.9 C5: 5; 29.9 C6: 6; 29.9 C7: 7; 29.9 C8: 8; 29.9 C9: 9; 29.9 C10: 10; 29.9 C11: 11; 29.9 C12: 12; 29.9 D1: Start; 29.9 D2: DOE 1.3.1; 29.9 D3: DOE 1.3.1; 29.9 D4: DOE 1.3.2; 29.9 D5: DOE 1.3.2; 29.9 D6: DOE 2.3.1; 29.9 D7: DOE 2.3.1; 29.9 D8: DOE 2.3.2; 29.9 D9: DOE 2.3.2
A | 29.9 D2: 0.0119; 29.9 D3: 0.0099; 29.9 D4: 0.0094; 29.9 D5: 0.0118; 29.9 D6: 0.0094; 29.9 D7: 0.0122; 29.9 D8: 0.0093; 29.9 D9: 0.0068
B
C | C1: 0.0491; C2: 0.1003; C3: 0.044; 29.9 C4: 0.0644; 29.9 C5: 0.0687; 29.9 C6: 0.0663; 29.9 C7: 0.0813; 29.9 C8: 0.4405; 29.9 C9: 0.4427; 29.9 C10: 0.3662; 29.9 C11: 0.3733; 29.9 C12: 0.0619
D | C1: 0.063; C2: 0.0608; C3: 0.0603; 29.9 C4: 0.3443; 29.9 C5: 0.288; 29.9 C6: 0.1702; 29.9 C7: 0.1166; 29.9 C8: 0.0693; 29.9 C9: 0.0697; 29.9 C10: 0.068; 29.9 C11: 0.0706; 29.9 C12: 0.0851
E | C1: 0.0755; C2: 0.05; C3: 0.0528; 29.9 C4: 0.0549; 29.9 C5: 0.1592; 29.9 C6: 0.1595; 29.9 C7: 0.1637; 29.9 C8: 0.1538; 29.9 C9: 0.1527; 29.9 C10: 0.1494; 29.9 C11: 0.1599; 29.9 C12: 0.1463
F | C1: 0.0559; C2: 0.0539; C3: 0.0534; 29.9 C4: 0.0558; 29.9 C5: 0.0534; 29.9 C6: 0.0562; 29.9 C7: 0.0533; 29.9 C8: 0.0508
G
H
End Time | 29.9 C4: 2025-06-27 12:45:11
Ex | Blank | BlankB | BlankR | Karina | Karina | Karina | Karina | Karina | Karina | Karina | Karina | Karina | Karina | Karina | Karina | Karina | Karina | Karina | Karina | Karina | Karina | Karina | Karina | Karina | Error | DOE 1.3 | DOE 2.3 | DOE 2.3 | DOE 1.3 | DOE 1.3 | DOE 1.3 | DOE 1.3 | DOE 2.3 | DOE 2.3 | DOE 2.3 | DOE 2.3 | DOE 1.3 | DOE 1.3 | DOE 1.3 | DOE 1.3 | DOE 2.3 | DOE 2.3 | DOE 2.3 | DOE 2.3
Ex | Blank | BlankB | BlankR | f | f | f | f | f | f | f | f | f | f | f | f | f | f | f | f | f | f | f | f | f | f | f | f | f | b | b | b | b | b | b | b | b | r | r | r | r | r | r | r | r
Ex | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1