## Result sheet
Method name: LS_241112_Fluorescence_Actino_Sample (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1708008206
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦PODI:V1.10.2
Date: |  |  |  | 2025-06-29
Time: |  |  |  | 11:17
System |  |  |  | IBVT171
User |  |  |  | IBVT171\Tecan
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Wait
Shaking
Wait
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Label 1
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Label 2
| Absorbance |  |  |  |  | blue 1
| Absorbance |  |  |  |  | blue 2
| Absorbance |  |  |  |  | red 1
| Absorbance |  |  |  |  | red 2
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | A1-A12;B1-B11
Start Time |  |  |  | 2025-06-29 10:38:25
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 30
Wait minimum [°C] |  |  |  | 29
Wait maximum [°C] |  |  |  | 31
End Time |  |  |  | 2025-06-29 10:38:26
Start Time |  |  |  | 2025-06-29 10:38:26
Shaking (Linear) Duration [s] |  |  |  | 7
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-06-29 10:38:33
Start Time |  |  |  | 2025-06-29 10:38:33
Wait (Time) hh:mm:ss |  |  |  | 00:05:01
Wait position |  |  |  | Current
End Time |  |  |  | 2025-06-29 10:43:34
Start Time |  |  |  | 2025-06-29 10:43:34
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-06-29 10:43:44
Start Time |  |  |  | 2025-06-29 10:43:44
Wait (Time) hh:mm:ss |  |  |  | 00:00:10
Wait position |  |  |  | Current
End Time |  |  |  | 2025-06-29 10:43:54
Mode | Fluorescence Intensity Scan Top Reading
Name | Label 1
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-A12;B1-B11
Start Time |  |  |  | 2025-06-29 10:43:54
Temperature [°C] |  |  |  | 29.9
Wavel. | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | Start | DOE 1.5.1 | DOE 1.5.2 | DOE 2.5.1 | DOE 2.5.2
520 | 2682 | 2425 | 2907 | 9918 | 9094 | 8273 | 23630 | 3017 | 3089 | 3300 | 3403 | 2895 | 2908 | 3650 | 3607 | 3702 | 3637 | 3733 | 3627 | 4545 | 4439 | 8929 | 9440
522 | 466 | 602 | 433 | 8488 | 7768 | 6918 | 22684 | 1098 | 1079 | 1017 | 1021 | 970 | 1009 | 2274 | 2266 | 1333 | 1766 | 1430 | 1389 | 2119 | 2566 | 6902 | 7905
524 | 390 | 556 | 330 | 8654 | 7883 | 7030 | 23266 | 1054 | 1024 | 980 | 956 | 949 | 972 | 2335 | 2305 | 1277 | 1772 | 1410 | 1353 | 2118 | 2607 | 7187 | 8193
526 | 398 | 568 | 331 | 8827 | 8004 | 7180 | 23891 | 1089 | 1061 | 1015 | 988 | 979 | 985 | 2466 | 2423 | 1299 | 1810 | 1448 | 1389 | 2193 | 2707 | 7585 | 8653
528 | 397 | 586 | 328 | 8904 | 8101 | 7308 | 24403 | 1107 | 1079 | 1038 | 1002 | 1004 | 1025 | 2531 | 2522 | 1331 | 1851 | 1468 | 1409 | 2249 | 2772 | 7863 | 9075
530 | 405 | 597 | 328 | 9020 | 8177 | 7405 | 24843 | 1141 | 1102 | 1056 | 1028 | 1029 | 1037 | 2661 | 2616 | 1367 | 1908 | 1510 | 1435 | 2325 | 2875 | 8292 | 9442
532 | 406 | 614 | 328 | 8983 | 8216 | 7489 | 25050 | 1163 | 1130 | 1090 | 1055 | 1053 | 1057 | 2743 | 2721 | 1400 | 1958 | 1548 | 1468 | 2387 | 2973 | 8682 | 9910
534 | 407 | 624 | 330 | 9000 | 8199 | 7471 | 25412 | 1179 | 1154 | 1092 | 1079 | 1066 | 1087 | 2845 | 2784 | 1427 | 1982 | 1584 | 1508 | 2456 | 3052 | 9043 | 10361
536 | 408 | 639 | 332 | 8978 | 8144 | 7459 | 25376 | 1203 | 1178 | 1118 | 1086 | 1076 | 1113 | 2905 | 2855 | 1467 | 2016 | 1621 | 1523 | 2551 | 3126 | 9443 | 10771
538 | 411 | 650 | 339 | 8978 | 8102 | 7504 | 25345 | 1214 | 1188 | 1126 | 1089 | 1109 | 1116 | 2971 | 2923 | 1486 | 2069 | 1642 | 1537 | 2588 | 3197 | 9771 | 11150
540 | 415 | 656 | 342 | 8976 | 8088 | 7521 | 25548 | 1227 | 1198 | 1138 | 1110 | 1114 | 1123 | 3002 | 2991 | 1512 | 2090 | 1678 | 1591 | 2639 | 3260 | 10020 | 11473
542 | 422 | 671 | 340 | 8910 | 8057 | 7462 | 25395 | 1229 | 1209 | 1153 | 1120 | 1120 | 1139 | 3075 | 3039 | 1559 | 2143 | 1701 | 1624 | 2689 | 3345 | 10251 | 11814
544 | 428 | 685 | 341 | 8901 | 8054 | 7475 | 25338 | 1253 | 1231 | 1151 | 1125 | 1129 | 1145 | 3094 | 3058 | 1587 | 2185 | 1736 | 1639 | 2718 | 3339 | 10556 | 12102
546 | 421 | 691 | 345 | 8804 | 7984 | 7361 | 25177 | 1256 | 1226 | 1159 | 1132 | 1137 | 1155 | 3087 | 3045 | 1616 | 2212 | 1782 | 1675 | 2740 | 3374 | 10654 | 12257
548 | 426 | 700 | 348 | 8670 | 7840 | 7256 | 24801 | 1252 | 1231 | 1168 | 1137 | 1131 | 1153 | 3080 | 3043 | 1634 | 2262 | 1805 | 1702 | 2718 | 3354 | 10682 | 12275
550 | 426 | 706 | 349 | 8588 | 7792 | 7107 | 24545 | 1256 | 1225 | 1170 | 1131 | 1142 | 1149 | 3034 | 3010 | 1663 | 2298 | 1825 | 1747 | 2720 | 3346 | 10753 | 12255
552 | 434 | 716 | 351 | 8538 | 7683 | 6950 | 24205 | 1254 | 1232 | 1158 | 1133 | 1117 | 1145 | 3027 | 2968 | 1692 | 2330 | 1872 | 1784 | 2697 | 3315 | 10748 | 12257
554 | 438 | 726 | 347 | 8335 | 7567 | 6827 | 23779 | 1238 | 1216 | 1148 | 1128 | 1099 | 1126 | 2965 | 2900 | 1725 | 2403 | 1871 | 1817 | 2632 | 3264 | 10643 | 12172
556 | 431 | 733 | 357 | 8316 | 7466 | 6733 | 23336 | 1235 | 1211 | 1139 | 1121 | 1106 | 1128 | 2929 | 2851 | 1747 | 2429 | 1908 | 1823 | 2586 | 3208 | 10592 | 12136
558 | 442 | 731 | 353 | 8157 | 7398 | 6581 | 22641 | 1225 | 1203 | 1136 | 1116 | 1099 | 1122 | 2856 | 2799 | 1778 | 2480 | 1968 | 1888 | 2565 | 3128 | 10477 | 12005
560 | 443 | 742 | 354 | 8099 | 7304 | 6376 | 22223 | 1207 | 1196 | 1123 | 1107 | 1093 | 1119 | 2816 | 2773 | 1821 | 2535 | 1988 | 1925 | 2534 | 3093 | 10390 | 11802
562 | 448 | 743 | 347 | 7969 | 7234 | 6268 | 21902 | 1220 | 1206 | 1121 | 1109 | 1075 | 1102 | 2766 | 2725 | 1857 | 2587 | 2029 | 1967 | 2487 | 3037 | 10281 | 11623
564 | 445 | 734 | 346 | 7816 | 7060 | 6100 | 21146 | 1203 | 1195 | 1111 | 1093 | 1077 | 1104 | 2692 | 2664 | 1904 | 2631 | 2064 | 1998 | 2407 | 2980 | 10124 | 11478
566 | 443 | 731 | 344 | 7673 | 6965 | 5940 | 20535 | 1201 | 1184 | 1107 | 1088 | 1062 | 1087 | 2646 | 2585 | 1935 | 2678 | 2113 | 2041 | 2374 | 2883 | 9868 | 11264
568 | 441 | 740 | 338 | 7507 | 6793 | 5730 | 20028 | 1176 | 1161 | 1097 | 1083 | 1050 | 1072 | 2583 | 2537 | 1963 | 2729 | 2126 | 2090 | 2308 | 2820 | 9770 | 11155
570 | 442 | 727 | 334 | 7356 | 6658 | 5574 | 19297 | 1168 | 1146 | 1071 | 1055 | 1035 | 1057 | 2516 | 2496 | 2004 | 2758 | 2181 | 2134 | 2230 | 2759 | 9523 | 10880
572 | 433 | 717 | 325 | 7201 | 6493 | 5400 | 18626 | 1144 | 1132 | 1073 | 1051 | 1032 | 1034 | 2460 | 2436 | 2012 | 2780 | 2205 | 2153 | 2193 | 2685 | 9355 | 10708
574 | 431 | 722 | 318 | 7035 | 6359 | 5255 | 18006 | 1123 | 1117 | 1046 | 1034 | 996 | 1025 | 2403 | 2374 | 2038 | 2842 | 2232 | 2206 | 2122 | 2620 | 9197 | 10416
576 | 420 | 709 | 311 | 6918 | 6176 | 5062 | 17443 | 1111 | 1092 | 1037 | 1017 | 986 | 1008 | 2375 | 2316 | 2049 | 2854 | 2281 | 2245 | 2088 | 2541 | 9013 | 10295
578 | 415 | 698 | 299 | 6737 | 6066 | 4935 | 16842 | 1099 | 1094 | 1009 | 1000 | 971 | 985 | 2300 | 2274 | 2082 | 2914 | 2297 | 2268 | 2040 | 2493 | 8916 | 10098
580 | 402 | 685 | 280 | 6551 | 5906 | 4758 | 16260 | 1082 | 1063 | 999 | 997 | 946 | 967 | 2224 | 2212 | 2121 | 2930 | 2314 | 2286 | 1987 | 2430 | 8691 | 9820
582 | 386 | 679 | 284 | 6389 | 5765 | 4577 | 15597 | 1036 | 1046 | 985 | 970 | 926 | 955 | 2198 | 2174 | 2138 | 2953 | 2328 | 2306 | 1921 | 2376 | 8523 | 9786
584 | 369 | 650 | 269 | 6201 | 5565 | 4417 | 15014 | 1030 | 1019 | 960 | 934 | 899 | 921 | 2122 | 2094 | 2131 | 2947 | 2367 | 2328 | 1871 | 2290 | 8345 | 9475
586 | 363 | 634 | 257 | 6054 | 5412 | 4252 | 14513 | 1009 | 999 | 942 | 928 | 879 | 902 | 2090 | 2027 | 2143 | 2954 | 2363 | 2342 | 1835 | 2221 | 8187 | 9305
588 | 351 | 620 | 243 | 5851 | 5254 | 4053 | 13978 | 977 | 970 | 927 | 905 | 846 | 874 | 2015 | 1974 | 2155 | 2972 | 2384 | 2328 | 1761 | 2142 | 7976 | 9087
590 | 338 | 599 | 236 | 5635 | 5097 | 3956 | 13525 | 948 | 957 | 898 | 885 | 832 | 856 | 1948 | 1917 | 2174 | 2974 | 2402 | 2349 | 1708 | 2090 | 7798 | 8883
592 | 322 | 580 | 224 | 5515 | 4962 | 3797 | 13072 | 928 | 929 | 888 | 868 | 810 | 824 | 1900 | 1868 | 2165 | 2963 | 2394 | 2351 | 1664 | 2031 | 7572 | 8645
594 | 306 | 558 | 212 | 5333 | 4796 | 3632 | 12559 | 904 | 900 | 850 | 842 | 786 | 801 | 1854 | 1824 | 2146 | 2965 | 2381 | 2374 | 1613 | 1975 | 7383 | 8419
596 | 292 | 542 | 202 | 5201 | 4662 | 3461 | 12009 | 873 | 875 | 832 | 824 | 750 | 783 | 1796 | 1742 | 2141 | 2935 | 2377 | 2357 | 1557 | 1887 | 7155 | 8169
598 | 280 | 524 | 200 | 5079 | 4514 | 3362 | 11642 | 865 | 856 | 814 | 800 | 741 | 757 | 1725 | 1694 | 2135 | 2925 | 2346 | 2348 | 1502 | 1818 | 7008 | 7902
600 | 262 | 502 | 188 | 4893 | 4388 | 3214 | 11163 | 836 | 823 | 792 | 784 | 708 | 721 | 1677 | 1639 | 2118 | 2905 | 2336 | 2340 | 1441 | 1757 | 6760 | 7673
602 | 252 | 493 | 171 | 4726 | 4230 | 3069 | 10701 | 818 | 802 | 769 | 772 | 677 | 705 | 1619 | 1583 | 2089 | 2898 | 2321 | 2312 | 1391 | 1710 | 6511 | 7447
604 | 245 | 474 | 168 | 4617 | 4131 | 2952 | 10336 | 793 | 783 | 759 | 747 | 663 | 685 | 1566 | 1540 | 2098 | 2857 | 2319 | 2284 | 1353 | 1637 | 6322 | 7281
606 | 234 | 458 | 164 | 4468 | 3992 | 2813 | 9939 | 774 | 768 | 729 | 718 | 643 | 649 | 1533 | 1489 | 2080 | 2846 | 2314 | 2283 | 1296 | 1587 | 6140 | 7010
608 | 226 | 447 | 160 | 4337 | 3869 | 2711 | 9532 | 752 | 746 | 712 | 714 | 630 | 639 | 1475 | 1452 | 2072 | 2831 | 2278 | 2285 | 1244 | 1525 | 5962 | 6731
610 | 219 | 433 | 152 | 4224 | 3800 | 2610 | 9267 | 741 | 725 | 694 | 688 | 606 | 617 | 1441 | 1415 | 2053 | 2766 | 2273 | 2255 | 1216 | 1468 | 5740 | 6563
612 | 211 | 423 | 150 | 4109 | 3654 | 2493 | 8877 | 723 | 707 | 683 | 679 | 579 | 593 | 1385 | 1351 | 2017 | 2770 | 2261 | 2230 | 1168 | 1417 | 5608 | 6352
614 | 200 | 409 | 141 | 3978 | 3543 | 2394 | 8479 | 702 | 695 | 663 | 656 | 568 | 588 | 1337 | 1318 | 1990 | 2728 | 2222 | 2187 | 1126 | 1360 | 5388 | 6122
616 | 196 | 393 | 135 | 3838 | 3429 | 2305 | 8099 | 678 | 665 | 642 | 641 | 545 | 565 | 1300 | 1287 | 1962 | 2692 | 2204 | 2162 | 1075 | 1310 | 5202 | 5900
618 | 190 | 376 | 134 | 3710 | 3298 | 2188 | 7783 | 666 | 646 | 629 | 628 | 521 | 551 | 1254 | 1228 | 1947 | 2670 | 2177 | 2176 | 1036 | 1269 | 5028 | 5658
620 | 179 | 374 | 125 | 3611 | 3218 | 2081 | 7464 | 647 | 632 | 613 | 616 | 511 | 531 | 1215 | 1195 | 1905 | 2635 | 2151 | 2112 | 992 | 1211 | 4886 | 5480
622 | 174 | 357 | 121 | 3475 | 3081 | 1990 | 7104 | 622 | 610 | 601 | 595 | 500 | 511 | 1160 | 1155 | 1895 | 2560 | 2105 | 2088 | 963 | 1166 | 4690 | 5306
624 | 162 | 346 | 114 | 3375 | 2966 | 1919 | 6782 | 609 | 596 | 586 | 583 | 482 | 500 | 1133 | 1119 | 1872 | 2535 | 2089 | 2058 | 928 | 1139 | 4490 | 5121
626 | 158 | 329 | 112 | 3273 | 2895 | 1810 | 6611 | 587 | 571 | 570 | 564 | 466 | 480 | 1092 | 1073 | 1834 | 2488 | 2076 | 2038 | 893 | 1083 | 4358 | 4946
628 | 157 | 324 | 109 | 3136 | 2792 | 1746 | 6305 | 574 | 566 | 552 | 543 | 447 | 465 | 1062 | 1040 | 1795 | 2448 | 2035 | 1997 | 872 | 1051 | 4194 | 4786
630 | 149 | 306 | 107 | 3010 | 2691 | 1672 | 5980 | 556 | 539 | 534 | 530 | 437 | 447 | 1029 | 988 | 1765 | 2397 | 1982 | 1974 | 837 | 1012 | 4060 | 4625
632 | 143 | 305 | 101 | 2918 | 2587 | 1580 | 5753 | 535 | 528 | 527 | 525 | 417 | 435 | 981 | 976 | 1719 | 2370 | 1959 | 1935 | 807 | 975 | 3910 | 4445
634 | 138 | 289 | 98 | 2830 | 2512 | 1507 | 5525 | 527 | 517 | 509 | 510 | 407 | 429 | 959 | 948 | 1715 | 2339 | 1916 | 1903 | 767 | 947 | 3781 | 4321
636 | 136 | 280 | 95 | 2693 | 2415 | 1457 | 5298 | 500 | 495 | 503 | 489 | 391 | 411 | 922 | 901 | 1668 | 2274 | 1888 | 1863 | 733 | 908 | 3674 | 4190
638 | 130 | 268 | 89 | 2609 | 2314 | 1388 | 5074 | 500 | 486 | 477 | 475 | 381 | 390 | 890 | 858 | 1622 | 2219 | 1847 | 1826 | 717 | 874 | 3545 | 4021
640 | 125 | 260 | 87 | 2524 | 2231 | 1349 | 4862 | 481 | 467 | 460 | 462 | 368 | 389 | 858 | 850 | 1565 | 2163 | 1767 | 1770 | 697 | 844 | 3429 | 3895
End Time | 29.9 A4: 2025-06-29 11:00:25
Mode | A1: Fluorescence Intensity Scan Top Reading
Name | A1: Label 2
Scan selection | 29.9 A4: Emission Scan
Excitation | 29.9 A4: Monochromator
Excitation wavelength [nm] | 29.9 A4: 483
Excitation bandwidth [nm] | 29.9 A4: 20
Emission wavelength start [nm] | 29.9 A4: 520
Emission wavelength end [nm] | 29.9 A4: 640
Emission wavelength step size [nm] | 29.9 A4: 2
Emission scan number | 29.9 A4: 61
Emission bandwidth [nm] | 29.9 A4: 20
Gain Manual | 29.9 A4: 100
Mirror | 29.9 A4: Automatic (Dichroic 510)
Number of flashes | 29.9 A4: 30
Integration time [µs] | 29.9 A4: 40
Lag time [µs] | 29.9 A4: 0
Settle time [ms] | 29.9 A4: 0
Z-Position [μm] | 29.9 A4: 20000
Z-Position mode | 29.9 A4: Manual
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-06-29 11:00:30
Temperature [°C] | 29.9 A4: 30
Wavel. | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | Start | DOE 1.5.1 | DOE 1.5.2 | DOE 2.5.1 | DOE 2.5.2
520 | 2540 | 2544 | 3163 | 9512 | 8711 | 7643 | 21939 | 3057 | 3111 | 2877 | 3040 | 2911 | 2981 | 4054 | 3616 | 3589 | 3763 | 3846 | 3602 | 4655 | 4345 | 8213 | 8930
522 | 434 | 643 | 401 | 7961 | 7328 | 6604 | 21275 | 1109 | 1118 | 1044 | 1047 | 1012 | 1041 | 2214 | 2211 | 1135 | 1565 | 1238 | 1226 | 1864 | 2326 | 6215 | 7031
524 | 372 | 616 | 294 | 8122 | 7419 | 6743 | 21979 | 1090 | 1079 | 996 | 987 | 985 | 1005 | 2271 | 2244 | 1090 | 1534 | 1212 | 1172 | 1853 | 2303 | 6432 | 7328
526 | 371 | 634 | 290 | 8237 | 7563 | 6905 | 22672 | 1121 | 1110 | 1032 | 1011 | 1011 | 1031 | 2351 | 2351 | 1119 | 1581 | 1237 | 1192 | 1909 | 2397 | 6810 | 7771
528 | 369 | 661 | 284 | 8358 | 7632 | 7004 | 23071 | 1143 | 1146 | 1051 | 1061 | 1037 | 1050 | 2439 | 2451 | 1145 | 1621 | 1262 | 1223 | 1985 | 2473 | 7093 | 8115
530 | 375 | 685 | 288 | 8375 | 7684 | 7093 | 23366 | 1176 | 1168 | 1079 | 1072 | 1069 | 1090 | 2511 | 2495 | 1169 | 1651 | 1307 | 1253 | 2047 | 2551 | 7372 | 8484
532 | 378 | 706 | 291 | 8397 | 7654 | 7145 | 23530 | 1200 | 1199 | 1096 | 1098 | 1088 | 1112 | 2589 | 2579 | 1210 | 1712 | 1327 | 1280 | 2123 | 2646 | 7735 | 8899
534 | 379 | 729 | 292 | 8419 | 7686 | 7171 | 23720 | 1232 | 1216 | 1124 | 1127 | 1113 | 1134 | 2657 | 2656 | 1221 | 1726 | 1359 | 1285 | 2180 | 2714 | 8097 | 9231
536 | 381 | 746 | 294 | 8414 | 7674 | 7155 | 23882 | 1242 | 1232 | 1142 | 1139 | 1145 | 1160 | 2726 | 2689 | 1250 | 1760 | 1394 | 1326 | 2215 | 2789 | 8389 | 9745
538 | 387 | 763 | 299 | 8373 | 7679 | 7176 | 23851 | 1270 | 1248 | 1152 | 1163 | 1151 | 1173 | 2750 | 2746 | 1274 | 1791 | 1423 | 1340 | 2281 | 2834 | 8646 | 9942
540 | 388 | 798 | 295 | 8328 | 7605 | 7143 | 23883 | 1288 | 1265 | 1172 | 1168 | 1169 | 1192 | 2814 | 2807 | 1299 | 1832 | 1441 | 1381 | 2320 | 2926 | 8919 | 10350
542 | 392 | 807 | 302 | 8324 | 7611 | 7110 | 24023 | 1292 | 1295 | 1175 | 1180 | 1194 | 1203 | 2840 | 2830 | 1330 | 1875 | 1461 | 1403 | 2354 | 2958 | 9190 | 10586
544 | 393 | 830 | 301 | 8283 | 7576 | 7082 | 23921 | 1308 | 1298 | 1201 | 1214 | 1204 | 1214 | 2879 | 2839 | 1354 | 1920 | 1499 | 1453 | 2392 | 3003 | 9323 | 10811
546 | 394 | 848 | 306 | 8243 | 7458 | 7022 | 23651 | 1324 | 1312 | 1210 | 1225 | 1207 | 1209 | 2875 | 2857 | 1386 | 1976 | 1545 | 1463 | 2399 | 3006 | 9530 | 11017
548 | 400 | 846 | 304 | 8158 | 7422 | 6908 | 23542 | 1338 | 1308 | 1215 | 1223 | 1213 | 1228 | 2873 | 2853 | 1413 | 1994 | 1554 | 1492 | 2402 | 3009 | 9600 | 11084
550 | 405 | 860 | 301 | 8015 | 7261 | 6741 | 23111 | 1316 | 1313 | 1219 | 1220 | 1212 | 1219 | 2818 | 2805 | 1435 | 2012 | 1575 | 1512 | 2404 | 2978 | 9513 | 11071
552 | 408 | 871 | 304 | 7974 | 7238 | 6616 | 22784 | 1337 | 1321 | 1211 | 1214 | 1198 | 1225 | 2821 | 2813 | 1458 | 2056 | 1598 | 1539 | 2362 | 2947 | 9559 | 11025
554 | 412 | 874 | 305 | 7891 | 7147 | 6488 | 22297 | 1322 | 1316 | 1221 | 1223 | 1217 | 1220 | 2788 | 2788 | 1489 | 2112 | 1625 | 1576 | 2308 | 2914 | 9522 | 10973
556 | 410 | 883 | 306 | 7736 | 7073 | 6355 | 21847 | 1320 | 1307 | 1209 | 1209 | 1201 | 1213 | 2739 | 2743 | 1503 | 2138 | 1670 | 1598 | 2281 | 2858 | 9412 | 10877
558 | 414 | 879 | 307 | 7674 | 6937 | 6216 | 21368 | 1314 | 1304 | 1209 | 1214 | 1193 | 1206 | 2691 | 2703 | 1554 | 2190 | 1702 | 1633 | 2256 | 2813 | 9287 | 10741
560 | 415 | 884 | 310 | 7584 | 6855 | 6105 | 21067 | 1316 | 1310 | 1208 | 1216 | 1183 | 1196 | 2669 | 2646 | 1582 | 2215 | 1738 | 1671 | 2225 | 2744 | 9198 | 10616
562 | 422 | 886 | 302 | 7472 | 6797 | 5996 | 20614 | 1299 | 1313 | 1216 | 1213 | 1185 | 1207 | 2651 | 2618 | 1604 | 2276 | 1762 | 1721 | 2185 | 2692 | 9159 | 10544
564 | 418 | 879 | 303 | 7362 | 6676 | 5761 | 19867 | 1295 | 1293 | 1204 | 1210 | 1176 | 1186 | 2600 | 2589 | 1651 | 2324 | 1798 | 1769 | 2140 | 2661 | 8986 | 10379
566 | 420 | 881 | 295 | 7231 | 6575 | 5604 | 19403 | 1282 | 1288 | 1197 | 1201 | 1163 | 1179 | 2556 | 2534 | 1676 | 2346 | 1835 | 1806 | 2088 | 2578 | 8781 | 10081
568 | 420 | 874 | 295 | 7067 | 6390 | 5477 | 18763 | 1275 | 1269 | 1172 | 1187 | 1149 | 1153 | 2488 | 2502 | 1700 | 2408 | 1862 | 1828 | 2026 | 2550 | 8689 | 9980
570 | 412 | 857 | 287 | 6951 | 6243 | 5318 | 18353 | 1249 | 1241 | 1174 | 1180 | 1128 | 1147 | 2462 | 2435 | 1732 | 2421 | 1901 | 1879 | 1995 | 2451 | 8452 | 9753
572 | 410 | 851 | 285 | 6781 | 6125 | 5176 | 17703 | 1248 | 1234 | 1162 | 1159 | 1125 | 1129 | 2392 | 2388 | 1732 | 2451 | 1928 | 1894 | 1941 | 2403 | 8374 | 9593
574 | 412 | 837 | 275 | 6636 | 6008 | 5006 | 16944 | 1221 | 1213 | 1140 | 1144 | 1103 | 1101 | 2363 | 2353 | 1769 | 2497 | 1952 | 1925 | 1893 | 2336 | 8210 | 9414
576 | 390 | 822 | 270 | 6449 | 5877 | 4854 | 16543 | 1202 | 1194 | 1132 | 1123 | 1084 | 1080 | 2299 | 2299 | 1799 | 2516 | 1973 | 1952 | 1840 | 2274 | 8123 | 9256
578 | 393 | 817 | 263 | 6307 | 5696 | 4673 | 15924 | 1182 | 1179 | 1113 | 1124 | 1058 | 1086 | 2247 | 2231 | 1819 | 2558 | 2008 | 1998 | 1785 | 2209 | 7909 | 9079
580 | 380 | 790 | 253 | 6162 | 5590 | 4511 | 15275 | 1167 | 1152 | 1086 | 1080 | 1037 | 1040 | 2188 | 2204 | 1844 | 2594 | 2028 | 2010 | 1731 | 2158 | 7761 | 8906
582 | 368 | 783 | 243 | 5960 | 5415 | 4378 | 14795 | 1133 | 1142 | 1059 | 1076 | 1018 | 1018 | 2151 | 2155 | 1846 | 2594 | 2032 | 2033 | 1700 | 2118 | 7650 | 8746
584 | 358 | 753 | 236 | 5834 | 5286 | 4203 | 14281 | 1111 | 1116 | 1043 | 1049 | 988 | 1001 | 2079 | 2082 | 1851 | 2612 | 2046 | 2049 | 1650 | 2051 | 7479 | 8553
586 | 341 | 748 | 224 | 5628 | 5110 | 4079 | 13773 | 1092 | 1087 | 1032 | 1032 | 968 | 976 | 2056 | 2040 | 1859 | 2609 | 2085 | 2071 | 1609 | 1994 | 7303 | 8372
588 | 333 | 720 | 215 | 5499 | 4975 | 3895 | 13209 | 1062 | 1066 | 1016 | 1016 | 945 | 947 | 1997 | 1983 | 1867 | 2627 | 2087 | 2069 | 1557 | 1922 | 7133 | 8160
590 | 315 | 694 | 207 | 5408 | 4824 | 3757 | 12769 | 1042 | 1036 | 987 | 983 | 915 | 931 | 1948 | 1931 | 1855 | 2629 | 2090 | 2074 | 1522 | 1860 | 6973 | 7986
592 | 302 | 678 | 196 | 5168 | 4647 | 3592 | 12282 | 1013 | 1017 | 968 | 972 | 884 | 899 | 1877 | 1877 | 1877 | 2614 | 2084 | 2084 | 1466 | 1811 | 6768 | 7730
594 | 288 | 648 | 191 | 5058 | 4543 | 3466 | 11752 | 993 | 996 | 954 | 943 | 866 | 877 | 1827 | 1815 | 1870 | 2593 | 2103 | 2082 | 1417 | 1743 | 6596 | 7561
596 | 279 | 638 | 180 | 4889 | 4425 | 3328 | 11375 | 964 | 961 | 919 | 928 | 846 | 847 | 1781 | 1771 | 1851 | 2612 | 2092 | 2088 | 1374 | 1703 | 6399 | 7326
598 | 261 | 619 | 170 | 4740 | 4295 | 3225 | 10960 | 936 | 954 | 897 | 900 | 815 | 826 | 1725 | 1724 | 1853 | 2597 | 2077 | 2053 | 1327 | 1632 | 6243 | 7147
600 | 252 | 591 | 160 | 4598 | 4142 | 3066 | 10554 | 915 | 918 | 872 | 883 | 792 | 794 | 1686 | 1671 | 1846 | 2559 | 2058 | 2054 | 1266 | 1566 | 6064 | 6915
602 | 237 | 572 | 158 | 4421 | 3983 | 2912 | 10121 | 894 | 899 | 864 | 859 | 763 | 777 | 1628 | 1604 | 1827 | 2539 | 2042 | 2039 | 1240 | 1504 | 5823 | 6641
604 | 227 | 552 | 150 | 4337 | 3895 | 2832 | 9724 | 875 | 886 | 832 | 837 | 734 | 752 | 1575 | 1577 | 1810 | 2524 | 2037 | 2032 | 1194 | 1457 | 5665 | 6497
606 | 222 | 536 | 144 | 4220 | 3792 | 2701 | 9385 | 851 | 847 | 818 | 821 | 718 | 723 | 1537 | 1518 | 1804 | 2531 | 2036 | 2020 | 1145 | 1418 | 5462 | 6264
608 | 213 | 513 | 135 | 4106 | 3670 | 2581 | 8940 | 832 | 825 | 806 | 797 | 702 | 702 | 1492 | 1487 | 1786 | 2504 | 2014 | 2005 | 1116 | 1375 | 5310 | 6081
610 | 203 | 502 | 134 | 4001 | 3572 | 2502 | 8706 | 802 | 816 | 784 | 780 | 678 | 683 | 1449 | 1461 | 1786 | 2452 | 1998 | 1978 | 1069 | 1323 | 5154 | 5878
612 | 198 | 479 | 130 | 3879 | 3480 | 2386 | 8317 | 790 | 801 | 766 | 762 | 658 | 667 | 1405 | 1401 | 1757 | 2463 | 1972 | 1973 | 1034 | 1255 | 4954 | 5693
614 | 192 | 472 | 126 | 3737 | 3341 | 2302 | 8004 | 767 | 766 | 743 | 745 | 636 | 642 | 1368 | 1349 | 1739 | 2423 | 1965 | 1949 | 1002 | 1206 | 4785 | 5475
616 | 183 | 452 | 119 | 3629 | 3262 | 2174 | 7716 | 751 | 753 | 724 | 728 | 621 | 634 | 1318 | 1322 | 1712 | 2390 | 1909 | 1950 | 957 | 1188 | 4637 | 5230
618 | 175 | 434 | 115 | 3513 | 3126 | 2112 | 7350 | 724 | 733 | 705 | 705 | 596 | 594 | 1297 | 1282 | 1699 | 2361 | 1922 | 1890 | 923 | 1122 | 4481 | 5107
620 | 173 | 425 | 112 | 3403 | 3029 | 2003 | 7024 | 714 | 711 | 695 | 696 | 582 | 582 | 1239 | 1232 | 1666 | 2340 | 1875 | 1877 | 884 | 1098 | 4315 | 4934
622 | 162 | 406 | 106 | 3296 | 2945 | 1908 | 6761 | 688 | 697 | 675 | 683 | 563 | 567 | 1205 | 1206 | 1640 | 2290 | 1859 | 1831 | 865 | 1042 | 4149 | 4778
624 | 156 | 400 | 103 | 3191 | 2847 | 1841 | 6458 | 668 | 674 | 653 | 662 | 548 | 550 | 1166 | 1157 | 1618 | 2265 | 1838 | 1811 | 828 | 999 | 4020 | 4540
626 | 150 | 382 | 103 | 3081 | 2752 | 1750 | 6245 | 648 | 647 | 634 | 651 | 534 | 542 | 1130 | 1112 | 1602 | 2229 | 1820 | 1802 | 785 | 968 | 3888 | 4447
628 | 145 | 373 | 97 | 2999 | 2678 | 1651 | 5942 | 632 | 638 | 620 | 619 | 517 | 519 | 1099 | 1093 | 1572 | 2190 | 1769 | 1780 | 761 | 943 | 3746 | 4260
630 | 146 | 355 | 95 | 2876 | 2556 | 1591 | 5647 | 609 | 618 | 588 | 598 | 497 | 501 | 1061 | 1030 | 1531 | 2138 | 1765 | 1736 | 739 | 907 | 3630 | 4140
632 | 139 | 347 | 95 | 2761 | 2459 | 1514 | 5457 | 590 | 592 | 590 | 587 | 481 | 478 | 1024 | 1006 | 1495 | 2081 | 1719 | 1698 | 706 | 854 | 3520 | 4000
634 | 136 | 334 | 92 | 2651 | 2367 | 1467 | 5193 | 581 | 590 | 573 | 574 | 467 | 470 | 986 | 970 | 1493 | 2051 | 1690 | 1660 | 694 | 842 | 3384 | 3839
636 | 130 | 320 | 86 | 2569 | 2295 | 1411 | 5019 | 557 | 567 | 551 | 552 | 453 | 448 | 947 | 951 | 1469 | 2018 | 1655 | 1653 | 663 | 809 | 3260 | 3747
638 | 123 | 314 | 82 | 2474 | 2221 | 1344 | 4800 | 549 | 553 | 537 | 537 | 436 | 446 | 931 | 925 | 1420 | 1966 | 1616 | 1609 | 638 | 781 | 3141 | 3599
640 | 121 | 298 | 79 | 2410 | 2133 | 1285 | 4557 | 529 | 529 | 516 | 524 | 425 | 425 | 886 | 886 | 1377 | 1928 | 1565 | 1565 | 605 | 747 | 3015 | 3483
End Time | 30 A4: 2025-06-29 11:17:01
Mode | A1: Absorbance
Name | A1: blue 1
Measurement wavelength [nm] | 30 A4: 640
Number of flashes | 30 A4: 10
Settle time [ms] | 30 A4: 50
Part of Plate | 30 A4: A1-A12;B1-B11
Start Time | 30 A4: 2025-06-29 11:17:04
Temperature [°C] | 30 A4: 30
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Start | DOE 1.5.1 | DOE 1.5.1 | DOE 1.5.2 | DOE 1.5.2 | DOE 2.5.1 | DOE 2.5.1 | DOE 2.5.2 | DOE 2.5.2
A | A1: 0.0414; A2: 0.0873; A3: 0.0417; 30 A4: 0.0865; 30 A5: 0.0722; 30 A6: 0.044; 30 A7: 0.055; 30 A8: 0.1262; 30 A9: 0.1471; 30 A10: 0.1425; 30 A11: 0.137; 30 A12: 0.0855
B | A1: 0.0829; A2: 0.1074; A3: 0.1077; 30 A4: 0.0441; 30 A5: 0.046; 30 A6: 0.0455; 30 A7: 0.0453; 30 A8: 0.0417; 30 A9: 0.0503; 30 A10: 0.0448; 30 A11: 0.0453
C
D
E
F
G
H
End Time | 30 A4: 2025-06-29 11:17:12
Mode | A1: Absorbance
Name | A1: blue 2
Measurement wavelength [nm] | 30 A4: 640
Number of flashes | 30 A4: 10
Settle time [ms] | 30 A4: 50
Part of Plate | 30 A4: A1-A12;B1-B11
Start Time | 30 A4: 2025-06-29 11:17:15
Temperature [°C] | 30 A4: 30
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Start | DOE 1.5.1 | DOE 1.5.1 | DOE 1.5.2 | DOE 1.5.2 | DOE 2.5.1 | DOE 2.5.1 | DOE 2.5.2 | DOE 2.5.2
A | A1: 0.0415; A2: 0.0934; A3: 0.0417; 30 A4: 0.0866; 30 A5: 0.0722; 30 A6: 0.0442; 30 A7: 0.055; 30 A8: 0.1495; 30 A9: 0.1624; 30 A10: 0.16; 30 A11: 0.1622; 30 A12: 0.0855
B | A1: 0.0828; A2: 0.1176; A3: 0.118; 30 A4: 0.0442; 30 A5: 0.046; 30 A6: 0.0454; 30 A7: 0.0453; 30 A8: 0.0417; 30 A9: 0.0501; 30 A10: 0.0449; 30 A11: 0.0457
C
D
E
F
G
H
End Time | 30 A4: 2025-06-29 11:17:23
Mode | A1: Absorbance
Name | A1: red 1
Measurement wavelength [nm] | 30 A4: 530
Number of flashes | 30 A4: 10
Settle time [ms] | 30 A4: 50
Part of Plate | 30 A4: A1-A12;B1-B11
Start Time | 30 A4: 2025-06-29 11:17:25
Temperature [°C] | 30 A4: 30
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Start | DOE 1.5.1 | DOE 1.5.1 | DOE 1.5.2 | DOE 1.5.2 | DOE 2.5.1 | DOE 2.5.1 | DOE 2.5.2 | DOE 2.5.2
A | A1: 0.0445; A2: 0.1142; A3: 0.0448; 30 A4: 0.1216; 30 A5: 0.1004; 30 A6: 0.0534; 30 A7: 0.0741; 30 A8: 0.1288; 30 A9: 0.1341; 30 A10: 0.1296; 30 A11: 0.1326; 30 A12: 0.107
B | A1: 0.1047; A2: 0.1206; A3: 0.121; 30 A4: 0.096; 30 A5: 0.102; 30 A6: 0.1006; 30 A7: 0.0993; 30 A8: 0.0592; 30 A9: 0.0691; 30 A10: 0.1359; 30 A11: 0.1491
C
D
E
F
G
H
End Time | 30 A4: 2025-06-29 11:17:33
Mode | A1: Absorbance
Name | A1: red 2
Measurement wavelength [nm] | 30 A4: 530
Number of flashes | 30 A4: 10
Settle time [ms] | 30 A4: 50
Part of Plate | 30 A4: A1-A12;B1-B11
Start Time | 30 A4: 2025-06-29 11:17:36
Temperature [°C] | 30 A4: 30
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Start | DOE 1.5.1 | DOE 1.5.1 | DOE 1.5.2 | DOE 1.5.2 | DOE 2.5.1 | DOE 2.5.1 | DOE 2.5.2 | DOE 2.5.2
A | A1: 0.0443; A2: 0.1143; A3: 0.0444; 30 A4: 0.1216; 30 A5: 0.1004; 30 A6: 0.0537; 30 A7: 0.0741; 30 A8: 0.1302; 30 A9: 0.1354; 30 A10: 0.1316; 30 A11: 0.1338; 30 A12: 0.1077
B | A1: 0.105; A2: 0.1215; A3: 0.1225; 30 A4: 0.0961; 30 A5: 0.1017; 30 A6: 0.1004; 30 A7: 0.0997; 30 A8: 0.0592; 30 A9: 0.0687; 30 A10: 0.1359; 30 A11: 0.1489
C
D
E
F
G
H
End Time | 30 A4: 2025-06-29 11:17:43
Ex | Blank | BlankB | BlankR | DOE 1.5 | DOE 1.5 | DOE 2.5 | DOE 2.5 | DOE 1.5 | DOE 1.5 | DOE 1.5 | DOE 1.5 | DOE 2.5 | DOE 2.5 | DOE 2.5 | DOE 2.5 | DOE 1.5 | DOE 1.5 | DOE 1.5 | DOE 1.5 | DOE 2.5 | DOE 2.5 | DOE 2.5 | DOE 2.5
Ex | Blank | BlankB | BlankR | f | f | f | f | b | b | b | b | b | b | b | b | r | r | r | r | r | r | r | r
Ex | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1