## Result sheet
Method name: LS_241112_Fluorescence_Actino_Sample (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1708008206
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦PODI:V1.10.2
Date: |  |  |  | 2025-07-01
Time: |  |  |  | 12:00
System |  |  |  | IBVT171
User |  |  |  | IBVT171\Tecan
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Wait
Shaking
Wait
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Label 1
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Label 2
| Absorbance |  |  |  |  | blue 1
| Absorbance |  |  |  |  | blue 2
| Absorbance |  |  |  |  | red 1
| Absorbance |  |  |  |  | red 2
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | F1-F12;G1-G11
Start Time |  |  |  | 2025-07-01 11:20:52
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 30
Wait minimum [°C] |  |  |  | 29
Wait maximum [°C] |  |  |  | 31
End Time |  |  |  | 2025-07-01 11:20:52
Start Time |  |  |  | 2025-07-01 11:20:52
Shaking (Linear) Duration [s] |  |  |  | 7
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-07-01 11:20:59
Start Time |  |  |  | 2025-07-01 11:20:59
Wait (Time) hh:mm:ss |  |  |  | 00:05:01
Wait position |  |  |  | Current
End Time |  |  |  | 2025-07-01 11:26:00
Start Time |  |  |  | 2025-07-01 11:26:00
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-07-01 11:26:10
Start Time |  |  |  | 2025-07-01 11:26:10
Wait (Time) hh:mm:ss |  |  |  | 00:00:10
Wait position |  |  |  | Current
End Time |  |  |  | 2025-07-01 11:26:20
Mode | Fluorescence Intensity Scan Top Reading
Name | Label 1
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | F1-F12;G1-G11
Start Time |  |  |  | 2025-07-01 11:26:20
Temperature [°C] |  |  |  | 30
Wavel. | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | Start | DOE 1.7.1 | DOE 1.7.2 | DOE 2.7.1 | DOE 2.7.2
520 | 1886 | 2260 | 2478 | 33208 | 22175 | 22322 | 22771 | 5034 | 4949 | 3818 | 4032 | 4792 | 4974 | 5039 | 4678 | 7083 | 6444 | 6078 | 5599 | 6979 | 7306 | 6602 | 7027
522 | 482 | 817 | 337 | 32646 | 21343 | 21682 | 22130 | 3328 | 3452 | 2288 | 2338 | 3063 | 3127 | 3431 | 3125 | 4853 | 3897 | 3554 | 3386 | 4992 | 5849 | 4582 | 5167
524 | 431 | 795 | 247 | 33334 | 21733 | 22262 | 22644 | 3445 | 3584 | 2343 | 2385 | 3191 | 3262 | 3574 | 3235 | 5114 | 4058 | 3578 | 3426 | 5176 | 6064 | 4727 | 5314
526 | 436 | 824 | 242 | 33638 | 22153 | 22756 | 23268 | 3655 | 3814 | 2447 | 2512 | 3416 | 3489 | 3822 | 3467 | 5548 | 4338 | 3709 | 3509 | 5455 | 6368 | 4990 | 5574
528 | 438 | 849 | 240 | 33962 | 22499 | 23177 | 23721 | 3771 | 3948 | 2555 | 2630 | 3646 | 3663 | 4041 | 3632 | 5871 | 4583 | 3807 | 3646 | 5722 | 6650 | 5147 | 5810
530 | 439 | 880 | 241 | 34266 | 22614 | 23607 | 24296 | 3964 | 4149 | 2635 | 2767 | 3874 | 3903 | 4324 | 3844 | 6391 | 4865 | 3915 | 3731 | 5994 | 6995 | 5404 | 6072
532 | 445 | 918 | 236 | 34005 | 22667 | 23770 | 24468 | 4107 | 4306 | 2763 | 2872 | 4103 | 4115 | 4605 | 4003 | 6841 | 5195 | 4028 | 3860 | 6329 | 7316 | 5639 | 6354
534 | 449 | 936 | 234 | 33879 | 22506 | 24017 | 24575 | 4206 | 4432 | 2848 | 2979 | 4298 | 4271 | 4796 | 4181 | 7292 | 5429 | 4098 | 3974 | 6534 | 7576 | 5823 | 6578
536 | 459 | 962 | 239 | 33772 | 22552 | 24189 | 24777 | 4330 | 4612 | 2913 | 3060 | 4519 | 4475 | 5004 | 4334 | 7765 | 5733 | 4229 | 4075 | 6799 | 7890 | 6105 | 6834
538 | 457 | 988 | 237 | 33533 | 22357 | 24209 | 24948 | 4425 | 4696 | 2975 | 3135 | 4643 | 4659 | 5195 | 4475 | 8147 | 6007 | 4330 | 4172 | 7036 | 8079 | 6224 | 7043
540 | 455 | 999 | 238 | 33230 | 22126 | 24489 | 24969 | 4535 | 4800 | 3024 | 3184 | 4757 | 4784 | 5322 | 4565 | 8591 | 6233 | 4447 | 4277 | 7316 | 8421 | 6451 | 7203
542 | 457 | 1045 | 240 | 33039 | 22307 | 24359 | 25002 | 4594 | 4855 | 3055 | 3248 | 4917 | 4824 | 5482 | 4669 | 8933 | 6469 | 4558 | 4370 | 7542 | 8657 | 6630 | 7397
544 | 466 | 1055 | 240 | 32803 | 22010 | 24530 | 25049 | 4609 | 4904 | 3093 | 3268 | 4995 | 4938 | 5516 | 4702 | 9268 | 6739 | 4703 | 4527 | 7758 | 8862 | 6769 | 7617
546 | 473 | 1083 | 249 | 32532 | 21916 | 24389 | 24944 | 4592 | 4842 | 3086 | 3252 | 5010 | 4920 | 5533 | 4755 | 9526 | 6789 | 4760 | 4667 | 7979 | 9089 | 6879 | 7766
548 | 476 | 1072 | 249 | 32120 | 21690 | 24084 | 24623 | 4591 | 4824 | 3064 | 3254 | 5027 | 4973 | 5462 | 4732 | 9573 | 6852 | 4833 | 4738 | 8046 | 9177 | 6991 | 7806
550 | 475 | 1100 | 255 | 31593 | 21363 | 23688 | 24224 | 4490 | 4766 | 3030 | 3189 | 4910 | 4872 | 5447 | 4676 | 9663 | 6943 | 4948 | 4824 | 8108 | 9263 | 7009 | 7814
552 | 481 | 1110 | 254 | 31364 | 21159 | 23541 | 24085 | 4417 | 4646 | 2999 | 3169 | 4880 | 4788 | 5361 | 4634 | 9746 | 6966 | 5078 | 4934 | 8165 | 9370 | 7015 | 7928
554 | 482 | 1117 | 253 | 30553 | 20786 | 23219 | 23526 | 4309 | 4518 | 2960 | 3116 | 4758 | 4720 | 5186 | 4566 | 9726 | 7002 | 5213 | 5086 | 8179 | 9337 | 7053 | 7887
556 | 489 | 1124 | 259 | 30072 | 20706 | 22882 | 23124 | 4226 | 4382 | 2922 | 3053 | 4652 | 4606 | 5053 | 4440 | 9681 | 6942 | 5311 | 5205 | 8188 | 9355 | 7035 | 7873
558 | 479 | 1144 | 259 | 29632 | 20275 | 22371 | 22763 | 4078 | 4262 | 2839 | 2949 | 4518 | 4480 | 4937 | 4330 | 9729 | 6938 | 5458 | 5302 | 8220 | 9412 | 7049 | 7895
560 | 491 | 1133 | 260 | 28960 | 19972 | 22013 | 22521 | 3924 | 4116 | 2782 | 2898 | 4421 | 4361 | 4764 | 4247 | 9700 | 6997 | 5544 | 5468 | 8282 | 9441 | 7054 | 7797
562 | 494 | 1148 | 262 | 28611 | 19860 | 21518 | 21955 | 3828 | 4041 | 2743 | 2849 | 4264 | 4247 | 4648 | 4182 | 9648 | 6968 | 5672 | 5570 | 8297 | 9490 | 7014 | 7847
564 | 492 | 1137 | 262 | 27823 | 19462 | 21282 | 21413 | 3690 | 3860 | 2670 | 2781 | 4147 | 4120 | 4488 | 4062 | 9634 | 7010 | 5763 | 5733 | 8373 | 9521 | 7003 | 7796
566 | 482 | 1164 | 264 | 27369 | 19039 | 20653 | 20844 | 3542 | 3704 | 2624 | 2697 | 3999 | 4022 | 4324 | 3959 | 9574 | 6961 | 5870 | 5854 | 8295 | 9514 | 7002 | 7734
568 | 485 | 1134 | 255 | 26520 | 18704 | 20075 | 20286 | 3420 | 3585 | 2588 | 2607 | 3875 | 3908 | 4183 | 3839 | 9528 | 6920 | 6015 | 5920 | 8346 | 9565 | 6973 | 7756
570 | 483 | 1137 | 249 | 25841 | 18328 | 19624 | 19700 | 3306 | 3426 | 2512 | 2544 | 3764 | 3753 | 4082 | 3674 | 9491 | 6884 | 6051 | 6053 | 8361 | 9584 | 6964 | 7675
572 | 479 | 1122 | 250 | 25056 | 18020 | 19099 | 19149 | 3202 | 3348 | 2450 | 2498 | 3644 | 3648 | 3946 | 3620 | 9440 | 6936 | 6165 | 6092 | 8380 | 9601 | 6878 | 7608
574 | 475 | 1120 | 244 | 24195 | 17521 | 18506 | 18529 | 3111 | 3181 | 2393 | 2439 | 3538 | 3561 | 3860 | 3535 | 9477 | 6940 | 6231 | 6144 | 8369 | 9574 | 6859 | 7571
576 | 462 | 1103 | 233 | 23832 | 17186 | 18092 | 18076 | 3000 | 3120 | 2344 | 2369 | 3430 | 3441 | 3741 | 3439 | 9428 | 6905 | 6264 | 6252 | 8419 | 9618 | 6847 | 7545
578 | 446 | 1103 | 229 | 23123 | 16742 | 17577 | 17421 | 2926 | 2997 | 2296 | 2308 | 3356 | 3368 | 3645 | 3357 | 9374 | 6896 | 6332 | 6250 | 8455 | 9615 | 6813 | 7542
580 | 441 | 1080 | 220 | 22354 | 16323 | 16973 | 16914 | 2827 | 2884 | 2250 | 2265 | 3243 | 3278 | 3546 | 3239 | 9268 | 6870 | 6314 | 6322 | 8399 | 9639 | 6726 | 7443
582 | 427 | 1063 | 212 | 21770 | 15923 | 16594 | 16375 | 2724 | 2813 | 2163 | 2207 | 3134 | 3204 | 3483 | 3207 | 9296 | 6828 | 6350 | 6293 | 8473 | 9651 | 6730 | 7447
584 | 411 | 1033 | 199 | 21096 | 15411 | 16040 | 15863 | 2639 | 2718 | 2113 | 2145 | 3067 | 3098 | 3359 | 3107 | 9267 | 6744 | 6295 | 6284 | 8463 | 9661 | 6633 | 7365
586 | 399 | 1030 | 189 | 20447 | 15041 | 15742 | 15478 | 2563 | 2630 | 2083 | 2081 | 2970 | 3015 | 3284 | 3029 | 9132 | 6679 | 6336 | 6227 | 8475 | 9644 | 6613 | 7303
588 | 384 | 996 | 181 | 19744 | 14537 | 15231 | 14887 | 2459 | 2522 | 2032 | 2042 | 2879 | 2915 | 3157 | 2951 | 9084 | 6626 | 6271 | 6236 | 8399 | 9547 | 6531 | 7207
590 | 371 | 975 | 170 | 19057 | 14124 | 14781 | 14423 | 2385 | 2454 | 1964 | 1965 | 2808 | 2836 | 3075 | 2847 | 8933 | 6533 | 6243 | 6206 | 8382 | 9552 | 6458 | 7129
592 | 356 | 955 | 160 | 18388 | 13782 | 14299 | 13960 | 2302 | 2365 | 1914 | 1942 | 2692 | 2728 | 2965 | 2777 | 8778 | 6470 | 6167 | 6154 | 8292 | 9485 | 6380 | 7020
594 | 333 | 927 | 151 | 17741 | 13374 | 13966 | 13404 | 2251 | 2275 | 1869 | 1856 | 2619 | 2659 | 2875 | 2686 | 8671 | 6398 | 6128 | 6100 | 8232 | 9339 | 6283 | 6909
596 | 320 | 910 | 141 | 17174 | 12970 | 13432 | 12997 | 2158 | 2177 | 1806 | 1806 | 2543 | 2588 | 2792 | 2601 | 8464 | 6275 | 6129 | 6053 | 8112 | 9256 | 6184 | 6798
598 | 307 | 882 | 134 | 16686 | 12599 | 13105 | 12593 | 2089 | 2130 | 1768 | 1771 | 2463 | 2486 | 2702 | 2535 | 8317 | 6153 | 6014 | 6020 | 8024 | 9142 | 6061 | 6681
600 | 289 | 855 | 129 | 16080 | 12172 | 12648 | 12142 | 2018 | 2048 | 1722 | 1699 | 2388 | 2407 | 2591 | 2450 | 8114 | 5986 | 5974 | 5948 | 7922 | 8994 | 5971 | 6588
602 | 279 | 839 | 119 | 15464 | 11790 | 12227 | 11652 | 1925 | 1929 | 1651 | 1663 | 2275 | 2313 | 2500 | 2379 | 7949 | 5860 | 5910 | 5884 | 7735 | 8933 | 5845 | 6415
604 | 268 | 813 | 111 | 14977 | 11481 | 11876 | 11272 | 1853 | 1876 | 1617 | 1584 | 2221 | 2247 | 2447 | 2296 | 7787 | 5788 | 5868 | 5858 | 7647 | 8730 | 5774 | 6311
606 | 259 | 791 | 105 | 14532 | 11146 | 11481 | 10959 | 1789 | 1821 | 1568 | 1560 | 2151 | 2176 | 2357 | 2205 | 7655 | 5651 | 5782 | 5799 | 7508 | 8704 | 5617 | 6141
608 | 247 | 766 | 104 | 14091 | 10872 | 11097 | 10495 | 1719 | 1736 | 1519 | 1496 | 2069 | 2089 | 2289 | 2137 | 7439 | 5561 | 5749 | 5727 | 7408 | 8438 | 5471 | 6041
610 | 234 | 758 | 96 | 13597 | 10673 | 10834 | 10192 | 1661 | 1682 | 1491 | 1479 | 1991 | 2045 | 2207 | 2073 | 7324 | 5436 | 5678 | 5690 | 7314 | 8324 | 5417 | 5917
612 | 230 | 733 | 95 | 13058 | 10296 | 10504 | 9858 | 1606 | 1622 | 1457 | 1422 | 1929 | 1960 | 2115 | 2015 | 7137 | 5324 | 5593 | 5593 | 7144 | 8218 | 5270 | 5804
614 | 220 | 714 | 89 | 12613 | 10038 | 10086 | 9486 | 1541 | 1543 | 1401 | 1366 | 1858 | 1878 | 2047 | 1931 | 6964 | 5200 | 5523 | 5507 | 7017 | 8059 | 5161 | 5682
616 | 213 | 693 | 90 | 12174 | 9664 | 9789 | 9170 | 1500 | 1479 | 1366 | 1327 | 1794 | 1811 | 1987 | 1890 | 6778 | 5109 | 5464 | 5408 | 6883 | 7874 | 5061 | 5545
618 | 206 | 674 | 87 | 11690 | 9356 | 9446 | 8858 | 1428 | 1425 | 1304 | 1290 | 1735 | 1769 | 1906 | 1821 | 6627 | 4963 | 5408 | 5355 | 6762 | 7708 | 4965 | 5373
620 | 196 | 661 | 81 | 11285 | 9054 | 9178 | 8493 | 1365 | 1377 | 1265 | 1255 | 1683 | 1691 | 1838 | 1754 | 6472 | 4845 | 5299 | 5296 | 6629 | 7518 | 4810 | 5281
622 | 192 | 632 | 80 | 10833 | 8815 | 8832 | 8187 | 1316 | 1306 | 1236 | 1212 | 1613 | 1634 | 1776 | 1695 | 6308 | 4744 | 5227 | 5164 | 6510 | 7461 | 4732 | 5153
624 | 183 | 619 | 75 | 10395 | 8544 | 8575 | 7846 | 1293 | 1271 | 1204 | 1180 | 1563 | 1585 | 1720 | 1641 | 6194 | 4645 | 5125 | 5099 | 6378 | 7307 | 4624 | 5020
626 | 172 | 600 | 76 | 10005 | 8219 | 8328 | 7522 | 1234 | 1229 | 1181 | 1137 | 1518 | 1531 | 1650 | 1566 | 5958 | 4546 | 5023 | 4951 | 6253 | 7076 | 4491 | 4878
628 | 172 | 581 | 71 | 9665 | 7941 | 7980 | 7324 | 1212 | 1181 | 1146 | 1115 | 1469 | 1487 | 1623 | 1541 | 5857 | 4397 | 4893 | 4896 | 6152 | 6903 | 4360 | 4773
630 | 164 | 563 | 70 | 9255 | 7591 | 7751 | 6954 | 1149 | 1135 | 1095 | 1074 | 1423 | 1423 | 1567 | 1481 | 5680 | 4296 | 4771 | 4769 | 5942 | 6838 | 4266 | 4647
632 | 161 | 553 | 68 | 8878 | 7331 | 7388 | 6725 | 1108 | 1096 | 1071 | 1033 | 1379 | 1376 | 1511 | 1458 | 5553 | 4178 | 4700 | 4651 | 5874 | 6645 | 4163 | 4492
634 | 153 | 531 | 65 | 8559 | 7107 | 7153 | 6475 | 1101 | 1074 | 1054 | 998 | 1335 | 1345 | 1459 | 1404 | 5396 | 4075 | 4573 | 4533 | 5696 | 6497 | 4042 | 4411
636 | 147 | 509 | 63 | 8180 | 6829 | 6948 | 6221 | 1043 | 1033 | 1015 | 1005 | 1296 | 1305 | 1417 | 1347 | 5236 | 4004 | 4485 | 4472 | 5553 | 6315 | 3939 | 4307
638 | 143 | 500 | 61 | 7871 | 6583 | 6731 | 5967 | 1017 | 999 | 984 | 961 | 1251 | 1258 | 1368 | 1304 | 5067 | 3891 | 4364 | 4334 | 5423 | 6210 | 3828 | 4198
640 | 140 | 486 | 59 | 7602 | 6344 | 6430 | 5801 | 995 | 979 | 958 | 931 | 1205 | 1218 | 1318 | 1259 | 4916 | 3808 | 4208 | 4229 | 5268 | 6073 | 3729 | 4078
End Time | 30 F4: 2025-07-01 11:42:51
Mode | F1: Fluorescence Intensity Scan Top Reading
Name | F1: Label 2
Scan selection | 30 F4: Emission Scan
Excitation | 30 F4: Monochromator
Excitation wavelength [nm] | 30 F4: 483
Excitation bandwidth [nm] | 30 F4: 20
Emission wavelength start [nm] | 30 F4: 520
Emission wavelength end [nm] | 30 F4: 640
Emission wavelength step size [nm] | 30 F4: 2
Emission scan number | 30 F4: 61
Emission bandwidth [nm] | 30 F4: 20
Gain Manual | 30 F4: 100
Mirror | 30 F4: Automatic (Dichroic 510)
Number of flashes | 30 F4: 30
Integration time [µs] | 30 F4: 40
Lag time [µs] | 30 F4: 0
Settle time [ms] | 30 F4: 0
Z-Position [μm] | 30 F4: 20000
Z-Position mode | 30 F4: Manual
Part of Plate | 30 F4: F1-F12;G1-G11
Start Time | 30 F4: 2025-07-01 11:42:55
Temperature [°C] | 30 F4: 30
Wavel. | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | Start | DOE 1.7.1 | DOE 1.7.2 | DOE 2.7.1 | DOE 2.7.2
520 | 2170 | 2671 | 2879 | 31161 | 21036 | 20753 | 21324 | 4753 | 4633 | 3922 | 4234 | 4593 | 4538 | 4627 | 4293 | 6075 | 5281 | 5112 | 5091 | 6323 | 6905 | 6081 | 6408
522 | 446 | 843 | 326 | 30469 | 20355 | 20334 | 20659 | 3109 | 3213 | 2175 | 2203 | 2867 | 3035 | 3267 | 3076 | 4313 | 3448 | 3100 | 2977 | 4442 | 5231 | 4120 | 4556
524 | 408 | 835 | 224 | 31141 | 20553 | 20666 | 21229 | 3143 | 3314 | 2187 | 2221 | 2971 | 3143 | 3397 | 3148 | 4536 | 3561 | 3122 | 3010 | 4586 | 5417 | 4240 | 4704
526 | 405 | 873 | 213 | 31454 | 20890 | 21303 | 21752 | 3308 | 3443 | 2280 | 2301 | 3181 | 3330 | 3603 | 3310 | 4923 | 3845 | 3192 | 3116 | 4861 | 5676 | 4450 | 4941
528 | 410 | 909 | 217 | 31768 | 21066 | 21660 | 22235 | 3391 | 3578 | 2343 | 2389 | 3318 | 3516 | 3759 | 3503 | 5358 | 4085 | 3301 | 3188 | 5091 | 5946 | 4674 | 5179
530 | 413 | 960 | 215 | 31768 | 21200 | 21975 | 22600 | 3514 | 3707 | 2417 | 2501 | 3498 | 3648 | 3987 | 3616 | 5741 | 4368 | 3401 | 3309 | 5391 | 6284 | 4868 | 5407
532 | 413 | 997 | 207 | 31741 | 21218 | 22273 | 22911 | 3600 | 3847 | 2480 | 2572 | 3712 | 3856 | 4166 | 3808 | 6209 | 4654 | 3487 | 3428 | 5596 | 6505 | 5078 | 5672
534 | 414 | 1018 | 212 | 31719 | 21238 | 22591 | 23168 | 3704 | 3883 | 2562 | 2633 | 3825 | 3993 | 4335 | 3876 | 6611 | 4885 | 3584 | 3455 | 5885 | 6762 | 5290 | 5899
536 | 425 | 1064 | 210 | 31547 | 21093 | 22793 | 23443 | 3797 | 3995 | 2605 | 2695 | 4006 | 4150 | 4498 | 4040 | 7048 | 5179 | 3689 | 3592 | 6100 | 7067 | 5455 | 6115
538 | 423 | 1077 | 211 | 31427 | 21134 | 22727 | 23303 | 3812 | 4077 | 2652 | 2714 | 4064 | 4210 | 4595 | 4122 | 7419 | 5388 | 3759 | 3705 | 6266 | 7289 | 5651 | 6303
540 | 424 | 1122 | 212 | 31268 | 20946 | 22860 | 23443 | 3872 | 4129 | 2684 | 2783 | 4191 | 4324 | 4720 | 4200 | 7793 | 5587 | 3890 | 3786 | 6486 | 7560 | 5819 | 6498
542 | 430 | 1148 | 214 | 31158 | 20799 | 22719 | 23461 | 3945 | 4168 | 2714 | 2817 | 4291 | 4425 | 4806 | 4282 | 8093 | 5804 | 3968 | 3901 | 6732 | 7760 | 5993 | 6670
544 | 431 | 1185 | 217 | 30931 | 20641 | 22706 | 23386 | 3945 | 4208 | 2731 | 2841 | 4344 | 4498 | 4827 | 4334 | 8326 | 5988 | 4075 | 3992 | 6919 | 7999 | 6123 | 6831
546 | 434 | 1193 | 217 | 30490 | 20444 | 22679 | 23271 | 3967 | 4168 | 2746 | 2856 | 4373 | 4530 | 4859 | 4360 | 8581 | 6083 | 4182 | 4089 | 7074 | 8125 | 6220 | 6957
548 | 436 | 1217 | 224 | 30181 | 20319 | 22409 | 23048 | 3907 | 4153 | 2759 | 2810 | 4364 | 4472 | 4807 | 4346 | 8699 | 6185 | 4298 | 4191 | 7138 | 8202 | 6265 | 6996
550 | 445 | 1231 | 222 | 29435 | 20006 | 22122 | 22707 | 3873 | 4090 | 2726 | 2799 | 4313 | 4417 | 4773 | 4269 | 8701 | 6186 | 4336 | 4274 | 7172 | 8288 | 6287 | 7029
552 | 441 | 1251 | 223 | 29030 | 19860 | 22009 | 22486 | 3817 | 4063 | 2712 | 2828 | 4308 | 4444 | 4700 | 4231 | 8786 | 6252 | 4480 | 4358 | 7288 | 8369 | 6360 | 7044
554 | 449 | 1260 | 227 | 28538 | 19585 | 21513 | 22083 | 3757 | 3966 | 2671 | 2776 | 4199 | 4339 | 4592 | 4174 | 8754 | 6241 | 4566 | 4480 | 7293 | 8416 | 6386 | 7080
556 | 452 | 1265 | 225 | 28054 | 19286 | 21182 | 21633 | 3679 | 3882 | 2644 | 2730 | 4119 | 4240 | 4476 | 4104 | 8678 | 6212 | 4644 | 4583 | 7299 | 8355 | 6413 | 7083
558 | 457 | 1268 | 234 | 27524 | 19052 | 20872 | 21293 | 3599 | 3799 | 2629 | 2694 | 4015 | 4153 | 4386 | 4051 | 8654 | 6224 | 4743 | 4732 | 7338 | 8461 | 6351 | 7042
560 | 457 | 1283 | 229 | 26883 | 18761 | 20503 | 20885 | 3513 | 3728 | 2588 | 2652 | 3929 | 4063 | 4221 | 3971 | 8587 | 6173 | 4889 | 4864 | 7374 | 8487 | 6351 | 7015
562 | 459 | 1279 | 234 | 26672 | 18544 | 20205 | 20601 | 3449 | 3637 | 2555 | 2625 | 3839 | 3970 | 4137 | 3898 | 8575 | 6175 | 4992 | 4945 | 7407 | 8524 | 6345 | 7008
564 | 453 | 1279 | 237 | 26019 | 18443 | 19784 | 20147 | 3340 | 3544 | 2522 | 2567 | 3757 | 3851 | 4005 | 3828 | 8622 | 6232 | 5086 | 5056 | 7433 | 8501 | 6340 | 7005
566 | 461 | 1271 | 232 | 25368 | 17975 | 19365 | 19434 | 3254 | 3427 | 2471 | 2530 | 3622 | 3768 | 3912 | 3707 | 8595 | 6173 | 5190 | 5179 | 7399 | 8577 | 6291 | 6971
568 | 453 | 1254 | 225 | 24789 | 17824 | 18859 | 19030 | 3163 | 3344 | 2436 | 2449 | 3518 | 3670 | 3786 | 3651 | 8487 | 6155 | 5290 | 5230 | 7368 | 8556 | 6284 | 6898
570 | 448 | 1252 | 221 | 24014 | 17300 | 18283 | 18453 | 3047 | 3219 | 2394 | 2428 | 3427 | 3590 | 3644 | 3533 | 8452 | 6161 | 5395 | 5356 | 7421 | 8715 | 6221 | 6860
572 | 443 | 1237 | 222 | 23438 | 17066 | 17804 | 17963 | 2955 | 3131 | 2343 | 2353 | 3335 | 3479 | 3562 | 3454 | 8471 | 6154 | 5407 | 5402 | 7479 | 8773 | 6246 | 6832
574 | 437 | 1220 | 219 | 22793 | 16612 | 17356 | 17366 | 2901 | 3034 | 2293 | 2301 | 3226 | 3371 | 3490 | 3368 | 8483 | 6169 | 5459 | 5500 | 7461 | 8841 | 6193 | 6783
576 | 426 | 1210 | 209 | 22248 | 16118 | 16802 | 16895 | 2831 | 2957 | 2237 | 2270 | 3184 | 3292 | 3419 | 3302 | 8491 | 6138 | 5530 | 5532 | 7515 | 8711 | 6143 | 6829
578 | 424 | 1181 | 206 | 21616 | 15843 | 16440 | 16403 | 2736 | 2863 | 2188 | 2223 | 3083 | 3224 | 3328 | 3224 | 8368 | 6115 | 5535 | 5563 | 7496 | 8635 | 6162 | 6806
580 | 408 | 1163 | 196 | 20853 | 15437 | 15929 | 15774 | 2648 | 2770 | 2173 | 2173 | 3008 | 3114 | 3249 | 3151 | 8425 | 6120 | 5568 | 5559 | 7509 | 8642 | 6089 | 6731
582 | 402 | 1154 | 189 | 20262 | 15052 | 15543 | 15426 | 2597 | 2705 | 2111 | 2136 | 2941 | 3063 | 3139 | 3085 | 8311 | 6076 | 5603 | 5579 | 7537 | 8658 | 6072 | 6677
584 | 382 | 1123 | 178 | 19504 | 14516 | 15043 | 14884 | 2506 | 2605 | 2080 | 2061 | 2826 | 2968 | 3069 | 2987 | 8253 | 6018 | 5591 | 5563 | 7524 | 8630 | 6020 | 6606
586 | 372 | 1106 | 169 | 19011 | 14243 | 14627 | 14460 | 2444 | 2539 | 2029 | 2045 | 2775 | 2905 | 2988 | 2930 | 8228 | 6046 | 5595 | 5552 | 7504 | 8633 | 5975 | 6557
588 | 358 | 1067 | 161 | 18444 | 13768 | 14180 | 13928 | 2372 | 2445 | 1964 | 1990 | 2697 | 2812 | 2907 | 2841 | 8120 | 5914 | 5545 | 5549 | 7483 | 8623 | 5893 | 6506
590 | 336 | 1050 | 156 | 17886 | 13382 | 13822 | 13461 | 2324 | 2392 | 1917 | 1951 | 2609 | 2740 | 2841 | 2792 | 8031 | 5824 | 5501 | 5577 | 7462 | 8523 | 5847 | 6389
592 | 333 | 1019 | 143 | 17198 | 13003 | 13396 | 13027 | 2228 | 2310 | 1885 | 1876 | 2540 | 2662 | 2722 | 2699 | 7907 | 5796 | 5454 | 5490 | 7404 | 8478 | 5752 | 6308
594 | 315 | 988 | 135 | 16622 | 12569 | 12990 | 12642 | 2154 | 2210 | 1834 | 1830 | 2470 | 2577 | 2682 | 2636 | 7777 | 5667 | 5452 | 5432 | 7327 | 8371 | 5660 | 6223
596 | 300 | 966 | 127 | 15963 | 12230 | 12531 | 12096 | 2095 | 2162 | 1782 | 1804 | 2402 | 2501 | 2579 | 2543 | 7585 | 5590 | 5351 | 5424 | 7189 | 8282 | 5557 | 6086
598 | 288 | 947 | 123 | 15658 | 11952 | 12204 | 11823 | 2041 | 2081 | 1743 | 1767 | 2322 | 2428 | 2510 | 2467 | 7482 | 5479 | 5345 | 5364 | 7150 | 8142 | 5515 | 6027
600 | 276 | 911 | 116 | 15027 | 11551 | 11769 | 11391 | 1971 | 2014 | 1712 | 1709 | 2231 | 2358 | 2409 | 2408 | 7233 | 5373 | 5282 | 5322 | 7046 | 8089 | 5370 | 5909
602 | 258 | 891 | 110 | 14430 | 11270 | 11371 | 10939 | 1907 | 1928 | 1661 | 1659 | 2148 | 2300 | 2338 | 2316 | 7063 | 5227 | 5206 | 5257 | 6926 | 7968 | 5242 | 5775
604 | 253 | 860 | 103 | 14022 | 10907 | 11127 | 10600 | 1841 | 1860 | 1617 | 1610 | 2104 | 2202 | 2278 | 2237 | 6930 | 5140 | 5174 | 5223 | 6816 | 7825 | 5144 | 5696
606 | 242 | 841 | 99 | 13599 | 10568 | 10774 | 10260 | 1802 | 1826 | 1582 | 1573 | 2033 | 2148 | 2186 | 2179 | 6814 | 5048 | 5150 | 5129 | 6715 | 7738 | 5107 | 5538
608 | 231 | 813 | 93 | 13084 | 10300 | 10486 | 9951 | 1725 | 1748 | 1528 | 1517 | 1965 | 2093 | 2128 | 2129 | 6621 | 4942 | 5111 | 5054 | 6599 | 7569 | 4957 | 5455
610 | 221 | 802 | 91 | 12718 | 10028 | 10119 | 9615 | 1665 | 1693 | 1496 | 1493 | 1900 | 2011 | 2074 | 2050 | 6461 | 4847 | 5060 | 5049 | 6563 | 7481 | 4877 | 5316
612 | 214 | 771 | 88 | 12300 | 9749 | 9783 | 9240 | 1617 | 1646 | 1450 | 1449 | 1847 | 1966 | 2014 | 1992 | 6358 | 4768 | 5007 | 4997 | 6435 | 7330 | 4732 | 5196
614 | 206 | 745 | 84 | 11887 | 9495 | 9420 | 8870 | 1559 | 1585 | 1420 | 1419 | 1789 | 1883 | 1934 | 1929 | 6181 | 4618 | 4906 | 4918 | 6243 | 7228 | 4661 | 5084
616 | 202 | 730 | 82 | 11333 | 9218 | 9141 | 8604 | 1503 | 1527 | 1378 | 1374 | 1728 | 1824 | 1854 | 1865 | 6001 | 4546 | 4827 | 4824 | 6083 | 7037 | 4514 | 4942
618 | 191 | 704 | 78 | 10949 | 8898 | 8739 | 8249 | 1446 | 1459 | 1340 | 1316 | 1687 | 1777 | 1828 | 1809 | 5906 | 4426 | 4806 | 4763 | 6023 | 6961 | 4414 | 4836
620 | 181 | 677 | 73 | 10574 | 8592 | 8591 | 7934 | 1418 | 1413 | 1299 | 1284 | 1618 | 1729 | 1744 | 1765 | 5788 | 4348 | 4701 | 4680 | 5904 | 6802 | 4327 | 4718
622 | 174 | 657 | 72 | 10149 | 8325 | 8317 | 7677 | 1369 | 1362 | 1265 | 1259 | 1551 | 1654 | 1701 | 1700 | 5621 | 4219 | 4630 | 4638 | 5756 | 6704 | 4246 | 4575
624 | 170 | 646 | 70 | 9860 | 8108 | 8026 | 7390 | 1315 | 1320 | 1232 | 1212 | 1517 | 1607 | 1642 | 1634 | 5518 | 4145 | 4550 | 4527 | 5684 | 6516 | 4087 | 4470
626 | 166 | 628 | 68 | 9433 | 7797 | 7695 | 7140 | 1264 | 1288 | 1199 | 1181 | 1457 | 1555 | 1600 | 1596 | 5345 | 4049 | 4455 | 4435 | 5545 | 6480 | 4041 | 4392
628 | 162 | 612 | 63 | 9082 | 7545 | 7465 | 6852 | 1238 | 1227 | 1149 | 1143 | 1423 | 1510 | 1530 | 1522 | 5228 | 3951 | 4387 | 4340 | 5430 | 6312 | 3904 | 4250
630 | 151 | 584 | 62 | 8750 | 7275 | 7242 | 6570 | 1195 | 1196 | 1128 | 1121 | 1372 | 1441 | 1489 | 1507 | 5095 | 3846 | 4244 | 4262 | 5287 | 6072 | 3810 | 4167
632 | 147 | 566 | 61 | 8345 | 7003 | 6939 | 6290 | 1162 | 1142 | 1110 | 1085 | 1328 | 1407 | 1445 | 1433 | 4944 | 3779 | 4147 | 4134 | 5159 | 5968 | 3715 | 4046
634 | 142 | 554 | 59 | 8115 | 6766 | 6724 | 6083 | 1128 | 1117 | 1066 | 1057 | 1300 | 1380 | 1398 | 1391 | 4780 | 3663 | 4036 | 4046 | 5070 | 5780 | 3628 | 3940
636 | 140 | 530 | 57 | 7739 | 6501 | 6503 | 5875 | 1102 | 1086 | 1033 | 1025 | 1257 | 1335 | 1359 | 1365 | 4676 | 3556 | 3959 | 3985 | 4939 | 5730 | 3526 | 3873
638 | 131 | 517 | 55 | 7373 | 6231 | 6219 | 5641 | 1066 | 1053 | 1004 | 1006 | 1216 | 1303 | 1324 | 1304 | 4570 | 3445 | 3845 | 3864 | 4817 | 5604 | 3462 | 3752
640 | 131 | 503 | 56 | 7137 | 6084 | 6071 | 5439 | 1035 | 1042 | 969 | 971 | 1171 | 1265 | 1264 | 1270 | 4389 | 3355 | 3719 | 3788 | 4699 | 5403 | 3326 | 3670
End Time | 30 F4: 2025-07-01 11:59:25
Mode | F1: Absorbance
Name | F1: blue 1
Measurement wavelength [nm] | 30 F4: 640
Number of flashes | 30 F4: 10
Settle time [ms] | 30 F4: 50
Part of Plate | 30 F4: F1-F12;G1-G11
Start Time | 30 F4: 2025-07-01 11:59:28
Temperature [°C] | 30 F4: 30
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Start | DOE 1.7.1 | DOE 1.7.1 | DOE 1.7.2 | DOE 1.7.2 | DOE 2.7.1 | DOE 2.7.1 | DOE 2.7.2 | DOE 2.7.2
A
B
C
D
E
F | F1: 0.0442; F2: 0.0928; F3: 0.0411; 30 F4: 0.0559; 30 F5: 0.0932; 30 F6: 0.0779; 30 F7: 0.0633; 30 F8: 0.3318; 30 F9: 0.3118; 30 F10: 0.1917; 30 F11: 0.2036; 30 F12: 0.1906
G | F1: 0.2271; F2: 0.2309; F3: 0.1695; 30 F4: 0.0479; 30 F5: 0.0462; 30 F6: 0.0494; 30 F7: 0.0492; 30 F8: 0.0478; 30 F9: 0.0482; 30 F10: 0.0473; 30 F11: 0.0493
H
End Time | 30 F4: 2025-07-01 11:59:36
Mode | F1: Absorbance
Name | F1: blue 2
Measurement wavelength [nm] | 30 F4: 640
Number of flashes | 30 F4: 10
Settle time [ms] | 30 F4: 50
Part of Plate | 30 F4: F1-F12;G1-G11
Start Time | 30 F4: 2025-07-01 11:59:39
Temperature [°C] | 30 F4: 30
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Start | DOE 1.7.1 | DOE 1.7.1 | DOE 1.7.2 | DOE 1.7.2 | DOE 2.7.1 | DOE 2.7.1 | DOE 2.7.2 | DOE 2.7.2
A
B
C
D
E
F | F1: 0.0443; F2: 0.0981; F3: 0.0409; 30 F4: 0.0558; 30 F5: 0.093; 30 F6: 0.0819; 30 F7: 0.0634; 30 F8: 0.424; 30 F9: 0.4333; 30 F10: 0.2437; 30 F11: 0.2778; 30 F12: 0.2585
G | F1: 0.2489; F2: 0.2558; F3: 0.193; 30 F4: 0.0476; 30 F5: 0.0464; 30 F6: 0.0493; 30 F7: 0.0493; 30 F8: 0.0477; 30 F9: 0.0483; 30 F10: 0.0473; 30 F11: 0.0491
H
End Time | 30 F4: 2025-07-01 11:59:47
Mode | F1: Absorbance
Name | F1: red 1
Measurement wavelength [nm] | 30 F4: 530
Number of flashes | 30 F4: 10
Settle time [ms] | 30 F4: 50
Part of Plate | 30 F4: F1-F12;G1-G11
Start Time | 30 F4: 2025-07-01 11:59:49
Temperature [°C] | 30 F4: 30
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Start | DOE 1.7.1 | DOE 1.7.1 | DOE 1.7.2 | DOE 1.7.2 | DOE 2.7.1 | DOE 2.7.1 | DOE 2.7.2 | DOE 2.7.2
A
B
C
D
E
F | F1: 0.0471; F2: 0.1234; F3: 0.0438; 30 F4: 0.111; 30 F5: 0.1776; 30 F6: 0.1387; 30 F7: 0.0992; 30 F8: 0.2393; 30 F9: 0.2397; 30 F10: 0.1773; 30 F11: 0.1807; 30 F12: 0.1847
G | F1: 0.1862; F2: 0.1887; F3: 0.1606; 30 F4: 0.1882; 30 F5: 0.1563; 30 F6: 0.1103; 30 F7: 0.1082; 30 F8: 0.1814; 30 F9: 0.1893; 30 F10: 0.1406; 30 F11: 0.1513
H
End Time | 30 F4: 2025-07-01 11:59:57
Mode | F1: Absorbance
Name | F1: red 2
Measurement wavelength [nm] | 30 F4: 530
Number of flashes | 30 F4: 10
Settle time [ms] | 30 F4: 50
Part of Plate | 30 F4: F1-F12;G1-G11
Start Time | 30 F4: 2025-07-01 12:00:00
Temperature [°C] | 30 F4: 30
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Start | DOE 1.7.1 | DOE 1.7.1 | DOE 1.7.2 | DOE 1.7.2 | DOE 2.7.1 | DOE 2.7.1 | DOE 2.7.2 | DOE 2.7.2
A
B
C
D
E
F | F1: 0.047; F2: 0.124; F3: 0.0439; 30 F4: 0.1111; 30 F5: 0.1778; 30 F6: 0.1389; 30 F7: 0.0991; 30 F8: 0.2447; 30 F9: 0.2447; 30 F10: 0.1821; 30 F11: 0.186; 30 F12: 0.1872
G | F1: 0.1883; F2: 0.1927; F3: 0.1631; 30 F4: 0.1875; 30 F5: 0.1559; 30 F6: 0.1102; 30 F7: 0.1081; 30 F8: 0.1814; 30 F9: 0.1889; 30 F10: 0.1405; 30 F11: 0.1513
H
End Time | 30 F4: 2025-07-01 12:00:07
Ex | Blank | BlankB | BlankR | DOE 1.7 | DOE 1.7 | DOE 2.7 | DOE 2.7 | DOE 1.7 | DOE 1.7 | DOE 1.7 | DOE 1.7 | DOE 2.7 | DOE 2.7 | DOE 2.7 | DOE 2.7 | DOE 1.7 | DOE 1.7 | DOE 1.7 | DOE 1.7 | DOE 2.7 | DOE 2.7 | DOE 2.7 | DOE 2.7
Ex | Blank | BlankB | BlankR | f | f | f | f | b | b | b | b | b | b | b | b | r | r | r | r | r | r | r | r
Ex | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1