## Result sheet
Method name: LS_241112_Fluorescence_Actino_Sample (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1708008206
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦PODI:V1.10.2
Date: |  |  |  | 2025-07-14
Time: |  |  |  | 11:03
System |  |  |  | IBVT171
User |  |  |  | IBVT171\Tecan
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Wait
Shaking
Wait
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Label 1
| Absorbance |  |  |  |  | blue 1
| Absorbance |  |  |  |  | blue 2
| Absorbance |  |  |  |  | red 1
| Absorbance |  |  |  |  | red 2
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | G1-G12;H1-H11
Start Time |  |  |  | 2025-07-14 10:40:33
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 30
Wait minimum [°C] |  |  |  | 29
Wait maximum [°C] |  |  |  | 31
End Time |  |  |  | 2025-07-14 10:40:33
Start Time |  |  |  | 2025-07-14 10:40:33
Shaking (Linear) Duration [s] |  |  |  | 7
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-07-14 10:40:40
Start Time |  |  |  | 2025-07-14 10:40:40
Wait (Time) hh:mm:ss |  |  |  | 00:05:01
Wait position |  |  |  | Current
End Time |  |  |  | 2025-07-14 10:45:41
Start Time |  |  |  | 2025-07-14 10:45:41
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-07-14 10:45:51
Start Time |  |  |  | 2025-07-14 10:45:51
Wait (Time) hh:mm:ss |  |  |  | 00:00:10
Wait position |  |  |  | Current
End Time |  |  |  | 2025-07-14 10:46:01
Mode | Fluorescence Intensity Scan Top Reading
Name | Label 1
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | G1-G12;H1-H11
Start Time |  |  |  | 2025-07-14 10:46:01
Temperature [°C] |  |  |  | 29.7
Wavel. | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11
520 | 2291 | 2640 | 2580 | 30449 | 25709 | 5995 | 5364 | 3717 | 3859 | 3193 | 3200 | 3326 | 3361 | 2909 | 3084 | 11372 | 11722 | 10745 | 10222 | 3911 | 3417 | 3250 | 3182
522 | 474 | 882 | 337 | 28966 | 23943 | 4149 | 3801 | 1427 | 1445 | 1531 | 1557 | 1037 | 1095 | 1174 | 1182 | 8652 | 9198 | 8497 | 7275 | 1056 | 1191 | 1017 | 1065
524 | 419 | 833 | 235 | 29077 | 23830 | 4174 | 3848 | 1421 | 1413 | 1547 | 1537 | 995 | 1027 | 1145 | 1163 | 8545 | 9042 | 8293 | 7134 | 1013 | 1131 | 968 | 1009
526 | 419 | 855 | 226 | 28991 | 23539 | 4190 | 3889 | 1459 | 1474 | 1608 | 1606 | 1016 | 1066 | 1183 | 1224 | 8414 | 8885 | 8245 | 7042 | 1027 | 1169 | 987 | 1038
528 | 425 | 879 | 225 | 28753 | 23326 | 4249 | 3922 | 1521 | 1504 | 1662 | 1648 | 1053 | 1090 | 1218 | 1259 | 8302 | 8774 | 8077 | 6945 | 1057 | 1189 | 1005 | 1061
530 | 430 | 906 | 229 | 28322 | 23096 | 4257 | 3956 | 1566 | 1566 | 1712 | 1715 | 1086 | 1133 | 1266 | 1290 | 8089 | 8548 | 7940 | 6805 | 1082 | 1221 | 1037 | 1081
532 | 433 | 937 | 227 | 27869 | 22680 | 4269 | 3939 | 1619 | 1631 | 1761 | 1750 | 1113 | 1165 | 1295 | 1334 | 7885 | 8342 | 7726 | 6635 | 1107 | 1251 | 1047 | 1099
534 | 433 | 951 | 228 | 27399 | 22404 | 4276 | 3962 | 1644 | 1652 | 1809 | 1814 | 1129 | 1183 | 1343 | 1367 | 7720 | 8144 | 7534 | 6442 | 1140 | 1271 | 1072 | 1113
536 | 427 | 976 | 227 | 27039 | 21758 | 4209 | 3936 | 1701 | 1712 | 1858 | 1850 | 1151 | 1223 | 1361 | 1382 | 7513 | 7960 | 7293 | 6259 | 1153 | 1299 | 1086 | 1141
538 | 434 | 999 | 226 | 26282 | 21277 | 4210 | 3934 | 1732 | 1732 | 1884 | 1882 | 1180 | 1235 | 1409 | 1427 | 7305 | 7711 | 7136 | 6123 | 1169 | 1321 | 1104 | 1152
540 | 435 | 1015 | 235 | 25763 | 20871 | 4191 | 3897 | 1772 | 1775 | 1927 | 1919 | 1201 | 1260 | 1415 | 1462 | 7159 | 7527 | 6936 | 5941 | 1201 | 1339 | 1118 | 1179
542 | 441 | 1029 | 234 | 25141 | 20488 | 4202 | 3892 | 1807 | 1803 | 1937 | 1929 | 1218 | 1282 | 1454 | 1478 | 6979 | 7373 | 6773 | 5812 | 1219 | 1351 | 1131 | 1192
544 | 449 | 1054 | 241 | 24528 | 19819 | 4130 | 3865 | 1817 | 1812 | 1967 | 1979 | 1232 | 1313 | 1464 | 1513 | 6777 | 7139 | 6606 | 5660 | 1221 | 1367 | 1151 | 1200
546 | 446 | 1070 | 240 | 23835 | 19244 | 4082 | 3817 | 1841 | 1826 | 1997 | 1997 | 1251 | 1311 | 1498 | 1517 | 6597 | 6913 | 6431 | 5508 | 1252 | 1383 | 1151 | 1208
548 | 454 | 1079 | 247 | 22912 | 18675 | 4048 | 3763 | 1839 | 1826 | 2021 | 1989 | 1246 | 1334 | 1482 | 1536 | 6439 | 6713 | 6221 | 5345 | 1232 | 1367 | 1150 | 1212
550 | 455 | 1091 | 247 | 22112 | 18125 | 3985 | 3711 | 1853 | 1827 | 2000 | 2003 | 1243 | 1323 | 1504 | 1546 | 6215 | 6513 | 5960 | 5196 | 1229 | 1373 | 1157 | 1217
552 | 451 | 1099 | 253 | 21405 | 17518 | 3935 | 3665 | 1861 | 1844 | 2013 | 1981 | 1262 | 1332 | 1517 | 1559 | 6003 | 6222 | 5812 | 5022 | 1233 | 1355 | 1154 | 1208
554 | 465 | 1102 | 255 | 20456 | 16670 | 3851 | 3619 | 1835 | 1810 | 1995 | 1984 | 1254 | 1336 | 1501 | 1541 | 5776 | 6091 | 5648 | 4805 | 1232 | 1355 | 1160 | 1209
556 | 459 | 1117 | 260 | 19676 | 16072 | 3792 | 3577 | 1838 | 1829 | 1970 | 1980 | 1249 | 1319 | 1528 | 1536 | 5616 | 5875 | 5428 | 4721 | 1214 | 1359 | 1154 | 1208
558 | 460 | 1132 | 261 | 18942 | 15375 | 3714 | 3525 | 1826 | 1822 | 1971 | 1975 | 1252 | 1311 | 1507 | 1546 | 5416 | 5691 | 5224 | 4573 | 1211 | 1346 | 1146 | 1215
560 | 469 | 1147 | 264 | 18255 | 14862 | 3679 | 3448 | 1811 | 1798 | 1972 | 1964 | 1253 | 1326 | 1515 | 1561 | 5264 | 5456 | 5105 | 4407 | 1214 | 1344 | 1149 | 1214
562 | 471 | 1149 | 263 | 17562 | 14327 | 3600 | 3418 | 1819 | 1803 | 1949 | 1949 | 1258 | 1331 | 1515 | 1546 | 5102 | 5289 | 4928 | 4268 | 1201 | 1328 | 1152 | 1205
564 | 476 | 1151 | 263 | 16843 | 13659 | 3539 | 3327 | 1791 | 1780 | 1924 | 1935 | 1243 | 1318 | 1492 | 1534 | 4921 | 5100 | 4737 | 4121 | 1199 | 1321 | 1144 | 1202
566 | 468 | 1143 | 261 | 15897 | 12977 | 3432 | 3265 | 1759 | 1762 | 1893 | 1900 | 1244 | 1300 | 1483 | 1528 | 4760 | 4933 | 4540 | 3963 | 1190 | 1305 | 1147 | 1209
568 | 465 | 1143 | 256 | 15274 | 12466 | 3368 | 3205 | 1741 | 1731 | 1890 | 1867 | 1235 | 1300 | 1473 | 1507 | 4563 | 4806 | 4418 | 3808 | 1187 | 1298 | 1136 | 1199
570 | 460 | 1132 | 256 | 14498 | 11868 | 3269 | 3109 | 1729 | 1697 | 1869 | 1861 | 1217 | 1277 | 1462 | 1496 | 4399 | 4595 | 4234 | 3694 | 1194 | 1301 | 1147 | 1210
572 | 455 | 1133 | 253 | 13905 | 11364 | 3186 | 3062 | 1695 | 1682 | 1831 | 1823 | 1209 | 1255 | 1432 | 1480 | 4244 | 4384 | 4079 | 3522 | 1176 | 1292 | 1141 | 1192
574 | 448 | 1125 | 245 | 13204 | 10815 | 3133 | 2970 | 1682 | 1633 | 1793 | 1781 | 1179 | 1249 | 1420 | 1462 | 4083 | 4249 | 3929 | 3407 | 1169 | 1285 | 1156 | 1201
576 | 439 | 1118 | 240 | 12611 | 10408 | 3044 | 2897 | 1655 | 1615 | 1773 | 1764 | 1173 | 1238 | 1401 | 1446 | 3945 | 4097 | 3780 | 3301 | 1163 | 1280 | 1141 | 1216
578 | 436 | 1101 | 229 | 12058 | 9891 | 2958 | 2784 | 1624 | 1600 | 1731 | 1736 | 1155 | 1213 | 1381 | 1404 | 3794 | 3945 | 3646 | 3188 | 1177 | 1287 | 1148 | 1212
580 | 424 | 1084 | 216 | 11469 | 9407 | 2871 | 2742 | 1592 | 1570 | 1708 | 1700 | 1139 | 1177 | 1366 | 1389 | 3625 | 3767 | 3482 | 3055 | 1162 | 1258 | 1140 | 1205
582 | 411 | 1075 | 218 | 10985 | 9007 | 2787 | 2660 | 1572 | 1543 | 1681 | 1658 | 1108 | 1164 | 1337 | 1379 | 3526 | 3643 | 3379 | 2924 | 1149 | 1267 | 1132 | 1197
584 | 401 | 1051 | 202 | 10426 | 8576 | 2708 | 2585 | 1524 | 1503 | 1633 | 1619 | 1095 | 1132 | 1308 | 1336 | 3375 | 3487 | 3209 | 2797 | 1142 | 1261 | 1134 | 1183
586 | 387 | 1046 | 194 | 10041 | 8191 | 2606 | 2509 | 1492 | 1474 | 1584 | 1609 | 1067 | 1124 | 1272 | 1305 | 3256 | 3396 | 3140 | 2734 | 1145 | 1246 | 1132 | 1194
588 | 372 | 1014 | 181 | 9355 | 7723 | 2510 | 2438 | 1449 | 1430 | 1551 | 1586 | 1046 | 1090 | 1263 | 1286 | 3168 | 3268 | 3004 | 2619 | 1127 | 1235 | 1115 | 1192
590 | 357 | 1004 | 170 | 9014 | 7367 | 2446 | 2357 | 1450 | 1388 | 1535 | 1515 | 1030 | 1064 | 1229 | 1265 | 3043 | 3142 | 2887 | 2535 | 1125 | 1211 | 1116 | 1159
592 | 339 | 982 | 157 | 8587 | 7055 | 2365 | 2267 | 1403 | 1364 | 1509 | 1484 | 999 | 1038 | 1190 | 1226 | 2912 | 2994 | 2744 | 2428 | 1120 | 1202 | 1099 | 1174
594 | 326 | 952 | 147 | 8158 | 6761 | 2272 | 2203 | 1360 | 1326 | 1462 | 1460 | 980 | 1016 | 1163 | 1189 | 2807 | 2915 | 2679 | 2360 | 1085 | 1190 | 1087 | 1159
596 | 307 | 930 | 142 | 7785 | 6376 | 2200 | 2134 | 1337 | 1305 | 1424 | 1420 | 958 | 986 | 1139 | 1180 | 2753 | 2809 | 2578 | 2246 | 1073 | 1170 | 1085 | 1140
598 | 290 | 916 | 134 | 7459 | 6106 | 2124 | 2058 | 1305 | 1279 | 1381 | 1387 | 926 | 964 | 1107 | 1136 | 2625 | 2724 | 2485 | 2174 | 1066 | 1166 | 1051 | 1130
600 | 278 | 891 | 128 | 7084 | 5794 | 2052 | 1999 | 1269 | 1230 | 1341 | 1354 | 915 | 942 | 1084 | 1110 | 2550 | 2617 | 2404 | 2102 | 1049 | 1118 | 1055 | 1115
602 | 265 | 862 | 120 | 6713 | 5527 | 1976 | 1909 | 1252 | 1213 | 1323 | 1314 | 883 | 912 | 1051 | 1075 | 2457 | 2515 | 2294 | 2047 | 1016 | 1113 | 1036 | 1102
604 | 260 | 845 | 112 | 6431 | 5281 | 1919 | 1880 | 1212 | 1171 | 1299 | 1297 | 861 | 890 | 1028 | 1055 | 2375 | 2462 | 2226 | 1958 | 1016 | 1103 | 1036 | 1096
606 | 245 | 825 | 111 | 6098 | 5040 | 1847 | 1805 | 1184 | 1143 | 1265 | 1245 | 837 | 858 | 1006 | 1029 | 2300 | 2361 | 2153 | 1903 | 988 | 1092 | 1023 | 1072
608 | 230 | 808 | 103 | 5881 | 4801 | 1786 | 1744 | 1148 | 1123 | 1225 | 1222 | 810 | 840 | 972 | 995 | 2229 | 2285 | 2073 | 1826 | 988 | 1060 | 1006 | 1067
610 | 230 | 802 | 104 | 5579 | 4588 | 1730 | 1711 | 1129 | 1099 | 1201 | 1187 | 789 | 831 | 953 | 978 | 2171 | 2238 | 2025 | 1787 | 966 | 1039 | 987 | 1040
612 | 220 | 779 | 93 | 5353 | 4365 | 1687 | 1673 | 1099 | 1074 | 1180 | 1166 | 776 | 792 | 933 | 947 | 2094 | 2149 | 1933 | 1733 | 955 | 1032 | 958 | 1031
614 | 209 | 763 | 90 | 5068 | 4168 | 1609 | 1598 | 1085 | 1040 | 1152 | 1131 | 755 | 781 | 913 | 918 | 2046 | 2076 | 1865 | 1675 | 932 | 1004 | 955 | 1016
616 | 206 | 731 | 88 | 4826 | 3967 | 1558 | 1538 | 1054 | 1010 | 1111 | 1107 | 736 | 754 | 885 | 900 | 2002 | 2046 | 1801 | 1620 | 913 | 992 | 936 | 999
618 | 192 | 724 | 87 | 4573 | 3778 | 1507 | 1487 | 1029 | 984 | 1081 | 1087 | 717 | 730 | 858 | 878 | 1919 | 1967 | 1751 | 1569 | 892 | 973 | 906 | 987
620 | 194 | 697 | 81 | 4382 | 3576 | 1455 | 1440 | 998 | 958 | 1059 | 1039 | 692 | 717 | 821 | 854 | 1866 | 1932 | 1695 | 1497 | 886 | 940 | 916 | 974
622 | 181 | 686 | 80 | 4172 | 3414 | 1383 | 1392 | 975 | 928 | 1023 | 1018 | 681 | 693 | 811 | 819 | 1825 | 1851 | 1619 | 1473 | 884 | 945 | 901 | 942
624 | 173 | 667 | 78 | 3954 | 3228 | 1346 | 1345 | 940 | 909 | 1005 | 989 | 660 | 667 | 787 | 807 | 1761 | 1787 | 1576 | 1407 | 852 | 926 | 876 | 925
626 | 168 | 652 | 75 | 3782 | 3107 | 1304 | 1296 | 909 | 889 | 980 | 956 | 648 | 650 | 762 | 785 | 1717 | 1746 | 1526 | 1357 | 841 | 906 | 858 | 905
628 | 157 | 631 | 72 | 3562 | 2942 | 1242 | 1243 | 888 | 856 | 946 | 945 | 621 | 637 | 742 | 755 | 1646 | 1689 | 1461 | 1321 | 820 | 891 | 846 | 881
630 | 158 | 616 | 69 | 3445 | 2791 | 1189 | 1211 | 864 | 838 | 912 | 916 | 602 | 620 | 728 | 724 | 1587 | 1634 | 1406 | 1261 | 801 | 856 | 830 | 873
632 | 147 | 600 | 67 | 3262 | 2667 | 1144 | 1162 | 838 | 809 | 889 | 878 | 582 | 594 | 701 | 712 | 1541 | 1586 | 1377 | 1226 | 784 | 857 | 809 | 851
634 | 141 | 578 | 65 | 3071 | 2522 | 1106 | 1117 | 817 | 781 | 874 | 847 | 572 | 589 | 681 | 690 | 1484 | 1499 | 1314 | 1173 | 774 | 836 | 797 | 836
636 | 140 | 564 | 69 | 2949 | 2424 | 1066 | 1083 | 800 | 765 | 853 | 832 | 549 | 567 | 653 | 681 | 1447 | 1481 | 1251 | 1153 | 758 | 825 | 783 | 827
638 | 137 | 552 | 62 | 2786 | 2325 | 1037 | 1040 | 771 | 751 | 814 | 817 | 540 | 548 | 652 | 647 | 1402 | 1411 | 1221 | 1092 | 733 | 808 | 771 | 806
640 | 134 | 543 | 62 | 2678 | 2200 | 1000 | 1002 | 739 | 732 | 785 | 790 | 515 | 531 | 613 | 640 | 1327 | 1374 | 1172 | 1056 | 720 | 786 | 743 | 783
End Time | 29.7 G4: 2025-07-14 11:02:33
Mode | G1: Absorbance
Name | G1: blue 1
Measurement wavelength [nm] | 29.7 G4: 640
Number of flashes | 29.7 G4: 10
Settle time [ms] | 29.7 G4: 50
Part of Plate | 29.7 G4: G1-G12;H1-H11
Start Time | 29.7 G4: 2025-07-14 11:02:38
Temperature [°C] | 29.7 G4: 29.8
<> | G1: 1; G2: 2; G3: 3; 29.7 G4: 4; 29.7 G5: 5; 29.7 G6: 6; 29.7 G7: 7; 29.7 G8: 8; 29.7 G9: 9; 29.7 G10: 10; 29.7 G11: 11; 29.7 G12: 12
A
B
C
D
E
F
G | G1: 0.0421; G2: 0.0959; G3: 0.0405; 29.7 G4: 0.0427; 29.7 G5: 0.0422; 29.7 G6: 0.0734; 29.7 G7: 0.0806; 29.7 G8: 0.0919; 29.7 G9: 0.0879; 29.7 G10: 0.0936; 29.7 G11: 0.0916; 29.7 G12: 0.0988
H | G1: 0.1027; G2: 0.1083; G3: 0.1076; 29.7 G4: 0.0484; 29.7 G5: 0.0436; 29.7 G6: 0.0424; 29.7 G7: 0.0453; 29.7 G8: 0.0421; 29.7 G9: 0.0428; 29.7 G10: 0.0417; 29.7 G11: 0.0431
End Time | 29.7 G4: 2025-07-14 11:02:46
Mode | G1: Absorbance
Name | G1: blue 2
Measurement wavelength [nm] | 29.7 G4: 640
Number of flashes | 29.7 G4: 10
Settle time [ms] | 29.7 G4: 50
Part of Plate | 29.7 G4: G1-G12;H1-H11
Start Time | 29.7 G4: 2025-07-14 11:02:49
Temperature [°C] | 29.7 G4: 29.9
<> | G1: 1; G2: 2; G3: 3; 29.7 G4: 4; 29.7 G5: 5; 29.7 G6: 6; 29.7 G7: 7; 29.7 G8: 8; 29.7 G9: 9; 29.7 G10: 10; 29.7 G11: 11; 29.7 G12: 12
A
B
C
D
E
F
G | G1: 0.042; G2: 0.1005; G3: 0.0425; 29.7 G4: 0.0426; 29.7 G5: 0.0421; 29.7 G6: 0.0732; 29.7 G7: 0.0767; 29.7 G8: 0.0939; 29.7 G9: 0.0891; 29.7 G10: 0.0951; 29.7 G11: 0.0923; 29.7 G12: 0.1106
H | G1: 0.1085; G2: 0.1162; G3: 0.1176; 29.7 G4: 0.0484; 29.7 G5: 0.0437; 29.7 G6: 0.0424; 29.7 G7: 0.0452; 29.7 G8: 0.042; 29.7 G9: 0.0426; 29.7 G10: 0.0415; 29.7 G11: 0.0426
End Time | 29.7 G4: 2025-07-14 11:02:56
Mode | G1: Absorbance
Name | G1: red 1
Measurement wavelength [nm] | 29.7 G4: 530
Number of flashes | 29.7 G4: 10
Settle time [ms] | 29.7 G4: 50
Part of Plate | 29.7 G4: G1-G12;H1-H11
Start Time | 29.7 G4: 2025-07-14 11:02:59
Temperature [°C] | 29.7 G4: 29.9
<> | G1: 1; G2: 2; G3: 3; 29.7 G4: 4; 29.7 G5: 5; 29.7 G6: 6; 29.7 G7: 7; 29.7 G8: 8; 29.7 G9: 9; 29.7 G10: 10; 29.7 G11: 11; 29.7 G12: 12
A
B
C
D
E
F
G | G1: 0.0441; G2: 0.1293; G3: 0.0443; 29.7 G4: 0.0499; 29.7 G5: 0.0491; 29.7 G6: 0.0776; 29.7 G7: 0.0806; 29.7 G8: 0.1205; 29.7 G9: 0.1166; 29.7 G10: 0.1229; 29.7 G11: 0.1196; 29.7 G12: 0.1204
H | G1: 0.1213; G2: 0.1279; G3: 0.1309; 29.7 G4: 0.057; 29.7 G5: 0.0517; 29.7 G6: 0.0506; 29.7 G7: 0.0534; 29.7 G8: 0.0679; 29.7 G9: 0.0694; 29.7 G10: 0.0653; 29.7 G11: 0.0687
End Time | 29.7 G4: 2025-07-14 11:03:07
Mode | G1: Absorbance
Name | G1: red 2
Measurement wavelength [nm] | 29.7 G4: 530
Number of flashes | 29.7 G4: 10
Settle time [ms] | 29.7 G4: 50
Part of Plate | 29.7 G4: G1-G12;H1-H11
Start Time | 29.7 G4: 2025-07-14 11:03:10
Temperature [°C] | 29.7 G4: 30
<> | G1: 1; G2: 2; G3: 3; 29.7 G4: 4; 29.7 G5: 5; 29.7 G6: 6; 29.7 G7: 7; 29.7 G8: 8; 29.7 G9: 9; 29.7 G10: 10; 29.7 G11: 11; 29.7 G12: 12
A
B
C
D
E
F
G | G1: 0.0442; G2: 0.1314; G3: 0.0437; 29.7 G4: 0.05; 29.7 G5: 0.0488; 29.7 G6: 0.0778; 29.7 G7: 0.0817; 29.7 G8: 0.1223; 29.7 G9: 0.1177; 29.7 G10: 0.1246; 29.7 G11: 0.1199; 29.7 G12: 0.1202
H | G1: 0.1213; G2: 0.1286; G3: 0.1316; 29.7 G4: 0.0573; 29.7 G5: 0.0519; 29.7 G6: 0.0507; 29.7 G7: 0.0537; 29.7 G8: 0.0671; 29.7 G9: 0.0693; 29.7 G10: 0.0658; 29.7 G11: 0.0687
End Time | 29.7 G4: 2025-07-14 11:03:17
Ex | Blank | BlankB | BlankR | DOE 11.3 | DOE 11.3 | DOE 12.3 | DOE 12.3 | DOE 11.3 | DOE 11.3 | DOE 11.3 | DOE 11.3 | DOE 12.3 | DOE 12.3 | DOE 12.3 | DOE 12.3 | DOE 11.3 | DOE 11.3 | DOE 11.3 | DOE 11.3 | DOE 12.3 | DOE 12.3 | DOE 12.3 | DOE 12.3
Ex | Blank | BlankB | BlankR | f | f | f | f | b | b | b | b | b | b | b | b | r | r | r | r | r | r | r | r
Ex | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1