## Result sheet
Method name: LS_241112_Fluorescence_Actino_Sample (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1708008206
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦PODI:V1.10.2
Date: |  |  |  | 2025-07-16
Time: |  |  |  | 11:14
System |  |  |  | IBVT171
User |  |  |  | IBVT171\Tecan
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Wait
Shaking
Wait
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Label 1
| Absorbance |  |  |  |  | blue 1
| Absorbance |  |  |  |  | blue 2
| Absorbance |  |  |  |  | red 1
| Absorbance |  |  |  |  | red 2
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | A1-A12;B1-B11
Start Time |  |  |  | 2025-07-16 10:51:22
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 30
Wait minimum [°C] |  |  |  | 29
Wait maximum [°C] |  |  |  | 31
End Time |  |  |  | 2025-07-16 10:51:22
Start Time |  |  |  | 2025-07-16 10:51:22
Shaking (Linear) Duration [s] |  |  |  | 7
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-07-16 10:51:29
Start Time |  |  |  | 2025-07-16 10:51:29
Wait (Time) hh:mm:ss |  |  |  | 00:05:01
Wait position |  |  |  | Current
End Time |  |  |  | 2025-07-16 10:56:30
Start Time |  |  |  | 2025-07-16 10:56:30
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-07-16 10:56:40
Start Time |  |  |  | 2025-07-16 10:56:40
Wait (Time) hh:mm:ss |  |  |  | 00:00:10
Wait position |  |  |  | Current
End Time |  |  |  | 2025-07-16 10:56:50
Mode | Fluorescence Intensity Scan Top Reading
Name | Label 1
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-A12;B1-B11
Start Time |  |  |  | 2025-07-16 10:56:50
Temperature [°C] |  |  |  | 29.9
Wavel. | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11
520 | 2367 | 2168 | 2405 | 38460 | 38768 | 20879 | 22664 | 7283 | 7160 | 6660 | 6522 | 4188 | 3490 | 3473 | 4161 | 9299 | 9384 | 10639 | 10661 | 5903 | 5304 | 5907 | 5646
522 | 498 | 432 | 324 | 37122 | 36882 | 19371 | 21255 | 6074 | 5532 | 5343 | 4476 | 2484 | 1823 | 2081 | 2435 | 6983 | 6862 | 8341 | 8347 | 3748 | 3521 | 4018 | 3533
524 | 434 | 375 | 240 | 37386 | 37379 | 19652 | 21679 | 6630 | 6026 | 5838 | 4843 | 2560 | 1840 | 2145 | 2466 | 6872 | 6816 | 8447 | 8352 | 3882 | 3648 | 4223 | 3695
526 | 430 | 373 | 235 | 37343 | 37761 | 19847 | 22026 | 7373 | 6680 | 6433 | 5352 | 2705 | 1898 | 2207 | 2551 | 6915 | 6861 | 8434 | 8345 | 4155 | 3851 | 4554 | 3928
528 | 437 | 371 | 238 | 37471 | 37546 | 20017 | 22289 | 7908 | 7232 | 6900 | 5805 | 2835 | 1965 | 2287 | 2638 | 6899 | 6839 | 8397 | 8358 | 4359 | 4067 | 4929 | 4162
530 | 433 | 372 | 233 | 37196 | 37238 | 20070 | 22169 | 8635 | 7779 | 7548 | 6184 | 2964 | 2013 | 2342 | 2741 | 6837 | 6812 | 8410 | 8322 | 4679 | 4335 | 5252 | 4467
532 | 432 | 382 | 231 | 36929 | 36941 | 20014 | 22178 | 9248 | 8294 | 8040 | 6595 | 3115 | 2074 | 2403 | 2813 | 6842 | 6767 | 8401 | 8366 | 4994 | 4592 | 5690 | 4760
534 | 439 | 380 | 233 | 36574 | 36500 | 19994 | 22074 | 9714 | 8702 | 8437 | 6955 | 3199 | 2117 | 2477 | 2861 | 6794 | 6748 | 8322 | 8275 | 5246 | 4821 | 6105 | 5048
536 | 442 | 381 | 233 | 35952 | 36094 | 19947 | 21995 | 10211 | 9144 | 8811 | 7370 | 3331 | 2157 | 2527 | 2959 | 6704 | 6730 | 8241 | 8252 | 5504 | 5044 | 6498 | 5319
538 | 444 | 381 | 233 | 35431 | 35488 | 19767 | 21584 | 10455 | 9482 | 9123 | 7499 | 3394 | 2188 | 2574 | 3007 | 6747 | 6699 | 8248 | 8189 | 5766 | 5294 | 6860 | 5527
540 | 454 | 380 | 245 | 34936 | 34929 | 19598 | 21615 | 10731 | 9671 | 9319 | 7698 | 3554 | 2218 | 2604 | 3061 | 6691 | 6698 | 8199 | 8193 | 5943 | 5512 | 7191 | 5804
542 | 451 | 386 | 250 | 34433 | 34363 | 19441 | 21521 | 10838 | 9822 | 9429 | 7839 | 3607 | 2246 | 2664 | 3094 | 6616 | 6668 | 8174 | 8101 | 6162 | 5712 | 7535 | 6065
544 | 454 | 384 | 245 | 33810 | 34044 | 19226 | 21228 | 10996 | 9863 | 9470 | 7823 | 3632 | 2255 | 2688 | 3162 | 6619 | 6647 | 8085 | 8058 | 6441 | 5915 | 7815 | 6282
546 | 455 | 392 | 256 | 32908 | 32960 | 19144 | 21079 | 10857 | 9857 | 9500 | 7840 | 3659 | 2259 | 2696 | 3163 | 6552 | 6641 | 8076 | 7998 | 6578 | 6018 | 8072 | 6417
548 | 461 | 392 | 253 | 32211 | 32110 | 18807 | 20786 | 10772 | 9734 | 9281 | 7754 | 3625 | 2251 | 2666 | 3164 | 6505 | 6546 | 7909 | 7884 | 6627 | 6173 | 8210 | 6595
550 | 462 | 391 | 257 | 31332 | 31445 | 18547 | 20346 | 10580 | 9419 | 9183 | 7532 | 3546 | 2217 | 2662 | 3137 | 6417 | 6431 | 7773 | 7777 | 6700 | 6247 | 8320 | 6631
552 | 468 | 398 | 261 | 30594 | 30680 | 18249 | 20147 | 10235 | 9229 | 8968 | 7388 | 3465 | 2187 | 2632 | 3126 | 6420 | 6407 | 7742 | 7730 | 6808 | 6312 | 8373 | 6771
554 | 472 | 394 | 261 | 29527 | 29571 | 18020 | 19827 | 9908 | 8920 | 8593 | 7155 | 3365 | 2145 | 2591 | 3056 | 6300 | 6316 | 7627 | 7625 | 6751 | 6379 | 8422 | 6776
556 | 470 | 400 | 269 | 28773 | 28485 | 17857 | 19485 | 9610 | 8661 | 8328 | 6861 | 3270 | 2121 | 2542 | 3015 | 6225 | 6256 | 7482 | 7471 | 6802 | 6436 | 8516 | 6836
558 | 477 | 407 | 273 | 27773 | 27699 | 17519 | 19000 | 9242 | 8345 | 8078 | 6639 | 3147 | 2079 | 2478 | 2935 | 6182 | 6198 | 7423 | 7367 | 6862 | 6486 | 8456 | 6851
560 | 475 | 409 | 272 | 26996 | 27078 | 17272 | 18687 | 8968 | 7927 | 7717 | 6382 | 3035 | 2048 | 2438 | 2902 | 6119 | 6127 | 7305 | 7265 | 6926 | 6518 | 8415 | 6867
562 | 477 | 407 | 274 | 26176 | 26420 | 16922 | 18349 | 8602 | 7728 | 7519 | 6243 | 2920 | 2006 | 2391 | 2805 | 6063 | 6097 | 7271 | 7207 | 6966 | 6607 | 8453 | 6842
564 | 476 | 412 | 274 | 25451 | 25338 | 16659 | 18047 | 8275 | 7389 | 7161 | 5925 | 2778 | 1937 | 2329 | 2717 | 6041 | 6041 | 7148 | 7111 | 7043 | 6696 | 8404 | 6903
566 | 479 | 401 | 273 | 24360 | 24300 | 16195 | 17655 | 7885 | 6973 | 6840 | 5745 | 2667 | 1900 | 2248 | 2633 | 6019 | 6017 | 7027 | 7059 | 7044 | 6770 | 8340 | 6904
568 | 476 | 403 | 268 | 23396 | 23499 | 15867 | 17171 | 7625 | 6734 | 6553 | 5461 | 2561 | 1850 | 2213 | 2548 | 5994 | 5938 | 6899 | 6944 | 7120 | 6813 | 8325 | 6952
570 | 472 | 404 | 268 | 22710 | 22546 | 15638 | 16703 | 7206 | 6407 | 6311 | 5226 | 2460 | 1790 | 2140 | 2430 | 5929 | 5869 | 6895 | 6782 | 7126 | 6959 | 8269 | 6950
572 | 464 | 395 | 263 | 21697 | 21678 | 15260 | 16281 | 6937 | 6170 | 6041 | 5046 | 2352 | 1759 | 2073 | 2361 | 5883 | 5837 | 6773 | 6774 | 7218 | 6992 | 8319 | 6933
574 | 460 | 396 | 259 | 20859 | 20954 | 14902 | 16013 | 6632 | 5902 | 5802 | 4800 | 2262 | 1718 | 2009 | 2282 | 5858 | 5817 | 6745 | 6693 | 7210 | 7093 | 8288 | 6937
576 | 451 | 380 | 249 | 20157 | 20098 | 14544 | 15418 | 6335 | 5687 | 5525 | 4625 | 2188 | 1669 | 1970 | 2210 | 5840 | 5783 | 6636 | 6691 | 7289 | 7131 | 8275 | 6957
578 | 443 | 382 | 245 | 19469 | 19239 | 14230 | 14892 | 6043 | 5411 | 5340 | 4428 | 2095 | 1629 | 1913 | 2129 | 5864 | 5781 | 6581 | 6584 | 7343 | 7198 | 8299 | 6975
580 | 430 | 364 | 228 | 18444 | 18510 | 13749 | 14578 | 5783 | 5180 | 5065 | 4226 | 2038 | 1566 | 1845 | 2069 | 5800 | 5802 | 6537 | 6496 | 7353 | 7267 | 8309 | 6982
582 | 420 | 358 | 220 | 17946 | 17874 | 13486 | 14083 | 5524 | 4936 | 4826 | 4064 | 1948 | 1534 | 1805 | 1982 | 5811 | 5729 | 6473 | 6406 | 7378 | 7275 | 8276 | 7010
584 | 403 | 335 | 208 | 17146 | 17036 | 13067 | 13676 | 5294 | 4753 | 4609 | 3870 | 1888 | 1501 | 1745 | 1925 | 5759 | 5659 | 6399 | 6390 | 7365 | 7343 | 8242 | 6971
586 | 390 | 322 | 199 | 16491 | 16382 | 12734 | 13338 | 5080 | 4545 | 4424 | 3688 | 1829 | 1446 | 1702 | 1839 | 5721 | 5704 | 6393 | 6322 | 7384 | 7316 | 8137 | 6920
588 | 377 | 315 | 184 | 15839 | 15695 | 12338 | 12907 | 4818 | 4277 | 4168 | 3528 | 1752 | 1420 | 1655 | 1790 | 5667 | 5624 | 6242 | 6246 | 7344 | 7322 | 8057 | 6816
590 | 357 | 297 | 177 | 15246 | 15176 | 12033 | 12521 | 4599 | 4103 | 4005 | 3369 | 1695 | 1372 | 1592 | 1734 | 5602 | 5609 | 6200 | 6173 | 7303 | 7341 | 8044 | 6805
592 | 342 | 290 | 172 | 14625 | 14446 | 11725 | 12095 | 4360 | 3949 | 3804 | 3231 | 1635 | 1346 | 1544 | 1677 | 5586 | 5531 | 6073 | 6104 | 7293 | 7229 | 7910 | 6782
594 | 320 | 267 | 157 | 14052 | 13887 | 11339 | 11710 | 4190 | 3719 | 3638 | 3085 | 1595 | 1281 | 1496 | 1622 | 5524 | 5500 | 6008 | 5992 | 7277 | 7172 | 7821 | 6736
596 | 309 | 255 | 146 | 13447 | 13317 | 11030 | 11299 | 3992 | 3543 | 3460 | 2929 | 1530 | 1264 | 1440 | 1564 | 5491 | 5438 | 5925 | 5917 | 7099 | 7188 | 7680 | 6612
598 | 304 | 241 | 141 | 12963 | 12781 | 10767 | 10978 | 3770 | 3376 | 3338 | 2818 | 1466 | 1209 | 1395 | 1514 | 5403 | 5366 | 5828 | 5850 | 7047 | 7094 | 7630 | 6490
600 | 282 | 231 | 133 | 12286 | 12194 | 10426 | 10619 | 3561 | 3223 | 3145 | 2649 | 1406 | 1190 | 1359 | 1460 | 5364 | 5269 | 5747 | 5737 | 6985 | 7029 | 7384 | 6381
602 | 278 | 215 | 126 | 11804 | 11671 | 10072 | 10299 | 3393 | 3026 | 2989 | 2528 | 1368 | 1132 | 1286 | 1414 | 5239 | 5230 | 5610 | 5662 | 6842 | 6854 | 7269 | 6264
604 | 259 | 209 | 118 | 11423 | 11210 | 9825 | 10030 | 3230 | 2887 | 2837 | 2423 | 1309 | 1104 | 1260 | 1373 | 5184 | 5150 | 5523 | 5542 | 6755 | 6798 | 7169 | 6175
606 | 249 | 198 | 114 | 10955 | 10702 | 9460 | 9523 | 3055 | 2782 | 2724 | 2277 | 1266 | 1076 | 1214 | 1324 | 5140 | 5081 | 5494 | 5412 | 6685 | 6743 | 6974 | 6143
608 | 240 | 193 | 108 | 10518 | 10251 | 9313 | 9347 | 2908 | 2641 | 2594 | 2173 | 1217 | 1029 | 1177 | 1269 | 5038 | 4954 | 5325 | 5364 | 6557 | 6671 | 6865 | 5961
610 | 233 | 183 | 101 | 10095 | 9930 | 8975 | 9104 | 2805 | 2499 | 2483 | 2101 | 1171 | 1003 | 1145 | 1242 | 4976 | 4915 | 5262 | 5248 | 6496 | 6576 | 6780 | 5871
612 | 221 | 172 | 101 | 9613 | 9451 | 8764 | 8802 | 2669 | 2406 | 2359 | 2012 | 1132 | 987 | 1106 | 1185 | 4923 | 4849 | 5160 | 5167 | 6346 | 6483 | 6570 | 5757
614 | 211 | 165 | 93 | 9281 | 9078 | 8447 | 8511 | 2529 | 2274 | 2217 | 1917 | 1087 | 947 | 1071 | 1154 | 4797 | 4768 | 5042 | 5020 | 6245 | 6361 | 6448 | 5638
616 | 205 | 163 | 93 | 8822 | 8660 | 8290 | 8174 | 2406 | 2186 | 2129 | 1827 | 1055 | 912 | 1034 | 1110 | 4791 | 4664 | 4924 | 4958 | 6122 | 6221 | 6279 | 5530
618 | 200 | 152 | 89 | 8499 | 8276 | 8044 | 7948 | 2305 | 2067 | 2062 | 1740 | 1007 | 884 | 998 | 1070 | 4682 | 4593 | 4822 | 4824 | 6077 | 6173 | 6119 | 5411
620 | 191 | 150 | 86 | 8092 | 7931 | 7817 | 7565 | 2185 | 1969 | 1947 | 1673 | 968 | 859 | 959 | 1023 | 4562 | 4518 | 4694 | 4720 | 5947 | 6078 | 6037 | 5338
622 | 185 | 146 | 85 | 7795 | 7584 | 7524 | 7393 | 2084 | 1893 | 1882 | 1613 | 941 | 849 | 927 | 988 | 4471 | 4421 | 4616 | 4585 | 5852 | 5952 | 5821 | 5218
624 | 177 | 139 | 81 | 7410 | 7239 | 7238 | 7130 | 1989 | 1789 | 1791 | 1537 | 894 | 822 | 902 | 945 | 4377 | 4335 | 4559 | 4503 | 5744 | 5874 | 5753 | 5139
626 | 170 | 135 | 75 | 7139 | 6943 | 7037 | 6867 | 1896 | 1731 | 1710 | 1467 | 869 | 797 | 874 | 925 | 4306 | 4241 | 4460 | 4435 | 5685 | 5763 | 5687 | 4993
628 | 166 | 126 | 75 | 6748 | 6655 | 6784 | 6625 | 1817 | 1656 | 1659 | 1394 | 834 | 762 | 831 | 878 | 4239 | 4176 | 4363 | 4360 | 5520 | 5618 | 5517 | 4868
630 | 158 | 126 | 72 | 6548 | 6358 | 6625 | 6367 | 1757 | 1586 | 1570 | 1350 | 812 | 748 | 819 | 851 | 4138 | 4059 | 4241 | 4249 | 5391 | 5533 | 5324 | 4756
632 | 153 | 121 | 66 | 6184 | 6070 | 6355 | 6078 | 1674 | 1511 | 1528 | 1294 | 779 | 731 | 791 | 824 | 4062 | 3970 | 4143 | 4117 | 5273 | 5306 | 5267 | 4650
634 | 149 | 122 | 66 | 6001 | 5829 | 6156 | 5875 | 1599 | 1456 | 1457 | 1235 | 766 | 717 | 767 | 804 | 3985 | 3909 | 4076 | 4040 | 5142 | 5306 | 5131 | 4487
636 | 144 | 111 | 65 | 5737 | 5553 | 5932 | 5625 | 1552 | 1389 | 1398 | 1181 | 747 | 684 | 738 | 766 | 3879 | 3830 | 3968 | 3963 | 5094 | 5132 | 4953 | 4445
638 | 139 | 108 | 61 | 5493 | 5370 | 5701 | 5506 | 1485 | 1345 | 1338 | 1148 | 732 | 673 | 725 | 753 | 3841 | 3751 | 3908 | 3888 | 4955 | 5032 | 4884 | 4338
640 | 139 | 100 | 58 | 5265 | 5126 | 5528 | 5269 | 1448 | 1297 | 1302 | 1117 | 709 | 657 | 702 | 731 | 3702 | 3658 | 3732 | 3817 | 4759 | 4888 | 4702 | 4218
End Time | 29.9 A4: 2025-07-16 11:13:20
Mode | A1: Absorbance
Name | A1: blue 1
Measurement wavelength [nm] | 29.9 A4: 640
Number of flashes | 29.9 A4: 10
Settle time [ms] | 29.9 A4: 50
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-07-16 11:13:25
Temperature [°C] | 29.9 A4: 29.9
<> | A1: 1; A2: 2; A3: 3; 29.9 A4: 4; 29.9 A5: 5; 29.9 A6: 6; 29.9 A7: 7; 29.9 A8: 8; 29.9 A9: 9; 29.9 A10: 10; 29.9 A11: 11; 29.9 A12: 12
A | A1: 0.0417; A2: 0.0444; A3: 0.0405; 29.9 A4: 0.06; 29.9 A5: 0.0563; 29.9 A6: 0.0721; 29.9 A7: 0.0582; 29.9 A8: 0.1325; 29.9 A9: 0.1399; 29.9 A10: 0.1135; 29.9 A11: 0.1108; 29.9 A12: 0.8052
B | A1: 0.3058; A2: 0.3315; A3: 0.5512; 29.9 A4: 0.0488; 29.9 A5: 0.0487; 29.9 A6: 0.0482; 29.9 A7: 0.0484; 29.9 A8: 0.0487; 29.9 A9: 0.0484; 29.9 A10: 0.0493; 29.9 A11: 0.0475
C
D
E
F
G
H
End Time | 29.9 A4: 2025-07-16 11:13:33
Mode | A1: Absorbance
Name | A1: blue 2
Measurement wavelength [nm] | 29.9 A4: 640
Number of flashes | 29.9 A4: 10
Settle time [ms] | 29.9 A4: 50
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-07-16 11:13:36
Temperature [°C] | 29.9 A4: 29.9
<> | A1: 1; A2: 2; A3: 3; 29.9 A4: 4; 29.9 A5: 5; 29.9 A6: 6; 29.9 A7: 7; 29.9 A8: 8; 29.9 A9: 9; 29.9 A10: 10; 29.9 A11: 11; 29.9 A12: 12
A | A1: 0.0419; A2: 0.0439; A3: 0.0406; 29.9 A4: 0.0603; 29.9 A5: 0.0564; 29.9 A6: 0.0721; 29.9 A7: 0.0585; 29.9 A8: 0.1465; 29.9 A9: 0.1536; 29.9 A10: 0.125; 29.9 A11: 0.1188; 29.9 A12: 0.8664
B | A1: 0.3377; A2: 0.3645; A3: 0.6164; 29.9 A4: 0.0489; 29.9 A5: 0.0487; 29.9 A6: 0.0482; 29.9 A7: 0.0483; 29.9 A8: 0.0487; 29.9 A9: 0.0483; 29.9 A10: 0.0479; 29.9 A11: 0.0463
C
D
E
F
G
H
End Time | 29.9 A4: 2025-07-16 11:13:44
Mode | A1: Absorbance
Name | A1: red 1
Measurement wavelength [nm] | 29.9 A4: 530
Number of flashes | 29.9 A4: 10
Settle time [ms] | 29.9 A4: 50
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-07-16 11:13:46
Temperature [°C] | 29.9 A4: 29.9
<> | A1: 1; A2: 2; A3: 3; 29.9 A4: 4; 29.9 A5: 5; 29.9 A6: 6; 29.9 A7: 7; 29.9 A8: 8; 29.9 A9: 9; 29.9 A10: 10; 29.9 A11: 11; 29.9 A12: 12
A | A1: 0.0445; A2: 0.0487; A3: 0.0435; 29.9 A4: 0.0995; 29.9 A5: 0.0885; 29.9 A6: 0.1469; 29.9 A7: 0.1139; 29.9 A8: 0.0926; 29.9 A9: 0.0967; 29.9 A10: 0.0848; 29.9 A11: 0.0832; 29.9 A12: 0.3631
B | A1: 0.1547; A2: 0.1633; A3: 0.2638; 29.9 A4: 0.1455; 29.9 A5: 0.1513; 29.9 A6: 0.1446; 29.9 A7: 0.148; 29.9 A8: 0.1847; 29.9 A9: 0.1768; 29.9 A10: 0.2231; 29.9 A11: 0.191
C
D
E
F
G
H
End Time | 29.9 A4: 2025-07-16 11:13:53
Mode | A1: Absorbance
Name | A1: red 2
Measurement wavelength [nm] | 29.9 A4: 530
Number of flashes | 29.9 A4: 10
Settle time [ms] | 29.9 A4: 50
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-07-16 11:13:56
Temperature [°C] | 29.9 A4: 29.9
<> | A1: 1; A2: 2; A3: 3; 29.9 A4: 4; 29.9 A5: 5; 29.9 A6: 6; 29.9 A7: 7; 29.9 A8: 8; 29.9 A9: 9; 29.9 A10: 10; 29.9 A11: 11; 29.9 A12: 12
A | A1: 0.0446; A2: 0.0482; A3: 0.0433; 29.9 A4: 0.0995; 29.9 A5: 0.0886; 29.9 A6: 0.1477; 29.9 A7: 0.1141; 29.9 A8: 0.0921; 29.9 A9: 0.0976; 29.9 A10: 0.0847; 29.9 A11: 0.0833; 29.9 A12: 0.3618
B | A1: 0.1578; A2: 0.1637; A3: 0.2676; 29.9 A4: 0.1455; 29.9 A5: 0.1514; 29.9 A6: 0.1447; 29.9 A7: 0.1482; 29.9 A8: 0.1848; 29.9 A9: 0.1768; 29.9 A10: 0.2228; 29.9 A11: 0.191
C
D
E
F
G
H
End Time | 29.9 A4: 2025-07-16 11:14:03
Ex | Blank | BlankB | BlankR | DOE 11.5 | DOE 11.5 | DOE 12.5 | DOE 12.5 | DOE 11.5 | DOE 11.5 | DOE 11.5 | DOE 11.5 | DOE 12.5 | DOE 12.5 | DOE 12.5 | DOE 12.5 | DOE 11.5 | DOE 11.5 | DOE 11.5 | DOE 11.5 | DOE 12.5 | DOE 12.5 | DOE 12.5 | DOE 12.5
Ex | Blank | BlankB | BlankR | f | f | f | f | b | b | b | b | b | b | b | b | r | r | r | r | r | r | r | r
Ex | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1