## Result sheet
Method name: LS_241112_Fluorescence_Actino_Sample (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1708008206
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦PODI:V1.10.2
Date: |  |  |  | 2025-07-22
Time: |  |  |  | 11:37
System |  |  |  | IBVT171
User |  |  |  | IBVT171\Tecan
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Wait
Shaking
Wait
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Label 1
| Absorbance |  |  |  |  | blue 1
| Absorbance |  |  |  |  | blue 2
| Absorbance |  |  |  |  | red 1
| Absorbance |  |  |  |  | red 2
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | E1-E12;F1-F11
Start Time |  |  |  | 2025-07-22 11:14:45
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 30
Wait minimum [°C] |  |  |  | 29
Wait maximum [°C] |  |  |  | 31
End Time |  |  |  | 2025-07-22 11:14:45
Start Time |  |  |  | 2025-07-22 11:14:45
Shaking (Linear) Duration [s] |  |  |  | 7
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-07-22 11:14:52
Start Time |  |  |  | 2025-07-22 11:14:52
Wait (Time) hh:mm:ss |  |  |  | 00:05:01
Wait position |  |  |  | Current
End Time |  |  |  | 2025-07-22 11:19:53
Start Time |  |  |  | 2025-07-22 11:19:53
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-07-22 11:20:03
Start Time |  |  |  | 2025-07-22 11:20:03
Wait (Time) hh:mm:ss |  |  |  | 00:00:10
Wait position |  |  |  | Current
End Time |  |  |  | 2025-07-22 11:20:13
Mode | Fluorescence Intensity Scan Top Reading
Name | Label 1
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | E1-E12;F1-F11
Start Time |  |  |  | 2025-07-22 11:20:13
Temperature [°C] |  |  |  | 29.8
Wavel. | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11
520 | 1928 | 2628 | 2666 | 19497 | 23544 | 2809 | 2499 | 3391 | 3471 | 3172 | 3141 | 2925 | 3729 | 2975 | 2677 | 7459 | 7900 | 8441 | 8210 | 3193 | 2937 | 2949 | 2887
522 | 524 | 708 | 310 | 18278 | 22696 | 439 | 481 | 1416 | 1332 | 1294 | 1290 | 629 | 586 | 643 | 697 | 4814 | 5223 | 5586 | 5487 | 265 | 284 | 273 | 291
524 | 483 | 679 | 238 | 18519 | 23169 | 372 | 423 | 1414 | 1325 | 1295 | 1285 | 570 | 480 | 593 | 656 | 4792 | 5226 | 5597 | 5408 | 181 | 181 | 184 | 191
526 | 480 | 693 | 229 | 18907 | 23600 | 373 | 432 | 1481 | 1380 | 1366 | 1337 | 590 | 493 | 618 | 676 | 4853 | 5302 | 5675 | 5508 | 174 | 174 | 184 | 182
528 | 484 | 707 | 231 | 18957 | 23642 | 368 | 431 | 1558 | 1442 | 1401 | 1390 | 596 | 501 | 638 | 691 | 4892 | 5327 | 5721 | 5572 | 175 | 176 | 175 | 180
530 | 490 | 741 | 231 | 19144 | 23780 | 371 | 434 | 1600 | 1481 | 1466 | 1453 | 625 | 508 | 653 | 716 | 4905 | 5403 | 5802 | 5621 | 174 | 176 | 173 | 181
532 | 498 | 756 | 236 | 19063 | 23762 | 376 | 431 | 1668 | 1542 | 1540 | 1502 | 632 | 529 | 672 | 738 | 4960 | 5418 | 5894 | 5663 | 174 | 173 | 179 | 180
534 | 502 | 766 | 233 | 18985 | 23815 | 379 | 437 | 1707 | 1558 | 1582 | 1559 | 657 | 536 | 696 | 755 | 4988 | 5448 | 5930 | 5731 | 178 | 175 | 177 | 179
536 | 499 | 792 | 235 | 18906 | 23717 | 372 | 440 | 1771 | 1598 | 1615 | 1597 | 676 | 552 | 709 | 780 | 5012 | 5507 | 5992 | 5762 | 175 | 177 | 180 | 184
538 | 502 | 802 | 238 | 18821 | 23421 | 372 | 441 | 1794 | 1632 | 1658 | 1636 | 685 | 553 | 718 | 798 | 5004 | 5533 | 6039 | 5758 | 177 | 181 | 181 | 183
540 | 505 | 825 | 240 | 18728 | 23324 | 375 | 438 | 1828 | 1642 | 1690 | 1654 | 699 | 571 | 751 | 821 | 5049 | 5515 | 6076 | 5844 | 178 | 175 | 180 | 182
542 | 511 | 832 | 240 | 18504 | 23010 | 375 | 440 | 1850 | 1685 | 1708 | 1682 | 723 | 581 | 771 | 841 | 5045 | 5558 | 6067 | 5827 | 182 | 181 | 187 | 187
544 | 517 | 844 | 253 | 18321 | 23140 | 374 | 446 | 1870 | 1672 | 1734 | 1725 | 730 | 592 | 781 | 857 | 5048 | 5540 | 6116 | 5801 | 185 | 186 | 191 | 194
546 | 526 | 868 | 255 | 18117 | 22505 | 380 | 443 | 1856 | 1691 | 1742 | 1733 | 755 | 604 | 791 | 874 | 5047 | 5501 | 6044 | 5808 | 187 | 185 | 191 | 194
548 | 531 | 871 | 257 | 17791 | 22203 | 375 | 444 | 1863 | 1685 | 1739 | 1735 | 755 | 606 | 804 | 878 | 4973 | 5458 | 5994 | 5738 | 192 | 193 | 194 | 202
550 | 521 | 890 | 259 | 17469 | 21677 | 389 | 446 | 1846 | 1670 | 1727 | 1717 | 755 | 619 | 798 | 896 | 4945 | 5371 | 5851 | 5642 | 197 | 194 | 196 | 201
552 | 533 | 895 | 265 | 16987 | 21148 | 378 | 443 | 1828 | 1685 | 1724 | 1715 | 771 | 613 | 815 | 903 | 4867 | 5344 | 5823 | 5552 | 195 | 197 | 199 | 208
554 | 544 | 900 | 266 | 16741 | 20506 | 385 | 448 | 1818 | 1646 | 1702 | 1709 | 791 | 627 | 816 | 909 | 4813 | 5244 | 5675 | 5425 | 199 | 197 | 199 | 206
556 | 535 | 913 | 272 | 16271 | 20024 | 386 | 439 | 1803 | 1643 | 1688 | 1687 | 791 | 631 | 832 | 909 | 4721 | 5159 | 5580 | 5343 | 199 | 199 | 202 | 211
558 | 546 | 916 | 272 | 15931 | 19614 | 388 | 445 | 1773 | 1626 | 1682 | 1649 | 795 | 633 | 840 | 922 | 4646 | 5065 | 5473 | 5223 | 200 | 202 | 208 | 210
560 | 550 | 922 | 279 | 15529 | 19186 | 386 | 444 | 1753 | 1593 | 1659 | 1658 | 807 | 637 | 847 | 921 | 4541 | 4997 | 5338 | 5135 | 202 | 202 | 211 | 213
562 | 548 | 929 | 279 | 15320 | 18745 | 385 | 451 | 1741 | 1593 | 1649 | 1637 | 805 | 643 | 852 | 933 | 4490 | 4873 | 5229 | 4982 | 205 | 206 | 209 | 211
564 | 554 | 926 | 281 | 14848 | 18130 | 388 | 457 | 1704 | 1568 | 1633 | 1609 | 815 | 642 | 860 | 930 | 4392 | 4797 | 5088 | 4900 | 208 | 209 | 208 | 219
566 | 561 | 924 | 278 | 14354 | 17659 | 381 | 446 | 1671 | 1549 | 1592 | 1601 | 796 | 646 | 847 | 919 | 4235 | 4665 | 4958 | 4730 | 202 | 208 | 214 | 213
568 | 554 | 912 | 276 | 13889 | 17108 | 382 | 440 | 1662 | 1535 | 1576 | 1582 | 796 | 634 | 846 | 910 | 4197 | 4507 | 4848 | 4585 | 203 | 203 | 202 | 213
570 | 547 | 919 | 274 | 13526 | 16414 | 377 | 438 | 1622 | 1502 | 1538 | 1548 | 791 | 630 | 832 | 905 | 4040 | 4399 | 4693 | 4419 | 200 | 202 | 205 | 208
572 | 546 | 909 | 261 | 13119 | 15897 | 376 | 429 | 1612 | 1469 | 1515 | 1522 | 788 | 625 | 820 | 902 | 3951 | 4313 | 4552 | 4347 | 197 | 195 | 195 | 204
574 | 532 | 904 | 257 | 12679 | 15511 | 368 | 428 | 1577 | 1464 | 1491 | 1492 | 778 | 617 | 814 | 891 | 3847 | 4183 | 4432 | 4185 | 188 | 190 | 192 | 198
576 | 527 | 885 | 248 | 12320 | 14930 | 364 | 412 | 1558 | 1418 | 1468 | 1477 | 771 | 607 | 805 | 877 | 3733 | 4073 | 4315 | 4087 | 184 | 188 | 188 | 192
578 | 520 | 876 | 239 | 12018 | 14494 | 354 | 413 | 1530 | 1390 | 1443 | 1450 | 756 | 598 | 797 | 864 | 3666 | 3949 | 4178 | 3989 | 174 | 182 | 178 | 188
580 | 506 | 848 | 232 | 11574 | 14054 | 340 | 399 | 1483 | 1366 | 1410 | 1402 | 746 | 582 | 773 | 842 | 3538 | 3838 | 4077 | 3838 | 170 | 166 | 174 | 176
582 | 488 | 847 | 226 | 11316 | 13594 | 331 | 386 | 1445 | 1353 | 1380 | 1377 | 727 | 580 | 758 | 824 | 3460 | 3740 | 3942 | 3742 | 166 | 161 | 164 | 168
584 | 467 | 817 | 216 | 10837 | 13097 | 316 | 367 | 1420 | 1306 | 1348 | 1338 | 706 | 560 | 743 | 809 | 3318 | 3591 | 3816 | 3637 | 155 | 156 | 156 | 163
586 | 456 | 809 | 205 | 10553 | 12615 | 308 | 352 | 1376 | 1267 | 1306 | 1323 | 688 | 546 | 720 | 783 | 3240 | 3495 | 3690 | 3531 | 146 | 143 | 150 | 153
588 | 436 | 780 | 192 | 10182 | 12273 | 289 | 344 | 1336 | 1231 | 1285 | 1271 | 674 | 531 | 701 | 757 | 3131 | 3380 | 3584 | 3388 | 139 | 137 | 140 | 144
590 | 426 | 758 | 178 | 9912 | 11783 | 283 | 325 | 1305 | 1205 | 1226 | 1238 | 639 | 513 | 681 | 749 | 3033 | 3305 | 3476 | 3275 | 131 | 130 | 131 | 134
592 | 403 | 729 | 168 | 9515 | 11410 | 269 | 314 | 1269 | 1153 | 1193 | 1204 | 628 | 502 | 657 | 719 | 2951 | 3191 | 3318 | 3186 | 119 | 123 | 121 | 126
594 | 382 | 718 | 159 | 9250 | 10996 | 258 | 286 | 1241 | 1127 | 1164 | 1163 | 608 | 486 | 642 | 695 | 2844 | 3071 | 3237 | 3072 | 115 | 113 | 119 | 117
596 | 364 | 691 | 151 | 8883 | 10582 | 240 | 277 | 1194 | 1091 | 1132 | 1128 | 591 | 467 | 615 | 669 | 2758 | 3001 | 3111 | 2966 | 107 | 104 | 109 | 113
598 | 342 | 662 | 140 | 8616 | 10216 | 226 | 267 | 1170 | 1061 | 1106 | 1096 | 577 | 458 | 597 | 654 | 2671 | 2914 | 2994 | 2848 | 97 | 103 | 106 | 100
600 | 334 | 662 | 134 | 8251 | 9825 | 217 | 249 | 1113 | 1028 | 1067 | 1062 | 558 | 441 | 572 | 632 | 2591 | 2801 | 2888 | 2746 | 92 | 95 | 93 | 98
602 | 316 | 627 | 124 | 7923 | 9495 | 207 | 242 | 1084 | 1003 | 1037 | 1020 | 529 | 420 | 551 | 603 | 2497 | 2692 | 2805 | 2687 | 89 | 88 | 89 | 93
604 | 301 | 604 | 120 | 7707 | 9155 | 195 | 228 | 1059 | 968 | 999 | 987 | 522 | 408 | 547 | 590 | 2436 | 2615 | 2711 | 2566 | 85 | 84 | 87 | 86
606 | 284 | 585 | 113 | 7444 | 8778 | 184 | 219 | 1013 | 934 | 956 | 967 | 504 | 400 | 520 | 573 | 2336 | 2528 | 2612 | 2487 | 80 | 77 | 84 | 84
608 | 281 | 572 | 108 | 7154 | 8402 | 180 | 207 | 986 | 903 | 934 | 933 | 484 | 387 | 506 | 556 | 2266 | 2442 | 2516 | 2378 | 74 | 75 | 78 | 80
610 | 268 | 550 | 105 | 6933 | 8129 | 172 | 199 | 961 | 882 | 908 | 910 | 473 | 369 | 484 | 540 | 2189 | 2353 | 2437 | 2292 | 74 | 72 | 75 | 75
612 | 259 | 529 | 100 | 6597 | 7897 | 160 | 191 | 944 | 857 | 890 | 885 | 462 | 357 | 475 | 528 | 2127 | 2268 | 2364 | 2219 | 68 | 68 | 72 | 72
614 | 247 | 521 | 97 | 6389 | 7549 | 156 | 182 | 904 | 819 | 851 | 856 | 444 | 348 | 461 | 512 | 2030 | 2181 | 2271 | 2147 | 66 | 67 | 67 | 69
616 | 239 | 496 | 93 | 6111 | 7249 | 147 | 178 | 864 | 798 | 823 | 831 | 427 | 342 | 448 | 480 | 1960 | 2120 | 2188 | 2074 | 64 | 64 | 69 | 66
618 | 229 | 488 | 88 | 5917 | 6962 | 146 | 167 | 851 | 778 | 798 | 796 | 416 | 327 | 426 | 472 | 1906 | 2030 | 2083 | 2005 | 61 | 62 | 64 | 63
620 | 219 | 472 | 85 | 5653 | 6670 | 142 | 166 | 815 | 746 | 780 | 771 | 402 | 314 | 411 | 458 | 1815 | 1970 | 1990 | 1914 | 61 | 59 | 62 | 62
622 | 219 | 459 | 85 | 5391 | 6399 | 131 | 157 | 781 | 728 | 756 | 746 | 396 | 302 | 404 | 443 | 1750 | 1889 | 1936 | 1842 | 57 | 58 | 61 | 63
624 | 211 | 436 | 81 | 5195 | 6129 | 128 | 151 | 770 | 707 | 724 | 719 | 371 | 296 | 395 | 426 | 1674 | 1815 | 1880 | 1789 | 55 | 55 | 55 | 59
626 | 202 | 416 | 77 | 5022 | 5886 | 127 | 149 | 743 | 683 | 697 | 702 | 363 | 282 | 370 | 417 | 1637 | 1756 | 1816 | 1712 | 55 | 54 | 55 | 56
628 | 194 | 408 | 74 | 4805 | 5622 | 121 | 142 | 711 | 649 | 681 | 671 | 353 | 277 | 365 | 401 | 1557 | 1670 | 1744 | 1660 | 51 | 51 | 52 | 55
630 | 188 | 391 | 72 | 4598 | 5408 | 119 | 135 | 690 | 627 | 651 | 646 | 338 | 267 | 351 | 382 | 1500 | 1632 | 1672 | 1595 | 49 | 50 | 52 | 52
632 | 180 | 381 | 69 | 4427 | 5163 | 116 | 132 | 672 | 607 | 633 | 632 | 330 | 259 | 343 | 376 | 1452 | 1569 | 1613 | 1515 | 50 | 48 | 51 | 52
634 | 178 | 367 | 68 | 4238 | 4995 | 108 | 126 | 641 | 585 | 610 | 610 | 314 | 249 | 334 | 361 | 1389 | 1502 | 1560 | 1474 | 46 | 44 | 48 | 51
636 | 166 | 353 | 64 | 4043 | 4777 | 109 | 119 | 627 | 572 | 587 | 584 | 311 | 242 | 319 | 349 | 1334 | 1436 | 1512 | 1428 | 42 | 46 | 48 | 50
638 | 156 | 345 | 62 | 3885 | 4585 | 102 | 118 | 605 | 549 | 567 | 567 | 296 | 234 | 302 | 336 | 1295 | 1384 | 1429 | 1377 | 46 | 44 | 46 | 49
640 | 158 | 336 | 60 | 3770 | 4409 | 99 | 114 | 582 | 520 | 549 | 545 | 286 | 225 | 296 | 324 | 1223 | 1318 | 1362 | 1309 | 43 | 41 | 48 | 45
End Time | 29.8 E4: 2025-07-22 11:36:44
Mode | E1: Absorbance
Name | E1: blue 1
Measurement wavelength [nm] | 29.8 E4: 640
Number of flashes | 29.8 E4: 10
Settle time [ms] | 29.8 E4: 50
Part of Plate | 29.8 E4: E1-E12;F1-F11
Start Time | 29.8 E4: 2025-07-22 11:36:49
Temperature [°C] | 29.8 E4: 29.9
<> | E1: 1; E2: 2; E3: 3; 29.8 E4: 4; 29.8 E5: 5; 29.8 E6: 6; 29.8 E7: 7; 29.8 E8: 8; 29.8 E9: 9; 29.8 E10: 10; 29.8 E11: 11; 29.8 E12: 12
A
B
C
D
E | E1: 0.057; E2: 0.0561; E3: 0.0447; 29.8 E4: 0.0424; 29.8 E5: 0.0441; 29.8 E6: 0.0409; 29.8 E7: 0.0409; 29.8 E8: 0.0557; 29.8 E9: 0.0571; 29.8 E10: 0.0562; 29.8 E11: 0.0563; 29.8 E12: 0.0558
F | E1: 0.0557; E2: 0.0561; E3: 0.0587; 29.8 E4: 0.0418; 29.8 E5: 0.0418; 29.8 E6: 0.0427; 29.8 E7: 0.044; 29.8 E8: 0.0403; 29.8 E9: 0.0403; 29.8 E10: 0.0403; 29.8 E11: 0.0406
G
H
End Time | 29.8 E4: 2025-07-22 11:36:57
Mode | E1: Absorbance
Name | E1: blue 2
Measurement wavelength [nm] | 29.8 E4: 640
Number of flashes | 29.8 E4: 10
Settle time [ms] | 29.8 E4: 50
Part of Plate | 29.8 E4: E1-E12;F1-F11
Start Time | 29.8 E4: 2025-07-22 11:37:00
Temperature [°C] | 29.8 E4: 29.8
<> | E1: 1; E2: 2; E3: 3; 29.8 E4: 4; 29.8 E5: 5; 29.8 E6: 6; 29.8 E7: 7; 29.8 E8: 8; 29.8 E9: 9; 29.8 E10: 10; 29.8 E11: 11; 29.8 E12: 12
A
B
C
D
E | E1: 0.0581; E2: 0.0569; E3: 0.0446; 29.8 E4: 0.0427; 29.8 E5: 0.0444; 29.8 E6: 0.0406; 29.8 E7: 0.041; 29.8 E8: 0.056; 29.8 E9: 0.0573; 29.8 E10: 0.0566; 29.8 E11: 0.0569; 29.8 E12: 0.056
F | E1: 0.0562; E2: 0.056; E3: 0.0583; 29.8 E4: 0.0421; 29.8 E5: 0.0418; 29.8 E6: 0.0426; 29.8 E7: 0.0442; 29.8 E8: 0.0402; 29.8 E9: 0.0404; 29.8 E10: 0.0404; 29.8 E11: 0.0405
G
H
End Time | 29.8 E4: 2025-07-22 11:37:08
Mode | E1: Absorbance
Name | E1: red 1
Measurement wavelength [nm] | 29.8 E4: 530
Number of flashes | 29.8 E4: 10
Settle time [ms] | 29.8 E4: 50
Part of Plate | 29.8 E4: E1-E12;F1-F11
Start Time | 29.8 E4: 2025-07-22 11:37:10
Temperature [°C] | 29.8 E4: 29.7
<> | E1: 1; E2: 2; E3: 3; 29.8 E4: 4; 29.8 E5: 5; 29.8 E6: 6; 29.8 E7: 7; 29.8 E8: 8; 29.8 E9: 9; 29.8 E10: 10; 29.8 E11: 11; 29.8 E12: 12
A
B
C
D
E | E1: 0.0696; E2: 0.0676; E3: 0.0473; 29.8 E4: 0.0507; 29.8 E5: 0.054; 29.8 E6: 0.0434; 29.8 E7: 0.0439; 29.8 E8: 0.0683; 29.8 E9: 0.0686; 29.8 E10: 0.0692; 29.8 E11: 0.0694; 29.8 E12: 0.0682
F | E1: 0.0671; E2: 0.0663; E3: 0.0692; 29.8 E4: 0.0559; 29.8 E5: 0.0569; 29.8 E6: 0.0674; 29.8 E7: 0.0673; 29.8 E8: 0.0432; 29.8 E9: 0.0432; 29.8 E10: 0.0432; 29.8 E11: 0.0433
G
H
End Time | 29.8 E4: 2025-07-22 11:37:18
Mode | E1: Absorbance
Name | E1: red 2
Measurement wavelength [nm] | 29.8 E4: 530
Number of flashes | 29.8 E4: 10
Settle time [ms] | 29.8 E4: 50
Part of Plate | 29.8 E4: E1-E12;F1-F11
Start Time | 29.8 E4: 2025-07-22 11:37:21
Temperature [°C] | 29.8 E4: 29.7
<> | E1: 1; E2: 2; E3: 3; 29.8 E4: 4; 29.8 E5: 5; 29.8 E6: 6; 29.8 E7: 7; 29.8 E8: 8; 29.8 E9: 9; 29.8 E10: 10; 29.8 E11: 11; 29.8 E12: 12
A
B
C
D
E | E1: 0.0702; E2: 0.0684; E3: 0.0472; 29.8 E4: 0.0507; 29.8 E5: 0.0534; 29.8 E6: 0.0434; 29.8 E7: 0.0438; 29.8 E8: 0.0691; 29.8 E9: 0.0693; 29.8 E10: 0.0695; 29.8 E11: 0.0696; 29.8 E12: 0.0673
F | E1: 0.0672; E2: 0.0658; E3: 0.0695; 29.8 E4: 0.056; 29.8 E5: 0.0568; 29.8 E6: 0.0678; 29.8 E7: 0.0675; 29.8 E8: 0.0432; 29.8 E9: 0.0432; 29.8 E10: 0.0432; 29.8 E11: 0.0432
G
H
End Time | 29.8 E4: 2025-07-22 11:37:28
Ex | Blank | BlankB | BlankR | DOE 15.3 | DOE 15.3 | DOE 16.3 | DOE 16.3 | DOE 15.3 | DOE 15.3 | DOE 15.3 | DOE 15.3 | DOE 16.3 | DOE 16.3 | DOE 16.3 | DOE 16.3 | DOE 15.3 | DOE 15.3 | DOE 15.3 | DOE 15.3 | DOE 16.3 | DOE 16.3 | DOE 16.3 | DOE 16.3
Ex | Blank | BlankB | BlankR | f | f | f | f | b | b | b | b | b | b | b | b | r | r | r | r | r | r | r | r
Ex | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1