## Result sheet
Method name: LS_241112_Fluorescence_Actino_Sample (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1708008206
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦PODI:V1.10.2
Date: |  |  |  | 2025-07-24
Time: |  |  |  | 11:07
System |  |  |  | IBVT171
User |  |  |  | IBVT171\Tecan
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Wait
Shaking
Wait
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Fluorescence 1
Shaking
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Fluorescence 2
Shaking
| Absorbance |  |  |  |  | blue 1
| Absorbance |  |  |  |  | blue 2
| Absorbance |  |  |  |  | red 1
| Absorbance |  |  |  |  | red 2
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | D1-D12;E1-E11
Start Time |  |  |  | 2025-07-24 10:27:44
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 30
Wait minimum [°C] |  |  |  | 29
Wait maximum [°C] |  |  |  | 31
End Time |  |  |  | 2025-07-24 10:27:44
Start Time |  |  |  | 2025-07-24 10:27:44
Shaking (Linear) Duration [s] |  |  |  | 7
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-07-24 10:27:51
Start Time |  |  |  | 2025-07-24 10:27:51
Wait (Time) hh:mm:ss |  |  |  | 00:05:01
Wait position |  |  |  | Current
End Time |  |  |  | 2025-07-24 10:32:52
Start Time |  |  |  | 2025-07-24 10:32:52
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-07-24 10:33:02
Start Time |  |  |  | 2025-07-24 10:33:02
Wait (Time) hh:mm:ss |  |  |  | 00:00:10
Wait position |  |  |  | Current
End Time |  |  |  | 2025-07-24 10:33:12
Mode | Fluorescence Intensity Scan Top Reading
Name | Fluorescence 1
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | D1-D12;E1-E11
Start Time |  |  |  | 2025-07-24 10:33:12
Temperature [°C] |  |  |  | 29.9
Wavel. | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11
520 | 2411 | 3244 | 2531 | 24834 | 26307 | 2800 | 2990 | 5401 | 5371 | 5632 | 5583 | 3115 | 3225 | 3231 | 2953 | 8003 | 7873 | 7910 | 9431 | 3230 | 4111 | 3727 | 3386
522 | 500 | 931 | 323 | 23580 | 24688 | 972 | 928 | 3990 | 3565 | 3854 | 3506 | 913 | 894 | 907 | 1014 | 5462 | 5609 | 5475 | 7361 | 424 | 451 | 473 | 476
524 | 427 | 887 | 247 | 24197 | 25448 | 970 | 883 | 4236 | 3786 | 4117 | 3711 | 891 | 832 | 860 | 979 | 5588 | 5714 | 5611 | 7716 | 356 | 345 | 393 | 397
526 | 428 | 929 | 250 | 24709 | 25955 | 1026 | 904 | 4633 | 4097 | 4487 | 4007 | 924 | 877 | 896 | 1028 | 5884 | 6042 | 5987 | 8174 | 373 | 357 | 416 | 416
528 | 425 | 963 | 243 | 24955 | 26275 | 1051 | 924 | 4995 | 4418 | 4856 | 4306 | 966 | 913 | 917 | 1058 | 6141 | 6326 | 6294 | 8709 | 393 | 379 | 451 | 450
530 | 429 | 985 | 248 | 25256 | 26526 | 1095 | 938 | 5398 | 4710 | 5239 | 4638 | 1014 | 953 | 966 | 1124 | 6402 | 6646 | 6685 | 9248 | 420 | 399 | 476 | 477
532 | 424 | 1031 | 246 | 25577 | 26871 | 1121 | 939 | 5798 | 5021 | 5556 | 4957 | 1044 | 992 | 1019 | 1176 | 6706 | 6975 | 7056 | 9836 | 447 | 419 | 515 | 509
534 | 426 | 1055 | 244 | 25783 | 26811 | 1142 | 955 | 6098 | 5271 | 5860 | 5186 | 1085 | 1028 | 1049 | 1205 | 6971 | 7216 | 7369 | 10280 | 466 | 442 | 544 | 541
536 | 421 | 1093 | 254 | 25653 | 27062 | 1179 | 963 | 6357 | 5534 | 6127 | 5473 | 1151 | 1061 | 1092 | 1266 | 7219 | 7577 | 7694 | 10828 | 489 | 458 | 577 | 571
538 | 426 | 1105 | 255 | 25672 | 26797 | 1176 | 956 | 6637 | 5769 | 6399 | 5634 | 1171 | 1109 | 1110 | 1287 | 7474 | 7841 | 7924 | 11291 | 506 | 466 | 602 | 592
540 | 429 | 1135 | 256 | 25632 | 26890 | 1179 | 973 | 6822 | 5907 | 6623 | 5828 | 1207 | 1121 | 1154 | 1348 | 7670 | 8075 | 8273 | 11787 | 522 | 490 | 622 | 615
542 | 435 | 1155 | 260 | 25541 | 26860 | 1200 | 975 | 6983 | 6074 | 6740 | 5968 | 1243 | 1161 | 1186 | 1374 | 7858 | 8321 | 8527 | 12116 | 540 | 505 | 638 | 633
544 | 430 | 1208 | 266 | 25442 | 26620 | 1190 | 975 | 7099 | 6197 | 6919 | 6030 | 1267 | 1183 | 1211 | 1419 | 8092 | 8470 | 8662 | 12415 | 554 | 511 | 668 | 648
546 | 428 | 1214 | 269 | 25164 | 26488 | 1187 | 961 | 7118 | 6239 | 6880 | 6081 | 1301 | 1200 | 1231 | 1438 | 8184 | 8694 | 8893 | 12608 | 564 | 524 | 671 | 649
548 | 436 | 1241 | 271 | 24992 | 26052 | 1171 | 954 | 7109 | 6153 | 6835 | 6084 | 1331 | 1242 | 1259 | 1459 | 8216 | 8667 | 8903 | 12711 | 559 | 518 | 676 | 648
550 | 434 | 1243 | 276 | 24615 | 25751 | 1141 | 932 | 6990 | 6088 | 6732 | 5971 | 1354 | 1243 | 1256 | 1474 | 8171 | 8644 | 8932 | 12676 | 553 | 520 | 674 | 653
552 | 431 | 1268 | 276 | 24123 | 25557 | 1131 | 932 | 6882 | 6011 | 6648 | 5874 | 1375 | 1258 | 1285 | 1506 | 8211 | 8636 | 8891 | 12699 | 555 | 516 | 664 | 643
554 | 439 | 1276 | 287 | 23634 | 24720 | 1111 | 924 | 6666 | 5842 | 6465 | 5761 | 1376 | 1263 | 1294 | 1504 | 8149 | 8616 | 8802 | 12624 | 549 | 516 | 651 | 639
556 | 442 | 1291 | 283 | 23244 | 24205 | 1092 | 908 | 6479 | 5697 | 6301 | 5573 | 1386 | 1276 | 1304 | 1513 | 8044 | 8507 | 8780 | 12479 | 539 | 499 | 652 | 639
558 | 444 | 1320 | 293 | 22646 | 23592 | 1074 | 909 | 6325 | 5578 | 6101 | 5439 | 1401 | 1292 | 1299 | 1510 | 7990 | 8429 | 8682 | 12263 | 538 | 495 | 641 | 622
560 | 442 | 1315 | 297 | 22157 | 23326 | 1069 | 892 | 6118 | 5377 | 5890 | 5271 | 1401 | 1300 | 1325 | 1525 | 7954 | 8354 | 8648 | 12174 | 527 | 486 | 626 | 614
562 | 440 | 1318 | 299 | 21723 | 22775 | 1061 | 891 | 5936 | 5264 | 5767 | 5129 | 1428 | 1304 | 1318 | 1529 | 7871 | 8307 | 8602 | 12079 | 524 | 491 | 619 | 602
564 | 438 | 1328 | 302 | 21150 | 22054 | 1026 | 869 | 5787 | 5082 | 5561 | 4970 | 1416 | 1300 | 1310 | 1526 | 7869 | 8224 | 8522 | 11960 | 504 | 482 | 613 | 587
566 | 441 | 1336 | 299 | 20605 | 21486 | 1012 | 850 | 5503 | 4876 | 5384 | 4814 | 1415 | 1286 | 1313 | 1514 | 7742 | 8183 | 8397 | 11716 | 499 | 475 | 603 | 587
568 | 443 | 1332 | 296 | 20001 | 20779 | 989 | 848 | 5384 | 4722 | 5197 | 4666 | 1400 | 1287 | 1297 | 1500 | 7713 | 8051 | 8405 | 11625 | 499 | 458 | 590 | 583
570 | 437 | 1327 | 291 | 19255 | 19999 | 972 | 828 | 5202 | 4566 | 5046 | 4518 | 1378 | 1278 | 1283 | 1487 | 7606 | 8030 | 8327 | 11466 | 486 | 452 | 585 | 565
572 | 431 | 1312 | 287 | 18654 | 19370 | 952 | 803 | 4998 | 4431 | 4861 | 4349 | 1379 | 1256 | 1272 | 1485 | 7619 | 7931 | 8271 | 11410 | 473 | 451 | 578 | 556
574 | 425 | 1305 | 280 | 17961 | 18918 | 923 | 789 | 4850 | 4290 | 4676 | 4240 | 1352 | 1239 | 1254 | 1470 | 7567 | 7931 | 8244 | 11325 | 468 | 434 | 563 | 546
576 | 415 | 1304 | 269 | 17496 | 18239 | 899 | 775 | 4731 | 4201 | 4536 | 4136 | 1343 | 1223 | 1246 | 1449 | 7513 | 7868 | 8221 | 11254 | 459 | 423 | 550 | 536
578 | 404 | 1288 | 265 | 16886 | 17614 | 887 | 761 | 4545 | 4055 | 4402 | 3971 | 1334 | 1214 | 1236 | 1413 | 7541 | 7829 | 8234 | 11222 | 448 | 410 | 548 | 526
580 | 390 | 1262 | 247 | 16380 | 17006 | 859 | 731 | 4384 | 3901 | 4257 | 3860 | 1313 | 1193 | 1200 | 1397 | 7494 | 7761 | 8214 | 11116 | 424 | 400 | 537 | 514
582 | 387 | 1251 | 243 | 15834 | 16435 | 823 | 711 | 4328 | 3823 | 4161 | 3756 | 1281 | 1154 | 1195 | 1366 | 7464 | 7748 | 8211 | 11109 | 425 | 387 | 520 | 503
584 | 370 | 1221 | 227 | 15252 | 15869 | 805 | 681 | 4112 | 3687 | 4016 | 3625 | 1269 | 1137 | 1171 | 1320 | 7361 | 7678 | 8127 | 10940 | 408 | 371 | 519 | 493
586 | 353 | 1204 | 215 | 14897 | 15376 | 774 | 663 | 3994 | 3559 | 3897 | 3515 | 1245 | 1117 | 1127 | 1313 | 7293 | 7654 | 8042 | 10888 | 397 | 365 | 503 | 474
588 | 344 | 1190 | 204 | 14260 | 14759 | 736 | 636 | 3874 | 3429 | 3757 | 3380 | 1220 | 1081 | 1119 | 1287 | 7242 | 7615 | 7985 | 10702 | 377 | 354 | 494 | 465
590 | 323 | 1168 | 190 | 13774 | 14296 | 708 | 612 | 3776 | 3310 | 3671 | 3281 | 1187 | 1067 | 1086 | 1265 | 7084 | 7514 | 7874 | 10570 | 361 | 333 | 488 | 455
592 | 303 | 1135 | 180 | 13176 | 13779 | 670 | 580 | 3604 | 3195 | 3493 | 3139 | 1162 | 1042 | 1059 | 1229 | 7076 | 7390 | 7833 | 10454 | 350 | 326 | 470 | 436
594 | 293 | 1109 | 169 | 12849 | 13279 | 644 | 559 | 3485 | 3116 | 3393 | 3081 | 1122 | 1021 | 1031 | 1196 | 6996 | 7288 | 7711 | 10290 | 336 | 309 | 453 | 423
596 | 278 | 1086 | 162 | 12338 | 12741 | 604 | 533 | 3376 | 2994 | 3240 | 2969 | 1115 | 996 | 997 | 1160 | 6900 | 7191 | 7599 | 10016 | 319 | 294 | 446 | 404
598 | 261 | 1065 | 149 | 11875 | 12318 | 580 | 516 | 3244 | 2902 | 3141 | 2880 | 1074 | 961 | 970 | 1128 | 6760 | 7058 | 7478 | 9798 | 311 | 297 | 421 | 398
600 | 251 | 1030 | 142 | 11474 | 11931 | 563 | 497 | 3134 | 2815 | 3053 | 2731 | 1041 | 942 | 945 | 1096 | 6638 | 6904 | 7259 | 9609 | 289 | 272 | 414 | 382
602 | 234 | 1012 | 130 | 11016 | 11492 | 530 | 475 | 2989 | 2677 | 2928 | 2646 | 1026 | 896 | 939 | 1067 | 6482 | 6797 | 7166 | 9463 | 282 | 267 | 401 | 366
604 | 229 | 978 | 126 | 10671 | 11183 | 512 | 460 | 2891 | 2595 | 2827 | 2556 | 1000 | 892 | 905 | 1044 | 6400 | 6650 | 7025 | 9217 | 266 | 252 | 384 | 358
606 | 215 | 960 | 124 | 10400 | 10758 | 488 | 437 | 2764 | 2491 | 2710 | 2451 | 970 | 880 | 879 | 1009 | 6269 | 6509 | 6895 | 9023 | 263 | 244 | 371 | 344
608 | 212 | 931 | 114 | 9909 | 10348 | 457 | 421 | 2692 | 2406 | 2613 | 2405 | 955 | 836 | 859 | 978 | 6126 | 6411 | 6711 | 8735 | 250 | 233 | 353 | 339
610 | 200 | 921 | 108 | 9681 | 9991 | 445 | 409 | 2584 | 2333 | 2538 | 2312 | 920 | 825 | 837 | 963 | 6022 | 6238 | 6606 | 8596 | 244 | 225 | 342 | 317
612 | 194 | 891 | 105 | 9278 | 9732 | 428 | 384 | 2491 | 2262 | 2442 | 2232 | 899 | 797 | 816 | 928 | 5906 | 6097 | 6446 | 8351 | 230 | 216 | 337 | 309
614 | 185 | 872 | 100 | 8972 | 9334 | 403 | 370 | 2403 | 2168 | 2322 | 2141 | 874 | 782 | 789 | 891 | 5741 | 5982 | 6280 | 8133 | 226 | 211 | 329 | 301
616 | 175 | 841 | 98 | 8632 | 9006 | 393 | 357 | 2304 | 2076 | 2248 | 2051 | 852 | 758 | 763 | 882 | 5624 | 5796 | 6143 | 7905 | 216 | 204 | 318 | 294
618 | 171 | 822 | 93 | 8286 | 8647 | 375 | 352 | 2220 | 2000 | 2186 | 1983 | 819 | 731 | 741 | 864 | 5484 | 5641 | 5982 | 7759 | 212 | 197 | 308 | 284
620 | 164 | 796 | 90 | 8007 | 8315 | 363 | 334 | 2140 | 1924 | 2110 | 1923 | 811 | 707 | 719 | 830 | 5333 | 5524 | 5848 | 7568 | 200 | 194 | 299 | 275
622 | 159 | 779 | 90 | 7676 | 8028 | 346 | 319 | 2038 | 1856 | 2036 | 1837 | 786 | 703 | 691 | 804 | 5255 | 5410 | 5727 | 7318 | 193 | 183 | 282 | 269
624 | 151 | 765 | 84 | 7373 | 7724 | 336 | 319 | 1993 | 1783 | 1963 | 1777 | 739 | 678 | 679 | 792 | 5094 | 5206 | 5581 | 7120 | 186 | 176 | 278 | 260
626 | 149 | 736 | 82 | 7146 | 7466 | 327 | 300 | 1915 | 1755 | 1877 | 1713 | 740 | 658 | 658 | 764 | 4981 | 5105 | 5484 | 6881 | 182 | 170 | 270 | 252
628 | 143 | 710 | 76 | 6851 | 7204 | 305 | 296 | 1843 | 1665 | 1807 | 1669 | 715 | 625 | 635 | 738 | 4860 | 5000 | 5298 | 6774 | 181 | 166 | 268 | 243
630 | 136 | 685 | 76 | 6619 | 6899 | 303 | 280 | 1794 | 1608 | 1750 | 1607 | 692 | 613 | 622 | 709 | 4687 | 4865 | 5175 | 6537 | 175 | 163 | 264 | 241
632 | 134 | 678 | 70 | 6329 | 6588 | 285 | 269 | 1719 | 1545 | 1693 | 1544 | 668 | 597 | 598 | 692 | 4617 | 4733 | 5075 | 6406 | 168 | 156 | 250 | 234
634 | 129 | 656 | 70 | 6087 | 6375 | 276 | 264 | 1674 | 1493 | 1626 | 1499 | 643 | 574 | 580 | 677 | 4504 | 4602 | 4901 | 6257 | 163 | 152 | 245 | 219
636 | 123 | 625 | 69 | 5886 | 6136 | 267 | 253 | 1614 | 1431 | 1578 | 1439 | 632 | 559 | 566 | 647 | 4368 | 4508 | 4804 | 6056 | 160 | 149 | 234 | 221
638 | 123 | 615 | 65 | 5630 | 5867 | 247 | 248 | 1533 | 1378 | 1505 | 1397 | 612 | 540 | 540 | 638 | 4269 | 4370 | 4684 | 5935 | 154 | 141 | 229 | 210
640 | 115 | 601 | 62 | 5418 | 5724 | 243 | 231 | 1481 | 1340 | 1475 | 1363 | 595 | 516 | 516 | 607 | 4090 | 4241 | 4532 | 5687 | 148 | 140 | 218 | 207
End Time | 29.9 D4: 2025-07-24 10:49:43
Start Time | 29.9 D4: 2025-07-24 10:49:48
Shaking (Linear) Duration [s] | 29.9 D4: 10
Shaking (Linear) Position | 29.9 D4: Current
Shaking (Linear) Amplitude [mm] | bar: 29.9 D4
Shaking (Linear) Frequency [rpm] | 29.9 D4: 1440
End Time | 29.9 D4: 2025-07-24 10:49:58
Mode | D1: Fluorescence Intensity Scan Top Reading
Name | D1: Fluorescence 2
Scan selection | 29.9 D4: Emission Scan
Excitation | 29.9 D4: Monochromator
Excitation wavelength [nm] | 29.9 D4: 483
Excitation bandwidth [nm] | 29.9 D4: 20
Emission wavelength start [nm] | 29.9 D4: 520
Emission wavelength end [nm] | 29.9 D4: 640
Emission wavelength step size [nm] | 29.9 D4: 2
Emission scan number | 29.9 D4: 61
Emission bandwidth [nm] | 29.9 D4: 20
Gain Manual | 29.9 D4: 100
Mirror | 29.9 D4: Automatic (Dichroic 510)
Number of flashes | 29.9 D4: 30
Integration time [µs] | 29.9 D4: 40
Lag time [µs] | 29.9 D4: 0
Settle time [ms] | 29.9 D4: 0
Z-Position [μm] | 29.9 D4: 20000
Z-Position mode | 29.9 D4: Manual
Part of Plate | 29.9 D4: D1-D12;E1-E11
Start Time | 29.9 D4: 2025-07-24 10:49:58
Temperature [°C] | 29.9 D4: 30
Wavel. | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11
520 | 2681 | 3385 | 2597 | 23245 | 24594 | 2474 | 2681 | 4569 | 4468 | 4888 | 4728 | 2870 | 3520 | 3475 | 2948 | 7148 | 7071 | 7191 | 8773 | 3131 | 3639 | 3560 | 3366
522 | 460 | 878 | 312 | 21850 | 23126 | 914 | 879 | 3385 | 3002 | 3315 | 2984 | 876 | 970 | 941 | 1044 | 4796 | 4892 | 4850 | 6618 | 417 | 405 | 427 | 456
524 | 398 | 841 | 229 | 22282 | 23574 | 886 | 824 | 3537 | 3115 | 3445 | 3109 | 852 | 923 | 910 | 1035 | 4927 | 5012 | 4981 | 6906 | 333 | 322 | 364 | 364
526 | 389 | 886 | 225 | 22634 | 24139 | 930 | 845 | 3802 | 3352 | 3753 | 3345 | 889 | 964 | 946 | 1082 | 5102 | 5309 | 5284 | 7361 | 350 | 335 | 385 | 381
528 | 393 | 915 | 230 | 23036 | 24550 | 964 | 874 | 4049 | 3523 | 3913 | 3503 | 921 | 998 | 989 | 1143 | 5391 | 5569 | 5577 | 7824 | 369 | 350 | 418 | 411
530 | 395 | 939 | 231 | 23175 | 24645 | 994 | 878 | 4318 | 3752 | 4196 | 3749 | 962 | 1045 | 1047 | 1175 | 5671 | 5869 | 5879 | 8263 | 391 | 371 | 449 | 440
532 | 398 | 972 | 230 | 23633 | 24994 | 1026 | 894 | 4553 | 3987 | 4447 | 3948 | 1001 | 1098 | 1086 | 1243 | 5912 | 6203 | 6229 | 8831 | 408 | 393 | 483 | 468
534 | 397 | 1005 | 228 | 23635 | 24966 | 1046 | 897 | 4764 | 4097 | 4691 | 4155 | 1037 | 1141 | 1129 | 1287 | 6164 | 6472 | 6503 | 9297 | 434 | 406 | 517 | 496
536 | 397 | 1038 | 231 | 23692 | 25075 | 1059 | 889 | 4939 | 4271 | 4902 | 4298 | 1081 | 1170 | 1172 | 1344 | 6355 | 6714 | 6832 | 9802 | 458 | 429 | 547 | 521
538 | 399 | 1064 | 229 | 23633 | 24994 | 1070 | 898 | 5084 | 4398 | 5000 | 4413 | 1113 | 1214 | 1205 | 1368 | 6591 | 6938 | 7099 | 10134 | 472 | 446 | 564 | 538
540 | 399 | 1090 | 237 | 23638 | 25146 | 1080 | 899 | 5208 | 4522 | 5138 | 4521 | 1139 | 1248 | 1241 | 1419 | 6809 | 7156 | 7317 | 10568 | 482 | 460 | 594 | 567
542 | 405 | 1129 | 236 | 23593 | 24943 | 1078 | 905 | 5357 | 4591 | 5246 | 4619 | 1172 | 1277 | 1268 | 1454 | 6969 | 7368 | 7596 | 10841 | 505 | 466 | 610 | 570
544 | 395 | 1146 | 243 | 23410 | 24897 | 1082 | 899 | 5433 | 4664 | 5329 | 4688 | 1190 | 1326 | 1314 | 1491 | 7085 | 7547 | 7762 | 11157 | 508 | 480 | 626 | 587
546 | 395 | 1151 | 246 | 23283 | 24454 | 1078 | 899 | 5444 | 4694 | 5300 | 4711 | 1213 | 1346 | 1333 | 1531 | 7197 | 7624 | 7894 | 11382 | 527 | 488 | 636 | 596
548 | 397 | 1186 | 249 | 23240 | 24323 | 1052 | 893 | 5467 | 4678 | 5345 | 4687 | 1235 | 1378 | 1362 | 1552 | 7239 | 7691 | 7978 | 11426 | 517 | 483 | 624 | 590
550 | 398 | 1189 | 254 | 22616 | 23913 | 1047 | 876 | 5355 | 4654 | 5245 | 4674 | 1254 | 1397 | 1364 | 1567 | 7181 | 7689 | 7930 | 11487 | 516 | 484 | 624 | 585
552 | 401 | 1212 | 258 | 22299 | 23541 | 1027 | 864 | 5284 | 4601 | 5197 | 4606 | 1277 | 1428 | 1393 | 1584 | 7258 | 7696 | 7935 | 11339 | 518 | 485 | 629 | 586
554 | 404 | 1237 | 259 | 21666 | 22991 | 999 | 856 | 5212 | 4488 | 5088 | 4499 | 1289 | 1428 | 1381 | 1599 | 7132 | 7585 | 7859 | 11285 | 504 | 478 | 614 | 576
556 | 404 | 1233 | 262 | 21418 | 22612 | 984 | 854 | 5093 | 4439 | 4943 | 4454 | 1294 | 1425 | 1403 | 1603 | 7148 | 7538 | 7791 | 11122 | 507 | 471 | 605 | 569
558 | 413 | 1245 | 268 | 20903 | 22027 | 973 | 839 | 4936 | 4317 | 4839 | 4314 | 1293 | 1456 | 1404 | 1618 | 7052 | 7484 | 7710 | 11001 | 491 | 457 | 597 | 559
560 | 404 | 1256 | 270 | 20398 | 21441 | 962 | 832 | 4818 | 4213 | 4711 | 4234 | 1309 | 1464 | 1397 | 1625 | 6979 | 7400 | 7633 | 10832 | 485 | 454 | 584 | 552
562 | 405 | 1265 | 275 | 19988 | 21116 | 943 | 823 | 4744 | 4118 | 4592 | 4136 | 1320 | 1468 | 1400 | 1617 | 6927 | 7356 | 7649 | 10849 | 477 | 444 | 581 | 548
564 | 415 | 1257 | 277 | 19411 | 20512 | 950 | 809 | 4587 | 4003 | 4433 | 4050 | 1321 | 1462 | 1395 | 1625 | 6918 | 7241 | 7530 | 10709 | 467 | 443 | 569 | 532
566 | 411 | 1284 | 272 | 18936 | 19859 | 925 | 803 | 4473 | 3912 | 4349 | 3942 | 1321 | 1458 | 1400 | 1628 | 6813 | 7210 | 7472 | 10498 | 466 | 427 | 558 | 519
568 | 407 | 1255 | 268 | 18253 | 19296 | 897 | 788 | 4339 | 3806 | 4209 | 3826 | 1311 | 1437 | 1396 | 1600 | 6813 | 7141 | 7430 | 10321 | 455 | 427 | 542 | 522
570 | 402 | 1271 | 265 | 17745 | 18742 | 894 | 777 | 4204 | 3715 | 4078 | 3671 | 1303 | 1430 | 1368 | 1570 | 6733 | 7122 | 7414 | 10349 | 446 | 415 | 534 | 512
572 | 400 | 1249 | 256 | 17181 | 18111 | 871 | 759 | 4097 | 3619 | 3970 | 3588 | 1297 | 1428 | 1372 | 1554 | 6696 | 6994 | 7360 | 10092 | 438 | 407 | 517 | 498
574 | 391 | 1241 | 249 | 16636 | 17493 | 852 | 756 | 3985 | 3516 | 3871 | 3512 | 1284 | 1408 | 1355 | 1536 | 6657 | 6968 | 7333 | 10144 | 420 | 401 | 514 | 487
576 | 387 | 1237 | 247 | 16166 | 16969 | 816 | 736 | 3896 | 3459 | 3773 | 3440 | 1258 | 1376 | 1334 | 1530 | 6635 | 6996 | 7355 | 10155 | 414 | 389 | 507 | 487
578 | 377 | 1208 | 236 | 15560 | 16459 | 809 | 720 | 3831 | 3340 | 3644 | 3344 | 1240 | 1378 | 1306 | 1512 | 6606 | 6958 | 7314 | 10072 | 412 | 378 | 504 | 473
580 | 367 | 1200 | 228 | 15054 | 15842 | 786 | 688 | 3676 | 3262 | 3585 | 3248 | 1223 | 1344 | 1307 | 1481 | 6625 | 6952 | 7279 | 9957 | 396 | 367 | 489 | 466
582 | 357 | 1199 | 218 | 14500 | 15326 | 761 | 675 | 3611 | 3198 | 3476 | 3181 | 1217 | 1330 | 1280 | 1457 | 6599 | 6831 | 7268 | 9974 | 391 | 360 | 485 | 455
584 | 336 | 1155 | 209 | 14034 | 14754 | 724 | 652 | 3499 | 3081 | 3355 | 3080 | 1184 | 1303 | 1245 | 1426 | 6477 | 6830 | 7254 | 9787 | 374 | 347 | 463 | 451
586 | 329 | 1147 | 198 | 13562 | 14245 | 717 | 627 | 3431 | 2991 | 3286 | 2988 | 1173 | 1276 | 1215 | 1411 | 6488 | 6813 | 7175 | 9755 | 365 | 339 | 456 | 434
588 | 317 | 1108 | 188 | 13089 | 13753 | 677 | 603 | 3300 | 2937 | 3183 | 2918 | 1149 | 1238 | 1183 | 1360 | 6360 | 6651 | 7102 | 9635 | 343 | 322 | 450 | 420
590 | 302 | 1103 | 178 | 12630 | 13405 | 654 | 581 | 3226 | 2825 | 3090 | 2812 | 1125 | 1212 | 1165 | 1334 | 6318 | 6627 | 7044 | 9558 | 335 | 313 | 436 | 407
592 | 287 | 1070 | 168 | 12175 | 12823 | 616 | 561 | 3113 | 2733 | 2968 | 2719 | 1090 | 1192 | 1151 | 1306 | 6250 | 6574 | 6899 | 9319 | 330 | 297 | 428 | 397
594 | 276 | 1051 | 158 | 11751 | 12428 | 590 | 535 | 3013 | 2662 | 2908 | 2638 | 1078 | 1166 | 1104 | 1264 | 6133 | 6445 | 6865 | 9137 | 312 | 290 | 414 | 385
596 | 260 | 1017 | 148 | 11416 | 11940 | 559 | 508 | 2896 | 2599 | 2782 | 2567 | 1030 | 1133 | 1093 | 1233 | 6054 | 6345 | 6771 | 9003 | 293 | 273 | 399 | 368
598 | 247 | 985 | 140 | 10917 | 11583 | 542 | 489 | 2841 | 2524 | 2715 | 2494 | 1023 | 1114 | 1057 | 1201 | 5949 | 6188 | 6579 | 8900 | 282 | 262 | 389 | 357
600 | 232 | 972 | 132 | 10586 | 11139 | 509 | 467 | 2728 | 2401 | 2606 | 2401 | 989 | 1067 | 1031 | 1172 | 5826 | 6104 | 6486 | 8644 | 272 | 253 | 373 | 342
602 | 223 | 951 | 123 | 10155 | 10747 | 488 | 444 | 2624 | 2347 | 2506 | 2333 | 959 | 1049 | 993 | 1132 | 5698 | 5962 | 6311 | 8469 | 261 | 237 | 358 | 331
604 | 216 | 926 | 118 | 9928 | 10457 | 472 | 430 | 2565 | 2262 | 2468 | 2251 | 943 | 1016 | 979 | 1101 | 5560 | 5869 | 6241 | 8246 | 247 | 232 | 349 | 317
606 | 202 | 909 | 113 | 9525 | 10074 | 444 | 413 | 2465 | 2207 | 2362 | 2157 | 913 | 993 | 949 | 1080 | 5527 | 5708 | 6082 | 7994 | 241 | 225 | 341 | 308
608 | 193 | 873 | 105 | 9104 | 9722 | 431 | 403 | 2394 | 2142 | 2272 | 2116 | 904 | 972 | 923 | 1052 | 5371 | 5609 | 5947 | 7854 | 232 | 212 | 321 | 292
610 | 187 | 857 | 102 | 8880 | 9411 | 416 | 387 | 2331 | 2071 | 2227 | 2048 | 874 | 931 | 902 | 1020 | 5265 | 5505 | 5879 | 7738 | 222 | 205 | 322 | 288
612 | 179 | 846 | 100 | 8587 | 9057 | 390 | 369 | 2253 | 2000 | 2151 | 1975 | 840 | 921 | 874 | 986 | 5150 | 5391 | 5744 | 7481 | 214 | 195 | 310 | 277
614 | 173 | 819 | 94 | 8311 | 8776 | 377 | 361 | 2178 | 1953 | 2072 | 1939 | 817 | 885 | 850 | 966 | 5031 | 5236 | 5581 | 7239 | 207 | 194 | 300 | 273
616 | 163 | 781 | 95 | 8016 | 8449 | 361 | 344 | 2097 | 1862 | 2001 | 1864 | 811 | 878 | 822 | 937 | 4945 | 5122 | 5453 | 7098 | 196 | 186 | 288 | 265
618 | 157 | 759 | 89 | 7706 | 8061 | 345 | 330 | 2029 | 1817 | 1941 | 1791 | 796 | 847 | 804 | 906 | 4761 | 5020 | 5320 | 6897 | 194 | 179 | 278 | 255
620 | 155 | 754 | 84 | 7410 | 7783 | 331 | 321 | 1960 | 1748 | 1855 | 1741 | 754 | 820 | 783 | 872 | 4653 | 4847 | 5147 | 6695 | 186 | 174 | 272 | 250
622 | 151 | 725 | 81 | 7137 | 7505 | 326 | 309 | 1925 | 1689 | 1809 | 1674 | 734 | 794 | 756 | 852 | 4583 | 4740 | 5071 | 6519 | 180 | 168 | 264 | 247
624 | 143 | 717 | 79 | 6839 | 7271 | 305 | 299 | 1823 | 1655 | 1748 | 1628 | 718 | 765 | 732 | 830 | 4498 | 4620 | 4947 | 6361 | 175 | 162 | 261 | 235
626 | 139 | 687 | 74 | 6609 | 6969 | 304 | 286 | 1778 | 1592 | 1711 | 1559 | 702 | 743 | 714 | 805 | 4372 | 4501 | 4834 | 6203 | 167 | 162 | 250 | 231
628 | 130 | 652 | 72 | 6326 | 6747 | 286 | 275 | 1701 | 1535 | 1626 | 1517 | 682 | 728 | 693 | 782 | 4252 | 4382 | 4726 | 6005 | 160 | 155 | 239 | 228
630 | 132 | 644 | 71 | 6059 | 6422 | 281 | 270 | 1662 | 1507 | 1580 | 1462 | 659 | 699 | 667 | 753 | 4142 | 4262 | 4578 | 5882 | 164 | 144 | 234 | 218
632 | 124 | 630 | 67 | 5810 | 6190 | 267 | 258 | 1599 | 1447 | 1525 | 1413 | 630 | 677 | 647 | 731 | 4031 | 4173 | 4475 | 5734 | 148 | 141 | 224 | 210
634 | 118 | 620 | 64 | 5594 | 5927 | 253 | 246 | 1565 | 1396 | 1468 | 1366 | 612 | 662 | 631 | 716 | 3951 | 4070 | 4338 | 5577 | 150 | 142 | 220 | 202
636 | 113 | 592 | 61 | 5416 | 5750 | 247 | 240 | 1507 | 1352 | 1421 | 1319 | 599 | 645 | 607 | 691 | 3862 | 3970 | 4263 | 5390 | 144 | 136 | 215 | 197
638 | 112 | 573 | 62 | 5234 | 5502 | 234 | 239 | 1458 | 1311 | 1371 | 1285 | 575 | 616 | 590 | 674 | 3746 | 3831 | 4105 | 5320 | 143 | 130 | 211 | 198
640 | 109 | 565 | 61 | 5019 | 5311 | 231 | 225 | 1385 | 1259 | 1328 | 1238 | 566 | 612 | 570 | 638 | 3579 | 3758 | 3987 | 5126 | 136 | 123 | 204 | 189
End Time | 30 D4: 2025-07-24 11:06:27
Start Time | 30 D4: 2025-07-24 11:06:30
Shaking (Linear) Duration [s] | 30 D4: 10
Shaking (Linear) Position | 30 D4: Current
Shaking (Linear) Amplitude [mm] | bar: 30 D4
Shaking (Linear) Frequency [rpm] | 30 D4: 1440
End Time | 30 D4: 2025-07-24 11:06:40
Mode | D1: Absorbance
Name | D1: blue 1
Measurement wavelength [nm] | 30 D4: 640
Number of flashes | 30 D4: 10
Settle time [ms] | 30 D4: 50
Part of Plate | 30 D4: D1-D12;E1-E11
Start Time | 30 D4: 2025-07-24 11:06:40
Temperature [°C] | 30 D4: 30
<> | D1: 1; D2: 2; D3: 3; 30 D4: 4; 30 D5: 5; 30 D6: 6; 30 D7: 7; 30 D8: 8; 30 D9: 9; 30 D10: 10; 30 D11: 11; 30 D12: 12
A
B
C
D | D1: 0.0425; D2: 0.0572; D3: 0.0412; 30 D4: 0.0629; 30 D5: 0.0666; 30 D6: 0.0417; 30 D7: 0.0425; 30 D8: 0.1356; 30 D9: 0.1246; 30 D10: 0.1223; 30 D11: 0.1173; 30 D12: 0.0583
E | D1: 0.0599; D2: 0.0604; D3: 0.0595; 30 D4: 0.0482; 30 D5: 0.0491; 30 D6: 0.0476; 30 D7: 0.0498; 30 D8: 0.0409; 30 D9: 0.0408; 30 D10: 0.0409; 30 D11: 0.0415
F
G
H
End Time | 30 D4: 2025-07-24 11:06:48
Mode | D1: Absorbance
Name | D1: blue 2
Measurement wavelength [nm] | 30 D4: 640
Number of flashes | 30 D4: 10
Settle time [ms] | 30 D4: 50
Part of Plate | 30 D4: D1-D12;E1-E11
Start Time | 30 D4: 2025-07-24 11:06:51
Temperature [°C] | 30 D4: 30
<> | D1: 1; D2: 2; D3: 3; 30 D4: 4; 30 D5: 5; 30 D6: 6; 30 D7: 7; 30 D8: 8; 30 D9: 9; 30 D10: 10; 30 D11: 11; 30 D12: 12
A
B
C
D | D1: 0.0422; D2: 0.0591; D3: 0.0407; 30 D4: 0.0629; 30 D5: 0.0665; 30 D6: 0.0418; 30 D7: 0.0425; 30 D8: 0.1428; 30 D9: 0.133; 30 D10: 0.1349; 30 D11: 0.1289; 30 D12: 0.0578
E | D1: 0.0592; D2: 0.0609; D3: 0.0594; 30 D4: 0.0481; 30 D5: 0.0483; 30 D6: 0.0472; 30 D7: 0.0496; 30 D8: 0.0408; 30 D9: 0.0407; 30 D10: 0.0408; 30 D11: 0.0414
F
G
H
End Time | 30 D4: 2025-07-24 11:06:59
Mode | D1: Absorbance
Name | D1: red 1
Measurement wavelength [nm] | 30 D4: 530
Number of flashes | 30 D4: 10
Settle time [ms] | 30 D4: 50
Part of Plate | 30 D4: D1-D12;E1-E11
Start Time | 30 D4: 2025-07-24 11:07:02
Temperature [°C] | 30 D4: 29.9
<> | D1: 1; D2: 2; D3: 3; 30 D4: 4; 30 D5: 5; 30 D6: 6; 30 D7: 7; 30 D8: 8; 30 D9: 9; 30 D10: 10; 30 D11: 11; 30 D12: 12
A
B
C
D | D1: 0.0451; D2: 0.0716; D3: 0.0444; 30 D4: 0.0949; 30 D5: 0.1041; 30 D6: 0.0456; 30 D7: 0.0464; 30 D8: 0.1062; 30 D9: 0.1026; 30 D10: 0.1005; 30 D11: 0.0977; 30 D12: 0.0685
E | D1: 0.0709; D2: 0.0704; D3: 0.07; 30 D4: 0.1639; 30 D5: 0.1775; 30 D6: 0.188; 30 D7: 0.2322; 30 D8: 0.047; 30 D9: 0.0468; 30 D10: 0.054; 30 D11: 0.0511
F
G
H
End Time | 30 D4: 2025-07-24 11:07:09
Mode | D1: Absorbance
Name | D1: red 2
Measurement wavelength [nm] | 30 D4: 530
Number of flashes | 30 D4: 10
Settle time [ms] | 30 D4: 50
Part of Plate | 30 D4: D1-D12;E1-E11
Start Time | 30 D4: 2025-07-24 11:07:12
Temperature [°C] | 30 D4: 29.9
<> | D1: 1; D2: 2; D3: 3; 30 D4: 4; 30 D5: 5; 30 D6: 6; 30 D7: 7; 30 D8: 8; 30 D9: 9; 30 D10: 10; 30 D11: 11; 30 D12: 12
A
B
C
D | D1: 0.0451; D2: 0.0718; D3: 0.0436; 30 D4: 0.0949; 30 D5: 0.104; 30 D6: 0.0456; 30 D7: 0.0469; 30 D8: 0.1066; 30 D9: 0.1031; 30 D10: 0.1011; 30 D11: 0.0974; 30 D12: 0.0687
E | D1: 0.0709; D2: 0.0706; D3: 0.0713; 30 D4: 0.1638; 30 D5: 0.1775; 30 D6: 0.1879; 30 D7: 0.2323; 30 D8: 0.047; 30 D9: 0.0468; 30 D10: 0.0539; 30 D11: 0.051
F
G
H
End Time | 30 D4: 2025-07-24 11:07:19
Ex | Blank | BlankB | BlankR | DOE 15.5 | DOE 15.5 | DOE 16.5 | DOE 16.5 | DOE 15.5 | DOE 15.5 | DOE 15.5 | DOE 15.5 | DOE 16.5 | DOE 16.5 | DOE 16.5 | DOE 16.5 | DOE 15.5 | DOE 15.5 | DOE 15.5 | DOE 15.5 | DOE 16.5 | DOE 16.5 | DOE 16.5 | DOE 16.5
Ex | Blank | BlankB | BlankR | f | f | f | f | b | b | b | b | b | b | b | b | r | r | r | r | r | r | r | r
Ex | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1