## Result sheet
Method name: LS_241112_Fluorescence_Actino_Sample (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1708008206
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦PODI:V1.10.2
Date: |  |  |  | 2025-07-26
Time: |  |  |  | 11:07
System |  |  |  | IBVT171
User |  |  |  | IBVT171\Tecan
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Wait
Shaking
Wait
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Fluorescence 1
Shaking
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Fluorescence 2
Shaking
| Absorbance |  |  |  |  | blue 1
| Absorbance |  |  |  |  | blue 2
| Absorbance |  |  |  |  | red 1
| Absorbance |  |  |  |  | red 2
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | D1-D12;E1-E11
Start Time |  |  |  | 2025-07-26 10:27:32
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 30
Wait minimum [°C] |  |  |  | 29
Wait maximum [°C] |  |  |  | 31
End Time |  |  |  | 2025-07-26 10:27:32
Start Time |  |  |  | 2025-07-26 10:27:32
Shaking (Linear) Duration [s] |  |  |  | 7
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-07-26 10:27:39
Start Time |  |  |  | 2025-07-26 10:27:39
Wait (Time) hh:mm:ss |  |  |  | 00:05:01
Wait position |  |  |  | Current
End Time |  |  |  | 2025-07-26 10:32:40
Start Time |  |  |  | 2025-07-26 10:32:40
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-07-26 10:32:50
Start Time |  |  |  | 2025-07-26 10:32:50
Wait (Time) hh:mm:ss |  |  |  | 00:00:10
Wait position |  |  |  | Current
End Time |  |  |  | 2025-07-26 10:33:00
Mode | Fluorescence Intensity Scan Top Reading
Name | Fluorescence 1
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | D1-D12;E1-E11
Start Time |  |  |  | 2025-07-26 10:33:00
Temperature [°C] |  |  |  | 29.9
Wavel. | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11
520 | 2181 | 2712 | 2192 | 31825 | 30520 | 3397 | 6159 | 6477 | 6589 | 5784 | 6138 | 2872 | 2995 | 3020 | 2956 | 7588 | 7860 | 7173 | 6931 | 2836 | 3035 | 3385 | 3327
522 | 538 | 876 | 314 | 30805 | 29611 | 1315 | 4118 | 5177 | 5111 | 4354 | 4692 | 851 | 835 | 899 | 963 | 5310 | 5883 | 4986 | 5253 | 488 | 520 | 930 | 1166
524 | 477 | 841 | 236 | 31586 | 30167 | 1280 | 4121 | 5569 | 5501 | 4636 | 4989 | 809 | 791 | 889 | 925 | 5526 | 6056 | 5185 | 5466 | 413 | 436 | 862 | 1101
526 | 473 | 878 | 227 | 31923 | 30827 | 1287 | 4172 | 6060 | 5970 | 5047 | 5449 | 848 | 826 | 918 | 967 | 5870 | 6457 | 5575 | 5746 | 428 | 448 | 873 | 1123
528 | 470 | 895 | 233 | 32307 | 31057 | 1312 | 4256 | 6553 | 6420 | 5436 | 5847 | 870 | 855 | 961 | 995 | 6041 | 6736 | 5936 | 6129 | 439 | 457 | 891 | 1139
530 | 474 | 934 | 228 | 32766 | 31476 | 1307 | 4277 | 7130 | 6931 | 5859 | 6263 | 905 | 883 | 983 | 1027 | 6375 | 7134 | 6308 | 6466 | 449 | 463 | 906 | 1144
532 | 473 | 954 | 232 | 32890 | 31474 | 1331 | 4262 | 7508 | 7451 | 6236 | 6689 | 936 | 919 | 1022 | 1070 | 6728 | 7530 | 6756 | 6855 | 463 | 478 | 907 | 1151
534 | 474 | 990 | 233 | 32926 | 31476 | 1330 | 4250 | 7941 | 7775 | 6516 | 7031 | 962 | 943 | 1041 | 1097 | 7071 | 7877 | 7072 | 7223 | 468 | 492 | 921 | 1165
536 | 472 | 1011 | 236 | 32912 | 31263 | 1343 | 4254 | 8303 | 8189 | 6872 | 7354 | 1002 | 980 | 1063 | 1117 | 7378 | 8193 | 7492 | 7543 | 479 | 504 | 923 | 1179
538 | 474 | 1035 | 239 | 32804 | 31419 | 1342 | 4245 | 8604 | 8482 | 7073 | 7570 | 1024 | 990 | 1087 | 1137 | 7672 | 8566 | 7872 | 7918 | 494 | 513 | 928 | 1169
540 | 477 | 1067 | 239 | 32535 | 30908 | 1328 | 4214 | 8879 | 8707 | 7310 | 7856 | 1056 | 1013 | 1112 | 1178 | 7991 | 8974 | 8276 | 8253 | 501 | 525 | 928 | 1183
542 | 481 | 1088 | 241 | 32507 | 31152 | 1349 | 4174 | 9078 | 8826 | 7438 | 7979 | 1064 | 1054 | 1139 | 1197 | 8193 | 9195 | 8519 | 8473 | 508 | 539 | 924 | 1173
544 | 479 | 1119 | 245 | 32238 | 30789 | 1339 | 4149 | 9303 | 8966 | 7515 | 8097 | 1099 | 1074 | 1166 | 1203 | 8513 | 9434 | 8827 | 8807 | 518 | 542 | 933 | 1197
546 | 478 | 1129 | 253 | 31914 | 30219 | 1330 | 4121 | 9324 | 9091 | 7548 | 8115 | 1121 | 1090 | 1173 | 1234 | 8700 | 9705 | 9087 | 9020 | 534 | 550 | 937 | 1195
548 | 485 | 1142 | 256 | 31732 | 29862 | 1338 | 4054 | 9167 | 9010 | 7521 | 8071 | 1138 | 1103 | 1199 | 1245 | 8813 | 9836 | 9166 | 9136 | 537 | 556 | 940 | 1182
550 | 479 | 1158 | 263 | 31068 | 29529 | 1319 | 3987 | 8930 | 8819 | 7401 | 7894 | 1141 | 1116 | 1198 | 1260 | 8846 | 9889 | 9254 | 9144 | 551 | 574 | 935 | 1182
552 | 490 | 1169 | 263 | 30763 | 29139 | 1295 | 3946 | 8848 | 8665 | 7254 | 7754 | 1147 | 1138 | 1221 | 1270 | 8935 | 10054 | 9341 | 9330 | 549 | 576 | 936 | 1198
554 | 493 | 1173 | 270 | 30025 | 28435 | 1299 | 3888 | 8595 | 8394 | 7079 | 7563 | 1157 | 1136 | 1221 | 1277 | 8952 | 10075 | 9342 | 9348 | 557 | 582 | 929 | 1179
556 | 494 | 1195 | 272 | 29470 | 27977 | 1278 | 3767 | 8345 | 8156 | 6902 | 7358 | 1176 | 1147 | 1226 | 1278 | 8936 | 10033 | 9419 | 9383 | 562 | 587 | 930 | 1168
558 | 500 | 1200 | 273 | 28825 | 27281 | 1281 | 3719 | 8024 | 7840 | 6627 | 7005 | 1177 | 1154 | 1220 | 1283 | 9014 | 10045 | 9464 | 9443 | 571 | 593 | 922 | 1178
560 | 501 | 1216 | 284 | 28236 | 26895 | 1267 | 3679 | 7805 | 7551 | 6372 | 6828 | 1181 | 1162 | 1244 | 1294 | 8994 | 10146 | 9371 | 9564 | 577 | 604 | 912 | 1152
562 | 512 | 1217 | 282 | 27750 | 26328 | 1259 | 3607 | 7517 | 7361 | 6221 | 6615 | 1191 | 1154 | 1231 | 1292 | 9174 | 10168 | 9442 | 9529 | 577 | 596 | 926 | 1157
564 | 507 | 1223 | 279 | 27019 | 25637 | 1248 | 3532 | 7239 | 7030 | 5992 | 6312 | 1191 | 1161 | 1237 | 1303 | 9142 | 10287 | 9524 | 9577 | 582 | 613 | 917 | 1141
566 | 504 | 1218 | 283 | 26269 | 24839 | 1231 | 3415 | 6893 | 6700 | 5723 | 6047 | 1184 | 1158 | 1217 | 1297 | 9178 | 10312 | 9522 | 9587 | 584 | 610 | 915 | 1123
568 | 502 | 1219 | 271 | 25624 | 24461 | 1204 | 3301 | 6677 | 6479 | 5534 | 5786 | 1189 | 1158 | 1232 | 1291 | 9242 | 10280 | 9594 | 9661 | 589 | 610 | 900 | 1117
570 | 507 | 1212 | 277 | 24982 | 23787 | 1188 | 3235 | 6352 | 6220 | 5314 | 5582 | 1170 | 1140 | 1209 | 1266 | 9263 | 10331 | 9590 | 9713 | 587 | 614 | 903 | 1092
572 | 497 | 1202 | 270 | 24080 | 23071 | 1171 | 3129 | 6095 | 5976 | 5100 | 5371 | 1168 | 1125 | 1196 | 1265 | 9376 | 10411 | 9617 | 9746 | 578 | 609 | 871 | 1089
574 | 501 | 1190 | 264 | 23427 | 22385 | 1154 | 3033 | 5876 | 5723 | 4862 | 5170 | 1147 | 1121 | 1182 | 1251 | 9411 | 10438 | 9687 | 9923 | 585 | 607 | 870 | 1070
576 | 492 | 1173 | 257 | 22652 | 21737 | 1130 | 2975 | 5634 | 5503 | 4733 | 4955 | 1138 | 1108 | 1169 | 1226 | 9463 | 10510 | 9821 | 9904 | 580 | 606 | 857 | 1051
578 | 483 | 1168 | 251 | 22186 | 21145 | 1090 | 2877 | 5474 | 5336 | 4589 | 4756 | 1123 | 1092 | 1145 | 1212 | 9571 | 10682 | 9858 | 10063 | 578 | 602 | 854 | 1035
580 | 466 | 1139 | 238 | 21504 | 20377 | 1072 | 2770 | 5255 | 5051 | 4394 | 4546 | 1092 | 1063 | 1129 | 1189 | 9582 | 10782 | 9932 | 10034 | 570 | 595 | 837 | 1030
582 | 455 | 1125 | 221 | 20792 | 19893 | 1045 | 2664 | 5025 | 4959 | 4246 | 4441 | 1084 | 1052 | 1105 | 1165 | 9692 | 10779 | 9939 | 10183 | 569 | 597 | 820 | 1002
584 | 439 | 1085 | 214 | 20022 | 19239 | 1010 | 2567 | 4851 | 4743 | 4082 | 4236 | 1048 | 1027 | 1091 | 1127 | 9760 | 10812 | 9984 | 10232 | 557 | 583 | 815 | 994
586 | 425 | 1072 | 202 | 19561 | 18669 | 971 | 2474 | 4674 | 4545 | 3906 | 4097 | 1037 | 1006 | 1058 | 1105 | 9709 | 10897 | 10013 | 10237 | 561 | 587 | 809 | 980
588 | 411 | 1052 | 188 | 18892 | 18135 | 957 | 2362 | 4497 | 4379 | 3785 | 3937 | 1015 | 985 | 1030 | 1096 | 9720 | 10786 | 9954 | 10295 | 551 | 569 | 790 | 960
590 | 393 | 1032 | 180 | 18305 | 17616 | 919 | 2285 | 4306 | 4223 | 3647 | 3800 | 980 | 954 | 1003 | 1065 | 9697 | 10845 | 9964 | 10244 | 540 | 575 | 785 | 934
592 | 375 | 1006 | 175 | 17609 | 17101 | 885 | 2180 | 4195 | 4046 | 3535 | 3635 | 954 | 930 | 977 | 1025 | 9666 | 10774 | 9883 | 10166 | 547 | 557 | 766 | 911
594 | 367 | 967 | 158 | 16987 | 16480 | 854 | 2105 | 4045 | 3892 | 3368 | 3492 | 934 | 916 | 941 | 1009 | 9666 | 10644 | 9876 | 10121 | 538 | 554 | 756 | 908
596 | 341 | 949 | 149 | 16558 | 16169 | 823 | 2003 | 3843 | 3734 | 3222 | 3322 | 902 | 886 | 920 | 974 | 9525 | 10610 | 9717 | 10050 | 525 | 552 | 744 | 905
598 | 330 | 921 | 142 | 16014 | 15602 | 796 | 1934 | 3705 | 3559 | 3109 | 3233 | 871 | 851 | 891 | 951 | 9409 | 10519 | 9652 | 9956 | 512 | 536 | 739 | 868
600 | 309 | 885 | 133 | 15476 | 15100 | 765 | 1845 | 3535 | 3436 | 2979 | 3066 | 847 | 827 | 860 | 915 | 9286 | 10335 | 9417 | 9759 | 506 | 527 | 721 | 854
602 | 302 | 868 | 126 | 14901 | 14508 | 736 | 1769 | 3380 | 3297 | 2860 | 2914 | 828 | 787 | 834 | 891 | 9218 | 10160 | 9348 | 9684 | 500 | 515 | 720 | 855
604 | 282 | 843 | 119 | 14456 | 14170 | 716 | 1713 | 3242 | 3135 | 2744 | 2832 | 810 | 776 | 825 | 862 | 9042 | 10023 | 9268 | 9558 | 494 | 508 | 700 | 827
606 | 281 | 813 | 112 | 14077 | 13777 | 699 | 1629 | 3126 | 3022 | 2628 | 2689 | 791 | 751 | 782 | 839 | 8998 | 9899 | 9035 | 9516 | 487 | 510 | 687 | 821
608 | 264 | 799 | 109 | 13639 | 13277 | 667 | 1551 | 2979 | 2906 | 2540 | 2593 | 760 | 726 | 757 | 804 | 8844 | 9749 | 8896 | 9282 | 475 | 500 | 677 | 801
610 | 256 | 779 | 103 | 13239 | 13008 | 648 | 1490 | 2878 | 2779 | 2424 | 2510 | 738 | 711 | 738 | 795 | 8746 | 9614 | 8740 | 9168 | 471 | 496 | 656 | 788
612 | 247 | 750 | 97 | 12761 | 12560 | 630 | 1441 | 2769 | 2674 | 2360 | 2400 | 712 | 690 | 710 | 764 | 8529 | 9535 | 8605 | 9029 | 459 | 477 | 644 | 765
614 | 241 | 729 | 93 | 12285 | 12194 | 599 | 1356 | 2629 | 2532 | 2219 | 2316 | 702 | 676 | 696 | 746 | 8453 | 9356 | 8477 | 8826 | 450 | 462 | 644 | 755
616 | 226 | 703 | 91 | 11915 | 11793 | 582 | 1312 | 2512 | 2444 | 2141 | 2197 | 674 | 637 | 673 | 733 | 8257 | 9085 | 8282 | 8697 | 440 | 466 | 620 | 726
618 | 223 | 688 | 89 | 11579 | 11502 | 568 | 1257 | 2412 | 2349 | 2060 | 2100 | 656 | 610 | 660 | 705 | 8198 | 8944 | 8179 | 8549 | 443 | 451 | 612 | 712
620 | 216 | 665 | 84 | 11198 | 11067 | 542 | 1212 | 2332 | 2230 | 1982 | 2012 | 629 | 595 | 626 | 675 | 8044 | 8858 | 8022 | 8364 | 430 | 439 | 590 | 691
622 | 209 | 643 | 81 | 10823 | 10673 | 522 | 1138 | 2239 | 2165 | 1886 | 1923 | 609 | 573 | 615 | 649 | 7863 | 8682 | 7857 | 8246 | 415 | 434 | 595 | 686
624 | 203 | 632 | 80 | 10359 | 10304 | 509 | 1095 | 2146 | 2088 | 1817 | 1849 | 597 | 554 | 585 | 633 | 7726 | 8500 | 7748 | 8083 | 410 | 423 | 575 | 667
626 | 200 | 605 | 76 | 10108 | 9933 | 496 | 1049 | 2067 | 1998 | 1755 | 1791 | 573 | 533 | 570 | 615 | 7583 | 8266 | 7516 | 7906 | 400 | 414 | 557 | 657
628 | 186 | 587 | 72 | 9642 | 9728 | 483 | 991 | 1988 | 1924 | 1696 | 1716 | 559 | 508 | 554 | 589 | 7420 | 8118 | 7402 | 7752 | 395 | 408 | 552 | 638
630 | 184 | 563 | 70 | 9275 | 9385 | 458 | 961 | 1898 | 1846 | 1620 | 1680 | 543 | 490 | 541 | 573 | 7301 | 7967 | 7219 | 7587 | 384 | 397 | 529 | 622
632 | 178 | 549 | 68 | 8919 | 8906 | 436 | 912 | 1855 | 1773 | 1564 | 1591 | 528 | 479 | 514 | 555 | 7108 | 7808 | 7158 | 7418 | 381 | 386 | 526 | 608
634 | 178 | 533 | 64 | 8669 | 8727 | 424 | 872 | 1785 | 1705 | 1525 | 1546 | 502 | 454 | 502 | 529 | 6962 | 7629 | 6980 | 7324 | 372 | 384 | 509 | 593
636 | 170 | 511 | 66 | 8315 | 8451 | 415 | 837 | 1701 | 1678 | 1460 | 1489 | 490 | 443 | 483 | 510 | 6751 | 7452 | 6795 | 7200 | 357 | 372 | 497 | 587
638 | 162 | 497 | 62 | 8069 | 8101 | 396 | 800 | 1662 | 1607 | 1420 | 1441 | 474 | 423 | 464 | 504 | 6586 | 7298 | 6687 | 6993 | 348 | 365 | 488 | 565
640 | 157 | 488 | 58 | 7802 | 7869 | 388 | 766 | 1607 | 1553 | 1356 | 1404 | 466 | 409 | 454 | 478 | 6526 | 7091 | 6432 | 6792 | 339 | 357 | 477 | 562
End Time | 29.9 D4: 2025-07-26 10:49:31
Start Time | 29.9 D4: 2025-07-26 10:49:36
Shaking (Linear) Duration [s] | 29.9 D4: 10
Shaking (Linear) Position | 29.9 D4: Current
Shaking (Linear) Amplitude [mm] | bar: 29.9 D4
Shaking (Linear) Frequency [rpm] | 29.9 D4: 1440
End Time | 29.9 D4: 2025-07-26 10:49:46
Mode | D1: Fluorescence Intensity Scan Top Reading
Name | D1: Fluorescence 2
Scan selection | 29.9 D4: Emission Scan
Excitation | 29.9 D4: Monochromator
Excitation wavelength [nm] | 29.9 D4: 483
Excitation bandwidth [nm] | 29.9 D4: 20
Emission wavelength start [nm] | 29.9 D4: 520
Emission wavelength end [nm] | 29.9 D4: 640
Emission wavelength step size [nm] | 29.9 D4: 2
Emission scan number | 29.9 D4: 61
Emission bandwidth [nm] | 29.9 D4: 20
Gain Manual | 29.9 D4: 100
Mirror | 29.9 D4: Automatic (Dichroic 510)
Number of flashes | 29.9 D4: 30
Integration time [µs] | 29.9 D4: 40
Lag time [µs] | 29.9 D4: 0
Settle time [ms] | 29.9 D4: 0
Z-Position [μm] | 29.9 D4: 20000
Z-Position mode | 29.9 D4: Manual
Part of Plate | 29.9 D4: D1-D12;E1-E11
Start Time | 29.9 D4: 2025-07-26 10:49:46
Temperature [°C] | 29.9 D4: 29.9
Wavel. | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11
520 | 2340 | 2970 | 2590 | 29803 | 28672 | 3106 | 5614 | 5420 | 5647 | 5166 | 5519 | 2975 | 2939 | 3193 | 2861 | 6863 | 7040 | 6365 | 6591 | 3011 | 3217 | 3405 | 3653
522 | 505 | 779 | 303 | 28299 | 27792 | 1215 | 3833 | 4262 | 4319 | 3740 | 4026 | 824 | 860 | 948 | 968 | 4685 | 5134 | 4385 | 4629 | 447 | 475 | 797 | 985
524 | 442 | 743 | 211 | 29005 | 28234 | 1179 | 3824 | 4497 | 4489 | 3893 | 4223 | 776 | 837 | 921 | 950 | 4799 | 5361 | 4571 | 4787 | 371 | 384 | 721 | 919
526 | 445 | 771 | 208 | 29330 | 28558 | 1194 | 3893 | 4885 | 4883 | 4210 | 4605 | 809 | 868 | 950 | 985 | 5082 | 5624 | 4896 | 5107 | 376 | 391 | 726 | 934
528 | 445 | 798 | 216 | 29776 | 29063 | 1225 | 3938 | 5143 | 5192 | 4475 | 4905 | 833 | 902 | 979 | 1015 | 5364 | 5951 | 5234 | 5418 | 385 | 404 | 748 | 946
530 | 440 | 825 | 210 | 30020 | 29121 | 1218 | 3974 | 5505 | 5555 | 4758 | 5228 | 865 | 938 | 1016 | 1049 | 5643 | 6287 | 5615 | 5745 | 398 | 414 | 742 | 953
532 | 442 | 855 | 209 | 30104 | 29208 | 1223 | 3973 | 5864 | 5866 | 5049 | 5558 | 903 | 966 | 1052 | 1093 | 5969 | 6654 | 5957 | 6041 | 411 | 428 | 752 | 972
534 | 442 | 878 | 208 | 30202 | 29155 | 1232 | 3962 | 6140 | 6105 | 5292 | 5783 | 934 | 1011 | 1087 | 1116 | 6181 | 6964 | 6350 | 6403 | 416 | 437 | 758 | 977
536 | 442 | 893 | 215 | 29918 | 29051 | 1238 | 3953 | 6450 | 6405 | 5477 | 6021 | 969 | 1025 | 1104 | 1151 | 6490 | 7346 | 6701 | 6772 | 419 | 441 | 772 | 975
538 | 442 | 919 | 210 | 29966 | 28927 | 1236 | 3945 | 6619 | 6650 | 5644 | 6255 | 986 | 1053 | 1139 | 1177 | 6763 | 7535 | 6971 | 6946 | 431 | 452 | 760 | 978
540 | 443 | 939 | 218 | 29717 | 28718 | 1221 | 3886 | 6798 | 6762 | 5760 | 6474 | 1028 | 1085 | 1164 | 1192 | 7007 | 7869 | 7313 | 7288 | 440 | 464 | 769 | 989
542 | 445 | 965 | 219 | 29711 | 28749 | 1241 | 3906 | 6930 | 6940 | 5904 | 6529 | 1041 | 1115 | 1194 | 1234 | 7233 | 8107 | 7636 | 7557 | 453 | 471 | 779 | 996
544 | 448 | 995 | 224 | 29690 | 28495 | 1246 | 3888 | 6994 | 7006 | 6056 | 6633 | 1078 | 1132 | 1213 | 1234 | 7457 | 8387 | 7832 | 7845 | 468 | 484 | 783 | 997
546 | 446 | 1017 | 229 | 29435 | 28162 | 1243 | 3834 | 7078 | 7051 | 5997 | 6650 | 1095 | 1158 | 1232 | 1276 | 7634 | 8603 | 8067 | 8025 | 466 | 489 | 794 | 991
548 | 452 | 1018 | 234 | 28835 | 27693 | 1228 | 3818 | 6983 | 7022 | 5970 | 6593 | 1109 | 1175 | 1238 | 1292 | 7689 | 8691 | 8108 | 8113 | 480 | 500 | 784 | 1003
550 | 457 | 1029 | 232 | 28264 | 27237 | 1211 | 3739 | 6839 | 6905 | 5902 | 6485 | 1116 | 1190 | 1252 | 1302 | 7794 | 8698 | 8180 | 8225 | 486 | 503 | 786 | 994
552 | 455 | 1039 | 238 | 27966 | 26969 | 1216 | 3698 | 6748 | 6804 | 5858 | 6401 | 1141 | 1196 | 1263 | 1316 | 7815 | 8891 | 8221 | 8247 | 483 | 511 | 786 | 985
554 | 460 | 1059 | 239 | 27321 | 26467 | 1196 | 3611 | 6598 | 6598 | 5683 | 6150 | 1146 | 1208 | 1281 | 1306 | 7914 | 8890 | 8262 | 8237 | 492 | 515 | 777 | 998
556 | 461 | 1064 | 241 | 27017 | 26003 | 1199 | 3546 | 6421 | 6472 | 5577 | 6112 | 1174 | 1216 | 1281 | 1333 | 7910 | 8853 | 8292 | 8304 | 499 | 523 | 783 | 992
558 | 469 | 1078 | 248 | 26531 | 25375 | 1186 | 3459 | 6200 | 6256 | 5380 | 5941 | 1159 | 1223 | 1288 | 1326 | 7930 | 8890 | 8232 | 8329 | 509 | 523 | 775 | 981
560 | 466 | 1084 | 248 | 25964 | 24854 | 1163 | 3428 | 6032 | 6076 | 5235 | 5698 | 1173 | 1222 | 1297 | 1328 | 7940 | 8937 | 8329 | 8324 | 506 | 533 | 781 | 976
562 | 474 | 1086 | 250 | 25344 | 24376 | 1167 | 3380 | 5832 | 5881 | 5098 | 5549 | 1177 | 1221 | 1295 | 1337 | 7964 | 8965 | 8322 | 8410 | 508 | 536 | 777 | 978
564 | 478 | 1082 | 258 | 24676 | 23757 | 1160 | 3272 | 5650 | 5701 | 4901 | 5357 | 1183 | 1220 | 1292 | 1343 | 8055 | 8960 | 8339 | 8483 | 518 | 536 | 769 | 963
566 | 476 | 1090 | 246 | 23901 | 23310 | 1132 | 3200 | 5475 | 5460 | 4769 | 5163 | 1176 | 1224 | 1278 | 1314 | 8090 | 9037 | 8349 | 8498 | 510 | 537 | 764 | 960
568 | 475 | 1085 | 252 | 23257 | 22627 | 1123 | 3120 | 5250 | 5259 | 4566 | 4972 | 1174 | 1208 | 1288 | 1325 | 8160 | 9018 | 8363 | 8526 | 514 | 539 | 759 | 954
570 | 476 | 1079 | 246 | 22725 | 22005 | 1099 | 3039 | 5033 | 5060 | 4429 | 4813 | 1165 | 1191 | 1264 | 1298 | 8173 | 9156 | 8444 | 8577 | 516 | 547 | 765 | 924
572 | 472 | 1058 | 244 | 22247 | 21380 | 1081 | 2935 | 4863 | 4910 | 4278 | 4629 | 1141 | 1183 | 1256 | 1290 | 8214 | 9149 | 8502 | 8627 | 517 | 540 | 749 | 944
574 | 464 | 1041 | 231 | 21466 | 20857 | 1065 | 2859 | 4721 | 4729 | 4167 | 4451 | 1127 | 1169 | 1239 | 1277 | 8229 | 9231 | 8560 | 8756 | 519 | 532 | 741 | 919
576 | 464 | 1036 | 233 | 20840 | 20236 | 1040 | 2757 | 4541 | 4594 | 4035 | 4354 | 1136 | 1159 | 1213 | 1258 | 8321 | 9322 | 8676 | 8848 | 513 | 535 | 736 | 912
578 | 452 | 1032 | 223 | 20301 | 19707 | 1013 | 2661 | 4389 | 4449 | 3910 | 4217 | 1123 | 1141 | 1212 | 1245 | 8358 | 9407 | 8741 | 8919 | 513 | 538 | 723 | 898
580 | 439 | 1014 | 215 | 19480 | 19083 | 993 | 2569 | 4214 | 4296 | 3788 | 4019 | 1085 | 1119 | 1186 | 1224 | 8474 | 9500 | 8745 | 8922 | 509 | 530 | 717 | 877
582 | 428 | 1000 | 202 | 18942 | 18589 | 979 | 2487 | 4125 | 4171 | 3682 | 3935 | 1075 | 1094 | 1157 | 1208 | 8497 | 9457 | 8790 | 9042 | 510 | 526 | 709 | 866
584 | 411 | 972 | 197 | 18434 | 17837 | 946 | 2406 | 3966 | 3977 | 3529 | 3775 | 1039 | 1076 | 1120 | 1177 | 8519 | 9528 | 8794 | 9063 | 504 | 519 | 699 | 848
586 | 401 | 957 | 183 | 17918 | 17454 | 912 | 2319 | 3849 | 3864 | 3435 | 3664 | 1027 | 1047 | 1106 | 1134 | 8565 | 9495 | 8771 | 9053 | 504 | 510 | 686 | 849
588 | 383 | 932 | 172 | 17273 | 16938 | 884 | 2230 | 3674 | 3727 | 3302 | 3557 | 1008 | 1018 | 1081 | 1120 | 8542 | 9569 | 8751 | 9054 | 489 | 506 | 679 | 827
590 | 376 | 905 | 166 | 16655 | 16399 | 848 | 2139 | 3582 | 3615 | 3225 | 3410 | 982 | 992 | 1056 | 1086 | 8520 | 9466 | 8756 | 9022 | 479 | 509 | 681 | 814
592 | 360 | 884 | 153 | 16135 | 15900 | 823 | 2026 | 3435 | 3485 | 3104 | 3290 | 949 | 975 | 1032 | 1055 | 8493 | 9403 | 8773 | 8958 | 476 | 499 | 662 | 802
594 | 334 | 854 | 145 | 15704 | 15459 | 791 | 1974 | 3323 | 3366 | 3008 | 3167 | 936 | 946 | 1002 | 1030 | 8460 | 9361 | 8683 | 8948 | 477 | 496 | 660 | 793
596 | 324 | 826 | 132 | 15204 | 14951 | 765 | 1896 | 3210 | 3222 | 2906 | 3080 | 904 | 915 | 969 | 1002 | 8408 | 9401 | 8586 | 8898 | 465 | 485 | 642 | 781
598 | 309 | 811 | 129 | 14706 | 14614 | 740 | 1813 | 3095 | 3129 | 2814 | 2932 | 875 | 885 | 937 | 954 | 8306 | 9220 | 8499 | 8746 | 450 | 481 | 640 | 763
600 | 290 | 782 | 122 | 14238 | 14090 | 712 | 1733 | 2974 | 2994 | 2692 | 2838 | 861 | 859 | 921 | 943 | 8219 | 9068 | 8354 | 8654 | 447 | 469 | 626 | 750
602 | 283 | 754 | 115 | 13660 | 13567 | 689 | 1648 | 2836 | 2860 | 2577 | 2725 | 830 | 848 | 891 | 911 | 8119 | 8892 | 8206 | 8545 | 435 | 464 | 615 | 725
604 | 269 | 743 | 110 | 13383 | 13192 | 666 | 1595 | 2745 | 2782 | 2489 | 2613 | 810 | 809 | 859 | 883 | 8013 | 8865 | 8176 | 8425 | 438 | 462 | 603 | 723
606 | 263 | 714 | 105 | 12881 | 12851 | 650 | 1517 | 2652 | 2665 | 2420 | 2523 | 788 | 802 | 842 | 856 | 7840 | 8731 | 7959 | 8317 | 428 | 454 | 601 | 703
608 | 249 | 694 | 97 | 12508 | 12417 | 618 | 1482 | 2542 | 2575 | 2320 | 2428 | 758 | 764 | 811 | 829 | 7754 | 8581 | 7806 | 8171 | 422 | 440 | 587 | 689
610 | 244 | 679 | 94 | 12141 | 12073 | 606 | 1416 | 2460 | 2479 | 2247 | 2332 | 736 | 762 | 795 | 801 | 7682 | 8501 | 7751 | 8101 | 419 | 434 | 589 | 697
612 | 232 | 658 | 90 | 11749 | 11721 | 586 | 1345 | 2372 | 2412 | 2145 | 2237 | 722 | 731 | 768 | 773 | 7523 | 8308 | 7612 | 7955 | 412 | 427 | 559 | 676
614 | 222 | 642 | 87 | 11382 | 11419 | 562 | 1276 | 2263 | 2309 | 2067 | 2149 | 693 | 707 | 737 | 763 | 7421 | 8227 | 7533 | 7836 | 398 | 418 | 554 | 645
616 | 217 | 623 | 81 | 10932 | 11005 | 545 | 1238 | 2185 | 2206 | 2001 | 2070 | 680 | 683 | 720 | 727 | 7286 | 8020 | 7348 | 7675 | 391 | 404 | 543 | 638
618 | 209 | 608 | 77 | 10621 | 10645 | 525 | 1181 | 2124 | 2136 | 1935 | 1981 | 661 | 671 | 695 | 713 | 7186 | 7936 | 7159 | 7497 | 386 | 404 | 532 | 628
620 | 205 | 583 | 75 | 10219 | 10370 | 511 | 1133 | 2014 | 2042 | 1863 | 1887 | 640 | 646 | 680 | 697 | 7033 | 7807 | 7040 | 7393 | 373 | 393 | 526 | 610
622 | 198 | 573 | 74 | 9946 | 9999 | 492 | 1092 | 1956 | 1981 | 1787 | 1845 | 618 | 624 | 656 | 667 | 6876 | 7620 | 6932 | 7282 | 370 | 383 | 510 | 601
624 | 190 | 549 | 71 | 9572 | 9622 | 475 | 1034 | 1876 | 1909 | 1719 | 1787 | 602 | 603 | 631 | 640 | 6779 | 7427 | 6733 | 7104 | 364 | 370 | 496 | 584
626 | 184 | 534 | 70 | 9195 | 9337 | 467 | 993 | 1809 | 1832 | 1668 | 1704 | 585 | 585 | 618 | 619 | 6667 | 7300 | 6666 | 7011 | 354 | 369 | 491 | 573
628 | 182 | 510 | 67 | 8925 | 9053 | 444 | 945 | 1746 | 1789 | 1594 | 1646 | 571 | 565 | 587 | 597 | 6481 | 7168 | 6486 | 6871 | 347 | 355 | 478 | 560
630 | 174 | 501 | 64 | 8597 | 8700 | 425 | 899 | 1690 | 1717 | 1547 | 1588 | 542 | 543 | 564 | 580 | 6344 | 6998 | 6393 | 6746 | 336 | 347 | 466 | 546
632 | 173 | 476 | 60 | 8276 | 8365 | 413 | 849 | 1606 | 1646 | 1501 | 1540 | 530 | 538 | 554 | 560 | 6273 | 6914 | 6213 | 6573 | 332 | 347 | 447 | 532
634 | 162 | 462 | 61 | 7954 | 8121 | 402 | 824 | 1574 | 1610 | 1459 | 1493 | 507 | 514 | 537 | 541 | 6041 | 6713 | 6125 | 6462 | 321 | 333 | 442 | 531
636 | 162 | 447 | 59 | 7636 | 7877 | 384 | 797 | 1534 | 1540 | 1413 | 1437 | 500 | 492 | 516 | 522 | 5940 | 6548 | 5909 | 6308 | 322 | 328 | 432 | 506
638 | 149 | 440 | 57 | 7364 | 7565 | 372 | 763 | 1462 | 1508 | 1371 | 1402 | 481 | 481 | 496 | 507 | 5788 | 6393 | 5863 | 6148 | 312 | 317 | 424 | 497
640 | 147 | 429 | 56 | 7198 | 7347 | 354 | 720 | 1419 | 1444 | 1316 | 1352 | 464 | 465 | 469 | 497 | 5644 | 6283 | 5676 | 6050 | 305 | 309 | 412 | 485
End Time | 29.9 D4: 2025-07-26 11:06:15
Start Time | 29.9 D4: 2025-07-26 11:06:18
Shaking (Linear) Duration [s] | 29.9 D4: 10
Shaking (Linear) Position | 29.9 D4: Current
Shaking (Linear) Amplitude [mm] | bar: 29.9 D4
Shaking (Linear) Frequency [rpm] | 29.9 D4: 1440
End Time | 29.9 D4: 2025-07-26 11:06:28
Mode | D1: Absorbance
Name | D1: blue 1
Measurement wavelength [nm] | 29.9 D4: 640
Number of flashes | 29.9 D4: 10
Settle time [ms] | 29.9 D4: 50
Part of Plate | 29.9 D4: D1-D12;E1-E11
Start Time | 29.9 D4: 2025-07-26 11:06:28
Temperature [°C] | 29.9 D4: 30
<> | D1: 1; D2: 2; D3: 3; 29.9 D4: 4; 29.9 D5: 5; 29.9 D6: 6; 29.9 D7: 7; 29.9 D8: 8; 29.9 D9: 9; 29.9 D10: 10; 29.9 D11: 11; 29.9 D12: 12
A
B
C
D | D1: 0.0419; D2: 0.0547; D3: 0.0409; 29.9 D4: 0.0759; 29.9 D5: 0.0705; 29.9 D6: 0.0434; 29.9 D7: 0.0429; 29.9 D8: 0.2681; 29.9 D9: 0.2697; 29.9 D10: 0.2648; 29.9 D11: 0.2967; 29.9 D12: 0.0557
E | D1: 0.0563; D2: 0.0622; D3: 0.0589; 29.9 D4: 0.0507; 29.9 D5: 0.0514; 29.9 D6: 0.0507; 29.9 D7: 0.0504; 29.9 D8: 0.0411; 29.9 D9: 0.0432; 29.9 D10: 0.042; 29.9 D11: 0.0418
F
G
H
End Time | 29.9 D4: 2025-07-26 11:06:36
Mode | D1: Absorbance
Name | D1: blue 2
Measurement wavelength [nm] | 29.9 D4: 640
Number of flashes | 29.9 D4: 10
Settle time [ms] | 29.9 D4: 50
Part of Plate | 29.9 D4: D1-D12;E1-E11
Start Time | 29.9 D4: 2025-07-26 11:06:39
Temperature [°C] | 29.9 D4: 29.9
<> | D1: 1; D2: 2; D3: 3; 29.9 D4: 4; 29.9 D5: 5; 29.9 D6: 6; 29.9 D7: 7; 29.9 D8: 8; 29.9 D9: 9; 29.9 D10: 10; 29.9 D11: 11; 29.9 D12: 12
A
B
C
D | D1: 0.0417; D2: 0.056; D3: 0.0409; 29.9 D4: 0.0758; 29.9 D5: 0.0718; 29.9 D6: 0.0433; 29.9 D7: 0.0423; 29.9 D8: 0.2876; 29.9 D9: 0.2865; 29.9 D10: 0.2859; 29.9 D11: 0.3261; 29.9 D12: 0.0569
E | D1: 0.0572; D2: 0.063; D3: 0.0602; 29.9 D4: 0.0507; 29.9 D5: 0.0512; 29.9 D6: 0.0506; 29.9 D7: 0.0503; 29.9 D8: 0.0409; 29.9 D9: 0.0431; 29.9 D10: 0.0419; 29.9 D11: 0.0417
F
G
H
End Time | 29.9 D4: 2025-07-26 11:06:47
Mode | D1: Absorbance
Name | D1: red 1
Measurement wavelength [nm] | 29.9 D4: 530
Number of flashes | 29.9 D4: 10
Settle time [ms] | 29.9 D4: 50
Part of Plate | 29.9 D4: D1-D12;E1-E11
Start Time | 29.9 D4: 2025-07-26 11:06:48
Temperature [°C] | 29.9 D4: 30
<> | D1: 1; D2: 2; D3: 3; 29.9 D4: 4; 29.9 D5: 5; 29.9 D6: 6; 29.9 D7: 7; 29.9 D8: 8; 29.9 D9: 9; 29.9 D10: 10; 29.9 D11: 11; 29.9 D12: 12
A
B
C
D | D1: 0.044; D2: 0.066; D3: 0.0435; 29.9 D4: 0.1421; 29.9 D5: 0.1355; 29.9 D6: 0.0491; 29.9 D7: 0.0476; 29.9 D8: 0.1547; 29.9 D9: 0.1549; 29.9 D10: 0.1541; 29.9 D11: 0.1673; 29.9 D12: 0.0645
E | D1: 0.0638; D2: 0.0665; D3: 0.0659; 29.9 D4: 0.221; 29.9 D5: 0.2345; 29.9 D6: 0.2236; 29.9 D7: 0.2137; 29.9 D8: 0.0554; 29.9 D9: 0.0583; 29.9 D10: 0.0595; 29.9 D11: 0.0587
F
G
H
End Time | 29.9 D4: 2025-07-26 11:06:56
Mode | D1: Absorbance
Name | D1: red 2
Measurement wavelength [nm] | 29.9 D4: 530
Number of flashes | 29.9 D4: 10
Settle time [ms] | 29.9 D4: 50
Part of Plate | 29.9 D4: D1-D12;E1-E11
Start Time | 29.9 D4: 2025-07-26 11:06:59
Temperature [°C] | 29.9 D4: 30
<> | D1: 1; D2: 2; D3: 3; 29.9 D4: 4; 29.9 D5: 5; 29.9 D6: 6; 29.9 D7: 7; 29.9 D8: 8; 29.9 D9: 9; 29.9 D10: 10; 29.9 D11: 11; 29.9 D12: 12
A
B
C
D | D1: 0.044; D2: 0.0666; D3: 0.0434; 29.9 D4: 0.1421; 29.9 D5: 0.1356; 29.9 D6: 0.0477; 29.9 D7: 0.0477; 29.9 D8: 0.1577; 29.9 D9: 0.156; 29.9 D10: 0.1549; 29.9 D11: 0.1682; 29.9 D12: 0.0645
E | D1: 0.064; D2: 0.0666; D3: 0.0659; 29.9 D4: 0.221; 29.9 D5: 0.2343; 29.9 D6: 0.2235; 29.9 D7: 0.2135; 29.9 D8: 0.0554; 29.9 D9: 0.0584; 29.9 D10: 0.0595; 29.9 D11: 0.0583
F
G
H
End Time | 29.9 D4: 2025-07-26 11:07:06
Ex | Blank | BlankB | BlankR | DOE 15.7 | DOE 15.7 | DOE 16.7 | Error | DOE 15.7 | DOE 15.7 | DOE 15.7 | DOE 15.7 | DOE 16.7 | DOE 16.7 | Error | Error | DOE 15.7 | DOE 15.7 | DOE 15.7 | DOE 15.7 | DOE 16.7 | DOE 16.7 | Error | Error
Ex | Blank | BlankB | BlankR | f | f | f | f | b | b | b | b | b | b | b | b | r | r | r | r | r | r | r | r
Ex | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1