## Result sheet
Method name: LS_241112_Fluorescence_Actino_Sample (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1708008206
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦PODI:V1.10.2
Date: |  |  |  | 2025-08-02
Time: |  |  |  | 11:14
System |  |  |  | IBVT171
User |  |  |  | IBVT171\Tecan
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Wait
Shaking
Wait
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Fluorescence 1
Shaking
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Fluorescence 2
Shaking
| Absorbance |  |  |  |  | blue 1
| Absorbance |  |  |  |  | blue 2
| Absorbance |  |  |  |  | red 1
| Absorbance |  |  |  |  | red 2
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | C1-C12;D1-D11
Start Time |  |  |  | 2025-08-02 10:34:26
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 30
Wait minimum [°C] |  |  |  | 29
Wait maximum [°C] |  |  |  | 31
End Time |  |  |  | 2025-08-02 10:34:26
Start Time |  |  |  | 2025-08-02 10:34:26
Shaking (Linear) Duration [s] |  |  |  | 7
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-08-02 10:34:33
Start Time |  |  |  | 2025-08-02 10:34:33
Wait (Time) hh:mm:ss |  |  |  | 00:05:01
Wait position |  |  |  | Current
End Time |  |  |  | 2025-08-02 10:39:34
Start Time |  |  |  | 2025-08-02 10:39:34
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-08-02 10:39:44
Start Time |  |  |  | 2025-08-02 10:39:44
Wait (Time) hh:mm:ss |  |  |  | 00:00:10
Wait position |  |  |  | Current
End Time |  |  |  | 2025-08-02 10:39:54
Mode | Fluorescence Intensity Scan Top Reading
Name | Fluorescence 1
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | C1-C12;D1-D11
Start Time |  |  |  | 2025-08-02 10:39:54
Temperature [°C] |  |  |  | 29.9
Wavel. | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11
520 | 2599 | 3078 | 2986 | 34249 | 29908 | 64521 | 59047 | 5371 | 5415 | 5292 | 5256 | 7508 | 7691 | 7049 | 7331 | 7737 | 7318 | 7034 | 7328 | 12317 | 12675 | 10743 | 11006
522 | 451 | 921 | 348 | 33700 | 28487 | 64704 | 58958 | 4206 | 3724 | 3960 | 3755 | 6037 | 6237 | 5679 | 5936 | 5680 | 5482 | 4884 | 5684 | 10361 | 10925 | 8511 | 9520
524 | 372 | 893 | 258 | 34267 | 28881 | 65220 | 59752 | 4417 | 3831 | 4050 | 3851 | 6263 | 6441 | 5879 | 6165 | 5993 | 5697 | 5093 | 5886 | 10640 | 11254 | 8759 | 9861
526 | 370 | 933 | 255 | 34480 | 29340 | 65835 | 60771 | 4549 | 3997 | 4226 | 3990 | 6605 | 6795 | 6251 | 6540 | 6585 | 6105 | 5484 | 6320 | 10955 | 11487 | 9093 | 10180
528 | 367 | 955 | 255 | 34882 | 29369 | 66295 | 61008 | 4758 | 4145 | 4381 | 4142 | 6889 | 7081 | 6472 | 6810 | 7047 | 6495 | 5831 | 6701 | 11181 | 11744 | 9424 | 10540
530 | 369 | 1003 | 248 | 34685 | 29406 | 66486 | 60804 | 4928 | 4277 | 4503 | 4276 | 7147 | 7327 | 6745 | 7075 | 7682 | 6942 | 6273 | 7200 | 11492 | 12070 | 9674 | 10841
532 | 372 | 1028 | 247 | 34469 | 29271 | 66849 | 60651 | 5061 | 4465 | 4592 | 4362 | 7403 | 7579 | 6977 | 7375 | 8295 | 7413 | 6731 | 7690 | 11745 | 12264 | 9990 | 11199
534 | 369 | 1054 | 246 | 34452 | 29175 | 65957 | 60236 | 5226 | 4560 | 4674 | 4462 | 7594 | 7850 | 7215 | 7564 | 8809 | 7820 | 7086 | 8148 | 11970 | 12530 | 10339 | 11502
536 | 363 | 1079 | 244 | 34367 | 28925 | 65704 | 59699 | 5328 | 4642 | 4784 | 4539 | 7824 | 8022 | 7341 | 7763 | 9409 | 8319 | 7555 | 8603 | 12248 | 12732 | 10685 | 11908
538 | 369 | 1099 | 242 | 33717 | 28504 | 65135 | 59092 | 5397 | 4708 | 4803 | 4599 | 7892 | 8101 | 7524 | 7912 | 9909 | 8682 | 7909 | 9023 | 12502 | 12965 | 10887 | 12179
540 | 369 | 1136 | 245 | 33498 | 28317 | 64353 | 58560 | 5455 | 4757 | 4883 | 4645 | 8047 | 8234 | 7638 | 8099 | 10524 | 9223 | 8401 | 9514 | 12706 | 13239 | 11211 | 12460
542 | 366 | 1163 | 246 | 33059 | 28046 | 63860 | 57717 | 5520 | 4810 | 4880 | 4647 | 8212 | 8355 | 7725 | 8161 | 10921 | 9552 | 8740 | 9977 | 12929 | 13445 | 11442 | 12740
544 | 372 | 1193 | 243 | 32668 | 27839 | 63128 | 56938 | 5516 | 4829 | 4886 | 4614 | 8256 | 8364 | 7759 | 8216 | 11404 | 9899 | 9068 | 10286 | 13074 | 13601 | 11741 | 12952
546 | 370 | 1207 | 255 | 32248 | 27192 | 62130 | 55964 | 5429 | 4790 | 4843 | 4611 | 8243 | 8382 | 7736 | 8145 | 11830 | 10223 | 9345 | 10561 | 13258 | 13833 | 11917 | 13149
548 | 370 | 1226 | 251 | 31801 | 26870 | 61235 | 55086 | 5373 | 4719 | 4794 | 4545 | 8135 | 8263 | 7706 | 8098 | 11948 | 10473 | 9471 | 10703 | 13439 | 13900 | 11918 | 13307
550 | 373 | 1245 | 252 | 31150 | 26219 | 59863 | 53453 | 5272 | 4666 | 4666 | 4463 | 8055 | 8128 | 7576 | 7916 | 12017 | 10551 | 9635 | 11011 | 13452 | 14036 | 12012 | 13335
552 | 378 | 1266 | 258 | 30739 | 25880 | 58673 | 52849 | 5174 | 4570 | 4557 | 4374 | 7967 | 8011 | 7482 | 7788 | 12165 | 10688 | 9740 | 11041 | 13602 | 14086 | 12057 | 13449
554 | 377 | 1274 | 261 | 29986 | 25366 | 57168 | 50971 | 4964 | 4407 | 4448 | 4246 | 7772 | 7886 | 7274 | 7669 | 12217 | 10850 | 9860 | 11206 | 13590 | 14128 | 12007 | 13416
556 | 375 | 1276 | 263 | 29554 | 24869 | 56122 | 49966 | 4837 | 4298 | 4357 | 4146 | 7684 | 7615 | 7145 | 7510 | 12275 | 10860 | 9833 | 11226 | 13666 | 14141 | 12008 | 13407
558 | 384 | 1300 | 268 | 28884 | 24305 | 54488 | 48475 | 4698 | 4160 | 4218 | 4012 | 7449 | 7454 | 6971 | 7304 | 12191 | 10951 | 9884 | 11228 | 13694 | 14265 | 12122 | 13346
560 | 385 | 1301 | 268 | 28323 | 23772 | 53532 | 47473 | 4513 | 4032 | 4099 | 3852 | 7315 | 7217 | 6782 | 7057 | 12234 | 10999 | 9953 | 11300 | 13792 | 14294 | 12054 | 13372
562 | 389 | 1310 | 264 | 27769 | 23480 | 52186 | 46268 | 4435 | 3915 | 3951 | 3771 | 7105 | 7040 | 6567 | 6895 | 12248 | 11075 | 9975 | 11353 | 13881 | 14334 | 12110 | 13414
564 | 385 | 1317 | 263 | 27226 | 22793 | 50754 | 44840 | 4215 | 3753 | 3813 | 3612 | 6902 | 6858 | 6333 | 6635 | 12257 | 11080 | 10034 | 11301 | 13811 | 14418 | 12063 | 13365
566 | 386 | 1316 | 260 | 26468 | 22367 | 49264 | 43290 | 4040 | 3608 | 3630 | 3476 | 6693 | 6645 | 6136 | 6428 | 12180 | 10959 | 9952 | 11347 | 13898 | 14300 | 12055 | 13300
568 | 387 | 1310 | 264 | 25842 | 21801 | 47789 | 41961 | 3883 | 3492 | 3522 | 3378 | 6471 | 6404 | 5904 | 6182 | 12099 | 11014 | 9957 | 11290 | 13865 | 14298 | 12042 | 13362
570 | 384 | 1304 | 256 | 25203 | 21167 | 46008 | 40549 | 3731 | 3353 | 3394 | 3226 | 6261 | 6199 | 5729 | 5950 | 12032 | 11049 | 9921 | 11304 | 13859 | 14412 | 12051 | 13357
572 | 379 | 1298 | 248 | 24661 | 20634 | 44590 | 39325 | 3618 | 3223 | 3234 | 3102 | 6053 | 5983 | 5476 | 5782 | 12028 | 10967 | 9908 | 11251 | 13721 | 14275 | 11935 | 13243
574 | 368 | 1277 | 238 | 23784 | 20013 | 43191 | 37922 | 3422 | 3097 | 3142 | 2982 | 5854 | 5796 | 5311 | 5559 | 11969 | 11030 | 9919 | 11252 | 13769 | 14269 | 11986 | 13219
576 | 365 | 1269 | 237 | 23127 | 19524 | 41596 | 36566 | 3330 | 2991 | 3047 | 2895 | 5648 | 5637 | 5139 | 5363 | 11890 | 11051 | 9947 | 11288 | 13754 | 14184 | 11899 | 13278
578 | 358 | 1261 | 226 | 22697 | 18982 | 40477 | 35390 | 3205 | 2866 | 2922 | 2770 | 5533 | 5373 | 4989 | 5180 | 11999 | 11068 | 9940 | 11282 | 13680 | 14226 | 12007 | 13167
580 | 353 | 1243 | 213 | 21782 | 18380 | 38721 | 33812 | 3074 | 2757 | 2811 | 2681 | 5336 | 5206 | 4757 | 4991 | 12007 | 11035 | 9814 | 11168 | 13579 | 14161 | 11899 | 13175
582 | 333 | 1237 | 206 | 21284 | 17901 | 37571 | 32828 | 2991 | 2675 | 2731 | 2594 | 5185 | 5058 | 4621 | 4828 | 11757 | 11001 | 9859 | 11192 | 13482 | 13982 | 11888 | 13158
584 | 324 | 1206 | 194 | 20690 | 17281 | 36082 | 31373 | 2831 | 2593 | 2621 | 2490 | 5023 | 4854 | 4497 | 4646 | 11732 | 10956 | 9804 | 11073 | 13354 | 13905 | 11744 | 13019
586 | 312 | 1181 | 186 | 19993 | 16779 | 34967 | 30694 | 2783 | 2509 | 2539 | 2420 | 4827 | 4710 | 4323 | 4495 | 11664 | 10810 | 9724 | 11056 | 13316 | 13763 | 11741 | 12827
588 | 291 | 1154 | 171 | 19325 | 16144 | 33687 | 29211 | 2663 | 2388 | 2441 | 2318 | 4677 | 4521 | 4170 | 4321 | 11570 | 10741 | 9562 | 10898 | 13188 | 13593 | 11545 | 12724
590 | 285 | 1127 | 162 | 18706 | 15772 | 32655 | 28108 | 2575 | 2314 | 2366 | 2249 | 4538 | 4381 | 4039 | 4183 | 11455 | 10670 | 9422 | 10820 | 12992 | 13450 | 11465 | 12627
592 | 275 | 1110 | 152 | 18123 | 15162 | 31288 | 27098 | 2480 | 2209 | 2271 | 2163 | 4358 | 4256 | 3890 | 4037 | 11262 | 10546 | 9398 | 10663 | 12830 | 13315 | 11276 | 12485
594 | 258 | 1074 | 143 | 17596 | 14771 | 30100 | 26108 | 2387 | 2158 | 2186 | 2077 | 4212 | 4118 | 3721 | 3907 | 11046 | 10334 | 9175 | 10515 | 12595 | 13088 | 11050 | 12321
596 | 244 | 1065 | 136 | 17028 | 14234 | 28682 | 25008 | 2280 | 2039 | 2114 | 2004 | 4081 | 3947 | 3628 | 3752 | 10869 | 10190 | 9101 | 10336 | 12492 | 12858 | 11000 | 12173
598 | 232 | 1022 | 125 | 16490 | 13766 | 27984 | 24146 | 2199 | 1988 | 2026 | 1932 | 3953 | 3814 | 3509 | 3636 | 10724 | 10078 | 8921 | 10107 | 12318 | 12732 | 10717 | 11855
600 | 214 | 1007 | 118 | 15822 | 13320 | 26952 | 23293 | 2126 | 1916 | 1939 | 1870 | 3803 | 3701 | 3379 | 3455 | 10380 | 9856 | 8733 | 10024 | 12032 | 12534 | 10517 | 11681
602 | 209 | 979 | 108 | 15423 | 12825 | 25703 | 22453 | 2030 | 1846 | 1864 | 1798 | 3640 | 3544 | 3249 | 3339 | 10123 | 9688 | 8532 | 9758 | 11884 | 12258 | 10362 | 11503
604 | 197 | 960 | 106 | 14888 | 12430 | 25012 | 21574 | 1941 | 1769 | 1801 | 1729 | 3536 | 3438 | 3161 | 3209 | 10063 | 9463 | 8403 | 9612 | 11724 | 12061 | 10237 | 11388
606 | 185 | 929 | 99 | 14542 | 12116 | 23998 | 20721 | 1888 | 1719 | 1765 | 1644 | 3409 | 3332 | 3021 | 3142 | 9826 | 9328 | 8222 | 9419 | 11529 | 11874 | 10002 | 11193
608 | 179 | 904 | 96 | 14084 | 11783 | 23164 | 19903 | 1820 | 1639 | 1678 | 1596 | 3294 | 3180 | 2921 | 3012 | 9545 | 9194 | 8139 | 9280 | 11342 | 11702 | 9805 | 10878
610 | 174 | 879 | 90 | 13668 | 11436 | 22447 | 19282 | 1747 | 1581 | 1624 | 1552 | 3198 | 3098 | 2837 | 2916 | 9321 | 9073 | 7957 | 9099 | 11222 | 11480 | 9620 | 10688
612 | 164 | 859 | 87 | 13172 | 11028 | 21450 | 18656 | 1681 | 1524 | 1565 | 1483 | 3103 | 2981 | 2752 | 2803 | 9210 | 8868 | 7755 | 8834 | 10881 | 11269 | 9467 | 10427
614 | 163 | 832 | 82 | 12793 | 10639 | 20755 | 17865 | 1613 | 1460 | 1505 | 1453 | 2960 | 2877 | 2612 | 2721 | 8907 | 8609 | 7613 | 8649 | 10692 | 11028 | 9282 | 10241
616 | 155 | 807 | 83 | 12291 | 10392 | 20066 | 17090 | 1555 | 1404 | 1441 | 1370 | 2873 | 2772 | 2542 | 2608 | 8721 | 8420 | 7397 | 8486 | 10518 | 10716 | 9108 | 10115
618 | 147 | 792 | 77 | 11914 | 10004 | 19013 | 16397 | 1498 | 1359 | 1404 | 1321 | 2762 | 2691 | 2462 | 2508 | 8498 | 8291 | 7233 | 8385 | 10281 | 10575 | 8865 | 9817
620 | 145 | 768 | 73 | 11501 | 9615 | 18385 | 15963 | 1426 | 1288 | 1358 | 1269 | 2691 | 2577 | 2360 | 2427 | 8262 | 8072 | 7076 | 8139 | 9957 | 10380 | 8705 | 9623
622 | 138 | 751 | 72 | 11186 | 9386 | 17692 | 15358 | 1387 | 1258 | 1295 | 1230 | 2582 | 2511 | 2276 | 2307 | 8138 | 7919 | 6861 | 7952 | 9804 | 10158 | 8528 | 9362
624 | 133 | 729 | 69 | 10722 | 8971 | 16950 | 14591 | 1339 | 1206 | 1257 | 1184 | 2502 | 2403 | 2210 | 2248 | 7930 | 7752 | 6780 | 7731 | 9569 | 9978 | 8315 | 9241
626 | 128 | 715 | 66 | 10393 | 8657 | 16308 | 14105 | 1275 | 1170 | 1216 | 1144 | 2418 | 2339 | 2120 | 2169 | 7709 | 7525 | 6611 | 7575 | 9385 | 9767 | 8162 | 9077
628 | 124 | 681 | 63 | 10000 | 8344 | 15691 | 13419 | 1240 | 1120 | 1174 | 1106 | 2324 | 2272 | 2083 | 2114 | 7471 | 7394 | 6449 | 7353 | 9242 | 9491 | 7943 | 8781
630 | 120 | 668 | 63 | 9570 | 8105 | 15068 | 12909 | 1191 | 1094 | 1129 | 1078 | 2263 | 2171 | 2000 | 2023 | 7311 | 7156 | 6308 | 7192 | 8986 | 9229 | 7750 | 8610
632 | 116 | 649 | 59 | 9243 | 7723 | 14404 | 12386 | 1151 | 1033 | 1068 | 1024 | 2172 | 2130 | 1940 | 1968 | 7136 | 7040 | 6146 | 6971 | 8734 | 9057 | 7602 | 8376
634 | 113 | 627 | 59 | 8877 | 7519 | 13895 | 11959 | 1139 | 1014 | 1056 | 1003 | 2111 | 2047 | 1889 | 1905 | 6940 | 6840 | 5956 | 6849 | 8467 | 8786 | 7416 | 8133
636 | 107 | 615 | 57 | 8532 | 7206 | 13327 | 11400 | 1098 | 999 | 1020 | 980 | 2053 | 2008 | 1841 | 1858 | 6748 | 6701 | 5811 | 6657 | 8317 | 8626 | 7183 | 7942
638 | 103 | 595 | 53 | 8290 | 6899 | 12856 | 11006 | 1077 | 949 | 1001 | 955 | 1979 | 1936 | 1790 | 1780 | 6539 | 6516 | 5653 | 6488 | 8116 | 8347 | 7003 | 7756
640 | 102 | 577 | 51 | 8049 | 6692 | 12295 | 10570 | 1049 | 933 | 973 | 928 | 1893 | 1894 | 1717 | 1738 | 6280 | 6339 | 5445 | 6331 | 7812 | 8139 | 6788 | 7584
End Time | 29.9 C4: 2025-08-02 10:56:26
Start Time | 29.9 C4: 2025-08-02 10:56:31
Shaking (Linear) Duration [s] | 29.9 C4: 10
Shaking (Linear) Position | 29.9 C4: Current
Shaking (Linear) Amplitude [mm] | bar: 29.9 C4
Shaking (Linear) Frequency [rpm] | 29.9 C4: 1440
End Time | 29.9 C4: 2025-08-02 10:56:41
Mode | C1: Fluorescence Intensity Scan Top Reading
Name | C1: Fluorescence 2
Scan selection | 29.9 C4: Emission Scan
Excitation | 29.9 C4: Monochromator
Excitation wavelength [nm] | 29.9 C4: 483
Excitation bandwidth [nm] | 29.9 C4: 20
Emission wavelength start [nm] | 29.9 C4: 520
Emission wavelength end [nm] | 29.9 C4: 640
Emission wavelength step size [nm] | 29.9 C4: 2
Emission scan number | 29.9 C4: 61
Emission bandwidth [nm] | 29.9 C4: 20
Gain Manual | 29.9 C4: 100
Mirror | 29.9 C4: Automatic (Dichroic 510)
Number of flashes | 29.9 C4: 30
Integration time [µs] | 29.9 C4: 40
Lag time [µs] | 29.9 C4: 0
Settle time [ms] | 29.9 C4: 0
Z-Position [μm] | 29.9 C4: 20000
Z-Position mode | 29.9 C4: Manual
Part of Plate | 29.9 C4: C1-C12;D1-D11
Start Time | 29.9 C4: 2025-08-02 10:56:41
Temperature [°C] | 29.9 C4: 30
Wavel. | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11
520 | 2652 | 2973 | 2714 | 32264 | 28159 | 61206 | 56464 | 5159 | 4897 | 5081 | 5032 | 7329 | 7712 | 7227 | 7069 | 6903 | 7221 | 6787 | 7132 | 11481 | 11818 | 10024 | 10399
522 | 411 | 861 | 331 | 31769 | 27099 | 61681 | 56248 | 4020 | 3489 | 3731 | 3663 | 5687 | 6163 | 5406 | 5698 | 5129 | 4981 | 4426 | 5110 | 9129 | 9813 | 7654 | 8491
524 | 344 | 841 | 239 | 32349 | 27309 | 62597 | 57358 | 4137 | 3575 | 3833 | 3732 | 5855 | 6335 | 5625 | 5911 | 5477 | 5233 | 4613 | 5317 | 9343 | 9975 | 7793 | 8670
526 | 343 | 869 | 229 | 32650 | 27611 | 63309 | 57524 | 4356 | 3728 | 3952 | 3860 | 6095 | 6594 | 5837 | 6190 | 5930 | 5615 | 4978 | 5727 | 9613 | 10284 | 8143 | 9003
528 | 339 | 908 | 223 | 32711 | 27732 | 63633 | 57844 | 4439 | 3862 | 4054 | 3975 | 6316 | 6842 | 6094 | 6422 | 6402 | 6006 | 5325 | 6159 | 9875 | 10492 | 8384 | 9252
530 | 345 | 938 | 226 | 32788 | 27809 | 63610 | 57910 | 4563 | 4005 | 4145 | 4066 | 6493 | 7086 | 6309 | 6615 | 6960 | 6438 | 5727 | 6578 | 10065 | 10798 | 8699 | 9690
532 | 342 | 968 | 221 | 32553 | 27819 | 63518 | 57585 | 4702 | 4107 | 4239 | 4168 | 6690 | 7273 | 6430 | 6846 | 7568 | 6927 | 6134 | 7040 | 10366 | 10998 | 8975 | 9980
534 | 343 | 988 | 220 | 32276 | 27335 | 63077 | 57356 | 4812 | 4176 | 4333 | 4257 | 6868 | 7395 | 6606 | 6971 | 8078 | 7275 | 6493 | 7403 | 10517 | 11317 | 9260 | 10224
536 | 343 | 1018 | 219 | 32153 | 27168 | 62836 | 56572 | 4888 | 4247 | 4378 | 4253 | 7009 | 7588 | 6766 | 7144 | 8614 | 7752 | 6894 | 7885 | 10774 | 11443 | 9584 | 10521
538 | 341 | 1047 | 216 | 31884 | 26887 | 62246 | 56444 | 4927 | 4280 | 4371 | 4304 | 7085 | 7618 | 6827 | 7260 | 9059 | 8120 | 7219 | 8255 | 10922 | 11650 | 9780 | 10771
540 | 351 | 1069 | 222 | 31498 | 26704 | 61588 | 55811 | 4958 | 4359 | 4407 | 4348 | 7186 | 7789 | 6950 | 7345 | 9642 | 8556 | 7582 | 8694 | 11203 | 11844 | 10077 | 11138
542 | 346 | 1098 | 220 | 31336 | 26469 | 61189 | 55069 | 5009 | 4388 | 4466 | 4352 | 7250 | 7854 | 7039 | 7407 | 9995 | 8822 | 7954 | 9031 | 11345 | 12050 | 10247 | 11372
544 | 346 | 1120 | 223 | 30876 | 26105 | 60148 | 54096 | 5047 | 4398 | 4467 | 4323 | 7313 | 7872 | 7037 | 7433 | 10462 | 9132 | 8162 | 9416 | 11584 | 12289 | 10403 | 11747
546 | 345 | 1150 | 227 | 30428 | 25648 | 59192 | 53395 | 4985 | 4386 | 4420 | 4317 | 7284 | 7834 | 7003 | 7434 | 10688 | 9397 | 8401 | 9628 | 11664 | 12430 | 10624 | 11694
548 | 346 | 1154 | 228 | 29911 | 25234 | 58309 | 52005 | 4986 | 4337 | 4391 | 4270 | 7237 | 7747 | 6987 | 7392 | 10785 | 9547 | 8582 | 9810 | 11817 | 12429 | 10660 | 11809
550 | 348 | 1165 | 228 | 29185 | 24838 | 56863 | 50945 | 4839 | 4249 | 4302 | 4188 | 7224 | 7690 | 6898 | 7266 | 10847 | 9593 | 8686 | 9842 | 11914 | 12483 | 10660 | 11857
552 | 353 | 1183 | 228 | 28853 | 24331 | 55867 | 49646 | 4803 | 4187 | 4235 | 4137 | 7037 | 7616 | 6786 | 7202 | 10980 | 9763 | 8782 | 9984 | 11913 | 12691 | 10769 | 11971
554 | 356 | 1202 | 235 | 28144 | 23854 | 54362 | 48516 | 4635 | 4101 | 4109 | 4028 | 6923 | 7416 | 6616 | 7028 | 11011 | 9828 | 8786 | 10000 | 11961 | 12563 | 10721 | 11862
556 | 356 | 1207 | 233 | 27608 | 23309 | 53587 | 47269 | 4519 | 4006 | 4036 | 3905 | 6788 | 7257 | 6522 | 6873 | 10970 | 9861 | 8738 | 10069 | 11941 | 12659 | 10719 | 11835
558 | 359 | 1228 | 234 | 27044 | 22827 | 51918 | 45982 | 4423 | 3911 | 3939 | 3822 | 6707 | 7125 | 6384 | 6773 | 11011 | 9867 | 8798 | 10041 | 11981 | 12671 | 10676 | 11794
560 | 359 | 1223 | 240 | 26540 | 22392 | 50596 | 44686 | 4306 | 3779 | 3826 | 3720 | 6541 | 6949 | 6229 | 6602 | 10954 | 9901 | 8800 | 10095 | 12068 | 12777 | 10646 | 11806
562 | 360 | 1240 | 239 | 26149 | 21934 | 49401 | 43639 | 4191 | 3717 | 3728 | 3645 | 6394 | 6757 | 6094 | 6395 | 10949 | 9875 | 8798 | 10133 | 12090 | 12807 | 10759 | 11887
564 | 364 | 1237 | 237 | 25484 | 21525 | 48099 | 42446 | 4073 | 3603 | 3634 | 3509 | 6263 | 6590 | 5937 | 6214 | 10891 | 9910 | 8787 | 10105 | 12152 | 12771 | 10729 | 11825
566 | 367 | 1235 | 233 | 24846 | 21015 | 46572 | 41167 | 3893 | 3441 | 3488 | 3371 | 6116 | 6395 | 5750 | 6029 | 10824 | 9947 | 8783 | 10082 | 12125 | 12835 | 10627 | 11836
568 | 355 | 1225 | 236 | 24317 | 20398 | 45242 | 39889 | 3730 | 3365 | 3394 | 3280 | 5919 | 6218 | 5513 | 5876 | 10803 | 9896 | 8800 | 10087 | 12125 | 12844 | 10660 | 11757
570 | 365 | 1223 | 229 | 23534 | 19885 | 43839 | 38262 | 3617 | 3260 | 3261 | 3159 | 5753 | 5979 | 5329 | 5661 | 10772 | 9939 | 8767 | 10082 | 12111 | 12839 | 10564 | 11767
572 | 348 | 1215 | 227 | 22961 | 19395 | 42404 | 37101 | 3522 | 3157 | 3175 | 3064 | 5605 | 5814 | 5196 | 5474 | 10782 | 9922 | 8735 | 10023 | 12096 | 12731 | 10648 | 11769
574 | 351 | 1211 | 217 | 22394 | 18792 | 40941 | 35675 | 3406 | 3031 | 3056 | 2956 | 5442 | 5636 | 5025 | 5290 | 10762 | 9936 | 8757 | 10148 | 12041 | 12674 | 10540 | 11700
576 | 341 | 1184 | 211 | 21790 | 18391 | 39559 | 34690 | 3290 | 2954 | 2948 | 2863 | 5289 | 5501 | 4882 | 5150 | 10754 | 9955 | 8758 | 10127 | 12059 | 12709 | 10560 | 11656
578 | 333 | 1184 | 204 | 21235 | 17770 | 38446 | 33381 | 3179 | 2831 | 2852 | 2755 | 5152 | 5281 | 4738 | 5006 | 10712 | 10032 | 8774 | 10056 | 11943 | 12685 | 10594 | 11540
580 | 327 | 1156 | 198 | 20448 | 17237 | 36706 | 32109 | 3065 | 2741 | 2756 | 2657 | 5005 | 5177 | 4605 | 4836 | 10744 | 10025 | 8787 | 10047 | 11845 | 12570 | 10545 | 11616
582 | 310 | 1144 | 186 | 19838 | 16748 | 35491 | 31132 | 2980 | 2675 | 2708 | 2574 | 4835 | 5034 | 4503 | 4705 | 10750 | 10030 | 8732 | 10028 | 11736 | 12504 | 10437 | 11544
584 | 306 | 1122 | 180 | 19264 | 16242 | 34203 | 29758 | 2863 | 2571 | 2611 | 2459 | 4688 | 4830 | 4290 | 4527 | 10571 | 9892 | 8676 | 9949 | 11723 | 12384 | 10387 | 11475
586 | 290 | 1095 | 170 | 18680 | 15688 | 33040 | 28769 | 2767 | 2503 | 2533 | 2414 | 4600 | 4688 | 4171 | 4386 | 10581 | 9820 | 8595 | 9880 | 11615 | 12360 | 10282 | 11394
588 | 275 | 1071 | 158 | 17971 | 15206 | 31761 | 27632 | 2692 | 2403 | 2413 | 2315 | 4439 | 4523 | 4031 | 4235 | 10381 | 9757 | 8504 | 9793 | 11571 | 12115 | 10196 | 11255
590 | 268 | 1056 | 148 | 17538 | 14751 | 30790 | 26698 | 2624 | 2336 | 2359 | 2247 | 4365 | 4395 | 3921 | 4113 | 10299 | 9666 | 8437 | 9676 | 11429 | 11986 | 10059 | 11150
592 | 250 | 1024 | 140 | 16944 | 14244 | 29498 | 25683 | 2501 | 2237 | 2278 | 2186 | 4183 | 4223 | 3778 | 3966 | 10142 | 9523 | 8282 | 9607 | 11201 | 11905 | 10010 | 10974
594 | 241 | 1000 | 135 | 16568 | 13823 | 28347 | 24621 | 2443 | 2171 | 2204 | 2089 | 4061 | 4099 | 3656 | 3852 | 9991 | 9400 | 8215 | 9414 | 11090 | 11672 | 9878 | 10922
596 | 230 | 972 | 126 | 15842 | 13364 | 27305 | 23761 | 2364 | 2098 | 2128 | 2049 | 3907 | 3985 | 3538 | 3703 | 9785 | 9293 | 8040 | 9281 | 10897 | 11553 | 9641 | 10685
598 | 221 | 948 | 117 | 15428 | 12919 | 26320 | 22865 | 2276 | 2034 | 2081 | 1945 | 3800 | 3862 | 3454 | 3621 | 9612 | 9042 | 7942 | 9131 | 10739 | 11435 | 9528 | 10585
600 | 204 | 923 | 107 | 14880 | 12518 | 25403 | 21945 | 2188 | 1932 | 1983 | 1885 | 3690 | 3712 | 3317 | 3454 | 9362 | 8948 | 7735 | 8944 | 10578 | 11170 | 9411 | 10302
602 | 190 | 900 | 101 | 14354 | 12098 | 24376 | 21081 | 2087 | 1877 | 1923 | 1804 | 3545 | 3579 | 3196 | 3338 | 9121 | 8721 | 7562 | 8778 | 10422 | 10985 | 9213 | 10166
604 | 187 | 867 | 97 | 13976 | 11806 | 23608 | 20274 | 2047 | 1799 | 1860 | 1738 | 3469 | 3490 | 3099 | 3255 | 9016 | 8629 | 7436 | 8578 | 10260 | 10816 | 9038 | 9948
606 | 179 | 861 | 90 | 13555 | 11404 | 22735 | 19506 | 1973 | 1760 | 1797 | 1689 | 3335 | 3357 | 3027 | 3173 | 8785 | 8404 | 7305 | 8434 | 10047 | 10675 | 8859 | 9765
608 | 168 | 838 | 87 | 13165 | 11110 | 21893 | 18880 | 1900 | 1677 | 1754 | 1623 | 3255 | 3268 | 2894 | 3036 | 8558 | 8256 | 7150 | 8279 | 9916 | 10478 | 8644 | 9602
610 | 163 | 810 | 84 | 12787 | 10711 | 21074 | 18304 | 1843 | 1646 | 1688 | 1586 | 3179 | 3167 | 2817 | 2958 | 8384 | 8158 | 7020 | 8130 | 9658 | 10262 | 8548 | 9428
612 | 151 | 794 | 79 | 12361 | 10353 | 20331 | 17536 | 1783 | 1579 | 1614 | 1521 | 3051 | 3050 | 2744 | 2867 | 8122 | 7977 | 6896 | 7927 | 9553 | 10092 | 8404 | 9175
614 | 151 | 771 | 76 | 11932 | 10031 | 19452 | 16774 | 1724 | 1518 | 1557 | 1463 | 2939 | 2934 | 2645 | 2736 | 8055 | 7805 | 6710 | 7746 | 9322 | 9869 | 8146 | 9076
616 | 143 | 752 | 73 | 11517 | 9698 | 18771 | 16162 | 1655 | 1461 | 1514 | 1402 | 2877 | 2824 | 2542 | 2660 | 7771 | 7590 | 6576 | 7578 | 9158 | 9679 | 7996 | 8861
618 | 142 | 735 | 69 | 11140 | 9438 | 18073 | 15537 | 1588 | 1401 | 1462 | 1347 | 2740 | 2721 | 2492 | 2589 | 7607 | 7494 | 6424 | 7389 | 8951 | 9509 | 7857 | 8711
620 | 132 | 709 | 67 | 10781 | 9077 | 17389 | 14899 | 1531 | 1343 | 1406 | 1305 | 2668 | 2648 | 2373 | 2475 | 7427 | 7271 | 6323 | 7207 | 8831 | 9287 | 7677 | 8421
622 | 130 | 689 | 65 | 10416 | 8825 | 16810 | 14408 | 1494 | 1312 | 1355 | 1248 | 2585 | 2543 | 2301 | 2397 | 7267 | 7144 | 6141 | 7096 | 8667 | 9065 | 7530 | 8270
624 | 124 | 677 | 61 | 10101 | 8484 | 15917 | 13872 | 1435 | 1258 | 1319 | 1200 | 2515 | 2454 | 2243 | 2305 | 7072 | 6935 | 5978 | 6901 | 8394 | 8902 | 7342 | 8091
626 | 122 | 658 | 61 | 9750 | 8196 | 15425 | 13225 | 1379 | 1225 | 1266 | 1157 | 2413 | 2373 | 2160 | 2241 | 6901 | 6816 | 5905 | 6734 | 8289 | 8707 | 7118 | 7952
628 | 115 | 642 | 57 | 9311 | 7880 | 14832 | 12809 | 1351 | 1177 | 1221 | 1118 | 2361 | 2304 | 2086 | 2171 | 6750 | 6650 | 5691 | 6616 | 8024 | 8520 | 7061 | 7744
630 | 114 | 608 | 59 | 9025 | 7635 | 14184 | 12191 | 1304 | 1141 | 1191 | 1079 | 2280 | 2224 | 2045 | 2104 | 6587 | 6490 | 5561 | 6413 | 7854 | 8218 | 6854 | 7577
632 | 109 | 602 | 54 | 8653 | 7293 | 13604 | 11753 | 1268 | 1097 | 1170 | 1037 | 2207 | 2142 | 1971 | 2040 | 6381 | 6370 | 5369 | 6237 | 7657 | 8066 | 6669 | 7368
634 | 107 | 578 | 56 | 8315 | 7052 | 13057 | 11316 | 1245 | 1068 | 1130 | 1013 | 2139 | 2090 | 1934 | 1967 | 6227 | 6203 | 5272 | 6115 | 7380 | 7925 | 6526 | 7168
636 | 103 | 568 | 51 | 7988 | 6774 | 12664 | 10849 | 1209 | 1045 | 1107 | 983 | 2079 | 2007 | 1865 | 1923 | 6046 | 6024 | 5162 | 5954 | 7267 | 7693 | 6353 | 7013
638 | 97 | 544 | 51 | 7717 | 6505 | 12039 | 10417 | 1164 | 1020 | 1069 | 961 | 2020 | 1955 | 1827 | 1845 | 5874 | 5863 | 5026 | 5793 | 7042 | 7584 | 6226 | 6837
640 | 96 | 528 | 47 | 7481 | 6345 | 11701 | 9985 | 1156 | 994 | 1047 | 942 | 1933 | 1905 | 1741 | 1784 | 5628 | 5718 | 4814 | 5619 | 6835 | 7274 | 6004 | 6668
End Time | 30 C4: 2025-08-02 11:13:11
Start Time | 30 C4: 2025-08-02 11:13:14
Shaking (Linear) Duration [s] | 30 C4: 10
Shaking (Linear) Position | 30 C4: Current
Shaking (Linear) Amplitude [mm] | bar: 30 C4
Shaking (Linear) Frequency [rpm] | 30 C4: 1440
End Time | 30 C4: 2025-08-02 11:13:24
Mode | C1: Absorbance
Name | C1: blue 1
Measurement wavelength [nm] | 30 C4: 640
Number of flashes | 30 C4: 10
Settle time [ms] | 30 C4: 50
Part of Plate | 30 C4: C1-C12;D1-D11
Start Time | 30 C4: 2025-08-02 11:13:24
Temperature [°C] | 30 C4: 30
<> | C1: 1; C2: 2; C3: 3; 30 C4: 4; 30 C5: 5; 30 C6: 6; 30 C7: 7; 30 C8: 8; 30 C9: 9; 30 C10: 10; 30 C11: 11; 30 C12: 12
A
B
C | C1: 0.0418; C2: 0.0608; C3: 0.0409; 30 C4: 0.0535; 30 C5: 0.0534; 30 C6: 0.0657; 30 C7: 0.0646; 30 C8: 0.5691; 30 C9: 0.5416; 30 C10: 0.5564; 30 C11: 0.5728; 30 C12: 0.246
D | C1: 0.3948; C2: 0.4011; C3: 0.3578; 30 C4: 0.0489; 30 C5: 0.0491; 30 C6: 0.0476; 30 C7: 0.0478; 30 C8: 0.0529; 30 C9: 0.0525; 30 C10: 0.0538; 30 C11: 0.0537
E
F
G
H
End Time | 30 C4: 2025-08-02 11:13:32
Mode | C1: Absorbance
Name | C1: blue 2
Measurement wavelength [nm] | 30 C4: 640
Number of flashes | 30 C4: 10
Settle time [ms] | 30 C4: 50
Part of Plate | 30 C4: C1-C12;D1-D11
Start Time | 30 C4: 2025-08-02 11:13:35
Temperature [°C] | 30 C4: 29.9
<> | C1: 1; C2: 2; C3: 3; 30 C4: 4; 30 C5: 5; 30 C6: 6; 30 C7: 7; 30 C8: 8; 30 C9: 9; 30 C10: 10; 30 C11: 11; 30 C12: 12
A
B
C | C1: 0.042; C2: 0.0604; C3: 0.0405; 30 C4: 0.0535; 30 C5: 0.0535; 30 C6: 0.0657; 30 C7: 0.065; 30 C8: 0.6563; 30 C9: 0.6004; 30 C10: 0.6179; 30 C11: 0.6377; 30 C12: 0.2869
D | C1: 0.456; C2: 0.4619; C3: 0.4089; 30 C4: 0.0489; 30 C5: 0.0493; 30 C6: 0.0475; 30 C7: 0.0476; 30 C8: 0.0528; 30 C9: 0.0524; 30 C10: 0.0536; 30 C11: 0.0539
E
F
G
H
End Time | 30 C4: 2025-08-02 11:13:43
Mode | C1: Absorbance
Name | C1: red 1
Measurement wavelength [nm] | 30 C4: 530
Number of flashes | 30 C4: 10
Settle time [ms] | 30 C4: 50
Part of Plate | 30 C4: C1-C12;D1-D11
Start Time | 30 C4: 2025-08-02 11:13:45
Temperature [°C] | 30 C4: 29.9
<> | C1: 1; C2: 2; C3: 3; 30 C4: 4; 30 C5: 5; 30 C6: 6; 30 C7: 7; 30 C8: 8; 30 C9: 9; 30 C10: 10; 30 C11: 11; 30 C12: 12
A
B
C | C1: 0.0442; C2: 0.072; C3: 0.0433; 30 C4: 0.1096; 30 C5: 0.1096; 30 C6: 0.1506; 30 C7: 0.1406; 30 C8: 0.2877; 30 C9: 0.2645; 30 C10: 0.2722; 30 C11: 0.2783; 30 C12: 0.1584
D | C1: 0.2269; C2: 0.2209; C3: 0.2048; 30 C4: 0.2522; 30 C5: 0.2124; 30 C6: 0.2073; 30 C7: 0.2146; 30 C8: 0.1856; 30 C9: 0.184; 30 C10: 0.1999; 30 C11: 0.2105
E
F
G
H
End Time | 30 C4: 2025-08-02 11:13:53
Mode | C1: Absorbance
Name | C1: red 2
Measurement wavelength [nm] | 30 C4: 530
Number of flashes | 30 C4: 10
Settle time [ms] | 30 C4: 50
Part of Plate | 30 C4: C1-C12;D1-D11
Start Time | 30 C4: 2025-08-02 11:13:56
Temperature [°C] | 30 C4: 29.9
<> | C1: 1; C2: 2; C3: 3; 30 C4: 4; 30 C5: 5; 30 C6: 6; 30 C7: 7; 30 C8: 8; 30 C9: 9; 30 C10: 10; 30 C11: 11; 30 C12: 12
A
B
C | C1: 0.0447; C2: 0.0726; C3: 0.0432; 30 C4: 0.1097; 30 C5: 0.1095; 30 C6: 0.1506; 30 C7: 0.1406; 30 C8: 0.2924; 30 C9: 0.2704; 30 C10: 0.2792; 30 C11: 0.2835; 30 C12: 0.1595
D | C1: 0.2347; C2: 0.2259; C3: 0.209; 30 C4: 0.252; 30 C5: 0.2126; 30 C6: 0.2071; 30 C7: 0.2146; 30 C8: 0.1855; 30 C9: 0.184; 30 C10: 0.1997; 30 C11: 0.2106
E
F
G
H
End Time | 30 C4: 2025-08-02 11:14:03
Ex | Blank | BlankB | BlankR | DOE 17.7 | DOE 17.7 | DOE 18.7 | DOE 18.7 | DOE 17.7 | DOE 17.7 | DOE 17.7 | DOE 17.7 | DOE 18.7 | DOE 18.7 | DOE 18.7 | DOE 18.7 | DOE 17.7 | DOE 17.7 | DOE 17.7 | DOE 17.7 | DOE 18.7 | DOE 18.7 | DOE 18.7 | DOE 18.7
Ex | Blank | BlankB | BlankR | f | f | f | f | b | b | b | b | b | b | b | b | r | r | r | r | r | r | r | r
Ex | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1