## Result sheet
Method name: LS_241112_Fluorescence_Actino_Sample (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1708008206
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦PODI:V1.10.2
Date: |  |  |  | 2025-07-30
Time: |  |  |  | 11:08
System |  |  |  | IBVT171
User |  |  |  | IBVT171\Tecan
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Wait
Shaking
Wait
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Fluorescence 1
Shaking
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Fluorescence 2
Shaking
| Absorbance |  |  |  |  | blue 1
| Absorbance |  |  |  |  | blue 2
| Absorbance |  |  |  |  | red 1
| Absorbance |  |  |  |  | red 2
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | C1-C12;D1-D11
Start Time |  |  |  | 2025-07-30 10:28:39
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 30
Wait minimum [°C] |  |  |  | 29
Wait maximum [°C] |  |  |  | 31
End Time |  |  |  | 2025-07-30 10:28:39
Start Time |  |  |  | 2025-07-30 10:28:39
Shaking (Linear) Duration [s] |  |  |  | 7
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-07-30 10:28:46
Start Time |  |  |  | 2025-07-30 10:28:46
Wait (Time) hh:mm:ss |  |  |  | 00:05:01
Wait position |  |  |  | Current
End Time |  |  |  | 2025-07-30 10:33:47
Start Time |  |  |  | 2025-07-30 10:33:47
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-07-30 10:33:57
Start Time |  |  |  | 2025-07-30 10:33:57
Wait (Time) hh:mm:ss |  |  |  | 00:00:10
Wait position |  |  |  | Current
End Time |  |  |  | 2025-07-30 10:34:07
Mode | Fluorescence Intensity Scan Top Reading
Name | Fluorescence 1
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | C1-C12;D1-D11
Start Time |  |  |  | 2025-07-30 10:34:07
Temperature [°C] |  |  |  | 29.9
Wavel. | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11
520 | 2428 | 3213 | 2756 | 10368 | 10059 | 19447 | 18792 | 3619 | 3804 | 3801 | 3867 | 4257 | 4370 | 4449 | 4707 | 6033 | 5985 | 5821 | 6010 | 7363 | 7501 | 7296 | 6900
522 | 458 | 843 | 307 | 8429 | 8004 | 18028 | 16863 | 1265 | 1219 | 1115 | 1203 | 2136 | 1995 | 2409 | 2280 | 2656 | 2705 | 2961 | 2736 | 4529 | 5096 | 4266 | 4600
524 | 389 | 792 | 231 | 8527 | 8068 | 18306 | 17030 | 1275 | 1204 | 1087 | 1163 | 2183 | 1997 | 2438 | 2278 | 2603 | 2624 | 2917 | 2681 | 4676 | 5281 | 4434 | 4854
526 | 376 | 817 | 226 | 8653 | 8113 | 18589 | 17228 | 1327 | 1273 | 1140 | 1217 | 2299 | 2091 | 2586 | 2400 | 2638 | 2647 | 2955 | 2740 | 5005 | 5624 | 4737 | 5265
528 | 384 | 839 | 226 | 8682 | 8146 | 18806 | 17411 | 1408 | 1324 | 1179 | 1279 | 2417 | 2193 | 2699 | 2496 | 2674 | 2684 | 3016 | 2771 | 5291 | 5984 | 5041 | 5705
530 | 381 | 881 | 228 | 8787 | 8214 | 18728 | 17293 | 1478 | 1397 | 1245 | 1328 | 2574 | 2284 | 2863 | 2625 | 2723 | 2741 | 3072 | 2834 | 5616 | 6385 | 5412 | 6130
532 | 380 | 906 | 229 | 8739 | 8214 | 18779 | 17388 | 1528 | 1457 | 1286 | 1383 | 2698 | 2388 | 2988 | 2739 | 2757 | 2760 | 3115 | 2874 | 6031 | 6799 | 5810 | 6684
534 | 381 | 915 | 229 | 8681 | 8193 | 18661 | 17276 | 1573 | 1504 | 1327 | 1432 | 2817 | 2471 | 3086 | 2812 | 2779 | 2817 | 3134 | 2920 | 6358 | 7262 | 6095 | 7144
536 | 376 | 949 | 231 | 8679 | 8198 | 18533 | 17295 | 1631 | 1552 | 1392 | 1478 | 2897 | 2550 | 3205 | 2932 | 2804 | 2820 | 3163 | 2942 | 6688 | 7690 | 6520 | 7550
538 | 380 | 964 | 234 | 8618 | 8063 | 18471 | 17065 | 1677 | 1598 | 1420 | 1510 | 2987 | 2630 | 3257 | 2980 | 2852 | 2824 | 3195 | 3014 | 6969 | 8020 | 6822 | 7992
540 | 382 | 995 | 234 | 8578 | 7997 | 18310 | 17042 | 1722 | 1639 | 1447 | 1538 | 3090 | 2697 | 3327 | 3057 | 2840 | 2882 | 3189 | 3000 | 7277 | 8362 | 7132 | 8426
542 | 388 | 1018 | 239 | 8501 | 7934 | 18219 | 16837 | 1721 | 1666 | 1462 | 1585 | 3148 | 2747 | 3403 | 3086 | 2862 | 2861 | 3242 | 3031 | 7537 | 8579 | 7330 | 8724
544 | 386 | 1034 | 241 | 8399 | 7894 | 18089 | 16761 | 1742 | 1698 | 1490 | 1589 | 3203 | 2761 | 3460 | 3134 | 2862 | 2865 | 3223 | 3020 | 7641 | 8844 | 7575 | 9066
546 | 389 | 1057 | 250 | 8311 | 7727 | 17919 | 16404 | 1763 | 1705 | 1509 | 1595 | 3225 | 2804 | 3515 | 3138 | 2838 | 2839 | 3186 | 3016 | 7752 | 8923 | 7721 | 9106
548 | 389 | 1064 | 249 | 8124 | 7574 | 17592 | 16117 | 1754 | 1701 | 1498 | 1610 | 3192 | 2782 | 3489 | 3168 | 2805 | 2796 | 3187 | 2957 | 7774 | 8969 | 7746 | 9165
550 | 388 | 1088 | 256 | 7908 | 7403 | 17076 | 15855 | 1736 | 1677 | 1513 | 1605 | 3165 | 2749 | 3454 | 3117 | 2741 | 2755 | 3086 | 2927 | 7793 | 8909 | 7726 | 9203
552 | 393 | 1097 | 255 | 7785 | 7337 | 16909 | 15640 | 1716 | 1680 | 1503 | 1591 | 3115 | 2713 | 3390 | 3102 | 2705 | 2714 | 3036 | 2901 | 7682 | 8899 | 7759 | 9161
554 | 391 | 1105 | 260 | 7538 | 7046 | 16475 | 15085 | 1700 | 1644 | 1492 | 1579 | 3081 | 2653 | 3314 | 3038 | 2645 | 2642 | 2990 | 2805 | 7535 | 8749 | 7606 | 9107
556 | 397 | 1116 | 273 | 7369 | 6890 | 16322 | 14831 | 1673 | 1636 | 1479 | 1566 | 3037 | 2653 | 3268 | 2983 | 2556 | 2588 | 2921 | 2741 | 7401 | 8559 | 7548 | 8931
558 | 395 | 1139 | 273 | 7182 | 6738 | 15861 | 14646 | 1663 | 1620 | 1457 | 1550 | 2929 | 2576 | 3167 | 2919 | 2495 | 2537 | 2847 | 2674 | 7324 | 8445 | 7427 | 8775
560 | 398 | 1149 | 275 | 6965 | 6587 | 15607 | 14290 | 1630 | 1579 | 1458 | 1553 | 2882 | 2531 | 3107 | 2851 | 2444 | 2476 | 2781 | 2612 | 7144 | 8332 | 7249 | 8596
562 | 410 | 1161 | 277 | 6861 | 6404 | 15243 | 14018 | 1606 | 1577 | 1460 | 1494 | 2809 | 2491 | 3052 | 2803 | 2394 | 2410 | 2709 | 2540 | 7099 | 8238 | 7226 | 8538
564 | 400 | 1157 | 279 | 6596 | 6204 | 14850 | 13472 | 1587 | 1556 | 1439 | 1515 | 2748 | 2424 | 2978 | 2741 | 2320 | 2354 | 2658 | 2485 | 6985 | 8063 | 7082 | 8325
566 | 405 | 1168 | 281 | 6367 | 5993 | 14480 | 13263 | 1573 | 1530 | 1420 | 1477 | 2673 | 2365 | 2888 | 2640 | 2255 | 2251 | 2570 | 2406 | 6824 | 7898 | 6957 | 8158
568 | 400 | 1172 | 274 | 6190 | 5773 | 14027 | 12932 | 1559 | 1516 | 1411 | 1463 | 2591 | 2307 | 2830 | 2598 | 2188 | 2194 | 2498 | 2331 | 6807 | 7856 | 6946 | 8146
570 | 395 | 1166 | 270 | 5935 | 5578 | 13609 | 12542 | 1528 | 1500 | 1392 | 1441 | 2536 | 2253 | 2755 | 2516 | 2132 | 2124 | 2414 | 2260 | 6694 | 7720 | 6874 | 7969
572 | 390 | 1169 | 270 | 5777 | 5394 | 13193 | 12189 | 1512 | 1477 | 1364 | 1444 | 2467 | 2219 | 2692 | 2466 | 2048 | 2071 | 2343 | 2198 | 6636 | 7606 | 6859 | 8051
574 | 389 | 1173 | 257 | 5539 | 5197 | 12800 | 11795 | 1494 | 1448 | 1358 | 1417 | 2418 | 2169 | 2603 | 2408 | 2007 | 2016 | 2277 | 2137 | 6628 | 7612 | 6810 | 7949
576 | 378 | 1147 | 254 | 5355 | 5025 | 12444 | 11470 | 1482 | 1446 | 1337 | 1409 | 2349 | 2111 | 2572 | 2365 | 1946 | 1946 | 2215 | 2079 | 6556 | 7596 | 6744 | 7924
578 | 371 | 1149 | 240 | 5102 | 4835 | 12088 | 11089 | 1445 | 1428 | 1314 | 1386 | 2321 | 2064 | 2488 | 2282 | 1909 | 1902 | 2160 | 2017 | 6581 | 7533 | 6705 | 7891
580 | 363 | 1131 | 230 | 4992 | 4636 | 11602 | 10820 | 1417 | 1383 | 1310 | 1362 | 2247 | 2040 | 2437 | 2249 | 1839 | 1841 | 2094 | 1963 | 6462 | 7511 | 6654 | 7852
582 | 348 | 1129 | 222 | 4773 | 4457 | 11412 | 10442 | 1405 | 1362 | 1275 | 1336 | 2174 | 1976 | 2374 | 2166 | 1790 | 1808 | 2043 | 1912 | 6510 | 7428 | 6714 | 7763
584 | 331 | 1105 | 206 | 4588 | 4276 | 10977 | 10106 | 1376 | 1336 | 1260 | 1298 | 2141 | 1930 | 2310 | 2136 | 1729 | 1737 | 1979 | 1825 | 6398 | 7416 | 6609 | 7751
586 | 317 | 1094 | 203 | 4427 | 4164 | 10710 | 9806 | 1338 | 1322 | 1228 | 1280 | 2086 | 1880 | 2248 | 2079 | 1699 | 1681 | 1921 | 1790 | 6349 | 7340 | 6606 | 7672
588 | 312 | 1075 | 192 | 4216 | 3963 | 10285 | 9437 | 1310 | 1286 | 1197 | 1247 | 2022 | 1829 | 2183 | 2022 | 1613 | 1651 | 1853 | 1724 | 6313 | 7191 | 6488 | 7541
590 | 292 | 1054 | 181 | 4088 | 3830 | 9962 | 9149 | 1271 | 1249 | 1179 | 1221 | 1989 | 1786 | 2142 | 1970 | 1589 | 1581 | 1788 | 1669 | 6208 | 7172 | 6422 | 7407
592 | 283 | 1041 | 167 | 3897 | 3670 | 9604 | 8873 | 1243 | 1221 | 1149 | 1185 | 1916 | 1740 | 2077 | 1920 | 1514 | 1536 | 1735 | 1630 | 6101 | 7007 | 6342 | 7292
594 | 269 | 1026 | 164 | 3741 | 3533 | 9316 | 8596 | 1195 | 1175 | 1136 | 1154 | 1868 | 1697 | 2029 | 1858 | 1482 | 1479 | 1685 | 1564 | 5944 | 6848 | 6253 | 7213
596 | 246 | 993 | 147 | 3609 | 3354 | 8985 | 8239 | 1165 | 1146 | 1095 | 1126 | 1813 | 1639 | 1963 | 1822 | 1424 | 1424 | 1634 | 1529 | 5832 | 6690 | 6094 | 7003
598 | 241 | 992 | 142 | 3434 | 3206 | 8720 | 8011 | 1138 | 1119 | 1064 | 1086 | 1752 | 1617 | 1908 | 1765 | 1386 | 1377 | 1557 | 1455 | 5716 | 6520 | 5938 | 6885
600 | 229 | 960 | 133 | 3295 | 3078 | 8453 | 7758 | 1111 | 1084 | 1044 | 1063 | 1693 | 1571 | 1861 | 1717 | 1328 | 1324 | 1495 | 1401 | 5565 | 6345 | 5820 | 6723
602 | 216 | 949 | 124 | 3104 | 2911 | 8162 | 7553 | 1083 | 1071 | 1007 | 1047 | 1649 | 1509 | 1785 | 1665 | 1277 | 1278 | 1451 | 1346 | 5382 | 6199 | 5619 | 6548
604 | 207 | 927 | 117 | 3004 | 2785 | 7899 | 7198 | 1051 | 1027 | 991 | 1003 | 1585 | 1474 | 1741 | 1616 | 1245 | 1242 | 1415 | 1301 | 5307 | 6060 | 5518 | 6365
606 | 195 | 899 | 112 | 2872 | 2699 | 7609 | 7071 | 1035 | 1016 | 954 | 980 | 1556 | 1442 | 1706 | 1574 | 1202 | 1176 | 1368 | 1260 | 5137 | 5931 | 5367 | 6192
608 | 186 | 891 | 104 | 2758 | 2580 | 7418 | 6802 | 989 | 973 | 941 | 952 | 1509 | 1404 | 1634 | 1521 | 1151 | 1146 | 1317 | 1203 | 5000 | 5747 | 5230 | 6021
610 | 179 | 880 | 102 | 2624 | 2484 | 7204 | 6635 | 964 | 954 | 919 | 942 | 1470 | 1357 | 1598 | 1483 | 1120 | 1113 | 1260 | 1162 | 4916 | 5629 | 5128 | 5851
612 | 172 | 843 | 96 | 2512 | 2352 | 6944 | 6443 | 945 | 931 | 883 | 904 | 1413 | 1329 | 1535 | 1436 | 1065 | 1063 | 1220 | 1133 | 4774 | 5431 | 4964 | 5735
614 | 168 | 829 | 91 | 2439 | 2250 | 6705 | 6196 | 911 | 910 | 862 | 880 | 1365 | 1270 | 1485 | 1409 | 1032 | 1029 | 1170 | 1076 | 4666 | 5261 | 4864 | 5521
616 | 163 | 813 | 91 | 2294 | 2148 | 6473 | 5982 | 881 | 876 | 858 | 868 | 1319 | 1238 | 1449 | 1355 | 984 | 983 | 1123 | 1044 | 4529 | 5147 | 4710 | 5353
618 | 156 | 793 | 88 | 2189 | 2032 | 6248 | 5725 | 856 | 839 | 827 | 830 | 1286 | 1213 | 1406 | 1314 | 950 | 950 | 1083 | 1008 | 4403 | 4982 | 4581 | 5225
620 | 147 | 775 | 82 | 2063 | 1947 | 6027 | 5538 | 845 | 825 | 811 | 819 | 1242 | 1164 | 1367 | 1283 | 912 | 909 | 1038 | 963 | 4294 | 4868 | 4460 | 5094
622 | 146 | 764 | 83 | 2008 | 1868 | 5893 | 5382 | 817 | 799 | 775 | 776 | 1207 | 1137 | 1321 | 1225 | 877 | 888 | 1008 | 920 | 4196 | 4715 | 4344 | 4971
624 | 138 | 742 | 78 | 1879 | 1774 | 5651 | 5199 | 788 | 791 | 746 | 764 | 1173 | 1108 | 1270 | 1190 | 836 | 840 | 962 | 879 | 4086 | 4602 | 4283 | 4807
626 | 137 | 731 | 73 | 1803 | 1689 | 5435 | 5066 | 768 | 755 | 736 | 742 | 1147 | 1073 | 1226 | 1164 | 810 | 815 | 935 | 850 | 3967 | 4483 | 4164 | 4668
628 | 128 | 703 | 71 | 1715 | 1627 | 5208 | 4808 | 737 | 735 | 711 | 720 | 1111 | 1042 | 1205 | 1134 | 780 | 780 | 889 | 820 | 3861 | 4413 | 4088 | 4549
630 | 124 | 681 | 70 | 1630 | 1544 | 5022 | 4653 | 729 | 709 | 688 | 700 | 1076 | 1000 | 1173 | 1079 | 744 | 743 | 855 | 786 | 3767 | 4276 | 3900 | 4446
632 | 122 | 672 | 67 | 1554 | 1465 | 4833 | 4441 | 695 | 692 | 663 | 667 | 1045 | 969 | 1135 | 1063 | 717 | 721 | 824 | 767 | 3701 | 4161 | 3854 | 4354
634 | 119 | 649 | 66 | 1490 | 1397 | 4673 | 4337 | 678 | 679 | 647 | 665 | 994 | 945 | 1098 | 1012 | 694 | 693 | 804 | 724 | 3593 | 4063 | 3739 | 4210
636 | 114 | 621 | 63 | 1421 | 1323 | 4500 | 4165 | 673 | 652 | 635 | 639 | 969 | 930 | 1061 | 1006 | 668 | 668 | 767 | 703 | 3500 | 3968 | 3628 | 4121
638 | 107 | 618 | 59 | 1365 | 1257 | 4362 | 4006 | 645 | 628 | 614 | 623 | 953 | 905 | 1045 | 982 | 642 | 627 | 725 | 678 | 3409 | 3856 | 3561 | 4036
640 | 103 | 609 | 58 | 1296 | 1211 | 4186 | 3889 | 631 | 618 | 602 | 607 | 928 | 879 | 1002 | 946 | 609 | 616 | 701 | 651 | 3247 | 3735 | 3435 | 3914
End Time | 29.9 C4: 2025-07-30 10:50:38
Start Time | 29.9 C4: 2025-07-30 10:50:42
Shaking (Linear) Duration [s] | 29.9 C4: 10
Shaking (Linear) Position | 29.9 C4: Current
Shaking (Linear) Amplitude [mm] | bar: 29.9 C4
Shaking (Linear) Frequency [rpm] | 29.9 C4: 1440
End Time | 29.9 C4: 2025-07-30 10:50:52
Mode | C1: Fluorescence Intensity Scan Top Reading
Name | C1: Fluorescence 2
Scan selection | 29.9 C4: Emission Scan
Excitation | 29.9 C4: Monochromator
Excitation wavelength [nm] | 29.9 C4: 483
Excitation bandwidth [nm] | 29.9 C4: 20
Emission wavelength start [nm] | 29.9 C4: 520
Emission wavelength end [nm] | 29.9 C4: 640
Emission wavelength step size [nm] | 29.9 C4: 2
Emission scan number | 29.9 C4: 61
Emission bandwidth [nm] | 29.9 C4: 20
Gain Manual | 29.9 C4: 100
Mirror | 29.9 C4: Automatic (Dichroic 510)
Number of flashes | 29.9 C4: 30
Integration time [µs] | 29.9 C4: 40
Lag time [µs] | 29.9 C4: 0
Settle time [ms] | 29.9 C4: 0
Z-Position [μm] | 29.9 C4: 20000
Z-Position mode | 29.9 C4: Manual
Part of Plate | 29.9 C4: C1-C12;D1-D11
Start Time | 29.9 C4: 2025-07-30 10:50:52
Temperature [°C] | 29.9 C4: 30
Wavel. | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11
520 | 2669 | 3153 | 2802 | 10178 | 9636 | 17898 | 17466 | 3446 | 3594 | 3462 | 3487 | 4524 | 3902 | 3892 | 4198 | 4925 | 4880 | 5184 | 4935 | 6123 | 6633 | 5999 | 6489
522 | 448 | 823 | 310 | 7922 | 7400 | 16877 | 15474 | 1136 | 1120 | 1040 | 1107 | 2028 | 1991 | 2322 | 2211 | 2329 | 2344 | 2582 | 2384 | 4068 | 4473 | 3734 | 4112
524 | 360 | 787 | 210 | 7970 | 7396 | 16936 | 15664 | 1132 | 1080 | 1001 | 1040 | 2059 | 1980 | 2349 | 2210 | 2257 | 2275 | 2548 | 2319 | 4239 | 4668 | 3877 | 4373
526 | 356 | 812 | 211 | 8023 | 7505 | 17156 | 15942 | 1195 | 1117 | 1045 | 1079 | 2146 | 2085 | 2477 | 2332 | 2309 | 2333 | 2602 | 2357 | 4512 | 5004 | 4221 | 4735
528 | 355 | 839 | 206 | 8152 | 7559 | 17324 | 15982 | 1220 | 1168 | 1069 | 1114 | 2222 | 2147 | 2553 | 2426 | 2317 | 2356 | 2636 | 2399 | 4786 | 5363 | 4458 | 5076
530 | 357 | 866 | 207 | 8168 | 7603 | 17281 | 15976 | 1274 | 1205 | 1117 | 1155 | 2331 | 2247 | 2679 | 2506 | 2366 | 2391 | 2685 | 2448 | 5123 | 5768 | 4861 | 5583
532 | 358 | 890 | 207 | 8149 | 7586 | 17382 | 15944 | 1332 | 1246 | 1155 | 1192 | 2415 | 2333 | 2775 | 2612 | 2412 | 2405 | 2715 | 2476 | 5456 | 6123 | 5235 | 6072
534 | 356 | 916 | 208 | 8113 | 7568 | 17347 | 15942 | 1358 | 1268 | 1187 | 1228 | 2491 | 2386 | 2887 | 2666 | 2460 | 2450 | 2741 | 2523 | 5761 | 6522 | 5554 | 6465
536 | 355 | 957 | 210 | 8076 | 7521 | 17112 | 15878 | 1401 | 1320 | 1226 | 1258 | 2577 | 2464 | 2942 | 2730 | 2461 | 2448 | 2768 | 2566 | 6103 | 6933 | 5911 | 6898
538 | 351 | 973 | 211 | 8010 | 7487 | 17140 | 15742 | 1446 | 1345 | 1252 | 1287 | 2644 | 2524 | 3009 | 2817 | 2457 | 2484 | 2806 | 2580 | 6341 | 7239 | 6105 | 7281
540 | 350 | 993 | 214 | 7954 | 7374 | 17048 | 15555 | 1465 | 1359 | 1283 | 1301 | 2703 | 2586 | 3104 | 2838 | 2471 | 2515 | 2827 | 2608 | 6607 | 7530 | 6420 | 7677
542 | 355 | 1026 | 215 | 7895 | 7371 | 16854 | 15497 | 1492 | 1400 | 1294 | 1322 | 2750 | 2620 | 3138 | 2890 | 2495 | 2499 | 2817 | 2624 | 6803 | 7756 | 6612 | 7921
544 | 361 | 1037 | 223 | 7799 | 7224 | 16525 | 15238 | 1507 | 1426 | 1327 | 1342 | 2792 | 2658 | 3181 | 2937 | 2503 | 2494 | 2809 | 2621 | 7006 | 7971 | 6774 | 8179
546 | 355 | 1053 | 222 | 7706 | 7128 | 16527 | 15130 | 1529 | 1431 | 1341 | 1364 | 2797 | 2678 | 3175 | 2963 | 2484 | 2489 | 2788 | 2605 | 7064 | 8041 | 6940 | 8370
548 | 361 | 1071 | 230 | 7535 | 7050 | 16279 | 14848 | 1516 | 1423 | 1335 | 1378 | 2800 | 2673 | 3173 | 2940 | 2446 | 2456 | 2760 | 2565 | 7047 | 8081 | 6960 | 8310
550 | 358 | 1090 | 227 | 7355 | 6882 | 15879 | 14456 | 1520 | 1425 | 1344 | 1354 | 2771 | 2641 | 3149 | 2892 | 2380 | 2394 | 2707 | 2547 | 7010 | 8028 | 6940 | 8355
552 | 365 | 1094 | 237 | 7170 | 6702 | 15727 | 14270 | 1502 | 1423 | 1335 | 1350 | 2730 | 2621 | 3128 | 2887 | 2353 | 2361 | 2667 | 2491 | 6959 | 8006 | 6917 | 8313
554 | 365 | 1120 | 232 | 7000 | 6553 | 15223 | 13973 | 1497 | 1397 | 1326 | 1343 | 2721 | 2583 | 3078 | 2849 | 2286 | 2299 | 2626 | 2433 | 6799 | 7812 | 6754 | 8094
556 | 362 | 1135 | 245 | 6834 | 6410 | 15112 | 13725 | 1485 | 1415 | 1335 | 1346 | 2677 | 2548 | 3011 | 2813 | 2234 | 2264 | 2568 | 2404 | 6724 | 7704 | 6717 | 8066
558 | 367 | 1143 | 247 | 6631 | 6171 | 14692 | 13412 | 1456 | 1395 | 1325 | 1337 | 2617 | 2513 | 2962 | 2763 | 2189 | 2188 | 2499 | 2333 | 6594 | 7587 | 6599 | 7850
560 | 368 | 1144 | 247 | 6483 | 6060 | 14346 | 13127 | 1456 | 1395 | 1328 | 1339 | 2582 | 2480 | 2907 | 2717 | 2129 | 2142 | 2435 | 2263 | 6430 | 7471 | 6455 | 7737
562 | 374 | 1150 | 248 | 6359 | 5880 | 14036 | 12832 | 1461 | 1390 | 1318 | 1327 | 2518 | 2470 | 2868 | 2682 | 2077 | 2101 | 2383 | 2220 | 6421 | 7333 | 6338 | 7618
564 | 375 | 1171 | 251 | 6132 | 5669 | 13727 | 12588 | 1447 | 1373 | 1309 | 1324 | 2472 | 2411 | 2791 | 2604 | 2036 | 2019 | 2313 | 2156 | 6280 | 7193 | 6282 | 7526
566 | 368 | 1164 | 251 | 5897 | 5547 | 13330 | 12198 | 1437 | 1359 | 1293 | 1318 | 2424 | 2347 | 2735 | 2572 | 1963 | 1966 | 2243 | 2077 | 6212 | 7086 | 6167 | 7367
568 | 374 | 1162 | 247 | 5718 | 5394 | 12962 | 11900 | 1424 | 1339 | 1288 | 1304 | 2373 | 2296 | 2661 | 2521 | 1917 | 1918 | 2180 | 2034 | 6115 | 6981 | 6111 | 7209
570 | 371 | 1156 | 249 | 5521 | 5177 | 12567 | 11642 | 1402 | 1325 | 1262 | 1292 | 2307 | 2260 | 2598 | 2467 | 1860 | 1847 | 2142 | 1972 | 6052 | 6895 | 6129 | 7145
572 | 363 | 1156 | 240 | 5337 | 4964 | 12100 | 11176 | 1377 | 1331 | 1264 | 1276 | 2285 | 2221 | 2563 | 2396 | 1799 | 1807 | 2053 | 1913 | 6018 | 6839 | 6018 | 7136
574 | 357 | 1160 | 231 | 5118 | 4809 | 11815 | 10857 | 1357 | 1305 | 1241 | 1265 | 2234 | 2173 | 2498 | 2363 | 1765 | 1760 | 2003 | 1882 | 5971 | 6786 | 6005 | 7065
576 | 351 | 1140 | 226 | 5005 | 4657 | 11458 | 10639 | 1353 | 1285 | 1243 | 1241 | 2184 | 2154 | 2441 | 2299 | 1721 | 1717 | 1948 | 1802 | 5942 | 6849 | 5999 | 7052
578 | 344 | 1131 | 224 | 4807 | 4471 | 11113 | 10219 | 1340 | 1267 | 1230 | 1241 | 2150 | 2081 | 2383 | 2241 | 1671 | 1661 | 1917 | 1763 | 5864 | 6750 | 6029 | 6990
580 | 341 | 1141 | 210 | 4635 | 4293 | 10849 | 10001 | 1300 | 1252 | 1211 | 1215 | 2112 | 2038 | 2327 | 2187 | 1628 | 1601 | 1861 | 1687 | 5896 | 6718 | 5968 | 6987
582 | 327 | 1120 | 205 | 4453 | 4158 | 10499 | 9701 | 1293 | 1233 | 1189 | 1207 | 2055 | 2014 | 2293 | 2164 | 1569 | 1574 | 1814 | 1674 | 5851 | 6663 | 5955 | 6994
584 | 308 | 1084 | 194 | 4298 | 3985 | 10114 | 9382 | 1259 | 1212 | 1155 | 1184 | 1996 | 1967 | 2227 | 2107 | 1527 | 1527 | 1753 | 1602 | 5812 | 6601 | 5909 | 6891
586 | 303 | 1081 | 184 | 4129 | 3829 | 9905 | 9087 | 1235 | 1196 | 1142 | 1163 | 1977 | 1936 | 2194 | 2073 | 1474 | 1478 | 1706 | 1561 | 5775 | 6539 | 5850 | 6851
588 | 290 | 1067 | 173 | 3916 | 3675 | 9493 | 8698 | 1211 | 1163 | 1120 | 1128 | 1930 | 1869 | 2147 | 2015 | 1429 | 1426 | 1640 | 1516 | 5695 | 6465 | 5782 | 6784
590 | 279 | 1049 | 168 | 3758 | 3543 | 9309 | 8519 | 1178 | 1131 | 1095 | 1111 | 1873 | 1849 | 2082 | 1952 | 1390 | 1370 | 1581 | 1484 | 5665 | 6393 | 5674 | 6621
592 | 264 | 1023 | 154 | 3627 | 3354 | 8918 | 8212 | 1154 | 1090 | 1074 | 1091 | 1824 | 1778 | 2012 | 1905 | 1354 | 1340 | 1546 | 1404 | 5476 | 6231 | 5592 | 6524
594 | 250 | 1015 | 142 | 3480 | 3263 | 8653 | 7978 | 1136 | 1082 | 1050 | 1056 | 1773 | 1752 | 1973 | 1864 | 1303 | 1302 | 1484 | 1380 | 5379 | 6149 | 5448 | 6442
596 | 228 | 988 | 132 | 3341 | 3104 | 8375 | 7719 | 1099 | 1053 | 1015 | 1040 | 1733 | 1694 | 1925 | 1802 | 1255 | 1252 | 1429 | 1317 | 5268 | 6002 | 5352 | 6239
598 | 219 | 962 | 125 | 3170 | 2999 | 8081 | 7454 | 1081 | 1022 | 1007 | 1011 | 1680 | 1658 | 1873 | 1763 | 1214 | 1220 | 1390 | 1276 | 5185 | 5842 | 5272 | 6148
600 | 216 | 946 | 120 | 3027 | 2836 | 7835 | 7215 | 1040 | 1009 | 976 | 973 | 1643 | 1629 | 1803 | 1707 | 1192 | 1170 | 1339 | 1229 | 5000 | 5676 | 5111 | 5922
602 | 203 | 923 | 112 | 2887 | 2709 | 7524 | 7016 | 1019 | 969 | 938 | 948 | 1596 | 1564 | 1765 | 1663 | 1138 | 1119 | 1286 | 1184 | 4849 | 5493 | 4983 | 5815
604 | 192 | 916 | 108 | 2793 | 2617 | 7360 | 6789 | 999 | 947 | 928 | 924 | 1552 | 1526 | 1702 | 1618 | 1101 | 1089 | 1231 | 1144 | 4787 | 5401 | 4835 | 5585
606 | 183 | 895 | 102 | 2652 | 2497 | 7099 | 6550 | 960 | 914 | 906 | 907 | 1507 | 1482 | 1670 | 1575 | 1056 | 1053 | 1202 | 1118 | 4629 | 5227 | 4745 | 5463
608 | 176 | 875 | 96 | 2569 | 2387 | 6818 | 6257 | 940 | 887 | 888 | 888 | 1470 | 1444 | 1624 | 1522 | 1022 | 1005 | 1149 | 1062 | 4515 | 5122 | 4586 | 5326
610 | 168 | 853 | 91 | 2440 | 2276 | 6633 | 6194 | 922 | 867 | 866 | 861 | 1427 | 1413 | 1583 | 1497 | 982 | 963 | 1111 | 1022 | 4416 | 4999 | 4502 | 5173
612 | 162 | 841 | 92 | 2330 | 2194 | 6409 | 5969 | 897 | 853 | 852 | 834 | 1405 | 1372 | 1553 | 1447 | 939 | 941 | 1064 | 990 | 4289 | 4875 | 4381 | 5039
614 | 156 | 820 | 82 | 2206 | 2103 | 6242 | 5798 | 876 | 813 | 822 | 821 | 1343 | 1324 | 1488 | 1403 | 902 | 900 | 1028 | 946 | 4183 | 4714 | 4241 | 4887
616 | 150 | 787 | 82 | 2125 | 1987 | 5952 | 5597 | 848 | 808 | 810 | 787 | 1318 | 1297 | 1458 | 1352 | 865 | 867 | 1011 | 911 | 4044 | 4614 | 4140 | 4706
618 | 144 | 775 | 82 | 2009 | 1894 | 5779 | 5366 | 815 | 781 | 781 | 786 | 1279 | 1248 | 1398 | 1311 | 829 | 835 | 958 | 872 | 3974 | 4461 | 4025 | 4631
620 | 144 | 761 | 79 | 1911 | 1819 | 5585 | 5205 | 794 | 755 | 757 | 756 | 1237 | 1218 | 1363 | 1280 | 807 | 807 | 917 | 849 | 3843 | 4335 | 3966 | 4466
622 | 133 | 739 | 74 | 1837 | 1719 | 5434 | 5060 | 775 | 746 | 737 | 728 | 1198 | 1193 | 1334 | 1256 | 778 | 778 | 882 | 820 | 3740 | 4239 | 3844 | 4383
624 | 135 | 727 | 70 | 1740 | 1654 | 5224 | 4842 | 758 | 721 | 726 | 719 | 1169 | 1141 | 1300 | 1217 | 741 | 736 | 850 | 775 | 3656 | 4137 | 3733 | 4244
626 | 128 | 708 | 72 | 1682 | 1563 | 5049 | 4689 | 738 | 694 | 697 | 702 | 1144 | 1117 | 1266 | 1175 | 713 | 707 | 832 | 756 | 3543 | 4025 | 3676 | 4182
628 | 122 | 687 | 65 | 1596 | 1493 | 4897 | 4484 | 717 | 676 | 678 | 675 | 1111 | 1080 | 1208 | 1125 | 684 | 699 | 791 | 726 | 3453 | 3938 | 3576 | 4030
630 | 116 | 658 | 64 | 1525 | 1410 | 4686 | 4362 | 692 | 646 | 664 | 666 | 1084 | 1049 | 1189 | 1107 | 669 | 657 | 755 | 695 | 3402 | 3817 | 3440 | 3948
632 | 113 | 657 | 63 | 1448 | 1352 | 4492 | 4204 | 678 | 635 | 641 | 648 | 1035 | 1010 | 1143 | 1085 | 639 | 637 | 731 | 662 | 3302 | 3691 | 3339 | 3808
634 | 112 | 638 | 60 | 1389 | 1301 | 4347 | 4070 | 665 | 619 | 631 | 622 | 1011 | 989 | 1118 | 1039 | 608 | 611 | 701 | 644 | 3225 | 3636 | 3318 | 3771
636 | 107 | 620 | 60 | 1315 | 1256 | 4228 | 3925 | 634 | 598 | 605 | 618 | 994 | 969 | 1085 | 1006 | 590 | 593 | 685 | 623 | 3156 | 3555 | 3178 | 3636
638 | 104 | 611 | 57 | 1253 | 1185 | 4064 | 3766 | 635 | 580 | 605 | 591 | 948 | 935 | 1068 | 989 | 568 | 571 | 651 | 590 | 3049 | 3446 | 3114 | 3536
640 | 99 | 578 | 56 | 1226 | 1121 | 3914 | 3634 | 605 | 563 | 581 | 584 | 931 | 910 | 1019 | 952 | 540 | 542 | 618 | 566 | 2924 | 3342 | 3020 | 3456
End Time | 30 C4: 2025-07-30 11:07:22
Start Time | 30 C4: 2025-07-30 11:07:25
Shaking (Linear) Duration [s] | 30 C4: 10
Shaking (Linear) Position | 30 C4: Current
Shaking (Linear) Amplitude [mm] | bar: 30 C4
Shaking (Linear) Frequency [rpm] | 30 C4: 1440
End Time | 30 C4: 2025-07-30 11:07:35
Mode | C1: Absorbance
Name | C1: blue 1
Measurement wavelength [nm] | 30 C4: 640
Number of flashes | 30 C4: 10
Settle time [ms] | 30 C4: 50
Part of Plate | 30 C4: C1-C12;D1-D11
Start Time | 30 C4: 2025-07-30 11:07:35
Temperature [°C] | 30 C4: 30
<> | C1: 1; C2: 2; C3: 3; 30 C4: 4; 30 C5: 5; 30 C6: 6; 30 C7: 7; 30 C8: 8; 30 C9: 9; 30 C10: 10; 30 C11: 11; 30 C12: 12
A
B
C | C1: 0.0415; C2: 0.0564; C3: 0.0413; 30 C4: 0.0423; 30 C5: 0.0427; 30 C6: 0.0665; 30 C7: 0.0558; 30 C8: 0.0529; 30 C9: 0.0536; 30 C10: 0.0539; 30 C11: 0.0535; 30 C12: 0.1437
D | C1: 0.1433; C2: 0.1754; C3: 0.1856; 30 C4: 0.0421; 30 C5: 0.0423; 30 C6: 0.0428; 30 C7: 0.0446; 30 C8: 0.0451; 30 C9: 0.0462; 30 C10: 0.0466; 30 C11: 0.0465
E
F
G
H
End Time | 30 C4: 2025-07-30 11:07:43
Mode | C1: Absorbance
Name | C1: blue 2
Measurement wavelength [nm] | 30 C4: 640
Number of flashes | 30 C4: 10
Settle time [ms] | 30 C4: 50
Part of Plate | 30 C4: C1-C12;D1-D11
Start Time | 30 C4: 2025-07-30 11:07:46
Temperature [°C] | 30 C4: 29.9
<> | C1: 1; C2: 2; C3: 3; 30 C4: 4; 30 C5: 5; 30 C6: 6; 30 C7: 7; 30 C8: 8; 30 C9: 9; 30 C10: 10; 30 C11: 11; 30 C12: 12
A
B
C | C1: 0.0411; C2: 0.0562; C3: 0.0409; 30 C4: 0.0419; 30 C5: 0.0419; 30 C6: 0.0661; 30 C7: 0.0557; 30 C8: 0.0528; 30 C9: 0.0526; 30 C10: 0.0538; 30 C11: 0.0535; 30 C12: 0.1659
D | C1: 0.1621; C2: 0.1999; C3: 0.1994; 30 C4: 0.0419; 30 C5: 0.0423; 30 C6: 0.0427; 30 C7: 0.0436; 30 C8: 0.045; 30 C9: 0.0454; 30 C10: 0.0458; 30 C11: 0.0459
E
F
G
H
End Time | 30 C4: 2025-07-30 11:07:54
Mode | C1: Absorbance
Name | C1: red 1
Measurement wavelength [nm] | 30 C4: 530
Number of flashes | 30 C4: 10
Settle time [ms] | 30 C4: 50
Part of Plate | 30 C4: C1-C12;D1-D11
Start Time | 30 C4: 2025-07-30 11:07:57
Temperature [°C] | 30 C4: 29.9
<> | C1: 1; C2: 2; C3: 3; 30 C4: 4; 30 C5: 5; 30 C6: 6; 30 C7: 7; 30 C8: 8; 30 C9: 9; 30 C10: 10; 30 C11: 11; 30 C12: 12
A
B
C | C1: 0.044; C2: 0.0684; C3: 0.0437; 30 C4: 0.048; 30 C5: 0.0477; 30 C6: 0.1011; 30 C7: 0.088; 30 C8: 0.065; 30 C9: 0.0649; 30 C10: 0.0648; 30 C11: 0.0647; 30 C12: 0.1073
D | C1: 0.1071; C2: 0.1223; C3: 0.1218; 30 C4: 0.0574; 30 C5: 0.057; 30 C6: 0.0579; 30 C7: 0.0604; 30 C8: 0.1704; 30 C9: 0.1851; 30 C10: 0.1896; 30 C11: 0.2101
E
F
G
H
End Time | 30 C4: 2025-07-30 11:08:04
Mode | C1: Absorbance
Name | C1: red 2
Measurement wavelength [nm] | 30 C4: 530
Number of flashes | 30 C4: 10
Settle time [ms] | 30 C4: 50
Part of Plate | 30 C4: C1-C12;D1-D11
Start Time | 30 C4: 2025-07-30 11:08:07
Temperature [°C] | 30 C4: 29.9
<> | C1: 1; C2: 2; C3: 3; 30 C4: 4; 30 C5: 5; 30 C6: 6; 30 C7: 7; 30 C8: 8; 30 C9: 9; 30 C10: 10; 30 C11: 11; 30 C12: 12
A
B
C | C1: 0.0443; C2: 0.0691; C3: 0.0438; 30 C4: 0.0478; 30 C5: 0.0478; 30 C6: 0.1004; 30 C7: 0.09; 30 C8: 0.0641; 30 C9: 0.0645; 30 C10: 0.0647; 30 C11: 0.0645; 30 C12: 0.1082
D | C1: 0.1077; C2: 0.1243; C3: 0.1237; 30 C4: 0.0576; 30 C5: 0.0571; 30 C6: 0.058; 30 C7: 0.0601; 30 C8: 0.1704; 30 C9: 0.1852; 30 C10: 0.1896; 30 C11: 0.2126
E
F
G
H
End Time | 30 C4: 2025-07-30 11:08:14
Ex | Blank | BlankB | BlankR | DOE 19.3 | DOE 19.3 | DOE 20.3 | DOE 20.3 | DOE 19.3 | DOE 19.3 | DOE 19.3 | DOE 19.3 | DOE 20.3 | DOE 20.3 | DOE 20.3 | DOE 20.3 | DOE 19.3 | DOE 19.3 | DOE 19.3 | DOE 19.3 | DOE 20.3 | DOE 20.3 | DOE 20.3 | DOE 20.3
Ex | Blank | BlankB | BlankR | f | f | f | f | b | b | b | b | b | b | b | b | r | r | r | r | r | r | r | r
Ex | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1