## Result sheet
Method name: LS_241112_Fluorescence_Actino_Sample (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1708008206
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦PODI:V1.10.2
Date: |  |  |  | 2025-08-01
Time: |  |  |  | 11:07
System |  |  |  | IBVT171
User |  |  |  | IBVT171\Tecan
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Wait
Shaking
Wait
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Fluorescence 1
Shaking
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Fluorescence 2
Shaking
| Absorbance |  |  |  |  | blue 1
| Absorbance |  |  |  |  | blue 2
| Absorbance |  |  |  |  | red 1
| Absorbance |  |  |  |  | red 2
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | A1-A12;B1-B11
Start Time |  |  |  | 2025-08-01 10:27:36
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 30
Wait minimum [°C] |  |  |  | 29
Wait maximum [°C] |  |  |  | 31
End Time |  |  |  | 2025-08-01 10:27:36
Start Time |  |  |  | 2025-08-01 10:27:36
Shaking (Linear) Duration [s] |  |  |  | 7
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-08-01 10:27:43
Start Time |  |  |  | 2025-08-01 10:27:43
Wait (Time) hh:mm:ss |  |  |  | 00:05:01
Wait position |  |  |  | Current
End Time |  |  |  | 2025-08-01 10:32:44
Start Time |  |  |  | 2025-08-01 10:32:44
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-08-01 10:32:54
Start Time |  |  |  | 2025-08-01 10:32:54
Wait (Time) hh:mm:ss |  |  |  | 00:00:10
Wait position |  |  |  | Current
End Time |  |  |  | 2025-08-01 10:33:04
Mode | Fluorescence Intensity Scan Top Reading
Name | Fluorescence 1
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-A12;B1-B11
Start Time |  |  |  | 2025-08-01 10:33:04
Temperature [°C] |  |  |  | 30.1
Wavel. | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11
520 | 2857 | 3038 | 2789 | 17571 | 11535 | 26643 | 25024 | 3917 | 4180 | 3699 | 3508 | 4903 | 4884 | 4594 | 4556 | 5324 | 5058 | 4625 | 4826 | 7216 | 7273 | 6802 | 6699
522 | 452 | 893 | 357 | 16189 | 9606 | 25130 | 23177 | 1859 | 1765 | 1514 | 1340 | 3487 | 3288 | 3405 | 3152 | 2849 | 2817 | 2105 | 2412 | 5239 | 5680 | 4846 | 5094
524 | 363 | 837 | 254 | 16542 | 9723 | 25254 | 23471 | 1893 | 1787 | 1505 | 1340 | 3625 | 3361 | 3529 | 3244 | 2984 | 2914 | 2160 | 2461 | 5582 | 6103 | 5202 | 5447
526 | 355 | 870 | 248 | 16786 | 9916 | 25518 | 23555 | 2029 | 1881 | 1591 | 1415 | 3779 | 3480 | 3722 | 3390 | 3334 | 3133 | 2299 | 2654 | 6080 | 6630 | 5630 | 5933
528 | 365 | 902 | 243 | 17123 | 10075 | 25438 | 23670 | 2139 | 1992 | 1665 | 1476 | 3918 | 3589 | 3888 | 3536 | 3616 | 3338 | 2451 | 2824 | 6493 | 7146 | 6116 | 6415
530 | 355 | 933 | 243 | 17259 | 10103 | 25297 | 23857 | 2283 | 2129 | 1762 | 1529 | 4101 | 3725 | 4068 | 3706 | 3981 | 3616 | 2644 | 3016 | 7039 | 7832 | 6651 | 7049
532 | 353 | 973 | 244 | 17454 | 10245 | 25356 | 23547 | 2386 | 2235 | 1821 | 1588 | 4240 | 3802 | 4256 | 3810 | 4368 | 3883 | 2796 | 3227 | 7663 | 8405 | 7220 | 7646
534 | 356 | 992 | 245 | 17518 | 10257 | 25038 | 23423 | 2490 | 2342 | 1881 | 1652 | 4337 | 3897 | 4430 | 3931 | 4697 | 4093 | 2929 | 3390 | 8200 | 9102 | 7650 | 8307
536 | 352 | 1019 | 239 | 17586 | 10271 | 24727 | 23137 | 2593 | 2419 | 1960 | 1704 | 4444 | 3984 | 4526 | 4002 | 5040 | 4317 | 3073 | 3570 | 8731 | 9692 | 8319 | 8934
538 | 354 | 1036 | 240 | 17539 | 10183 | 24322 | 22982 | 2668 | 2484 | 1983 | 1744 | 4514 | 4022 | 4650 | 4080 | 5303 | 4481 | 3243 | 3710 | 9197 | 10363 | 8795 | 9441
540 | 362 | 1062 | 237 | 17540 | 10153 | 24081 | 22715 | 2761 | 2564 | 2051 | 1777 | 4565 | 4055 | 4771 | 4167 | 5588 | 4700 | 3355 | 3843 | 9739 | 10943 | 9246 | 10046
542 | 355 | 1088 | 241 | 17499 | 10128 | 23794 | 22487 | 2840 | 2615 | 2094 | 1802 | 4599 | 4092 | 4853 | 4195 | 5769 | 4844 | 3408 | 3956 | 10210 | 11423 | 9751 | 10537
544 | 357 | 1116 | 240 | 17377 | 10160 | 23444 | 22206 | 2863 | 2663 | 2115 | 1845 | 4601 | 4096 | 4871 | 4221 | 6013 | 4960 | 3519 | 4066 | 10569 | 11980 | 10112 | 11106
546 | 357 | 1141 | 246 | 17281 | 10138 | 23000 | 21990 | 2893 | 2669 | 2132 | 1862 | 4589 | 4086 | 4883 | 4218 | 6134 | 5061 | 3556 | 4135 | 10915 | 12325 | 10455 | 11484
548 | 357 | 1147 | 246 | 17040 | 9941 | 22543 | 21382 | 2884 | 2662 | 2106 | 1880 | 4538 | 4048 | 4815 | 4187 | 6124 | 5089 | 3560 | 4124 | 11152 | 12648 | 10713 | 11748
550 | 358 | 1170 | 246 | 16819 | 9747 | 22098 | 21069 | 2883 | 2643 | 2115 | 1861 | 4395 | 3948 | 4728 | 4117 | 6106 | 5115 | 3574 | 4115 | 11318 | 12859 | 10849 | 11880
552 | 364 | 1182 | 249 | 16590 | 9653 | 21498 | 20798 | 2838 | 2604 | 2088 | 1853 | 4311 | 3917 | 4638 | 4087 | 6081 | 5106 | 3511 | 4059 | 11458 | 13009 | 10968 | 12039
554 | 367 | 1200 | 252 | 16253 | 9458 | 21144 | 20193 | 2791 | 2573 | 2075 | 1834 | 4177 | 3815 | 4534 | 3959 | 6018 | 5006 | 3510 | 4075 | 11517 | 12990 | 11024 | 12141
556 | 366 | 1201 | 254 | 16019 | 9283 | 20785 | 19833 | 2760 | 2509 | 2040 | 1856 | 4054 | 3763 | 4388 | 3870 | 5921 | 4923 | 3441 | 3955 | 11546 | 13012 | 11106 | 12125
558 | 368 | 1202 | 257 | 15644 | 9162 | 20113 | 19437 | 2698 | 2460 | 2016 | 1805 | 3887 | 3671 | 4256 | 3763 | 5793 | 4834 | 3385 | 3917 | 11547 | 13115 | 11092 | 12138
560 | 370 | 1219 | 260 | 15214 | 8952 | 19856 | 19120 | 2638 | 2412 | 2010 | 1804 | 3754 | 3560 | 4085 | 3653 | 5680 | 4798 | 3346 | 3850 | 11512 | 13103 | 11091 | 12202
562 | 374 | 1228 | 256 | 15051 | 8831 | 19508 | 18817 | 2589 | 2351 | 1952 | 1774 | 3604 | 3459 | 3979 | 3556 | 5616 | 4734 | 3292 | 3814 | 11591 | 13139 | 11140 | 12261
564 | 373 | 1224 | 259 | 14564 | 8654 | 18961 | 18392 | 2507 | 2296 | 1927 | 1768 | 3457 | 3357 | 3762 | 3455 | 5490 | 4678 | 3232 | 3714 | 11596 | 13134 | 11136 | 12205
566 | 374 | 1221 | 257 | 14212 | 8342 | 18343 | 17804 | 2464 | 2246 | 1904 | 1746 | 3293 | 3282 | 3630 | 3317 | 5414 | 4561 | 3183 | 3660 | 11524 | 13068 | 11101 | 12152
568 | 374 | 1226 | 250 | 13780 | 8231 | 18028 | 17535 | 2400 | 2198 | 1871 | 1721 | 3145 | 3151 | 3502 | 3208 | 5321 | 4555 | 3126 | 3627 | 11498 | 13064 | 11131 | 12199
570 | 367 | 1219 | 242 | 13509 | 7959 | 17534 | 17011 | 2351 | 2141 | 1841 | 1684 | 3017 | 3047 | 3323 | 3088 | 5299 | 4538 | 3117 | 3569 | 11549 | 12986 | 11128 | 12251
572 | 360 | 1201 | 242 | 13059 | 7745 | 16978 | 16609 | 2275 | 2104 | 1786 | 1666 | 2888 | 2937 | 3192 | 2975 | 5209 | 4515 | 3074 | 3508 | 11600 | 13009 | 11183 | 12226
574 | 360 | 1199 | 234 | 12571 | 7567 | 16379 | 16076 | 2208 | 2034 | 1756 | 1635 | 2744 | 2825 | 3065 | 2860 | 5202 | 4451 | 3052 | 3487 | 11594 | 13044 | 11232 | 12206
576 | 351 | 1181 | 225 | 12306 | 7367 | 16021 | 15791 | 2165 | 2013 | 1737 | 1617 | 2648 | 2766 | 2995 | 2783 | 5115 | 4434 | 3024 | 3469 | 11624 | 13102 | 11296 | 12172
578 | 345 | 1168 | 218 | 11912 | 7128 | 15492 | 15370 | 2128 | 1954 | 1689 | 1576 | 2520 | 2636 | 2851 | 2684 | 5160 | 4405 | 2987 | 3395 | 11602 | 13000 | 11333 | 12265
580 | 334 | 1140 | 206 | 11551 | 6951 | 15213 | 14854 | 2064 | 1913 | 1676 | 1552 | 2429 | 2550 | 2747 | 2573 | 5092 | 4404 | 2966 | 3422 | 11650 | 13114 | 11373 | 12293
582 | 324 | 1137 | 195 | 11126 | 6778 | 14775 | 14543 | 2027 | 1862 | 1631 | 1523 | 2357 | 2461 | 2639 | 2502 | 5079 | 4400 | 2939 | 3354 | 11695 | 13022 | 11393 | 12298
584 | 305 | 1120 | 188 | 10757 | 6562 | 14251 | 13980 | 1955 | 1815 | 1585 | 1484 | 2258 | 2388 | 2549 | 2411 | 5022 | 4298 | 2903 | 3320 | 11613 | 12966 | 11277 | 12241
586 | 300 | 1089 | 178 | 10458 | 6407 | 13813 | 13588 | 1900 | 1757 | 1546 | 1463 | 2168 | 2303 | 2457 | 2315 | 4969 | 4279 | 2878 | 3288 | 11590 | 12825 | 11231 | 12275
588 | 286 | 1057 | 169 | 9975 | 6190 | 13431 | 13184 | 1867 | 1710 | 1496 | 1423 | 2092 | 2216 | 2361 | 2252 | 4891 | 4238 | 2845 | 3228 | 11595 | 12777 | 11253 | 12115
590 | 274 | 1040 | 156 | 9685 | 6035 | 13095 | 12891 | 1804 | 1665 | 1466 | 1397 | 2018 | 2159 | 2292 | 2194 | 4822 | 4175 | 2805 | 3166 | 11331 | 12733 | 11156 | 12001
592 | 261 | 1003 | 146 | 9349 | 5824 | 12649 | 12438 | 1746 | 1613 | 1421 | 1359 | 1923 | 2091 | 2215 | 2114 | 4754 | 4103 | 2742 | 3100 | 11326 | 12483 | 11061 | 11953
594 | 248 | 980 | 140 | 9028 | 5654 | 12338 | 12159 | 1702 | 1566 | 1392 | 1307 | 1863 | 2019 | 2118 | 2061 | 4632 | 4009 | 2693 | 3051 | 11058 | 12380 | 10939 | 11743
596 | 233 | 942 | 129 | 8746 | 5451 | 11929 | 11743 | 1627 | 1499 | 1342 | 1273 | 1776 | 1947 | 2050 | 1964 | 4569 | 3974 | 2654 | 2991 | 10909 | 12190 | 10694 | 11484
598 | 229 | 924 | 123 | 8379 | 5281 | 11544 | 11415 | 1583 | 1468 | 1293 | 1253 | 1727 | 1891 | 1979 | 1914 | 4393 | 3857 | 2598 | 2928 | 10792 | 11876 | 10522 | 11384
600 | 209 | 893 | 112 | 8079 | 5076 | 11230 | 11134 | 1527 | 1399 | 1256 | 1199 | 1661 | 1801 | 1909 | 1834 | 4305 | 3766 | 2523 | 2833 | 10620 | 11749 | 10375 | 11135
602 | 200 | 878 | 107 | 7773 | 4946 | 10911 | 10775 | 1466 | 1345 | 1214 | 1164 | 1600 | 1739 | 1824 | 1770 | 4202 | 3663 | 2459 | 2792 | 10390 | 11490 | 10259 | 10958
604 | 193 | 845 | 101 | 7512 | 4759 | 10551 | 10480 | 1430 | 1316 | 1180 | 1124 | 1536 | 1679 | 1752 | 1695 | 4085 | 3599 | 2405 | 2724 | 10129 | 11233 | 9941 | 10773
606 | 181 | 823 | 100 | 7318 | 4625 | 10229 | 10264 | 1375 | 1273 | 1147 | 1096 | 1504 | 1628 | 1706 | 1652 | 3977 | 3511 | 2361 | 2640 | 9982 | 11030 | 9767 | 10510
608 | 173 | 799 | 94 | 6937 | 4467 | 9995 | 9920 | 1319 | 1213 | 1091 | 1069 | 1437 | 1563 | 1616 | 1592 | 3847 | 3436 | 2304 | 2583 | 9860 | 10795 | 9593 | 10324
610 | 165 | 776 | 87 | 6752 | 4346 | 9793 | 9749 | 1295 | 1175 | 1069 | 1026 | 1379 | 1515 | 1595 | 1530 | 3767 | 3350 | 2257 | 2553 | 9714 | 10607 | 9469 | 10103
612 | 161 | 754 | 85 | 6498 | 4178 | 9413 | 9396 | 1251 | 1148 | 1040 | 998 | 1342 | 1469 | 1529 | 1490 | 3656 | 3252 | 2187 | 2476 | 9415 | 10411 | 9304 | 9872
614 | 157 | 729 | 78 | 6193 | 4029 | 9135 | 9126 | 1196 | 1096 | 997 | 966 | 1281 | 1412 | 1477 | 1422 | 3542 | 3163 | 2119 | 2424 | 9240 | 10121 | 9107 | 9671
616 | 150 | 706 | 78 | 6008 | 3889 | 8974 | 8856 | 1151 | 1058 | 964 | 930 | 1252 | 1363 | 1407 | 1378 | 3461 | 3111 | 2100 | 2343 | 9063 | 9860 | 8835 | 9488
618 | 143 | 693 | 73 | 5772 | 3774 | 8650 | 8673 | 1116 | 1023 | 948 | 907 | 1187 | 1319 | 1342 | 1313 | 3332 | 3017 | 2037 | 2281 | 8823 | 9691 | 8703 | 9234
620 | 138 | 675 | 70 | 5475 | 3639 | 8366 | 8310 | 1079 | 987 | 892 | 878 | 1146 | 1264 | 1305 | 1282 | 3232 | 2913 | 1980 | 2212 | 8644 | 9424 | 8466 | 9068
622 | 135 | 647 | 69 | 5300 | 3458 | 8120 | 8109 | 1046 | 945 | 877 | 856 | 1112 | 1203 | 1256 | 1250 | 3150 | 2852 | 1916 | 2181 | 8431 | 9255 | 8358 | 8875
624 | 131 | 628 | 67 | 5076 | 3345 | 7877 | 7797 | 989 | 911 | 846 | 821 | 1070 | 1163 | 1229 | 1193 | 3073 | 2781 | 1871 | 2104 | 8326 | 9006 | 8130 | 8653
626 | 122 | 613 | 62 | 4867 | 3233 | 7595 | 7607 | 968 | 892 | 817 | 788 | 1033 | 1122 | 1182 | 1151 | 3013 | 2721 | 1835 | 2059 | 8168 | 8832 | 8019 | 8456
628 | 120 | 585 | 61 | 4690 | 3087 | 7371 | 7357 | 939 | 855 | 784 | 775 | 994 | 1083 | 1140 | 1108 | 2914 | 2644 | 1796 | 2006 | 7874 | 8680 | 7809 | 8327
630 | 120 | 567 | 60 | 4502 | 2995 | 7125 | 7092 | 905 | 829 | 756 | 729 | 969 | 1053 | 1101 | 1074 | 2841 | 2591 | 1746 | 1934 | 7720 | 8387 | 7594 | 8031
632 | 112 | 545 | 56 | 4276 | 2877 | 6902 | 6850 | 876 | 792 | 733 | 715 | 946 | 1013 | 1072 | 1043 | 2745 | 2526 | 1690 | 1887 | 7568 | 8127 | 7513 | 7880
634 | 113 | 533 | 55 | 4130 | 2788 | 6624 | 6672 | 838 | 778 | 706 | 686 | 927 | 986 | 1044 | 1022 | 2668 | 2434 | 1639 | 1849 | 7345 | 7980 | 7234 | 7671
636 | 108 | 515 | 54 | 3931 | 2677 | 6445 | 6441 | 804 | 743 | 687 | 672 | 903 | 962 | 1018 | 998 | 2608 | 2395 | 1617 | 1803 | 7158 | 7840 | 7094 | 7522
638 | 102 | 493 | 52 | 3806 | 2598 | 6198 | 6208 | 780 | 712 | 666 | 652 | 882 | 927 | 992 | 967 | 2532 | 2326 | 1552 | 1738 | 6956 | 7585 | 6860 | 7304
640 | 101 | 479 | 48 | 3657 | 2479 | 6068 | 6006 | 772 | 699 | 644 | 622 | 860 | 913 | 967 | 941 | 2394 | 2266 | 1491 | 1688 | 6745 | 7408 | 6685 | 7100
End Time | 30.1 A4: 2025-08-01 10:49:36
Start Time | 30.1 A4: 2025-08-01 10:49:41
Shaking (Linear) Duration [s] | 30.1 A4: 10
Shaking (Linear) Position | 30.1 A4: Current
Shaking (Linear) Amplitude [mm] | bar: 30.1 A4
Shaking (Linear) Frequency [rpm] | 30.1 A4: 1440
End Time | 30.1 A4: 2025-08-01 10:49:51
Mode | A1: Fluorescence Intensity Scan Top Reading
Name | A1: Fluorescence 2
Scan selection | 30.1 A4: Emission Scan
Excitation | 30.1 A4: Monochromator
Excitation wavelength [nm] | 30.1 A4: 483
Excitation bandwidth [nm] | 30.1 A4: 20
Emission wavelength start [nm] | 30.1 A4: 520
Emission wavelength end [nm] | 30.1 A4: 640
Emission wavelength step size [nm] | 30.1 A4: 2
Emission scan number | 30.1 A4: 61
Emission bandwidth [nm] | 30.1 A4: 20
Gain Manual | 30.1 A4: 100
Mirror | 30.1 A4: Automatic (Dichroic 510)
Number of flashes | 30.1 A4: 30
Integration time [µs] | 30.1 A4: 40
Lag time [µs] | 30.1 A4: 0
Settle time [ms] | 30.1 A4: 0
Z-Position [μm] | 30.1 A4: 20000
Z-Position mode | 30.1 A4: Manual
Part of Plate | 30.1 A4: A1-A12;B1-B11
Start Time | 30.1 A4: 2025-08-01 10:49:51
Temperature [°C] | 30.1 A4: 30
Wavel. | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11
520 | 2936 | 3264 | 3158 | 16315 | 10707 | 24892 | 22855 | 3348 | 3655 | 3480 | 3348 | 4787 | 5003 | 5037 | 4610 | 5231 | 5280 | 4764 | 4558 | 6804 | 6784 | 6444 | 6673
522 | 416 | 775 | 343 | 14933 | 8873 | 23630 | 21679 | 1687 | 1612 | 1408 | 1276 | 3544 | 3316 | 3524 | 3094 | 2520 | 2502 | 1826 | 2088 | 4762 | 5247 | 4467 | 4677
524 | 330 | 734 | 235 | 15266 | 9031 | 23836 | 22065 | 1704 | 1601 | 1390 | 1256 | 3630 | 3372 | 3655 | 3149 | 2640 | 2568 | 1839 | 2131 | 5064 | 5547 | 4726 | 5028
526 | 328 | 752 | 223 | 15569 | 9179 | 24078 | 22090 | 1792 | 1676 | 1453 | 1311 | 3784 | 3511 | 3827 | 3268 | 2915 | 2798 | 1989 | 2295 | 5511 | 6104 | 5193 | 5507
528 | 335 | 788 | 223 | 15806 | 9340 | 23972 | 22054 | 1883 | 1771 | 1515 | 1369 | 3932 | 3623 | 4012 | 3378 | 3218 | 3020 | 2117 | 2442 | 5982 | 6662 | 5639 | 6007
530 | 327 | 808 | 226 | 15938 | 9405 | 23893 | 22124 | 1989 | 1849 | 1573 | 1414 | 4069 | 3673 | 4175 | 3498 | 3561 | 3209 | 2255 | 2623 | 6479 | 7224 | 6165 | 6624
532 | 330 | 846 | 216 | 16022 | 9418 | 23702 | 21950 | 2084 | 1925 | 1637 | 1468 | 4184 | 3798 | 4366 | 3595 | 3857 | 3490 | 2398 | 2790 | 7044 | 7917 | 6741 | 7234
534 | 324 | 874 | 217 | 16232 | 9490 | 23386 | 21811 | 2156 | 2009 | 1700 | 1510 | 4333 | 3865 | 4501 | 3669 | 4142 | 3669 | 2522 | 2942 | 7516 | 8402 | 7237 | 7736
536 | 329 | 896 | 212 | 16142 | 9516 | 23199 | 21586 | 2255 | 2078 | 1743 | 1548 | 4400 | 3904 | 4648 | 3758 | 4468 | 3889 | 2687 | 3110 | 8050 | 9145 | 7765 | 8382
538 | 329 | 915 | 211 | 16152 | 9522 | 22740 | 21277 | 2284 | 2121 | 1773 | 1575 | 4468 | 3973 | 4753 | 3810 | 4698 | 4071 | 2753 | 3255 | 8509 | 9622 | 8160 | 8821
540 | 326 | 932 | 213 | 15995 | 9468 | 22515 | 21035 | 2347 | 2182 | 1817 | 1606 | 4511 | 4027 | 4847 | 3864 | 4962 | 4249 | 2880 | 3370 | 9006 | 10238 | 8593 | 9459
542 | 328 | 947 | 220 | 16085 | 9428 | 22247 | 20900 | 2418 | 2233 | 1845 | 1629 | 4538 | 4018 | 4929 | 3930 | 5154 | 4356 | 2965 | 3456 | 9349 | 10752 | 9121 | 9877
544 | 332 | 980 | 219 | 16000 | 9432 | 21906 | 20642 | 2455 | 2264 | 1867 | 1682 | 4586 | 4095 | 4953 | 3961 | 5319 | 4532 | 3019 | 3546 | 9706 | 11172 | 9404 | 10311
546 | 327 | 989 | 221 | 15913 | 9307 | 21543 | 20420 | 2458 | 2287 | 1896 | 1694 | 4537 | 4055 | 5006 | 3918 | 5460 | 4588 | 3076 | 3599 | 10025 | 11411 | 9766 | 10579
548 | 334 | 1002 | 223 | 15675 | 9200 | 21063 | 20027 | 2475 | 2274 | 1896 | 1698 | 4500 | 4031 | 4935 | 3929 | 5471 | 4592 | 3082 | 3631 | 10182 | 11682 | 9904 | 10822
550 | 333 | 1026 | 223 | 15458 | 9100 | 20615 | 19648 | 2451 | 2280 | 1896 | 1697 | 4410 | 4012 | 4849 | 3873 | 5422 | 4584 | 3078 | 3578 | 10243 | 11802 | 10018 | 10933
552 | 335 | 1036 | 224 | 15231 | 8952 | 20152 | 19296 | 2439 | 2241 | 1886 | 1699 | 4326 | 3960 | 4800 | 3819 | 5380 | 4574 | 3040 | 3558 | 10315 | 11825 | 10091 | 11059
554 | 339 | 1032 | 228 | 15015 | 8740 | 19793 | 18777 | 2412 | 2231 | 1886 | 1687 | 4228 | 3866 | 4692 | 3739 | 5317 | 4502 | 2999 | 3523 | 10401 | 11963 | 10122 | 11033
556 | 343 | 1046 | 223 | 14571 | 8664 | 19424 | 18399 | 2367 | 2193 | 1856 | 1686 | 4116 | 3823 | 4567 | 3658 | 5211 | 4453 | 2972 | 3479 | 10328 | 11886 | 10123 | 11145
558 | 337 | 1047 | 231 | 14387 | 8432 | 18886 | 18041 | 2322 | 2168 | 1843 | 1679 | 3980 | 3725 | 4410 | 3603 | 5139 | 4375 | 2917 | 3418 | 10381 | 11836 | 10013 | 11105
560 | 340 | 1064 | 227 | 14090 | 8322 | 18499 | 17670 | 2290 | 2129 | 1839 | 1673 | 3820 | 3660 | 4335 | 3480 | 5061 | 4303 | 2879 | 3351 | 10357 | 11873 | 10083 | 11041
562 | 341 | 1065 | 233 | 13899 | 8118 | 18117 | 17433 | 2246 | 2100 | 1819 | 1653 | 3744 | 3582 | 4196 | 3425 | 4941 | 4269 | 2841 | 3293 | 10389 | 11820 | 10120 | 11032
564 | 350 | 1064 | 230 | 13463 | 7963 | 17713 | 17117 | 2207 | 2075 | 1792 | 1671 | 3590 | 3468 | 4024 | 3322 | 4905 | 4176 | 2792 | 3266 | 10406 | 11764 | 10096 | 11148
566 | 345 | 1053 | 229 | 13163 | 7820 | 17303 | 16533 | 2164 | 2011 | 1769 | 1615 | 3474 | 3362 | 3881 | 3179 | 4777 | 4130 | 2747 | 3203 | 10391 | 11821 | 10126 | 10978
568 | 338 | 1052 | 225 | 12804 | 7640 | 16722 | 16276 | 2129 | 1996 | 1745 | 1615 | 3342 | 3293 | 3761 | 3120 | 4726 | 4072 | 2721 | 3163 | 10325 | 11773 | 10136 | 10984
570 | 344 | 1055 | 222 | 12375 | 7411 | 16324 | 15656 | 2059 | 1952 | 1715 | 1597 | 3210 | 3168 | 3617 | 3010 | 4668 | 4054 | 2688 | 3103 | 10291 | 11705 | 10012 | 11053
572 | 337 | 1034 | 215 | 12088 | 7225 | 15776 | 15370 | 2018 | 1906 | 1690 | 1570 | 3082 | 3074 | 3510 | 2893 | 4625 | 4004 | 2649 | 3090 | 10379 | 11776 | 10177 | 11096
574 | 333 | 1028 | 208 | 11699 | 7024 | 15391 | 14933 | 1969 | 1870 | 1648 | 1551 | 2977 | 3009 | 3402 | 2799 | 4611 | 4006 | 2642 | 3047 | 10494 | 11777 | 10224 | 11023
576 | 329 | 1015 | 201 | 11316 | 6845 | 15032 | 14548 | 1935 | 1826 | 1620 | 1523 | 2880 | 2908 | 3262 | 2726 | 4529 | 3981 | 2603 | 3042 | 10474 | 11753 | 10217 | 11134
578 | 321 | 1009 | 195 | 10962 | 6659 | 14569 | 14196 | 1885 | 1796 | 1590 | 1499 | 2764 | 2790 | 3132 | 2606 | 4595 | 3977 | 2588 | 3022 | 10459 | 11777 | 10265 | 11167
580 | 307 | 988 | 184 | 10597 | 6498 | 14053 | 13821 | 1845 | 1749 | 1563 | 1486 | 2665 | 2720 | 3036 | 2553 | 4508 | 3955 | 2569 | 2952 | 10476 | 11802 | 10281 | 11193
582 | 301 | 978 | 181 | 10278 | 6336 | 13736 | 13445 | 1800 | 1716 | 1540 | 1453 | 2572 | 2661 | 2947 | 2501 | 4512 | 3922 | 2539 | 2976 | 10446 | 11806 | 10295 | 11237
584 | 288 | 946 | 170 | 9911 | 6104 | 13300 | 12976 | 1756 | 1658 | 1499 | 1403 | 2458 | 2576 | 2848 | 2388 | 4472 | 3880 | 2522 | 2912 | 10444 | 11727 | 10341 | 11121
586 | 276 | 927 | 163 | 9625 | 5961 | 12973 | 12667 | 1716 | 1630 | 1470 | 1377 | 2388 | 2503 | 2778 | 2325 | 4430 | 3832 | 2490 | 2853 | 10443 | 11686 | 10306 | 11126
588 | 262 | 915 | 150 | 9292 | 5772 | 12514 | 12322 | 1653 | 1580 | 1437 | 1338 | 2300 | 2388 | 2656 | 2253 | 4344 | 3806 | 2470 | 2838 | 10292 | 11560 | 10210 | 11063
590 | 252 | 897 | 144 | 8960 | 5599 | 12262 | 11942 | 1610 | 1540 | 1385 | 1305 | 2237 | 2339 | 2579 | 2179 | 4228 | 3758 | 2430 | 2801 | 10336 | 11444 | 10123 | 10985
592 | 239 | 864 | 136 | 8593 | 5389 | 11840 | 11591 | 1563 | 1499 | 1351 | 1275 | 2162 | 2261 | 2505 | 2105 | 4197 | 3669 | 2376 | 2766 | 10038 | 11325 | 9942 | 10840
594 | 232 | 839 | 124 | 8328 | 5251 | 11459 | 11325 | 1504 | 1455 | 1309 | 1231 | 2107 | 2182 | 2405 | 2042 | 4072 | 3638 | 2345 | 2696 | 10037 | 11153 | 9883 | 10626
596 | 220 | 821 | 118 | 8069 | 5057 | 11124 | 10983 | 1466 | 1409 | 1271 | 1217 | 2024 | 2151 | 2340 | 1977 | 3996 | 3535 | 2295 | 2641 | 9865 | 10937 | 9712 | 10383
598 | 210 | 792 | 110 | 7728 | 4892 | 10804 | 10677 | 1426 | 1362 | 1246 | 1163 | 1958 | 2055 | 2257 | 1919 | 3918 | 3482 | 2275 | 2598 | 9733 | 10913 | 9509 | 10342
600 | 194 | 776 | 105 | 7448 | 4796 | 10435 | 10338 | 1377 | 1340 | 1199 | 1140 | 1877 | 1997 | 2185 | 1840 | 3814 | 3398 | 2203 | 2529 | 9489 | 10516 | 9401 | 10088
602 | 186 | 750 | 97 | 7190 | 4574 | 10143 | 10036 | 1326 | 1272 | 1156 | 1098 | 1826 | 1917 | 2107 | 1797 | 3699 | 3315 | 2129 | 2466 | 9305 | 10329 | 9166 | 9864
604 | 173 | 738 | 94 | 6902 | 4484 | 9820 | 9768 | 1291 | 1239 | 1139 | 1064 | 1754 | 1869 | 2038 | 1736 | 3580 | 3204 | 2077 | 2414 | 9121 | 10151 | 8984 | 9684
606 | 166 | 709 | 87 | 6669 | 4316 | 9624 | 9539 | 1247 | 1208 | 1095 | 1034 | 1695 | 1815 | 1967 | 1680 | 3520 | 3128 | 2040 | 2368 | 8954 | 9949 | 8854 | 9480
608 | 162 | 689 | 81 | 6445 | 4167 | 9381 | 9247 | 1204 | 1165 | 1063 | 1009 | 1653 | 1738 | 1910 | 1613 | 3374 | 3057 | 2020 | 2291 | 8747 | 9678 | 8701 | 9336
610 | 156 | 666 | 82 | 6147 | 4033 | 9101 | 8989 | 1182 | 1127 | 1037 | 995 | 1593 | 1691 | 1842 | 1559 | 3301 | 2993 | 1948 | 2237 | 8615 | 9534 | 8533 | 9056
612 | 148 | 649 | 75 | 5967 | 3902 | 8805 | 8665 | 1143 | 1087 | 999 | 945 | 1547 | 1634 | 1763 | 1518 | 3221 | 2918 | 1916 | 2192 | 8397 | 9261 | 8351 | 8907
614 | 146 | 641 | 73 | 5723 | 3747 | 8579 | 8479 | 1104 | 1058 | 971 | 921 | 1492 | 1582 | 1705 | 1451 | 3085 | 2839 | 1856 | 2132 | 8202 | 9127 | 8180 | 8762
616 | 139 | 614 | 70 | 5501 | 3636 | 8345 | 8266 | 1064 | 1015 | 931 | 898 | 1439 | 1526 | 1654 | 1396 | 3045 | 2770 | 1813 | 2081 | 8135 | 8945 | 8058 | 8463
618 | 133 | 598 | 67 | 5315 | 3489 | 8066 | 8003 | 1030 | 981 | 905 | 867 | 1395 | 1482 | 1591 | 1355 | 2936 | 2718 | 1777 | 2017 | 7857 | 8677 | 7759 | 8317
620 | 130 | 580 | 67 | 5096 | 3386 | 7906 | 7766 | 987 | 945 | 866 | 841 | 1338 | 1416 | 1546 | 1298 | 2873 | 2634 | 1725 | 1987 | 7760 | 8444 | 7663 | 8142
622 | 126 | 558 | 65 | 4894 | 3266 | 7607 | 7551 | 969 | 920 | 849 | 805 | 1313 | 1375 | 1476 | 1265 | 2762 | 2555 | 1675 | 1922 | 7525 | 8241 | 7498 | 7972
624 | 118 | 538 | 65 | 4689 | 3152 | 7379 | 7275 | 929 | 894 | 822 | 782 | 1256 | 1338 | 1436 | 1212 | 2702 | 2478 | 1628 | 1854 | 7434 | 8064 | 7344 | 7810
626 | 113 | 525 | 59 | 4518 | 3019 | 7124 | 7069 | 904 | 862 | 791 | 755 | 1227 | 1279 | 1410 | 1183 | 2639 | 2423 | 1593 | 1840 | 7241 | 7915 | 7175 | 7573
628 | 110 | 501 | 59 | 4335 | 2891 | 6858 | 6832 | 868 | 826 | 764 | 734 | 1197 | 1253 | 1369 | 1144 | 2555 | 2375 | 1546 | 1775 | 7062 | 7757 | 6982 | 7467
630 | 109 | 493 | 56 | 4154 | 2805 | 6624 | 6646 | 839 | 807 | 738 | 709 | 1166 | 1196 | 1326 | 1083 | 2504 | 2306 | 1503 | 1741 | 6891 | 7557 | 6845 | 7257
632 | 102 | 476 | 55 | 3963 | 2701 | 6420 | 6380 | 811 | 772 | 715 | 684 | 1127 | 1159 | 1312 | 1078 | 2450 | 2274 | 1479 | 1683 | 6660 | 7313 | 6682 | 7034
634 | 99 | 461 | 49 | 3814 | 2593 | 6225 | 6194 | 782 | 752 | 693 | 666 | 1101 | 1138 | 1276 | 1047 | 2358 | 2194 | 1426 | 1633 | 6569 | 7155 | 6534 | 6890
636 | 98 | 443 | 49 | 3659 | 2509 | 6013 | 5991 | 761 | 716 | 675 | 646 | 1095 | 1115 | 1244 | 1015 | 2294 | 2142 | 1382 | 1588 | 6456 | 7026 | 6329 | 6713
638 | 94 | 428 | 48 | 3522 | 2433 | 5813 | 5797 | 740 | 690 | 655 | 626 | 1066 | 1083 | 1219 | 996 | 2252 | 2066 | 1344 | 1555 | 6200 | 6842 | 6188 | 6614
640 | 94 | 416 | 48 | 3425 | 2317 | 5670 | 5540 | 713 | 673 | 627 | 600 | 1041 | 1066 | 1170 | 976 | 2148 | 2052 | 1307 | 1526 | 6084 | 6590 | 6049 | 6415
End Time | 30 A4: 2025-08-01 11:06:21
Start Time | 30 A4: 2025-08-01 11:06:24
Shaking (Linear) Duration [s] | 30 A4: 10
Shaking (Linear) Position | 30 A4: Current
Shaking (Linear) Amplitude [mm] | bar: 30 A4
Shaking (Linear) Frequency [rpm] | 30 A4: 1440
End Time | 30 A4: 2025-08-01 11:06:34
Mode | A1: Absorbance
Name | A1: blue 1
Measurement wavelength [nm] | 30 A4: 640
Number of flashes | 30 A4: 10
Settle time [ms] | 30 A4: 50
Part of Plate | 30 A4: A1-A12;B1-B11
Start Time | 30 A4: 2025-08-01 11:06:34
Temperature [°C] | 30 A4: 30
<> | A1: 1; A2: 2; A3: 3; 30 A4: 4; 30 A5: 5; 30 A6: 6; 30 A7: 7; 30 A8: 8; 30 A9: 9; 30 A10: 10; 30 A11: 11; 30 A12: 12
A | A1: 0.0421; A2: 0.0551; A3: 0.0404; 30 A4: 0.0507; 30 A5: 0.0496; 30 A6: 0.0595; 30 A7: 0.059; 30 A8: 0.1366; 30 A9: 0.135; 30 A10: 0.0866; 30 A11: 0.082; 30 A12: 0.9274
B | A1: 0.5576; A2: 0.8177; A3: 0.5874; 30 A4: 0.0494; 30 A5: 0.0444; 30 A6: 0.0445; 30 A7: 0.0437; 30 A8: 0.0488; 30 A9: 0.0491; 30 A10: 0.0483; 30 A11: 0.0484
C
D
E
F
G
H
End Time | 30 A4: 2025-08-01 11:06:42
Mode | A1: Absorbance
Name | A1: blue 2
Measurement wavelength [nm] | 30 A4: 640
Number of flashes | 30 A4: 10
Settle time [ms] | 30 A4: 50
Part of Plate | 30 A4: A1-A12;B1-B11
Start Time | 30 A4: 2025-08-01 11:06:44
Temperature [°C] | 30 A4: 30
<> | A1: 1; A2: 2; A3: 3; 30 A4: 4; 30 A5: 5; 30 A6: 6; 30 A7: 7; 30 A8: 8; 30 A9: 9; 30 A10: 10; 30 A11: 11; 30 A12: 12
A | A1: 0.0419; A2: 0.0553; A3: 0.0405; 30 A4: 0.0508; 30 A5: 0.0496; 30 A6: 0.0596; 30 A7: 0.0588; 30 A8: 0.1443; 30 A9: 0.1421; 30 A10: 0.0904; 30 A11: 0.0863; 30 A12: 1.1173
B | A1: 0.635; A2: 0.9304; A3: 0.666; 30 A4: 0.0489; 30 A5: 0.0443; 30 A6: 0.0444; 30 A7: 0.0436; 30 A8: 0.0487; 30 A9: 0.0489; 30 A10: 0.0483; 30 A11: 0.0484
C
D
E
F
G
H
End Time | 30 A4: 2025-08-01 11:06:52
Mode | A1: Absorbance
Name | A1: red 1
Measurement wavelength [nm] | 30 A4: 530
Number of flashes | 30 A4: 10
Settle time [ms] | 30 A4: 50
Part of Plate | 30 A4: A1-A12;B1-B11
Start Time | 30 A4: 2025-08-01 11:06:55
Temperature [°C] | 30 A4: 30
<> | A1: 1; A2: 2; A3: 3; 30 A4: 4; 30 A5: 5; 30 A6: 6; 30 A7: 7; 30 A8: 8; 30 A9: 9; 30 A10: 10; 30 A11: 11; 30 A12: 12
A | A1: 0.0445; A2: 0.065; A3: 0.0431; 30 A4: 0.068; 30 A5: 0.0619; 30 A6: 0.1334; 30 A7: 0.1291; 30 A8: 0.0933; 30 A9: 0.0944; 30 A10: 0.0729; 30 A11: 0.072; 30 A12: 0.4762
B | A1: 0.2827; A2: 0.417; A3: 0.2922; 30 A4: 0.1513; 30 A5: 0.1217; 30 A6: 0.1026; 30 A7: 0.1043; 30 A8: 0.2696; 30 A9: 0.298; 30 A10: 0.2667; 30 A11: 0.2893
C
D
E
F
G
H
End Time | 30 A4: 2025-08-01 11:07:02
Mode | A1: Absorbance
Name | A1: red 2
Measurement wavelength [nm] | 30 A4: 530
Number of flashes | 30 A4: 10
Settle time [ms] | 30 A4: 50
Part of Plate | 30 A4: A1-A12;B1-B11
Start Time | 30 A4: 2025-08-01 11:07:05
Temperature [°C] | 30 A4: 30
<> | A1: 1; A2: 2; A3: 3; 30 A4: 4; 30 A5: 5; 30 A6: 6; 30 A7: 7; 30 A8: 8; 30 A9: 9; 30 A10: 10; 30 A11: 11; 30 A12: 12
A | A1: 0.0445; A2: 0.0653; A3: 0.0431; 30 A4: 0.0678; 30 A5: 0.0616; 30 A6: 0.1335; 30 A7: 0.1293; 30 A8: 0.0939; 30 A9: 0.0927; 30 A10: 0.074; 30 A11: 0.0717; 30 A12: 0.4851
B | A1: 0.2858; A2: 0.4218; A3: 0.2962; 30 A4: 0.1497; 30 A5: 0.1214; 30 A6: 0.1027; 30 A7: 0.1044; 30 A8: 0.2693; 30 A9: 0.2975; 30 A10: 0.2666; 30 A11: 0.2889
C
D
E
F
G
H
End Time | 30 A4: 2025-08-01 11:07:12
Ex | Blank | BlankB | BlankR | DOE 19.5 | DOE 19.5 | DOE 20.5 | DOE 20.5 | DOE 19.5 | DOE 19.5 | DOE 19.5 | DOE 19.5 | DOE 20.5 | DOE 20.5 | DOE 20.5 | DOE 20.5 | DOE 19.5 | DOE 19.5 | DOE 19.5 | DOE 19.5 | DOE 20.5 | DOE 20.5 | DOE 20.5 | DOE 20.5
Ex | Blank | BlankB | BlankR | f | f | f | f | b | b | b | b | b | b | b | b | r | r | r | r | r | r | r | r
Ex | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1