## Result sheet
Method name: LS_241112_Fluorescence_Actino_Sample (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1708008206
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦PODI:V1.10.2
Date: |  |  |  | 2025-08-06
Time: |  |  |  | 11:32
System |  |  |  | IBVT171
User |  |  |  | IBVT171\Tecan
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Wait
Shaking
Wait
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Fluorescence 1
Shaking
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Fluorescence 2
Shaking
| Absorbance |  |  |  |  | blue 1
| Absorbance |  |  |  |  | blue 2
| Absorbance |  |  |  |  | red 1
| Absorbance |  |  |  |  | red 2
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | H1-H5
Start Time |  |  |  | 2025-08-06 11:18:45
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 30
Wait minimum [°C] |  |  |  | 29
Wait maximum [°C] |  |  |  | 31
End Time |  |  |  | 2025-08-06 11:18:45
Start Time |  |  |  | 2025-08-06 11:18:45
Shaking (Linear) Duration [s] |  |  |  | 7
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-08-06 11:18:52
Start Time |  |  |  | 2025-08-06 11:18:52
Wait (Time) hh:mm:ss |  |  |  | 00:05:01
Wait position |  |  |  | Current
End Time |  |  |  | 2025-08-06 11:23:53
Start Time |  |  |  | 2025-08-06 11:23:53
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-08-06 11:24:03
Start Time |  |  |  | 2025-08-06 11:24:03
Wait (Time) hh:mm:ss |  |  |  | 00:00:10
Wait position |  |  |  | Current
End Time |  |  |  | 2025-08-06 11:24:13
Mode | Fluorescence Intensity Scan Top Reading
Name | Fluorescence 1
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | H1-H5
Start Time |  |  |  | 2025-08-06 11:24:13
Temperature [°C] |  |  |  | 29.9
Wavel. | H1 | H2 | H3 | H4 | H5
520 | 2744 | 15281 | 15973 | 28306 | 38386
522 | 405 | 13510 | 13674 | 26362 | 37066
524 | 336 | 13793 | 13915 | 26643 | 37236
526 | 335 | 13985 | 14225 | 26910 | 37434
528 | 334 | 14194 | 14435 | 26997 | 37242
530 | 332 | 14362 | 14574 | 26814 | 37165
532 | 336 | 14449 | 14577 | 26845 | 36404
534 | 331 | 14453 | 14686 | 26603 | 35933
536 | 332 | 14545 | 14640 | 26408 | 35209
538 | 336 | 14524 | 14658 | 25941 | 34851
540 | 335 | 14556 | 14651 | 25729 | 33956
542 | 343 | 14531 | 14786 | 25326 | 33536
544 | 341 | 14545 | 14613 | 25114 | 32758
546 | 341 | 14436 | 14614 | 24693 | 32010
548 | 346 | 14401 | 14411 | 24303 | 31145
550 | 346 | 14267 | 14255 | 23583 | 30214
552 | 340 | 14164 | 14214 | 23275 | 29534
554 | 344 | 13911 | 14004 | 22593 | 28617
556 | 347 | 13801 | 13943 | 22291 | 27957
558 | 357 | 13659 | 13758 | 21835 | 27103
560 | 353 | 13587 | 13520 | 21378 | 26325
562 | 360 | 13439 | 13420 | 20967 | 25628
564 | 356 | 13313 | 13289 | 20481 | 24891
566 | 360 | 13044 | 12973 | 20006 | 24054
568 | 359 | 12912 | 12777 | 19433 | 23317
570 | 356 | 12593 | 12527 | 18930 | 22587
572 | 349 | 12511 | 12337 | 18554 | 21835
574 | 349 | 12358 | 12023 | 18004 | 20967
576 | 338 | 12140 | 11805 | 17589 | 20474
578 | 332 | 11886 | 11615 | 16992 | 19714
580 | 325 | 11722 | 11394 | 16509 | 19091
582 | 315 | 11591 | 11157 | 16202 | 18365
584 | 296 | 11257 | 10820 | 15536 | 17708
586 | 289 | 11097 | 10624 | 15155 | 17176
588 | 272 | 10859 | 10424 | 14670 | 16575
590 | 262 | 10606 | 10227 | 14162 | 16007
592 | 253 | 10444 | 9940 | 13810 | 15457
594 | 242 | 10238 | 9702 | 13312 | 14971
596 | 224 | 9944 | 9540 | 12886 | 14361
598 | 210 | 9795 | 9317 | 12477 | 13960
600 | 202 | 9561 | 9091 | 12128 | 13504
602 | 192 | 9343 | 8848 | 11783 | 12989
604 | 184 | 9136 | 8591 | 11406 | 12582
606 | 177 | 8931 | 8415 | 11029 | 12080
608 | 167 | 8781 | 8240 | 10804 | 11743
610 | 162 | 8632 | 8100 | 10441 | 11441
612 | 154 | 8473 | 7847 | 10085 | 11034
614 | 147 | 8215 | 7691 | 9902 | 10682
616 | 141 | 8027 | 7486 | 9534 | 10233
618 | 137 | 7875 | 7313 | 9104 | 9909
620 | 131 | 7688 | 7130 | 8910 | 9548
622 | 130 | 7433 | 6939 | 8655 | 9283
624 | 123 | 7267 | 6718 | 8358 | 9000
626 | 121 | 7074 | 6549 | 8071 | 8680
628 | 114 | 6938 | 6354 | 7769 | 8313
630 | 111 | 6707 | 6164 | 7518 | 8082
632 | 110 | 6474 | 5983 | 7248 | 7735
634 | 106 | 6358 | 5825 | 6982 | 7490
636 | 100 | 6141 | 5622 | 6692 | 7241
638 | 96 | 5975 | 5461 | 6458 | 7047
640 | 94 | 5865 | 5317 | 6290 | 6752
End Time |  |  |  | 2025-08-06 11:27:54
Start Time |  |  |  | 2025-08-06 11:27:57
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-08-06 11:28:07
Mode | Fluorescence Intensity Scan Top Reading
Name | Fluorescence 2
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | H1-H5
Start Time |  |  |  | 2025-08-06 11:28:07
Temperature [°C] |  |  |  | 29.9
Wavel. | H1 | H2 | H3 | H4 | H5
520 | 2674 | 14886 | 15604 | 28841 | 37322
522 | 400 | 13088 | 13293 | 27235 | 36062
524 | 324 | 13332 | 13480 | 27375 | 36404
526 | 323 | 13549 | 13744 | 27684 | 36572
528 | 325 | 13712 | 13992 | 27850 | 36501
530 | 322 | 13804 | 14088 | 27801 | 36217
532 | 320 | 13910 | 14192 | 27587 | 35868
534 | 324 | 13989 | 14169 | 27355 | 35176
536 | 322 | 13976 | 14198 | 27108 | 34558
538 | 321 | 14037 | 14160 | 26890 | 34007
540 | 319 | 13990 | 14234 | 26548 | 33495
542 | 320 | 13997 | 14152 | 26268 | 32739
544 | 323 | 13942 | 14165 | 25863 | 32085
546 | 331 | 13982 | 14125 | 25328 | 31300
548 | 332 | 13843 | 14013 | 24824 | 30559
550 | 329 | 13674 | 13801 | 24460 | 29616
552 | 330 | 13636 | 13661 | 24083 | 28946
554 | 335 | 13474 | 13597 | 23332 | 28037
556 | 334 | 13303 | 13456 | 22971 | 27373
558 | 341 | 13234 | 13233 | 22554 | 26440
560 | 342 | 13030 | 13105 | 21979 | 25845
562 | 350 | 13050 | 12979 | 21662 | 25218
564 | 340 | 12789 | 12824 | 21233 | 24374
566 | 344 | 12612 | 12591 | 20605 | 23639
568 | 348 | 12427 | 12396 | 20203 | 22996
570 | 337 | 12256 | 12127 | 19604 | 22041
572 | 335 | 12036 | 11914 | 19074 | 21398
574 | 330 | 11918 | 11686 | 18513 | 20549
576 | 328 | 11676 | 11523 | 18155 | 20081
578 | 322 | 11521 | 11245 | 17529 | 19267
580 | 309 | 11262 | 10996 | 17026 | 18626
582 | 296 | 11107 | 10817 | 16623 | 18121
584 | 286 | 10895 | 10565 | 16095 | 17386
586 | 272 | 10661 | 10366 | 15518 | 16771
588 | 261 | 10433 | 10174 | 15026 | 16206
590 | 257 | 10311 | 9920 | 14569 | 15715
592 | 242 | 10042 | 9681 | 14102 | 15165
594 | 226 | 9801 | 9451 | 13731 | 14650
596 | 212 | 9598 | 9206 | 13333 | 14087
598 | 206 | 9391 | 9003 | 12933 | 13563
600 | 193 | 9192 | 8777 | 12515 | 13167
602 | 183 | 8983 | 8560 | 12089 | 12587
604 | 174 | 8782 | 8365 | 11754 | 12345
606 | 167 | 8607 | 8140 | 11389 | 11799
608 | 157 | 8509 | 7949 | 11074 | 11534
610 | 157 | 8355 | 7824 | 10782 | 11144
612 | 146 | 8098 | 7650 | 10448 | 10745
614 | 144 | 7897 | 7463 | 10072 | 10335
616 | 140 | 7790 | 7301 | 9844 | 10053
618 | 130 | 7569 | 7042 | 9483 | 9732
620 | 130 | 7373 | 6860 | 9124 | 9377
622 | 122 | 7170 | 6701 | 8875 | 9046
624 | 117 | 6979 | 6451 | 8624 | 8782
626 | 114 | 6773 | 6344 | 8316 | 8474
628 | 110 | 6632 | 6124 | 8017 | 8184
630 | 108 | 6392 | 5988 | 7767 | 7832
632 | 104 | 6244 | 5816 | 7440 | 7592
634 | 102 | 6074 | 5559 | 7194 | 7261
636 | 93 | 5902 | 5424 | 6926 | 7096
638 | 93 | 5706 | 5270 | 6695 | 6811
640 | 88 | 5597 | 5079 | 6486 | 6592
End Time |  |  |  | 2025-08-06 11:31:47
Start Time |  |  |  | 2025-08-06 11:31:50
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-08-06 11:32:00
Mode | Absorbance
Name | blue 1
Measurement wavelength [nm] |  |  |  | 640
Number of flashes |  |  |  | 10
Settle time [ms] |  |  |  | 50
Part of Plate |  |  |  | H1-H5
Start Time |  |  |  | 2025-08-06 11:32:00
Temperature [°C] |  |  |  | 30
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H | 0.0412 | 0.0697 | 0.0723 | 0.0675 | 0.0713
End Time |  |  |  | 2025-08-06 11:32:05
Mode | Absorbance
Name | blue 2
Measurement wavelength [nm] |  |  |  | 640
Number of flashes |  |  |  | 10
Settle time [ms] |  |  |  | 50
Part of Plate |  |  |  | H1-H5
Start Time |  |  |  | 2025-08-06 11:32:07
Temperature [°C] |  |  |  | 30.1
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H | 0.0419 | 0.0696 | 0.0727 | 0.0675 | 0.0709
End Time |  |  |  | 2025-08-06 11:32:11
Mode | Absorbance
Name | red 1
Measurement wavelength [nm] |  |  |  | 530
Number of flashes |  |  |  | 10
Settle time [ms] |  |  |  | 50
Part of Plate |  |  |  | H1-H5
Start Time |  |  |  | 2025-08-06 11:32:13
Temperature [°C] |  |  |  | 30.1
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H | 0.0443 | 0.1349 | 0.1501 | 0.136 | 0.1604
End Time |  |  |  | 2025-08-06 11:32:17
Mode | Absorbance
Name | red 2
Measurement wavelength [nm] |  |  |  | 530
Number of flashes |  |  |  | 10
Settle time [ms] |  |  |  | 50
Part of Plate |  |  |  | H1-H5
Start Time |  |  |  | 2025-08-06 11:32:20
Temperature [°C] |  |  |  | 30.1
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H | 0.0439 | 0.1348 | 0.1498 | 0.1359 | 0.1601
End Time |  |  |  | 2025-08-06 11:32:23
Ex | Blank | DOE 19.7 | DOE 19.7 | DOE 20.7 | DOE 20.7
Ex | Blank | f | f | f | f
Ex | 1 | 2 | 2 | 2 | 2