## Result sheet
Method name: LS_241112_Fluorescence_Actino_Sample (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1708008206
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦PODI:V1.10.2
Date: |  |  |  | 2025-08-03
Time: |  |  |  | 11:24
System |  |  |  | IBVT171
User |  |  |  | IBVT171\Tecan
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Wait
Shaking
Wait
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Fluorescence 1
Shaking
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Fluorescence 2
Shaking
| Absorbance |  |  |  |  | blue 1
| Absorbance |  |  |  |  | blue 2
| Absorbance |  |  |  |  | red 1
| Absorbance |  |  |  |  | red 2
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | E1-E12;F1-F11
Start Time |  |  |  | 2025-08-03 10:44:56
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 30
Wait minimum [°C] |  |  |  | 29
Wait maximum [°C] |  |  |  | 31
End Time |  |  |  | 2025-08-03 10:44:56
Start Time |  |  |  | 2025-08-03 10:44:56
Shaking (Linear) Duration [s] |  |  |  | 7
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-08-03 10:45:03
Start Time |  |  |  | 2025-08-03 10:45:03
Wait (Time) hh:mm:ss |  |  |  | 00:05:01
Wait position |  |  |  | Current
End Time |  |  |  | 2025-08-03 10:50:04
Start Time |  |  |  | 2025-08-03 10:50:04
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-08-03 10:50:14
Start Time |  |  |  | 2025-08-03 10:50:14
Wait (Time) hh:mm:ss |  |  |  | 00:00:10
Wait position |  |  |  | Current
End Time |  |  |  | 2025-08-03 10:50:24
Mode | Fluorescence Intensity Scan Top Reading
Name | Fluorescence 1
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | E1-E12;F1-F11
Start Time |  |  |  | 2025-08-03 10:50:24
Temperature [°C] |  |  |  | 29.8
Wavel. | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11
520 | 2533 | 3116 | 2134 | 2934 | 2669 | 2947 | 2897 | 4636 | 4746 | 4772 | 4943 | 5329 | 5855 | 5662 | 5566 | 5909 | 6150 | 5883 | 5918 | 7628 | 7897 | 8547 | 8274
522 | 433 | 821 | 375 | 279 | 278 | 241 | 264 | 3400 | 3085 | 3398 | 3288 | 3955 | 4426 | 4299 | 4265 | 3587 | 4181 | 3540 | 4216 | 5746 | 6155 | 6947 | 6701
524 | 357 | 784 | 314 | 158 | 151 | 153 | 152 | 3530 | 3242 | 3585 | 3444 | 4091 | 4529 | 4388 | 4332 | 3722 | 4286 | 3695 | 4436 | 6042 | 6459 | 7432 | 7120
526 | 353 | 806 | 309 | 152 | 145 | 148 | 144 | 3771 | 3406 | 3843 | 3712 | 4195 | 4717 | 4561 | 4481 | 3937 | 4583 | 4045 | 4839 | 6483 | 6985 | 8094 | 7716
528 | 346 | 832 | 311 | 151 | 143 | 146 | 145 | 4043 | 3619 | 4131 | 3986 | 4350 | 4880 | 4669 | 4684 | 4157 | 4845 | 4302 | 5260 | 6981 | 7431 | 8718 | 8260
530 | 352 | 863 | 299 | 150 | 141 | 146 | 138 | 4249 | 3823 | 4414 | 4222 | 4442 | 5011 | 4803 | 4759 | 4419 | 5175 | 4710 | 5741 | 7516 | 8002 | 9480 | 9011
532 | 355 | 899 | 300 | 147 | 141 | 146 | 141 | 4465 | 3990 | 4636 | 4469 | 4550 | 5143 | 4919 | 4924 | 4717 | 5487 | 5115 | 6219 | 8093 | 8587 | 10295 | 9723
534 | 348 | 910 | 302 | 148 | 140 | 146 | 143 | 4671 | 4130 | 4849 | 4637 | 4658 | 5296 | 5070 | 4971 | 4951 | 5746 | 5462 | 6667 | 8655 | 9253 | 11049 | 10454
536 | 348 | 932 | 296 | 146 | 137 | 145 | 138 | 4914 | 4277 | 5066 | 4830 | 4702 | 5359 | 5083 | 5092 | 5224 | 6096 | 5882 | 7163 | 9284 | 9907 | 11886 | 11110
538 | 350 | 955 | 299 | 149 | 138 | 144 | 139 | 5029 | 4423 | 5242 | 5011 | 4755 | 5424 | 5165 | 5084 | 5402 | 6321 | 6171 | 7570 | 9776 | 10343 | 12545 | 11869
540 | 355 | 982 | 300 | 149 | 142 | 145 | 139 | 5142 | 4542 | 5354 | 5127 | 4794 | 5522 | 5261 | 5185 | 5675 | 6639 | 6571 | 8016 | 10366 | 11021 | 13331 | 12613
542 | 352 | 1016 | 300 | 149 | 138 | 146 | 138 | 5275 | 4622 | 5495 | 5259 | 4794 | 5506 | 5252 | 5233 | 5901 | 6859 | 6850 | 8393 | 10824 | 11589 | 13993 | 13091
544 | 356 | 1024 | 297 | 151 | 137 | 144 | 138 | 5370 | 4682 | 5601 | 5303 | 4767 | 5520 | 5268 | 5228 | 6064 | 7112 | 7106 | 8709 | 11433 | 12139 | 14667 | 13733
546 | 361 | 1049 | 309 | 146 | 136 | 146 | 139 | 5362 | 4686 | 5617 | 5314 | 4766 | 5549 | 5214 | 5225 | 6260 | 7269 | 7325 | 8982 | 11752 | 12615 | 15163 | 14162
548 | 355 | 1066 | 302 | 147 | 138 | 142 | 140 | 5295 | 4622 | 5616 | 5289 | 4664 | 5439 | 5157 | 5136 | 6355 | 7404 | 7399 | 9177 | 12100 | 12880 | 15494 | 14502
550 | 353 | 1093 | 310 | 145 | 137 | 140 | 140 | 5274 | 4620 | 5511 | 5209 | 4601 | 5347 | 5040 | 5026 | 6405 | 7506 | 7530 | 9219 | 12338 | 13149 | 15936 | 14778
552 | 363 | 1092 | 316 | 145 | 134 | 145 | 135 | 5221 | 4578 | 5428 | 5149 | 4463 | 5233 | 4968 | 4942 | 6466 | 7575 | 7631 | 9362 | 12503 | 13356 | 16071 | 14994
554 | 360 | 1105 | 320 | 141 | 133 | 140 | 136 | 5119 | 4499 | 5285 | 5008 | 4344 | 5114 | 4783 | 4809 | 6497 | 7590 | 7672 | 9350 | 12591 | 13487 | 16250 | 14983
556 | 362 | 1114 | 324 | 143 | 137 | 141 | 138 | 4984 | 4394 | 5155 | 4891 | 4217 | 4973 | 4687 | 4685 | 6471 | 7660 | 7718 | 9442 | 12627 | 13564 | 16225 | 15026
558 | 366 | 1125 | 325 | 141 | 133 | 141 | 133 | 4844 | 4309 | 5083 | 4736 | 4054 | 4863 | 4484 | 4568 | 6508 | 7688 | 7709 | 9384 | 12720 | 13659 | 16410 | 15081
560 | 364 | 1141 | 330 | 142 | 130 | 140 | 138 | 4732 | 4188 | 4861 | 4607 | 3941 | 4691 | 4332 | 4406 | 6610 | 7744 | 7792 | 9440 | 12745 | 13740 | 16448 | 15142
562 | 371 | 1133 | 329 | 141 | 132 | 142 | 134 | 4617 | 4104 | 4763 | 4449 | 3796 | 4534 | 4230 | 4263 | 6656 | 7864 | 7830 | 9483 | 12857 | 13813 | 16422 | 15224
564 | 368 | 1159 | 327 | 141 | 135 | 141 | 131 | 4483 | 3967 | 4568 | 4348 | 3642 | 4413 | 4062 | 4125 | 6706 | 7835 | 7848 | 9544 | 12735 | 13747 | 16569 | 15194
566 | 367 | 1159 | 320 | 141 | 128 | 140 | 132 | 4325 | 3856 | 4414 | 4193 | 3475 | 4238 | 3888 | 3974 | 6742 | 7965 | 7871 | 9554 | 12772 | 13665 | 16387 | 15220
568 | 368 | 1157 | 317 | 141 | 129 | 138 | 129 | 4208 | 3787 | 4242 | 4025 | 3342 | 4096 | 3734 | 3837 | 6767 | 7995 | 7966 | 9596 | 12729 | 13755 | 16392 | 15077
570 | 365 | 1147 | 315 | 134 | 125 | 132 | 128 | 4023 | 3633 | 4110 | 3880 | 3210 | 3950 | 3586 | 3687 | 6829 | 8073 | 8017 | 9660 | 12709 | 13690 | 16427 | 15171
572 | 363 | 1145 | 311 | 134 | 123 | 130 | 127 | 3960 | 3598 | 3958 | 3759 | 3085 | 3804 | 3407 | 3572 | 6839 | 8173 | 8016 | 9724 | 12639 | 13725 | 16215 | 15055
574 | 357 | 1137 | 295 | 129 | 119 | 127 | 123 | 3835 | 3439 | 3787 | 3625 | 2934 | 3663 | 3302 | 3409 | 6909 | 8174 | 8126 | 9765 | 12631 | 13635 | 16233 | 15074
576 | 349 | 1134 | 290 | 128 | 120 | 126 | 119 | 3731 | 3400 | 3697 | 3495 | 2848 | 3501 | 3185 | 3304 | 6978 | 8232 | 8229 | 9881 | 12477 | 13641 | 16290 | 15066
578 | 343 | 1131 | 278 | 121 | 115 | 125 | 119 | 3656 | 3310 | 3594 | 3416 | 2729 | 3411 | 3059 | 3178 | 7080 | 8365 | 8265 | 9917 | 12535 | 13607 | 16140 | 15059
580 | 334 | 1103 | 270 | 120 | 111 | 121 | 113 | 3542 | 3200 | 3474 | 3276 | 2628 | 3287 | 2941 | 3066 | 7156 | 8332 | 8388 | 10009 | 12493 | 13470 | 16213 | 15089
582 | 325 | 1103 | 252 | 117 | 112 | 116 | 111 | 3454 | 3147 | 3350 | 3173 | 2537 | 3216 | 2838 | 2988 | 7128 | 8453 | 8396 | 10116 | 12377 | 13444 | 16023 | 14937
584 | 311 | 1077 | 243 | 116 | 107 | 111 | 107 | 3395 | 3067 | 3237 | 3034 | 2427 | 3088 | 2744 | 2853 | 7182 | 8467 | 8511 | 10188 | 12312 | 13374 | 15950 | 14779
586 | 296 | 1060 | 230 | 111 | 102 | 108 | 102 | 3297 | 2965 | 3152 | 2954 | 2343 | 2999 | 2656 | 2758 | 7203 | 8449 | 8548 | 10173 | 12233 | 13243 | 15830 | 14709
588 | 284 | 1041 | 211 | 103 | 97 | 104 | 101 | 3191 | 2914 | 3029 | 2867 | 2251 | 2875 | 2556 | 2673 | 7189 | 8401 | 8565 | 10167 | 12091 | 13179 | 15673 | 14669
590 | 274 | 1020 | 201 | 99 | 94 | 100 | 94 | 3059 | 2836 | 2947 | 2786 | 2161 | 2769 | 2473 | 2578 | 7151 | 8463 | 8451 | 10108 | 11849 | 13082 | 15411 | 14562
592 | 260 | 995 | 187 | 95 | 88 | 92 | 88 | 3042 | 2767 | 2834 | 2678 | 2078 | 2706 | 2374 | 2497 | 7120 | 8380 | 8473 | 10091 | 11786 | 12845 | 15268 | 14212
594 | 246 | 979 | 176 | 89 | 87 | 92 | 86 | 2941 | 2702 | 2742 | 2568 | 2021 | 2604 | 2291 | 2436 | 7035 | 8284 | 8470 | 10100 | 11606 | 12621 | 15083 | 14011
596 | 232 | 952 | 163 | 87 | 81 | 85 | 83 | 2825 | 2623 | 2639 | 2512 | 1915 | 2515 | 2224 | 2318 | 6995 | 8269 | 8293 | 10038 | 11401 | 12494 | 14673 | 13838
598 | 222 | 941 | 158 | 83 | 77 | 83 | 79 | 2769 | 2530 | 2555 | 2417 | 1873 | 2443 | 2148 | 2257 | 6901 | 8142 | 8296 | 9852 | 11183 | 12197 | 14465 | 13610
600 | 212 | 914 | 147 | 79 | 76 | 80 | 76 | 2680 | 2448 | 2472 | 2321 | 1797 | 2352 | 2080 | 2173 | 6872 | 8062 | 8101 | 9703 | 10919 | 12050 | 14236 | 13342
602 | 197 | 875 | 137 | 75 | 73 | 75 | 73 | 2601 | 2394 | 2367 | 2236 | 1721 | 2267 | 2003 | 2088 | 6685 | 7909 | 8113 | 9578 | 10684 | 11790 | 13918 | 12978
604 | 189 | 880 | 131 | 73 | 72 | 73 | 69 | 2508 | 2326 | 2297 | 2150 | 1655 | 2182 | 1931 | 2026 | 6682 | 7834 | 7969 | 9447 | 10504 | 11488 | 13666 | 12891
606 | 183 | 839 | 122 | 68 | 65 | 73 | 67 | 2459 | 2261 | 2208 | 2107 | 1607 | 2099 | 1882 | 1945 | 6612 | 7717 | 7828 | 9415 | 10297 | 11271 | 13333 | 12552
608 | 168 | 842 | 114 | 65 | 60 | 67 | 65 | 2408 | 2175 | 2139 | 2027 | 1552 | 2036 | 1795 | 1882 | 6483 | 7589 | 7763 | 9165 | 10097 | 11025 | 12936 | 12265
610 | 166 | 813 | 111 | 65 | 60 | 65 | 63 | 2309 | 2133 | 2063 | 1940 | 1502 | 2004 | 1768 | 1826 | 6393 | 7542 | 7643 | 9024 | 9833 | 10874 | 12733 | 12066
612 | 158 | 798 | 107 | 62 | 58 | 60 | 60 | 2251 | 2069 | 1999 | 1878 | 1436 | 1925 | 1706 | 1767 | 6252 | 7413 | 7457 | 8859 | 9626 | 10615 | 12424 | 11791
614 | 151 | 772 | 100 | 63 | 57 | 61 | 57 | 2175 | 2011 | 1909 | 1830 | 1367 | 1851 | 1655 | 1711 | 6161 | 7249 | 7335 | 8732 | 9422 | 10357 | 12064 | 11400
616 | 151 | 760 | 95 | 58 | 56 | 56 | 56 | 2096 | 1954 | 1858 | 1756 | 1331 | 1778 | 1594 | 1636 | 6095 | 7107 | 7198 | 8576 | 9175 | 10074 | 11805 | 11168
618 | 139 | 742 | 93 | 54 | 55 | 56 | 53 | 2038 | 1861 | 1785 | 1692 | 1263 | 1725 | 1529 | 1592 | 5953 | 7012 | 7088 | 8404 | 8950 | 9888 | 11465 | 10922
620 | 136 | 717 | 87 | 55 | 50 | 51 | 52 | 1989 | 1829 | 1719 | 1636 | 1235 | 1669 | 1483 | 1548 | 5820 | 6889 | 6957 | 8221 | 8698 | 9686 | 11223 | 10658
622 | 133 | 704 | 89 | 53 | 47 | 50 | 48 | 1924 | 1786 | 1663 | 1589 | 1182 | 1607 | 1450 | 1490 | 5751 | 6786 | 6811 | 7998 | 8479 | 9423 | 10912 | 10436
624 | 128 | 686 | 84 | 50 | 48 | 49 | 49 | 1867 | 1719 | 1614 | 1515 | 1141 | 1563 | 1415 | 1450 | 5642 | 6645 | 6707 | 7925 | 8302 | 9192 | 10661 | 10201
626 | 122 | 673 | 84 | 47 | 45 | 49 | 48 | 1804 | 1673 | 1564 | 1484 | 1098 | 1513 | 1368 | 1415 | 5534 | 6506 | 6570 | 7798 | 8104 | 8957 | 10372 | 9932
628 | 119 | 658 | 79 | 46 | 44 | 46 | 45 | 1745 | 1640 | 1504 | 1419 | 1069 | 1456 | 1336 | 1361 | 5403 | 6322 | 6419 | 7564 | 7872 | 8727 | 10212 | 9636
630 | 114 | 635 | 73 | 45 | 42 | 46 | 42 | 1719 | 1561 | 1440 | 1368 | 1032 | 1418 | 1300 | 1331 | 5280 | 6267 | 6318 | 7430 | 7644 | 8536 | 9860 | 9402
632 | 111 | 613 | 73 | 43 | 41 | 43 | 42 | 1670 | 1537 | 1393 | 1330 | 986 | 1387 | 1264 | 1286 | 5183 | 6081 | 6219 | 7246 | 7474 | 8295 | 9623 | 9153
634 | 111 | 601 | 70 | 41 | 39 | 41 | 40 | 1616 | 1495 | 1367 | 1318 | 970 | 1358 | 1253 | 1270 | 5056 | 5905 | 6047 | 7110 | 7280 | 8136 | 9294 | 8933
636 | 107 | 576 | 66 | 38 | 40 | 42 | 39 | 1574 | 1451 | 1305 | 1276 | 935 | 1321 | 1226 | 1234 | 4936 | 5861 | 5954 | 6993 | 7084 | 7842 | 9096 | 8674
638 | 97 | 557 | 66 | 36 | 38 | 38 | 37 | 1539 | 1414 | 1291 | 1240 | 908 | 1296 | 1207 | 1212 | 4874 | 5657 | 5830 | 6810 | 6954 | 7638 | 8845 | 8466
640 | 97 | 552 | 60 | 35 | 35 | 41 | 36 | 1507 | 1378 | 1244 | 1212 | 901 | 1269 | 1195 | 1207 | 4649 | 5587 | 5630 | 6661 | 6682 | 7439 | 8580 | 8243
End Time | 29.8 E4: 2025-08-03 11:06:54
Start Time | 29.8 E4: 2025-08-03 11:06:59
Shaking (Linear) Duration [s] | 29.8 E4: 10
Shaking (Linear) Position | 29.8 E4: Current
Shaking (Linear) Amplitude [mm] | bar: 29.8 E4
Shaking (Linear) Frequency [rpm] | 29.8 E4: 1440
End Time | 29.8 E4: 2025-08-03 11:07:09
Mode | E1: Fluorescence Intensity Scan Top Reading
Name | E1: Fluorescence 2
Scan selection | 29.8 E4: Emission Scan
Excitation | 29.8 E4: Monochromator
Excitation wavelength [nm] | 29.8 E4: 483
Excitation bandwidth [nm] | 29.8 E4: 20
Emission wavelength start [nm] | 29.8 E4: 520
Emission wavelength end [nm] | 29.8 E4: 640
Emission wavelength step size [nm] | 29.8 E4: 2
Emission scan number | 29.8 E4: 61
Emission bandwidth [nm] | 29.8 E4: 20
Gain Manual | 29.8 E4: 100
Mirror | 29.8 E4: Automatic (Dichroic 510)
Number of flashes | 29.8 E4: 30
Integration time [µs] | 29.8 E4: 40
Lag time [µs] | 29.8 E4: 0
Settle time [ms] | 29.8 E4: 0
Z-Position [μm] | 29.8 E4: 20000
Z-Position mode | 29.8 E4: Manual
Part of Plate | 29.8 E4: E1-E12;F1-F11
Start Time | 29.8 E4: 2025-08-03 11:07:09
Temperature [°C] | 29.8 E4: 29.7
Wavel. | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11
520 | 2991 | 3273 | 2076 | 3171 | 2888 | 2706 | 2592 | 4528 | 4449 | 4399 | 4593 | 5668 | 5809 | 6004 | 5996 | 5406 | 5990 | 5349 | 5991 | 7164 | 7497 | 7938 | 7705
522 | 414 | 779 | 350 | 258 | 250 | 258 | 272 | 3144 | 2862 | 3055 | 2977 | 4184 | 4398 | 4703 | 4479 | 3137 | 3694 | 3169 | 3793 | 5173 | 5551 | 6141 | 5984
524 | 327 | 738 | 284 | 151 | 145 | 150 | 147 | 3288 | 2982 | 3177 | 3137 | 4260 | 4462 | 4821 | 4571 | 3233 | 3832 | 3311 | 4033 | 5434 | 5838 | 6526 | 6328
526 | 329 | 767 | 281 | 143 | 135 | 143 | 141 | 3460 | 3132 | 3369 | 3308 | 4438 | 4623 | 4998 | 4701 | 3478 | 4085 | 3652 | 4440 | 5895 | 6323 | 7134 | 6869
528 | 329 | 796 | 279 | 144 | 132 | 141 | 134 | 3650 | 3258 | 3562 | 3515 | 4546 | 4734 | 5125 | 4793 | 3654 | 4287 | 3956 | 4807 | 6339 | 6748 | 7733 | 7438
530 | 322 | 832 | 274 | 144 | 134 | 139 | 134 | 3831 | 3439 | 3756 | 3667 | 4653 | 4858 | 5292 | 4932 | 3932 | 4635 | 4309 | 5271 | 6851 | 7330 | 8344 | 8045
532 | 326 | 843 | 269 | 142 | 133 | 140 | 135 | 4036 | 3564 | 3955 | 3857 | 4776 | 4961 | 5361 | 5060 | 4161 | 4933 | 4674 | 5765 | 7405 | 7881 | 9117 | 8772
534 | 325 | 877 | 268 | 145 | 132 | 140 | 132 | 4222 | 3674 | 4094 | 4018 | 4857 | 5042 | 5503 | 5162 | 4395 | 5174 | 5049 | 6133 | 7887 | 8401 | 9828 | 9367
536 | 330 | 899 | 265 | 142 | 131 | 142 | 134 | 4347 | 3803 | 4258 | 4174 | 4934 | 5154 | 5597 | 5208 | 4642 | 5486 | 5375 | 6601 | 8581 | 8998 | 10576 | 10019
538 | 328 | 915 | 263 | 138 | 132 | 136 | 135 | 4462 | 3887 | 4380 | 4262 | 4992 | 5151 | 5668 | 5299 | 4831 | 5729 | 5676 | 6986 | 8977 | 9506 | 11206 | 10553
540 | 325 | 939 | 266 | 137 | 131 | 140 | 135 | 4583 | 3978 | 4484 | 4339 | 5003 | 5240 | 5726 | 5341 | 5076 | 6014 | 6003 | 7420 | 9481 | 10089 | 11913 | 11200
542 | 331 | 967 | 269 | 141 | 134 | 134 | 132 | 4671 | 4078 | 4566 | 4483 | 5049 | 5241 | 5734 | 5374 | 5224 | 6176 | 6249 | 7801 | 9894 | 10494 | 12393 | 11779
544 | 333 | 988 | 273 | 138 | 129 | 140 | 130 | 4772 | 4077 | 4649 | 4531 | 5045 | 5219 | 5777 | 5386 | 5425 | 6414 | 6529 | 8088 | 10285 | 10963 | 13023 | 12244
546 | 327 | 1004 | 280 | 139 | 131 | 134 | 133 | 4750 | 4142 | 4689 | 4543 | 5004 | 5276 | 5741 | 5336 | 5539 | 6602 | 6678 | 8302 | 10688 | 11328 | 13500 | 12633
548 | 330 | 1018 | 276 | 135 | 128 | 136 | 135 | 4779 | 4122 | 4646 | 4581 | 4924 | 5158 | 5673 | 5319 | 5632 | 6678 | 6825 | 8419 | 10833 | 11513 | 13769 | 12926
550 | 333 | 1035 | 284 | 136 | 130 | 136 | 127 | 4703 | 4106 | 4607 | 4451 | 4835 | 5099 | 5612 | 5229 | 5633 | 6747 | 6917 | 8524 | 11049 | 11719 | 14059 | 13031
552 | 337 | 1060 | 280 | 135 | 128 | 135 | 132 | 4677 | 4079 | 4543 | 4442 | 4773 | 4988 | 5495 | 5156 | 5665 | 6823 | 6942 | 8535 | 11191 | 11904 | 14262 | 13166
554 | 338 | 1054 | 285 | 132 | 127 | 137 | 130 | 4589 | 4006 | 4488 | 4361 | 4662 | 4862 | 5360 | 5065 | 5714 | 6832 | 6927 | 8575 | 11252 | 12000 | 14389 | 13152
556 | 339 | 1075 | 289 | 136 | 126 | 134 | 127 | 4474 | 3917 | 4369 | 4284 | 4566 | 4782 | 5263 | 4935 | 5730 | 6838 | 6913 | 8573 | 11232 | 11999 | 14353 | 13315
558 | 345 | 1082 | 291 | 133 | 124 | 134 | 130 | 4390 | 3853 | 4302 | 4194 | 4377 | 4648 | 5107 | 4816 | 5766 | 6864 | 6914 | 8589 | 11257 | 12053 | 14585 | 13383
560 | 342 | 1088 | 290 | 135 | 126 | 135 | 130 | 4290 | 3785 | 4156 | 4102 | 4273 | 4508 | 4962 | 4725 | 5796 | 6933 | 7009 | 8600 | 11245 | 12023 | 14529 | 13300
562 | 345 | 1093 | 290 | 133 | 123 | 136 | 126 | 4181 | 3727 | 4091 | 4003 | 4135 | 4404 | 4837 | 4611 | 5814 | 6934 | 7006 | 8576 | 11273 | 12118 | 14473 | 13291
564 | 346 | 1095 | 290 | 130 | 124 | 134 | 123 | 4083 | 3619 | 3990 | 3923 | 4006 | 4271 | 4619 | 4461 | 5874 | 7002 | 7050 | 8564 | 11279 | 12040 | 14555 | 13304
566 | 351 | 1105 | 288 | 130 | 123 | 128 | 125 | 3961 | 3526 | 3889 | 3756 | 3890 | 4111 | 4544 | 4345 | 5895 | 7038 | 7064 | 8618 | 11190 | 12122 | 14361 | 13348
568 | 345 | 1097 | 288 | 129 | 122 | 128 | 122 | 3848 | 3470 | 3741 | 3696 | 3743 | 3982 | 4313 | 4204 | 5913 | 7076 | 7081 | 8670 | 11177 | 11969 | 14415 | 13276
570 | 342 | 1089 | 284 | 128 | 120 | 126 | 122 | 3743 | 3375 | 3637 | 3560 | 3580 | 3868 | 4166 | 4085 | 5983 | 7110 | 7146 | 8681 | 11212 | 12092 | 14364 | 13316
572 | 342 | 1097 | 277 | 125 | 118 | 125 | 119 | 3656 | 3290 | 3529 | 3431 | 3476 | 3724 | 4031 | 3928 | 6051 | 7126 | 7169 | 8754 | 11164 | 12089 | 14315 | 13357
574 | 333 | 1084 | 269 | 122 | 115 | 124 | 117 | 3569 | 3222 | 3434 | 3375 | 3326 | 3617 | 3906 | 3836 | 6079 | 7225 | 7319 | 8835 | 11160 | 12032 | 14294 | 13233
576 | 334 | 1081 | 266 | 118 | 110 | 116 | 117 | 3484 | 3147 | 3342 | 3277 | 3223 | 3475 | 3742 | 3711 | 6123 | 7316 | 7334 | 8917 | 11136 | 12078 | 14358 | 13224
578 | 321 | 1069 | 249 | 117 | 109 | 115 | 114 | 3431 | 3074 | 3231 | 3200 | 3113 | 3398 | 3635 | 3585 | 6169 | 7359 | 7414 | 8905 | 11064 | 12081 | 14330 | 13314
580 | 311 | 1055 | 245 | 115 | 105 | 114 | 108 | 3346 | 3004 | 3122 | 3084 | 3012 | 3252 | 3503 | 3479 | 6276 | 7393 | 7535 | 9032 | 11039 | 12000 | 14239 | 13204
582 | 302 | 1035 | 231 | 110 | 103 | 110 | 103 | 3272 | 2947 | 3072 | 3028 | 2914 | 3171 | 3386 | 3355 | 6280 | 7421 | 7564 | 9115 | 10950 | 11969 | 14148 | 13255
584 | 296 | 1027 | 215 | 103 | 100 | 106 | 102 | 3169 | 2876 | 2960 | 2943 | 2798 | 3064 | 3256 | 3243 | 6297 | 7494 | 7550 | 9180 | 10932 | 11781 | 14035 | 13133
586 | 281 | 1005 | 206 | 102 | 98 | 103 | 99 | 3105 | 2797 | 2893 | 2866 | 2748 | 2967 | 3166 | 3155 | 6380 | 7555 | 7634 | 9160 | 10805 | 11856 | 13945 | 13026
588 | 268 | 977 | 192 | 96 | 95 | 99 | 98 | 3019 | 2719 | 2804 | 2763 | 2618 | 2873 | 3032 | 3037 | 6326 | 7529 | 7640 | 9235 | 10708 | 11695 | 13859 | 12875
590 | 256 | 973 | 181 | 95 | 90 | 95 | 91 | 2961 | 2684 | 2720 | 2696 | 2555 | 2769 | 2975 | 2966 | 6292 | 7542 | 7613 | 9122 | 10545 | 11590 | 13675 | 12755
592 | 240 | 953 | 172 | 92 | 86 | 92 | 87 | 2884 | 2602 | 2664 | 2601 | 2445 | 2687 | 2872 | 2880 | 6221 | 7476 | 7527 | 9084 | 10319 | 11361 | 13499 | 12550
594 | 236 | 925 | 163 | 88 | 83 | 86 | 86 | 2818 | 2534 | 2573 | 2551 | 2379 | 2606 | 2750 | 2775 | 6172 | 7358 | 7500 | 9000 | 10243 | 11152 | 13308 | 12407
596 | 217 | 901 | 152 | 83 | 78 | 82 | 83 | 2725 | 2490 | 2487 | 2455 | 2303 | 2519 | 2654 | 2705 | 6144 | 7351 | 7375 | 8912 | 10126 | 10965 | 13000 | 12211
598 | 207 | 892 | 144 | 79 | 75 | 80 | 75 | 2640 | 2413 | 2419 | 2412 | 2238 | 2451 | 2573 | 2626 | 6065 | 7282 | 7385 | 8861 | 9960 | 10764 | 12812 | 11981
600 | 198 | 854 | 131 | 74 | 69 | 79 | 72 | 2573 | 2354 | 2330 | 2324 | 2152 | 2376 | 2471 | 2542 | 5975 | 7125 | 7284 | 8699 | 9753 | 10627 | 12427 | 11679
602 | 192 | 835 | 122 | 71 | 69 | 73 | 67 | 2504 | 2272 | 2278 | 2235 | 2079 | 2281 | 2406 | 2441 | 5906 | 7027 | 7180 | 8553 | 9523 | 10409 | 12245 | 11460
604 | 176 | 823 | 119 | 70 | 65 | 70 | 69 | 2417 | 2221 | 2189 | 2171 | 2008 | 2215 | 2352 | 2366 | 5800 | 6902 | 7052 | 8436 | 9251 | 10174 | 11976 | 11223
606 | 173 | 795 | 111 | 68 | 64 | 66 | 62 | 2386 | 2145 | 2138 | 2133 | 1974 | 2132 | 2267 | 2312 | 5747 | 6843 | 6973 | 8387 | 9035 | 9937 | 11711 | 11055
608 | 160 | 795 | 104 | 65 | 60 | 62 | 62 | 2301 | 2108 | 2070 | 2056 | 1888 | 2068 | 2173 | 2222 | 5654 | 6722 | 6852 | 8151 | 8819 | 9729 | 11505 | 10756
610 | 156 | 770 | 102 | 62 | 62 | 60 | 61 | 2273 | 2065 | 2015 | 1990 | 1826 | 2000 | 2108 | 2171 | 5574 | 6651 | 6764 | 8040 | 8735 | 9553 | 11275 | 10559
612 | 148 | 752 | 95 | 59 | 57 | 60 | 59 | 2189 | 2023 | 1938 | 1940 | 1757 | 1935 | 2044 | 2071 | 5443 | 6487 | 6598 | 7899 | 8513 | 9366 | 11015 | 10365
614 | 145 | 728 | 94 | 58 | 56 | 59 | 57 | 2131 | 1946 | 1885 | 1879 | 1706 | 1875 | 1972 | 2029 | 5351 | 6409 | 6513 | 7695 | 8213 | 9130 | 10695 | 10072
616 | 139 | 713 | 88 | 56 | 54 | 57 | 54 | 2062 | 1885 | 1833 | 1827 | 1650 | 1804 | 1900 | 1972 | 5310 | 6273 | 6378 | 7578 | 8073 | 9034 | 10400 | 9879
618 | 134 | 687 | 84 | 53 | 49 | 55 | 54 | 2002 | 1832 | 1783 | 1749 | 1595 | 1744 | 1856 | 1907 | 5178 | 6137 | 6234 | 7498 | 7899 | 8698 | 10218 | 9592
620 | 132 | 682 | 82 | 53 | 49 | 52 | 50 | 1954 | 1791 | 1705 | 1702 | 1544 | 1665 | 1796 | 1863 | 5139 | 6046 | 6146 | 7320 | 7676 | 8535 | 9953 | 9312
622 | 128 | 659 | 81 | 49 | 49 | 51 | 49 | 1887 | 1752 | 1662 | 1652 | 1483 | 1622 | 1733 | 1786 | 5004 | 5984 | 6038 | 7152 | 7507 | 8307 | 9654 | 9138
624 | 119 | 647 | 75 | 49 | 47 | 48 | 48 | 1832 | 1687 | 1603 | 1615 | 1449 | 1587 | 1672 | 1730 | 4889 | 5843 | 5946 | 7027 | 7315 | 8106 | 9462 | 8879
626 | 115 | 628 | 73 | 47 | 42 | 47 | 47 | 1807 | 1662 | 1558 | 1550 | 1396 | 1533 | 1634 | 1694 | 4804 | 5727 | 5808 | 6806 | 7131 | 7964 | 9149 | 8664
628 | 113 | 603 | 73 | 45 | 43 | 45 | 43 | 1747 | 1605 | 1510 | 1504 | 1363 | 1481 | 1601 | 1638 | 4746 | 5596 | 5693 | 6761 | 6964 | 7749 | 8994 | 8405
630 | 110 | 588 | 68 | 43 | 42 | 44 | 43 | 1709 | 1556 | 1467 | 1447 | 1345 | 1452 | 1567 | 1589 | 4618 | 5505 | 5574 | 6582 | 6783 | 7540 | 8690 | 8225
632 | 105 | 574 | 66 | 41 | 39 | 43 | 40 | 1656 | 1512 | 1429 | 1433 | 1303 | 1410 | 1516 | 1554 | 4479 | 5382 | 5480 | 6438 | 6564 | 7319 | 8375 | 8062
634 | 101 | 554 | 65 | 40 | 39 | 40 | 41 | 1613 | 1478 | 1382 | 1374 | 1268 | 1370 | 1489 | 1513 | 4422 | 5236 | 5362 | 6266 | 6434 | 7160 | 8263 | 7752
636 | 100 | 542 | 62 | 39 | 39 | 39 | 38 | 1574 | 1436 | 1362 | 1347 | 1244 | 1354 | 1471 | 1501 | 4315 | 5117 | 5233 | 6157 | 6219 | 6907 | 8016 | 7605
638 | 93 | 528 | 56 | 38 | 36 | 38 | 37 | 1530 | 1411 | 1321 | 1308 | 1234 | 1311 | 1431 | 1461 | 4201 | 5002 | 5105 | 6064 | 6103 | 6804 | 7740 | 7458
640 | 92 | 521 | 60 | 37 | 35 | 39 | 37 | 1490 | 1367 | 1274 | 1276 | 1217 | 1307 | 1392 | 1429 | 4122 | 4882 | 4972 | 5896 | 5860 | 6558 | 7492 | 7187
End Time | 29.7 E4: 2025-08-03 11:23:39
Start Time | 29.7 E4: 2025-08-03 11:23:42
Shaking (Linear) Duration [s] | 29.7 E4: 10
Shaking (Linear) Position | 29.7 E4: Current
Shaking (Linear) Amplitude [mm] | bar: 29.7 E4
Shaking (Linear) Frequency [rpm] | 29.7 E4: 1440
End Time | 29.7 E4: 2025-08-03 11:23:52
Mode | E1: Absorbance
Name | E1: blue 1
Measurement wavelength [nm] | 29.7 E4: 640
Number of flashes | 29.7 E4: 10
Settle time [ms] | 29.7 E4: 50
Part of Plate | 29.7 E4: E1-E12;F1-F11
Start Time | 29.7 E4: 2025-08-03 11:23:52
Temperature [°C] | 29.7 E4: 29.9
<> | E1: 1; E2: 2; E3: 3; 29.7 E4: 4; 29.7 E5: 5; 29.7 E6: 6; 29.7 E7: 7; 29.7 E8: 8; 29.7 E9: 9; 29.7 E10: 10; 29.7 E11: 11; 29.7 E12: 12
A
B
C
D
E | E1: 0.0414; E2: 0.0558; E3: 0.0407; 29.7 E4: 0.0454; 29.7 E5: 0.0405; 29.7 E6: 0.04; 29.7 E7: 0.0399; 29.7 E8: 0.2791; 29.7 E9: 0.2333; 29.7 E10: 0.3148; 29.7 E11: 0.2912; 29.7 E12: 0.7094
F | E1: 0.6815; E2: 0.967; E3: 0.6925; 29.7 E4: 0.0497; 29.7 E5: 0.0504; 29.7 E6: 0.0508; 29.7 E7: 0.0516; 29.7 E8: 0.0506; 29.7 E9: 0.0508; 29.7 E10: 0.052; 29.7 E11: 0.0517
G
H
End Time | 29.7 E4: 2025-08-03 11:24:00
Mode | E1: Absorbance
Name | E1: blue 2
Measurement wavelength [nm] | 29.7 E4: 640
Number of flashes | 29.7 E4: 10
Settle time [ms] | 29.7 E4: 50
Part of Plate | 29.7 E4: E1-E12;F1-F11
Start Time | 29.7 E4: 2025-08-03 11:24:03
Temperature [°C] | 29.7 E4: 29.8
<> | E1: 1; E2: 2; E3: 3; 29.7 E4: 4; 29.7 E5: 5; 29.7 E6: 6; 29.7 E7: 7; 29.7 E8: 8; 29.7 E9: 9; 29.7 E10: 10; 29.7 E11: 11; 29.7 E12: 12
A
B
C
D
E | E1: 0.0415; E2: 0.057; E3: 0.0409; 29.7 E4: 0.0401; 29.7 E5: 0.0399; 29.7 E6: 0.0402; 29.7 E7: 0.0413; 29.7 E8: 0.3297; 29.7 E9: 0.2767; 29.7 E10: 0.3841; 29.7 E11: 0.3574; 29.7 E12: 0.911
F | E1: 0.8127; E2: 1.1391; E3: 0.8274; 29.7 E4: 0.0494; 29.7 E5: 0.0502; 29.7 E6: 0.0504; 29.7 E7: 0.0513; 29.7 E8: 0.0506; 29.7 E9: 0.0506; 29.7 E10: 0.0522; 29.7 E11: 0.0515
G
H
End Time | 29.7 E4: 2025-08-03 11:24:11
Mode | E1: Absorbance
Name | E1: red 1
Measurement wavelength [nm] | 29.7 E4: 530
Number of flashes | 29.7 E4: 10
Settle time [ms] | 29.7 E4: 50
Part of Plate | 29.7 E4: E1-E12;F1-F11
Start Time | 29.7 E4: 2025-08-03 11:24:13
Temperature [°C] | 29.7 E4: 29.7
<> | E1: 1; E2: 2; E3: 3; 29.7 E4: 4; 29.7 E5: 5; 29.7 E6: 6; 29.7 E7: 7; 29.7 E8: 8; 29.7 E9: 9; 29.7 E10: 10; 29.7 E11: 11; 29.7 E12: 12
A
B
C
D
E | E1: 0.0442; E2: 0.0677; E3: 0.0429; 29.7 E4: 0.0429; 29.7 E5: 0.0427; 29.7 E6: 0.0432; 29.7 E7: 0.0428; 29.7 E8: 0.1873; 29.7 E9: 0.1558; 29.7 E10: 0.2049; 29.7 E11: 0.1911; 29.7 E12: 0.4007
F | E1: 0.376; E2: 0.5442; E3: 0.3937; 29.7 E4: 0.1916; 29.7 E5: 0.2083; 29.7 E6: 0.2387; 29.7 E7: 0.2654; 29.7 E8: 0.3015; 29.7 E9: 0.3073; 29.7 E10: 0.3479; 29.7 E11: 0.3247
G
H
End Time | 29.7 E4: 2025-08-03 11:24:21
Mode | E1: Absorbance
Name | E1: red 2
Measurement wavelength [nm] | 29.7 E4: 530
Number of flashes | 29.7 E4: 10
Settle time [ms] | 29.7 E4: 50
Part of Plate | 29.7 E4: E1-E12;F1-F11
Start Time | 29.7 E4: 2025-08-03 11:24:24
Temperature [°C] | 29.7 E4: 29.7
<> | E1: 1; E2: 2; E3: 3; 29.7 E4: 4; 29.7 E5: 5; 29.7 E6: 6; 29.7 E7: 7; 29.7 E8: 8; 29.7 E9: 9; 29.7 E10: 10; 29.7 E11: 11; 29.7 E12: 12
A
B
C
D
E | E1: 0.0439; E2: 0.068; E3: 0.0429; 29.7 E4: 0.0432; 29.7 E5: 0.0431; 29.7 E6: 0.0429; 29.7 E7: 0.0428; 29.7 E8: 0.1897; 29.7 E9: 0.157; 29.7 E10: 0.2067; 29.7 E11: 0.1947; 29.7 E12: 0.4117
F | E1: 0.3863; E2: 0.5599; E3: 0.403; 29.7 E4: 0.1912; 29.7 E5: 0.2081; 29.7 E6: 0.2386; 29.7 E7: 0.2657; 29.7 E8: 0.3005; 29.7 E9: 0.307; 29.7 E10: 0.3476; 29.7 E11: 0.3241
G
H
End Time | 29.7 E4: 2025-08-03 11:24:31
Ex | Blank | BlankB | BlankR | Error | Error | Error | Error | DOE 19.7 | DOE 19.7 | DOE 19.7 | DOE 19.7 | DOE 20.7 | DOE 20.7 | DOE 20.7 | DOE 20.7 | DOE 19.7 | DOE 19.7 | DOE 19.7 | DOE 19.7 | DOE 20.7 | DOE 20.7 | DOE 20.7 | DOE 20.7
Ex | Blank | BlankB | BlankR | f | f | f | f | b | b | b | b | b | b | b | b | r | r | r | r | r | r | r | r
Ex | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1