## Result sheet
Method name: LS_241112_Fluorescence_Actino_Sample
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1708008206
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦PODI:V1.10.2
Date: |  |  |  | 2025-08-06
Time: |  |  |  | 10:43
System |  |  |  | IBVT171
User |  |  |  | IBVT171\Tecan
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Wait
Shaking
Wait
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Fluorescence 1
Shaking
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Fluorescence 2
Shaking
| Absorbance |  |  |  |  | blue 1
| Absorbance |  |  |  |  | blue 2
| Absorbance |  |  |  |  | red 1
| Absorbance |  |  |  |  | red 2
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | G1-G12;H1-H11
Start Time |  |  |  | 2025-08-06 10:04:07
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 30
Wait minimum [°C] |  |  |  | 29
Wait maximum [°C] |  |  |  | 31
End Time |  |  |  | 2025-08-06 10:04:08
Start Time |  |  |  | 2025-08-06 10:04:08
Shaking (Linear) Duration [s] |  |  |  | 7
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-08-06 10:04:15
Start Time |  |  |  | 2025-08-06 10:04:15
Wait (Time) hh:mm:ss |  |  |  | 00:05:01
Wait position |  |  |  | Current
End Time |  |  |  | 2025-08-06 10:09:16
Start Time |  |  |  | 2025-08-06 10:09:16
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-08-06 10:09:26
Start Time |  |  |  | 2025-08-06 10:09:26
Wait (Time) hh:mm:ss |  |  |  | 00:00:10
Wait position |  |  |  | Current
End Time |  |  |  | 2025-08-06 10:09:36
Mode | Fluorescence Intensity Scan Top Reading
Name | Fluorescence 1
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | G1-G12;H1-H11
Start Time |  |  |  | 2025-08-06 10:09:36
Temperature [°C] |  |  |  | 29.9
Wavel. | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11
520 | 2390 | 2875 | 2433 | 35053 | 35310 | 2900 | 2635 | 4337 | 4474 | 4734 | 4872 | 3276 | 2956 | 2554 | 2983 | 11235 | 12129 | 11333 | 12897 | 2944 | 3430 | 3271 | 3557
522 | 437 | 836 | 326 | 33676 | 33355 | 672 | 601 | 2425 | 2391 | 2754 | 2894 | 802 | 826 | 831 | 846 | 8181 | 9838 | 8740 | 10451 | 385 | 349 | 312 | 321
524 | 363 | 808 | 255 | 34140 | 33952 | 623 | 553 | 2570 | 2469 | 2900 | 3043 | 753 | 771 | 801 | 816 | 8103 | 9748 | 8660 | 10427 | 287 | 250 | 227 | 212
526 | 361 | 829 | 252 | 34268 | 34062 | 635 | 552 | 2757 | 2670 | 3108 | 3273 | 782 | 800 | 820 | 840 | 8070 | 9710 | 8722 | 10396 | 290 | 248 | 225 | 203
528 | 365 | 848 | 249 | 34293 | 33915 | 646 | 562 | 2942 | 2862 | 3353 | 3539 | 807 | 824 | 854 | 870 | 7974 | 9603 | 8694 | 10423 | 294 | 253 | 226 | 208
530 | 365 | 864 | 247 | 34534 | 33901 | 658 | 574 | 3134 | 3055 | 3566 | 3763 | 839 | 857 | 901 | 904 | 7940 | 9480 | 8657 | 10354 | 308 | 251 | 228 | 213
532 | 360 | 907 | 247 | 34232 | 33931 | 664 | 572 | 3338 | 3212 | 3742 | 4014 | 865 | 896 | 931 | 933 | 7866 | 9334 | 8707 | 10304 | 317 | 256 | 234 | 211
534 | 359 | 921 | 247 | 34124 | 33676 | 671 | 568 | 3466 | 3347 | 3934 | 4175 | 887 | 923 | 954 | 970 | 7762 | 9225 | 8647 | 10247 | 326 | 266 | 232 | 215
536 | 363 | 942 | 246 | 33821 | 33259 | 685 | 581 | 3626 | 3509 | 4128 | 4371 | 921 | 943 | 985 | 987 | 7721 | 9080 | 8597 | 10212 | 330 | 271 | 237 | 214
538 | 366 | 961 | 248 | 33578 | 32866 | 686 | 578 | 3732 | 3585 | 4246 | 4461 | 938 | 970 | 1016 | 1029 | 7575 | 8969 | 8563 | 10204 | 340 | 274 | 243 | 217
540 | 367 | 979 | 248 | 33142 | 32399 | 692 | 583 | 3835 | 3698 | 4319 | 4609 | 958 | 1000 | 1051 | 1051 | 7555 | 8795 | 8509 | 10080 | 349 | 282 | 243 | 222
542 | 363 | 1014 | 255 | 32717 | 32135 | 694 | 586 | 3897 | 3766 | 4451 | 4644 | 992 | 1021 | 1073 | 1067 | 7432 | 8648 | 8493 | 10006 | 358 | 285 | 248 | 232
544 | 368 | 1034 | 254 | 32124 | 31574 | 695 | 595 | 3962 | 3785 | 4501 | 4737 | 1019 | 1066 | 1094 | 1103 | 7352 | 8516 | 8378 | 9857 | 354 | 289 | 250 | 229
546 | 366 | 1046 | 255 | 31341 | 30785 | 689 | 593 | 3972 | 3798 | 4510 | 4716 | 1045 | 1079 | 1136 | 1139 | 7184 | 8369 | 8324 | 9813 | 366 | 293 | 254 | 232
548 | 370 | 1074 | 261 | 30683 | 30189 | 689 | 586 | 3973 | 3813 | 4492 | 4729 | 1052 | 1076 | 1141 | 1149 | 7036 | 8210 | 8044 | 9632 | 361 | 295 | 254 | 238
550 | 374 | 1079 | 259 | 29536 | 29182 | 687 | 573 | 3921 | 3740 | 4437 | 4625 | 1066 | 1097 | 1164 | 1171 | 6841 | 7899 | 7966 | 9355 | 366 | 293 | 255 | 237
552 | 375 | 1100 | 268 | 29031 | 28498 | 679 | 576 | 3887 | 3715 | 4392 | 4593 | 1085 | 1121 | 1176 | 1179 | 6698 | 7749 | 7817 | 9160 | 364 | 303 | 263 | 244
554 | 374 | 1121 | 272 | 28071 | 27367 | 666 | 580 | 3779 | 3655 | 4284 | 4452 | 1103 | 1136 | 1182 | 1182 | 6516 | 7455 | 7581 | 8938 | 363 | 298 | 268 | 243
556 | 376 | 1124 | 275 | 27175 | 26556 | 667 | 583 | 3717 | 3587 | 4186 | 4397 | 1107 | 1142 | 1208 | 1197 | 6357 | 7326 | 7439 | 8687 | 369 | 299 | 267 | 247
558 | 385 | 1146 | 274 | 26209 | 25566 | 664 | 575 | 3610 | 3478 | 4117 | 4293 | 1113 | 1150 | 1208 | 1203 | 6198 | 7105 | 7234 | 8537 | 360 | 302 | 273 | 249
560 | 387 | 1150 | 278 | 25107 | 24735 | 662 | 580 | 3561 | 3435 | 4016 | 4198 | 1119 | 1161 | 1218 | 1224 | 6001 | 6952 | 7089 | 8265 | 360 | 300 | 275 | 249
562 | 388 | 1168 | 279 | 24417 | 23866 | 664 | 581 | 3472 | 3357 | 3923 | 4080 | 1119 | 1172 | 1236 | 1217 | 5840 | 6739 | 6947 | 8065 | 357 | 299 | 265 | 251
564 | 394 | 1170 | 279 | 23524 | 22863 | 657 | 573 | 3398 | 3256 | 3841 | 3950 | 1126 | 1166 | 1237 | 1224 | 5698 | 6536 | 6734 | 7857 | 355 | 297 | 270 | 249
566 | 386 | 1168 | 274 | 22573 | 22050 | 645 | 572 | 3281 | 3156 | 3721 | 3824 | 1131 | 1171 | 1225 | 1218 | 5484 | 6357 | 6540 | 7695 | 357 | 296 | 263 | 245
568 | 384 | 1191 | 270 | 21497 | 21107 | 634 | 570 | 3202 | 3098 | 3589 | 3721 | 1137 | 1170 | 1222 | 1220 | 5373 | 6107 | 6371 | 7482 | 346 | 294 | 260 | 242
570 | 384 | 1176 | 264 | 20704 | 20116 | 628 | 552 | 3102 | 2997 | 3492 | 3609 | 1135 | 1157 | 1206 | 1207 | 5150 | 5945 | 6203 | 7220 | 342 | 281 | 259 | 239
572 | 378 | 1174 | 260 | 19707 | 19351 | 612 | 556 | 3029 | 2907 | 3425 | 3486 | 1132 | 1160 | 1214 | 1193 | 5032 | 5742 | 6103 | 7054 | 329 | 278 | 256 | 238
574 | 376 | 1169 | 256 | 18888 | 18357 | 607 | 540 | 2943 | 2841 | 3316 | 3411 | 1112 | 1154 | 1204 | 1196 | 4898 | 5634 | 5907 | 6884 | 323 | 274 | 243 | 230
576 | 365 | 1167 | 248 | 18115 | 17753 | 593 | 537 | 2873 | 2772 | 3227 | 3290 | 1100 | 1143 | 1195 | 1180 | 4801 | 5499 | 5750 | 6715 | 319 | 269 | 239 | 223
578 | 359 | 1149 | 233 | 17335 | 16937 | 573 | 515 | 2802 | 2682 | 3139 | 3190 | 1095 | 1126 | 1175 | 1174 | 4659 | 5343 | 5671 | 6553 | 308 | 258 | 237 | 214
580 | 349 | 1154 | 224 | 16608 | 16309 | 562 | 507 | 2705 | 2626 | 3032 | 3094 | 1080 | 1110 | 1161 | 1159 | 4525 | 5186 | 5514 | 6426 | 297 | 249 | 227 | 205
582 | 340 | 1151 | 216 | 15936 | 15494 | 540 | 490 | 2634 | 2555 | 2957 | 3010 | 1087 | 1096 | 1150 | 1149 | 4422 | 5049 | 5407 | 6252 | 283 | 238 | 216 | 202
584 | 327 | 1121 | 206 | 15143 | 14686 | 521 | 471 | 2533 | 2458 | 2854 | 2923 | 1056 | 1074 | 1124 | 1132 | 4331 | 4903 | 5256 | 6117 | 271 | 231 | 206 | 191
586 | 315 | 1114 | 192 | 14544 | 14170 | 501 | 451 | 2497 | 2385 | 2769 | 2821 | 1039 | 1061 | 1113 | 1099 | 4227 | 4803 | 5177 | 5931 | 259 | 218 | 194 | 180
588 | 301 | 1110 | 179 | 13819 | 13529 | 483 | 435 | 2397 | 2314 | 2684 | 2718 | 1007 | 1033 | 1084 | 1081 | 4134 | 4694 | 5015 | 5773 | 247 | 209 | 188 | 174
590 | 288 | 1088 | 169 | 13370 | 12967 | 461 | 416 | 2338 | 2245 | 2627 | 2638 | 993 | 1008 | 1061 | 1067 | 4020 | 4590 | 4928 | 5693 | 238 | 200 | 183 | 163
592 | 278 | 1061 | 158 | 12715 | 12373 | 443 | 398 | 2263 | 2162 | 2537 | 2548 | 972 | 998 | 1052 | 1041 | 3945 | 4454 | 4813 | 5512 | 226 | 190 | 171 | 153
594 | 260 | 1041 | 152 | 12200 | 11892 | 424 | 377 | 2207 | 2123 | 2442 | 2481 | 952 | 983 | 1019 | 1022 | 3845 | 4370 | 4719 | 5432 | 212 | 180 | 158 | 147
596 | 245 | 1027 | 139 | 11641 | 11343 | 399 | 363 | 2120 | 2053 | 2362 | 2370 | 938 | 954 | 1002 | 1002 | 3756 | 4272 | 4592 | 5329 | 203 | 170 | 151 | 138
598 | 228 | 1018 | 130 | 11150 | 10904 | 385 | 340 | 2068 | 1994 | 2299 | 2315 | 918 | 943 | 978 | 979 | 3700 | 4185 | 4467 | 5180 | 198 | 160 | 146 | 132
600 | 221 | 997 | 122 | 10614 | 10349 | 357 | 325 | 2007 | 1914 | 2199 | 2203 | 892 | 920 | 959 | 958 | 3595 | 4114 | 4373 | 5044 | 182 | 155 | 137 | 122
602 | 209 | 967 | 114 | 10194 | 9952 | 347 | 311 | 1920 | 1857 | 2129 | 2160 | 876 | 898 | 935 | 932 | 3541 | 4022 | 4314 | 4940 | 175 | 141 | 131 | 119
604 | 204 | 956 | 108 | 9741 | 9548 | 331 | 296 | 1867 | 1797 | 2062 | 2091 | 851 | 884 | 919 | 917 | 3498 | 3964 | 4202 | 4824 | 166 | 137 | 124 | 114
606 | 190 | 932 | 101 | 9349 | 9122 | 313 | 282 | 1801 | 1764 | 2004 | 2013 | 833 | 858 | 899 | 896 | 3431 | 3935 | 4128 | 4775 | 160 | 134 | 120 | 105
608 | 183 | 923 | 100 | 8949 | 8678 | 302 | 269 | 1771 | 1713 | 1935 | 1942 | 818 | 837 | 883 | 881 | 3389 | 3862 | 4081 | 4657 | 155 | 127 | 114 | 102
610 | 180 | 902 | 93 | 8599 | 8473 | 293 | 260 | 1720 | 1646 | 1877 | 1883 | 806 | 819 | 863 | 853 | 3354 | 3829 | 4009 | 4626 | 145 | 124 | 113 | 96
612 | 172 | 886 | 92 | 8200 | 8037 | 277 | 249 | 1665 | 1603 | 1836 | 1837 | 781 | 800 | 843 | 836 | 3322 | 3797 | 3961 | 4558 | 145 | 116 | 104 | 96
614 | 162 | 864 | 86 | 7824 | 7686 | 271 | 241 | 1605 | 1544 | 1770 | 1761 | 764 | 790 | 823 | 815 | 3275 | 3734 | 3943 | 4455 | 135 | 114 | 104 | 92
616 | 161 | 844 | 82 | 7503 | 7320 | 263 | 232 | 1553 | 1503 | 1700 | 1740 | 749 | 770 | 796 | 790 | 3220 | 3731 | 3856 | 4379 | 131 | 112 | 103 | 90
618 | 151 | 833 | 78 | 7165 | 6969 | 252 | 219 | 1505 | 1448 | 1655 | 1649 | 731 | 751 | 788 | 789 | 3235 | 3705 | 3829 | 4340 | 128 | 107 | 95 | 85
620 | 146 | 813 | 74 | 6827 | 6694 | 241 | 215 | 1457 | 1417 | 1603 | 1610 | 719 | 725 | 762 | 753 | 3199 | 3633 | 3745 | 4255 | 123 | 106 | 93 | 83
622 | 145 | 803 | 73 | 6499 | 6465 | 227 | 206 | 1419 | 1353 | 1552 | 1555 | 702 | 721 | 747 | 744 | 3140 | 3614 | 3713 | 4208 | 121 | 103 | 91 | 80
624 | 140 | 773 | 71 | 6214 | 6119 | 226 | 201 | 1381 | 1319 | 1502 | 1509 | 690 | 711 | 733 | 728 | 3139 | 3564 | 3675 | 4166 | 116 | 99 | 88 | 79
626 | 139 | 769 | 68 | 5926 | 5885 | 212 | 187 | 1324 | 1297 | 1463 | 1443 | 669 | 674 | 722 | 697 | 3094 | 3533 | 3605 | 4076 | 116 | 97 | 86 | 78
628 | 130 | 738 | 67 | 5693 | 5628 | 205 | 187 | 1278 | 1247 | 1412 | 1410 | 644 | 666 | 695 | 690 | 3026 | 3448 | 3517 | 4013 | 108 | 89 | 84 | 74
630 | 125 | 730 | 65 | 5481 | 5360 | 197 | 183 | 1244 | 1207 | 1373 | 1352 | 622 | 637 | 679 | 661 | 2995 | 3399 | 3437 | 3888 | 105 | 90 | 82 | 70
632 | 120 | 709 | 60 | 5201 | 5127 | 194 | 170 | 1196 | 1167 | 1310 | 1304 | 609 | 631 | 658 | 653 | 2897 | 3330 | 3352 | 3817 | 104 | 90 | 77 | 69
634 | 117 | 694 | 60 | 4979 | 4972 | 182 | 165 | 1176 | 1128 | 1275 | 1261 | 597 | 608 | 646 | 632 | 2833 | 3229 | 3291 | 3723 | 100 | 83 | 73 | 70
636 | 119 | 678 | 56 | 4734 | 4706 | 175 | 163 | 1132 | 1091 | 1230 | 1233 | 584 | 591 | 634 | 618 | 2781 | 3157 | 3220 | 3603 | 97 | 81 | 75 | 69
638 | 114 | 653 | 55 | 4538 | 4510 | 171 | 153 | 1100 | 1048 | 1185 | 1188 | 568 | 575 | 616 | 594 | 2649 | 3055 | 3068 | 3509 | 94 | 84 | 71 | 63
640 | 108 | 637 | 55 | 4304 | 4289 | 166 | 147 | 1062 | 1027 | 1152 | 1139 | 554 | 562 | 596 | 587 | 2559 | 2954 | 2966 | 3385 | 92 | 78 | 73 | 63
End Time | 29.9 G4: 2025-08-06 10:26:08
Start Time | 29.9 G4: 2025-08-06 10:26:13
Shaking (Linear) Duration [s] | 29.9 G4: 10
Shaking (Linear) Position | 29.9 G4: Current
Shaking (Linear) Amplitude [mm] | bar: 29.9 G4
Shaking (Linear) Frequency [rpm] | 29.9 G4: 1440
End Time | 29.9 G4: 2025-08-06 10:26:23
Mode | G1: Fluorescence Intensity Scan Top Reading
Name | G1: Fluorescence 2
Scan selection | 29.9 G4: Emission Scan
Excitation | 29.9 G4: Monochromator
Excitation wavelength [nm] | 29.9 G4: 483
Excitation bandwidth [nm] | 29.9 G4: 20
Emission wavelength start [nm] | 29.9 G4: 520
Emission wavelength end [nm] | 29.9 G4: 640
Emission wavelength step size [nm] | 29.9 G4: 2
Emission scan number | 29.9 G4: 61
Emission bandwidth [nm] | 29.9 G4: 20
Gain Manual | 29.9 G4: 100
Mirror | 29.9 G4: Automatic (Dichroic 510)
Number of flashes | 29.9 G4: 30
Integration time [µs] | 29.9 G4: 40
Lag time [µs] | 29.9 G4: 0
Settle time [ms] | 29.9 G4: 0
Z-Position [μm] | 29.9 G4: 20000
Z-Position mode | 29.9 G4: Manual
Part of Plate | 29.9 G4: G1-G12;H1-H11
Start Time | 29.9 G4: 2025-08-06 10:26:23
Temperature [°C] | 29.9 G4: 29.8
Wavel. | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11
520 | 2825 | 3247 | 2747 | 32337 | 32490 | 3042 | 2609 | 4296 | 4431 | 4179 | 4279 | 3226 | 3177 | 3133 | 2941 | 9961 | 10891 | 9988 | 11681 | 3214 | 3237 | 3121 | 3300
522 | 414 | 857 | 336 | 30667 | 30489 | 635 | 565 | 1973 | 1955 | 2256 | 2392 | 849 | 842 | 889 | 899 | 7104 | 8624 | 7580 | 9118 | 361 | 343 | 308 | 316
524 | 342 | 821 | 236 | 31118 | 30722 | 574 | 510 | 2006 | 1994 | 2292 | 2432 | 811 | 777 | 869 | 871 | 7028 | 8498 | 7503 | 9068 | 261 | 230 | 210 | 196
526 | 336 | 854 | 225 | 31210 | 31011 | 591 | 512 | 2133 | 2104 | 2449 | 2611 | 849 | 804 | 890 | 903 | 6986 | 8431 | 7509 | 9058 | 266 | 225 | 206 | 186
528 | 331 | 882 | 223 | 31471 | 31075 | 598 | 530 | 2237 | 2213 | 2576 | 2762 | 875 | 838 | 936 | 938 | 6967 | 8350 | 7531 | 9041 | 268 | 232 | 204 | 191
530 | 334 | 898 | 224 | 31262 | 31066 | 606 | 535 | 2353 | 2332 | 2701 | 2907 | 910 | 866 | 974 | 973 | 6880 | 8262 | 7544 | 9065 | 281 | 237 | 211 | 195
532 | 334 | 939 | 226 | 30977 | 30905 | 617 | 546 | 2442 | 2428 | 2833 | 3045 | 949 | 906 | 1019 | 1018 | 6809 | 8160 | 7478 | 9024 | 289 | 244 | 210 | 195
534 | 339 | 958 | 218 | 30731 | 30558 | 614 | 540 | 2554 | 2518 | 2945 | 3163 | 993 | 928 | 1046 | 1050 | 6793 | 8073 | 7450 | 8947 | 296 | 242 | 216 | 197
536 | 338 | 975 | 223 | 30599 | 30394 | 626 | 542 | 2638 | 2598 | 3064 | 3249 | 1017 | 959 | 1074 | 1080 | 6696 | 7911 | 7431 | 8897 | 304 | 252 | 216 | 199
538 | 336 | 999 | 222 | 30434 | 30032 | 623 | 552 | 2692 | 2659 | 3128 | 3352 | 1044 | 989 | 1112 | 1120 | 6650 | 7804 | 7416 | 8825 | 309 | 255 | 221 | 199
540 | 337 | 1024 | 226 | 29946 | 29520 | 635 | 547 | 2780 | 2703 | 3194 | 3440 | 1081 | 1027 | 1150 | 1152 | 6502 | 7675 | 7385 | 8702 | 319 | 259 | 226 | 205
542 | 336 | 1059 | 224 | 29523 | 29059 | 634 | 546 | 2824 | 2798 | 3251 | 3514 | 1103 | 1036 | 1173 | 1185 | 6489 | 7562 | 7355 | 8716 | 320 | 260 | 223 | 208
544 | 341 | 1079 | 230 | 29073 | 28696 | 634 | 552 | 2847 | 2802 | 3293 | 3558 | 1134 | 1071 | 1206 | 1220 | 6338 | 7394 | 7253 | 8580 | 334 | 262 | 232 | 213
546 | 341 | 1101 | 232 | 28535 | 28024 | 633 | 550 | 2861 | 2819 | 3318 | 3536 | 1150 | 1091 | 1227 | 1240 | 6260 | 7290 | 7210 | 8471 | 332 | 270 | 239 | 212
548 | 346 | 1117 | 231 | 27675 | 27350 | 630 | 552 | 2857 | 2822 | 3283 | 3516 | 1166 | 1112 | 1258 | 1255 | 6152 | 7165 | 7036 | 8378 | 339 | 272 | 236 | 218
550 | 350 | 1133 | 231 | 26906 | 26382 | 625 | 545 | 2849 | 2780 | 3260 | 3505 | 1181 | 1122 | 1275 | 1274 | 5973 | 6886 | 6905 | 8130 | 340 | 271 | 237 | 213
552 | 348 | 1149 | 239 | 26182 | 25736 | 624 | 550 | 2821 | 2772 | 3248 | 3460 | 1199 | 1127 | 1295 | 1290 | 5842 | 6724 | 6756 | 7970 | 337 | 274 | 242 | 223
554 | 353 | 1157 | 238 | 25241 | 24857 | 615 | 545 | 2790 | 2731 | 3199 | 3436 | 1213 | 1153 | 1298 | 1298 | 5630 | 6552 | 6610 | 7789 | 336 | 274 | 245 | 217
556 | 351 | 1169 | 248 | 24536 | 24151 | 612 | 546 | 2755 | 2716 | 3117 | 3345 | 1220 | 1149 | 1307 | 1301 | 5524 | 6404 | 6470 | 7641 | 336 | 271 | 241 | 223
558 | 354 | 1168 | 242 | 23656 | 23316 | 608 | 549 | 2728 | 2656 | 3094 | 3298 | 1221 | 1175 | 1306 | 1309 | 5352 | 6229 | 6288 | 7398 | 334 | 269 | 244 | 225
560 | 359 | 1190 | 241 | 22811 | 22395 | 612 | 552 | 2658 | 2600 | 3037 | 3255 | 1231 | 1165 | 1333 | 1318 | 5202 | 6074 | 6188 | 7204 | 330 | 278 | 244 | 224
562 | 358 | 1199 | 250 | 22050 | 21605 | 599 | 544 | 2615 | 2588 | 2993 | 3185 | 1242 | 1181 | 1333 | 1327 | 5103 | 5881 | 6041 | 7099 | 331 | 271 | 246 | 222
564 | 359 | 1210 | 248 | 21159 | 20868 | 603 | 540 | 2585 | 2545 | 2937 | 3111 | 1233 | 1188 | 1341 | 1324 | 4936 | 5723 | 5859 | 6868 | 327 | 269 | 243 | 225
566 | 358 | 1204 | 247 | 20398 | 19827 | 591 | 535 | 2543 | 2466 | 2867 | 3026 | 1235 | 1175 | 1333 | 1316 | 4799 | 5512 | 5670 | 6668 | 319 | 267 | 239 | 225
568 | 357 | 1207 | 243 | 19518 | 19284 | 597 | 537 | 2483 | 2448 | 2805 | 2958 | 1219 | 1168 | 1333 | 1321 | 4674 | 5403 | 5565 | 6507 | 317 | 264 | 241 | 219
570 | 354 | 1201 | 240 | 18720 | 18318 | 574 | 519 | 2426 | 2360 | 2753 | 2874 | 1215 | 1174 | 1327 | 1309 | 4520 | 5199 | 5387 | 6312 | 311 | 258 | 234 | 216
572 | 351 | 1200 | 237 | 17950 | 17707 | 573 | 520 | 2360 | 2322 | 2686 | 2839 | 1218 | 1161 | 1322 | 1301 | 4387 | 5082 | 5259 | 6158 | 304 | 255 | 228 | 211
574 | 345 | 1199 | 226 | 17241 | 16759 | 552 | 509 | 2318 | 2264 | 2630 | 2737 | 1197 | 1162 | 1305 | 1296 | 4274 | 4922 | 5168 | 6027 | 292 | 249 | 227 | 208
576 | 343 | 1189 | 222 | 16383 | 16212 | 544 | 499 | 2283 | 2220 | 2555 | 2668 | 1183 | 1132 | 1292 | 1266 | 4198 | 4808 | 5045 | 5876 | 288 | 242 | 220 | 201
578 | 333 | 1181 | 211 | 15752 | 15435 | 533 | 492 | 2221 | 2170 | 2503 | 2614 | 1183 | 1139 | 1266 | 1254 | 4078 | 4690 | 4917 | 5722 | 275 | 238 | 214 | 195
580 | 328 | 1160 | 204 | 14991 | 14764 | 512 | 478 | 2156 | 2137 | 2428 | 2544 | 1159 | 1120 | 1262 | 1231 | 3965 | 4546 | 4793 | 5626 | 269 | 224 | 204 | 188
582 | 312 | 1158 | 192 | 14350 | 14084 | 505 | 463 | 2115 | 2082 | 2386 | 2511 | 1154 | 1100 | 1252 | 1235 | 3886 | 4450 | 4703 | 5482 | 259 | 220 | 199 | 180
584 | 302 | 1146 | 184 | 13676 | 13447 | 483 | 446 | 2064 | 2028 | 2317 | 2417 | 1130 | 1091 | 1228 | 1198 | 3782 | 4344 | 4574 | 5311 | 248 | 209 | 190 | 175
586 | 289 | 1142 | 173 | 13190 | 12880 | 468 | 431 | 2020 | 1971 | 2251 | 2358 | 1118 | 1063 | 1209 | 1187 | 3717 | 4241 | 4523 | 5199 | 240 | 202 | 179 | 167
588 | 278 | 1110 | 164 | 12513 | 12318 | 450 | 412 | 1974 | 1922 | 2204 | 2301 | 1082 | 1058 | 1177 | 1159 | 3584 | 4142 | 4373 | 5093 | 227 | 192 | 173 | 154
590 | 271 | 1110 | 153 | 12112 | 11825 | 431 | 401 | 1946 | 1892 | 2147 | 2239 | 1059 | 1030 | 1154 | 1141 | 3518 | 4031 | 4334 | 4969 | 219 | 183 | 168 | 150
592 | 256 | 1063 | 145 | 11468 | 11251 | 402 | 378 | 1880 | 1843 | 2079 | 2166 | 1049 | 1005 | 1134 | 1113 | 3458 | 3940 | 4188 | 4876 | 208 | 177 | 155 | 144
594 | 240 | 1055 | 134 | 11030 | 10794 | 394 | 358 | 1827 | 1765 | 2032 | 2115 | 1014 | 994 | 1112 | 1099 | 3371 | 3851 | 4109 | 4763 | 198 | 165 | 150 | 137
596 | 227 | 1040 | 122 | 10540 | 10256 | 377 | 344 | 1772 | 1725 | 1955 | 2056 | 1006 | 966 | 1074 | 1074 | 3312 | 3782 | 4011 | 4637 | 191 | 157 | 142 | 126
598 | 215 | 1007 | 121 | 10034 | 9882 | 356 | 324 | 1747 | 1686 | 1932 | 2010 | 986 | 946 | 1071 | 1039 | 3255 | 3711 | 3924 | 4525 | 179 | 149 | 131 | 123
600 | 206 | 991 | 108 | 9638 | 9464 | 336 | 304 | 1679 | 1633 | 1864 | 1926 | 954 | 925 | 1030 | 1021 | 3174 | 3622 | 3816 | 4389 | 167 | 138 | 126 | 114
602 | 194 | 966 | 102 | 9163 | 9060 | 325 | 294 | 1637 | 1595 | 1802 | 1891 | 925 | 892 | 1008 | 1000 | 3114 | 3564 | 3738 | 4333 | 164 | 138 | 122 | 107
604 | 184 | 942 | 101 | 8826 | 8689 | 309 | 282 | 1574 | 1543 | 1752 | 1836 | 918 | 872 | 981 | 975 | 3068 | 3483 | 3661 | 4250 | 153 | 131 | 111 | 103
606 | 175 | 935 | 97 | 8440 | 8315 | 292 | 275 | 1534 | 1513 | 1723 | 1762 | 890 | 867 | 968 | 943 | 3016 | 3443 | 3627 | 4177 | 147 | 125 | 107 | 101
608 | 167 | 914 | 90 | 8047 | 7982 | 280 | 258 | 1508 | 1468 | 1675 | 1731 | 865 | 837 | 957 | 926 | 3000 | 3415 | 3553 | 4094 | 143 | 117 | 108 | 97
610 | 161 | 897 | 85 | 7806 | 7637 | 268 | 245 | 1476 | 1439 | 1623 | 1687 | 848 | 823 | 930 | 918 | 2937 | 3391 | 3507 | 4033 | 134 | 114 | 103 | 93
612 | 152 | 882 | 87 | 7451 | 7300 | 259 | 234 | 1455 | 1400 | 1583 | 1645 | 839 | 803 | 898 | 894 | 2893 | 3354 | 3442 | 3943 | 132 | 108 | 100 | 88
614 | 149 | 858 | 78 | 7122 | 7067 | 255 | 233 | 1392 | 1358 | 1543 | 1558 | 813 | 782 | 888 | 867 | 2868 | 3303 | 3410 | 3916 | 129 | 108 | 94 | 85
616 | 142 | 843 | 76 | 6789 | 6719 | 240 | 220 | 1366 | 1330 | 1492 | 1559 | 804 | 768 | 863 | 843 | 2843 | 3289 | 3358 | 3851 | 120 | 104 | 91 | 81
618 | 142 | 820 | 73 | 6489 | 6444 | 234 | 215 | 1317 | 1293 | 1447 | 1499 | 767 | 756 | 847 | 816 | 2853 | 3241 | 3339 | 3811 | 114 | 98 | 89 | 80
620 | 133 | 808 | 70 | 6211 | 6150 | 219 | 208 | 1295 | 1247 | 1409 | 1452 | 752 | 721 | 817 | 803 | 2801 | 3246 | 3277 | 3745 | 114 | 95 | 85 | 78
622 | 130 | 794 | 68 | 5961 | 5886 | 213 | 194 | 1258 | 1221 | 1377 | 1409 | 737 | 711 | 802 | 786 | 2775 | 3196 | 3233 | 3717 | 111 | 94 | 84 | 75
624 | 122 | 759 | 66 | 5707 | 5572 | 199 | 192 | 1215 | 1184 | 1329 | 1364 | 718 | 693 | 781 | 770 | 2720 | 3173 | 3196 | 3648 | 105 | 90 | 81 | 70
626 | 120 | 757 | 63 | 5465 | 5388 | 199 | 183 | 1174 | 1136 | 1293 | 1332 | 689 | 677 | 758 | 737 | 2716 | 3143 | 3118 | 3573 | 102 | 88 | 79 | 71
628 | 118 | 730 | 59 | 5161 | 5131 | 192 | 179 | 1152 | 1113 | 1266 | 1285 | 677 | 660 | 745 | 724 | 2679 | 3071 | 3101 | 3488 | 99 | 85 | 78 | 69
630 | 112 | 707 | 57 | 4960 | 4889 | 187 | 171 | 1128 | 1086 | 1210 | 1245 | 670 | 638 | 718 | 700 | 2614 | 3004 | 2996 | 3447 | 94 | 82 | 75 | 65
632 | 110 | 696 | 55 | 4732 | 4667 | 178 | 165 | 1077 | 1056 | 1178 | 1212 | 642 | 628 | 701 | 678 | 2572 | 2945 | 2956 | 3332 | 92 | 80 | 73 | 64
634 | 107 | 679 | 53 | 4524 | 4491 | 173 | 158 | 1046 | 1012 | 1141 | 1169 | 622 | 611 | 682 | 666 | 2492 | 2871 | 2912 | 3235 | 93 | 78 | 69 | 61
636 | 103 | 664 | 53 | 4347 | 4303 | 164 | 158 | 1029 | 979 | 1115 | 1134 | 608 | 596 | 678 | 646 | 2421 | 2778 | 2786 | 3202 | 87 | 78 | 66 | 63
638 | 97 | 639 | 49 | 4136 | 4111 | 161 | 147 | 989 | 949 | 1074 | 1093 | 587 | 580 | 648 | 631 | 2368 | 2710 | 2704 | 3096 | 88 | 71 | 66 | 58
640 | 97 | 639 | 50 | 3981 | 3941 | 152 | 143 | 953 | 917 | 1038 | 1071 | 568 | 571 | 632 | 619 | 2232 | 2643 | 2601 | 2962 | 82 | 71 | 67 | 59
End Time | 29.8 G4: 2025-08-06 10:42:54
Start Time | 29.8 G4: 2025-08-06 10:42:57
Shaking (Linear) Duration [s] | 29.8 G4: 10
Shaking (Linear) Position | 29.8 G4: Current
Shaking (Linear) Amplitude [mm] | bar: 29.8 G4
Shaking (Linear) Frequency [rpm] | 29.8 G4: 1440
End Time | 29.8 G4: 2025-08-06 10:43:07
Mode | G1: Absorbance
Name | G1: blue 1
Measurement wavelength [nm] | 29.8 G4: 640
Number of flashes | 29.8 G4: 10
Settle time [ms] | 29.8 G4: 50
Part of Plate | 29.8 G4: G1-G12;H1-H11
Start Time | 29.8 G4: 2025-08-06 10:43:07
Temperature [°C] | 29.8 G4: 29.9
<> | G1: 1; G2: 2; G3: 3; 29.8 G4: 4; 29.8 G5: 5; 29.8 G6: 6; 29.8 G7: 7; 29.8 G8: 8; 29.8 G9: 9; 29.8 G10: 10; 29.8 G11: 11; 29.8 G12: 12
A
B
C
D
E
F
G | G1: 0.0416; G2: 0.0587; G3: 0.0401; 29.8 G4: 0.0467; 29.8 G5: 0.0479; 29.8 G6: 0.0409; 29.8 G7: 0.0407; 29.8 G8: 0.058; 29.8 G9: 0.0693; 29.8 G10: 0.0624; 29.8 G11: 0.0641; 29.8 G12: 0.0547
H | G1: 0.0553; G2: 0.0564; G3: 0.056; 29.8 G4: 0.0542; 29.8 G5: 0.0439; 29.8 G6: 0.0462; 29.8 G7: 0.0458; 29.8 G8: 0.0399; 29.8 G9: 0.0404; 29.8 G10: 0.0401; 29.8 G11: 0.0402
End Time | 29.8 G4: 2025-08-06 10:43:15
Mode | G1: Absorbance
Name | G1: blue 2
Measurement wavelength [nm] | 29.8 G4: 640
Number of flashes | 29.8 G4: 10
Settle time [ms] | 29.8 G4: 50
Part of Plate | 29.8 G4: G1-G12;H1-H11
Start Time | 29.8 G4: 2025-08-06 10:43:18
Temperature [°C] | 29.8 G4: 29.9
<> | G1: 1; G2: 2; G3: 3; 29.8 G4: 4; 29.8 G5: 5; 29.8 G6: 6; 29.8 G7: 7; 29.8 G8: 8; 29.8 G9: 9; 29.8 G10: 10; 29.8 G11: 11; 29.8 G12: 12
A
B
C
D
E
F
G | G1: 0.0418; G2: 0.06; G3: 0.0401; 29.8 G4: 0.0463; 29.8 G5: 0.0481; 29.8 G6: 0.0405; 29.8 G7: 0.0405; 29.8 G8: 0.0584; 29.8 G9: 0.0711; 29.8 G10: 0.0635; 29.8 G11: 0.0633; 29.8 G12: 0.0595
H | G1: 0.0556; G2: 0.0564; G3: 0.0558; 29.8 G4: 0.056; 29.8 G5: 0.0441; 29.8 G6: 0.0463; 29.8 G7: 0.046; 29.8 G8: 0.04; 29.8 G9: 0.0404; 29.8 G10: 0.0401; 29.8 G11: 0.0398
End Time | 29.8 G4: 2025-08-06 10:43:26
Mode | G1: Absorbance
Name | G1: red 1
Measurement wavelength [nm] | 29.8 G4: 530
Number of flashes | 29.8 G4: 10
Settle time [ms] | 29.8 G4: 50
Part of Plate | 29.8 G4: G1-G12;H1-H11
Start Time | 29.8 G4: 2025-08-06 10:43:28
Temperature [°C] | 29.8 G4: 30
<> | G1: 1; G2: 2; G3: 3; 29.8 G4: 4; 29.8 G5: 5; 29.8 G6: 6; 29.8 G7: 7; 29.8 G8: 8; 29.8 G9: 9; 29.8 G10: 10; 29.8 G11: 11; 29.8 G12: 12
A
B
C
D
E
F
G | G1: 0.0438; G2: 0.0721; G3: 0.0427; 29.8 G4: 0.0593; 29.8 G5: 0.0624; 29.8 G6: 0.0434; 29.8 G7: 0.0433; 29.8 G8: 0.0679; 29.8 G9: 0.0796; 29.8 G10: 0.082; 29.8 G11: 0.0677; 29.8 G12: 0.0662
H | G1: 0.0673; G2: 0.0685; G3: 0.0672; 29.8 G4: 0.0992; 29.8 G5: 0.0877; 29.8 G6: 0.1069; 29.8 G7: 0.1089; 29.8 G8: 0.0434; 29.8 G9: 0.0435; 29.8 G10: 0.0429; 29.8 G11: 0.0428
End Time | 29.8 G4: 2025-08-06 10:43:36
Mode | G1: Absorbance
Name | G1: red 2
Measurement wavelength [nm] | 29.8 G4: 530
Number of flashes | 29.8 G4: 10
Settle time [ms] | 29.8 G4: 50
Part of Plate | 29.8 G4: G1-G12;H1-H11
Start Time | 29.8 G4: 2025-08-06 10:43:39
Temperature [°C] | 29.8 G4: 30
<> | G1: 1; G2: 2; G3: 3; 29.8 G4: 4; 29.8 G5: 5; 29.8 G6: 6; 29.8 G7: 7; 29.8 G8: 8; 29.8 G9: 9; 29.8 G10: 10; 29.8 G11: 11; 29.8 G12: 12
A
B
C
D
E
F
G | G1: 0.044; G2: 0.0719; G3: 0.043; 29.8 G4: 0.0595; 29.8 G5: 0.063; 29.8 G6: 0.0435; 29.8 G7: 0.0436; 29.8 G8: 0.0673; 29.8 G9: 0.0767; 29.8 G10: 0.0704; 29.8 G11: 0.0681; 29.8 G12: 0.0665
H | G1: 0.0669; G2: 0.0676; G3: 0.069; 29.8 G4: 0.096; 29.8 G5: 0.0875; 29.8 G6: 0.1067; 29.8 G7: 0.109; 29.8 G8: 0.0435; 29.8 G9: 0.0436; 29.8 G10: 0.0431; 29.8 G11: 0.0428
End Time | 29.8 G4: 2025-08-06 10:43:46
Ex | Blank | BlankB | BlankR | DOE 21.3 | DOE 21.3 | DOE 22.3 | DOE 22.3 | DOE 21.3 | DOE 21.3 | DOE 21.3 | DOE 21.3 | DOE 22.3 | DOE 22.3 | DOE 22.3 | DOE 22.3 | DOE 21.3 | DOE 21.3 | DOE 21.3 | DOE 21.3 | DOE 22.3 | DOE 22.3 | DOE 22.3 | DOE 22.3
Ex | Blank | BlankB | BlankR | f | f | f | f | b | b | b | b | b | b | b | b | r | r | r | r | r | r | r | r
Ex | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1