## Result sheet
Method name: LS_241112_Fluorescence_Actino_Sample (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1708008206
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦PODI:V1.10.2
Date: |  |  |  | 2025-08-08
Time: |  |  |  | 10:35
System |  |  |  | IBVT171
User |  |  |  | IBVT171\Tecan
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Wait
Shaking
Wait
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Fluorescence 1
Shaking
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Fluorescence 2
Shaking
| Absorbance |  |  |  |  | blue 1
| Absorbance |  |  |  |  | blue 2
| Absorbance |  |  |  |  | red 1
| Absorbance |  |  |  |  | red 2
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | A1-A12;B1-B11
Start Time |  |  |  | 2025-08-08 09:56:01
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 30
Wait minimum [°C] |  |  |  | 29
Wait maximum [°C] |  |  |  | 31
End Time |  |  |  | 2025-08-08 09:56:01
Start Time |  |  |  | 2025-08-08 09:56:01
Shaking (Linear) Duration [s] |  |  |  | 7
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-08-08 09:56:08
Start Time |  |  |  | 2025-08-08 09:56:08
Wait (Time) hh:mm:ss |  |  |  | 00:05:01
Wait position |  |  |  | Current
End Time |  |  |  | 2025-08-08 10:01:09
Start Time |  |  |  | 2025-08-08 10:01:09
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-08-08 10:01:19
Start Time |  |  |  | 2025-08-08 10:01:19
Wait (Time) hh:mm:ss |  |  |  | 00:00:10
Wait position |  |  |  | Current
End Time |  |  |  | 2025-08-08 10:01:29
Mode | Fluorescence Intensity Scan Top Reading
Name | Fluorescence 1
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-A12;B1-B11
Start Time |  |  |  | 2025-08-08 10:01:29
Temperature [°C] |  |  |  | 29.9
Wavel. | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11
520 | 2474 | 2459 | 2487 | 37710 | 37417 | 3512 | 4879 | 6973 | 7127 | 6265 | 6226 | 2941 | 2612 | 2528 | 2582 | 7937 | 8204 | 8352 | 8659 | 3375 | 3334 | 3477 | 4010
522 | 453 | 394 | 327 | 36945 | 36622 | 1305 | 2481 | 5558 | 6124 | 4805 | 4356 | 413 | 462 | 473 | 497 | 5469 | 6435 | 6067 | 6818 | 501 | 472 | 1078 | 1054
524 | 372 | 334 | 249 | 37442 | 37000 | 1280 | 2455 | 6017 | 6601 | 5139 | 4685 | 347 | 400 | 405 | 427 | 5550 | 6640 | 6151 | 6977 | 437 | 396 | 1025 | 975
526 | 375 | 333 | 250 | 37899 | 37358 | 1324 | 2511 | 6603 | 7250 | 5645 | 5080 | 342 | 391 | 405 | 419 | 5705 | 6941 | 6471 | 7296 | 462 | 409 | 1041 | 995
528 | 375 | 336 | 242 | 38194 | 37692 | 1364 | 2547 | 7168 | 7918 | 6057 | 5519 | 348 | 397 | 406 | 426 | 5886 | 7161 | 6685 | 7595 | 489 | 436 | 1057 | 1012
530 | 370 | 336 | 242 | 38129 | 37704 | 1393 | 2598 | 7719 | 8599 | 6534 | 5877 | 351 | 401 | 412 | 427 | 6113 | 7538 | 6993 | 7919 | 524 | 452 | 1087 | 1034
532 | 372 | 331 | 241 | 38290 | 37781 | 1437 | 2597 | 8371 | 9328 | 6928 | 6281 | 351 | 406 | 410 | 434 | 6274 | 7840 | 7275 | 8290 | 555 | 482 | 1108 | 1064
534 | 369 | 334 | 244 | 37901 | 37590 | 1454 | 2618 | 8754 | 9824 | 7321 | 6582 | 351 | 412 | 416 | 437 | 6411 | 8078 | 7526 | 8544 | 583 | 503 | 1130 | 1062
536 | 368 | 339 | 241 | 37497 | 37462 | 1484 | 2610 | 9245 | 10382 | 7684 | 6911 | 351 | 419 | 424 | 436 | 6631 | 8473 | 7857 | 8871 | 613 | 522 | 1136 | 1074
538 | 374 | 340 | 240 | 37235 | 36988 | 1490 | 2597 | 9634 | 10830 | 7984 | 7192 | 355 | 419 | 425 | 438 | 6764 | 8704 | 8029 | 9163 | 629 | 544 | 1138 | 1088
540 | 371 | 339 | 246 | 36872 | 36725 | 1478 | 2592 | 9958 | 11176 | 8212 | 7362 | 355 | 419 | 417 | 435 | 6935 | 8993 | 8288 | 9467 | 653 | 561 | 1156 | 1095
542 | 374 | 345 | 245 | 36658 | 36518 | 1492 | 2601 | 10186 | 11511 | 8329 | 7505 | 363 | 422 | 429 | 438 | 7092 | 9221 | 8498 | 9687 | 682 | 569 | 1165 | 1111
544 | 377 | 343 | 249 | 36155 | 35872 | 1494 | 2602 | 10300 | 11743 | 8498 | 7635 | 364 | 429 | 435 | 446 | 7230 | 9423 | 8731 | 9918 | 692 | 585 | 1176 | 1124
546 | 382 | 344 | 248 | 35603 | 35303 | 1479 | 2559 | 10282 | 11691 | 8567 | 7652 | 366 | 431 | 437 | 451 | 7392 | 9588 | 8869 | 10076 | 700 | 600 | 1176 | 1118
548 | 379 | 345 | 252 | 34640 | 34968 | 1454 | 2517 | 10263 | 11537 | 8453 | 7599 | 374 | 432 | 435 | 440 | 7359 | 9604 | 8929 | 10134 | 716 | 597 | 1168 | 1109
550 | 381 | 350 | 254 | 34150 | 33867 | 1425 | 2479 | 10103 | 11283 | 8319 | 7525 | 366 | 431 | 440 | 449 | 7402 | 9690 | 8909 | 10233 | 703 | 591 | 1149 | 1094
552 | 383 | 347 | 262 | 33300 | 33291 | 1419 | 2463 | 9816 | 11083 | 8211 | 7413 | 372 | 438 | 433 | 452 | 7437 | 9666 | 9053 | 10253 | 706 | 600 | 1143 | 1094
554 | 384 | 352 | 267 | 32415 | 32421 | 1377 | 2410 | 9655 | 10639 | 7945 | 7198 | 372 | 433 | 439 | 448 | 7415 | 9768 | 8967 | 10230 | 698 | 589 | 1131 | 1076
556 | 385 | 353 | 270 | 31816 | 31969 | 1358 | 2352 | 9355 | 10306 | 7762 | 7023 | 374 | 446 | 438 | 446 | 7435 | 9673 | 8899 | 10176 | 688 | 582 | 1116 | 1061
558 | 395 | 360 | 273 | 31027 | 30946 | 1326 | 2313 | 9010 | 9854 | 7453 | 6781 | 374 | 438 | 448 | 448 | 7424 | 9702 | 8923 | 10170 | 678 | 582 | 1101 | 1046
560 | 388 | 361 | 268 | 29969 | 30099 | 1322 | 2276 | 8668 | 9434 | 7190 | 6555 | 375 | 441 | 440 | 441 | 7442 | 9729 | 8886 | 10222 | 671 | 564 | 1093 | 1042
562 | 390 | 361 | 270 | 29266 | 29476 | 1305 | 2225 | 8433 | 9074 | 6996 | 6325 | 380 | 441 | 446 | 459 | 7441 | 9654 | 8913 | 10235 | 669 | 567 | 1071 | 1017
564 | 394 | 357 | 272 | 28468 | 28644 | 1274 | 2181 | 8025 | 8572 | 6764 | 6031 | 380 | 444 | 446 | 449 | 7488 | 9629 | 8989 | 10145 | 653 | 551 | 1051 | 1007
566 | 396 | 359 | 269 | 27323 | 27673 | 1249 | 2126 | 7678 | 8157 | 6383 | 5858 | 376 | 441 | 438 | 443 | 7522 | 9697 | 8939 | 10191 | 652 | 551 | 1025 | 973
568 | 395 | 359 | 263 | 26601 | 26822 | 1210 | 2083 | 7325 | 7814 | 6192 | 5633 | 380 | 443 | 441 | 445 | 7477 | 9700 | 8915 | 10193 | 630 | 542 | 1009 | 953
570 | 389 | 360 | 258 | 25835 | 25961 | 1203 | 2042 | 7036 | 7395 | 5918 | 5378 | 377 | 437 | 445 | 428 | 7564 | 9691 | 8968 | 10209 | 616 | 533 | 983 | 935
572 | 387 | 345 | 253 | 25126 | 24954 | 1164 | 1983 | 6707 | 7066 | 5689 | 5110 | 368 | 435 | 432 | 432 | 7581 | 9707 | 8966 | 10201 | 617 | 529 | 957 | 925
574 | 379 | 353 | 252 | 24186 | 24265 | 1132 | 1909 | 6393 | 6764 | 5369 | 4891 | 367 | 424 | 424 | 425 | 7627 | 9759 | 9118 | 10273 | 597 | 511 | 954 | 888
576 | 377 | 342 | 241 | 23410 | 23515 | 1104 | 1872 | 6154 | 6451 | 5186 | 4751 | 363 | 417 | 422 | 414 | 7680 | 9897 | 9145 | 10279 | 593 | 502 | 923 | 880
578 | 369 | 333 | 230 | 22709 | 22700 | 1072 | 1800 | 5933 | 6162 | 5025 | 4552 | 349 | 417 | 414 | 412 | 7757 | 10011 | 9112 | 10382 | 569 | 500 | 889 | 845
580 | 356 | 318 | 221 | 21928 | 21966 | 1043 | 1733 | 5598 | 5885 | 4789 | 4377 | 340 | 403 | 400 | 396 | 7824 | 10046 | 9236 | 10438 | 563 | 485 | 876 | 824
582 | 344 | 309 | 209 | 21229 | 21352 | 1014 | 1703 | 5393 | 5709 | 4616 | 4194 | 331 | 384 | 388 | 379 | 7926 | 10107 | 9252 | 10502 | 545 | 480 | 850 | 797
584 | 326 | 300 | 196 | 20366 | 20370 | 974 | 1650 | 5159 | 5432 | 4449 | 4013 | 319 | 379 | 378 | 373 | 7924 | 10067 | 9279 | 10550 | 531 | 457 | 823 | 778
586 | 320 | 290 | 191 | 19774 | 19945 | 949 | 1593 | 4942 | 5252 | 4286 | 3885 | 308 | 357 | 366 | 364 | 7921 | 10161 | 9290 | 10523 | 528 | 447 | 804 | 770
588 | 305 | 276 | 177 | 19013 | 19138 | 902 | 1518 | 4728 | 4967 | 4084 | 3721 | 298 | 343 | 352 | 346 | 7928 | 10149 | 9224 | 10537 | 510 | 435 | 780 | 732
590 | 290 | 264 | 168 | 18450 | 18515 | 874 | 1471 | 4568 | 4805 | 3934 | 3587 | 285 | 333 | 334 | 332 | 7905 | 10128 | 9211 | 10419 | 496 | 424 | 760 | 720
592 | 277 | 243 | 160 | 17791 | 17835 | 828 | 1411 | 4354 | 4528 | 3741 | 3389 | 272 | 311 | 323 | 320 | 7901 | 10085 | 9173 | 10412 | 479 | 414 | 749 | 693
594 | 261 | 239 | 147 | 17374 | 17174 | 790 | 1346 | 4163 | 4395 | 3581 | 3314 | 254 | 305 | 311 | 308 | 7890 | 10083 | 9078 | 10340 | 460 | 401 | 708 | 668
596 | 250 | 223 | 137 | 16648 | 16526 | 765 | 1300 | 3960 | 4189 | 3497 | 3174 | 241 | 292 | 300 | 299 | 7828 | 9926 | 9079 | 10273 | 448 | 385 | 687 | 652
598 | 233 | 204 | 131 | 16114 | 16097 | 733 | 1239 | 3808 | 3975 | 3364 | 3033 | 228 | 275 | 289 | 283 | 7806 | 9884 | 8939 | 10170 | 430 | 369 | 663 | 625
600 | 215 | 196 | 119 | 15542 | 15473 | 692 | 1185 | 3633 | 3826 | 3195 | 2884 | 221 | 268 | 273 | 271 | 7736 | 9766 | 8790 | 10065 | 411 | 359 | 644 | 606
602 | 211 | 185 | 113 | 14796 | 14941 | 667 | 1141 | 3448 | 3622 | 3044 | 2774 | 211 | 255 | 263 | 260 | 7572 | 9596 | 8747 | 9943 | 406 | 344 | 624 | 583
604 | 200 | 177 | 108 | 14492 | 14498 | 639 | 1101 | 3309 | 3452 | 2930 | 2646 | 201 | 242 | 258 | 247 | 7538 | 9471 | 8684 | 9751 | 395 | 331 | 606 | 569
606 | 188 | 166 | 102 | 13975 | 14025 | 615 | 1054 | 3163 | 3314 | 2796 | 2552 | 186 | 230 | 249 | 245 | 7415 | 9406 | 8552 | 9677 | 376 | 323 | 593 | 554
608 | 182 | 157 | 96 | 13507 | 13543 | 593 | 1025 | 2996 | 3152 | 2698 | 2440 | 183 | 230 | 235 | 231 | 7376 | 9211 | 8388 | 9472 | 362 | 313 | 574 | 534
610 | 175 | 150 | 94 | 13156 | 13199 | 570 | 976 | 2884 | 3007 | 2603 | 2354 | 179 | 217 | 230 | 228 | 7282 | 9071 | 8303 | 9351 | 351 | 300 | 562 | 524
612 | 171 | 144 | 89 | 12616 | 12688 | 544 | 931 | 2774 | 2873 | 2472 | 2256 | 166 | 212 | 220 | 222 | 7220 | 8949 | 8127 | 9168 | 340 | 294 | 534 | 509
614 | 163 | 139 | 84 | 12267 | 12311 | 525 | 904 | 2609 | 2756 | 2375 | 2157 | 164 | 198 | 214 | 213 | 7074 | 8805 | 7990 | 9005 | 331 | 284 | 520 | 490
616 | 155 | 133 | 80 | 11780 | 11804 | 504 | 861 | 2527 | 2624 | 2292 | 2073 | 154 | 194 | 213 | 203 | 6951 | 8637 | 7775 | 8968 | 316 | 275 | 499 | 475
618 | 150 | 125 | 80 | 11420 | 11359 | 482 | 835 | 2380 | 2489 | 2195 | 1985 | 152 | 192 | 203 | 200 | 6844 | 8485 | 7699 | 8755 | 311 | 267 | 492 | 461
620 | 144 | 126 | 76 | 11050 | 10974 | 463 | 791 | 2277 | 2408 | 2092 | 1890 | 146 | 181 | 195 | 195 | 6710 | 8346 | 7568 | 8604 | 292 | 263 | 471 | 446
622 | 139 | 121 | 72 | 10702 | 10710 | 450 | 762 | 2175 | 2298 | 2016 | 1830 | 141 | 177 | 190 | 191 | 6635 | 8165 | 7440 | 8467 | 291 | 249 | 466 | 438
624 | 138 | 113 | 69 | 10268 | 10224 | 429 | 730 | 2101 | 2189 | 1944 | 1746 | 133 | 168 | 187 | 182 | 6537 | 8026 | 7312 | 8270 | 281 | 245 | 457 | 421
626 | 129 | 114 | 66 | 9927 | 9896 | 414 | 711 | 2006 | 2110 | 1862 | 1689 | 136 | 162 | 179 | 178 | 6377 | 7957 | 7179 | 8077 | 277 | 240 | 439 | 410
628 | 125 | 105 | 65 | 9558 | 9504 | 394 | 664 | 1932 | 2034 | 1798 | 1613 | 129 | 159 | 174 | 174 | 6278 | 7769 | 7040 | 7974 | 270 | 230 | 423 | 399
630 | 123 | 101 | 61 | 9128 | 9182 | 380 | 639 | 1825 | 1943 | 1720 | 1561 | 124 | 148 | 164 | 170 | 6180 | 7615 | 6886 | 7833 | 258 | 224 | 409 | 383
632 | 120 | 97 | 59 | 8797 | 8812 | 369 | 614 | 1769 | 1869 | 1662 | 1500 | 120 | 147 | 167 | 164 | 6028 | 7409 | 6748 | 7668 | 251 | 218 | 397 | 373
634 | 110 | 97 | 59 | 8517 | 8504 | 352 | 595 | 1697 | 1809 | 1608 | 1432 | 117 | 141 | 159 | 162 | 5900 | 7334 | 6605 | 7441 | 242 | 210 | 383 | 362
636 | 111 | 92 | 57 | 8274 | 8214 | 339 | 564 | 1646 | 1745 | 1544 | 1396 | 110 | 139 | 151 | 155 | 5820 | 7156 | 6450 | 7327 | 235 | 204 | 377 | 353
638 | 107 | 89 | 53 | 7968 | 7951 | 321 | 552 | 1572 | 1692 | 1478 | 1344 | 109 | 133 | 149 | 150 | 5676 | 7044 | 6375 | 7159 | 232 | 201 | 362 | 345
640 | 104 | 89 | 52 | 7719 | 7701 | 316 | 519 | 1531 | 1627 | 1428 | 1297 | 102 | 129 | 144 | 148 | 5469 | 6871 | 6181 | 7017 | 221 | 198 | 351 | 337
End Time | 29.9 A4: 2025-08-08 10:18:00
Start Time | 29.9 A4: 2025-08-08 10:18:05
Shaking (Linear) Duration [s] | 29.9 A4: 10
Shaking (Linear) Position | 29.9 A4: Current
Shaking (Linear) Amplitude [mm] | bar: 29.9 A4
Shaking (Linear) Frequency [rpm] | 29.9 A4: 1440
End Time | 29.9 A4: 2025-08-08 10:18:15
Mode | A1: Fluorescence Intensity Scan Top Reading
Name | A1: Fluorescence 2
Scan selection | 29.9 A4: Emission Scan
Excitation | 29.9 A4: Monochromator
Excitation wavelength [nm] | 29.9 A4: 483
Excitation bandwidth [nm] | 29.9 A4: 20
Emission wavelength start [nm] | 29.9 A4: 520
Emission wavelength end [nm] | 29.9 A4: 640
Emission wavelength step size [nm] | 29.9 A4: 2
Emission scan number | 29.9 A4: 61
Emission bandwidth [nm] | 29.9 A4: 20
Gain Manual | 29.9 A4: 100
Mirror | 29.9 A4: Automatic (Dichroic 510)
Number of flashes | 29.9 A4: 30
Integration time [µs] | 29.9 A4: 40
Lag time [µs] | 29.9 A4: 0
Settle time [ms] | 29.9 A4: 0
Z-Position [μm] | 29.9 A4: 20000
Z-Position mode | 29.9 A4: Manual
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-08-08 10:18:15
Temperature [°C] | 29.9 A4: 29.9
Wavel. | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11
520 | 2722 | 2540 | 2671 | 35281 | 35168 | 3577 | 4770 | 5899 | 6608 | 5097 | 5007 | 2626 | 2615 | 2509 | 3034 | 7570 | 7956 | 7785 | 8168 | 3518 | 3517 | 3728 | 4041
522 | 422 | 457 | 319 | 34272 | 33734 | 1192 | 2331 | 4230 | 5274 | 3687 | 3387 | 492 | 611 | 566 | 572 | 4798 | 5725 | 5306 | 5986 | 502 | 470 | 977 | 952
524 | 350 | 399 | 229 | 34784 | 34348 | 1168 | 2299 | 4479 | 5713 | 3879 | 3554 | 423 | 544 | 506 | 503 | 4805 | 5861 | 5405 | 6143 | 405 | 360 | 895 | 838
526 | 348 | 400 | 217 | 35038 | 34624 | 1208 | 2329 | 4840 | 6139 | 4212 | 3817 | 425 | 548 | 507 | 510 | 4952 | 6081 | 5657 | 6438 | 424 | 375 | 904 | 862
528 | 345 | 405 | 216 | 35197 | 34890 | 1254 | 2394 | 5178 | 6691 | 4463 | 4034 | 439 | 562 | 522 | 516 | 5089 | 6344 | 5850 | 6726 | 450 | 393 | 918 | 889
530 | 347 | 411 | 221 | 35304 | 35067 | 1275 | 2405 | 5525 | 7190 | 4738 | 4294 | 447 | 585 | 524 | 522 | 5273 | 6653 | 6096 | 7007 | 477 | 417 | 944 | 896
532 | 349 | 414 | 216 | 35160 | 35037 | 1308 | 2407 | 5890 | 7737 | 4976 | 4516 | 451 | 587 | 540 | 533 | 5466 | 6943 | 6374 | 7298 | 513 | 443 | 963 | 922
534 | 348 | 421 | 213 | 34965 | 34924 | 1324 | 2417 | 6184 | 8106 | 5226 | 4718 | 462 | 598 | 550 | 540 | 5628 | 7184 | 6589 | 7577 | 539 | 473 | 973 | 933
536 | 347 | 419 | 215 | 34771 | 34590 | 1325 | 2409 | 6453 | 8510 | 5388 | 4867 | 471 | 613 | 559 | 547 | 5786 | 7487 | 6847 | 7902 | 561 | 479 | 994 | 936
538 | 345 | 423 | 219 | 34431 | 34218 | 1352 | 2413 | 6664 | 8895 | 5563 | 5011 | 482 | 623 | 564 | 550 | 5937 | 7668 | 7053 | 8106 | 585 | 502 | 1006 | 959
540 | 349 | 433 | 216 | 34079 | 33914 | 1352 | 2426 | 6851 | 9096 | 5739 | 5156 | 482 | 626 | 564 | 555 | 6041 | 8007 | 7322 | 8384 | 612 | 519 | 1015 | 965
542 | 347 | 432 | 217 | 33822 | 33495 | 1368 | 2404 | 6965 | 9237 | 5825 | 5278 | 488 | 641 | 580 | 568 | 6262 | 8175 | 7487 | 8620 | 626 | 525 | 1018 | 980
544 | 352 | 432 | 221 | 33375 | 33300 | 1350 | 2391 | 7082 | 9421 | 5876 | 5354 | 490 | 653 | 587 | 571 | 6304 | 8354 | 7644 | 8836 | 637 | 539 | 1031 | 979
546 | 349 | 440 | 224 | 32842 | 32785 | 1347 | 2357 | 7065 | 9449 | 5937 | 5325 | 497 | 664 | 587 | 575 | 6372 | 8476 | 7780 | 8996 | 652 | 543 | 1035 | 985
548 | 355 | 441 | 231 | 32308 | 32242 | 1316 | 2332 | 7006 | 9316 | 5863 | 5285 | 510 | 666 | 594 | 588 | 6417 | 8566 | 7855 | 9044 | 657 | 549 | 1030 | 982
550 | 350 | 448 | 229 | 31281 | 31347 | 1297 | 2302 | 6949 | 9144 | 5790 | 5240 | 510 | 670 | 599 | 577 | 6466 | 8579 | 7908 | 9094 | 650 | 544 | 1016 | 961
552 | 357 | 453 | 228 | 30717 | 30756 | 1293 | 2259 | 6857 | 9000 | 5764 | 5161 | 515 | 667 | 601 | 582 | 6479 | 8606 | 7851 | 9095 | 649 | 541 | 1011 | 961
554 | 362 | 449 | 231 | 29992 | 30015 | 1264 | 2212 | 6655 | 8668 | 5574 | 5033 | 519 | 669 | 607 | 584 | 6443 | 8522 | 7847 | 9040 | 644 | 539 | 989 | 938
556 | 356 | 453 | 235 | 29211 | 29345 | 1238 | 2176 | 6497 | 8400 | 5505 | 4942 | 516 | 674 | 606 | 593 | 6437 | 8603 | 7851 | 9049 | 630 | 537 | 977 | 926
558 | 360 | 453 | 237 | 28474 | 28502 | 1225 | 2136 | 6331 | 8020 | 5306 | 4801 | 524 | 676 | 611 | 594 | 6477 | 8565 | 7869 | 9024 | 622 | 529 | 962 | 923
560 | 362 | 458 | 243 | 27766 | 27829 | 1198 | 2100 | 6087 | 7735 | 5190 | 4641 | 519 | 684 | 609 | 597 | 6458 | 8542 | 7812 | 8978 | 616 | 529 | 953 | 901
562 | 369 | 457 | 241 | 27123 | 27236 | 1177 | 2059 | 5947 | 7387 | 5045 | 4532 | 525 | 679 | 612 | 600 | 6515 | 8551 | 7818 | 8996 | 610 | 522 | 951 | 892
564 | 373 | 462 | 243 | 26462 | 26424 | 1163 | 2020 | 5691 | 7116 | 4874 | 4390 | 525 | 679 | 614 | 599 | 6500 | 8532 | 7781 | 8991 | 593 | 516 | 932 | 887
566 | 367 | 454 | 239 | 25391 | 25565 | 1139 | 1975 | 5534 | 6792 | 4696 | 4199 | 523 | 673 | 616 | 599 | 6506 | 8501 | 7802 | 9014 | 587 | 502 | 908 | 860
568 | 366 | 460 | 239 | 24640 | 24772 | 1115 | 1932 | 5310 | 6568 | 4505 | 4096 | 521 | 677 | 607 | 598 | 6527 | 8571 | 7793 | 8983 | 577 | 494 | 893 | 845
570 | 367 | 452 | 230 | 23844 | 23908 | 1089 | 1885 | 5079 | 6204 | 4383 | 3924 | 517 | 659 | 606 | 587 | 6619 | 8586 | 7916 | 9033 | 561 | 484 | 879 | 817
572 | 363 | 448 | 231 | 23026 | 23286 | 1074 | 1819 | 4872 | 5953 | 4217 | 3824 | 508 | 655 | 596 | 579 | 6646 | 8631 | 7860 | 9032 | 554 | 477 | 853 | 806
574 | 353 | 443 | 224 | 22428 | 22465 | 1044 | 1791 | 4674 | 5693 | 4064 | 3640 | 493 | 643 | 583 | 570 | 6647 | 8711 | 7939 | 9088 | 541 | 474 | 833 | 786
576 | 351 | 440 | 218 | 21640 | 21830 | 1006 | 1726 | 4531 | 5500 | 3930 | 3546 | 493 | 639 | 579 | 568 | 6726 | 8649 | 7973 | 9137 | 534 | 464 | 826 | 772
578 | 338 | 428 | 205 | 20985 | 21012 | 979 | 1673 | 4374 | 5281 | 3803 | 3404 | 484 | 625 | 567 | 554 | 6834 | 8793 | 8037 | 9190 | 526 | 461 | 799 | 747
580 | 334 | 415 | 194 | 20041 | 20274 | 958 | 1624 | 4193 | 5035 | 3653 | 3268 | 475 | 609 | 565 | 550 | 6814 | 8858 | 8031 | 9224 | 512 | 443 | 773 | 739
582 | 329 | 406 | 194 | 19604 | 19683 | 929 | 1575 | 4046 | 4874 | 3519 | 3179 | 464 | 599 | 547 | 532 | 6849 | 8928 | 8106 | 9276 | 499 | 432 | 763 | 721
584 | 315 | 388 | 180 | 18827 | 18981 | 895 | 1511 | 3861 | 4626 | 3407 | 3074 | 444 | 586 | 536 | 515 | 6926 | 8919 | 8131 | 9248 | 492 | 420 | 739 | 700
586 | 295 | 378 | 166 | 18291 | 18332 | 869 | 1475 | 3725 | 4465 | 3302 | 2972 | 443 | 563 | 523 | 503 | 6986 | 8946 | 8163 | 9334 | 477 | 407 | 718 | 669
588 | 289 | 367 | 161 | 17581 | 17635 | 833 | 1419 | 3612 | 4289 | 3177 | 2847 | 420 | 548 | 500 | 489 | 6949 | 8931 | 8066 | 9278 | 461 | 394 | 697 | 653
590 | 276 | 352 | 152 | 17050 | 17103 | 789 | 1349 | 3450 | 4156 | 3078 | 2783 | 400 | 524 | 494 | 468 | 6970 | 8932 | 8070 | 9329 | 450 | 389 | 672 | 633
592 | 259 | 332 | 137 | 16389 | 16440 | 761 | 1307 | 3358 | 3927 | 2954 | 2668 | 387 | 510 | 472 | 455 | 6910 | 8971 | 8039 | 9262 | 440 | 372 | 663 | 611
594 | 245 | 322 | 133 | 15853 | 15937 | 727 | 1262 | 3208 | 3811 | 2847 | 2564 | 367 | 492 | 455 | 441 | 6892 | 8870 | 8041 | 9206 | 424 | 360 | 633 | 599
596 | 232 | 299 | 124 | 15331 | 15436 | 704 | 1202 | 3050 | 3637 | 2739 | 2471 | 360 | 471 | 442 | 429 | 6805 | 8795 | 7874 | 9070 | 405 | 350 | 613 | 579
598 | 218 | 292 | 115 | 14861 | 14862 | 684 | 1167 | 2966 | 3500 | 2657 | 2388 | 348 | 461 | 420 | 415 | 6793 | 8728 | 7896 | 8972 | 393 | 338 | 594 | 558
600 | 208 | 281 | 111 | 14265 | 14377 | 650 | 1120 | 2823 | 3337 | 2546 | 2299 | 327 | 434 | 407 | 404 | 6725 | 8577 | 7797 | 8911 | 381 | 325 | 576 | 541
602 | 199 | 263 | 105 | 13831 | 13834 | 618 | 1062 | 2710 | 3184 | 2448 | 2210 | 315 | 420 | 398 | 383 | 6677 | 8446 | 7701 | 8783 | 364 | 312 | 554 | 523
604 | 186 | 258 | 95 | 13346 | 13383 | 602 | 1022 | 2629 | 3073 | 2376 | 2158 | 303 | 400 | 386 | 371 | 6634 | 8352 | 7543 | 8686 | 354 | 302 | 542 | 507
606 | 181 | 243 | 91 | 12972 | 12984 | 575 | 997 | 2507 | 2940 | 2290 | 2074 | 292 | 388 | 376 | 359 | 6478 | 8268 | 7486 | 8513 | 340 | 292 | 516 | 486
608 | 175 | 233 | 88 | 12453 | 12473 | 549 | 953 | 2423 | 2808 | 2238 | 1996 | 285 | 376 | 358 | 353 | 6446 | 8177 | 7365 | 8448 | 328 | 280 | 503 | 472
610 | 168 | 225 | 84 | 12128 | 12174 | 522 | 911 | 2315 | 2692 | 2160 | 1929 | 273 | 366 | 355 | 342 | 6352 | 8015 | 7278 | 8256 | 323 | 275 | 488 | 457
612 | 157 | 218 | 80 | 11696 | 11762 | 510 | 873 | 2231 | 2608 | 2044 | 1852 | 270 | 350 | 350 | 329 | 6256 | 7859 | 7147 | 8098 | 308 | 269 | 467 | 444
614 | 149 | 209 | 78 | 11282 | 11392 | 485 | 839 | 2166 | 2478 | 1975 | 1804 | 256 | 340 | 340 | 315 | 6176 | 7803 | 7031 | 7982 | 301 | 257 | 454 | 434
616 | 147 | 199 | 74 | 10883 | 10995 | 466 | 810 | 2073 | 2383 | 1910 | 1722 | 253 | 327 | 325 | 312 | 6072 | 7637 | 6875 | 7894 | 287 | 247 | 449 | 424
618 | 142 | 190 | 70 | 10547 | 10600 | 450 | 775 | 1980 | 2280 | 1847 | 1663 | 242 | 320 | 313 | 309 | 5957 | 7544 | 6765 | 7698 | 281 | 239 | 441 | 406
620 | 139 | 191 | 67 | 10172 | 10129 | 428 | 738 | 1905 | 2214 | 1788 | 1622 | 238 | 304 | 298 | 297 | 5883 | 7393 | 6675 | 7619 | 270 | 238 | 413 | 392
622 | 130 | 182 | 66 | 9761 | 9882 | 410 | 714 | 1842 | 2102 | 1730 | 1555 | 230 | 294 | 293 | 287 | 5777 | 7242 | 6567 | 7490 | 264 | 226 | 413 | 383
624 | 128 | 178 | 66 | 9509 | 9495 | 400 | 682 | 1764 | 2030 | 1669 | 1521 | 219 | 287 | 283 | 280 | 5651 | 7134 | 6410 | 7356 | 252 | 221 | 403 | 374
626 | 124 | 170 | 62 | 9164 | 9206 | 381 | 656 | 1722 | 1959 | 1606 | 1450 | 210 | 274 | 277 | 269 | 5610 | 6999 | 6360 | 7185 | 244 | 219 | 382 | 368
628 | 121 | 163 | 61 | 8817 | 8889 | 371 | 627 | 1644 | 1880 | 1545 | 1405 | 201 | 273 | 271 | 257 | 5475 | 6865 | 6163 | 7084 | 241 | 209 | 374 | 353
630 | 113 | 162 | 63 | 8466 | 8540 | 360 | 600 | 1588 | 1820 | 1477 | 1349 | 198 | 264 | 258 | 254 | 5372 | 6783 | 6081 | 6902 | 235 | 198 | 373 | 344
632 | 113 | 151 | 54 | 8202 | 8239 | 341 | 578 | 1533 | 1756 | 1466 | 1301 | 189 | 249 | 251 | 245 | 5305 | 6582 | 5976 | 6821 | 221 | 198 | 350 | 335
634 | 106 | 147 | 53 | 7940 | 7959 | 325 | 554 | 1476 | 1699 | 1406 | 1279 | 182 | 243 | 240 | 240 | 5189 | 6477 | 5810 | 6613 | 216 | 190 | 342 | 326
636 | 107 | 146 | 54 | 7677 | 7671 | 313 | 530 | 1428 | 1639 | 1366 | 1222 | 173 | 234 | 235 | 230 | 5123 | 6334 | 5699 | 6498 | 214 | 186 | 337 | 314
638 | 104 | 137 | 52 | 7354 | 7368 | 304 | 516 | 1393 | 1600 | 1317 | 1210 | 170 | 227 | 224 | 219 | 4996 | 6201 | 5567 | 6360 | 215 | 181 | 323 | 305
640 | 99 | 133 | 49 | 7125 | 7105 | 293 | 491 | 1344 | 1541 | 1274 | 1160 | 168 | 228 | 219 | 209 | 4782 | 6051 | 5392 | 6258 | 199 | 177 | 315 | 297
End Time | 29.9 A4: 2025-08-08 10:34:47
Start Time | 29.9 A4: 2025-08-08 10:34:50
Shaking (Linear) Duration [s] | 29.9 A4: 10
Shaking (Linear) Position | 29.9 A4: Current
Shaking (Linear) Amplitude [mm] | bar: 29.9 A4
Shaking (Linear) Frequency [rpm] | 29.9 A4: 1440
End Time | 29.9 A4: 2025-08-08 10:35:00
Mode | A1: Absorbance
Name | A1: blue 1
Measurement wavelength [nm] | 29.9 A4: 640
Number of flashes | 29.9 A4: 10
Settle time [ms] | 29.9 A4: 50
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-08-08 10:35:00
Temperature [°C] | 29.9 A4: 30
<> | A1: 1; A2: 2; A3: 3; 29.9 A4: 4; 29.9 A5: 5; 29.9 A6: 6; 29.9 A7: 7; 29.9 A8: 8; 29.9 A9: 9; 29.9 A10: 10; 29.9 A11: 11; 29.9 A12: 12
A | A1: 0.0433; A2: 0.0442; A3: 0.0401; 29.9 A4: 0.0796; 29.9 A5: 0.0781; 29.9 A6: 0.0424; 29.9 A7: 0.0433; 29.9 A8: 0.1981; 29.9 A9: 0.6714; 29.9 A10: 0.2091; 29.9 A11: 0.2206; 29.9 A12: 0.0438
B | A1: 0.0447; A2: 0.0441; A3: 0.0443; 29.9 A4: 0.0541; 29.9 A5: 0.059; 29.9 A6: 0.0528; 29.9 A7: 0.0535; 29.9 A8: 0.0408; 29.9 A9: 0.0406; 29.9 A10: 0.0412; 29.9 A11: 0.0451
C
D
E
F
G
H
End Time | 29.9 A4: 2025-08-08 10:35:08
Mode | A1: Absorbance
Name | A1: blue 2
Measurement wavelength [nm] | 29.9 A4: 640
Number of flashes | 29.9 A4: 10
Settle time [ms] | 29.9 A4: 50
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-08-08 10:35:10
Temperature [°C] | 29.9 A4: 30
<> | A1: 1; A2: 2; A3: 3; 29.9 A4: 4; 29.9 A5: 5; 29.9 A6: 6; 29.9 A7: 7; 29.9 A8: 8; 29.9 A9: 9; 29.9 A10: 10; 29.9 A11: 11; 29.9 A12: 12
A | A1: 0.0437; A2: 0.0432; A3: 0.04; 29.9 A4: 0.0796; 29.9 A5: 0.0783; 29.9 A6: 0.0422; 29.9 A7: 0.0421; 29.9 A8: 0.196; 29.9 A9: 0.5852; 29.9 A10: 0.3067; 29.9 A11: 0.2235; 29.9 A12: 0.0448
B | A1: 0.045; A2: 0.0443; A3: 0.0439; 29.9 A4: 0.0541; 29.9 A5: 0.0591; 29.9 A6: 0.0531; 29.9 A7: 0.0535; 29.9 A8: 0.0408; 29.9 A9: 0.0406; 29.9 A10: 0.0411; 29.9 A11: 0.045
C
D
E
F
G
H
End Time | 29.9 A4: 2025-08-08 10:35:18
Mode | A1: Absorbance
Name | A1: red 1
Measurement wavelength [nm] | 29.9 A4: 530
Number of flashes | 29.9 A4: 10
Settle time [ms] | 29.9 A4: 50
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-08-08 10:35:21
Temperature [°C] | 29.9 A4: 30
<> | A1: 1; A2: 2; A3: 3; 29.9 A4: 4; 29.9 A5: 5; 29.9 A6: 6; 29.9 A7: 7; 29.9 A8: 8; 29.9 A9: 9; 29.9 A10: 10; 29.9 A11: 11; 29.9 A12: 12
A | A1: 0.0459; A2: 0.0472; A3: 0.0429; 29.9 A4: 0.1472; 29.9 A5: 0.1426; 29.9 A6: 0.0469; 29.9 A7: 0.0474; 29.9 A8: 0.1122; 29.9 A9: 0.2814; 29.9 A10: 0.2035; 29.9 A11: 0.116; 29.9 A12: 0.0472
B | A1: 0.0484; A2: 0.0482; A3: 0.0482; 29.9 A4: 0.2177; 29.9 A5: 0.267; 29.9 A6: 0.2463; 29.9 A7: 0.2632; 29.9 A8: 0.0515; 29.9 A9: 0.0501; 29.9 A10: 0.0501; 29.9 A11: 0.0541
C
D
E
F
G
H
End Time | 29.9 A4: 2025-08-08 10:35:28
Mode | A1: Absorbance
Name | A1: red 2
Measurement wavelength [nm] | 29.9 A4: 530
Number of flashes | 29.9 A4: 10
Settle time [ms] | 29.9 A4: 50
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-08-08 10:35:31
Temperature [°C] | 29.9 A4: 30
<> | A1: 1; A2: 2; A3: 3; 29.9 A4: 4; 29.9 A5: 5; 29.9 A6: 6; 29.9 A7: 7; 29.9 A8: 8; 29.9 A9: 9; 29.9 A10: 10; 29.9 A11: 11; 29.9 A12: 12
A | A1: 0.0459; A2: 0.0472; A3: 0.0429; 29.9 A4: 0.147; 29.9 A5: 0.143; 29.9 A6: 0.0467; 29.9 A7: 0.0469; 29.9 A8: 0.1118; 29.9 A9: 0.3133; 29.9 A10: 0.1883; 29.9 A11: 0.1173; 29.9 A12: 0.0465
B | A1: 0.0484; A2: 0.0476; A3: 0.0479; 29.9 A4: 0.2175; 29.9 A5: 0.267; 29.9 A6: 0.246; 29.9 A7: 0.2629; 29.9 A8: 0.0515; 29.9 A9: 0.05; 29.9 A10: 0.0501; 29.9 A11: 0.054
C
D
E
F
G
H
End Time | 29.9 A4: 2025-08-08 10:35:38
Ex | Blank | BlankB | BlankR | DOE 21.5 | DOE 21.5 | DOE 22.5 | DOE 22.5 | DOE 21.5 | DOE 21.5 | DOE 21.5 | DOE 21.5 | DOE 22.5 | DOE 22.5 | DOE 22.5 | DOE 22.5 | DOE 21.5 | DOE 21.5 | DOE 21.5 | DOE 21.5 | DOE 22.5 | DOE 22.5 | DOE 22.5 | DOE 22.5
Ex | Blank | BlankB | BlankR | f | f | f | f | b | b | b | b | b | b | b | b | r | r | r | r | r | r | r | r
Ex | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1