## Result sheet
Method name: LS_241112_Fluorescence_Actino_Sample (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1708008206
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦PODI:V1.10.2
Date: |  |  |  | 2025-08-10
Time: |  |  |  | 10:10
System |  |  |  | IBVT171
User |  |  |  | IBVT171\Tecan
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Wait
Shaking
Wait
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Fluorescence 1
Shaking
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Fluorescence 2
Shaking
| Absorbance |  |  |  |  | blue 1
| Absorbance |  |  |  |  | blue 2
| Absorbance |  |  |  |  | red 1
| Absorbance |  |  |  |  | red 2
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | E1-E12;F1-F11
Start Time |  |  |  | 2025-08-10 09:31:01
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 30
Wait minimum [°C] |  |  |  | 29
Wait maximum [°C] |  |  |  | 31
End Time |  |  |  | 2025-08-10 09:31:01
Start Time |  |  |  | 2025-08-10 09:31:01
Shaking (Linear) Duration [s] |  |  |  | 7
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-08-10 09:31:08
Start Time |  |  |  | 2025-08-10 09:31:08
Wait (Time) hh:mm:ss |  |  |  | 00:05:01
Wait position |  |  |  | Current
End Time |  |  |  | 2025-08-10 09:36:09
Start Time |  |  |  | 2025-08-10 09:36:09
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-08-10 09:36:19
Start Time |  |  |  | 2025-08-10 09:36:19
Wait (Time) hh:mm:ss |  |  |  | 00:00:10
Wait position |  |  |  | Current
End Time |  |  |  | 2025-08-10 09:36:29
Mode | Fluorescence Intensity Scan Top Reading
Name | Fluorescence 1
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | E1-E12;F1-F11
Start Time |  |  |  | 2025-08-10 09:36:29
Temperature [°C] |  |  |  | 29.8
Wavel. | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11
520 | 2829 | 3254 | 2798 | 38371 | 44640 | 6671 | 9511 | 7486 | 7707 | 7733 | 7640 | 3351 | 3252 | 3475 | 3525 | 8515 | 8946 | 9293 | 9633 | 4576 | 4694 | 5929 | 6190
522 | 437 | 891 | 327 | 37635 | 43589 | 4411 | 7170 | 5901 | 6016 | 6419 | 6219 | 1132 | 1009 | 1215 | 1297 | 6232 | 6919 | 6930 | 7724 | 1229 | 1546 | 2985 | 2716
524 | 346 | 842 | 252 | 38182 | 44409 | 4457 | 7227 | 6341 | 6447 | 6915 | 6708 | 1122 | 964 | 1167 | 1263 | 6447 | 7138 | 7170 | 8019 | 1164 | 1499 | 2999 | 2721
526 | 339 | 869 | 242 | 38720 | 44608 | 4543 | 7328 | 6889 | 7070 | 7511 | 7336 | 1156 | 986 | 1215 | 1297 | 6732 | 7545 | 7520 | 8404 | 1205 | 1566 | 3078 | 2792
528 | 344 | 901 | 244 | 38995 | 45229 | 4610 | 7465 | 7398 | 7558 | 8046 | 7800 | 1200 | 1013 | 1244 | 1334 | 7013 | 7827 | 7811 | 8764 | 1251 | 1609 | 3159 | 2835
530 | 346 | 927 | 242 | 38924 | 45226 | 4633 | 7593 | 7938 | 8136 | 8650 | 8394 | 1238 | 1048 | 1281 | 1380 | 7407 | 8321 | 8164 | 9227 | 1274 | 1666 | 3245 | 2909
532 | 346 | 960 | 238 | 38811 | 44676 | 4635 | 7576 | 8477 | 8514 | 9202 | 8913 | 1277 | 1078 | 1317 | 1405 | 7752 | 8704 | 8570 | 9686 | 1319 | 1731 | 3324 | 2981
534 | 347 | 971 | 241 | 38564 | 44718 | 4688 | 7613 | 8909 | 9000 | 9551 | 9294 | 1303 | 1097 | 1338 | 1449 | 8073 | 9132 | 8902 | 10070 | 1339 | 1775 | 3370 | 3029
536 | 347 | 1001 | 245 | 38324 | 44315 | 4693 | 7630 | 9329 | 9385 | 10063 | 9729 | 1340 | 1126 | 1383 | 1467 | 8428 | 9469 | 9240 | 10479 | 1380 | 1844 | 3449 | 3091
538 | 348 | 1025 | 239 | 37884 | 43885 | 4701 | 7587 | 9601 | 9727 | 10368 | 9985 | 1357 | 1144 | 1391 | 1476 | 8689 | 9843 | 9597 | 10914 | 1400 | 1876 | 3489 | 3103
540 | 345 | 1044 | 241 | 37407 | 43705 | 4673 | 7603 | 9930 | 9935 | 10611 | 10233 | 1374 | 1171 | 1404 | 1520 | 9008 | 10211 | 9904 | 11296 | 1422 | 1900 | 3543 | 3153
542 | 350 | 1065 | 245 | 37072 | 42973 | 4664 | 7620 | 10082 | 10118 | 10786 | 10436 | 1417 | 1186 | 1425 | 1540 | 9293 | 10583 | 10269 | 11666 | 1452 | 1949 | 3584 | 3235
544 | 348 | 1084 | 250 | 36743 | 42804 | 4622 | 7553 | 10208 | 10243 | 10984 | 10485 | 1426 | 1191 | 1456 | 1565 | 9599 | 10813 | 10579 | 11961 | 1457 | 1985 | 3610 | 3246
546 | 351 | 1115 | 254 | 36343 | 41739 | 4595 | 7472 | 10280 | 10204 | 10993 | 10479 | 1441 | 1197 | 1455 | 1570 | 9797 | 11039 | 10733 | 12185 | 1477 | 1997 | 3635 | 3248
548 | 353 | 1116 | 255 | 35465 | 41147 | 4522 | 7409 | 10178 | 10167 | 10902 | 10419 | 1453 | 1227 | 1465 | 1567 | 9877 | 11158 | 10928 | 12315 | 1463 | 1991 | 3613 | 3277
550 | 355 | 1137 | 256 | 34475 | 40065 | 4482 | 7314 | 9978 | 10020 | 10600 | 10272 | 1441 | 1220 | 1463 | 1568 | 9956 | 11251 | 10928 | 12413 | 1458 | 1967 | 3601 | 3237
552 | 365 | 1140 | 258 | 34180 | 39267 | 4368 | 7176 | 9733 | 9802 | 10423 | 10016 | 1469 | 1219 | 1475 | 1585 | 10051 | 11393 | 11008 | 12584 | 1466 | 1983 | 3611 | 3210
554 | 361 | 1164 | 261 | 33381 | 38492 | 4314 | 7064 | 9506 | 9525 | 10128 | 9827 | 1461 | 1222 | 1460 | 1573 | 10044 | 11394 | 10968 | 12591 | 1452 | 1956 | 3581 | 3171
556 | 363 | 1163 | 267 | 32584 | 37460 | 4248 | 6936 | 9269 | 9313 | 9827 | 9475 | 1455 | 1222 | 1461 | 1566 | 10082 | 11438 | 11142 | 12497 | 1415 | 1924 | 3540 | 3158
558 | 364 | 1153 | 265 | 31783 | 36666 | 4176 | 6758 | 8891 | 9014 | 9505 | 9120 | 1451 | 1234 | 1456 | 1569 | 10174 | 11460 | 11045 | 12596 | 1425 | 1894 | 3499 | 3137
560 | 370 | 1182 | 274 | 30981 | 35533 | 4090 | 6704 | 8592 | 8665 | 9211 | 8793 | 1453 | 1231 | 1466 | 1555 | 10145 | 11447 | 11158 | 12600 | 1404 | 1892 | 3507 | 3094
562 | 367 | 1185 | 272 | 30403 | 34894 | 4026 | 6616 | 8343 | 8426 | 8888 | 8539 | 1460 | 1234 | 1452 | 1547 | 10219 | 11513 | 11202 | 12722 | 1401 | 1863 | 3450 | 3071
564 | 371 | 1180 | 272 | 29425 | 33847 | 3912 | 6473 | 7989 | 8064 | 8507 | 8157 | 1442 | 1233 | 1445 | 1542 | 10177 | 11553 | 11206 | 12625 | 1385 | 1840 | 3408 | 3013
566 | 372 | 1182 | 267 | 28539 | 32678 | 3821 | 6250 | 7576 | 7682 | 8075 | 7809 | 1429 | 1218 | 1420 | 1525 | 10308 | 11535 | 11230 | 12699 | 1362 | 1805 | 3359 | 2976
568 | 366 | 1166 | 266 | 27677 | 31727 | 3733 | 6164 | 7359 | 7437 | 7795 | 7538 | 1438 | 1219 | 1427 | 1496 | 10328 | 11586 | 11306 | 12746 | 1351 | 1790 | 3283 | 2941
570 | 367 | 1155 | 265 | 27029 | 30741 | 3644 | 5978 | 7059 | 7081 | 7504 | 7227 | 1406 | 1194 | 1412 | 1497 | 10320 | 11658 | 11364 | 12701 | 1325 | 1742 | 3239 | 2871
572 | 364 | 1151 | 254 | 25950 | 29710 | 3541 | 5779 | 6725 | 6778 | 7121 | 6922 | 1396 | 1184 | 1379 | 1458 | 10351 | 11676 | 11279 | 12844 | 1309 | 1724 | 3185 | 2837
574 | 356 | 1136 | 249 | 25276 | 28609 | 3400 | 5655 | 6459 | 6567 | 6872 | 6620 | 1387 | 1164 | 1347 | 1447 | 10554 | 11767 | 11449 | 12871 | 1290 | 1692 | 3096 | 2785
576 | 351 | 1129 | 242 | 24489 | 27676 | 3325 | 5514 | 6202 | 6327 | 6581 | 6457 | 1348 | 1147 | 1342 | 1429 | 10527 | 11837 | 11495 | 12918 | 1267 | 1675 | 3048 | 2729
578 | 338 | 1097 | 229 | 23901 | 26926 | 3233 | 5311 | 6008 | 6019 | 6348 | 6155 | 1334 | 1123 | 1318 | 1381 | 10674 | 11933 | 11524 | 12951 | 1259 | 1665 | 3027 | 2682
580 | 330 | 1103 | 217 | 23031 | 25872 | 3118 | 5118 | 5690 | 5828 | 6060 | 5902 | 1290 | 1108 | 1279 | 1363 | 10634 | 11977 | 11602 | 13113 | 1230 | 1623 | 2937 | 2614
582 | 317 | 1066 | 212 | 22279 | 25257 | 3047 | 4987 | 5573 | 5576 | 5832 | 5698 | 1290 | 1088 | 1265 | 1342 | 10696 | 12036 | 11604 | 13162 | 1213 | 1587 | 2879 | 2554
584 | 309 | 1050 | 199 | 21489 | 24176 | 2913 | 4815 | 5335 | 5326 | 5566 | 5398 | 1264 | 1057 | 1226 | 1314 | 10769 | 12112 | 11657 | 13153 | 1193 | 1556 | 2797 | 2480
586 | 295 | 1019 | 191 | 20947 | 23513 | 2846 | 4678 | 5101 | 5135 | 5367 | 5259 | 1228 | 1044 | 1204 | 1277 | 10799 | 12035 | 11689 | 13133 | 1179 | 1543 | 2759 | 2458
588 | 283 | 996 | 177 | 20191 | 22675 | 2728 | 4526 | 4866 | 4942 | 5111 | 4990 | 1186 | 1011 | 1186 | 1244 | 10776 | 12091 | 11702 | 13105 | 1163 | 1500 | 2677 | 2377
590 | 273 | 969 | 163 | 19502 | 21842 | 2654 | 4358 | 4719 | 4756 | 4919 | 4811 | 1159 | 989 | 1138 | 1211 | 10764 | 11974 | 11642 | 12949 | 1125 | 1484 | 2610 | 2340
592 | 255 | 944 | 156 | 18939 | 21011 | 2531 | 4191 | 4535 | 4516 | 4736 | 4617 | 1130 | 961 | 1091 | 1172 | 10740 | 12019 | 11585 | 12966 | 1108 | 1425 | 2538 | 2277
594 | 243 | 923 | 148 | 18367 | 20339 | 2471 | 4053 | 4349 | 4363 | 4560 | 4467 | 1098 | 936 | 1075 | 1141 | 10653 | 11958 | 11516 | 12892 | 1076 | 1405 | 2479 | 2206
596 | 233 | 900 | 137 | 17680 | 19646 | 2351 | 3918 | 4115 | 4169 | 4345 | 4271 | 1059 | 905 | 1042 | 1114 | 10532 | 11821 | 11356 | 12717 | 1060 | 1358 | 2409 | 2138
598 | 219 | 874 | 130 | 17013 | 18945 | 2267 | 3778 | 3958 | 4003 | 4191 | 4120 | 1031 | 883 | 1007 | 1067 | 10462 | 11661 | 11260 | 12711 | 1027 | 1328 | 2347 | 2081
600 | 210 | 842 | 119 | 16478 | 18339 | 2186 | 3629 | 3789 | 3834 | 3980 | 3913 | 1004 | 852 | 976 | 1040 | 10399 | 11581 | 11121 | 12487 | 998 | 1290 | 2261 | 2005
602 | 199 | 821 | 118 | 15937 | 17630 | 2098 | 3522 | 3591 | 3657 | 3829 | 3738 | 978 | 818 | 943 | 1005 | 10196 | 11359 | 11002 | 12230 | 970 | 1257 | 2185 | 1951
604 | 189 | 792 | 106 | 15466 | 17137 | 2030 | 3394 | 3458 | 3481 | 3639 | 3593 | 948 | 810 | 926 | 971 | 10084 | 11289 | 10883 | 12059 | 937 | 1221 | 2127 | 1884
606 | 182 | 772 | 105 | 14997 | 16543 | 1938 | 3254 | 3294 | 3363 | 3487 | 3466 | 918 | 771 | 890 | 942 | 10024 | 11177 | 10765 | 11935 | 924 | 1197 | 2088 | 1856
608 | 173 | 750 | 99 | 14392 | 15930 | 1849 | 3136 | 3141 | 3195 | 3349 | 3305 | 889 | 748 | 860 | 908 | 9816 | 10970 | 10581 | 11825 | 904 | 1156 | 2029 | 1799
610 | 162 | 741 | 90 | 14160 | 15524 | 1787 | 3049 | 3032 | 3079 | 3241 | 3185 | 870 | 735 | 838 | 893 | 9791 | 10877 | 10402 | 11668 | 874 | 1137 | 1965 | 1762
612 | 157 | 710 | 89 | 13642 | 14847 | 1721 | 2917 | 2910 | 2960 | 3060 | 3042 | 850 | 718 | 817 | 871 | 9558 | 10642 | 10243 | 11428 | 854 | 1092 | 1890 | 1707
614 | 155 | 683 | 82 | 13215 | 14357 | 1660 | 2774 | 2768 | 2836 | 2966 | 2937 | 810 | 687 | 784 | 837 | 9320 | 10430 | 10067 | 11282 | 839 | 1064 | 1844 | 1659
616 | 150 | 666 | 83 | 12699 | 13921 | 1581 | 2679 | 2659 | 2687 | 2837 | 2779 | 790 | 680 | 768 | 807 | 9200 | 10316 | 9904 | 11007 | 817 | 1036 | 1791 | 1601
618 | 143 | 651 | 78 | 12281 | 13352 | 1531 | 2566 | 2532 | 2587 | 2700 | 2651 | 760 | 655 | 740 | 774 | 9082 | 10038 | 9749 | 10854 | 792 | 1005 | 1731 | 1555
620 | 136 | 624 | 75 | 11867 | 12859 | 1463 | 2471 | 2414 | 2490 | 2587 | 2562 | 742 | 629 | 709 | 759 | 8894 | 9859 | 9552 | 10664 | 777 | 989 | 1696 | 1496
622 | 132 | 612 | 74 | 11501 | 12558 | 1402 | 2357 | 2347 | 2386 | 2485 | 2449 | 723 | 604 | 686 | 723 | 8735 | 9709 | 9373 | 10412 | 752 | 952 | 1640 | 1438
624 | 128 | 597 | 69 | 11077 | 12064 | 1356 | 2245 | 2221 | 2288 | 2392 | 2346 | 691 | 581 | 664 | 691 | 8564 | 9526 | 9165 | 10163 | 739 | 928 | 1576 | 1399
626 | 122 | 576 | 67 | 10746 | 11555 | 1304 | 2174 | 2136 | 2184 | 2301 | 2272 | 670 | 581 | 649 | 673 | 8411 | 9377 | 9007 | 9992 | 720 | 906 | 1545 | 1363
628 | 122 | 549 | 65 | 10285 | 11218 | 1237 | 2100 | 2056 | 2136 | 2223 | 2157 | 654 | 552 | 622 | 649 | 8265 | 9152 | 8775 | 9843 | 700 | 898 | 1474 | 1318
630 | 114 | 534 | 60 | 9998 | 10805 | 1185 | 1996 | 1970 | 2046 | 2121 | 2078 | 635 | 529 | 603 | 639 | 8051 | 8958 | 8622 | 9607 | 679 | 868 | 1460 | 1286
632 | 110 | 520 | 60 | 9623 | 10457 | 1147 | 1920 | 1883 | 1968 | 2035 | 2002 | 606 | 524 | 579 | 607 | 7885 | 8816 | 8430 | 9342 | 676 | 848 | 1410 | 1240
634 | 104 | 498 | 58 | 9305 | 10086 | 1097 | 1847 | 1829 | 1903 | 1965 | 1928 | 589 | 501 | 569 | 580 | 7780 | 8627 | 8303 | 9155 | 650 | 811 | 1353 | 1202
636 | 102 | 486 | 57 | 9019 | 9640 | 1047 | 1760 | 1762 | 1818 | 1885 | 1860 | 574 | 481 | 547 | 577 | 7579 | 8402 | 8124 | 8998 | 628 | 806 | 1306 | 1171
638 | 97 | 464 | 56 | 8729 | 9381 | 1004 | 1712 | 1692 | 1756 | 1837 | 1804 | 544 | 470 | 527 | 556 | 7406 | 8212 | 7817 | 8794 | 616 | 776 | 1261 | 1115
640 | 95 | 455 | 55 | 8414 | 9017 | 968 | 1637 | 1664 | 1708 | 1803 | 1726 | 526 | 456 | 498 | 531 | 7177 | 8071 | 7672 | 8652 | 594 | 733 | 1228 | 1099
End Time | 29.8 E4: 2025-08-10 09:52:59
Start Time | 29.8 E4: 2025-08-10 09:53:04
Shaking (Linear) Duration [s] | 29.8 E4: 10
Shaking (Linear) Position | 29.8 E4: Current
Shaking (Linear) Amplitude [mm] | bar: 29.8 E4
Shaking (Linear) Frequency [rpm] | 29.8 E4: 1440
End Time | 29.8 E4: 2025-08-10 09:53:14
Mode | E1: Fluorescence Intensity Scan Top Reading
Name | E1: Fluorescence 2
Scan selection | 29.8 E4: Emission Scan
Excitation | 29.8 E4: Monochromator
Excitation wavelength [nm] | 29.8 E4: 483
Excitation bandwidth [nm] | 29.8 E4: 20
Emission wavelength start [nm] | 29.8 E4: 520
Emission wavelength end [nm] | 29.8 E4: 640
Emission wavelength step size [nm] | 29.8 E4: 2
Emission scan number | 29.8 E4: 61
Emission bandwidth [nm] | 29.8 E4: 20
Gain Manual | 29.8 E4: 100
Mirror | 29.8 E4: Automatic (Dichroic 510)
Number of flashes | 29.8 E4: 30
Integration time [µs] | 29.8 E4: 40
Lag time [µs] | 29.8 E4: 0
Settle time [ms] | 29.8 E4: 0
Z-Position [μm] | 29.8 E4: 20000
Z-Position mode | 29.8 E4: Manual
Part of Plate | 29.8 E4: E1-E12;F1-F11
Start Time | 29.8 E4: 2025-08-10 09:53:14
Temperature [°C] | 29.8 E4: 29.9
Wavel. | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11
520 | 3158 | 3393 | 2817 | 36063 | 41576 | 6136 | 8589 | 6381 | 6501 | 6899 | 6677 | 3034 | 3376 | 3500 | 3670 | 7851 | 8354 | 8547 | 8953 | 4164 | 4752 | 6254 | 5314
522 | 408 | 822 | 321 | 34990 | 40580 | 4130 | 6583 | 4882 | 4885 | 5470 | 5390 | 1047 | 1050 | 1174 | 1260 | 5426 | 6079 | 6038 | 6765 | 1066 | 1332 | 2654 | 2438
524 | 323 | 787 | 230 | 35639 | 41062 | 4137 | 6658 | 5135 | 5121 | 5835 | 5679 | 1012 | 1001 | 1137 | 1226 | 5617 | 6238 | 6215 | 7009 | 1000 | 1279 | 2628 | 2412
526 | 318 | 806 | 225 | 36060 | 41647 | 4193 | 6767 | 5490 | 5581 | 6232 | 6077 | 1060 | 1043 | 1169 | 1274 | 5854 | 6533 | 6502 | 7315 | 1031 | 1310 | 2713 | 2457
528 | 317 | 833 | 222 | 36392 | 41881 | 4249 | 6904 | 5881 | 5880 | 6572 | 6416 | 1078 | 1064 | 1210 | 1302 | 6148 | 6872 | 6789 | 7674 | 1055 | 1370 | 2769 | 2513
530 | 316 | 858 | 217 | 36211 | 41928 | 4288 | 6965 | 6247 | 6222 | 7047 | 6823 | 1121 | 1098 | 1250 | 1327 | 6411 | 7219 | 7122 | 8095 | 1083 | 1421 | 2838 | 2595
532 | 316 | 890 | 219 | 36011 | 41626 | 4312 | 6991 | 6591 | 6593 | 7410 | 7193 | 1149 | 1141 | 1277 | 1376 | 6754 | 7621 | 7437 | 8483 | 1131 | 1479 | 2926 | 2636
534 | 321 | 911 | 218 | 36003 | 41528 | 4331 | 7033 | 6869 | 6840 | 7712 | 7494 | 1182 | 1159 | 1300 | 1402 | 7045 | 7925 | 7760 | 8790 | 1140 | 1512 | 2979 | 2691
536 | 311 | 938 | 217 | 35655 | 41138 | 4344 | 7013 | 7185 | 7075 | 8020 | 7763 | 1211 | 1186 | 1328 | 1432 | 7341 | 8311 | 8105 | 9225 | 1170 | 1562 | 3041 | 2749
538 | 313 | 945 | 217 | 35499 | 40699 | 4307 | 7011 | 7383 | 7294 | 8225 | 7939 | 1228 | 1215 | 1339 | 1461 | 7531 | 8559 | 8319 | 9544 | 1195 | 1592 | 3072 | 2755
540 | 315 | 976 | 215 | 35014 | 40177 | 4318 | 7014 | 7527 | 7450 | 8433 | 8121 | 1263 | 1237 | 1350 | 1478 | 7865 | 8883 | 8653 | 9891 | 1202 | 1631 | 3124 | 2820
542 | 315 | 995 | 220 | 34746 | 39808 | 4323 | 6975 | 7622 | 7600 | 8571 | 8321 | 1278 | 1275 | 1373 | 1502 | 8096 | 9192 | 8931 | 10209 | 1238 | 1666 | 3160 | 2824
544 | 321 | 1006 | 218 | 34301 | 39401 | 4287 | 6962 | 7812 | 7651 | 8619 | 8325 | 1301 | 1290 | 1385 | 1520 | 8314 | 9453 | 9204 | 10458 | 1242 | 1692 | 3219 | 2853
546 | 322 | 1035 | 229 | 33819 | 38793 | 4242 | 6893 | 7794 | 7661 | 8669 | 8387 | 1317 | 1291 | 1416 | 1538 | 8537 | 9680 | 9315 | 10678 | 1247 | 1707 | 3211 | 2856
548 | 325 | 1040 | 226 | 33052 | 38032 | 4172 | 6806 | 7744 | 7622 | 8539 | 8272 | 1334 | 1304 | 1423 | 1532 | 8561 | 9796 | 9433 | 10790 | 1254 | 1680 | 3219 | 2861
550 | 323 | 1055 | 235 | 32266 | 37049 | 4128 | 6728 | 7603 | 7541 | 8459 | 8136 | 1343 | 1313 | 1415 | 1538 | 8658 | 9846 | 9508 | 10856 | 1250 | 1686 | 3207 | 2852
552 | 324 | 1059 | 235 | 31693 | 36355 | 4065 | 6605 | 7470 | 7399 | 8287 | 7999 | 1336 | 1329 | 1430 | 1550 | 8742 | 9979 | 9547 | 10897 | 1245 | 1687 | 3197 | 2860
554 | 329 | 1072 | 237 | 30958 | 35342 | 3970 | 6485 | 7315 | 7183 | 8078 | 7802 | 1346 | 1332 | 1433 | 1547 | 8760 | 9940 | 9608 | 10937 | 1227 | 1674 | 3162 | 2830
556 | 332 | 1072 | 239 | 30372 | 34539 | 3913 | 6386 | 7128 | 7017 | 7879 | 7622 | 1345 | 1325 | 1438 | 1543 | 8782 | 9927 | 9592 | 11043 | 1229 | 1650 | 3129 | 2789
558 | 331 | 1084 | 237 | 29560 | 33618 | 3839 | 6289 | 6913 | 6839 | 7617 | 7433 | 1342 | 1334 | 1429 | 1540 | 8771 | 10017 | 9573 | 10986 | 1220 | 1616 | 3102 | 2772
560 | 334 | 1085 | 240 | 28766 | 32893 | 3783 | 6184 | 6688 | 6672 | 7445 | 7138 | 1339 | 1321 | 1440 | 1538 | 8870 | 9960 | 9642 | 11044 | 1195 | 1616 | 3088 | 2760
562 | 335 | 1089 | 241 | 28041 | 32024 | 3708 | 6103 | 6478 | 6425 | 7173 | 6885 | 1355 | 1333 | 1435 | 1529 | 8840 | 10018 | 9731 | 11101 | 1196 | 1601 | 3074 | 2739
564 | 337 | 1078 | 242 | 27473 | 31011 | 3614 | 5926 | 6269 | 6230 | 6913 | 6742 | 1339 | 1337 | 1426 | 1522 | 8860 | 10015 | 9711 | 11062 | 1176 | 1584 | 3019 | 2699
566 | 333 | 1085 | 241 | 26619 | 30147 | 3541 | 5808 | 6077 | 6042 | 6659 | 6520 | 1352 | 1329 | 1408 | 1526 | 8884 | 10073 | 9756 | 11012 | 1159 | 1535 | 2955 | 2639
568 | 336 | 1076 | 236 | 25750 | 29328 | 3461 | 5659 | 5811 | 5789 | 6404 | 6271 | 1342 | 1305 | 1400 | 1484 | 8955 | 10122 | 9755 | 11064 | 1154 | 1520 | 2896 | 2619
570 | 330 | 1075 | 235 | 25027 | 28166 | 3329 | 5496 | 5680 | 5552 | 6126 | 6026 | 1334 | 1307 | 1394 | 1485 | 8984 | 10127 | 9791 | 11140 | 1136 | 1501 | 2852 | 2557
572 | 325 | 1067 | 226 | 24106 | 27453 | 3265 | 5392 | 5439 | 5354 | 5921 | 5768 | 1312 | 1283 | 1373 | 1435 | 9017 | 10144 | 9864 | 11155 | 1121 | 1474 | 2804 | 2519
574 | 315 | 1051 | 225 | 23518 | 26411 | 3161 | 5201 | 5223 | 5164 | 5708 | 5608 | 1290 | 1266 | 1337 | 1426 | 9073 | 10251 | 9875 | 11274 | 1125 | 1452 | 2768 | 2470
576 | 319 | 1037 | 216 | 22740 | 25692 | 3068 | 5083 | 5099 | 4999 | 5505 | 5425 | 1274 | 1240 | 1333 | 1419 | 9192 | 10343 | 9994 | 11314 | 1098 | 1436 | 2697 | 2421
578 | 313 | 1014 | 207 | 21918 | 24917 | 2995 | 4936 | 4875 | 4825 | 5311 | 5230 | 1267 | 1235 | 1295 | 1404 | 9222 | 10457 | 10002 | 11332 | 1089 | 1413 | 2670 | 2372
580 | 298 | 1002 | 199 | 21334 | 23888 | 2889 | 4778 | 4704 | 4667 | 5099 | 5052 | 1215 | 1204 | 1289 | 1366 | 9330 | 10495 | 10053 | 11400 | 1066 | 1387 | 2620 | 2328
582 | 295 | 982 | 190 | 20743 | 23177 | 2816 | 4671 | 4543 | 4508 | 4955 | 4915 | 1207 | 1195 | 1266 | 1337 | 9319 | 10560 | 10091 | 11395 | 1048 | 1372 | 2564 | 2273
584 | 281 | 963 | 178 | 19896 | 22328 | 2703 | 4456 | 4405 | 4340 | 4747 | 4683 | 1193 | 1161 | 1231 | 1310 | 9331 | 10482 | 10109 | 11421 | 1030 | 1347 | 2457 | 2221
586 | 266 | 945 | 172 | 19380 | 21519 | 2625 | 4330 | 4270 | 4200 | 4583 | 4544 | 1148 | 1134 | 1212 | 1286 | 9379 | 10547 | 10150 | 11524 | 1006 | 1322 | 2426 | 2184
588 | 261 | 904 | 160 | 18657 | 20865 | 2537 | 4160 | 4092 | 4029 | 4423 | 4360 | 1128 | 1115 | 1185 | 1243 | 9363 | 10640 | 10137 | 11488 | 1005 | 1285 | 2355 | 2118
590 | 245 | 893 | 152 | 18146 | 20087 | 2445 | 4075 | 3979 | 3874 | 4292 | 4234 | 1092 | 1098 | 1159 | 1210 | 9344 | 10491 | 10118 | 11374 | 979 | 1263 | 2305 | 2067
592 | 234 | 868 | 142 | 17519 | 19460 | 2335 | 3887 | 3772 | 3753 | 4099 | 4078 | 1071 | 1062 | 1122 | 1198 | 9343 | 10453 | 10048 | 11347 | 948 | 1236 | 2253 | 2028
594 | 224 | 849 | 133 | 17006 | 18804 | 2250 | 3789 | 3645 | 3646 | 3943 | 3929 | 1034 | 1028 | 1080 | 1146 | 9214 | 10400 | 9938 | 11333 | 922 | 1218 | 2202 | 1974
596 | 215 | 814 | 122 | 16375 | 18169 | 2181 | 3632 | 3496 | 3463 | 3788 | 3809 | 1008 | 1001 | 1054 | 1119 | 9210 | 10320 | 9932 | 11157 | 905 | 1183 | 2130 | 1903
598 | 195 | 787 | 116 | 15880 | 17488 | 2091 | 3485 | 3358 | 3337 | 3653 | 3659 | 974 | 980 | 1028 | 1090 | 9110 | 10209 | 9795 | 10999 | 890 | 1152 | 2076 | 1872
600 | 189 | 765 | 110 | 15332 | 16938 | 2005 | 3378 | 3221 | 3205 | 3491 | 3486 | 948 | 936 | 1006 | 1054 | 9016 | 10084 | 9680 | 10946 | 864 | 1112 | 2029 | 1811
602 | 177 | 748 | 103 | 14779 | 16285 | 1939 | 3241 | 3069 | 3042 | 3349 | 3357 | 909 | 906 | 972 | 1019 | 8929 | 9909 | 9565 | 10771 | 841 | 1085 | 1951 | 1749
604 | 167 | 737 | 101 | 14307 | 15713 | 1852 | 3147 | 2982 | 2976 | 3251 | 3233 | 894 | 890 | 944 | 986 | 8834 | 9839 | 9511 | 10574 | 823 | 1051 | 1888 | 1707
606 | 159 | 701 | 93 | 13841 | 15259 | 1800 | 3006 | 2845 | 2845 | 3117 | 3120 | 852 | 872 | 922 | 966 | 8675 | 9666 | 9330 | 10523 | 808 | 1024 | 1840 | 1654
608 | 157 | 684 | 89 | 13382 | 14722 | 1741 | 2892 | 2761 | 2770 | 2993 | 2988 | 839 | 842 | 891 | 942 | 8558 | 9552 | 9227 | 10380 | 790 | 1006 | 1800 | 1593
610 | 154 | 669 | 84 | 13035 | 14309 | 1682 | 2805 | 2652 | 2659 | 2874 | 2912 | 822 | 824 | 866 | 903 | 8461 | 9548 | 9113 | 10101 | 763 | 978 | 1744 | 1588
612 | 145 | 642 | 78 | 12619 | 13762 | 1610 | 2690 | 2548 | 2538 | 2761 | 2790 | 788 | 791 | 851 | 877 | 8260 | 9268 | 9004 | 9998 | 748 | 954 | 1677 | 1528
614 | 143 | 627 | 79 | 12152 | 13337 | 1526 | 2591 | 2438 | 2442 | 2670 | 2708 | 772 | 764 | 818 | 851 | 8143 | 9062 | 8739 | 9889 | 723 | 921 | 1633 | 1468
616 | 131 | 603 | 73 | 11775 | 12900 | 1472 | 2490 | 2335 | 2370 | 2530 | 2560 | 752 | 751 | 794 | 827 | 8060 | 8901 | 8651 | 9672 | 710 | 890 | 1595 | 1428
618 | 128 | 581 | 74 | 11355 | 12347 | 1428 | 2387 | 2250 | 2262 | 2457 | 2474 | 713 | 726 | 771 | 809 | 7883 | 8779 | 8500 | 9442 | 691 | 881 | 1556 | 1381
620 | 125 | 570 | 70 | 11042 | 11891 | 1364 | 2276 | 2166 | 2185 | 2378 | 2389 | 698 | 706 | 745 | 771 | 7758 | 8633 | 8342 | 9278 | 676 | 852 | 1501 | 1354
622 | 120 | 549 | 68 | 10641 | 11550 | 1308 | 2200 | 2088 | 2090 | 2263 | 2304 | 673 | 672 | 723 | 746 | 7639 | 8494 | 8173 | 9107 | 645 | 829 | 1442 | 1307
624 | 117 | 543 | 66 | 10311 | 11167 | 1242 | 2104 | 1995 | 2013 | 2191 | 2196 | 652 | 658 | 696 | 723 | 7487 | 8308 | 7963 | 8906 | 646 | 811 | 1396 | 1260
626 | 109 | 516 | 63 | 9956 | 10732 | 1207 | 2040 | 1934 | 1940 | 2113 | 2145 | 632 | 638 | 678 | 694 | 7348 | 8169 | 7848 | 8754 | 629 | 790 | 1350 | 1220
628 | 111 | 498 | 63 | 9643 | 10365 | 1149 | 1953 | 1847 | 1878 | 2057 | 2055 | 606 | 624 | 654 | 684 | 7211 | 8030 | 7729 | 8590 | 617 | 761 | 1312 | 1179
630 | 104 | 486 | 61 | 9222 | 10035 | 1106 | 1853 | 1799 | 1801 | 1958 | 2001 | 590 | 592 | 633 | 652 | 7047 | 7829 | 7601 | 8372 | 593 | 750 | 1284 | 1146
632 | 99 | 463 | 59 | 8973 | 9617 | 1063 | 1781 | 1708 | 1750 | 1880 | 1929 | 567 | 583 | 609 | 636 | 6896 | 7730 | 7396 | 8276 | 579 | 727 | 1236 | 1107
634 | 96 | 456 | 55 | 8645 | 9291 | 1023 | 1720 | 1667 | 1684 | 1832 | 1859 | 556 | 559 | 592 | 612 | 6766 | 7541 | 7204 | 8068 | 564 | 717 | 1199 | 1066
636 | 92 | 436 | 53 | 8345 | 8954 | 979 | 1650 | 1599 | 1637 | 1775 | 1822 | 534 | 537 | 571 | 593 | 6646 | 7427 | 7051 | 7892 | 563 | 695 | 1181 | 1051
638 | 93 | 422 | 52 | 8075 | 8643 | 944 | 1579 | 1558 | 1569 | 1709 | 1769 | 514 | 530 | 559 | 573 | 6526 | 7189 | 6967 | 7727 | 539 | 679 | 1127 | 1009
640 | 86 | 413 | 50 | 7897 | 8322 | 914 | 1507 | 1510 | 1532 | 1639 | 1680 | 489 | 502 | 526 | 553 | 6296 | 7089 | 6722 | 7540 | 522 | 654 | 1087 | 977
End Time | 29.9 E4: 2025-08-10 10:09:44
Start Time | 29.9 E4: 2025-08-10 10:09:47
Shaking (Linear) Duration [s] | 29.9 E4: 10
Shaking (Linear) Position | 29.9 E4: Current
Shaking (Linear) Amplitude [mm] | bar: 29.9 E4
Shaking (Linear) Frequency [rpm] | 29.9 E4: 1440
End Time | 29.9 E4: 2025-08-10 10:09:57
Mode | E1: Absorbance
Name | E1: blue 1
Measurement wavelength [nm] | 29.9 E4: 640
Number of flashes | 29.9 E4: 10
Settle time [ms] | 29.9 E4: 50
Part of Plate | 29.9 E4: E1-E12;F1-F11
Start Time | 29.9 E4: 2025-08-10 10:09:57
Temperature [°C] | 29.9 E4: 30
<> | E1: 1; E2: 2; E3: 3; 29.9 E4: 4; 29.9 E5: 5; 29.9 E6: 6; 29.9 E7: 7; 29.9 E8: 8; 29.9 E9: 9; 29.9 E10: 10; 29.9 E11: 11; 29.9 E12: 12
A
B
C
D
E | E1: 0.0433; E2: 0.0543; E3: 0.0412; 29.9 E4: 0.0969; 29.9 E5: 0.0975; 29.9 E6: 0.0436; 29.9 E7: 0.0442; 29.9 E8: 0.257; 29.9 E9: 0.2558; 29.9 E10: 0.3915; 29.9 E11: 0.3174; 29.9 E12: 0.0555
F | E1: 0.0563; E2: 0.0532; E3: 0.0552; 29.9 E4: 0.0575; 29.9 E5: 0.0572; 29.9 E6: 0.0587; 29.9 E7: 0.0605; 29.9 E8: 0.0423; 29.9 E9: 0.0429; 29.9 E10: 0.0456; 29.9 E11: 0.0436
G
H
End Time | 29.9 E4: 2025-08-10 10:10:05
Mode | E1: Absorbance
Name | E1: blue 2
Measurement wavelength [nm] | 29.9 E4: 640
Number of flashes | 29.9 E4: 10
Settle time [ms] | 29.9 E4: 50
Part of Plate | 29.9 E4: E1-E12;F1-F11
Start Time | 29.9 E4: 2025-08-10 10:10:08
Temperature [°C] | 29.9 E4: 29.9
<> | E1: 1; E2: 2; E3: 3; 29.9 E4: 4; 29.9 E5: 5; 29.9 E6: 6; 29.9 E7: 7; 29.9 E8: 8; 29.9 E9: 9; 29.9 E10: 10; 29.9 E11: 11; 29.9 E12: 12
A
B
C
D
E | E1: 0.0438; E2: 0.0557; E3: 0.0411; 29.9 E4: 0.0969; 29.9 E5: 0.0972; 29.9 E6: 0.0437; 29.9 E7: 0.044; 29.9 E8: 0.2799; 29.9 E9: 0.2743; 29.9 E10: 0.3605; 29.9 E11: 0.3383; 29.9 E12: 0.0582
F | E1: 0.0562; E2: 0.0533; E3: 0.0546; 29.9 E4: 0.0575; 29.9 E5: 0.0573; 29.9 E6: 0.0586; 29.9 E7: 0.0604; 29.9 E8: 0.0422; 29.9 E9: 0.0428; 29.9 E10: 0.045; 29.9 E11: 0.0435
G
H
End Time | 29.9 E4: 2025-08-10 10:10:15
Mode | E1: Absorbance
Name | E1: red 1
Measurement wavelength [nm] | 29.9 E4: 530
Number of flashes | 29.9 E4: 10
Settle time [ms] | 29.9 E4: 50
Part of Plate | 29.9 E4: E1-E12;F1-F11
Start Time | 29.9 E4: 2025-08-10 10:10:18
Temperature [°C] | 29.9 E4: 29.9
<> | E1: 1; E2: 2; E3: 3; 29.9 E4: 4; 29.9 E5: 5; 29.9 E6: 6; 29.9 E7: 7; 29.9 E8: 8; 29.9 E9: 9; 29.9 E10: 10; 29.9 E11: 11; 29.9 E12: 12
A
B
C
D
E | E1: 0.0467; E2: 0.0651; E3: 0.0439; 29.9 E4: 0.1986; 29.9 E5: 0.1991; 29.9 E6: 0.0504; 29.9 E7: 0.0544; 29.9 E8: 0.168; 29.9 E9: 0.1587; 29.9 E10: 0.1797; 29.9 E11: 0.1753; 29.9 E12: 0.065
F | E1: 0.0656; E2: 0.063; E3: 0.0655; 29.9 E4: 0.2681; 29.9 E5: 0.2817; 29.9 E6: 0.2803; 29.9 E7: 0.3014; 29.9 E8: 0.0612; 29.9 E9: 0.0665; 29.9 E10: 0.0658; 29.9 E11: 0.0627
G
H
End Time | 29.9 E4: 2025-08-10 10:10:26
Mode | E1: Absorbance
Name | E1: red 2
Measurement wavelength [nm] | 29.9 E4: 530
Number of flashes | 29.9 E4: 10
Settle time [ms] | 29.9 E4: 50
Part of Plate | 29.9 E4: E1-E12;F1-F11
Start Time | 29.9 E4: 2025-08-10 10:10:29
Temperature [°C] | 29.9 E4: 29.9
<> | E1: 1; E2: 2; E3: 3; 29.9 E4: 4; 29.9 E5: 5; 29.9 E6: 6; 29.9 E7: 7; 29.9 E8: 8; 29.9 E9: 9; 29.9 E10: 10; 29.9 E11: 11; 29.9 E12: 12
A
B
C
D
E | E1: 0.0473; E2: 0.0656; E3: 0.0438; 29.9 E4: 0.1985; 29.9 E5: 0.1988; 29.9 E6: 0.0502; 29.9 E7: 0.0535; 29.9 E8: 0.1552; 29.9 E9: 0.1645; 29.9 E10: 0.1809; 29.9 E11: 0.1742; 29.9 E12: 0.066
F | E1: 0.0647; E2: 0.0628; E3: 0.0645; 29.9 E4: 0.2681; 29.9 E5: 0.2815; 29.9 E6: 0.2802; 29.9 E7: 0.3013; 29.9 E8: 0.0612; 29.9 E9: 0.0667; 29.9 E10: 0.0656; 29.9 E11: 0.0624
G
H
End Time | 29.9 E4: 2025-08-10 10:10:36
Ex | Blank | BlankB | BlankR | DOE 21.7 | DOE 21.7 | DOE 22.7 | DOE 22.7 | DOE 21.7 | DOE 21.7 | DOE 21.7 | DOE 21.7 | DOE 22.7 | DOE 22.7 | DOE 22.7 | DOE 22.7 | DOE 21.7 | DOE 21.7 | DOE 21.7 | DOE 21.7 | DOE 22.7 | DOE 22.7 | DOE 22.7 | DOE 22.7
Ex | Blank | BlankB | BlankR | f | f | f | f | b | b | b | b | b | b | b | b | r | r | r | r | r | r | r | r
Ex | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1