## Result sheet
Method name: LS_241112_Fluorescence_Actino_Sample (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1708008206
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦PODI:V1.10.2
Date: |  |  |  | 2025-09-16
Time: |  |  |  | 11:09
System |  |  |  | IBVT171
User |  |  |  | IBVT171\Tecan
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Wait
Shaking
Wait
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Fluorescence 1
Shaking
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Fluorescence 2
Shaking
| Absorbance |  |  |  |  | blue 1
| Absorbance |  |  |  |  | blue 2
| Absorbance |  |  |  |  | red 1
| Absorbance |  |  |  |  | red 2
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | F6-F12;G1-G12;H1-H4
Start Time |  |  |  | 2025-09-16 10:30:17
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 30
Wait minimum [°C] |  |  |  | 29
Wait maximum [°C] |  |  |  | 31
End Time |  |  |  | 2025-09-16 10:30:17
Start Time |  |  |  | 2025-09-16 10:30:17
Shaking (Linear) Duration [s] |  |  |  | 7
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-09-16 10:30:24
Start Time |  |  |  | 2025-09-16 10:30:24
Wait (Time) hh:mm:ss |  |  |  | 00:05:01
Wait position |  |  |  | Current
End Time |  |  |  | 2025-09-16 10:35:25
Start Time |  |  |  | 2025-09-16 10:35:25
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-09-16 10:35:35
Start Time |  |  |  | 2025-09-16 10:35:35
Wait (Time) hh:mm:ss |  |  |  | 00:00:10
Wait position |  |  |  | Current
End Time |  |  |  | 2025-09-16 10:35:45
Mode | Fluorescence Intensity Scan Top Reading
Name | Fluorescence 1
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | F6-F12;G1-G12;H1-H4
Start Time |  |  |  | 2025-09-16 10:35:45
Temperature [°C] |  |  |  | 29.9
Wavel. | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4
520 | 2317 | 2719 | 2287 | 13099 | 18145 | 27345 | 31091 | 3384 | 3123 | 3843 | 3786 | 6406 | 5820 | 6721 | 6689 | 5207 | 5091 | 6609 | 6692 | 6971 | 7478 | 6190 | 8228
522 | 838 | 913 | 293 | 12843 | 17252 | 26362 | 30361 | 1446 | 1283 | 2341 | 2545 | 4998 | 4836 | 5728 | 5722 | 2860 | 2594 | 4390 | 4572 | 4577 | 5389 | 3468 | 5412
524 | 796 | 881 | 226 | 13205 | 17677 | 26771 | 30654 | 1432 | 1289 | 2450 | 2662 | 5410 | 5199 | 6317 | 6278 | 2950 | 2707 | 4593 | 4824 | 4667 | 5507 | 3449 | 5416
526 | 800 | 919 | 230 | 13506 | 18064 | 26907 | 30881 | 1493 | 1334 | 2590 | 2858 | 5965 | 5691 | 6895 | 6936 | 3159 | 2876 | 4954 | 5154 | 4807 | 5630 | 3513 | 5532
528 | 791 | 934 | 223 | 13785 | 18337 | 27119 | 30980 | 1543 | 1376 | 2745 | 3051 | 6455 | 6154 | 7485 | 7512 | 3338 | 3051 | 5207 | 5540 | 4996 | 5768 | 3586 | 5617
530 | 775 | 951 | 223 | 14107 | 18590 | 27045 | 30764 | 1590 | 1432 | 2857 | 3239 | 6932 | 6661 | 8165 | 8124 | 3600 | 3265 | 5607 | 5932 | 5160 | 5897 | 3672 | 5763
532 | 780 | 998 | 222 | 14205 | 18744 | 27157 | 30783 | 1652 | 1461 | 3029 | 3411 | 7358 | 7070 | 8722 | 8660 | 3787 | 3453 | 5931 | 6332 | 5357 | 6095 | 3743 | 5837
534 | 777 | 999 | 223 | 14303 | 18961 | 27056 | 30515 | 1679 | 1492 | 3160 | 3614 | 7758 | 7381 | 9125 | 9129 | 3991 | 3649 | 6259 | 6764 | 5505 | 6239 | 3803 | 6013
536 | 765 | 1023 | 223 | 14525 | 19027 | 26751 | 30384 | 1719 | 1547 | 3289 | 3755 | 8139 | 7781 | 9566 | 9566 | 4210 | 3841 | 6557 | 7142 | 5665 | 6379 | 3866 | 6083
538 | 759 | 1047 | 228 | 14453 | 18889 | 26500 | 29738 | 1741 | 1563 | 3356 | 3889 | 8345 | 8034 | 9787 | 9815 | 4333 | 3995 | 6904 | 7430 | 5805 | 6458 | 3920 | 6159
540 | 756 | 1064 | 233 | 14488 | 19017 | 26248 | 29491 | 1770 | 1607 | 3417 | 4005 | 8519 | 8123 | 10025 | 10031 | 4500 | 4115 | 7190 | 7759 | 5948 | 6579 | 3998 | 6290
542 | 755 | 1086 | 233 | 14431 | 19030 | 26004 | 29105 | 1820 | 1632 | 3525 | 4071 | 8655 | 8294 | 10211 | 10261 | 4625 | 4262 | 7436 | 8053 | 6070 | 6729 | 4044 | 6331
544 | 751 | 1101 | 238 | 14457 | 18881 | 25641 | 28767 | 1826 | 1651 | 3568 | 4166 | 8728 | 8300 | 10343 | 10256 | 4696 | 4333 | 7546 | 8325 | 6149 | 6797 | 4067 | 6401
546 | 751 | 1105 | 240 | 14210 | 18759 | 25274 | 28140 | 1826 | 1681 | 3575 | 4191 | 8648 | 8293 | 10179 | 10289 | 4767 | 4389 | 7703 | 8403 | 6221 | 6924 | 4084 | 6391
548 | 744 | 1112 | 245 | 14068 | 18473 | 24816 | 27443 | 1811 | 1662 | 3563 | 4161 | 8646 | 8179 | 10117 | 10018 | 4772 | 4412 | 7757 | 8497 | 6299 | 6844 | 4075 | 6435
550 | 728 | 1133 | 250 | 13849 | 18216 | 24182 | 26682 | 1806 | 1651 | 3471 | 4118 | 8384 | 8023 | 9870 | 9788 | 4797 | 4351 | 7717 | 8475 | 6264 | 6852 | 4069 | 6377
552 | 725 | 1151 | 254 | 13572 | 17988 | 23680 | 26264 | 1811 | 1673 | 3462 | 4080 | 8216 | 7746 | 9572 | 9505 | 4707 | 4337 | 7665 | 8442 | 6291 | 6840 | 4031 | 6361
554 | 712 | 1155 | 260 | 13235 | 17699 | 23196 | 25498 | 1784 | 1675 | 3375 | 3964 | 7942 | 7489 | 9215 | 9214 | 4610 | 4265 | 7619 | 8391 | 6310 | 6844 | 4002 | 6248
556 | 704 | 1169 | 257 | 13074 | 17271 | 22738 | 24746 | 1769 | 1652 | 3277 | 3843 | 7668 | 7318 | 8995 | 8961 | 4528 | 4203 | 7595 | 8299 | 6239 | 6801 | 3992 | 6274
558 | 699 | 1174 | 261 | 12754 | 17017 | 22149 | 24179 | 1767 | 1652 | 3211 | 3736 | 7451 | 7044 | 8662 | 8660 | 4471 | 4114 | 7403 | 8137 | 6243 | 6765 | 3955 | 6224
560 | 698 | 1188 | 261 | 12422 | 16570 | 21462 | 23444 | 1744 | 1633 | 3124 | 3636 | 7151 | 6833 | 8295 | 8325 | 4360 | 4016 | 7315 | 8005 | 6210 | 6731 | 3937 | 6152
562 | 690 | 1184 | 269 | 12163 | 16216 | 21004 | 22955 | 1723 | 1631 | 3045 | 3521 | 6964 | 6606 | 7966 | 8040 | 4267 | 3961 | 7287 | 7904 | 6192 | 6770 | 3898 | 6148
564 | 690 | 1198 | 268 | 11866 | 15886 | 20392 | 22081 | 1728 | 1619 | 2999 | 3444 | 6717 | 6403 | 7659 | 7761 | 4201 | 3866 | 7183 | 7800 | 6189 | 6709 | 3888 | 6081
566 | 673 | 1192 | 261 | 11461 | 15435 | 19737 | 21415 | 1693 | 1602 | 2891 | 3356 | 6416 | 6133 | 7409 | 7395 | 4068 | 3758 | 6995 | 7665 | 6168 | 6730 | 3850 | 6073
568 | 678 | 1209 | 267 | 11131 | 15002 | 19236 | 20597 | 1684 | 1587 | 2835 | 3256 | 6174 | 5887 | 7124 | 7142 | 3994 | 3688 | 6971 | 7519 | 6110 | 6713 | 3850 | 6046
570 | 666 | 1194 | 259 | 10840 | 14630 | 18546 | 19870 | 1647 | 1564 | 2743 | 3180 | 5929 | 5659 | 6817 | 6835 | 3900 | 3601 | 6823 | 7435 | 6196 | 6704 | 3803 | 5981
572 | 655 | 1181 | 254 | 10508 | 14204 | 18020 | 19261 | 1629 | 1555 | 2686 | 3089 | 5718 | 5432 | 6548 | 6551 | 3843 | 3492 | 6742 | 7375 | 6146 | 6753 | 3757 | 5978
574 | 641 | 1176 | 245 | 10208 | 13707 | 17301 | 18413 | 1597 | 1525 | 2604 | 2992 | 5484 | 5261 | 6238 | 6293 | 3729 | 3468 | 6762 | 7280 | 6164 | 6681 | 3790 | 5957
576 | 624 | 1169 | 238 | 9855 | 13333 | 16869 | 17913 | 1573 | 1515 | 2563 | 2935 | 5270 | 5085 | 6037 | 6052 | 3683 | 3395 | 6703 | 7240 | 6179 | 6726 | 3801 | 5938
578 | 609 | 1169 | 234 | 9609 | 12880 | 16379 | 17196 | 1555 | 1485 | 2522 | 2847 | 5097 | 4915 | 5838 | 5863 | 3640 | 3387 | 6567 | 7229 | 6217 | 6738 | 3787 | 5945
580 | 593 | 1137 | 222 | 9284 | 12455 | 15616 | 16541 | 1520 | 1452 | 2439 | 2766 | 4930 | 4725 | 5635 | 5638 | 3563 | 3279 | 6535 | 7153 | 6227 | 6721 | 3765 | 5970
582 | 580 | 1122 | 213 | 8993 | 12140 | 15110 | 16001 | 1507 | 1436 | 2378 | 2721 | 4739 | 4551 | 5360 | 5474 | 3479 | 3227 | 6468 | 7065 | 6245 | 6761 | 3783 | 5972
584 | 558 | 1094 | 197 | 8740 | 11804 | 14636 | 15457 | 1459 | 1412 | 2307 | 2619 | 4533 | 4391 | 5146 | 5211 | 3387 | 3143 | 6376 | 6933 | 6181 | 6693 | 3780 | 5915
586 | 541 | 1083 | 190 | 8469 | 11427 | 14169 | 14871 | 1433 | 1373 | 2233 | 2559 | 4369 | 4214 | 4942 | 4992 | 3327 | 3093 | 6339 | 6843 | 6233 | 6713 | 3753 | 5951
588 | 512 | 1058 | 179 | 8179 | 11015 | 13689 | 14269 | 1421 | 1358 | 2197 | 2466 | 4182 | 4028 | 4713 | 4796 | 3293 | 3018 | 6241 | 6731 | 6181 | 6736 | 3753 | 5836
590 | 502 | 1037 | 170 | 7912 | 10705 | 13245 | 13809 | 1366 | 1326 | 2123 | 2406 | 4035 | 3906 | 4590 | 4591 | 3171 | 2962 | 6138 | 6694 | 6139 | 6649 | 3697 | 5848
592 | 473 | 1014 | 158 | 7622 | 10345 | 12706 | 13252 | 1326 | 1281 | 2057 | 2348 | 3841 | 3708 | 4336 | 4376 | 3090 | 2857 | 6025 | 6481 | 6118 | 6627 | 3689 | 5794
594 | 453 | 988 | 148 | 7377 | 9997 | 12322 | 12731 | 1286 | 1261 | 1996 | 2256 | 3698 | 3565 | 4116 | 4208 | 3024 | 2765 | 5915 | 6394 | 6054 | 6565 | 3651 | 5734
596 | 436 | 970 | 136 | 6996 | 9614 | 11803 | 12214 | 1265 | 1220 | 1926 | 2175 | 3538 | 3411 | 3936 | 4017 | 2917 | 2719 | 5774 | 6188 | 6061 | 6549 | 3599 | 5664
598 | 420 | 958 | 128 | 6816 | 9282 | 11439 | 11845 | 1236 | 1192 | 1877 | 2094 | 3412 | 3286 | 3819 | 3844 | 2840 | 2612 | 5655 | 6104 | 5946 | 6414 | 3568 | 5622
600 | 399 | 920 | 122 | 6524 | 8961 | 10998 | 11342 | 1198 | 1152 | 1801 | 2011 | 3223 | 3120 | 3631 | 3665 | 2778 | 2546 | 5461 | 5887 | 5842 | 6329 | 3507 | 5523
602 | 375 | 896 | 114 | 6246 | 8610 | 10547 | 10871 | 1157 | 1124 | 1734 | 1939 | 3100 | 3006 | 3435 | 3473 | 2639 | 2444 | 5303 | 5787 | 5785 | 6237 | 3468 | 5478
604 | 367 | 878 | 104 | 6025 | 8253 | 10156 | 10483 | 1132 | 1099 | 1678 | 1886 | 2955 | 2892 | 3288 | 3304 | 2581 | 2363 | 5185 | 5599 | 5758 | 6195 | 3425 | 5350
606 | 355 | 863 | 103 | 5762 | 8042 | 9808 | 10150 | 1099 | 1082 | 1624 | 1802 | 2828 | 2739 | 3140 | 3168 | 2454 | 2292 | 5031 | 5411 | 5668 | 6055 | 3328 | 5239
608 | 342 | 851 | 96 | 5510 | 7761 | 9517 | 9687 | 1060 | 1043 | 1565 | 1725 | 2724 | 2635 | 2986 | 3038 | 2424 | 2220 | 4920 | 5312 | 5536 | 5949 | 3285 | 5185
610 | 324 | 828 | 93 | 5344 | 7550 | 9145 | 9388 | 1038 | 1017 | 1523 | 1694 | 2620 | 2559 | 2879 | 2917 | 2342 | 2165 | 4804 | 5147 | 5451 | 5904 | 3237 | 5109
612 | 310 | 809 | 88 | 5133 | 7230 | 8824 | 8992 | 1002 | 978 | 1476 | 1611 | 2502 | 2464 | 2762 | 2801 | 2242 | 2068 | 4641 | 4975 | 5382 | 5845 | 3177 | 5012
614 | 295 | 771 | 86 | 4903 | 7003 | 8552 | 8664 | 987 | 962 | 1404 | 1552 | 2400 | 2330 | 2628 | 2666 | 2155 | 2023 | 4520 | 4823 | 5278 | 5716 | 3110 | 4894
616 | 291 | 770 | 84 | 4655 | 6700 | 8183 | 8319 | 952 | 930 | 1381 | 1510 | 2314 | 2238 | 2516 | 2559 | 2086 | 1915 | 4396 | 4673 | 5188 | 5562 | 3032 | 4831
618 | 281 | 743 | 80 | 4465 | 6440 | 7892 | 8041 | 935 | 908 | 1335 | 1442 | 2195 | 2139 | 2410 | 2433 | 2015 | 1858 | 4197 | 4530 | 5064 | 5477 | 3001 | 4719
620 | 270 | 720 | 75 | 4285 | 6185 | 7580 | 7685 | 906 | 889 | 1293 | 1389 | 2109 | 2073 | 2280 | 2326 | 1957 | 1766 | 4140 | 4391 | 4953 | 5336 | 2949 | 4612
622 | 257 | 700 | 74 | 4114 | 5970 | 7308 | 7382 | 875 | 852 | 1249 | 1343 | 2001 | 1967 | 2187 | 2230 | 1866 | 1717 | 4017 | 4232 | 4845 | 5249 | 2858 | 4560
624 | 247 | 684 | 67 | 3950 | 5699 | 6989 | 7087 | 851 | 849 | 1212 | 1296 | 1920 | 1901 | 2107 | 2167 | 1834 | 1676 | 3893 | 4168 | 4756 | 5141 | 2806 | 4464
626 | 244 | 669 | 69 | 3794 | 5506 | 6795 | 6817 | 826 | 813 | 1160 | 1253 | 1863 | 1827 | 2048 | 2061 | 1757 | 1619 | 3794 | 4031 | 4660 | 5034 | 2773 | 4363
628 | 229 | 651 | 66 | 3619 | 5312 | 6495 | 6492 | 807 | 783 | 1120 | 1215 | 1800 | 1762 | 1944 | 1990 | 1681 | 1566 | 3660 | 3945 | 4538 | 4980 | 2708 | 4288
630 | 219 | 628 | 65 | 3467 | 5110 | 6256 | 6289 | 776 | 761 | 1082 | 1165 | 1711 | 1695 | 1858 | 1906 | 1622 | 1502 | 3562 | 3809 | 4462 | 4837 | 2647 | 4189
632 | 213 | 618 | 59 | 3311 | 4857 | 5986 | 6016 | 759 | 748 | 1046 | 1127 | 1664 | 1642 | 1808 | 1822 | 1586 | 1459 | 3460 | 3680 | 4386 | 4746 | 2584 | 4099
634 | 206 | 588 | 58 | 3174 | 4713 | 5805 | 5766 | 728 | 721 | 1014 | 1096 | 1595 | 1579 | 1749 | 1746 | 1541 | 1407 | 3379 | 3556 | 4296 | 4623 | 2523 | 4009
636 | 200 | 578 | 54 | 3015 | 4514 | 5568 | 5584 | 706 | 708 | 988 | 1062 | 1543 | 1512 | 1667 | 1692 | 1495 | 1368 | 3305 | 3504 | 4198 | 4573 | 2476 | 3913
638 | 190 | 563 | 57 | 2774 | 4314 | 5351 | 5402 | 682 | 680 | 954 | 1020 | 1487 | 1465 | 1595 | 1630 | 1439 | 1308 | 3190 | 3393 | 4077 | 4458 | 2450 | 3863
640 | 185 | 543 | 52 | 2467 | 4169 | 5167 | 5140 | 654 | 649 | 923 | 986 | 1447 | 1404 | 1541 | 1565 | 1384 | 1273 | 3086 | 3263 | 3964 | 4353 | 2393 | 3773
End Time | 29.9 F9: 2025-09-16 10:52:15
Start Time | 29.9 F9: 2025-09-16 10:52:20
Shaking (Linear) Duration [s] | 29.9 F9: 10
Shaking (Linear) Position | 29.9 F9: Current
Shaking (Linear) Amplitude [mm] | bar: 29.9 F9
Shaking (Linear) Frequency [rpm] | 29.9 F9: 1440
End Time | 29.9 F9: 2025-09-16 10:52:30
Mode | F6: Fluorescence Intensity Scan Top Reading
Name | F6: Fluorescence 2
Scan selection | 29.9 F9: Emission Scan
Excitation | 29.9 F9: Monochromator
Excitation wavelength [nm] | 29.9 F9: 483
Excitation bandwidth [nm] | 29.9 F9: 20
Emission wavelength start [nm] | 29.9 F9: 520
Emission wavelength end [nm] | 29.9 F9: 640
Emission wavelength step size [nm] | 29.9 F9: 2
Emission scan number | 29.9 F9: 61
Emission bandwidth [nm] | 29.9 F9: 20
Gain Manual | 29.9 F9: 100
Mirror | 29.9 F9: Automatic (Dichroic 510)
Number of flashes | 29.9 F9: 30
Integration time [µs] | 29.9 F9: 40
Lag time [µs] | 29.9 F9: 0
Settle time [ms] | 29.9 F9: 0
Z-Position [μm] | 29.9 F9: 20000
Z-Position mode | 29.9 F9: Manual
Part of Plate | 29.9 F9: F6-F12;G1-G12;H1-H4
Start Time | 29.9 F9: 2025-09-16 10:52:30
Temperature [°C] | 29.9 F9: 30
Wavel. | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4
520 | 2431 | 2942 | 2574 | 11785 | 17175 | 25904 | 29710 | 3431 | 3219 | 4134 | 4029 | 6073 | 5549 | 6337 | 6283 | 5063 | 5033 | 6219 | 6420 | 6569 | 7477 | 5631 | 7350
522 | 606 | 901 | 290 | 10922 | 15988 | 24812 | 28658 | 1368 | 1236 | 2243 | 2444 | 4319 | 4212 | 4896 | 4926 | 2513 | 2293 | 3851 | 4043 | 3936 | 4640 | 2982 | 4630
524 | 554 | 853 | 219 | 11350 | 16396 | 25089 | 29085 | 1348 | 1213 | 2274 | 2505 | 4627 | 4490 | 5277 | 5357 | 2552 | 2325 | 4017 | 4206 | 3914 | 4684 | 2929 | 4621
526 | 552 | 893 | 208 | 11671 | 16741 | 25392 | 29271 | 1383 | 1265 | 2429 | 2665 | 4998 | 4910 | 5762 | 5859 | 2711 | 2488 | 4324 | 4600 | 4101 | 4836 | 3011 | 4693
528 | 570 | 924 | 207 | 11920 | 17107 | 25552 | 29341 | 1437 | 1305 | 2516 | 2774 | 5377 | 5176 | 6181 | 6247 | 2902 | 2641 | 4615 | 4901 | 4242 | 4923 | 3074 | 4773
530 | 577 | 961 | 211 | 12249 | 17391 | 25614 | 29284 | 1471 | 1327 | 2629 | 2969 | 5684 | 5543 | 6609 | 6708 | 3098 | 2817 | 4914 | 5274 | 4378 | 5042 | 3110 | 4894
532 | 576 | 978 | 210 | 12389 | 17398 | 25534 | 29215 | 1507 | 1370 | 2720 | 3107 | 6098 | 5843 | 7096 | 7195 | 3277 | 3003 | 5198 | 5685 | 4533 | 5213 | 3199 | 5005
534 | 589 | 1007 | 211 | 12597 | 17537 | 25436 | 28897 | 1536 | 1388 | 2871 | 3208 | 6339 | 6135 | 7453 | 7491 | 3416 | 3168 | 5566 | 5997 | 4640 | 5310 | 3231 | 5107
536 | 576 | 1029 | 207 | 12634 | 17618 | 25236 | 28662 | 1561 | 1441 | 2928 | 3319 | 6572 | 6371 | 7760 | 7846 | 3609 | 3321 | 5850 | 6351 | 4825 | 5428 | 3297 | 5157
538 | 589 | 1054 | 212 | 12737 | 17577 | 24919 | 28364 | 1606 | 1457 | 3022 | 3399 | 6804 | 6537 | 7989 | 8020 | 3773 | 3447 | 6111 | 6696 | 4918 | 5543 | 3342 | 5239
540 | 595 | 1069 | 217 | 12807 | 17582 | 24808 | 28055 | 1630 | 1483 | 3057 | 3498 | 6942 | 6718 | 8099 | 8295 | 3863 | 3566 | 6377 | 6971 | 5031 | 5673 | 3403 | 5339
542 | 595 | 1107 | 213 | 12852 | 17625 | 24535 | 27665 | 1650 | 1514 | 3107 | 3571 | 7020 | 6761 | 8233 | 8356 | 3977 | 3659 | 6580 | 7263 | 5130 | 5776 | 3422 | 5387
544 | 605 | 1140 | 220 | 12773 | 17575 | 24243 | 27242 | 1658 | 1518 | 3165 | 3596 | 7063 | 6808 | 8329 | 8452 | 4063 | 3774 | 6735 | 7376 | 5221 | 5812 | 3457 | 5417
546 | 611 | 1141 | 224 | 12713 | 17371 | 23984 | 26751 | 1672 | 1542 | 3155 | 3617 | 7019 | 6776 | 8280 | 8427 | 4122 | 3802 | 6848 | 7540 | 5317 | 5880 | 3491 | 5500
548 | 617 | 1158 | 226 | 12504 | 17207 | 23339 | 26204 | 1683 | 1551 | 3153 | 3591 | 7001 | 6782 | 8140 | 8266 | 4158 | 3813 | 6894 | 7565 | 5327 | 5904 | 3472 | 5451
550 | 613 | 1180 | 230 | 12245 | 16943 | 22838 | 25452 | 1657 | 1524 | 3134 | 3556 | 6817 | 6554 | 7983 | 8096 | 4092 | 3772 | 6876 | 7578 | 5328 | 5882 | 3433 | 5416
552 | 615 | 1191 | 235 | 12034 | 16636 | 22336 | 24923 | 1665 | 1542 | 3099 | 3544 | 6752 | 6472 | 7772 | 7988 | 4056 | 3758 | 6835 | 7528 | 5344 | 5903 | 3450 | 5424
554 | 620 | 1196 | 234 | 11845 | 16377 | 21849 | 24052 | 1635 | 1544 | 3014 | 3466 | 6522 | 6282 | 7578 | 7639 | 3985 | 3691 | 6775 | 7428 | 5338 | 5883 | 3418 | 5352
556 | 622 | 1205 | 233 | 11564 | 16079 | 21289 | 23725 | 1654 | 1550 | 2985 | 3401 | 6348 | 6156 | 7385 | 7482 | 3900 | 3633 | 6669 | 7362 | 5341 | 5875 | 3394 | 5301
558 | 619 | 1212 | 240 | 11270 | 15790 | 20744 | 22856 | 1634 | 1561 | 2931 | 3333 | 6069 | 5960 | 7087 | 7184 | 3823 | 3573 | 6547 | 7241 | 5301 | 5848 | 3342 | 5322
560 | 628 | 1230 | 248 | 11044 | 15407 | 20238 | 22127 | 1627 | 1546 | 2848 | 3230 | 5947 | 5763 | 6854 | 6962 | 3748 | 3489 | 6491 | 7115 | 5301 | 5842 | 3354 | 5325
562 | 623 | 1223 | 245 | 10828 | 15085 | 19824 | 21642 | 1606 | 1543 | 2828 | 3202 | 5791 | 5621 | 6620 | 6751 | 3703 | 3389 | 6421 | 6991 | 5315 | 5814 | 3338 | 5253
564 | 619 | 1226 | 248 | 10506 | 14830 | 19278 | 20957 | 1612 | 1542 | 2772 | 3103 | 5598 | 5430 | 6455 | 6520 | 3624 | 3339 | 6336 | 6898 | 5270 | 5804 | 3308 | 5217
566 | 624 | 1223 | 249 | 10210 | 14354 | 18680 | 20243 | 1596 | 1529 | 2685 | 3013 | 5370 | 5253 | 6205 | 6254 | 3543 | 3271 | 6221 | 6781 | 5270 | 5813 | 3289 | 5184
568 | 612 | 1214 | 245 | 9868 | 14002 | 18019 | 19649 | 1576 | 1520 | 2643 | 2946 | 5198 | 5085 | 5959 | 6071 | 3473 | 3180 | 6086 | 6707 | 5252 | 5785 | 3299 | 5132
570 | 609 | 1208 | 240 | 9590 | 13571 | 17326 | 18904 | 1550 | 1487 | 2568 | 2877 | 5014 | 4918 | 5762 | 5831 | 3381 | 3128 | 6003 | 6624 | 5274 | 5762 | 3269 | 5144
572 | 600 | 1200 | 237 | 9285 | 13204 | 16888 | 18297 | 1540 | 1491 | 2519 | 2795 | 4829 | 4784 | 5554 | 5659 | 3323 | 3084 | 5991 | 6509 | 5261 | 5748 | 3258 | 5159
574 | 591 | 1186 | 231 | 9048 | 12799 | 16289 | 17656 | 1500 | 1452 | 2452 | 2737 | 4667 | 4615 | 5320 | 5420 | 3234 | 3021 | 5974 | 6512 | 5256 | 5792 | 3239 | 5100
576 | 577 | 1173 | 220 | 8693 | 12408 | 15802 | 17144 | 1477 | 1444 | 2404 | 2683 | 4564 | 4446 | 5136 | 5237 | 3208 | 2965 | 5878 | 6381 | 5310 | 5834 | 3251 | 5091
578 | 576 | 1166 | 214 | 8431 | 12039 | 15329 | 16486 | 1461 | 1420 | 2344 | 2635 | 4374 | 4326 | 4966 | 5042 | 3142 | 2923 | 5847 | 6373 | 5308 | 5818 | 3262 | 5110
580 | 550 | 1147 | 207 | 8176 | 11657 | 14623 | 15836 | 1435 | 1404 | 2273 | 2547 | 4242 | 4191 | 4796 | 4828 | 3080 | 2865 | 5757 | 6345 | 5319 | 5868 | 3263 | 5154
582 | 536 | 1119 | 196 | 7870 | 11372 | 14325 | 15312 | 1416 | 1377 | 2244 | 2522 | 4093 | 4046 | 4591 | 4713 | 3022 | 2809 | 5722 | 6214 | 5377 | 5841 | 3268 | 5112
584 | 524 | 1107 | 189 | 7567 | 10924 | 13752 | 14638 | 1387 | 1361 | 2171 | 2453 | 3930 | 3868 | 4419 | 4529 | 2980 | 2719 | 5643 | 6131 | 5361 | 5830 | 3228 | 5080
586 | 504 | 1085 | 178 | 7366 | 10627 | 13251 | 14107 | 1356 | 1321 | 2120 | 2389 | 3799 | 3760 | 4245 | 4364 | 2928 | 2680 | 5571 | 6095 | 5356 | 5836 | 3230 | 5093
588 | 485 | 1067 | 169 | 7088 | 10233 | 12764 | 13592 | 1318 | 1305 | 2068 | 2297 | 3611 | 3613 | 4085 | 4180 | 2824 | 2636 | 5480 | 5945 | 5325 | 5867 | 3216 | 5068
590 | 462 | 1054 | 154 | 6866 | 9928 | 12418 | 13144 | 1286 | 1267 | 2002 | 2241 | 3530 | 3504 | 3924 | 4010 | 2784 | 2564 | 5428 | 5902 | 5305 | 5783 | 3189 | 5050
592 | 451 | 1022 | 152 | 6592 | 9597 | 11970 | 12670 | 1247 | 1246 | 1957 | 2192 | 3362 | 3365 | 3775 | 3860 | 2693 | 2502 | 5302 | 5789 | 5272 | 5771 | 3179 | 4969
594 | 427 | 996 | 137 | 6363 | 9254 | 11513 | 12206 | 1218 | 1212 | 1904 | 2118 | 3258 | 3249 | 3591 | 3694 | 2623 | 2439 | 5187 | 5663 | 5229 | 5701 | 3125 | 4970
596 | 405 | 956 | 131 | 6081 | 8957 | 11137 | 11688 | 1192 | 1188 | 1833 | 2047 | 3114 | 3138 | 3453 | 3533 | 2546 | 2345 | 5091 | 5534 | 5183 | 5646 | 3096 | 4898
598 | 389 | 940 | 122 | 5837 | 8608 | 10763 | 11330 | 1146 | 1152 | 1795 | 1986 | 3006 | 2993 | 3320 | 3399 | 2494 | 2294 | 4979 | 5401 | 5113 | 5594 | 3046 | 4834
600 | 366 | 913 | 113 | 5637 | 8347 | 10278 | 10813 | 1127 | 1128 | 1722 | 1920 | 2864 | 2893 | 3193 | 3237 | 2398 | 2210 | 4847 | 5223 | 5071 | 5512 | 3039 | 4735
602 | 359 | 900 | 110 | 5356 | 8020 | 9929 | 10338 | 1095 | 1086 | 1669 | 1859 | 2743 | 2743 | 3034 | 3114 | 2307 | 2133 | 4653 | 5067 | 4978 | 5451 | 2977 | 4696
604 | 352 | 873 | 101 | 5182 | 7769 | 9623 | 9993 | 1075 | 1059 | 1607 | 1791 | 2640 | 2670 | 2884 | 2959 | 2237 | 2055 | 4546 | 4942 | 4927 | 5404 | 2941 | 4610
606 | 331 | 857 | 97 | 4954 | 7484 | 9280 | 9677 | 1026 | 1044 | 1562 | 1719 | 2534 | 2578 | 2764 | 2813 | 2177 | 2012 | 4427 | 4786 | 4851 | 5318 | 2879 | 4571
608 | 317 | 820 | 89 | 4721 | 7172 | 8967 | 9230 | 998 | 1017 | 1501 | 1684 | 2433 | 2474 | 2672 | 2724 | 2094 | 1942 | 4304 | 4651 | 4765 | 5209 | 2812 | 4460
610 | 313 | 819 | 88 | 4591 | 6999 | 8705 | 8941 | 986 | 993 | 1458 | 1620 | 2370 | 2376 | 2560 | 2630 | 2051 | 1869 | 4208 | 4495 | 4667 | 5100 | 2794 | 4418
612 | 293 | 788 | 84 | 4321 | 6697 | 8304 | 8622 | 952 | 962 | 1415 | 1571 | 2272 | 2318 | 2467 | 2513 | 1953 | 1818 | 4056 | 4370 | 4585 | 5034 | 2736 | 4331
614 | 283 | 773 | 83 | 4156 | 6479 | 8059 | 8222 | 930 | 945 | 1378 | 1526 | 2182 | 2202 | 2349 | 2407 | 1878 | 1763 | 3909 | 4239 | 4518 | 4947 | 2684 | 4232
616 | 273 | 746 | 79 | 3983 | 6198 | 7690 | 7960 | 907 | 913 | 1327 | 1482 | 2111 | 2131 | 2253 | 2339 | 1823 | 1683 | 3825 | 4107 | 4467 | 4875 | 2656 | 4163
618 | 262 | 724 | 75 | 3820 | 5979 | 7444 | 7697 | 885 | 894 | 1272 | 1441 | 2017 | 2058 | 2169 | 2224 | 1767 | 1622 | 3729 | 3992 | 4317 | 4793 | 2590 | 4114
620 | 253 | 710 | 72 | 3647 | 5695 | 7153 | 7317 | 855 | 867 | 1236 | 1388 | 1916 | 1972 | 2076 | 2134 | 1702 | 1569 | 3622 | 3874 | 4277 | 4692 | 2529 | 3993
622 | 240 | 687 | 72 | 3468 | 5529 | 6927 | 7064 | 824 | 841 | 1200 | 1351 | 1852 | 1897 | 1966 | 2059 | 1650 | 1517 | 3520 | 3747 | 4192 | 4596 | 2498 | 3953
624 | 228 | 669 | 66 | 3325 | 5296 | 6600 | 6744 | 817 | 817 | 1146 | 1300 | 1793 | 1855 | 1894 | 1970 | 1593 | 1479 | 3395 | 3649 | 4088 | 4479 | 2419 | 3850
626 | 224 | 645 | 67 | 3169 | 5105 | 6408 | 6523 | 789 | 798 | 1117 | 1262 | 1723 | 1788 | 1830 | 1902 | 1534 | 1416 | 3319 | 3557 | 4000 | 4409 | 2392 | 3754
628 | 219 | 634 | 62 | 3028 | 4943 | 6145 | 6279 | 766 | 779 | 1076 | 1228 | 1658 | 1710 | 1769 | 1819 | 1488 | 1367 | 3226 | 3494 | 3956 | 4311 | 2337 | 3688
630 | 211 | 620 | 62 | 2841 | 4743 | 5894 | 6046 | 741 | 737 | 1047 | 1189 | 1617 | 1662 | 1696 | 1751 | 1425 | 1335 | 3119 | 3354 | 3867 | 4224 | 2294 | 3608
632 | 200 | 597 | 58 | 2714 | 4545 | 5657 | 5789 | 718 | 722 | 1021 | 1141 | 1555 | 1611 | 1633 | 1700 | 1399 | 1279 | 3042 | 3257 | 3779 | 4126 | 2235 | 3549
634 | 196 | 584 | 58 | 2575 | 4382 | 5458 | 5551 | 698 | 704 | 993 | 1111 | 1492 | 1553 | 1572 | 1637 | 1338 | 1236 | 2977 | 3162 | 3693 | 4044 | 2198 | 3472
636 | 187 | 565 | 55 | 2435 | 4205 | 5295 | 5312 | 679 | 685 | 957 | 1075 | 1464 | 1501 | 1517 | 1591 | 1302 | 1205 | 2887 | 3087 | 3607 | 3969 | 2138 | 3405
638 | 183 | 542 | 51 | 2304 | 4052 | 5083 | 5162 | 663 | 673 | 931 | 1026 | 1402 | 1451 | 1460 | 1522 | 1262 | 1172 | 2789 | 2976 | 3532 | 3900 | 2106 | 3332
640 | 178 | 529 | 53 | 2198 | 3871 | 4859 | 4911 | 640 | 637 | 893 | 1027 | 1351 | 1400 | 1402 | 1443 | 1234 | 1110 | 2721 | 2849 | 3437 | 3792 | 2040 | 3298
End Time | 30 F9: 2025-09-16 11:09:00
Start Time | 30 F9: 2025-09-16 11:09:03
Shaking (Linear) Duration [s] | 30 F9: 10
Shaking (Linear) Position | 30 F9: Current
Shaking (Linear) Amplitude [mm] | bar: 30 F9
Shaking (Linear) Frequency [rpm] | 30 F9: 1440
End Time | 30 F9: 2025-09-16 11:09:13
Mode | F6: Absorbance
Name | F6: blue 1
Measurement wavelength [nm] | 30 F9: 640
Number of flashes | 30 F9: 10
Settle time [ms] | 30 F9: 50
Part of Plate | 30 F9: F6-F12;G1-G12;H1-H4
Start Time | 30 F9: 2025-09-16 11:09:13
Temperature [°C] | 30 F9: 30
<> | F6: 1; F7: 2; F8: 3; 30 F9: 4; 30 F10: 5; 30 F11: 6; 30 F12: 7; 30 G1: 8; 30 G2: 9; 30 G3: 10; 30 G4: 11; 30 G5: 12
A
B
C
D
E
F | 30 F11: 0.0423; 30 F12: 0.0468; 30 G1: 0.0406; 30 G2: 0.3867; 30 G3: 0.0533; 30 G4: 0.0634; 30 G5: 0.0633
G | F6: 0.0677; F7: 0.0692; F8: 0.1364; 30 F9: 0.1571; 30 F10: 0.1437; 30 F11: 0.1423; 30 F12: 0.123; 30 G1: 0.1373; 30 G2: 0.0433; 30 G3: 0.0438; 30 G4: 0.0467; 30 G5: 0.0479
H | F6: 0.0489; F7: 0.0498; F8: 0.0629; 30 F9: 0.0479
End Time | 30 F9: 2025-09-16 11:09:21
Mode | F6: Absorbance
Name | F6: blue 2
Measurement wavelength [nm] | 30 F9: 640
Number of flashes | 30 F9: 10
Settle time [ms] | 30 F9: 50
Part of Plate | 30 F9: F6-F12;G1-G12;H1-H4
Start Time | 30 F9: 2025-09-16 11:09:23
Temperature [°C] | 30 F9: 30
<> | F6: 1; F7: 2; F8: 3; 30 F9: 4; 30 F10: 5; 30 F11: 6; 30 F12: 7; 30 G1: 8; 30 G2: 9; 30 G3: 10; 30 G4: 11; 30 G5: 12
A
B
C
D
E
F | 30 F11: 0.0439; 30 F12: 0.0473; 30 G1: 0.0406; 30 G2: 0.3662; 30 G3: 0.0535; 30 G4: 0.065; 30 G5: 0.0635
G | F6: 0.0685; F7: 0.0709; F8: 0.1482; 30 F9: 0.1728; 30 F10: 0.1557; 30 F11: 0.1549; 30 F12: 0.132; 30 G1: 0.1254; 30 G2: 0.0435; 30 G3: 0.0438; 30 G4: 0.0468; 30 G5: 0.0477
H | F6: 0.0489; F7: 0.0499; F8: 0.0636; 30 F9: 0.0479
End Time | 30 F9: 2025-09-16 11:09:31
Mode | F6: Absorbance
Name | F6: red 1
Measurement wavelength [nm] | 30 F9: 530
Number of flashes | 30 F9: 10
Settle time [ms] | 30 F9: 50
Part of Plate | 30 F9: F6-F12;G1-G12;H1-H4
Start Time | 30 F9: 2025-09-16 11:09:34
Temperature [°C] | 30 F9: 30.1
<> | F6: 1; F7: 2; F8: 3; 30 F9: 4; 30 F10: 5; 30 F11: 6; 30 F12: 7; 30 G1: 8; 30 G2: 9; 30 G3: 10; 30 G4: 11; 30 G5: 12
A
B
C
D
E
F | 30 F11: 0.0454; 30 F12: 0.0555; 30 G1: 0.0435; 30 G2: 0.4815; 30 G3: 0.0741; 30 G4: 0.1056; 30 G5: 0.1018
G | F6: 0.0794; F7: 0.0812; F8: 0.1051; 30 F9: 0.1148; 30 F10: 0.1025; 30 F11: 0.1053; 30 F12: 0.0965; 30 G1: 0.0936; 30 G2: 0.091; 30 G3: 0.0932; 30 G4: 0.1432; 30 G5: 0.1548
H | F6: 0.2006; F7: 0.19; F8: 0.1659; 30 F9: 0.1777
End Time | 30 F9: 2025-09-16 11:09:41
Mode | F6: Absorbance
Name | F6: red 2
Measurement wavelength [nm] | 30 F9: 530
Number of flashes | 30 F9: 10
Settle time [ms] | 30 F9: 50
Part of Plate | 30 F9: F6-F12;G1-G12;H1-H4
Start Time | 30 F9: 2025-09-16 11:09:44
Temperature [°C] | 30 F9: 30.1
<> | F6: 1; F7: 2; F8: 3; 30 F9: 4; 30 F10: 5; 30 F11: 6; 30 F12: 7; 30 G1: 8; 30 G2: 9; 30 G3: 10; 30 G4: 11; 30 G5: 12
A
B
C
D
E
F | 30 F11: 0.0455; 30 F12: 0.0591; 30 G1: 0.0434; 30 G2: 0.5058; 30 G3: 0.0746; 30 G4: 0.1047; 30 G5: 0.1027
G | F6: 0.0792; F7: 0.0815; F8: 0.1055; 30 F9: 0.115; 30 F10: 0.1037; 30 F11: 0.1037; 30 F12: 0.0957; 30 G1: 0.0929; 30 G2: 0.0911; 30 G3: 0.0933; 30 G4: 0.1435; 30 G5: 0.1547
H | F6: 0.2; F7: 0.1903; F8: 0.1658; 30 F9: 0.1774
End Time | 30 F9: 2025-09-16 11:09:51
Ex | Blank | BlankB | BlankR | DOE 24.5 | DOE 24.5 | DOE 25.5 | DOE 25.5 | DOE 24.5 | DOE 24.5 | DOE 24.5 | DOE 24.5 | DOE 25.5 | DOE 25.5 | DOE 25.5 | DOE 25.5 | DOE 24.5 | DOE 24.5 | DOE 24.5 | DOE 24.5 | DOE 25.5 | DOE 25.5 | DOE 25.5 | DOE 25.5
Ex | Blank | BlankB | BlankR | f | f | f | f | b | b | b | b | b | b | b | b | r | r | r | r | r | r | r | r
Ex | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1