## Result sheet
Method name: LS_241112_Fluorescence_Actino_Sample (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1708008206
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦PODI:V1.10.2
Date: |  |  |  | 2025-09-15
Time: |  |  |  | 10:59
System |  |  |  | IBVT171
User |  |  |  | IBVT171\Tecan
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Wait
Shaking
Wait
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Fluorescence 1
Shaking
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Fluorescence 2
Shaking
| Absorbance |  |  |  |  | blue 1
| Absorbance |  |  |  |  | blue 2
| Absorbance |  |  |  |  | red 1
| Absorbance |  |  |  |  | red 2
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | C1-C12;D1-D11
Start Time |  |  |  | 2025-09-15 10:19:59
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 30
Wait minimum [°C] |  |  |  | 29
Wait maximum [°C] |  |  |  | 31
End Time |  |  |  | 2025-09-15 10:19:59
Start Time |  |  |  | 2025-09-15 10:19:59
Shaking (Linear) Duration [s] |  |  |  | 7
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-09-15 10:20:06
Start Time |  |  |  | 2025-09-15 10:20:06
Wait (Time) hh:mm:ss |  |  |  | 00:05:01
Wait position |  |  |  | Current
End Time |  |  |  | 2025-09-15 10:25:08
Start Time |  |  |  | 2025-09-15 10:25:08
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-09-15 10:25:18
Start Time |  |  |  | 2025-09-15 10:25:18
Wait (Time) hh:mm:ss |  |  |  | 00:00:10
Wait position |  |  |  | Current
End Time |  |  |  | 2025-09-15 10:25:28
Mode | Fluorescence Intensity Scan Top Reading
Name | Fluorescence 1
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | C1-C12;D1-D11
Start Time |  |  |  | 2025-09-15 10:25:28
Temperature [°C] |  |  |  | 29.9
Wavel. | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11
520 | 2423 | 2592 | 2402 | 2515 | 3463 | 3096 | 3021 | 2935 | 3166 | 3125 | 3103 | 3034 | 2578 | 2658 | 2744 | 2975 | 2837 | 3107 | 3297 | 3163 | 3056 | 2777 | 3207
522 | 702 | 883 | 307 | 869 | 1899 | 1368 | 1159 | 839 | 864 | 867 | 862 | 802 | 803 | 725 | 822 | 346 | 356 | 636 | 572 | 513 | 540 | 471 | 491
524 | 647 | 858 | 221 | 827 | 1953 | 1391 | 1149 | 808 | 834 | 826 | 828 | 775 | 760 | 681 | 798 | 284 | 286 | 630 | 528 | 460 | 504 | 422 | 429
526 | 654 | 883 | 213 | 844 | 2074 | 1456 | 1202 | 838 | 854 | 859 | 857 | 802 | 785 | 688 | 815 | 286 | 283 | 683 | 566 | 491 | 526 | 441 | 447
528 | 663 | 915 | 213 | 869 | 2180 | 1493 | 1225 | 876 | 897 | 900 | 886 | 825 | 814 | 718 | 856 | 290 | 289 | 751 | 613 | 515 | 567 | 460 | 472
530 | 669 | 945 | 213 | 883 | 2288 | 1557 | 1278 | 913 | 930 | 925 | 917 | 850 | 847 | 739 | 882 | 293 | 290 | 819 | 664 | 547 | 599 | 490 | 495
532 | 675 | 975 | 211 | 893 | 2365 | 1609 | 1313 | 948 | 963 | 955 | 934 | 891 | 861 | 759 | 924 | 302 | 294 | 892 | 719 | 580 | 625 | 511 | 531
534 | 675 | 1000 | 214 | 898 | 2439 | 1634 | 1331 | 970 | 983 | 980 | 969 | 912 | 897 | 783 | 946 | 306 | 301 | 955 | 768 | 608 | 658 | 530 | 545
536 | 688 | 1018 | 215 | 904 | 2502 | 1659 | 1340 | 998 | 1027 | 1029 | 1000 | 920 | 926 | 800 | 980 | 310 | 305 | 1019 | 819 | 626 | 677 | 550 | 563
538 | 693 | 1050 | 217 | 901 | 2529 | 1669 | 1361 | 1025 | 1045 | 1051 | 1018 | 955 | 947 | 827 | 1006 | 317 | 306 | 1065 | 847 | 648 | 701 | 571 | 578
540 | 700 | 1066 | 218 | 922 | 2549 | 1689 | 1356 | 1057 | 1070 | 1079 | 1040 | 984 | 981 | 852 | 1026 | 321 | 315 | 1121 | 880 | 658 | 718 | 586 | 589
542 | 704 | 1103 | 221 | 925 | 2564 | 1693 | 1362 | 1081 | 1090 | 1107 | 1062 | 1000 | 992 | 866 | 1052 | 329 | 324 | 1163 | 918 | 681 | 734 | 597 | 608
544 | 718 | 1118 | 224 | 925 | 2549 | 1707 | 1361 | 1106 | 1113 | 1119 | 1085 | 1026 | 1016 | 896 | 1074 | 327 | 323 | 1169 | 935 | 685 | 746 | 606 | 610
546 | 709 | 1136 | 228 | 923 | 2520 | 1679 | 1346 | 1138 | 1148 | 1151 | 1092 | 1043 | 1046 | 897 | 1091 | 334 | 323 | 1186 | 935 | 690 | 742 | 605 | 622
548 | 719 | 1145 | 237 | 913 | 2477 | 1649 | 1325 | 1140 | 1171 | 1163 | 1116 | 1047 | 1058 | 904 | 1104 | 341 | 325 | 1180 | 929 | 702 | 735 | 607 | 609
550 | 717 | 1160 | 238 | 908 | 2406 | 1621 | 1298 | 1159 | 1161 | 1171 | 1128 | 1060 | 1062 | 921 | 1118 | 341 | 325 | 1158 | 920 | 689 | 728 | 607 | 610
552 | 721 | 1178 | 237 | 897 | 2359 | 1624 | 1274 | 1165 | 1181 | 1182 | 1124 | 1061 | 1075 | 931 | 1120 | 339 | 333 | 1152 | 910 | 670 | 730 | 598 | 594
554 | 723 | 1180 | 249 | 886 | 2298 | 1589 | 1258 | 1177 | 1194 | 1193 | 1126 | 1083 | 1085 | 936 | 1134 | 340 | 336 | 1116 | 885 | 665 | 720 | 590 | 587
556 | 724 | 1186 | 246 | 882 | 2266 | 1552 | 1244 | 1197 | 1187 | 1195 | 1145 | 1088 | 1087 | 946 | 1146 | 340 | 332 | 1087 | 871 | 659 | 701 | 579 | 579
558 | 723 | 1203 | 255 | 879 | 2182 | 1506 | 1205 | 1192 | 1202 | 1198 | 1146 | 1103 | 1111 | 957 | 1152 | 337 | 330 | 1053 | 846 | 641 | 688 | 566 | 571
560 | 728 | 1200 | 258 | 879 | 2121 | 1505 | 1182 | 1213 | 1215 | 1214 | 1155 | 1097 | 1129 | 956 | 1154 | 334 | 332 | 1037 | 826 | 632 | 682 | 558 | 562
562 | 727 | 1215 | 259 | 860 | 2081 | 1472 | 1190 | 1204 | 1213 | 1211 | 1158 | 1109 | 1127 | 966 | 1160 | 338 | 337 | 1005 | 819 | 622 | 679 | 549 | 555
564 | 728 | 1200 | 259 | 850 | 2023 | 1455 | 1150 | 1214 | 1219 | 1205 | 1145 | 1106 | 1112 | 953 | 1156 | 334 | 327 | 972 | 795 | 616 | 654 | 542 | 550
566 | 720 | 1216 | 261 | 837 | 1979 | 1418 | 1151 | 1207 | 1210 | 1206 | 1151 | 1105 | 1115 | 963 | 1161 | 332 | 324 | 938 | 768 | 600 | 630 | 527 | 533
568 | 716 | 1215 | 256 | 835 | 1922 | 1398 | 1111 | 1203 | 1195 | 1204 | 1150 | 1111 | 1107 | 984 | 1144 | 327 | 324 | 927 | 745 | 580 | 624 | 518 | 525
570 | 700 | 1203 | 248 | 817 | 1877 | 1360 | 1096 | 1197 | 1195 | 1187 | 1128 | 1093 | 1109 | 962 | 1132 | 318 | 314 | 889 | 725 | 567 | 606 | 509 | 511
572 | 686 | 1187 | 245 | 800 | 1811 | 1338 | 1060 | 1188 | 1170 | 1182 | 1119 | 1088 | 1093 | 950 | 1115 | 309 | 303 | 876 | 699 | 555 | 595 | 491 | 496
574 | 674 | 1170 | 244 | 789 | 1760 | 1301 | 1039 | 1183 | 1164 | 1164 | 1096 | 1075 | 1088 | 938 | 1114 | 301 | 305 | 853 | 690 | 532 | 574 | 482 | 493
576 | 669 | 1167 | 227 | 753 | 1720 | 1269 | 1018 | 1162 | 1157 | 1151 | 1089 | 1071 | 1073 | 936 | 1090 | 297 | 297 | 832 | 674 | 527 | 569 | 470 | 474
578 | 655 | 1156 | 224 | 749 | 1642 | 1230 | 990 | 1150 | 1139 | 1136 | 1084 | 1058 | 1049 | 921 | 1072 | 285 | 282 | 795 | 657 | 507 | 553 | 455 | 466
580 | 636 | 1142 | 209 | 728 | 1574 | 1203 | 949 | 1123 | 1124 | 1116 | 1055 | 1037 | 1037 | 905 | 1052 | 273 | 271 | 781 | 627 | 499 | 530 | 448 | 453
582 | 617 | 1122 | 205 | 703 | 1527 | 1161 | 921 | 1112 | 1090 | 1095 | 1039 | 1026 | 1022 | 895 | 1043 | 262 | 260 | 753 | 610 | 483 | 518 | 427 | 438
584 | 599 | 1097 | 190 | 675 | 1468 | 1113 | 891 | 1085 | 1072 | 1068 | 1010 | 1002 | 1009 | 880 | 1012 | 253 | 248 | 732 | 589 | 473 | 499 | 411 | 424
586 | 579 | 1076 | 183 | 655 | 1420 | 1080 | 869 | 1077 | 1048 | 1051 | 991 | 984 | 969 | 856 | 1005 | 242 | 231 | 708 | 567 | 450 | 480 | 396 | 405
588 | 548 | 1039 | 168 | 623 | 1348 | 1028 | 822 | 1044 | 1013 | 1019 | 961 | 970 | 967 | 833 | 967 | 232 | 227 | 672 | 543 | 436 | 465 | 382 | 389
590 | 528 | 1030 | 161 | 598 | 1291 | 1002 | 789 | 1018 | 997 | 993 | 944 | 941 | 936 | 809 | 948 | 217 | 220 | 660 | 528 | 411 | 442 | 370 | 376
592 | 503 | 992 | 151 | 570 | 1221 | 952 | 766 | 989 | 966 | 961 | 922 | 921 | 915 | 793 | 929 | 212 | 203 | 622 | 498 | 393 | 426 | 351 | 358
594 | 496 | 972 | 139 | 550 | 1196 | 918 | 728 | 966 | 937 | 951 | 899 | 895 | 887 | 764 | 906 | 198 | 197 | 600 | 474 | 384 | 412 | 330 | 340
596 | 472 | 943 | 132 | 518 | 1126 | 858 | 689 | 943 | 921 | 911 | 864 | 858 | 855 | 748 | 867 | 190 | 188 | 573 | 463 | 369 | 395 | 315 | 323
598 | 451 | 910 | 122 | 508 | 1065 | 833 | 654 | 919 | 894 | 899 | 843 | 835 | 837 | 717 | 858 | 182 | 174 | 547 | 442 | 349 | 378 | 303 | 314
600 | 424 | 895 | 117 | 479 | 1018 | 795 | 629 | 897 | 867 | 880 | 810 | 817 | 810 | 707 | 817 | 174 | 166 | 526 | 409 | 336 | 361 | 284 | 296
602 | 411 | 872 | 109 | 454 | 963 | 762 | 600 | 868 | 834 | 851 | 802 | 796 | 781 | 688 | 807 | 164 | 159 | 495 | 397 | 322 | 342 | 280 | 286
604 | 398 | 849 | 100 | 436 | 920 | 727 | 583 | 841 | 818 | 821 | 771 | 770 | 755 | 673 | 775 | 155 | 155 | 478 | 381 | 313 | 337 | 264 | 275
606 | 382 | 820 | 97 | 425 | 887 | 702 | 558 | 815 | 791 | 801 | 760 | 743 | 730 | 653 | 762 | 151 | 147 | 455 | 359 | 304 | 315 | 256 | 260
608 | 365 | 815 | 90 | 397 | 848 | 657 | 538 | 809 | 776 | 786 | 742 | 727 | 710 | 632 | 738 | 138 | 138 | 438 | 344 | 287 | 308 | 246 | 252
610 | 353 | 790 | 89 | 390 | 803 | 643 | 516 | 782 | 744 | 753 | 716 | 702 | 685 | 622 | 719 | 139 | 135 | 415 | 332 | 282 | 294 | 235 | 246
612 | 336 | 757 | 84 | 381 | 778 | 619 | 488 | 756 | 737 | 745 | 684 | 700 | 677 | 607 | 704 | 136 | 127 | 390 | 319 | 271 | 290 | 226 | 229
614 | 320 | 752 | 82 | 359 | 727 | 587 | 473 | 739 | 700 | 706 | 671 | 672 | 642 | 588 | 678 | 127 | 129 | 381 | 303 | 265 | 273 | 216 | 223
616 | 307 | 713 | 79 | 343 | 695 | 565 | 459 | 726 | 685 | 694 | 654 | 645 | 634 | 565 | 654 | 123 | 118 | 360 | 293 | 254 | 267 | 211 | 216
618 | 300 | 699 | 71 | 330 | 664 | 546 | 440 | 702 | 660 | 660 | 639 | 635 | 608 | 545 | 634 | 123 | 118 | 345 | 279 | 245 | 258 | 204 | 211
620 | 288 | 677 | 70 | 318 | 639 | 526 | 411 | 684 | 643 | 652 | 613 | 612 | 593 | 541 | 620 | 115 | 113 | 336 | 275 | 240 | 245 | 202 | 205
622 | 277 | 657 | 69 | 307 | 622 | 498 | 397 | 658 | 623 | 640 | 593 | 599 | 566 | 523 | 594 | 114 | 107 | 322 | 258 | 229 | 242 | 197 | 197
624 | 271 | 644 | 68 | 290 | 586 | 481 | 387 | 640 | 603 | 621 | 584 | 578 | 557 | 510 | 587 | 109 | 106 | 311 | 248 | 228 | 235 | 186 | 192
626 | 258 | 625 | 65 | 283 | 565 | 463 | 368 | 620 | 589 | 592 | 567 | 561 | 528 | 486 | 565 | 109 | 102 | 298 | 242 | 222 | 233 | 185 | 184
628 | 249 | 608 | 62 | 271 | 535 | 439 | 353 | 604 | 572 | 579 | 539 | 544 | 522 | 480 | 549 | 100 | 100 | 290 | 232 | 211 | 223 | 178 | 182
630 | 235 | 590 | 59 | 261 | 511 | 431 | 344 | 587 | 555 | 557 | 527 | 524 | 503 | 461 | 535 | 98 | 99 | 277 | 223 | 212 | 212 | 175 | 174
632 | 228 | 572 | 55 | 248 | 488 | 411 | 327 | 572 | 537 | 549 | 513 | 518 | 497 | 439 | 516 | 97 | 93 | 265 | 220 | 203 | 204 | 165 | 167
634 | 221 | 552 | 55 | 241 | 465 | 398 | 312 | 556 | 520 | 531 | 503 | 491 | 477 | 432 | 502 | 91 | 90 | 259 | 212 | 196 | 206 | 164 | 170
636 | 215 | 540 | 51 | 229 | 450 | 380 | 306 | 538 | 513 | 508 | 488 | 481 | 461 | 425 | 482 | 88 | 89 | 244 | 203 | 188 | 198 | 159 | 162
638 | 208 | 521 | 53 | 220 | 437 | 364 | 297 | 520 | 495 | 490 | 470 | 469 | 444 | 415 | 471 | 86 | 87 | 239 | 191 | 186 | 192 | 157 | 156
640 | 200 | 491 | 52 | 214 | 409 | 356 | 284 | 511 | 476 | 482 | 457 | 447 | 436 | 390 | 457 | 84 | 84 | 230 | 191 | 180 | 194 | 148 | 150
End Time | 29.9 C4: 2025-09-15 10:41:57
Start Time | 29.9 C4: 2025-09-15 10:42:02
Shaking (Linear) Duration [s] | 29.9 C4: 10
Shaking (Linear) Position | 29.9 C4: Current
Shaking (Linear) Amplitude [mm] | bar: 29.9 C4
Shaking (Linear) Frequency [rpm] | 29.9 C4: 1440
End Time | 29.9 C4: 2025-09-15 10:42:12
Mode | C1: Fluorescence Intensity Scan Top Reading
Name | C1: Fluorescence 2
Scan selection | 29.9 C4: Emission Scan
Excitation | 29.9 C4: Monochromator
Excitation wavelength [nm] | 29.9 C4: 483
Excitation bandwidth [nm] | 29.9 C4: 20
Emission wavelength start [nm] | 29.9 C4: 520
Emission wavelength end [nm] | 29.9 C4: 640
Emission wavelength step size [nm] | 29.9 C4: 2
Emission scan number | 29.9 C4: 61
Emission bandwidth [nm] | 29.9 C4: 20
Gain Manual | 29.9 C4: 100
Mirror | 29.9 C4: Automatic (Dichroic 510)
Number of flashes | 29.9 C4: 30
Integration time [µs] | 29.9 C4: 40
Lag time [µs] | 29.9 C4: 0
Settle time [ms] | 29.9 C4: 0
Z-Position [μm] | 29.9 C4: 20000
Z-Position mode | 29.9 C4: Manual
Part of Plate | 29.9 C4: C1-C12;D1-D11
Start Time | 29.9 C4: 2025-09-15 10:42:12
Temperature [°C] | 29.9 C4: 29.9
Wavel. | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11
520 | 2675 | 2940 | 2749 | 2629 | 3384 | 3061 | 3016 | 2680 | 2762 | 2934 | 2886 | 2883 | 3258 | 3370 | 3046 | 3838 | 3731 | 4183 | 3895 | 4033 | 3232 | 3098 | 3621
522 | 656 | 859 | 305 | 817 | 1687 | 1292 | 1063 | 842 | 866 | 839 | 882 | 818 | 893 | 770 | 864 | 363 | 359 | 643 | 585 | 511 | 548 | 470 | 499
524 | 602 | 833 | 203 | 790 | 1738 | 1274 | 1040 | 813 | 817 | 796 | 838 | 774 | 856 | 708 | 819 | 261 | 259 | 590 | 511 | 426 | 466 | 388 | 396
526 | 614 | 865 | 196 | 809 | 1832 | 1341 | 1078 | 839 | 863 | 829 | 861 | 792 | 880 | 740 | 862 | 257 | 258 | 653 | 541 | 448 | 493 | 405 | 416
528 | 624 | 898 | 197 | 824 | 1928 | 1400 | 1139 | 870 | 891 | 859 | 900 | 818 | 922 | 763 | 893 | 262 | 261 | 705 | 595 | 477 | 527 | 424 | 437
530 | 631 | 937 | 200 | 833 | 2008 | 1439 | 1155 | 902 | 917 | 894 | 919 | 847 | 968 | 796 | 928 | 270 | 267 | 792 | 646 | 516 | 555 | 448 | 465
532 | 641 | 961 | 200 | 840 | 2087 | 1475 | 1181 | 942 | 958 | 925 | 969 | 875 | 993 | 830 | 967 | 278 | 270 | 854 | 705 | 536 | 590 | 477 | 488
534 | 641 | 998 | 195 | 840 | 2127 | 1502 | 1197 | 970 | 981 | 961 | 1000 | 906 | 1027 | 843 | 1001 | 282 | 280 | 906 | 740 | 571 | 605 | 497 | 502
536 | 640 | 1025 | 195 | 852 | 2179 | 1526 | 1224 | 1010 | 1023 | 972 | 1021 | 923 | 1061 | 871 | 1022 | 286 | 283 | 979 | 789 | 593 | 640 | 515 | 530
538 | 651 | 1043 | 202 | 849 | 2211 | 1530 | 1224 | 1026 | 1051 | 1011 | 1041 | 952 | 1092 | 893 | 1050 | 292 | 282 | 1023 | 834 | 607 | 656 | 529 | 543
540 | 657 | 1074 | 204 | 855 | 2214 | 1551 | 1223 | 1066 | 1077 | 1042 | 1083 | 986 | 1114 | 914 | 1095 | 294 | 289 | 1066 | 861 | 624 | 684 | 543 | 563
542 | 668 | 1096 | 207 | 864 | 2223 | 1551 | 1236 | 1084 | 1106 | 1058 | 1091 | 997 | 1142 | 947 | 1108 | 301 | 289 | 1105 | 890 | 640 | 688 | 557 | 572
544 | 673 | 1127 | 209 | 855 | 2212 | 1563 | 1242 | 1104 | 1130 | 1084 | 1113 | 1026 | 1170 | 964 | 1150 | 303 | 293 | 1131 | 907 | 646 | 711 | 557 | 579
546 | 678 | 1151 | 212 | 850 | 2198 | 1536 | 1238 | 1139 | 1159 | 1111 | 1143 | 1034 | 1203 | 989 | 1164 | 305 | 301 | 1133 | 918 | 643 | 706 | 571 | 584
548 | 678 | 1162 | 214 | 840 | 2152 | 1526 | 1200 | 1158 | 1174 | 1128 | 1158 | 1057 | 1208 | 998 | 1179 | 312 | 301 | 1121 | 910 | 647 | 703 | 567 | 570
550 | 671 | 1175 | 215 | 837 | 2102 | 1510 | 1188 | 1160 | 1173 | 1131 | 1170 | 1057 | 1222 | 1009 | 1185 | 308 | 303 | 1110 | 886 | 643 | 695 | 553 | 575
552 | 672 | 1184 | 218 | 842 | 2062 | 1480 | 1181 | 1187 | 1191 | 1133 | 1187 | 1060 | 1230 | 1007 | 1209 | 307 | 309 | 1088 | 882 | 631 | 683 | 553 | 571
554 | 676 | 1185 | 226 | 837 | 2026 | 1459 | 1148 | 1194 | 1199 | 1149 | 1198 | 1071 | 1241 | 1018 | 1202 | 315 | 306 | 1057 | 850 | 618 | 670 | 555 | 556
556 | 678 | 1199 | 226 | 822 | 1968 | 1431 | 1130 | 1185 | 1189 | 1150 | 1185 | 1069 | 1232 | 1027 | 1205 | 311 | 302 | 1036 | 838 | 608 | 662 | 540 | 548
558 | 672 | 1207 | 234 | 813 | 1901 | 1407 | 1106 | 1209 | 1215 | 1162 | 1194 | 1094 | 1247 | 1038 | 1226 | 308 | 303 | 1008 | 813 | 601 | 648 | 525 | 542
560 | 679 | 1221 | 236 | 813 | 1891 | 1376 | 1096 | 1196 | 1214 | 1169 | 1181 | 1085 | 1257 | 1046 | 1215 | 305 | 304 | 977 | 788 | 586 | 638 | 519 | 528
562 | 680 | 1215 | 241 | 807 | 1832 | 1369 | 1083 | 1211 | 1210 | 1172 | 1201 | 1112 | 1272 | 1054 | 1226 | 308 | 308 | 943 | 771 | 566 | 630 | 517 | 517
564 | 681 | 1228 | 238 | 789 | 1801 | 1341 | 1063 | 1206 | 1212 | 1168 | 1206 | 1093 | 1243 | 1048 | 1227 | 300 | 305 | 924 | 755 | 567 | 602 | 500 | 512
566 | 673 | 1214 | 233 | 781 | 1750 | 1315 | 1041 | 1198 | 1204 | 1162 | 1183 | 1073 | 1246 | 1044 | 1208 | 297 | 296 | 893 | 728 | 555 | 590 | 490 | 502
568 | 667 | 1213 | 236 | 771 | 1711 | 1283 | 1022 | 1184 | 1197 | 1159 | 1175 | 1094 | 1229 | 1037 | 1200 | 294 | 296 | 861 | 705 | 533 | 581 | 482 | 496
570 | 645 | 1194 | 233 | 764 | 1644 | 1253 | 1009 | 1181 | 1187 | 1139 | 1165 | 1075 | 1227 | 1040 | 1198 | 283 | 288 | 839 | 687 | 519 | 569 | 475 | 472
572 | 647 | 1188 | 226 | 735 | 1601 | 1235 | 991 | 1169 | 1158 | 1130 | 1157 | 1066 | 1208 | 1023 | 1184 | 282 | 279 | 825 | 672 | 509 | 558 | 460 | 469
574 | 633 | 1173 | 223 | 721 | 1577 | 1199 | 958 | 1150 | 1155 | 1108 | 1156 | 1048 | 1185 | 1005 | 1179 | 270 | 274 | 798 | 645 | 499 | 541 | 448 | 454
576 | 619 | 1157 | 213 | 711 | 1528 | 1175 | 946 | 1127 | 1139 | 1103 | 1123 | 1044 | 1172 | 1000 | 1149 | 266 | 268 | 776 | 636 | 490 | 530 | 436 | 438
578 | 606 | 1138 | 207 | 692 | 1464 | 1144 | 911 | 1118 | 1115 | 1084 | 1103 | 1029 | 1146 | 986 | 1138 | 262 | 255 | 756 | 622 | 469 | 514 | 428 | 429
580 | 590 | 1124 | 200 | 678 | 1414 | 1109 | 892 | 1103 | 1105 | 1049 | 1110 | 1006 | 1124 | 964 | 1096 | 245 | 249 | 737 | 585 | 458 | 494 | 407 | 417
582 | 573 | 1090 | 188 | 656 | 1373 | 1077 | 864 | 1074 | 1091 | 1035 | 1069 | 986 | 1116 | 953 | 1097 | 239 | 240 | 725 | 582 | 449 | 482 | 402 | 406
584 | 539 | 1073 | 179 | 630 | 1305 | 1037 | 823 | 1049 | 1047 | 1013 | 1047 | 958 | 1073 | 925 | 1057 | 231 | 232 | 696 | 559 | 430 | 461 | 389 | 390
586 | 522 | 1054 | 171 | 612 | 1262 | 989 | 798 | 1025 | 1031 | 996 | 1012 | 945 | 1073 | 907 | 1051 | 223 | 220 | 677 | 531 | 415 | 443 | 362 | 375
588 | 516 | 1024 | 158 | 580 | 1217 | 951 | 762 | 1002 | 1009 | 986 | 997 | 928 | 1030 | 886 | 1016 | 211 | 210 | 644 | 521 | 399 | 432 | 361 | 358
590 | 495 | 996 | 151 | 564 | 1170 | 919 | 747 | 979 | 981 | 955 | 974 | 907 | 1009 | 861 | 987 | 207 | 200 | 623 | 498 | 387 | 415 | 343 | 349
592 | 469 | 966 | 139 | 537 | 1115 | 881 | 706 | 954 | 957 | 918 | 945 | 873 | 969 | 853 | 961 | 192 | 187 | 593 | 474 | 371 | 396 | 327 | 332
594 | 451 | 943 | 129 | 506 | 1060 | 842 | 675 | 925 | 925 | 902 | 919 | 851 | 963 | 828 | 938 | 184 | 181 | 560 | 464 | 358 | 381 | 320 | 320
596 | 422 | 912 | 123 | 494 | 1007 | 806 | 655 | 902 | 904 | 869 | 888 | 831 | 930 | 798 | 912 | 174 | 172 | 547 | 431 | 343 | 363 | 295 | 301
598 | 410 | 897 | 112 | 465 | 965 | 765 | 617 | 866 | 886 | 856 | 870 | 810 | 898 | 785 | 895 | 166 | 160 | 522 | 416 | 323 | 352 | 284 | 294
600 | 392 | 868 | 108 | 450 | 918 | 742 | 594 | 838 | 857 | 823 | 841 | 772 | 876 | 753 | 856 | 160 | 150 | 494 | 394 | 309 | 328 | 274 | 271
602 | 374 | 838 | 102 | 427 | 873 | 706 | 556 | 817 | 826 | 791 | 812 | 760 | 853 | 732 | 841 | 148 | 147 | 472 | 368 | 301 | 320 | 264 | 263
604 | 361 | 812 | 96 | 409 | 839 | 677 | 540 | 800 | 801 | 780 | 807 | 744 | 831 | 701 | 812 | 143 | 140 | 444 | 360 | 285 | 306 | 252 | 252
606 | 350 | 783 | 96 | 398 | 789 | 651 | 514 | 768 | 782 | 755 | 771 | 727 | 812 | 694 | 790 | 135 | 135 | 420 | 343 | 280 | 294 | 241 | 239
608 | 331 | 764 | 86 | 367 | 759 | 611 | 494 | 757 | 766 | 724 | 754 | 705 | 793 | 678 | 774 | 132 | 129 | 403 | 319 | 274 | 285 | 228 | 233
610 | 321 | 750 | 81 | 360 | 720 | 592 | 479 | 741 | 742 | 718 | 728 | 682 | 762 | 653 | 747 | 124 | 126 | 388 | 317 | 256 | 276 | 221 | 226
612 | 314 | 726 | 77 | 345 | 692 | 575 | 452 | 717 | 717 | 692 | 705 | 670 | 747 | 637 | 730 | 119 | 119 | 371 | 300 | 249 | 263 | 212 | 213
614 | 305 | 704 | 76 | 334 | 665 | 554 | 441 | 692 | 692 | 670 | 682 | 648 | 717 | 618 | 703 | 118 | 118 | 356 | 286 | 235 | 258 | 203 | 210
616 | 292 | 680 | 73 | 320 | 637 | 530 | 423 | 670 | 677 | 647 | 663 | 634 | 693 | 599 | 693 | 112 | 116 | 335 | 271 | 232 | 244 | 201 | 200
618 | 278 | 651 | 71 | 300 | 605 | 507 | 404 | 648 | 657 | 638 | 650 | 612 | 673 | 586 | 668 | 111 | 109 | 320 | 265 | 221 | 237 | 187 | 198
620 | 268 | 651 | 67 | 295 | 580 | 485 | 387 | 632 | 638 | 613 | 624 | 597 | 659 | 562 | 648 | 104 | 103 | 308 | 251 | 217 | 229 | 182 | 187
622 | 262 | 628 | 66 | 281 | 562 | 464 | 375 | 618 | 625 | 599 | 608 | 585 | 637 | 551 | 636 | 104 | 101 | 297 | 241 | 211 | 227 | 175 | 186
624 | 251 | 614 | 61 | 275 | 532 | 449 | 360 | 589 | 600 | 571 | 596 | 565 | 613 | 533 | 606 | 101 | 98 | 289 | 231 | 204 | 212 | 174 | 179
626 | 244 | 589 | 60 | 263 | 512 | 432 | 347 | 572 | 580 | 568 | 572 | 536 | 598 | 522 | 592 | 98 | 95 | 281 | 225 | 203 | 210 | 165 | 172
628 | 240 | 572 | 58 | 251 | 479 | 415 | 329 | 558 | 562 | 547 | 547 | 530 | 572 | 502 | 577 | 91 | 91 | 267 | 214 | 193 | 208 | 164 | 171
630 | 223 | 555 | 56 | 245 | 466 | 395 | 324 | 548 | 548 | 529 | 539 | 514 | 560 | 483 | 548 | 90 | 90 | 260 | 210 | 191 | 199 | 156 | 162
632 | 213 | 539 | 51 | 230 | 440 | 383 | 309 | 528 | 528 | 507 | 523 | 492 | 543 | 468 | 536 | 87 | 87 | 246 | 205 | 183 | 196 | 155 | 160
634 | 210 | 523 | 51 | 221 | 424 | 370 | 304 | 516 | 511 | 498 | 501 | 481 | 523 | 459 | 522 | 87 | 85 | 242 | 194 | 181 | 185 | 146 | 157
636 | 201 | 513 | 51 | 223 | 407 | 354 | 286 | 491 | 499 | 483 | 485 | 465 | 509 | 441 | 514 | 84 | 79 | 234 | 193 | 171 | 178 | 146 | 147
638 | 190 | 490 | 51 | 207 | 402 | 343 | 275 | 478 | 481 | 472 | 473 | 459 | 489 | 429 | 498 | 80 | 78 | 226 | 179 | 168 | 179 | 141 | 143
640 | 187 | 469 | 46 | 200 | 370 | 329 | 264 | 450 | 468 | 456 | 461 | 443 | 471 | 413 | 484 | 76 | 76 | 212 | 173 | 166 | 174 | 134 | 140
End Time | 29.9 C4: 2025-09-15 10:58:43
Start Time | 29.9 C4: 2025-09-15 10:58:46
Shaking (Linear) Duration [s] | 29.9 C4: 10
Shaking (Linear) Position | 29.9 C4: Current
Shaking (Linear) Amplitude [mm] | bar: 29.9 C4
Shaking (Linear) Frequency [rpm] | 29.9 C4: 1440
End Time | 29.9 C4: 2025-09-15 10:58:56
Mode | C1: Absorbance
Name | C1: blue 1
Measurement wavelength [nm] | 29.9 C4: 640
Number of flashes | 29.9 C4: 10
Settle time [ms] | 29.9 C4: 50
Part of Plate | 29.9 C4: C1-C12;D1-D11
Start Time | 29.9 C4: 2025-09-15 10:58:56
Temperature [°C] | 29.9 C4: 30
<> | C1: 1; C2: 2; C3: 3; 29.9 C4: 4; 29.9 C5: 5; 29.9 C6: 6; 29.9 C7: 7; 29.9 C8: 8; 29.9 C9: 9; 29.9 C10: 10; 29.9 C11: 11; 29.9 C12: 12
A
B
C | C1: 0.0488; C2: 0.0637; C3: 0.0416; 29.9 C4: 0.0422; 29.9 C5: 0.0431; 29.9 C6: 0.0439; 29.9 C7: 0.0428; 29.9 C8: 0.0652; 29.9 C9: 0.0649; 29.9 C10: 0.0656; 29.9 C11: 0.0712; 29.9 C12: 0.065
D | C1: 0.0625; C2: 0.0624; C3: 0.0654; 29.9 C4: 0.0405; 29.9 C5: 0.0405; 29.9 C6: 0.0415; 29.9 C7: 0.0414; 29.9 C8: 0.0412; 29.9 C9: 0.0414; 29.9 C10: 0.048; 29.9 C11: 0.041
E
F
G
H
End Time | 29.9 C4: 2025-09-15 10:59:04
Mode | C1: Absorbance
Name | C1: blue 2
Measurement wavelength [nm] | 29.9 C4: 640
Number of flashes | 29.9 C4: 10
Settle time [ms] | 29.9 C4: 50
Part of Plate | 29.9 C4: C1-C12;D1-D11
Start Time | 29.9 C4: 2025-09-15 10:59:06
Temperature [°C] | 29.9 C4: 29.9
<> | C1: 1; C2: 2; C3: 3; 29.9 C4: 4; 29.9 C5: 5; 29.9 C6: 6; 29.9 C7: 7; 29.9 C8: 8; 29.9 C9: 9; 29.9 C10: 10; 29.9 C11: 11; 29.9 C12: 12
A
B
C | C1: 0.0479; C2: 0.0646; C3: 0.0411; 29.9 C4: 0.043; 29.9 C5: 0.0432; 29.9 C6: 0.0454; 29.9 C7: 0.0427; 29.9 C8: 0.0664; 29.9 C9: 0.0669; 29.9 C10: 0.0646; 29.9 C11: 0.0709; 29.9 C12: 0.0648
D | C1: 0.0623; C2: 0.062; C3: 0.0647; 29.9 C4: 0.0405; 29.9 C5: 0.0405; 29.9 C6: 0.0415; 29.9 C7: 0.041; 29.9 C8: 0.0411; 29.9 C9: 0.0414; 29.9 C10: 0.0479; 29.9 C11: 0.0408
E
F
G
H
End Time | 29.9 C4: 2025-09-15 10:59:14
Mode | C1: Absorbance
Name | C1: red 1
Measurement wavelength [nm] | 29.9 C4: 530
Number of flashes | 29.9 C4: 10
Settle time [ms] | 29.9 C4: 50
Part of Plate | 29.9 C4: C1-C12;D1-D11
Start Time | 29.9 C4: 2025-09-15 10:59:17
Temperature [°C] | 29.9 C4: 29.8
<> | C1: 1; C2: 2; C3: 3; 29.9 C4: 4; 29.9 C5: 5; 29.9 C6: 6; 29.9 C7: 7; 29.9 C8: 8; 29.9 C9: 9; 29.9 C10: 10; 29.9 C11: 11; 29.9 C12: 12
A
B
C | C1: 0.0486; C2: 0.0765; C3: 0.0438; 29.9 C4: 0.0496; 29.9 C5: 0.0492; 29.9 C6: 0.0513; 29.9 C7: 0.047; 29.9 C8: 0.0788; 29.9 C9: 0.0785; 29.9 C10: 0.0783; 29.9 C11: 0.0835; 29.9 C12: 0.0771
D | C1: 0.0744; C2: 0.0748; C3: 0.0794; 29.9 C4: 0.0437; 29.9 C5: 0.0436; 29.9 C6: 0.0511; 29.9 C7: 0.0488; 29.9 C8: 0.0476; 29.9 C9: 0.0479; 29.9 C10: 0.0527; 29.9 C11: 0.0455
E
F
G
H
End Time | 29.9 C4: 2025-09-15 10:59:24
Mode | C1: Absorbance
Name | C1: red 2
Measurement wavelength [nm] | 29.9 C4: 530
Number of flashes | 29.9 C4: 10
Settle time [ms] | 29.9 C4: 50
Part of Plate | 29.9 C4: C1-C12;D1-D11
Start Time | 29.9 C4: 2025-09-15 10:59:27
Temperature [°C] | 29.9 C4: 29.8
<> | C1: 1; C2: 2; C3: 3; 29.9 C4: 4; 29.9 C5: 5; 29.9 C6: 6; 29.9 C7: 7; 29.9 C8: 8; 29.9 C9: 9; 29.9 C10: 10; 29.9 C11: 11; 29.9 C12: 12
A
B
C | C1: 0.053; C2: 0.0764; C3: 0.0439; 29.9 C4: 0.05; 29.9 C5: 0.049; 29.9 C6: 0.0481; 29.9 C7: 0.0472; 29.9 C8: 0.0791; 29.9 C9: 0.0789; 29.9 C10: 0.0786; 29.9 C11: 0.084; 29.9 C12: 0.0767
D | C1: 0.075; C2: 0.0745; C3: 0.0777; 29.9 C4: 0.0438; 29.9 C5: 0.0435; 29.9 C6: 0.0511; 29.9 C7: 0.0488; 29.9 C8: 0.0476; 29.9 C9: 0.0479; 29.9 C10: 0.0528; 29.9 C11: 0.0456
E
F
G
H
End Time | 29.9 C4: 2025-09-15 10:59:35
Ex | Blank | BlankB | BlankR | DOE 26.3 | DOE 26.3 | DOE 27.3 | DOE 27.3 | DOE 26.3 | DOE 26.3 | DOE 26.3 | DOE 26.3 | DOE 27.3 | DOE 27.3 | DOE 27.3 | DOE 27.3 | DOE 26.3 | DOE 26.3 | DOE 26.3 | DOE 26.3 | DOE 27.3 | DOE 27.3 | DOE 27.3 | DOE 27.3
Ex | Blank | BlankB | BlankR | f | f | f | f | b | b | b | b | b | b | b | b | r | r | r | r | r | r | r | r
Ex | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1