## Result sheet
Method name: LS_241112_Fluorescence_Actino_Sample (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1708008206
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦PODI:V1.10.2
Date: |  |  |  | 2025-09-17
Time: |  |  |  | 10:50
System |  |  |  | IBVT171
User |  |  |  | IBVT171\Tecan
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Wait
Shaking
Wait
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Fluorescence 1
Shaking
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Fluorescence 2
Shaking
| Absorbance |  |  |  |  | blue 1
| Absorbance |  |  |  |  | blue 2
| Absorbance |  |  |  |  | red 1
| Absorbance |  |  |  |  | red 2
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | A1-A12;B1-B11
Start Time |  |  |  | 2025-09-17 10:11:18
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 30
Wait minimum [°C] |  |  |  | 29
Wait maximum [°C] |  |  |  | 31
End Time |  |  |  | 2025-09-17 10:11:18
Start Time |  |  |  | 2025-09-17 10:11:18
Shaking (Linear) Duration [s] |  |  |  | 7
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-09-17 10:11:25
Start Time |  |  |  | 2025-09-17 10:11:25
Wait (Time) hh:mm:ss |  |  |  | 00:05:01
Wait position |  |  |  | Current
End Time |  |  |  | 2025-09-17 10:16:26
Start Time |  |  |  | 2025-09-17 10:16:26
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-09-17 10:16:36
Start Time |  |  |  | 2025-09-17 10:16:36
Wait (Time) hh:mm:ss |  |  |  | 00:00:10
Wait position |  |  |  | Current
End Time |  |  |  | 2025-09-17 10:16:46
Mode | Fluorescence Intensity Scan Top Reading
Name | Fluorescence 1
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-A12;B1-B11
Start Time |  |  |  | 2025-09-17 10:16:46
Temperature [°C] |  |  |  | 29.9
Wavel. | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11
520 | 2904 | 3691 | 2758 | 4793 | 4607 | 7739 | 7798 | 3387 | 3583 | 3479 | 3612 | 3763 | 3448 | 3351 | 3265 | 3844 | 3996 | 3975 | 3723 | 5489 | 5380 | 5479 | 5706
522 | 602 | 840 | 329 | 2226 | 2555 | 5904 | 5768 | 997 | 990 | 952 | 972 | 1194 | 1211 | 1275 | 1106 | 1066 | 1116 | 990 | 994 | 2702 | 2852 | 2711 | 2363
524 | 534 | 779 | 229 | 2218 | 2595 | 5989 | 5912 | 937 | 904 | 928 | 933 | 1167 | 1182 | 1233 | 1071 | 1082 | 1119 | 1002 | 1001 | 2712 | 2834 | 2725 | 2337
526 | 538 | 808 | 216 | 2302 | 2722 | 6134 | 6027 | 976 | 947 | 957 | 971 | 1200 | 1216 | 1287 | 1093 | 1219 | 1267 | 1109 | 1107 | 2796 | 2943 | 2815 | 2407
528 | 543 | 831 | 222 | 2362 | 2846 | 6221 | 6156 | 1020 | 989 | 1007 | 992 | 1251 | 1255 | 1326 | 1143 | 1367 | 1408 | 1224 | 1226 | 2864 | 3011 | 2897 | 2480
530 | 557 | 855 | 224 | 2432 | 2951 | 6352 | 6282 | 1049 | 1025 | 1035 | 1044 | 1271 | 1312 | 1373 | 1157 | 1522 | 1594 | 1362 | 1351 | 2949 | 3104 | 2979 | 2569
532 | 562 | 877 | 220 | 2492 | 3033 | 6366 | 6387 | 1080 | 1066 | 1064 | 1070 | 1318 | 1344 | 1404 | 1218 | 1681 | 1749 | 1497 | 1478 | 2996 | 3149 | 3072 | 2616
534 | 574 | 911 | 223 | 2547 | 3091 | 6432 | 6415 | 1118 | 1089 | 1093 | 1102 | 1345 | 1383 | 1448 | 1237 | 1818 | 1897 | 1594 | 1591 | 3065 | 3220 | 3155 | 2683
536 | 583 | 926 | 224 | 2565 | 3181 | 6499 | 6459 | 1150 | 1105 | 1128 | 1128 | 1382 | 1407 | 1488 | 1262 | 1959 | 2040 | 1706 | 1688 | 3110 | 3267 | 3192 | 2732
538 | 592 | 939 | 225 | 2580 | 3212 | 6489 | 6410 | 1173 | 1134 | 1156 | 1163 | 1394 | 1436 | 1487 | 1287 | 2063 | 2132 | 1811 | 1778 | 3144 | 3320 | 3232 | 2760
540 | 599 | 967 | 226 | 2603 | 3231 | 6442 | 6435 | 1190 | 1170 | 1179 | 1190 | 1434 | 1457 | 1521 | 1329 | 2184 | 2250 | 1878 | 1854 | 3205 | 3357 | 3293 | 2799
542 | 608 | 988 | 238 | 2614 | 3278 | 6477 | 6386 | 1220 | 1164 | 1218 | 1222 | 1458 | 1498 | 1545 | 1344 | 2265 | 2350 | 1939 | 1919 | 3218 | 3373 | 3364 | 2820
544 | 614 | 1009 | 241 | 2611 | 3252 | 6436 | 6327 | 1243 | 1198 | 1236 | 1237 | 1473 | 1513 | 1569 | 1361 | 2327 | 2397 | 1983 | 1955 | 3258 | 3385 | 3368 | 2868
546 | 630 | 1032 | 243 | 2585 | 3252 | 6335 | 6268 | 1264 | 1203 | 1252 | 1263 | 1496 | 1527 | 1592 | 1378 | 2340 | 2413 | 2011 | 1960 | 3244 | 3394 | 3397 | 2870
548 | 637 | 1041 | 249 | 2575 | 3206 | 6215 | 6140 | 1271 | 1222 | 1260 | 1268 | 1481 | 1538 | 1584 | 1367 | 2335 | 2432 | 2009 | 1965 | 3257 | 3394 | 3369 | 2861
550 | 632 | 1061 | 254 | 2511 | 3155 | 6142 | 6029 | 1260 | 1236 | 1265 | 1270 | 1485 | 1550 | 1572 | 1368 | 2311 | 2383 | 1991 | 1948 | 3192 | 3363 | 3309 | 2803
552 | 639 | 1066 | 253 | 2462 | 3116 | 6039 | 5917 | 1293 | 1228 | 1278 | 1268 | 1494 | 1533 | 1578 | 1392 | 2267 | 2357 | 1963 | 1925 | 3179 | 3363 | 3328 | 2813
554 | 643 | 1076 | 260 | 2408 | 3066 | 5941 | 5740 | 1272 | 1219 | 1275 | 1277 | 1499 | 1540 | 1578 | 1383 | 2203 | 2294 | 1902 | 1854 | 3119 | 3305 | 3253 | 2765
556 | 652 | 1072 | 267 | 2370 | 3006 | 5763 | 5662 | 1282 | 1240 | 1286 | 1289 | 1477 | 1549 | 1573 | 1403 | 2156 | 2226 | 1878 | 1809 | 3102 | 3242 | 3237 | 2711
558 | 671 | 1093 | 268 | 2318 | 2976 | 5608 | 5497 | 1275 | 1232 | 1277 | 1278 | 1474 | 1543 | 1568 | 1384 | 2091 | 2176 | 1808 | 1773 | 3038 | 3189 | 3166 | 2659
560 | 681 | 1097 | 270 | 2256 | 2904 | 5496 | 5415 | 1282 | 1232 | 1285 | 1288 | 1470 | 1550 | 1554 | 1383 | 2015 | 2113 | 1747 | 1706 | 3014 | 3157 | 3119 | 2611
562 | 696 | 1111 | 273 | 2196 | 2855 | 5392 | 5284 | 1285 | 1229 | 1275 | 1278 | 1473 | 1555 | 1555 | 1376 | 1974 | 2043 | 1700 | 1673 | 2967 | 3124 | 3074 | 2605
564 | 714 | 1101 | 270 | 2173 | 2837 | 5307 | 5142 | 1282 | 1228 | 1275 | 1287 | 1465 | 1549 | 1545 | 1375 | 1912 | 1980 | 1651 | 1638 | 2915 | 3042 | 2990 | 2529
566 | 714 | 1099 | 269 | 2107 | 2754 | 5148 | 5001 | 1269 | 1216 | 1265 | 1266 | 1452 | 1518 | 1536 | 1362 | 1837 | 1923 | 1595 | 1565 | 2830 | 2994 | 2930 | 2501
568 | 708 | 1097 | 267 | 2043 | 2720 | 5000 | 4884 | 1255 | 1207 | 1263 | 1278 | 1449 | 1519 | 1519 | 1359 | 1797 | 1862 | 1555 | 1525 | 2796 | 2934 | 2884 | 2426
570 | 721 | 1098 | 264 | 1983 | 2650 | 4889 | 4740 | 1253 | 1203 | 1248 | 1254 | 1425 | 1502 | 1505 | 1349 | 1758 | 1807 | 1514 | 1492 | 2739 | 2846 | 2792 | 2361
572 | 716 | 1102 | 261 | 1918 | 2613 | 4777 | 4578 | 1240 | 1179 | 1254 | 1252 | 1406 | 1488 | 1490 | 1325 | 1707 | 1778 | 1476 | 1450 | 2654 | 2790 | 2742 | 2342
574 | 723 | 1093 | 252 | 1870 | 2546 | 4603 | 4453 | 1225 | 1159 | 1224 | 1235 | 1372 | 1465 | 1468 | 1308 | 1671 | 1724 | 1432 | 1420 | 2580 | 2730 | 2704 | 2273
576 | 709 | 1081 | 245 | 1819 | 2488 | 4473 | 4365 | 1212 | 1154 | 1204 | 1220 | 1353 | 1445 | 1439 | 1288 | 1634 | 1693 | 1404 | 1406 | 2520 | 2673 | 2622 | 2214
578 | 691 | 1067 | 231 | 1761 | 2428 | 4367 | 4216 | 1211 | 1145 | 1199 | 1209 | 1324 | 1422 | 1423 | 1280 | 1603 | 1654 | 1381 | 1351 | 2458 | 2611 | 2565 | 2164
580 | 682 | 1051 | 226 | 1703 | 2381 | 4177 | 4097 | 1169 | 1122 | 1177 | 1191 | 1301 | 1412 | 1392 | 1254 | 1555 | 1622 | 1359 | 1325 | 2415 | 2540 | 2472 | 2102
582 | 670 | 1031 | 215 | 1645 | 2335 | 4089 | 3899 | 1156 | 1105 | 1159 | 1171 | 1277 | 1382 | 1378 | 1231 | 1513 | 1581 | 1322 | 1300 | 2336 | 2463 | 2436 | 2045
584 | 638 | 1019 | 204 | 1589 | 2256 | 3901 | 3803 | 1148 | 1082 | 1128 | 1160 | 1253 | 1341 | 1346 | 1203 | 1468 | 1539 | 1289 | 1257 | 2293 | 2389 | 2360 | 1984
586 | 611 | 999 | 194 | 1540 | 2214 | 3809 | 3670 | 1128 | 1073 | 1096 | 1126 | 1219 | 1327 | 1323 | 1183 | 1450 | 1494 | 1248 | 1219 | 2220 | 2314 | 2275 | 1956
588 | 598 | 982 | 180 | 1465 | 2127 | 3668 | 3523 | 1100 | 1033 | 1071 | 1106 | 1192 | 1286 | 1285 | 1147 | 1383 | 1453 | 1205 | 1185 | 2165 | 2285 | 2227 | 1888
590 | 575 | 968 | 168 | 1424 | 2074 | 3549 | 3398 | 1078 | 1014 | 1066 | 1084 | 1167 | 1267 | 1263 | 1121 | 1355 | 1401 | 1174 | 1158 | 2096 | 2207 | 2144 | 1831
592 | 557 | 955 | 155 | 1359 | 2010 | 3371 | 3273 | 1050 | 995 | 1045 | 1053 | 1138 | 1228 | 1232 | 1105 | 1305 | 1345 | 1130 | 1105 | 2035 | 2132 | 2089 | 1775
594 | 535 | 928 | 150 | 1311 | 1939 | 3291 | 3128 | 1020 | 963 | 1011 | 1031 | 1102 | 1209 | 1189 | 1080 | 1263 | 1307 | 1090 | 1078 | 1972 | 2070 | 2034 | 1731
596 | 510 | 896 | 139 | 1245 | 1886 | 3119 | 3032 | 989 | 937 | 983 | 1006 | 1060 | 1172 | 1163 | 1041 | 1193 | 1250 | 1046 | 1026 | 1908 | 2005 | 1958 | 1684
598 | 489 | 889 | 130 | 1194 | 1806 | 3038 | 2913 | 975 | 914 | 967 | 990 | 1054 | 1150 | 1140 | 1010 | 1172 | 1188 | 1008 | 999 | 1871 | 1954 | 1920 | 1636
600 | 470 | 856 | 124 | 1145 | 1740 | 2887 | 2801 | 959 | 888 | 946 | 967 | 1016 | 1119 | 1096 | 996 | 1104 | 1141 | 953 | 955 | 1794 | 1892 | 1824 | 1570
602 | 452 | 845 | 115 | 1099 | 1691 | 2787 | 2649 | 920 | 864 | 919 | 928 | 990 | 1081 | 1075 | 962 | 1064 | 1103 | 934 | 915 | 1743 | 1815 | 1779 | 1515
604 | 432 | 826 | 108 | 1056 | 1652 | 2699 | 2558 | 902 | 850 | 888 | 903 | 972 | 1058 | 1044 | 945 | 1002 | 1067 | 889 | 864 | 1685 | 1764 | 1724 | 1470
606 | 418 | 815 | 101 | 1021 | 1596 | 2587 | 2459 | 885 | 824 | 882 | 883 | 940 | 1025 | 1023 | 917 | 974 | 1004 | 845 | 842 | 1625 | 1714 | 1675 | 1415
608 | 399 | 791 | 95 | 962 | 1559 | 2486 | 2378 | 873 | 807 | 853 | 862 | 919 | 1012 | 997 | 909 | 921 | 961 | 797 | 792 | 1583 | 1647 | 1624 | 1360
610 | 389 | 771 | 92 | 923 | 1517 | 2379 | 2280 | 841 | 790 | 831 | 845 | 902 | 978 | 964 | 871 | 896 | 927 | 780 | 773 | 1528 | 1614 | 1579 | 1335
612 | 373 | 748 | 87 | 886 | 1466 | 2293 | 2209 | 826 | 764 | 808 | 825 | 881 | 959 | 948 | 849 | 856 | 884 | 759 | 739 | 1494 | 1554 | 1507 | 1289
614 | 359 | 728 | 84 | 849 | 1416 | 2190 | 2114 | 800 | 742 | 793 | 795 | 835 | 931 | 916 | 827 | 822 | 842 | 725 | 704 | 1439 | 1500 | 1460 | 1239
616 | 348 | 711 | 83 | 820 | 1369 | 2093 | 2029 | 782 | 723 | 769 | 785 | 825 | 897 | 895 | 813 | 783 | 815 | 691 | 679 | 1393 | 1451 | 1400 | 1196
618 | 338 | 702 | 78 | 776 | 1340 | 2004 | 1945 | 754 | 706 | 746 | 763 | 806 | 882 | 869 | 781 | 750 | 783 | 662 | 661 | 1342 | 1401 | 1355 | 1156
620 | 316 | 681 | 75 | 742 | 1285 | 1935 | 1852 | 724 | 686 | 725 | 741 | 777 | 853 | 844 | 765 | 730 | 749 | 635 | 629 | 1282 | 1353 | 1321 | 1107
622 | 306 | 656 | 71 | 717 | 1262 | 1857 | 1780 | 715 | 661 | 711 | 711 | 770 | 835 | 817 | 737 | 693 | 725 | 617 | 609 | 1250 | 1300 | 1278 | 1077
624 | 296 | 648 | 72 | 684 | 1233 | 1779 | 1692 | 693 | 658 | 690 | 693 | 748 | 807 | 796 | 720 | 675 | 692 | 590 | 578 | 1204 | 1264 | 1242 | 1035
626 | 285 | 626 | 66 | 655 | 1187 | 1694 | 1620 | 672 | 630 | 667 | 682 | 727 | 787 | 778 | 702 | 640 | 669 | 562 | 567 | 1163 | 1209 | 1182 | 1010
628 | 274 | 616 | 63 | 633 | 1156 | 1626 | 1558 | 662 | 612 | 649 | 656 | 694 | 765 | 754 | 688 | 624 | 640 | 558 | 557 | 1129 | 1184 | 1153 | 970
630 | 269 | 596 | 62 | 599 | 1125 | 1577 | 1503 | 639 | 599 | 631 | 645 | 693 | 752 | 731 | 659 | 595 | 614 | 536 | 528 | 1086 | 1128 | 1115 | 941
632 | 254 | 576 | 60 | 578 | 1097 | 1496 | 1433 | 637 | 571 | 608 | 614 | 661 | 724 | 693 | 648 | 575 | 598 | 512 | 511 | 1049 | 1090 | 1075 | 899
634 | 244 | 559 | 58 | 553 | 1062 | 1455 | 1370 | 606 | 568 | 597 | 596 | 648 | 695 | 683 | 611 | 554 | 579 | 494 | 498 | 1028 | 1061 | 1048 | 871
636 | 234 | 547 | 57 | 530 | 1026 | 1382 | 1314 | 591 | 541 | 579 | 589 | 632 | 682 | 673 | 602 | 535 | 557 | 481 | 477 | 993 | 1040 | 1003 | 839
638 | 229 | 537 | 55 | 519 | 984 | 1320 | 1258 | 574 | 535 | 565 | 562 | 620 | 658 | 661 | 591 | 519 | 535 | 463 | 463 | 950 | 993 | 977 | 826
640 | 220 | 515 | 53 | 483 | 956 | 1285 | 1206 | 562 | 515 | 561 | 565 | 600 | 646 | 627 | 572 | 496 | 528 | 448 | 445 | 911 | 954 | 948 | 784
End Time | 29.9 A4: 2025-09-17 10:33:15
Start Time | 29.9 A4: 2025-09-17 10:33:20
Shaking (Linear) Duration [s] | 29.9 A4: 10
Shaking (Linear) Position | 29.9 A4: Current
Shaking (Linear) Amplitude [mm] | bar: 29.9 A4
Shaking (Linear) Frequency [rpm] | 29.9 A4: 1440
End Time | 29.9 A4: 2025-09-17 10:33:30
Mode | A1: Fluorescence Intensity Scan Top Reading
Name | A1: Fluorescence 2
Scan selection | 29.9 A4: Emission Scan
Excitation | 29.9 A4: Monochromator
Excitation wavelength [nm] | 29.9 A4: 483
Excitation bandwidth [nm] | 29.9 A4: 20
Emission wavelength start [nm] | 29.9 A4: 520
Emission wavelength end [nm] | 29.9 A4: 640
Emission wavelength step size [nm] | 29.9 A4: 2
Emission scan number | 29.9 A4: 61
Emission bandwidth [nm] | 29.9 A4: 20
Gain Manual | 29.9 A4: 100
Mirror | 29.9 A4: Automatic (Dichroic 510)
Number of flashes | 29.9 A4: 30
Integration time [µs] | 29.9 A4: 40
Lag time [µs] | 29.9 A4: 0
Settle time [ms] | 29.9 A4: 0
Z-Position [μm] | 29.9 A4: 20000
Z-Position mode | 29.9 A4: Manual
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-09-17 10:33:30
Temperature [°C] | 29.9 A4: 29.9
Wavel. | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11
520 | 2590 | 3705 | 2575 | 4263 | 4172 | 7240 | 7248 | 3147 | 3308 | 3019 | 3140 | 3361 | 3158 | 2932 | 2895 | 3417 | 3614 | 3505 | 3451 | 5027 | 5070 | 4800 | 5106
522 | 562 | 833 | 292 | 2080 | 2356 | 5444 | 5361 | 944 | 951 | 948 | 968 | 1148 | 1226 | 1206 | 1108 | 958 | 1016 | 925 | 909 | 2429 | 2585 | 2453 | 2114
524 | 488 | 793 | 205 | 2082 | 2415 | 5522 | 5457 | 912 | 904 | 902 | 922 | 1109 | 1204 | 1201 | 1076 | 969 | 1022 | 922 | 934 | 2461 | 2592 | 2431 | 2105
526 | 495 | 816 | 202 | 2112 | 2544 | 5685 | 5588 | 949 | 941 | 945 | 965 | 1147 | 1240 | 1243 | 1128 | 1123 | 1175 | 1034 | 1044 | 2525 | 2670 | 2537 | 2186
528 | 502 | 847 | 200 | 2201 | 2647 | 5782 | 5708 | 987 | 962 | 979 | 996 | 1182 | 1284 | 1284 | 1162 | 1221 | 1300 | 1129 | 1137 | 2599 | 2728 | 2604 | 2243
530 | 505 | 885 | 200 | 2258 | 2752 | 5855 | 5773 | 1023 | 999 | 1021 | 1030 | 1229 | 1317 | 1324 | 1203 | 1373 | 1468 | 1269 | 1262 | 2659 | 2819 | 2701 | 2314
532 | 509 | 914 | 202 | 2299 | 2848 | 5938 | 5862 | 1059 | 1042 | 1049 | 1069 | 1259 | 1372 | 1352 | 1231 | 1532 | 1614 | 1384 | 1390 | 2734 | 2860 | 2782 | 2384
534 | 512 | 938 | 205 | 2326 | 2928 | 5953 | 5862 | 1092 | 1078 | 1084 | 1099 | 1289 | 1389 | 1388 | 1265 | 1645 | 1743 | 1495 | 1487 | 2770 | 2965 | 2850 | 2444
536 | 519 | 961 | 206 | 2357 | 2986 | 5979 | 5909 | 1132 | 1108 | 1127 | 1131 | 1314 | 1434 | 1424 | 1304 | 1771 | 1884 | 1596 | 1602 | 2819 | 3001 | 2907 | 2491
538 | 520 | 979 | 202 | 2383 | 3020 | 5895 | 5922 | 1137 | 1133 | 1152 | 1143 | 1330 | 1456 | 1449 | 1308 | 1870 | 1989 | 1674 | 1659 | 2865 | 3020 | 2977 | 2520
540 | 519 | 1009 | 207 | 2377 | 3039 | 5940 | 5887 | 1179 | 1154 | 1176 | 1173 | 1370 | 1489 | 1453 | 1355 | 1963 | 2091 | 1762 | 1757 | 2896 | 3077 | 3013 | 2575
542 | 525 | 1038 | 211 | 2387 | 3077 | 5923 | 5940 | 1199 | 1184 | 1196 | 1206 | 1391 | 1521 | 1487 | 1372 | 2044 | 2168 | 1797 | 1789 | 2936 | 3094 | 3053 | 2616
544 | 529 | 1054 | 213 | 2402 | 3088 | 5890 | 5852 | 1216 | 1211 | 1238 | 1215 | 1400 | 1540 | 1498 | 1404 | 2109 | 2220 | 1856 | 1857 | 2946 | 3116 | 3085 | 2626
546 | 534 | 1082 | 220 | 2367 | 3094 | 5853 | 5768 | 1241 | 1231 | 1258 | 1242 | 1417 | 1565 | 1519 | 1418 | 2126 | 2240 | 1876 | 1860 | 2937 | 3119 | 3108 | 2618
548 | 537 | 1090 | 221 | 2348 | 3058 | 5730 | 5667 | 1241 | 1229 | 1281 | 1248 | 1449 | 1587 | 1527 | 1431 | 2105 | 2221 | 1875 | 1849 | 2931 | 3093 | 3046 | 2613
550 | 540 | 1102 | 221 | 2275 | 2999 | 5655 | 5534 | 1253 | 1244 | 1280 | 1242 | 1433 | 1571 | 1530 | 1438 | 2099 | 2176 | 1838 | 1827 | 2910 | 3071 | 3039 | 2582
552 | 543 | 1129 | 230 | 2252 | 2964 | 5522 | 5484 | 1251 | 1243 | 1292 | 1255 | 1454 | 1590 | 1526 | 1435 | 2061 | 2151 | 1815 | 1801 | 2874 | 3025 | 2989 | 2540
554 | 541 | 1134 | 231 | 2191 | 2961 | 5421 | 5336 | 1267 | 1250 | 1296 | 1254 | 1452 | 1588 | 1526 | 1442 | 2020 | 2105 | 1769 | 1753 | 2821 | 3000 | 2971 | 2527
556 | 546 | 1135 | 236 | 2129 | 2897 | 5307 | 5216 | 1265 | 1256 | 1295 | 1267 | 1443 | 1600 | 1519 | 1446 | 1949 | 2037 | 1715 | 1693 | 2820 | 2958 | 2925 | 2487
558 | 546 | 1149 | 236 | 2111 | 2848 | 5204 | 5102 | 1247 | 1261 | 1303 | 1256 | 1436 | 1592 | 1529 | 1451 | 1889 | 1992 | 1672 | 1663 | 2764 | 2923 | 2867 | 2430
560 | 548 | 1143 | 244 | 2062 | 2825 | 5131 | 4990 | 1241 | 1252 | 1299 | 1257 | 1443 | 1577 | 1527 | 1437 | 1834 | 1927 | 1634 | 1604 | 2714 | 2857 | 2819 | 2418
562 | 551 | 1150 | 243 | 2014 | 2792 | 4996 | 4877 | 1259 | 1248 | 1296 | 1266 | 1449 | 1593 | 1529 | 1446 | 1785 | 1877 | 1592 | 1575 | 2684 | 2828 | 2789 | 2359
564 | 544 | 1153 | 241 | 1966 | 2713 | 4856 | 4766 | 1246 | 1245 | 1300 | 1251 | 1444 | 1581 | 1528 | 1442 | 1734 | 1807 | 1516 | 1516 | 2629 | 2777 | 2724 | 2325
566 | 547 | 1150 | 240 | 1913 | 2679 | 4740 | 4643 | 1235 | 1244 | 1285 | 1238 | 1438 | 1564 | 1503 | 1425 | 1675 | 1757 | 1476 | 1467 | 2583 | 2711 | 2667 | 2238
568 | 541 | 1143 | 239 | 1862 | 2616 | 4636 | 4538 | 1231 | 1211 | 1290 | 1233 | 1422 | 1542 | 1490 | 1423 | 1631 | 1709 | 1443 | 1441 | 2523 | 2664 | 2599 | 2228
570 | 533 | 1138 | 235 | 1799 | 2573 | 4484 | 4389 | 1214 | 1201 | 1268 | 1224 | 1399 | 1532 | 1472 | 1413 | 1596 | 1657 | 1397 | 1385 | 2463 | 2566 | 2539 | 2158
572 | 524 | 1127 | 230 | 1755 | 2524 | 4392 | 4255 | 1197 | 1200 | 1240 | 1218 | 1390 | 1532 | 1461 | 1389 | 1558 | 1618 | 1372 | 1351 | 2418 | 2529 | 2493 | 2109
574 | 519 | 1113 | 223 | 1719 | 2461 | 4269 | 4163 | 1182 | 1196 | 1234 | 1192 | 1384 | 1503 | 1436 | 1358 | 1517 | 1566 | 1315 | 1316 | 2337 | 2485 | 2413 | 2053
576 | 508 | 1106 | 221 | 1668 | 2423 | 4134 | 4041 | 1149 | 1165 | 1218 | 1186 | 1365 | 1482 | 1425 | 1352 | 1473 | 1550 | 1313 | 1286 | 2309 | 2431 | 2366 | 2038
578 | 499 | 1092 | 212 | 1616 | 2371 | 4026 | 3923 | 1151 | 1161 | 1212 | 1159 | 1327 | 1485 | 1397 | 1335 | 1466 | 1506 | 1264 | 1258 | 2222 | 2352 | 2295 | 1981
580 | 483 | 1074 | 198 | 1544 | 2298 | 3891 | 3792 | 1135 | 1124 | 1182 | 1165 | 1315 | 1444 | 1386 | 1320 | 1414 | 1470 | 1249 | 1235 | 2184 | 2294 | 2239 | 1919
582 | 472 | 1060 | 190 | 1501 | 2267 | 3803 | 3677 | 1118 | 1116 | 1176 | 1130 | 1293 | 1407 | 1358 | 1293 | 1388 | 1432 | 1220 | 1211 | 2119 | 2238 | 2195 | 1875
584 | 458 | 1031 | 179 | 1440 | 2199 | 3646 | 3517 | 1092 | 1098 | 1138 | 1105 | 1259 | 1389 | 1323 | 1266 | 1349 | 1378 | 1167 | 1169 | 2069 | 2197 | 2119 | 1825
586 | 435 | 1019 | 176 | 1391 | 2125 | 3525 | 3410 | 1063 | 1070 | 1126 | 1085 | 1240 | 1368 | 1310 | 1246 | 1309 | 1367 | 1138 | 1126 | 2023 | 2120 | 2080 | 1759
588 | 420 | 1001 | 162 | 1344 | 2071 | 3398 | 3302 | 1038 | 1045 | 1102 | 1056 | 1199 | 1333 | 1268 | 1203 | 1276 | 1311 | 1108 | 1097 | 1944 | 2061 | 1989 | 1715
590 | 407 | 987 | 156 | 1301 | 2020 | 3303 | 3183 | 1024 | 1019 | 1080 | 1030 | 1202 | 1296 | 1250 | 1177 | 1225 | 1273 | 1071 | 1059 | 1901 | 2007 | 1951 | 1672
592 | 389 | 950 | 141 | 1240 | 1951 | 3155 | 3071 | 997 | 1005 | 1053 | 1005 | 1165 | 1258 | 1210 | 1151 | 1187 | 1234 | 1041 | 1031 | 1847 | 1944 | 1904 | 1620
594 | 379 | 939 | 136 | 1191 | 1885 | 3048 | 2930 | 971 | 974 | 1016 | 984 | 1140 | 1245 | 1192 | 1129 | 1141 | 1191 | 986 | 999 | 1790 | 1885 | 1834 | 1568
596 | 359 | 911 | 128 | 1134 | 1825 | 2947 | 2805 | 945 | 951 | 986 | 961 | 1109 | 1230 | 1162 | 1108 | 1104 | 1143 | 962 | 953 | 1735 | 1843 | 1779 | 1518
598 | 341 | 888 | 116 | 1087 | 1775 | 2809 | 2725 | 923 | 934 | 971 | 940 | 1075 | 1180 | 1124 | 1087 | 1063 | 1095 | 922 | 919 | 1683 | 1776 | 1751 | 1472
600 | 328 | 872 | 111 | 1049 | 1707 | 2708 | 2620 | 905 | 906 | 945 | 912 | 1055 | 1147 | 1095 | 1045 | 1012 | 1055 | 875 | 874 | 1637 | 1706 | 1669 | 1422
602 | 311 | 853 | 102 | 999 | 1646 | 2580 | 2504 | 882 | 872 | 927 | 886 | 1024 | 1121 | 1060 | 1027 | 965 | 1002 | 848 | 841 | 1575 | 1659 | 1617 | 1360
604 | 302 | 824 | 97 | 949 | 1621 | 2497 | 2390 | 856 | 854 | 896 | 858 | 1007 | 1098 | 1038 | 999 | 921 | 955 | 808 | 813 | 1520 | 1608 | 1560 | 1331
606 | 287 | 823 | 94 | 920 | 1534 | 2402 | 2306 | 828 | 829 | 864 | 843 | 971 | 1072 | 1015 | 973 | 893 | 924 | 769 | 762 | 1468 | 1561 | 1503 | 1295
608 | 273 | 793 | 89 | 873 | 1505 | 2316 | 2219 | 805 | 803 | 853 | 805 | 953 | 1039 | 985 | 938 | 856 | 874 | 745 | 734 | 1446 | 1499 | 1472 | 1254
610 | 266 | 791 | 84 | 851 | 1457 | 2219 | 2130 | 801 | 788 | 820 | 798 | 930 | 1031 | 977 | 929 | 820 | 846 | 720 | 715 | 1385 | 1465 | 1411 | 1209
612 | 256 | 749 | 82 | 812 | 1412 | 2126 | 2059 | 784 | 775 | 805 | 768 | 899 | 994 | 946 | 894 | 783 | 809 | 690 | 677 | 1344 | 1393 | 1363 | 1171
614 | 250 | 748 | 76 | 777 | 1377 | 2054 | 1977 | 752 | 746 | 788 | 759 | 884 | 964 | 928 | 867 | 747 | 769 | 655 | 663 | 1294 | 1357 | 1324 | 1128
616 | 238 | 727 | 73 | 749 | 1317 | 1972 | 1890 | 733 | 733 | 768 | 732 | 863 | 947 | 878 | 853 | 717 | 742 | 626 | 634 | 1247 | 1323 | 1274 | 1085
618 | 229 | 701 | 70 | 719 | 1267 | 1886 | 1810 | 726 | 713 | 751 | 721 | 835 | 916 | 864 | 831 | 689 | 713 | 602 | 601 | 1207 | 1264 | 1223 | 1048
620 | 225 | 699 | 71 | 676 | 1230 | 1795 | 1741 | 699 | 699 | 725 | 693 | 804 | 894 | 853 | 812 | 663 | 687 | 582 | 583 | 1160 | 1236 | 1194 | 1016
622 | 214 | 676 | 63 | 663 | 1200 | 1726 | 1651 | 679 | 668 | 705 | 680 | 796 | 864 | 835 | 780 | 629 | 656 | 562 | 566 | 1124 | 1189 | 1135 | 971
624 | 208 | 656 | 65 | 630 | 1169 | 1647 | 1600 | 674 | 652 | 683 | 653 | 768 | 841 | 803 | 766 | 608 | 632 | 539 | 537 | 1085 | 1147 | 1113 | 944
626 | 198 | 640 | 59 | 607 | 1134 | 1603 | 1523 | 644 | 636 | 669 | 642 | 746 | 817 | 790 | 742 | 591 | 601 | 521 | 526 | 1054 | 1115 | 1076 | 911
628 | 195 | 620 | 61 | 583 | 1094 | 1524 | 1457 | 634 | 616 | 646 | 620 | 727 | 789 | 758 | 723 | 560 | 581 | 511 | 506 | 1026 | 1072 | 1043 | 874
630 | 182 | 601 | 61 | 557 | 1059 | 1459 | 1412 | 619 | 603 | 632 | 604 | 703 | 760 | 736 | 695 | 544 | 563 | 489 | 482 | 987 | 1036 | 999 | 862
632 | 177 | 591 | 57 | 527 | 1025 | 1394 | 1359 | 603 | 577 | 607 | 580 | 680 | 755 | 709 | 678 | 531 | 542 | 472 | 469 | 948 | 990 | 967 | 820
634 | 171 | 566 | 53 | 513 | 993 | 1341 | 1291 | 589 | 566 | 593 | 581 | 670 | 725 | 693 | 657 | 508 | 531 | 458 | 452 | 912 | 965 | 936 | 790
636 | 170 | 559 | 52 | 487 | 960 | 1295 | 1241 | 571 | 551 | 575 | 555 | 646 | 710 | 665 | 646 | 494 | 511 | 452 | 442 | 885 | 936 | 907 | 776
638 | 160 | 540 | 49 | 468 | 936 | 1244 | 1186 | 556 | 539 | 553 | 533 | 618 | 682 | 654 | 616 | 470 | 489 | 425 | 423 | 855 | 894 | 879 | 733
640 | 156 | 526 | 50 | 454 | 906 | 1187 | 1157 | 531 | 522 | 540 | 519 | 611 | 667 | 617 | 604 | 450 | 478 | 416 | 420 | 820 | 873 | 843 | 721
End Time | 29.9 A4: 2025-09-17 10:50:00
Start Time | 29.9 A4: 2025-09-17 10:50:03
Shaking (Linear) Duration [s] | 29.9 A4: 10
Shaking (Linear) Position | 29.9 A4: Current
Shaking (Linear) Amplitude [mm] | bar: 29.9 A4
Shaking (Linear) Frequency [rpm] | 29.9 A4: 1440
End Time | 29.9 A4: 2025-09-17 10:50:13
Mode | A1: Absorbance
Name | A1: blue 1
Measurement wavelength [nm] | 29.9 A4: 640
Number of flashes | 29.9 A4: 10
Settle time [ms] | 29.9 A4: 50
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-09-17 10:50:13
Temperature [°C] | 29.9 A4: 30
<> | A1: 1; A2: 2; A3: 3; 29.9 A4: 4; 29.9 A5: 5; 29.9 A6: 6; 29.9 A7: 7; 29.9 A8: 8; 29.9 A9: 9; 29.9 A10: 10; 29.9 A11: 11; 29.9 A12: 12
A | A1: 0.0435; A2: 0.0643; A3: 0.0402; 29.9 A4: 0.0472; 29.9 A5: 0.0467; 29.9 A6: 0.0445; 29.9 A7: 0.0446; 29.9 A8: 0.0685; 29.9 A9: 0.0722; 29.9 A10: 0.0652; 29.9 A11: 0.0675; 29.9 A12: 0.0627
B | A1: 0.0626; A2: 0.0623; A3: 0.0618; 29.9 A4: 0.0415; 29.9 A5: 0.041; 29.9 A6: 0.0409; 29.9 A7: 0.0411; 29.9 A8: 0.0415; 29.9 A9: 0.0428; 29.9 A10: 0.0449; 29.9 A11: 0.0435
C
D
E
F
G
H
End Time | 29.9 A4: 2025-09-17 10:50:21
Mode | A1: Absorbance
Name | A1: blue 2
Measurement wavelength [nm] | 29.9 A4: 640
Number of flashes | 29.9 A4: 10
Settle time [ms] | 29.9 A4: 50
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-09-17 10:50:24
Temperature [°C] | 29.9 A4: 30
<> | A1: 1; A2: 2; A3: 3; 29.9 A4: 4; 29.9 A5: 5; 29.9 A6: 6; 29.9 A7: 7; 29.9 A8: 8; 29.9 A9: 9; 29.9 A10: 10; 29.9 A11: 11; 29.9 A12: 12
A | A1: 0.0481; A2: 0.0651; A3: 0.0403; 29.9 A4: 0.048; 29.9 A5: 0.0512; 29.9 A6: 0.0437; 29.9 A7: 0.0458; 29.9 A8: 0.0696; 29.9 A9: 0.0736; 29.9 A10: 0.0663; 29.9 A11: 0.0672; 29.9 A12: 0.0621
B | A1: 0.0612; A2: 0.0611; A3: 0.0617; 29.9 A4: 0.0416; 29.9 A5: 0.041; 29.9 A6: 0.0408; 29.9 A7: 0.0413; 29.9 A8: 0.0417; 29.9 A9: 0.0426; 29.9 A10: 0.045; 29.9 A11: 0.0422
C
D
E
F
G
H
End Time | 29.9 A4: 2025-09-17 10:50:32
Mode | A1: Absorbance
Name | A1: red 1
Measurement wavelength [nm] | 29.9 A4: 530
Number of flashes | 29.9 A4: 10
Settle time [ms] | 29.9 A4: 50
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-09-17 10:50:34
Temperature [°C] | 29.9 A4: 30
<> | A1: 1; A2: 2; A3: 3; 29.9 A4: 4; 29.9 A5: 5; 29.9 A6: 6; 29.9 A7: 7; 29.9 A8: 8; 29.9 A9: 9; 29.9 A10: 10; 29.9 A11: 11; 29.9 A12: 12
A | A1: 0.0466; A2: 0.0782; A3: 0.0428; 29.9 A4: 0.0546; 29.9 A5: 0.0677; 29.9 A6: 0.0523; 29.9 A7: 0.0546; 29.9 A8: 0.079; 29.9 A9: 0.0828; 29.9 A10: 0.0779; 29.9 A11: 0.0791; 29.9 A12: 0.0746
B | A1: 0.075; A2: 0.0743; A3: 0.074; 29.9 A4: 0.0652; 29.9 A5: 0.0652; 29.9 A6: 0.0628; 29.9 A7: 0.0635; 29.9 A8: 0.0541; 29.9 A9: 0.0558; 29.9 A10: 0.0601; 29.9 A11: 0.0554
C
D
E
F
G
H
End Time | 29.9 A4: 2025-09-17 10:50:42
Mode | A1: Absorbance
Name | A1: red 2
Measurement wavelength [nm] | 29.9 A4: 530
Number of flashes | 29.9 A4: 10
Settle time [ms] | 29.9 A4: 50
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-09-17 10:50:45
Temperature [°C] | 29.9 A4: 30
<> | A1: 1; A2: 2; A3: 3; 29.9 A4: 4; 29.9 A5: 5; 29.9 A6: 6; 29.9 A7: 7; 29.9 A8: 8; 29.9 A9: 9; 29.9 A10: 10; 29.9 A11: 11; 29.9 A12: 12
A | A1: 0.0494; A2: 0.0777; A3: 0.0428; 29.9 A4: 0.0545; 29.9 A5: 0.0702; 29.9 A6: 0.0516; 29.9 A7: 0.0536; 29.9 A8: 0.0794; 29.9 A9: 0.0833; 29.9 A10: 0.0774; 29.9 A11: 0.0781; 29.9 A12: 0.0743
B | A1: 0.0747; A2: 0.0738; A3: 0.0751; 29.9 A4: 0.0651; 29.9 A5: 0.0652; 29.9 A6: 0.0626; 29.9 A7: 0.0634; 29.9 A8: 0.054; 29.9 A9: 0.0557; 29.9 A10: 0.0601; 29.9 A11: 0.0554
C
D
E
F
G
H
End Time | 29.9 A4: 2025-09-17 10:50:52
Ex | Blank | BlankB | BlankR | DOE 26.5 | DOE 26.5 | DOE 27.5 | DOE 27.5 | DOE 26.5 | DOE 26.5 | DOE 26.5 | DOE 26.5 | DOE 27.5 | DOE 27.5 | DOE 27.5 | DOE 27.5 | DOE 26.5 | DOE 26.5 | DOE 26.5 | DOE 26.5 | DOE 27.5 | DOE 27.5 | DOE 27.5 | DOE 27.5
Ex | Blank | BlankB | BlankR | f | f | f | f | b | b | b | b | b | b | b | b | r | r | r | r | r | r | r | r
Ex | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1