## Result sheet
Method name: LS_241112_Fluorescence_Actino_Sample (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1708008206
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦PODI:V1.10.2
Date: |  |  |  | 2025-06-28
Time: |  |  |  | 11:32
System |  |  |  | IBVT171
User |  |  |  | IBVT171\Tecan
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Wait
Shaking
Wait
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Label 1
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Label 2
| Absorbance |  |  |  |  | blue 1
| Absorbance |  |  |  |  | blue 2
| Absorbance |  |  |  |  | red 1
| Absorbance |  |  |  |  | red 2
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | F10-F12;G1-G12;H1-H8
Start Time |  |  |  | 2025-06-28 10:53:14
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 30
Wait minimum [°C] |  |  |  | 29
Wait maximum [°C] |  |  |  | 31
End Time |  |  |  | 2025-06-28 10:53:14
Start Time |  |  |  | 2025-06-28 10:53:14
Shaking (Linear) Duration [s] |  |  |  | 7
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-06-28 10:53:21
Start Time |  |  |  | 2025-06-28 10:53:21
Wait (Time) hh:mm:ss |  |  |  | 00:05:01
Wait position |  |  |  | Current
End Time |  |  |  | 2025-06-28 10:58:22
Start Time |  |  |  | 2025-06-28 10:58:22
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-06-28 10:58:32
Start Time |  |  |  | 2025-06-28 10:58:32
Wait (Time) hh:mm:ss |  |  |  | 00:00:10
Wait position |  |  |  | Current
End Time |  |  |  | 2025-06-28 10:58:42
Mode | Fluorescence Intensity Scan Top Reading
Name | Label 1
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | F10-F12;G1-G12;H1-H8
Start Time |  |  |  | 2025-06-28 10:58:42
Temperature [°C] |  |  |  | 29.9
Wavel. | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | Start | DOE 3.3.1 | DOE 3.3.2 | DOE 4.3.1 | DOE 4.3.2
520 | 1974 | 2456 | 2799 | 10160 | 8849 | 38959 | 34878 | 2931 | 2366 | 2202 | 1969 | 5282 | 4883 | 5238 | 5461 | 5524 | 5330 | 4656 | 4431 | 9207 | 9500 | 8909 | 8906
522 | 498 | 942 | 434 | 8569 | 7346 | 39022 | 34950 | 1303 | 721 | 623 | 696 | 4071 | 3576 | 4220 | 4415 | 2424 | 2708 | 2185 | 1900 | 7289 | 8042 | 7280 | 7632
524 | 442 | 922 | 361 | 8592 | 7419 | 39914 | 35707 | 1310 | 686 | 592 | 652 | 4269 | 3770 | 4457 | 4647 | 2306 | 2598 | 2074 | 1800 | 7655 | 8555 | 7808 | 8136
526 | 451 | 953 | 356 | 8651 | 7474 | 40585 | 36313 | 1352 | 720 | 601 | 661 | 4560 | 4012 | 4789 | 5000 | 2261 | 2540 | 2043 | 1761 | 8410 | 9374 | 8574 | 8928
528 | 450 | 956 | 362 | 8647 | 7518 | 41165 | 36948 | 1404 | 734 | 622 | 670 | 4852 | 4237 | 5034 | 5317 | 2220 | 2514 | 2023 | 1747 | 8961 | 10171 | 9332 | 9776
530 | 452 | 969 | 356 | 8728 | 7570 | 41195 | 37145 | 1449 | 756 | 629 | 689 | 5158 | 4463 | 5368 | 5635 | 2157 | 2466 | 1989 | 1728 | 9724 | 11052 | 10203 | 10640
532 | 457 | 990 | 363 | 8630 | 7559 | 41456 | 37541 | 1487 | 774 | 632 | 704 | 5427 | 4713 | 5616 | 5912 | 2127 | 2391 | 1949 | 1704 | 10523 | 12069 | 11221 | 11764
534 | 457 | 991 | 361 | 8653 | 7516 | 41546 | 37530 | 1528 | 783 | 655 | 713 | 5630 | 4926 | 5909 | 6232 | 2085 | 2330 | 1919 | 1666 | 11279 | 13009 | 12082 | 12651
536 | 461 | 1005 | 360 | 8533 | 7451 | 41449 | 37821 | 1563 | 802 | 659 | 713 | 5897 | 5138 | 6146 | 6501 | 2029 | 2293 | 1875 | 1644 | 12004 | 13855 | 13006 | 13594
538 | 466 | 1014 | 360 | 8445 | 7413 | 41293 | 37419 | 1577 | 813 | 666 | 724 | 6078 | 5296 | 6320 | 6709 | 1999 | 2212 | 1858 | 1621 | 12615 | 14768 | 13670 | 14485
540 | 464 | 1027 | 363 | 8327 | 7352 | 41074 | 37517 | 1607 | 825 | 668 | 733 | 6280 | 5487 | 6568 | 6925 | 1941 | 2168 | 1817 | 1581 | 13339 | 15676 | 14688 | 15406
542 | 476 | 1038 | 368 | 8217 | 7218 | 40928 | 37575 | 1629 | 837 | 681 | 735 | 6370 | 5594 | 6705 | 7088 | 1885 | 2119 | 1777 | 1559 | 13936 | 16415 | 15292 | 16069
544 | 473 | 1058 | 378 | 8130 | 7155 | 40655 | 37278 | 1638 | 834 | 677 | 743 | 6566 | 5733 | 6827 | 7256 | 1826 | 2082 | 1759 | 1543 | 14382 | 17069 | 15881 | 16735
546 | 480 | 1068 | 377 | 7937 | 6972 | 40157 | 36962 | 1644 | 849 | 692 | 741 | 6543 | 5717 | 6874 | 7313 | 1792 | 2010 | 1707 | 1506 | 14757 | 17547 | 16358 | 17260
548 | 479 | 1065 | 374 | 7745 | 6861 | 39646 | 36377 | 1656 | 842 | 685 | 758 | 6529 | 5722 | 6834 | 7269 | 1740 | 1929 | 1669 | 1465 | 14912 | 17697 | 16685 | 17557
550 | 486 | 1067 | 379 | 7498 | 6667 | 38821 | 35730 | 1641 | 833 | 679 | 749 | 6506 | 5670 | 6797 | 7226 | 1697 | 1884 | 1626 | 1428 | 14852 | 17772 | 16639 | 17598
552 | 488 | 1069 | 385 | 7327 | 6493 | 38008 | 35230 | 1624 | 827 | 677 | 739 | 6442 | 5646 | 6747 | 7137 | 1646 | 1840 | 1570 | 1397 | 14869 | 17903 | 16675 | 17623
554 | 490 | 1066 | 380 | 7099 | 6270 | 37242 | 34555 | 1618 | 822 | 681 | 745 | 6311 | 5557 | 6605 | 7018 | 1581 | 1768 | 1531 | 1343 | 14689 | 17607 | 16570 | 17499
556 | 489 | 1085 | 380 | 6864 | 6119 | 36444 | 33828 | 1600 | 822 | 678 | 733 | 6217 | 5492 | 6423 | 6903 | 1537 | 1714 | 1504 | 1318 | 14493 | 17555 | 16521 | 17397
558 | 494 | 1084 | 371 | 6625 | 5938 | 35656 | 33215 | 1579 | 824 | 676 | 732 | 6128 | 5318 | 6319 | 6735 | 1504 | 1669 | 1470 | 1267 | 14305 | 17303 | 16313 | 17130
560 | 495 | 1089 | 383 | 6414 | 5765 | 34844 | 32410 | 1576 | 828 | 665 | 736 | 5896 | 5167 | 6178 | 6515 | 1438 | 1621 | 1413 | 1244 | 14087 | 17022 | 16073 | 16789
562 | 498 | 1074 | 378 | 6208 | 5572 | 34031 | 31651 | 1557 | 812 | 666 | 740 | 5741 | 5040 | 6023 | 6403 | 1416 | 1561 | 1374 | 1221 | 13862 | 16804 | 15712 | 16560
564 | 494 | 1071 | 368 | 6005 | 5400 | 33003 | 30691 | 1532 | 814 | 658 | 728 | 5554 | 4899 | 5793 | 6203 | 1375 | 1515 | 1331 | 1188 | 13685 | 16557 | 15491 | 16364
566 | 500 | 1078 | 372 | 5739 | 5217 | 31978 | 29680 | 1504 | 791 | 658 | 719 | 5376 | 4733 | 5575 | 5960 | 1320 | 1469 | 1292 | 1139 | 13324 | 16287 | 15202 | 16064
568 | 488 | 1078 | 366 | 5506 | 5035 | 30839 | 28862 | 1472 | 804 | 646 | 707 | 5150 | 4567 | 5397 | 5757 | 1278 | 1414 | 1253 | 1124 | 13160 | 16021 | 14889 | 15847
570 | 485 | 1064 | 358 | 5270 | 4812 | 29843 | 27704 | 1454 | 785 | 634 | 693 | 4971 | 4415 | 5186 | 5493 | 1223 | 1358 | 1212 | 1078 | 13011 | 15696 | 14657 | 15549
572 | 484 | 1058 | 352 | 5076 | 4640 | 28848 | 26929 | 1427 | 778 | 626 | 699 | 4837 | 4271 | 5006 | 5313 | 1191 | 1310 | 1167 | 1045 | 12816 | 15424 | 14533 | 15412
574 | 463 | 1046 | 347 | 4866 | 4456 | 27677 | 25900 | 1393 | 755 | 609 | 673 | 4637 | 4129 | 4805 | 5147 | 1146 | 1273 | 1139 | 1016 | 12759 | 15227 | 14303 | 15141
576 | 462 | 1031 | 330 | 4709 | 4308 | 26854 | 25119 | 1379 | 752 | 601 | 667 | 4477 | 4015 | 4671 | 4929 | 1100 | 1234 | 1093 | 984 | 12655 | 15098 | 14156 | 14924
578 | 454 | 1029 | 321 | 4504 | 4157 | 26048 | 24129 | 1343 | 739 | 586 | 655 | 4355 | 3838 | 4498 | 4782 | 1073 | 1182 | 1071 | 953 | 12469 | 14889 | 14186 | 14804
580 | 444 | 1006 | 313 | 4294 | 3974 | 24830 | 23220 | 1322 | 731 | 567 | 631 | 4161 | 3703 | 4289 | 4646 | 1025 | 1140 | 1032 | 933 | 12314 | 14877 | 13904 | 14570
582 | 429 | 992 | 301 | 4109 | 3806 | 24021 | 22270 | 1303 | 707 | 562 | 619 | 4036 | 3597 | 4193 | 4466 | 995 | 1105 | 1004 | 904 | 12166 | 14586 | 13711 | 14370
584 | 417 | 967 | 286 | 3949 | 3689 | 23009 | 21427 | 1251 | 696 | 540 | 598 | 3910 | 3503 | 4029 | 4322 | 965 | 1070 | 979 | 876 | 12062 | 14314 | 13428 | 14050
586 | 406 | 950 | 273 | 3787 | 3544 | 22257 | 20722 | 1232 | 694 | 523 | 575 | 3782 | 3377 | 3915 | 4219 | 935 | 1041 | 952 | 857 | 11896 | 14141 | 13247 | 13930
588 | 388 | 925 | 264 | 3623 | 3356 | 21266 | 19801 | 1192 | 674 | 500 | 554 | 3619 | 3233 | 3768 | 4026 | 905 | 1014 | 921 | 841 | 11547 | 13892 | 12975 | 13736
590 | 372 | 903 | 253 | 3443 | 3255 | 20504 | 19196 | 1170 | 661 | 484 | 538 | 3523 | 3169 | 3692 | 3932 | 868 | 980 | 892 | 816 | 11387 | 13667 | 12808 | 13328
592 | 349 | 879 | 241 | 3322 | 3109 | 19907 | 18271 | 1129 | 635 | 471 | 513 | 3419 | 3045 | 3525 | 3746 | 830 | 945 | 871 | 794 | 11081 | 13322 | 12419 | 12984
594 | 335 | 864 | 230 | 3191 | 2985 | 19030 | 17546 | 1086 | 620 | 449 | 497 | 3293 | 2944 | 3400 | 3641 | 821 | 911 | 845 | 776 | 10892 | 12884 | 12081 | 12694
596 | 321 | 841 | 219 | 3027 | 2822 | 18285 | 17058 | 1075 | 609 | 431 | 479 | 3148 | 2841 | 3302 | 3490 | 801 | 900 | 843 | 748 | 10595 | 12635 | 11731 | 12206
598 | 311 | 819 | 210 | 2898 | 2729 | 17544 | 16260 | 1040 | 590 | 421 | 463 | 3081 | 2796 | 3192 | 3404 | 765 | 864 | 798 | 735 | 10243 | 12274 | 11327 | 11968
600 | 293 | 798 | 203 | 2756 | 2619 | 16808 | 15691 | 1006 | 573 | 398 | 439 | 3000 | 2668 | 3084 | 3268 | 755 | 838 | 779 | 707 | 9959 | 11766 | 10895 | 11514
602 | 288 | 768 | 188 | 2618 | 2463 | 16116 | 15021 | 1001 | 572 | 389 | 431 | 2878 | 2564 | 2996 | 3145 | 716 | 809 | 761 | 692 | 9671 | 11431 | 10615 | 11162
604 | 273 | 758 | 187 | 2509 | 2371 | 15664 | 14507 | 951 | 562 | 382 | 412 | 2755 | 2511 | 2876 | 3030 | 700 | 783 | 744 | 662 | 9320 | 11124 | 10263 | 10772
606 | 255 | 741 | 178 | 2395 | 2244 | 15040 | 13897 | 938 | 543 | 364 | 395 | 2679 | 2415 | 2769 | 2948 | 686 | 768 | 723 | 652 | 9081 | 10730 | 9964 | 10332
608 | 254 | 721 | 170 | 2297 | 2168 | 14395 | 13303 | 902 | 522 | 358 | 389 | 2565 | 2346 | 2698 | 2847 | 657 | 734 | 702 | 640 | 8709 | 10354 | 9551 | 10023
610 | 242 | 699 | 164 | 2213 | 2087 | 13823 | 12881 | 885 | 520 | 344 | 377 | 2526 | 2267 | 2629 | 2763 | 641 | 716 | 678 | 615 | 8449 | 10002 | 9214 | 9727
612 | 230 | 691 | 158 | 2102 | 2000 | 13370 | 12416 | 875 | 500 | 334 | 363 | 2419 | 2193 | 2519 | 2675 | 624 | 690 | 658 | 600 | 8247 | 9626 | 8879 | 9366
614 | 221 | 667 | 153 | 1993 | 1893 | 12816 | 11857 | 836 | 493 | 326 | 349 | 2329 | 2112 | 2428 | 2569 | 605 | 668 | 639 | 578 | 7941 | 9273 | 8584 | 9012
616 | 215 | 648 | 149 | 1905 | 1814 | 12223 | 11423 | 814 | 481 | 318 | 348 | 2259 | 2044 | 2318 | 2454 | 588 | 665 | 607 | 567 | 7690 | 8921 | 8298 | 8648
618 | 203 | 618 | 145 | 1804 | 1726 | 11788 | 10876 | 795 | 459 | 309 | 337 | 2179 | 1991 | 2248 | 2374 | 567 | 626 | 602 | 548 | 7438 | 8683 | 7997 | 8396
620 | 203 | 623 | 140 | 1733 | 1653 | 11337 | 10442 | 770 | 458 | 292 | 327 | 2087 | 1914 | 2174 | 2271 | 543 | 612 | 565 | 522 | 7166 | 8403 | 7717 | 8054
622 | 191 | 595 | 136 | 1641 | 1571 | 10783 | 10037 | 737 | 443 | 295 | 313 | 2012 | 1820 | 2114 | 2188 | 526 | 592 | 554 | 505 | 6972 | 8178 | 7494 | 7800
624 | 187 | 588 | 129 | 1567 | 1509 | 10449 | 9565 | 724 | 437 | 281 | 302 | 1935 | 1760 | 2021 | 2099 | 502 | 562 | 532 | 490 | 6787 | 7883 | 7236 | 7597
626 | 183 | 563 | 125 | 1496 | 1452 | 10028 | 9178 | 704 | 424 | 271 | 299 | 1854 | 1702 | 1944 | 2037 | 481 | 548 | 513 | 464 | 6573 | 7624 | 7034 | 7315
628 | 172 | 553 | 121 | 1432 | 1378 | 9590 | 8831 | 676 | 415 | 262 | 282 | 1778 | 1632 | 1891 | 1973 | 469 | 522 | 486 | 449 | 6404 | 7438 | 6788 | 7052
630 | 170 | 532 | 115 | 1375 | 1313 | 9122 | 8437 | 669 | 403 | 256 | 276 | 1721 | 1564 | 1807 | 1883 | 451 | 508 | 475 | 438 | 6206 | 7116 | 6535 | 6829
632 | 155 | 522 | 117 | 1302 | 1266 | 8737 | 8085 | 648 | 390 | 246 | 272 | 1669 | 1500 | 1727 | 1821 | 432 | 482 | 459 | 415 | 5969 | 6904 | 6349 | 6655
634 | 154 | 511 | 109 | 1231 | 1198 | 8413 | 7785 | 628 | 373 | 243 | 266 | 1614 | 1465 | 1651 | 1732 | 419 | 475 | 437 | 399 | 5836 | 6712 | 6134 | 6407
636 | 148 | 486 | 112 | 1185 | 1130 | 8072 | 7422 | 606 | 370 | 231 | 248 | 1548 | 1426 | 1628 | 1672 | 403 | 452 | 408 | 387 | 5596 | 6546 | 5936 | 6193
638 | 143 | 472 | 103 | 1130 | 1088 | 7670 | 7043 | 586 | 356 | 226 | 240 | 1491 | 1358 | 1551 | 1633 | 393 | 431 | 403 | 373 | 5449 | 6270 | 5730 | 5981
640 | 136 | 454 | 97 | 1093 | 1043 | 7424 | 6820 | 566 | 340 | 225 | 228 | 1438 | 1318 | 1503 | 1567 | 377 | 418 | 388 | 357 | 5267 | 6112 | 5513 | 5789
End Time | 29.9 G1: 2025-06-28 11:15:14
Mode | F10: Fluorescence Intensity Scan Top Reading
Name | F10: Label 2
Scan selection | 29.9 G1: Emission Scan
Excitation | 29.9 G1: Monochromator
Excitation wavelength [nm] | 29.9 G1: 483
Excitation bandwidth [nm] | 29.9 G1: 20
Emission wavelength start [nm] | 29.9 G1: 520
Emission wavelength end [nm] | 29.9 G1: 640
Emission wavelength step size [nm] | 29.9 G1: 2
Emission scan number | 29.9 G1: 61
Emission bandwidth [nm] | 29.9 G1: 20
Gain Manual | 29.9 G1: 100
Mirror | 29.9 G1: Automatic (Dichroic 510)
Number of flashes | 29.9 G1: 30
Integration time [µs] | 29.9 G1: 40
Lag time [µs] | 29.9 G1: 0
Settle time [ms] | 29.9 G1: 0
Z-Position [μm] | 29.9 G1: 20000
Z-Position mode | 29.9 G1: Manual
Part of Plate | 29.9 G1: F10-F12;G1-G12;H1-H8
Start Time | 29.9 G1: 2025-06-28 11:15:19
Temperature [°C] | 29.9 G1: 29.9
Wavel. | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | Start | DOE 3.3.1 | DOE 3.3.2 | DOE 4.3.1 | DOE 4.3.2
520 | 1790 | 2427 | 2505 | 9312 | 7985 | 37180 | 33205 | 2540 | 1964 | 1882 | 1722 | 4374 | 4069 | 4460 | 4631 | 5286 | 5203 | 4894 | 4353 | 8347 | 8798 | 8495 | 8427
522 | 464 | 953 | 402 | 8038 | 6978 | 37272 | 33175 | 1254 | 690 | 615 | 707 | 3418 | 3062 | 3509 | 3553 | 2037 | 2313 | 1882 | 1628 | 6427 | 7165 | 6552 | 6822
524 | 411 | 937 | 321 | 8161 | 7058 | 37969 | 33857 | 1255 | 669 | 582 | 683 | 3512 | 3179 | 3641 | 3707 | 1929 | 2199 | 1769 | 1529 | 6901 | 7718 | 7051 | 7371
526 | 417 | 962 | 319 | 8214 | 7131 | 38785 | 34655 | 1304 | 689 | 595 | 697 | 3707 | 3316 | 3839 | 3924 | 1889 | 2142 | 1743 | 1514 | 7399 | 8467 | 7782 | 8105
528 | 418 | 982 | 314 | 8215 | 7188 | 39304 | 35116 | 1328 | 701 | 612 | 714 | 3885 | 3436 | 4012 | 4119 | 1862 | 2118 | 1737 | 1496 | 8032 | 9207 | 8451 | 8900
530 | 438 | 1005 | 322 | 8216 | 7169 | 39516 | 35458 | 1368 | 721 | 615 | 719 | 4067 | 3583 | 4181 | 4304 | 1823 | 2084 | 1709 | 1473 | 8770 | 10008 | 9278 | 9739
532 | 435 | 1024 | 325 | 8241 | 7188 | 39636 | 35487 | 1390 | 731 | 626 | 736 | 4198 | 3749 | 4372 | 4509 | 1793 | 2025 | 1706 | 1442 | 9410 | 10982 | 10134 | 10753
534 | 432 | 1035 | 326 | 8167 | 7118 | 39603 | 35706 | 1428 | 735 | 632 | 745 | 4350 | 3838 | 4488 | 4647 | 1763 | 1988 | 1688 | 1425 | 10015 | 11820 | 10991 | 11487
536 | 435 | 1055 | 326 | 8088 | 7067 | 39497 | 35630 | 1453 | 754 | 642 | 758 | 4484 | 3978 | 4643 | 4809 | 1695 | 1937 | 1636 | 1405 | 10772 | 12766 | 11809 | 12415
538 | 438 | 1052 | 330 | 8028 | 7015 | 39161 | 35498 | 1473 | 762 | 647 | 768 | 4631 | 4072 | 4769 | 4926 | 1653 | 1896 | 1603 | 1384 | 11340 | 13382 | 12467 | 13352
540 | 440 | 1066 | 328 | 7849 | 6925 | 39204 | 35516 | 1494 | 770 | 665 | 768 | 4722 | 4170 | 4854 | 5072 | 1617 | 1823 | 1552 | 1365 | 11911 | 14250 | 13196 | 14027
542 | 447 | 1095 | 332 | 7781 | 6899 | 39061 | 35609 | 1509 | 775 | 669 | 774 | 4790 | 4226 | 4959 | 5173 | 1590 | 1795 | 1534 | 1335 | 12457 | 14862 | 13889 | 14611
544 | 446 | 1092 | 333 | 7708 | 6788 | 38767 | 35048 | 1528 | 793 | 678 | 785 | 4900 | 4267 | 5064 | 5250 | 1537 | 1757 | 1513 | 1312 | 12861 | 15398 | 14531 | 15206
546 | 447 | 1105 | 331 | 7461 | 6622 | 38424 | 34765 | 1538 | 792 | 687 | 779 | 4905 | 4347 | 5064 | 5302 | 1512 | 1713 | 1477 | 1284 | 13105 | 15802 | 14777 | 15568
548 | 451 | 1107 | 338 | 7328 | 6522 | 37792 | 34442 | 1514 | 790 | 680 | 797 | 4935 | 4291 | 5045 | 5298 | 1446 | 1649 | 1439 | 1252 | 13222 | 15983 | 14957 | 15856
550 | 453 | 1114 | 339 | 7071 | 6335 | 37061 | 33970 | 1509 | 794 | 676 | 794 | 4888 | 4317 | 5034 | 5288 | 1405 | 1599 | 1407 | 1223 | 13219 | 16020 | 14991 | 15781
552 | 458 | 1119 | 340 | 6959 | 6166 | 36474 | 33349 | 1521 | 803 | 692 | 802 | 4871 | 4303 | 4981 | 5218 | 1371 | 1546 | 1372 | 1203 | 13196 | 16018 | 15088 | 15975
554 | 459 | 1120 | 341 | 6669 | 6005 | 35633 | 32514 | 1520 | 797 | 680 | 792 | 4786 | 4254 | 4939 | 5147 | 1322 | 1505 | 1315 | 1157 | 13041 | 15797 | 14847 | 15788
556 | 457 | 1122 | 335 | 6532 | 5823 | 34984 | 31896 | 1513 | 795 | 685 | 794 | 4750 | 4174 | 4866 | 5081 | 1291 | 1461 | 1289 | 1128 | 12881 | 15595 | 14768 | 15604
558 | 461 | 1127 | 335 | 6252 | 5631 | 34050 | 31231 | 1497 | 798 | 689 | 788 | 4644 | 4088 | 4745 | 4999 | 1251 | 1423 | 1249 | 1108 | 12747 | 15483 | 14473 | 15199
560 | 469 | 1123 | 334 | 6074 | 5475 | 33470 | 30389 | 1495 | 798 | 684 | 794 | 4525 | 3998 | 4640 | 4846 | 1215 | 1370 | 1204 | 1066 | 12493 | 15097 | 14191 | 15112
562 | 472 | 1123 | 336 | 5895 | 5336 | 32494 | 30003 | 1479 | 806 | 682 | 789 | 4428 | 3954 | 4572 | 4768 | 1177 | 1337 | 1204 | 1046 | 12338 | 14969 | 14034 | 14862
564 | 463 | 1134 | 331 | 5686 | 5103 | 31622 | 29156 | 1467 | 799 | 676 | 796 | 4350 | 3805 | 4499 | 4634 | 1146 | 1303 | 1134 | 1013 | 12113 | 14657 | 13777 | 14640
566 | 469 | 1119 | 321 | 5417 | 4970 | 30505 | 28146 | 1437 | 785 | 679 | 784 | 4209 | 3745 | 4350 | 4500 | 1106 | 1238 | 1107 | 988 | 11799 | 14383 | 13467 | 14374
568 | 457 | 1117 | 322 | 5230 | 4748 | 29541 | 27191 | 1427 | 782 | 679 | 775 | 4101 | 3631 | 4206 | 4375 | 1060 | 1205 | 1067 | 953 | 11700 | 14195 | 13325 | 14029
570 | 459 | 1104 | 319 | 5054 | 4577 | 28609 | 26327 | 1405 | 775 | 661 | 770 | 3978 | 3535 | 4075 | 4256 | 1026 | 1163 | 1045 | 927 | 11595 | 13955 | 13110 | 13876
572 | 446 | 1088 | 308 | 4821 | 4421 | 27722 | 25315 | 1378 | 771 | 645 | 753 | 3824 | 3411 | 3951 | 4113 | 995 | 1121 | 1004 | 895 | 11395 | 13741 | 13005 | 13575
574 | 442 | 1083 | 302 | 4615 | 4249 | 26406 | 24520 | 1360 | 758 | 634 | 742 | 3759 | 3325 | 3828 | 3986 | 965 | 1084 | 976 | 877 | 11233 | 13475 | 12687 | 13424
576 | 439 | 1058 | 300 | 4443 | 4075 | 25557 | 23658 | 1349 | 755 | 628 | 732 | 3628 | 3223 | 3730 | 3865 | 926 | 1050 | 946 | 854 | 11169 | 13513 | 12647 | 13365
578 | 431 | 1050 | 286 | 4288 | 3926 | 24978 | 22726 | 1313 | 747 | 621 | 714 | 3533 | 3127 | 3645 | 3785 | 895 | 1014 | 925 | 836 | 11040 | 13459 | 12515 | 13192
580 | 411 | 1038 | 276 | 4101 | 3798 | 23692 | 21904 | 1292 | 734 | 604 | 701 | 3420 | 3030 | 3526 | 3654 | 863 | 976 | 887 | 795 | 10868 | 13190 | 12394 | 13128
582 | 410 | 1015 | 270 | 3933 | 3659 | 22974 | 21287 | 1264 | 726 | 591 | 682 | 3319 | 2951 | 3435 | 3536 | 836 | 955 | 871 | 771 | 10919 | 13034 | 12324 | 12884
584 | 391 | 988 | 260 | 3773 | 3488 | 21961 | 20270 | 1238 | 712 | 577 | 665 | 3203 | 2870 | 3331 | 3411 | 813 | 915 | 837 | 761 | 10642 | 12823 | 12029 | 12713
586 | 383 | 963 | 247 | 3585 | 3358 | 21285 | 19609 | 1212 | 699 | 553 | 661 | 3106 | 2781 | 3231 | 3337 | 778 | 887 | 816 | 745 | 10510 | 12639 | 11828 | 12504
588 | 365 | 950 | 235 | 3451 | 3214 | 20402 | 18744 | 1178 | 682 | 538 | 630 | 2996 | 2701 | 3127 | 3222 | 756 | 852 | 790 | 717 | 10347 | 12400 | 11608 | 12300
590 | 355 | 923 | 227 | 3309 | 3098 | 19716 | 18178 | 1160 | 671 | 531 | 608 | 2921 | 2641 | 3030 | 3160 | 737 | 831 | 780 | 699 | 10148 | 12202 | 11392 | 11983
592 | 335 | 901 | 212 | 3126 | 2955 | 18932 | 17401 | 1118 | 653 | 514 | 584 | 2835 | 2563 | 2929 | 3037 | 709 | 811 | 756 | 679 | 9911 | 11896 | 11143 | 11669
594 | 319 | 882 | 205 | 3006 | 2825 | 18208 | 16712 | 1089 | 639 | 493 | 571 | 2778 | 2490 | 2870 | 2954 | 698 | 777 | 742 | 660 | 9718 | 11635 | 10883 | 11392
596 | 308 | 848 | 199 | 2881 | 2688 | 17441 | 15998 | 1070 | 623 | 472 | 548 | 2664 | 2420 | 2773 | 2858 | 663 | 760 | 717 | 650 | 9327 | 11227 | 10510 | 11006
598 | 290 | 833 | 188 | 2757 | 2584 | 16853 | 15491 | 1038 | 617 | 463 | 535 | 2591 | 2356 | 2673 | 2777 | 653 | 743 | 691 | 631 | 9101 | 10923 | 10145 | 10619
600 | 279 | 809 | 177 | 2600 | 2483 | 16150 | 14839 | 1009 | 600 | 447 | 517 | 2513 | 2284 | 2616 | 2691 | 626 | 710 | 672 | 613 | 8777 | 10654 | 9834 | 10328
602 | 270 | 785 | 174 | 2481 | 2373 | 15539 | 14251 | 988 | 583 | 432 | 499 | 2426 | 2200 | 2541 | 2610 | 597 | 693 | 652 | 598 | 8591 | 10213 | 9468 | 9927
604 | 255 | 783 | 162 | 2363 | 2275 | 14866 | 13682 | 965 | 574 | 424 | 478 | 2367 | 2136 | 2484 | 2544 | 594 | 669 | 641 | 586 | 8192 | 9830 | 9173 | 9673
606 | 244 | 751 | 158 | 2275 | 2190 | 14410 | 13155 | 934 | 556 | 417 | 472 | 2316 | 2094 | 2401 | 2481 | 572 | 648 | 617 | 558 | 8042 | 9511 | 8866 | 9299
608 | 235 | 724 | 151 | 2158 | 2057 | 13773 | 12698 | 911 | 552 | 399 | 453 | 2250 | 2019 | 2314 | 2394 | 557 | 627 | 599 | 545 | 7745 | 9124 | 8502 | 8958
610 | 227 | 708 | 151 | 2074 | 1977 | 13330 | 12195 | 901 | 540 | 393 | 442 | 2173 | 1984 | 2249 | 2351 | 543 | 615 | 582 | 542 | 7549 | 8914 | 8301 | 8680
612 | 219 | 694 | 140 | 1994 | 1905 | 12770 | 11802 | 876 | 528 | 376 | 427 | 2134 | 1918 | 2199 | 2264 | 528 | 596 | 558 | 524 | 7241 | 8597 | 8008 | 8358
614 | 210 | 674 | 136 | 1888 | 1829 | 12329 | 11285 | 852 | 507 | 365 | 419 | 2040 | 1866 | 2133 | 2210 | 505 | 571 | 540 | 504 | 7025 | 8312 | 7636 | 8049
616 | 205 | 658 | 132 | 1814 | 1716 | 11793 | 10827 | 809 | 504 | 353 | 407 | 1993 | 1811 | 2077 | 2131 | 482 | 560 | 532 | 490 | 6842 | 7968 | 7418 | 7776
618 | 197 | 639 | 125 | 1738 | 1653 | 11292 | 10342 | 804 | 499 | 347 | 392 | 1939 | 1744 | 2005 | 2064 | 466 | 532 | 512 | 470 | 6594 | 7750 | 7208 | 7487
620 | 191 | 617 | 125 | 1650 | 1588 | 10917 | 10018 | 786 | 474 | 338 | 383 | 1855 | 1701 | 1928 | 1972 | 456 | 520 | 491 | 446 | 6350 | 7542 | 6916 | 7227
622 | 183 | 599 | 119 | 1578 | 1494 | 10413 | 9538 | 758 | 464 | 321 | 371 | 1801 | 1641 | 1889 | 1930 | 434 | 502 | 471 | 437 | 6212 | 7322 | 6698 | 6955
624 | 180 | 590 | 113 | 1490 | 1426 | 9999 | 9121 | 735 | 452 | 312 | 365 | 1738 | 1577 | 1822 | 1861 | 418 | 489 | 455 | 425 | 6025 | 7039 | 6491 | 6749
626 | 170 | 574 | 112 | 1421 | 1371 | 9517 | 8803 | 714 | 444 | 313 | 342 | 1683 | 1547 | 1756 | 1821 | 413 | 467 | 444 | 400 | 5784 | 6790 | 6272 | 6561
628 | 162 | 551 | 108 | 1368 | 1304 | 9206 | 8426 | 692 | 432 | 299 | 342 | 1626 | 1484 | 1693 | 1754 | 395 | 448 | 422 | 392 | 5612 | 6586 | 6071 | 6316
630 | 156 | 531 | 103 | 1301 | 1249 | 8776 | 8006 | 664 | 425 | 297 | 330 | 1567 | 1432 | 1633 | 1686 | 379 | 429 | 403 | 382 | 5447 | 6386 | 5851 | 6108
632 | 153 | 518 | 99 | 1238 | 1194 | 8408 | 7704 | 648 | 403 | 282 | 314 | 1505 | 1396 | 1589 | 1627 | 361 | 409 | 391 | 360 | 5294 | 6182 | 5665 | 5918
634 | 147 | 502 | 98 | 1193 | 1143 | 8090 | 7383 | 643 | 390 | 270 | 311 | 1475 | 1347 | 1523 | 1572 | 351 | 399 | 382 | 349 | 5168 | 6039 | 5466 | 5765
636 | 141 | 489 | 91 | 1137 | 1083 | 7752 | 7069 | 621 | 389 | 263 | 300 | 1410 | 1299 | 1476 | 1516 | 340 | 378 | 354 | 336 | 4999 | 5830 | 5282 | 5609
638 | 138 | 475 | 91 | 1083 | 1044 | 7415 | 6795 | 604 | 379 | 256 | 293 | 1373 | 1254 | 1439 | 1457 | 326 | 372 | 349 | 324 | 4871 | 5641 | 5113 | 5332
640 | 134 | 466 | 90 | 1037 | 978 | 7116 | 6565 | 585 | 361 | 244 | 279 | 1337 | 1227 | 1394 | 1413 | 314 | 363 | 338 | 314 | 4642 | 5412 | 5004 | 5195
End Time | 29.9 G1: 2025-06-28 11:31:49
Mode | F10: Absorbance
Name | F10: blue 1
Measurement wavelength [nm] | 29.9 G1: 640
Number of flashes | 29.9 G1: 10
Settle time [ms] | 29.9 G1: 50
Part of Plate | 29.9 G1: F10-F12;G1-G12;H1-H8
Start Time | 29.9 G1: 2025-06-28 11:31:52
Temperature [°C] | 29.9 G1: 30
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Start | DOE 3.3.1 | DOE 3.3.1 | DOE 3.3.2 | DOE 3.3.2 | DOE 4.3.1 | DOE 4.3.1 | DOE 4.3.2 | DOE 4.3.2
A
B
C
D
E
F | 29.9 G7: 0.0417; 29.9 G8: 0.1223; 29.9 G9: 0.0392
G | F10: 0.0437; F11: 0.0432; F12: 0.0611; 29.9 G1: 0.0606; 29.9 G2: 0.1318; 29.9 G3: 0.0458; 29.9 G4: 0.0476; 29.9 G5: 0.0501; 29.9 G6: 0.137; 29.9 G7: 0.1185; 29.9 G8: 0.1209; 29.9 G9: 0.1339
H | F10: 0.0426; F11: 0.043; F12: 0.0427; 29.9 G1: 0.0451; 29.9 G2: 0.0532; 29.9 G3: 0.0581; 29.9 G4: 0.0517; 29.9 G5: 0.0509
End Time | 29.9 G1: 2025-06-28 11:32:00
Mode | F10: Absorbance
Name | F10: blue 2
Measurement wavelength [nm] | 29.9 G1: 640
Number of flashes | 29.9 G1: 10
Settle time [ms] | 29.9 G1: 50
Part of Plate | 29.9 G1: F10-F12;G1-G12;H1-H8
Start Time | 29.9 G1: 2025-06-28 11:32:03
Temperature [°C] | 29.9 G1: 30.1
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Start | DOE 3.3.1 | DOE 3.3.1 | DOE 3.3.2 | DOE 3.3.2 | DOE 4.3.1 | DOE 4.3.1 | DOE 4.3.2 | DOE 4.3.2
A
B
C
D
E
F | 29.9 G7: 0.0439; 29.9 G8: 0.1226; 29.9 G9: 0.0391
G | F10: 0.0435; F11: 0.0432; F12: 0.061; 29.9 G1: 0.0605; 29.9 G2: 0.1325; 29.9 G3: 0.0459; 29.9 G4: 0.0475; 29.9 G5: 0.051; 29.9 G6: 0.1503; 29.9 G7: 0.1373; 29.9 G8: 0.1449; 29.9 G9: 0.1527
H | F10: 0.0426; F11: 0.0426; F12: 0.0427; 29.9 G1: 0.0451; 29.9 G2: 0.0533; 29.9 G3: 0.0582; 29.9 G4: 0.0517; 29.9 G5: 0.0511
End Time | 29.9 G1: 2025-06-28 11:32:10
Mode | F10: Absorbance
Name | F10: red 1
Measurement wavelength [nm] | 29.9 G1: 530
Number of flashes | 29.9 G1: 10
Settle time [ms] | 29.9 G1: 50
Part of Plate | 29.9 G1: F10-F12;G1-G12;H1-H8
Start Time | 29.9 G1: 2025-06-28 11:32:12
Temperature [°C] | 29.9 G1: 30.1
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Start | DOE 3.3.1 | DOE 3.3.1 | DOE 3.3.2 | DOE 3.3.2 | DOE 4.3.1 | DOE 4.3.1 | DOE 4.3.2 | DOE 4.3.2
A
B
C
D
E
F | 29.9 G7: 0.0442; 29.9 G8: 0.1417; 29.9 G9: 0.0413
G | F10: 0.0481; F11: 0.048; F12: 0.1041; 29.9 G1: 0.0998; 29.9 G2: 0.1513; 29.9 G3: 0.0525; 29.9 G4: 0.0532; 29.9 G5: 0.0561; 29.9 G6: 0.1008; 29.9 G7: 0.0929; 29.9 G8: 0.0964; 29.9 G9: 0.1002
H | F10: 0.0472; F11: 0.0472; F12: 0.0481; 29.9 G1: 0.0506; 29.9 G2: 0.3259; 29.9 G3: 0.3884; 29.9 G4: 0.3737; 29.9 G5: 0.3851
End Time | 29.9 G1: 2025-06-28 11:32:19
Mode | F10: Absorbance
Name | F10: red 2
Measurement wavelength [nm] | 29.9 G1: 530
Number of flashes | 29.9 G1: 10
Settle time [ms] | 29.9 G1: 50
Part of Plate | 29.9 G1: F10-F12;G1-G12;H1-H8
Start Time | 29.9 G1: 2025-06-28 11:32:22
Temperature [°C] | 29.9 G1: 30.1
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Start | DOE 3.3.1 | DOE 3.3.1 | DOE 3.3.2 | DOE 3.3.2 | DOE 4.3.1 | DOE 4.3.1 | DOE 4.3.2 | DOE 4.3.2
A
B
C
D
E
F | 29.9 G7: 0.0444; 29.9 G8: 0.1423; 29.9 G9: 0.0428
G | F10: 0.0483; F11: 0.0479; F12: 0.104; 29.9 G1: 0.0998; 29.9 G2: 0.1528; 29.9 G3: 0.0528; 29.9 G4: 0.0531; 29.9 G5: 0.0561; 29.9 G6: 0.1013; 29.9 G7: 0.0928; 29.9 G8: 0.0973; 29.9 G9: 0.1001
H | F10: 0.0471; F11: 0.0473; F12: 0.048; 29.9 G1: 0.0506; 29.9 G2: 0.3254; 29.9 G3: 0.3872; 29.9 G4: 0.3726; 29.9 G5: 0.3836
End Time | 29.9 G1: 2025-06-28 11:32:29
Ex | Blank | BlankB | BlankR | DOE 3.3 | DOE 3.3 | DOE 4.3 | DOE 4.3 | DOE 3.3 | DOE 3.3 | DOE 3.3 | DOE 3.3 | DOE 4.3 | DOE 4.3 | DOE 4.3 | DOE 4.3 | DOE 3.3 | DOE 3.3 | DOE 3.3 | DOE 3.3 | DOE 4.3 | DOE 4.3 | DOE 4.3 | DOE 4.3
Ex | Blank | BlankB | BlankR | f | f | f | f | b | b | b | b | b | b | b | b | r | r | r | r | r | r | r | r
Ex | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1