## Result sheet
Method name: LS_241112_Fluorescence_Actino_Sample (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1708008206
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦PODI:V1.10.2
Date: |  |  |  | 2025-06-30
Time: |  |  |  | 12:22
System |  |  |  | IBVT171
User |  |  |  | IBVT171\Tecan
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Wait
Shaking
Wait
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Label 1
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Label 2
| Absorbance |  |  |  |  | blue 1
| Absorbance |  |  |  |  | blue 2
| Absorbance |  |  |  |  | red 1
| Absorbance |  |  |  |  | red 2
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | C1-C12;D1-D11
Start Time |  |  |  | 2025-06-30 11:42:44
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 30
Wait minimum [°C] |  |  |  | 29
Wait maximum [°C] |  |  |  | 31
End Time |  |  |  | 2025-06-30 11:42:44
Start Time |  |  |  | 2025-06-30 11:42:44
Shaking (Linear) Duration [s] |  |  |  | 7
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-06-30 11:42:51
Start Time |  |  |  | 2025-06-30 11:42:51
Wait (Time) hh:mm:ss |  |  |  | 00:05:01
Wait position |  |  |  | Current
End Time |  |  |  | 2025-06-30 11:47:52
Start Time |  |  |  | 2025-06-30 11:47:52
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-06-30 11:48:02
Start Time |  |  |  | 2025-06-30 11:48:02
Wait (Time) hh:mm:ss |  |  |  | 00:00:10
Wait position |  |  |  | Current
End Time |  |  |  | 2025-06-30 11:48:12
Mode | Fluorescence Intensity Scan Top Reading
Name | Label 1
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | C1-C12;D1-D11
Start Time |  |  |  | 2025-06-30 11:48:12
Temperature [°C] |  |  |  | 29.9
Wavel. | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | Start | DOE 3.5.1 | DOE 3.5.2 | DOE 4.5.1 | DOE 4.5.2
520 | 2252 | 2627 | 2462 | 27801 | 26761 | 66189 | 61810 | 5303 | 5345 | 4814 | 4876 | 7693 | 7022 | 6470 | 6539 | 7841 | 8156 | 7920 | 8258 | 10985 | 11315 | 10469 | 10883
522 | 542 | 769 | 320 | 27365 | 26151 | 67004 | 62317 | 3649 | 3543 | 3260 | 3094 | 6811 | 6123 | 5465 | 5749 | 6090 | 6789 | 6249 | 6967 | 10138 | 11053 | 9695 | 10385
524 | 477 | 740 | 251 | 27921 | 26741 | 67921 | 63442 | 3907 | 3768 | 3500 | 3321 | 7114 | 6408 | 5707 | 6019 | 6114 | 6827 | 6405 | 7146 | 10802 | 11768 | 10362 | 11106
526 | 486 | 766 | 251 | 28305 | 27138 | 68082 | 64040 | 4296 | 4108 | 3811 | 3621 | 7547 | 6722 | 6026 | 6335 | 6202 | 6943 | 6648 | 7358 | 11689 | 12783 | 11297 | 12001
528 | 488 | 794 | 244 | 28658 | 27635 | 68693 | 64645 | 4590 | 4422 | 4090 | 3899 | 7901 | 7034 | 6242 | 6617 | 6235 | 7043 | 6818 | 7618 | 12464 | 13842 | 12079 | 12973
530 | 489 | 818 | 246 | 28815 | 27840 | 68645 | 64394 | 4943 | 4768 | 4389 | 4163 | 8255 | 7277 | 6526 | 6967 | 6322 | 7107 | 6997 | 7861 | 13504 | 15045 | 13067 | 13972
532 | 493 | 836 | 245 | 29038 | 27884 | 68830 | 64653 | 5277 | 5069 | 4651 | 4444 | 8638 | 7556 | 6795 | 7200 | 6350 | 7171 | 7206 | 8081 | 14625 | 16216 | 14222 | 15235
534 | 495 | 867 | 246 | 28826 | 27925 | 68358 | 64040 | 5504 | 5306 | 4899 | 4674 | 8870 | 7840 | 7028 | 7430 | 6393 | 7213 | 7356 | 8293 | 15517 | 17417 | 15040 | 16225
536 | 499 | 887 | 246 | 28829 | 28024 | 67965 | 63580 | 5788 | 5571 | 5128 | 4857 | 9158 | 8056 | 7178 | 7708 | 6388 | 7282 | 7562 | 8508 | 16718 | 18555 | 16183 | 17343
538 | 504 | 903 | 243 | 28606 | 27813 | 67342 | 62599 | 5972 | 5716 | 5304 | 4999 | 9420 | 8212 | 7334 | 7890 | 6439 | 7315 | 7650 | 8651 | 17556 | 19739 | 17220 | 18264
540 | 504 | 924 | 245 | 28663 | 27726 | 66627 | 62137 | 6105 | 5878 | 5477 | 5149 | 9636 | 8401 | 7479 | 8046 | 6472 | 7389 | 7858 | 8832 | 18433 | 20807 | 18080 | 19276
542 | 511 | 940 | 249 | 28286 | 27472 | 66038 | 61909 | 6208 | 5956 | 5507 | 5236 | 9755 | 8431 | 7603 | 8145 | 6488 | 7411 | 7988 | 9011 | 19327 | 21750 | 19017 | 20238
544 | 521 | 970 | 256 | 28124 | 27294 | 65235 | 60987 | 6291 | 5999 | 5598 | 5275 | 9850 | 8514 | 7707 | 8252 | 6484 | 7469 | 8081 | 9066 | 20163 | 22784 | 19696 | 20991
546 | 515 | 985 | 257 | 27698 | 27015 | 64035 | 59926 | 6256 | 6060 | 5583 | 5240 | 9885 | 8550 | 7706 | 8273 | 6470 | 7449 | 8104 | 9185 | 20566 | 23376 | 20328 | 21613
548 | 522 | 983 | 259 | 27126 | 26580 | 63120 | 58518 | 6241 | 5939 | 5561 | 5185 | 9807 | 8525 | 7636 | 8202 | 6431 | 7381 | 8061 | 9149 | 20960 | 23814 | 20676 | 22085
550 | 527 | 1010 | 260 | 26356 | 26039 | 61640 | 57253 | 6079 | 5827 | 5464 | 5094 | 9623 | 8304 | 7547 | 8053 | 6329 | 7250 | 7984 | 9111 | 21189 | 24172 | 20826 | 22257
552 | 534 | 1029 | 261 | 26151 | 25857 | 60250 | 55802 | 6031 | 5775 | 5365 | 5026 | 9463 | 8264 | 7432 | 8003 | 6300 | 7252 | 8030 | 9075 | 21328 | 24218 | 21069 | 22345
554 | 534 | 1028 | 267 | 25640 | 24903 | 58596 | 54525 | 5850 | 5554 | 5232 | 4914 | 9223 | 8031 | 7304 | 7811 | 6212 | 7109 | 7913 | 8945 | 21281 | 24326 | 20941 | 22450
556 | 540 | 1040 | 273 | 24910 | 24395 | 57204 | 53066 | 5717 | 5460 | 5088 | 4724 | 9007 | 7850 | 7109 | 7670 | 6153 | 7070 | 7821 | 8853 | 21256 | 24155 | 20952 | 22369
558 | 538 | 1044 | 273 | 24190 | 23903 | 55586 | 52028 | 5518 | 5274 | 4970 | 4621 | 8757 | 7621 | 6897 | 7425 | 6081 | 6966 | 7711 | 8707 | 21249 | 24102 | 20834 | 22369
560 | 539 | 1049 | 278 | 23577 | 23428 | 53930 | 50492 | 5375 | 5137 | 4785 | 4479 | 8471 | 7420 | 6722 | 7220 | 6019 | 6912 | 7624 | 8641 | 21081 | 23809 | 20626 | 22157
562 | 550 | 1047 | 275 | 22893 | 22808 | 52650 | 49205 | 5237 | 4972 | 4675 | 4354 | 8266 | 7210 | 6575 | 7053 | 5965 | 6835 | 7565 | 8554 | 20912 | 23788 | 20490 | 22055
564 | 552 | 1053 | 274 | 22175 | 22181 | 51006 | 47395 | 5042 | 4785 | 4556 | 4205 | 7870 | 6971 | 6355 | 6800 | 5851 | 6697 | 7396 | 8397 | 20832 | 23608 | 20332 | 21745
566 | 544 | 1054 | 271 | 21399 | 21467 | 49289 | 45740 | 4876 | 4633 | 4358 | 4071 | 7588 | 6742 | 6120 | 6580 | 5730 | 6595 | 7301 | 8287 | 20519 | 23301 | 20259 | 21543
568 | 550 | 1052 | 270 | 20835 | 20860 | 47485 | 44392 | 4714 | 4479 | 4224 | 3967 | 7317 | 6488 | 5928 | 6372 | 5686 | 6511 | 7240 | 8149 | 20352 | 23193 | 19971 | 21367
570 | 544 | 1047 | 268 | 20067 | 20140 | 46145 | 42553 | 4571 | 4306 | 4116 | 3800 | 7060 | 6306 | 5737 | 6149 | 5636 | 6436 | 7131 | 8019 | 20259 | 22876 | 19863 | 21222
572 | 536 | 1044 | 260 | 19290 | 19506 | 44511 | 41206 | 4442 | 4153 | 3974 | 3686 | 6798 | 6055 | 5514 | 5933 | 5532 | 6348 | 7008 | 7940 | 19875 | 22790 | 19628 | 20932
574 | 525 | 1018 | 257 | 18713 | 18725 | 42645 | 39444 | 4268 | 4000 | 3830 | 3564 | 6530 | 5819 | 5331 | 5740 | 5438 | 6258 | 6883 | 7803 | 19847 | 22334 | 19508 | 20797
576 | 521 | 1024 | 246 | 18126 | 18308 | 41243 | 38389 | 4114 | 3854 | 3707 | 3479 | 6315 | 5620 | 5177 | 5517 | 5396 | 6158 | 6809 | 7732 | 19668 | 22278 | 19250 | 20888
578 | 511 | 994 | 241 | 17450 | 17560 | 39573 | 36644 | 3988 | 3726 | 3592 | 3366 | 6124 | 5420 | 4969 | 5357 | 5304 | 6122 | 6788 | 7670 | 19487 | 22275 | 19146 | 20614
580 | 499 | 979 | 227 | 16860 | 16923 | 37707 | 35233 | 3841 | 3584 | 3478 | 3255 | 5854 | 5212 | 4797 | 5170 | 5216 | 6038 | 6711 | 7555 | 19354 | 22135 | 19106 | 20466
582 | 480 | 971 | 218 | 16329 | 16314 | 36782 | 33925 | 3654 | 3485 | 3360 | 3147 | 5636 | 5058 | 4654 | 4990 | 5225 | 5966 | 6611 | 7430 | 19226 | 21803 | 18881 | 20234
584 | 463 | 938 | 208 | 15627 | 15784 | 34953 | 32699 | 3547 | 3343 | 3261 | 3028 | 5447 | 4877 | 4451 | 4809 | 5143 | 5888 | 6477 | 7349 | 18954 | 21379 | 18610 | 19994
586 | 446 | 929 | 199 | 15187 | 15248 | 33953 | 31447 | 3448 | 3228 | 3155 | 2937 | 5278 | 4724 | 4369 | 4654 | 5082 | 5814 | 6427 | 7267 | 18700 | 21296 | 18399 | 19739
588 | 429 | 901 | 187 | 14630 | 14659 | 32451 | 30156 | 3273 | 3079 | 3017 | 2837 | 5108 | 4589 | 4189 | 4531 | 5003 | 5725 | 6317 | 7126 | 18474 | 20932 | 18072 | 19462
590 | 410 | 879 | 178 | 14150 | 14234 | 31353 | 28995 | 3184 | 2987 | 2897 | 2736 | 4909 | 4417 | 4032 | 4368 | 4927 | 5625 | 6203 | 6983 | 18154 | 20483 | 17828 | 19084
592 | 392 | 859 | 164 | 13611 | 13736 | 29869 | 27610 | 3046 | 2848 | 2819 | 2618 | 4679 | 4226 | 3908 | 4203 | 4814 | 5527 | 6073 | 6875 | 17862 | 20340 | 17459 | 18766
594 | 372 | 841 | 159 | 13079 | 13283 | 28883 | 26685 | 2948 | 2729 | 2690 | 2525 | 4568 | 4114 | 3789 | 4088 | 4726 | 5496 | 5983 | 6752 | 17404 | 19847 | 17126 | 18227
596 | 358 | 811 | 149 | 12739 | 12782 | 27474 | 25557 | 2807 | 2611 | 2567 | 2420 | 4391 | 3983 | 3654 | 3925 | 4668 | 5372 | 5842 | 6639 | 17051 | 19277 | 16660 | 17882
598 | 343 | 782 | 142 | 12232 | 12327 | 26496 | 24748 | 2714 | 2513 | 2495 | 2338 | 4225 | 3821 | 3507 | 3812 | 4561 | 5291 | 5715 | 6441 | 16467 | 18847 | 16371 | 17437
600 | 326 | 765 | 130 | 11757 | 11832 | 25443 | 23507 | 2592 | 2400 | 2384 | 2209 | 4079 | 3689 | 3366 | 3678 | 4475 | 5203 | 5596 | 6346 | 16082 | 18315 | 15770 | 16977
602 | 311 | 740 | 126 | 11276 | 11420 | 24451 | 22515 | 2463 | 2288 | 2286 | 2116 | 3919 | 3548 | 3239 | 3516 | 4426 | 5073 | 5469 | 6179 | 15658 | 17737 | 15358 | 16443
604 | 301 | 731 | 119 | 10966 | 11025 | 23416 | 21826 | 2366 | 2194 | 2177 | 2062 | 3787 | 3419 | 3158 | 3394 | 4349 | 5002 | 5312 | 6030 | 15320 | 17313 | 14983 | 16076
606 | 281 | 703 | 112 | 10524 | 10574 | 22623 | 20745 | 2275 | 2114 | 2114 | 1991 | 3655 | 3310 | 3066 | 3272 | 4246 | 4870 | 5267 | 5896 | 14812 | 16769 | 14539 | 15644
608 | 277 | 679 | 106 | 10117 | 10284 | 21631 | 20078 | 2199 | 2018 | 2022 | 1888 | 3482 | 3198 | 2950 | 3167 | 4179 | 4798 | 5120 | 5716 | 14395 | 16278 | 14101 | 15100
610 | 266 | 655 | 100 | 9836 | 9907 | 20862 | 19346 | 2095 | 1950 | 1958 | 1830 | 3367 | 3079 | 2849 | 3084 | 4089 | 4685 | 5022 | 5627 | 14093 | 15790 | 13740 | 14836
612 | 254 | 648 | 100 | 9497 | 9570 | 20125 | 18479 | 2020 | 1885 | 1873 | 1757 | 3235 | 2956 | 2745 | 2981 | 4000 | 4585 | 4861 | 5478 | 13627 | 15426 | 13377 | 14357
614 | 243 | 625 | 93 | 9106 | 9174 | 19179 | 17741 | 1927 | 1814 | 1807 | 1679 | 3109 | 2850 | 2648 | 2862 | 3891 | 4495 | 4723 | 5342 | 13204 | 14933 | 12918 | 13894
616 | 235 | 604 | 91 | 8766 | 8859 | 18385 | 17031 | 1863 | 1720 | 1725 | 1597 | 3028 | 2736 | 2563 | 2734 | 3812 | 4307 | 4620 | 5219 | 12772 | 14338 | 12606 | 13468
618 | 226 | 589 | 88 | 8424 | 8541 | 17695 | 16246 | 1789 | 1647 | 1657 | 1546 | 2893 | 2647 | 2451 | 2664 | 3733 | 4096 | 4502 | 5061 | 12455 | 14013 | 12240 | 13072
620 | 220 | 573 | 84 | 8105 | 8147 | 16903 | 15580 | 1700 | 1588 | 1598 | 1479 | 2792 | 2542 | 2368 | 2555 | 3642 | 4013 | 4366 | 4950 | 12092 | 13765 | 11837 | 12706
622 | 209 | 565 | 83 | 7807 | 7845 | 16226 | 14962 | 1636 | 1517 | 1541 | 1420 | 2696 | 2445 | 2292 | 2480 | 3531 | 3889 | 4241 | 4813 | 11741 | 13152 | 11566 | 12396
624 | 203 | 540 | 76 | 7493 | 7540 | 15520 | 14396 | 1578 | 1461 | 1490 | 1375 | 2589 | 2346 | 2203 | 2373 | 3473 | 3880 | 4159 | 4673 | 11390 | 12754 | 11155 | 11972
626 | 197 | 521 | 76 | 7254 | 7258 | 14858 | 13851 | 1497 | 1403 | 1418 | 1327 | 2508 | 2285 | 2117 | 2326 | 3394 | 3773 | 4070 | 4545 | 11143 | 12347 | 10908 | 11703
628 | 192 | 503 | 71 | 6956 | 6974 | 14270 | 13120 | 1465 | 1350 | 1377 | 1261 | 2412 | 2188 | 2071 | 2236 | 3290 | 3746 | 3912 | 4429 | 10735 | 12120 | 10522 | 11337
630 | 181 | 485 | 71 | 6699 | 6706 | 13682 | 12597 | 1393 | 1294 | 1310 | 1211 | 2342 | 2134 | 1993 | 2139 | 3202 | 3588 | 3822 | 4298 | 10368 | 11688 | 10211 | 10941
632 | 177 | 472 | 69 | 6354 | 6404 | 13205 | 12071 | 1338 | 1262 | 1280 | 1170 | 2284 | 2074 | 1915 | 2092 | 3108 | 3488 | 3749 | 4181 | 10096 | 11410 | 9931 | 10594
634 | 169 | 458 | 65 | 6161 | 6162 | 12576 | 11685 | 1280 | 1196 | 1218 | 1132 | 2210 | 1993 | 1866 | 2025 | 3028 | 3386 | 3634 | 4078 | 9805 | 10978 | 9626 | 10402
636 | 165 | 450 | 62 | 5927 | 5955 | 12060 | 11212 | 1246 | 1153 | 1168 | 1088 | 2153 | 1943 | 1831 | 1943 | 2955 | 3290 | 3563 | 3957 | 9545 | 10657 | 9357 | 9937
638 | 158 | 437 | 63 | 5673 | 5722 | 11661 | 10635 | 1196 | 1106 | 1130 | 1063 | 2078 | 1865 | 1761 | 1897 | 2838 | 3199 | 3437 | 3845 | 9295 | 10314 | 9056 | 9729
640 | 155 | 421 | 62 | 5522 | 5488 | 11237 | 10241 | 1153 | 1064 | 1087 | 1013 | 2017 | 1828 | 1692 | 1852 | 2715 | 3111 | 3328 | 3737 | 8906 | 10011 | 8713 | 9398
End Time | 29.9 C4: 2025-06-30 12:04:42
Mode | C1: Fluorescence Intensity Scan Top Reading
Name | C1: Label 2
Scan selection | 29.9 C4: Emission Scan
Excitation | 29.9 C4: Monochromator
Excitation wavelength [nm] | 29.9 C4: 483
Excitation bandwidth [nm] | 29.9 C4: 20
Emission wavelength start [nm] | 29.9 C4: 520
Emission wavelength end [nm] | 29.9 C4: 640
Emission wavelength step size [nm] | 29.9 C4: 2
Emission scan number | 29.9 C4: 61
Emission bandwidth [nm] | 29.9 C4: 20
Gain Manual | 29.9 C4: 100
Mirror | 29.9 C4: Automatic (Dichroic 510)
Number of flashes | 29.9 C4: 30
Integration time [µs] | 29.9 C4: 40
Lag time [µs] | 29.9 C4: 0
Settle time [ms] | 29.9 C4: 0
Z-Position [μm] | 29.9 C4: 20000
Z-Position mode | 29.9 C4: Manual
Part of Plate | 29.9 C4: C1-C12;D1-D11
Start Time | 29.9 C4: 2025-06-30 12:04:47
Temperature [°C] | 29.9 C4: 30
Wavel. | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | Start | DOE 3.5.1 | DOE 3.5.2 | DOE 4.5.1 | DOE 4.5.2
520 | 1971 | 2526 | 2263 | 26374 | 25519 | 63977 | 60100 | 4329 | 4371 | 4151 | 4236 | 7307 | 7054 | 6603 | 6439 | 7451 | 7587 | 7616 | 7692 | 10410 | 10677 | 10012 | 10278
522 | 491 | 764 | 305 | 25940 | 24986 | 64633 | 60701 | 2960 | 2826 | 2846 | 2751 | 6539 | 6074 | 5397 | 5611 | 5355 | 6019 | 5618 | 6229 | 9214 | 10182 | 8933 | 9595
524 | 456 | 749 | 233 | 26280 | 25577 | 65563 | 61667 | 3102 | 2988 | 3002 | 2899 | 6765 | 6283 | 5580 | 5829 | 5348 | 6052 | 5703 | 6437 | 9844 | 10977 | 9481 | 10272
526 | 456 | 781 | 225 | 26582 | 25923 | 66496 | 62289 | 3356 | 3204 | 3213 | 3102 | 7072 | 6570 | 5845 | 6052 | 5459 | 6191 | 5900 | 6632 | 10742 | 11991 | 10426 | 11255
528 | 458 | 815 | 223 | 26967 | 26333 | 66358 | 62901 | 3544 | 3418 | 3388 | 3269 | 7335 | 6803 | 6024 | 6346 | 5520 | 6249 | 6100 | 6835 | 11464 | 12881 | 11203 | 12071
530 | 457 | 840 | 225 | 27032 | 26518 | 66531 | 62692 | 3731 | 3621 | 3611 | 3495 | 7675 | 6988 | 6250 | 6563 | 5587 | 6325 | 6244 | 7113 | 12418 | 14100 | 12111 | 13166
532 | 464 | 874 | 224 | 27302 | 26628 | 66037 | 62480 | 3917 | 3806 | 3801 | 3679 | 7924 | 7279 | 6459 | 6813 | 5664 | 6385 | 6452 | 7331 | 13434 | 15151 | 13234 | 14281
534 | 467 | 904 | 222 | 27048 | 26539 | 65674 | 62301 | 4121 | 3938 | 3968 | 3830 | 8181 | 7431 | 6637 | 6943 | 5719 | 6420 | 6638 | 7455 | 14269 | 16197 | 14186 | 15329
536 | 474 | 935 | 226 | 27052 | 26672 | 65577 | 61901 | 4280 | 4116 | 4099 | 3969 | 8351 | 7674 | 6775 | 7147 | 5708 | 6507 | 6753 | 7703 | 15276 | 17439 | 15077 | 16240
538 | 470 | 961 | 221 | 26992 | 26478 | 65018 | 60985 | 4360 | 4203 | 4207 | 4067 | 8450 | 7752 | 6903 | 7292 | 5752 | 6524 | 6881 | 7835 | 16242 | 18441 | 15928 | 17217
540 | 472 | 996 | 226 | 26790 | 26430 | 64148 | 60630 | 4499 | 4293 | 4301 | 4174 | 8678 | 7873 | 7038 | 7424 | 5791 | 6617 | 7042 | 7968 | 17053 | 19511 | 16753 | 18146
542 | 477 | 1015 | 227 | 26632 | 26363 | 63329 | 59911 | 4563 | 4384 | 4393 | 4200 | 8749 | 7976 | 7120 | 7464 | 5860 | 6606 | 7176 | 8162 | 17782 | 20280 | 17550 | 18999
544 | 482 | 1040 | 228 | 26396 | 25929 | 62618 | 58845 | 4557 | 4408 | 4416 | 4282 | 8812 | 8015 | 7165 | 7612 | 5812 | 6610 | 7227 | 8222 | 18426 | 21125 | 18257 | 19616
546 | 488 | 1063 | 232 | 26043 | 25666 | 61631 | 57983 | 4577 | 4428 | 4429 | 4263 | 8861 | 8070 | 7180 | 7590 | 5834 | 6582 | 7259 | 8286 | 19039 | 21625 | 18758 | 20211
548 | 493 | 1077 | 234 | 25547 | 25190 | 60701 | 56532 | 4555 | 4415 | 4392 | 4250 | 8703 | 7963 | 7163 | 7575 | 5806 | 6580 | 7290 | 8304 | 19230 | 22150 | 18925 | 20529
550 | 492 | 1085 | 236 | 24994 | 24611 | 58559 | 55531 | 4498 | 4354 | 4384 | 4167 | 8653 | 7872 | 7057 | 7438 | 5759 | 6491 | 7262 | 8264 | 19472 | 22236 | 19208 | 20691
552 | 503 | 1100 | 240 | 24438 | 24397 | 57584 | 54392 | 4466 | 4294 | 4306 | 4124 | 8507 | 7772 | 6930 | 7376 | 5702 | 6436 | 7241 | 8162 | 19442 | 22341 | 19253 | 20944
554 | 499 | 1104 | 241 | 23677 | 23667 | 56020 | 52862 | 4375 | 4191 | 4180 | 4047 | 8310 | 7669 | 6820 | 7260 | 5593 | 6354 | 7096 | 8079 | 19427 | 22357 | 19130 | 20729
556 | 506 | 1105 | 241 | 23208 | 23210 | 54697 | 51492 | 4294 | 4119 | 4110 | 3947 | 8180 | 7456 | 6701 | 7108 | 5526 | 6274 | 7031 | 7995 | 19314 | 22260 | 19107 | 20603
558 | 503 | 1114 | 246 | 22535 | 22636 | 53355 | 50033 | 4190 | 4027 | 4030 | 3879 | 7975 | 7256 | 6548 | 7016 | 5496 | 6213 | 6981 | 7877 | 19257 | 22121 | 18980 | 20469
560 | 513 | 1133 | 248 | 22074 | 22139 | 51799 | 48663 | 4083 | 3928 | 3923 | 3747 | 7744 | 7112 | 6397 | 6788 | 5420 | 6107 | 6857 | 7820 | 19035 | 21907 | 18767 | 20387
562 | 520 | 1118 | 250 | 21332 | 21679 | 50452 | 47383 | 3998 | 3861 | 3856 | 3704 | 7523 | 6915 | 6256 | 6630 | 5397 | 6085 | 6792 | 7717 | 18848 | 21869 | 18625 | 20162
564 | 520 | 1121 | 244 | 20761 | 20919 | 48946 | 45588 | 3910 | 3747 | 3755 | 3610 | 7315 | 6700 | 6049 | 6429 | 5311 | 5975 | 6683 | 7652 | 18617 | 21417 | 18447 | 19899
566 | 519 | 1118 | 243 | 20083 | 20274 | 47227 | 44280 | 3782 | 3653 | 3640 | 3507 | 7058 | 6467 | 5889 | 6218 | 5206 | 5857 | 6610 | 7467 | 18492 | 21238 | 18194 | 19707
568 | 517 | 1116 | 242 | 19457 | 19743 | 45514 | 42661 | 3717 | 3525 | 3523 | 3412 | 6797 | 6299 | 5659 | 6050 | 5134 | 5822 | 6513 | 7399 | 18352 | 21045 | 18057 | 19542
570 | 505 | 1096 | 243 | 18780 | 18947 | 43807 | 41101 | 3597 | 3419 | 3444 | 3278 | 6576 | 6083 | 5497 | 5861 | 5067 | 5709 | 6448 | 7258 | 18186 | 20869 | 17928 | 19356
572 | 502 | 1079 | 237 | 18057 | 18519 | 42350 | 39475 | 3505 | 3346 | 3338 | 3211 | 6399 | 5900 | 5328 | 5683 | 4995 | 5607 | 6344 | 7149 | 17963 | 20617 | 17793 | 19216
574 | 494 | 1063 | 227 | 17578 | 17726 | 40862 | 38114 | 3402 | 3237 | 3261 | 3130 | 6213 | 5622 | 5180 | 5514 | 4911 | 5572 | 6256 | 7064 | 17939 | 20570 | 17639 | 19131
576 | 486 | 1063 | 222 | 16870 | 17309 | 39178 | 36890 | 3298 | 3119 | 3162 | 3056 | 5955 | 5509 | 4986 | 5348 | 4871 | 5492 | 6156 | 6989 | 17811 | 20462 | 17503 | 18989
578 | 480 | 1042 | 219 | 16374 | 16602 | 38039 | 35433 | 3198 | 3040 | 3086 | 2944 | 5765 | 5330 | 4837 | 5168 | 4796 | 5455 | 6047 | 6914 | 17749 | 20230 | 17415 | 18856
580 | 458 | 1018 | 208 | 15727 | 16103 | 36409 | 33991 | 3090 | 2944 | 2970 | 2865 | 5600 | 5132 | 4682 | 4986 | 4737 | 5342 | 6007 | 6798 | 17526 | 20037 | 17206 | 18640
582 | 454 | 998 | 196 | 15305 | 15548 | 35299 | 32804 | 2997 | 2855 | 2902 | 2789 | 5433 | 5001 | 4539 | 4861 | 4706 | 5321 | 5940 | 6787 | 17456 | 19960 | 17191 | 18490
584 | 431 | 969 | 186 | 14605 | 15072 | 33649 | 31362 | 2900 | 2741 | 2807 | 2687 | 5235 | 4803 | 4397 | 4669 | 4603 | 5252 | 5860 | 6687 | 17081 | 19718 | 16910 | 18329
586 | 420 | 956 | 180 | 14237 | 14488 | 32269 | 30187 | 2825 | 2663 | 2747 | 2633 | 5074 | 4681 | 4263 | 4546 | 4583 | 5150 | 5781 | 6602 | 17027 | 19473 | 16737 | 18107
588 | 404 | 926 | 169 | 13685 | 14004 | 30952 | 28936 | 2707 | 2588 | 2616 | 2523 | 4859 | 4512 | 4108 | 4413 | 4480 | 5092 | 5695 | 6459 | 16683 | 19062 | 16484 | 17912
590 | 388 | 918 | 160 | 13217 | 13518 | 29804 | 27794 | 2634 | 2488 | 2535 | 2433 | 4796 | 4372 | 4017 | 4283 | 4422 | 5035 | 5628 | 6350 | 16560 | 18827 | 16198 | 17539
592 | 363 | 880 | 151 | 12700 | 13012 | 28556 | 26664 | 2531 | 2410 | 2463 | 2369 | 4598 | 4217 | 3846 | 4128 | 4365 | 4926 | 5497 | 6204 | 16109 | 18438 | 15805 | 17171
594 | 350 | 860 | 150 | 12256 | 12621 | 27613 | 25597 | 2476 | 2332 | 2394 | 2280 | 4461 | 4065 | 3712 | 3981 | 4300 | 4870 | 5396 | 6119 | 15801 | 18033 | 15489 | 16839
596 | 330 | 824 | 132 | 11823 | 12083 | 26368 | 24686 | 2355 | 2259 | 2288 | 2209 | 4299 | 3947 | 3633 | 3883 | 4222 | 4779 | 5294 | 6002 | 15375 | 17708 | 15196 | 16504
598 | 321 | 813 | 126 | 11396 | 11678 | 25355 | 23779 | 2304 | 2171 | 2196 | 2129 | 4202 | 3823 | 3478 | 3714 | 4162 | 4713 | 5178 | 5869 | 14945 | 17197 | 14718 | 15996
600 | 300 | 775 | 119 | 10992 | 11314 | 24383 | 22786 | 2197 | 2071 | 2134 | 2049 | 4025 | 3701 | 3374 | 3613 | 4031 | 4573 | 5063 | 5753 | 14633 | 16674 | 14330 | 15595
602 | 295 | 756 | 111 | 10532 | 10803 | 23131 | 21772 | 2112 | 2002 | 2067 | 1960 | 3866 | 3557 | 3242 | 3469 | 3999 | 4534 | 4937 | 5618 | 14234 | 16244 | 13882 | 15132
604 | 278 | 737 | 112 | 10196 | 10438 | 22403 | 20837 | 2049 | 1934 | 1972 | 1920 | 3759 | 3431 | 3181 | 3404 | 3921 | 4418 | 4806 | 5522 | 13882 | 15724 | 13591 | 14675
606 | 270 | 714 | 102 | 9870 | 10073 | 21436 | 20168 | 1981 | 1851 | 1894 | 1855 | 3611 | 3318 | 3064 | 3257 | 3827 | 4349 | 4700 | 5364 | 13428 | 15292 | 13258 | 14245
608 | 254 | 683 | 100 | 9520 | 9679 | 20724 | 19203 | 1924 | 1809 | 1843 | 1777 | 3513 | 3194 | 2947 | 3130 | 3749 | 4237 | 4602 | 5242 | 13021 | 14873 | 12843 | 13800
610 | 248 | 671 | 94 | 9178 | 9420 | 20052 | 18576 | 1836 | 1754 | 1795 | 1723 | 3403 | 3100 | 2881 | 3069 | 3682 | 4216 | 4527 | 5093 | 12562 | 14443 | 12470 | 13477
612 | 240 | 651 | 91 | 8868 | 9046 | 19102 | 17805 | 1787 | 1686 | 1712 | 1671 | 3273 | 2991 | 2784 | 2918 | 3610 | 4075 | 4378 | 4955 | 12295 | 13999 | 12036 | 13114
614 | 233 | 625 | 85 | 8554 | 8708 | 18287 | 17029 | 1731 | 1622 | 1647 | 1588 | 3177 | 2885 | 2659 | 2835 | 3503 | 3995 | 4262 | 4821 | 11917 | 13602 | 11781 | 12740
616 | 221 | 617 | 86 | 8199 | 8328 | 17578 | 16330 | 1654 | 1560 | 1594 | 1553 | 3081 | 2778 | 2581 | 2760 | 3431 | 3922 | 4172 | 4717 | 11578 | 13147 | 11358 | 12262
618 | 212 | 588 | 83 | 7861 | 7966 | 16821 | 15660 | 1602 | 1498 | 1532 | 1489 | 2962 | 2688 | 2494 | 2667 | 3357 | 3839 | 4032 | 4594 | 11289 | 12781 | 11046 | 11998
620 | 204 | 577 | 80 | 7578 | 7714 | 16039 | 14996 | 1547 | 1444 | 1485 | 1421 | 2861 | 2600 | 2415 | 2557 | 3272 | 3716 | 3933 | 4467 | 10933 | 12412 | 10682 | 11583
622 | 196 | 557 | 76 | 7327 | 7469 | 15623 | 14438 | 1483 | 1392 | 1431 | 1383 | 2781 | 2503 | 2320 | 2467 | 3194 | 3662 | 3850 | 4381 | 10606 | 12044 | 10392 | 11254
624 | 195 | 541 | 74 | 7037 | 7110 | 14849 | 13707 | 1430 | 1329 | 1386 | 1328 | 2676 | 2396 | 2265 | 2396 | 3109 | 3553 | 3702 | 4219 | 10219 | 11625 | 10126 | 10992
626 | 189 | 518 | 70 | 6742 | 6904 | 14310 | 13302 | 1373 | 1307 | 1328 | 1277 | 2571 | 2320 | 2177 | 2309 | 3058 | 3449 | 3659 | 4117 | 9936 | 11260 | 9808 | 10520
628 | 178 | 513 | 66 | 6526 | 6597 | 13633 | 12714 | 1338 | 1254 | 1294 | 1220 | 2508 | 2240 | 2121 | 2222 | 2970 | 3388 | 3548 | 4014 | 9697 | 10983 | 9570 | 10286
630 | 173 | 494 | 68 | 6240 | 6325 | 13088 | 12118 | 1295 | 1215 | 1237 | 1187 | 2423 | 2162 | 2066 | 2156 | 2884 | 3289 | 3440 | 3888 | 9412 | 10691 | 9245 | 9991
632 | 165 | 475 | 65 | 5994 | 6061 | 12466 | 11643 | 1235 | 1168 | 1195 | 1150 | 2371 | 2093 | 1998 | 2091 | 2840 | 3199 | 3352 | 3799 | 9149 | 10351 | 8975 | 9714
634 | 163 | 452 | 64 | 5763 | 5812 | 11971 | 11263 | 1197 | 1114 | 1153 | 1109 | 2279 | 2034 | 1943 | 2037 | 2739 | 3152 | 3261 | 3719 | 8811 | 10139 | 8759 | 9408
636 | 156 | 441 | 58 | 5563 | 5616 | 11578 | 10768 | 1157 | 1076 | 1122 | 1063 | 2242 | 1951 | 1873 | 1984 | 2672 | 3044 | 3168 | 3597 | 8638 | 9771 | 8458 | 9148
638 | 156 | 428 | 56 | 5335 | 5402 | 10994 | 10396 | 1104 | 1028 | 1066 | 1042 | 2151 | 1885 | 1828 | 1923 | 2576 | 2959 | 3102 | 3511 | 8343 | 9496 | 8200 | 8833
640 | 141 | 413 | 57 | 5166 | 5198 | 10651 | 9815 | 1070 | 992 | 1041 | 1006 | 2105 | 1833 | 1748 | 1865 | 2488 | 2879 | 2961 | 3395 | 8024 | 9205 | 7890 | 8581
End Time | 30 C4: 2025-06-30 12:21:18
Mode | C1: Absorbance
Name | C1: blue 1
Measurement wavelength [nm] | 30 C4: 640
Number of flashes | 30 C4: 10
Settle time [ms] | 30 C4: 50
Part of Plate | 30 C4: C1-C12;D1-D11
Start Time | 30 C4: 2025-06-30 12:21:21
Temperature [°C] | 30 C4: 30
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Start | DOE 3.5.1 | DOE 3.5.1 | DOE 3.5.2 | DOE 3.5.2 | DOE 4.5.1 | DOE 4.5.1 | DOE 4.5.2 | DOE 4.5.2
A
B
C | C1: 0.0412; C2: 0.0905; C3: 0.0405; 30 C4: 0.053; 30 C5: 0.0554; 30 C6: 0.0779; 30 C7: 0.0764; 30 C8: 0.116; 30 C9: 0.1149; 30 C10: 0.1217; 30 C11: 0.122; 30 C12: 0.3863
D | C1: 0.3989; C2: 0.3689; C3: 0.3965; 30 C4: 0.0461; 30 C5: 0.0463; 30 C6: 0.047; 30 C7: 0.0475; 30 C8: 0.0605; 30 C9: 0.0601; 30 C10: 0.0577; 30 C11: 0.0583
E
F
G
H
End Time | 30 C4: 2025-06-30 12:21:29
Mode | C1: Absorbance
Name | C1: blue 2
Measurement wavelength [nm] | 30 C4: 640
Number of flashes | 30 C4: 10
Settle time [ms] | 30 C4: 50
Part of Plate | 30 C4: C1-C12;D1-D11
Start Time | 30 C4: 2025-06-30 12:21:32
Temperature [°C] | 30 C4: 30
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Start | DOE 3.5.1 | DOE 3.5.1 | DOE 3.5.2 | DOE 3.5.2 | DOE 4.5.1 | DOE 4.5.1 | DOE 4.5.2 | DOE 4.5.2
A
B
C | C1: 0.0412; C2: 0.094; C3: 0.0405; 30 C4: 0.0531; 30 C5: 0.0554; 30 C6: 0.0784; 30 C7: 0.0765; 30 C8: 0.1267; 30 C9: 0.1244; 30 C10: 0.1277; 30 C11: 0.1281; 30 C12: 0.4628
D | C1: 0.4374; C2: 0.4112; C3: 0.4327; 30 C4: 0.0458; 30 C5: 0.0463; 30 C6: 0.0469; 30 C7: 0.0472; 30 C8: 0.0627; 30 C9: 0.06; 30 C10: 0.0574; 30 C11: 0.0581
E
F
G
H
End Time | 30 C4: 2025-06-30 12:21:40
Mode | C1: Absorbance
Name | C1: red 1
Measurement wavelength [nm] | 30 C4: 530
Number of flashes | 30 C4: 10
Settle time [ms] | 30 C4: 50
Part of Plate | 30 C4: C1-C12;D1-D11
Start Time | 30 C4: 2025-06-30 12:21:42
Temperature [°C] | 30 C4: 30
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Start | DOE 3.5.1 | DOE 3.5.1 | DOE 3.5.2 | DOE 3.5.2 | DOE 4.5.1 | DOE 4.5.1 | DOE 4.5.2 | DOE 4.5.2
A
B
C | C1: 0.0443; C2: 0.1176; C3: 0.0435; 30 C4: 0.0732; 30 C5: 0.0786; 30 C6: 0.1762; 30 C7: 0.1649; 30 C8: 0.1313; 30 C9: 0.1262; 30 C10: 0.125; 30 C11: 0.1247; 30 C12: 0.2857
D | C1: 0.2709; C2: 0.2582; C3: 0.2763; 30 C4: 0.1131; 30 C5: 0.1277; 30 C6: 0.1357; 30 C7: 0.1473; 30 C8: 0.4569; 30 C9: 0.49; 30 C10: 0.4383; 30 C11: 0.4546
E
F
G
H
End Time | 30 C4: 2025-06-30 12:21:50
Mode | C1: Absorbance
Name | C1: red 2
Measurement wavelength [nm] | 30 C4: 530
Number of flashes | 30 C4: 10
Settle time [ms] | 30 C4: 50
Part of Plate | 30 C4: C1-C12;D1-D11
Start Time | 30 C4: 2025-06-30 12:21:53
Temperature [°C] | 30 C4: 29.9
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Start | DOE 3.5.1 | DOE 3.5.1 | DOE 3.5.2 | DOE 3.5.2 | DOE 4.5.1 | DOE 4.5.1 | DOE 4.5.2 | DOE 4.5.2
A
B
C | C1: 0.0441; C2: 0.119; C3: 0.0438; 30 C4: 0.0731; 30 C5: 0.0786; 30 C6: 0.1763; 30 C7: 0.1647; 30 C8: 0.1333; 30 C9: 0.1275; 30 C10: 0.1255; 30 C11: 0.1262; 30 C12: 0.2938
D | C1: 0.2761; C2: 0.263; C3: 0.2814; 30 C4: 0.1132; 30 C5: 0.1278; 30 C6: 0.1358; 30 C7: 0.1475; 30 C8: 0.4555; 30 C9: 0.4889; 30 C10: 0.4374; 30 C11: 0.4533
E
F
G
H
End Time | 30 C4: 2025-06-30 12:22:00
Ex | Blank | BlankB | BlankR | DOE 3.5 | DOE 3.5 | DOE 4.5 | DOE 4.5 | DOE 3.5 | DOE 3.5 | DOE 3.5 | DOE 3.5 | DOE 4.5 | DOE 4.5 | DOE 4.5 | DOE 4.5 | DOE 3.5 | DOE 3.5 | DOE 3.5 | DOE 3.5 | DOE 4.5 | DOE 4.5 | DOE 4.5 | DOE 4.5
Ex | Blank | BlankB | BlankR | f | f | f | f | b | b | b | b | b | b | b | b | r | r | r | r | r | r | r | r
Ex | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1