## Result sheet
Method name: LS_241112_Fluorescence_Actino_Sample (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1708008206
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦PODI:V1.10.2
Date: |  |  |  | 2025-07-02
Time: |  |  |  | 11:59
System |  |  |  | IBVT171
User |  |  |  | IBVT171\Tecan
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Wait
Shaking
Wait
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Label 1
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Label 2
| Absorbance |  |  |  |  | blue 1
| Absorbance |  |  |  |  | blue 2
| Absorbance |  |  |  |  | red 1
| Absorbance |  |  |  |  | red 2
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | A1-A12;B1-B11
Start Time |  |  |  | 2025-07-02 11:19:53
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 30
Wait minimum [°C] |  |  |  | 29
Wait maximum [°C] |  |  |  | 31
End Time |  |  |  | 2025-07-02 11:19:53
Start Time |  |  |  | 2025-07-02 11:19:53
Shaking (Linear) Duration [s] |  |  |  | 7
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-07-02 11:20:00
Start Time |  |  |  | 2025-07-02 11:20:00
Wait (Time) hh:mm:ss |  |  |  | 00:05:01
Wait position |  |  |  | Current
End Time |  |  |  | 2025-07-02 11:25:01
Start Time |  |  |  | 2025-07-02 11:25:01
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-07-02 11:25:11
Start Time |  |  |  | 2025-07-02 11:25:11
Wait (Time) hh:mm:ss |  |  |  | 00:00:10
Wait position |  |  |  | Current
End Time |  |  |  | 2025-07-02 11:25:21
Mode | Fluorescence Intensity Scan Top Reading
Name | Label 1
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-A12;B1-B11
Start Time |  |  |  | 2025-07-02 11:25:21
Temperature [°C] |  |  |  | 29.9
Wavel. | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11
520 | 2243 | 2542 | 2357 | 37118 | 28570 | 62866 | 65476 | 6913 | 6937 | 6925 | 6607 | 7795 | 8476 | 7878 | 7862 | 8327 | 8487 | 6735 | 6924 | 10347 | 10475 | 10420 | 10568
522 | 474 | 853 | 305 | 36863 | 28186 | 63070 | 65679 | 5873 | 5684 | 5719 | 5105 | 6408 | 7506 | 6274 | 6716 | 6476 | 6808 | 4792 | 5214 | 8705 | 9262 | 8997 | 9126
524 | 420 | 835 | 242 | 37583 | 28808 | 64009 | 66636 | 6426 | 6204 | 6297 | 5576 | 6637 | 7817 | 6474 | 6978 | 6593 | 6950 | 4849 | 5313 | 8996 | 9517 | 9252 | 9370
526 | 421 | 858 | 243 | 38230 | 29524 | 65142 | 66917 | 7094 | 6780 | 6906 | 6109 | 7024 | 8272 | 6789 | 7311 | 6743 | 7115 | 4980 | 5474 | 9352 | 10029 | 9627 | 9794
528 | 424 | 884 | 236 | 38626 | 29945 | 65319 | 67350 | 7586 | 7415 | 7530 | 6582 | 7306 | 8578 | 7073 | 7586 | 6882 | 7261 | 5109 | 5596 | 9738 | 10334 | 9934 | 10232
530 | 422 | 912 | 233 | 38656 | 30008 | 65918 | 67119 | 8198 | 7943 | 8151 | 7217 | 7654 | 8948 | 7252 | 7826 | 7006 | 7370 | 5282 | 5798 | 10188 | 10758 | 10346 | 10600
532 | 430 | 946 | 231 | 38781 | 30447 | 65619 | 67086 | 8868 | 8615 | 8822 | 7769 | 7975 | 9320 | 7473 | 8096 | 7193 | 7546 | 5437 | 5914 | 10588 | 11196 | 10754 | 10984
534 | 428 | 954 | 233 | 38621 | 30527 | 65349 | 67039 | 9301 | 9055 | 9350 | 8179 | 8235 | 9605 | 7703 | 8304 | 7265 | 7638 | 5515 | 6075 | 10900 | 11545 | 11206 | 11423
536 | 436 | 986 | 237 | 38438 | 30410 | 64825 | 66417 | 9768 | 9394 | 9806 | 8587 | 8490 | 9876 | 7857 | 8495 | 7396 | 7836 | 5663 | 6202 | 11339 | 12102 | 11492 | 11758
538 | 432 | 1003 | 237 | 38188 | 30381 | 64434 | 65756 | 10106 | 9641 | 10195 | 8995 | 8680 | 10127 | 7921 | 8592 | 7456 | 7888 | 5815 | 6340 | 11718 | 12414 | 11763 | 12197
540 | 447 | 1031 | 241 | 38204 | 30243 | 63610 | 64574 | 10374 | 9896 | 10471 | 9197 | 8913 | 10340 | 8075 | 8706 | 7580 | 7974 | 5913 | 6470 | 11988 | 12721 | 12214 | 12483
542 | 440 | 1048 | 238 | 37870 | 30353 | 62935 | 64137 | 10492 | 10104 | 10764 | 9331 | 8938 | 10495 | 8147 | 8831 | 7676 | 8074 | 6054 | 6585 | 12368 | 13152 | 12510 | 12819
544 | 449 | 1083 | 241 | 37800 | 30129 | 62500 | 63137 | 10551 | 10212 | 10841 | 9516 | 9048 | 10568 | 8142 | 8838 | 7802 | 8190 | 6123 | 6721 | 12694 | 13637 | 12859 | 13187
546 | 452 | 1102 | 244 | 37108 | 29782 | 61243 | 61821 | 10555 | 10108 | 10835 | 9490 | 9044 | 10663 | 8249 | 8915 | 7865 | 8344 | 6264 | 6822 | 12992 | 13752 | 13139 | 13503
548 | 453 | 1109 | 243 | 36686 | 29547 | 60368 | 60681 | 10501 | 9984 | 10711 | 9404 | 8994 | 10534 | 8140 | 8749 | 7919 | 8392 | 6286 | 6828 | 13068 | 13971 | 13303 | 13614
550 | 459 | 1116 | 252 | 36030 | 28933 | 58603 | 58817 | 10226 | 9887 | 10594 | 9164 | 8885 | 10424 | 8017 | 8644 | 7942 | 8389 | 6365 | 6907 | 13198 | 14094 | 13399 | 13695
552 | 460 | 1136 | 256 | 35509 | 28586 | 57591 | 57722 | 9973 | 9671 | 10377 | 9010 | 8796 | 10367 | 7877 | 8638 | 7964 | 8452 | 6402 | 6981 | 13404 | 14201 | 13555 | 13873
554 | 460 | 1151 | 256 | 34639 | 28040 | 56376 | 56037 | 9772 | 9421 | 10007 | 8855 | 8556 | 10177 | 7713 | 8309 | 8086 | 8507 | 6429 | 6983 | 13444 | 14243 | 13608 | 14051
556 | 464 | 1161 | 260 | 34039 | 27631 | 55339 | 54601 | 9537 | 9049 | 9677 | 8493 | 8390 | 9942 | 7613 | 8191 | 8079 | 8473 | 6506 | 7078 | 13493 | 14390 | 13701 | 14090
558 | 470 | 1186 | 262 | 33475 | 26918 | 52908 | 52918 | 9155 | 8752 | 9341 | 8215 | 8176 | 9767 | 7401 | 8011 | 8016 | 8560 | 6508 | 7097 | 13501 | 14470 | 13807 | 14151
560 | 477 | 1178 | 263 | 32597 | 26357 | 51685 | 51615 | 8848 | 8429 | 8974 | 7916 | 7939 | 9528 | 7223 | 7821 | 8148 | 8597 | 6593 | 7133 | 13613 | 14493 | 13758 | 14261
562 | 474 | 1197 | 268 | 31938 | 25899 | 50648 | 50026 | 8592 | 8156 | 8660 | 7704 | 7763 | 9255 | 7061 | 7620 | 8169 | 8594 | 6677 | 7225 | 13579 | 14537 | 13936 | 14212
564 | 473 | 1190 | 262 | 31385 | 25166 | 48732 | 48246 | 8212 | 7951 | 8275 | 7361 | 7624 | 8995 | 6822 | 7361 | 8202 | 8688 | 6713 | 7247 | 13668 | 14566 | 13934 | 14265
566 | 479 | 1197 | 261 | 30282 | 24596 | 47102 | 46747 | 7972 | 7660 | 7990 | 7072 | 7244 | 8733 | 6626 | 7152 | 8235 | 8685 | 6742 | 7294 | 13657 | 14558 | 13924 | 14388
568 | 473 | 1193 | 264 | 29702 | 23875 | 45346 | 45339 | 7646 | 7262 | 7760 | 6814 | 7042 | 8374 | 6416 | 6926 | 8244 | 8718 | 6831 | 7321 | 13654 | 14477 | 13967 | 14344
570 | 471 | 1192 | 258 | 28539 | 23037 | 43826 | 43721 | 7311 | 7053 | 7380 | 6535 | 6810 | 8147 | 6190 | 6688 | 8334 | 8724 | 6883 | 7425 | 13566 | 14483 | 13861 | 14259
572 | 471 | 1187 | 251 | 27672 | 22535 | 42136 | 41983 | 7092 | 6839 | 7077 | 6255 | 6594 | 7913 | 6055 | 6479 | 8351 | 8742 | 6959 | 7413 | 13591 | 14373 | 13791 | 14232
574 | 457 | 1174 | 247 | 26884 | 22032 | 40575 | 40281 | 6807 | 6524 | 6851 | 6041 | 6379 | 7605 | 5854 | 6226 | 8343 | 8776 | 6976 | 7561 | 13510 | 14297 | 13899 | 14194
576 | 449 | 1171 | 237 | 26280 | 21332 | 39327 | 38962 | 6582 | 6343 | 6629 | 5857 | 6178 | 7412 | 5653 | 6065 | 8386 | 8813 | 6947 | 7589 | 13478 | 14219 | 13799 | 14216
578 | 444 | 1148 | 232 | 25531 | 20857 | 37687 | 37254 | 6277 | 6089 | 6297 | 5656 | 5933 | 7131 | 5443 | 5852 | 8397 | 8863 | 7131 | 7602 | 13423 | 14230 | 13860 | 14260
580 | 426 | 1142 | 221 | 24539 | 20203 | 36176 | 36062 | 6032 | 5868 | 6082 | 5433 | 5756 | 6921 | 5343 | 5684 | 8468 | 8885 | 7181 | 7669 | 13284 | 14159 | 13797 | 14152
582 | 416 | 1127 | 219 | 24118 | 19619 | 34748 | 34749 | 5903 | 5620 | 5914 | 5203 | 5561 | 6726 | 5159 | 5506 | 8494 | 8913 | 7204 | 7676 | 13334 | 14062 | 13679 | 14113
584 | 402 | 1115 | 203 | 23046 | 18961 | 33475 | 33080 | 5608 | 5393 | 5611 | 4955 | 5393 | 6496 | 4959 | 5321 | 8482 | 8896 | 7230 | 7774 | 13094 | 13968 | 13566 | 13926
586 | 391 | 1100 | 194 | 22298 | 18429 | 32227 | 32023 | 5408 | 5190 | 5396 | 4808 | 5236 | 6297 | 4844 | 5119 | 8464 | 8916 | 7313 | 7770 | 13039 | 13852 | 13525 | 13841
588 | 370 | 1070 | 179 | 21705 | 17857 | 30979 | 30756 | 5182 | 4974 | 5170 | 4616 | 5030 | 6060 | 4636 | 4979 | 8518 | 8966 | 7310 | 7813 | 12990 | 13723 | 13465 | 13857
590 | 358 | 1045 | 170 | 21118 | 17387 | 29675 | 29482 | 4979 | 4788 | 5010 | 4428 | 4892 | 5893 | 4481 | 4815 | 8478 | 8877 | 7262 | 7783 | 12771 | 13516 | 13212 | 13644
592 | 343 | 1030 | 160 | 20307 | 16793 | 28377 | 28192 | 4719 | 4604 | 4830 | 4277 | 4677 | 5697 | 4339 | 4614 | 8451 | 8857 | 7227 | 7759 | 12637 | 13375 | 13057 | 13460
594 | 330 | 1009 | 154 | 19498 | 16305 | 27458 | 27255 | 4588 | 4413 | 4584 | 4102 | 4552 | 5504 | 4239 | 4454 | 8429 | 8779 | 7238 | 7753 | 12430 | 13274 | 13026 | 13386
596 | 310 | 991 | 142 | 18926 | 15756 | 26149 | 26087 | 4361 | 4199 | 4378 | 3914 | 4393 | 5359 | 4108 | 4322 | 8368 | 8763 | 7173 | 7739 | 12216 | 13075 | 12767 | 13106
598 | 300 | 963 | 133 | 18218 | 15340 | 25132 | 25039 | 4199 | 4029 | 4233 | 3757 | 4259 | 5145 | 3958 | 4188 | 8299 | 8659 | 7157 | 7683 | 12167 | 12876 | 12655 | 13038
600 | 281 | 946 | 130 | 17599 | 14834 | 24080 | 24047 | 3965 | 3855 | 4012 | 3596 | 4138 | 4955 | 3818 | 4046 | 8238 | 8606 | 7099 | 7604 | 11857 | 12691 | 12445 | 12719
602 | 267 | 926 | 117 | 16920 | 14134 | 23034 | 22921 | 3845 | 3652 | 3831 | 3438 | 3945 | 4761 | 3667 | 3884 | 8164 | 8518 | 7091 | 7496 | 11752 | 12428 | 12182 | 12633
604 | 263 | 897 | 114 | 16420 | 13826 | 22192 | 22209 | 3674 | 3527 | 3700 | 3308 | 3832 | 4645 | 3571 | 3781 | 8076 | 8439 | 6994 | 7469 | 11423 | 12121 | 11985 | 12367
606 | 249 | 880 | 108 | 15930 | 13514 | 21258 | 21330 | 3493 | 3375 | 3489 | 3169 | 3674 | 4470 | 3457 | 3646 | 7963 | 8417 | 6851 | 7334 | 11345 | 12005 | 11810 | 12202
608 | 236 | 869 | 103 | 15273 | 13014 | 20410 | 20375 | 3335 | 3210 | 3375 | 3017 | 3575 | 4325 | 3341 | 3514 | 7870 | 8267 | 6847 | 7272 | 11023 | 11767 | 11653 | 11829
610 | 231 | 844 | 101 | 14781 | 12626 | 19792 | 19736 | 3248 | 3123 | 3268 | 2932 | 3424 | 4165 | 3246 | 3429 | 7829 | 8130 | 6763 | 7205 | 10816 | 11478 | 11476 | 11774
612 | 214 | 827 | 96 | 14319 | 12212 | 19087 | 18851 | 3112 | 2994 | 3134 | 2779 | 3316 | 4041 | 3114 | 3292 | 7692 | 8063 | 6642 | 7084 | 10593 | 11330 | 11266 | 11550
614 | 214 | 801 | 93 | 13686 | 11789 | 18159 | 18242 | 2955 | 2865 | 2950 | 2659 | 3191 | 3893 | 3018 | 3186 | 7542 | 7925 | 6537 | 7010 | 10359 | 11026 | 10953 | 11211
616 | 203 | 780 | 88 | 13240 | 11351 | 17561 | 17484 | 2867 | 2722 | 2846 | 2557 | 3090 | 3735 | 2908 | 3083 | 7454 | 7793 | 6411 | 6887 | 10161 | 10732 | 10807 | 11119
618 | 200 | 765 | 85 | 12681 | 10988 | 16721 | 16740 | 2737 | 2626 | 2716 | 2442 | 2973 | 3617 | 2798 | 2981 | 7318 | 7636 | 6353 | 6751 | 9979 | 10577 | 10586 | 10878
620 | 192 | 752 | 82 | 12274 | 10549 | 16020 | 16035 | 2621 | 2512 | 2613 | 2358 | 2878 | 3477 | 2741 | 2879 | 7179 | 7547 | 6236 | 6684 | 9810 | 10321 | 10265 | 10630
622 | 185 | 740 | 78 | 11745 | 10213 | 15311 | 15341 | 2513 | 2410 | 2489 | 2253 | 2786 | 3334 | 2638 | 2754 | 7077 | 7385 | 6123 | 6539 | 9581 | 10060 | 10094 | 10366
624 | 177 | 716 | 74 | 11360 | 9841 | 14677 | 14660 | 2406 | 2319 | 2408 | 2164 | 2689 | 3235 | 2563 | 2689 | 6953 | 7220 | 6028 | 6478 | 9301 | 9875 | 9975 | 10086
626 | 170 | 699 | 73 | 10819 | 9558 | 14182 | 14257 | 2320 | 2211 | 2303 | 2080 | 2586 | 3088 | 2478 | 2584 | 6823 | 7158 | 5912 | 6306 | 9087 | 9587 | 9672 | 9928
628 | 164 | 678 | 72 | 10464 | 9175 | 13454 | 13525 | 2222 | 2141 | 2208 | 2012 | 2486 | 3007 | 2398 | 2529 | 6691 | 7017 | 5857 | 6225 | 8947 | 9400 | 9495 | 9675
630 | 158 | 662 | 68 | 10114 | 8896 | 12974 | 13066 | 2155 | 2041 | 2162 | 1918 | 2410 | 2902 | 2321 | 2395 | 6555 | 6848 | 5711 | 6070 | 8634 | 9139 | 9183 | 9330
632 | 152 | 640 | 67 | 9637 | 8597 | 12398 | 12459 | 2059 | 1977 | 2064 | 1856 | 2337 | 2800 | 2251 | 2332 | 6453 | 6722 | 5588 | 5951 | 8432 | 8915 | 8945 | 9158
634 | 152 | 625 | 66 | 9314 | 8267 | 11980 | 12028 | 1996 | 1901 | 1974 | 1790 | 2285 | 2701 | 2176 | 2267 | 6287 | 6541 | 5481 | 5832 | 8216 | 8684 | 8759 | 8986
636 | 145 | 610 | 62 | 8953 | 7978 | 11418 | 11564 | 1920 | 1825 | 1941 | 1744 | 2184 | 2629 | 2119 | 2190 | 6205 | 6491 | 5385 | 5702 | 7988 | 8458 | 8567 | 8738
638 | 135 | 593 | 61 | 8554 | 7672 | 10969 | 11116 | 1848 | 1754 | 1836 | 1664 | 2117 | 2550 | 2060 | 2141 | 6031 | 6306 | 5248 | 5606 | 7796 | 8240 | 8294 | 8521
640 | 136 | 578 | 60 | 8342 | 7452 | 10631 | 10592 | 1800 | 1685 | 1753 | 1610 | 2040 | 2457 | 1974 | 2079 | 5854 | 6202 | 5085 | 5468 | 7572 | 8030 | 8099 | 8298
End Time | 29.9 A4: 2025-07-02 11:41:52
Mode | A1: Fluorescence Intensity Scan Top Reading
Name | A1: Label 2
Scan selection | 29.9 A4: Emission Scan
Excitation | 29.9 A4: Monochromator
Excitation wavelength [nm] | 29.9 A4: 483
Excitation bandwidth [nm] | 29.9 A4: 20
Emission wavelength start [nm] | 29.9 A4: 520
Emission wavelength end [nm] | 29.9 A4: 640
Emission wavelength step size [nm] | 29.9 A4: 2
Emission scan number | 29.9 A4: 61
Emission bandwidth [nm] | 29.9 A4: 20
Gain Manual | 29.9 A4: 100
Mirror | 29.9 A4: Automatic (Dichroic 510)
Number of flashes | 29.9 A4: 30
Integration time [µs] | 29.9 A4: 40
Lag time [µs] | 29.9 A4: 0
Settle time [ms] | 29.9 A4: 0
Z-Position [μm] | 29.9 A4: 20000
Z-Position mode | 29.9 A4: Manual
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-07-02 11:41:55
Temperature [°C] | 29.9 A4: 29.9
Wavel. | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11
520 | 2464 | 2865 | 2675 | 34941 | 26793 | 59682 | 62220 | 6086 | 6046 | 5929 | 5693 | 7457 | 8108 | 7714 | 7672 | 7768 | 8024 | 6655 | 6783 | 9708 | 9714 | 9775 | 9574
522 | 447 | 924 | 307 | 34227 | 26207 | 60088 | 62403 | 4788 | 4680 | 4679 | 4106 | 5834 | 7092 | 6124 | 6538 | 5579 | 5874 | 4154 | 4535 | 7587 | 8121 | 7822 | 8048
524 | 392 | 900 | 215 | 34980 | 26975 | 61064 | 63439 | 5121 | 4980 | 4999 | 4387 | 6018 | 7416 | 6282 | 6731 | 5668 | 5932 | 4228 | 4609 | 7821 | 8346 | 7974 | 8281
526 | 395 | 947 | 209 | 35430 | 27483 | 61472 | 64215 | 5563 | 5483 | 5441 | 4810 | 6262 | 7699 | 6529 | 7007 | 5761 | 6126 | 4357 | 4731 | 8164 | 8709 | 8385 | 8647
528 | 396 | 975 | 209 | 35823 | 27821 | 62147 | 63992 | 5954 | 5855 | 5835 | 5089 | 6535 | 7984 | 6741 | 7236 | 5887 | 6221 | 4499 | 4873 | 8534 | 9064 | 8650 | 9003
530 | 396 | 1023 | 208 | 35890 | 28118 | 61743 | 64244 | 6421 | 6266 | 6288 | 5495 | 6734 | 8261 | 6896 | 7407 | 6037 | 6330 | 4614 | 5037 | 8820 | 9416 | 9000 | 9314
532 | 403 | 1065 | 207 | 35934 | 28115 | 62046 | 63941 | 6874 | 6709 | 6769 | 5825 | 6957 | 8496 | 7116 | 7582 | 6135 | 6480 | 4760 | 5141 | 9168 | 9764 | 9359 | 9631
534 | 402 | 1098 | 208 | 35908 | 28464 | 61938 | 63499 | 7117 | 6957 | 7097 | 6153 | 7126 | 8692 | 7226 | 7739 | 6209 | 6586 | 4880 | 5289 | 9534 | 10094 | 9665 | 9872
536 | 404 | 1125 | 205 | 35916 | 28418 | 61287 | 62905 | 7442 | 7322 | 7502 | 6372 | 7318 | 8939 | 7369 | 7906 | 6335 | 6676 | 4985 | 5410 | 9859 | 10499 | 9979 | 10313
538 | 405 | 1166 | 206 | 35624 | 28540 | 60793 | 62597 | 7609 | 7446 | 7667 | 6600 | 7425 | 9065 | 7468 | 8039 | 6392 | 6788 | 5080 | 5520 | 10217 | 10859 | 10334 | 10503
540 | 409 | 1190 | 208 | 35658 | 28372 | 60085 | 61650 | 7899 | 7660 | 7882 | 6760 | 7493 | 9233 | 7532 | 8120 | 6525 | 6862 | 5248 | 5671 | 10462 | 11261 | 10622 | 10890
542 | 411 | 1222 | 211 | 35172 | 28257 | 59602 | 61486 | 7946 | 7724 | 8009 | 6916 | 7683 | 9404 | 7625 | 8131 | 6597 | 6999 | 5318 | 5788 | 10762 | 11566 | 10905 | 11130
544 | 410 | 1251 | 213 | 34869 | 27979 | 59215 | 59879 | 8006 | 7839 | 8061 | 7003 | 7742 | 9440 | 7712 | 8191 | 6647 | 7100 | 5452 | 5853 | 10995 | 11917 | 11293 | 11407
546 | 427 | 1275 | 215 | 34262 | 27894 | 57938 | 58808 | 8086 | 7787 | 8091 | 7044 | 7683 | 9478 | 7667 | 8202 | 6801 | 7148 | 5518 | 5962 | 11377 | 12166 | 11373 | 11713
548 | 423 | 1305 | 219 | 34083 | 27598 | 56756 | 57432 | 8014 | 7751 | 7998 | 6935 | 7645 | 9462 | 7604 | 8065 | 6832 | 7178 | 5590 | 6000 | 11418 | 12204 | 11566 | 11886
550 | 424 | 1314 | 221 | 33434 | 26997 | 55347 | 55932 | 7808 | 7625 | 7833 | 6868 | 7628 | 9330 | 7484 | 7986 | 6874 | 7219 | 5647 | 6041 | 11471 | 12346 | 11608 | 12051
552 | 431 | 1333 | 222 | 32794 | 26521 | 54304 | 54860 | 7711 | 7468 | 7757 | 6701 | 7487 | 9298 | 7448 | 7862 | 6873 | 7273 | 5690 | 6113 | 11718 | 12450 | 11847 | 12175
554 | 428 | 1345 | 225 | 32447 | 26053 | 52485 | 53169 | 7517 | 7298 | 7433 | 6565 | 7336 | 9063 | 7243 | 7735 | 6901 | 7244 | 5684 | 6143 | 11793 | 12534 | 11819 | 12282
556 | 434 | 1359 | 229 | 31732 | 25550 | 51571 | 52041 | 7348 | 7117 | 7328 | 6429 | 7228 | 8899 | 7137 | 7588 | 6953 | 7295 | 5780 | 6159 | 11836 | 12678 | 11837 | 12295
558 | 437 | 1361 | 229 | 30857 | 25037 | 50090 | 50159 | 7068 | 6969 | 7025 | 6221 | 7068 | 8738 | 7000 | 7378 | 6978 | 7371 | 5746 | 6281 | 11887 | 12650 | 12062 | 12418
560 | 437 | 1369 | 231 | 30404 | 24505 | 48742 | 49036 | 6924 | 6729 | 6845 | 6027 | 6896 | 8531 | 6830 | 7219 | 7045 | 7418 | 5822 | 6277 | 12049 | 12619 | 12118 | 12477
562 | 449 | 1370 | 236 | 29654 | 24052 | 47377 | 47524 | 6684 | 6582 | 6654 | 5841 | 6803 | 8356 | 6724 | 7054 | 7103 | 7506 | 5904 | 6301 | 12125 | 12861 | 12139 | 12543
564 | 446 | 1374 | 233 | 28968 | 23755 | 45942 | 45844 | 6500 | 6322 | 6377 | 5680 | 6620 | 8143 | 6535 | 6897 | 7127 | 7533 | 5940 | 6337 | 12123 | 12762 | 12186 | 12639
566 | 438 | 1377 | 235 | 28326 | 22999 | 44531 | 44596 | 6286 | 6046 | 6151 | 5468 | 6385 | 7891 | 6327 | 6643 | 7125 | 7514 | 6013 | 6354 | 12013 | 12861 | 12159 | 12606
568 | 442 | 1374 | 233 | 27615 | 22460 | 42732 | 42808 | 6065 | 5922 | 5916 | 5327 | 6174 | 7694 | 6157 | 6462 | 7150 | 7519 | 6004 | 6472 | 12005 | 12789 | 12303 | 12606
570 | 438 | 1349 | 230 | 26635 | 21657 | 41247 | 41193 | 5833 | 5720 | 5739 | 5112 | 6002 | 7393 | 5934 | 6289 | 7202 | 7615 | 6056 | 6447 | 11968 | 12674 | 12146 | 12515
572 | 431 | 1337 | 223 | 25815 | 21112 | 39773 | 39745 | 5613 | 5550 | 5481 | 4920 | 5841 | 7205 | 5786 | 6042 | 7204 | 7577 | 6117 | 6519 | 11955 | 12677 | 12148 | 12720
574 | 432 | 1329 | 215 | 25120 | 20383 | 38201 | 38260 | 5418 | 5313 | 5332 | 4767 | 5675 | 6994 | 5657 | 5916 | 7263 | 7578 | 6127 | 6572 | 11909 | 12665 | 12132 | 12625
576 | 428 | 1321 | 214 | 24422 | 19923 | 36871 | 36917 | 5262 | 5172 | 5152 | 4623 | 5528 | 6782 | 5480 | 5702 | 7282 | 7660 | 6217 | 6672 | 11834 | 12667 | 12094 | 12560
578 | 407 | 1300 | 203 | 23689 | 19297 | 35362 | 35632 | 5068 | 4957 | 4991 | 4431 | 5346 | 6613 | 5298 | 5526 | 7381 | 7743 | 6226 | 6726 | 11865 | 12632 | 12127 | 12525
580 | 399 | 1277 | 195 | 22924 | 18796 | 34061 | 33770 | 4933 | 4828 | 4783 | 4280 | 5170 | 6393 | 5138 | 5394 | 7294 | 7701 | 6303 | 6773 | 11773 | 12532 | 12120 | 12550
582 | 386 | 1263 | 193 | 22284 | 18331 | 32576 | 32946 | 4750 | 4675 | 4622 | 4158 | 5010 | 6222 | 4998 | 5268 | 7380 | 7797 | 6377 | 6777 | 11718 | 12476 | 12084 | 12479
584 | 375 | 1236 | 177 | 21561 | 17683 | 31623 | 31402 | 4613 | 4509 | 4432 | 4007 | 4871 | 6032 | 4822 | 5043 | 7312 | 7784 | 6371 | 6806 | 11579 | 12379 | 11928 | 12343
586 | 364 | 1217 | 170 | 20754 | 17183 | 30320 | 30361 | 4431 | 4335 | 4285 | 3885 | 4761 | 5813 | 4696 | 4886 | 7421 | 7752 | 6433 | 6783 | 11571 | 12353 | 11924 | 12261
588 | 343 | 1193 | 160 | 20175 | 16536 | 28670 | 28922 | 4275 | 4150 | 4152 | 3738 | 4575 | 5656 | 4576 | 4717 | 7420 | 7755 | 6378 | 6878 | 11426 | 12090 | 11750 | 12123
590 | 334 | 1168 | 157 | 19621 | 16190 | 27934 | 28037 | 4157 | 4020 | 4023 | 3663 | 4448 | 5523 | 4432 | 4634 | 7391 | 7741 | 6411 | 6828 | 11299 | 12010 | 11752 | 12082
592 | 317 | 1130 | 146 | 18774 | 15658 | 26922 | 26749 | 3974 | 3840 | 3875 | 3484 | 4312 | 5261 | 4271 | 4432 | 7318 | 7658 | 6359 | 6861 | 11205 | 11838 | 11572 | 11968
594 | 307 | 1121 | 134 | 18125 | 15145 | 25754 | 25805 | 3813 | 3708 | 3705 | 3382 | 4178 | 5143 | 4199 | 4314 | 7262 | 7703 | 6372 | 6857 | 11047 | 11649 | 11432 | 11801
596 | 289 | 1088 | 128 | 17593 | 14662 | 24657 | 24808 | 3690 | 3587 | 3575 | 3256 | 4002 | 4948 | 4021 | 4180 | 7274 | 7678 | 6370 | 6756 | 10845 | 11556 | 11219 | 11654
598 | 280 | 1060 | 122 | 16891 | 14170 | 23698 | 23711 | 3504 | 3445 | 3436 | 3162 | 3932 | 4810 | 3904 | 4048 | 7226 | 7608 | 6345 | 6761 | 10604 | 11323 | 11130 | 11435
600 | 270 | 1022 | 119 | 16335 | 13767 | 22605 | 22878 | 3395 | 3332 | 3341 | 3004 | 3798 | 4679 | 3748 | 3896 | 7195 | 7481 | 6272 | 6693 | 10490 | 11164 | 10968 | 11275
602 | 253 | 1008 | 108 | 15721 | 13291 | 21709 | 21778 | 3243 | 3157 | 3153 | 2897 | 3626 | 4488 | 3672 | 3780 | 7099 | 7450 | 6264 | 6600 | 10320 | 10968 | 10773 | 11050
604 | 243 | 977 | 103 | 15269 | 12835 | 20971 | 20981 | 3121 | 3053 | 3065 | 2807 | 3554 | 4362 | 3524 | 3674 | 6985 | 7367 | 6116 | 6568 | 10091 | 10803 | 10612 | 10894
606 | 234 | 959 | 95 | 14798 | 12543 | 20092 | 20120 | 3015 | 2940 | 2950 | 2713 | 3429 | 4230 | 3474 | 3553 | 6920 | 7258 | 6056 | 6471 | 9970 | 10582 | 10339 | 10682
608 | 223 | 939 | 93 | 14273 | 12147 | 19271 | 19304 | 2892 | 2838 | 2817 | 2583 | 3317 | 4055 | 3322 | 3424 | 6890 | 7167 | 6047 | 6389 | 9762 | 10363 | 10202 | 10528
610 | 213 | 917 | 88 | 13778 | 11676 | 18728 | 18606 | 2795 | 2738 | 2725 | 2496 | 3236 | 3955 | 3258 | 3340 | 6770 | 7122 | 5972 | 6360 | 9577 | 10189 | 10105 | 10362
612 | 202 | 889 | 84 | 13299 | 11347 | 17745 | 17906 | 2698 | 2651 | 2644 | 2406 | 3149 | 3842 | 3144 | 3211 | 6749 | 7041 | 5881 | 6250 | 9475 | 9979 | 9846 | 10211
614 | 197 | 872 | 82 | 12835 | 10874 | 16975 | 17186 | 2594 | 2510 | 2541 | 2331 | 3013 | 3715 | 3021 | 3119 | 6588 | 6937 | 5795 | 6205 | 9148 | 9813 | 9645 | 10029
616 | 189 | 838 | 81 | 12221 | 10609 | 16316 | 16472 | 2505 | 2448 | 2419 | 2217 | 2899 | 3574 | 2938 | 3014 | 6494 | 6806 | 5683 | 6021 | 9014 | 9592 | 9443 | 9720
618 | 183 | 818 | 77 | 11747 | 10202 | 15703 | 15796 | 2390 | 2331 | 2347 | 2152 | 2825 | 3451 | 2844 | 2914 | 6347 | 6714 | 5620 | 5975 | 8847 | 9316 | 9254 | 9476
620 | 179 | 796 | 71 | 11382 | 9810 | 15065 | 15040 | 2327 | 2239 | 2241 | 2071 | 2705 | 3302 | 2743 | 2817 | 6304 | 6595 | 5490 | 5824 | 8656 | 9116 | 9097 | 9387
622 | 176 | 787 | 71 | 10902 | 9593 | 14443 | 14589 | 2229 | 2176 | 2151 | 1996 | 2653 | 3206 | 2638 | 2730 | 6183 | 6483 | 5426 | 5731 | 8467 | 8944 | 8881 | 9107
624 | 169 | 769 | 70 | 10626 | 9185 | 13885 | 14033 | 2139 | 2098 | 2077 | 1929 | 2564 | 3100 | 2560 | 2633 | 6057 | 6317 | 5328 | 5640 | 8257 | 8687 | 8666 | 8923
626 | 159 | 746 | 68 | 10132 | 8934 | 13291 | 13379 | 2086 | 2010 | 2026 | 1861 | 2466 | 3002 | 2508 | 2561 | 5976 | 6231 | 5281 | 5567 | 8038 | 8552 | 8491 | 8713
628 | 152 | 725 | 61 | 9771 | 8551 | 12673 | 12782 | 2006 | 1958 | 1934 | 1794 | 2405 | 2895 | 2439 | 2467 | 5846 | 6190 | 5196 | 5461 | 7830 | 8288 | 8354 | 8514
630 | 150 | 702 | 59 | 9375 | 8271 | 12127 | 12205 | 1942 | 1883 | 1870 | 1762 | 2312 | 2786 | 2358 | 2376 | 5731 | 6022 | 5036 | 5372 | 7725 | 8068 | 8083 | 8333
632 | 145 | 681 | 61 | 9006 | 7957 | 11597 | 11771 | 1857 | 1798 | 1804 | 1685 | 2258 | 2683 | 2281 | 2318 | 5624 | 5918 | 4950 | 5251 | 7469 | 7870 | 7905 | 8155
634 | 141 | 653 | 59 | 8666 | 7729 | 11161 | 11292 | 1791 | 1737 | 1740 | 1630 | 2199 | 2625 | 2213 | 2237 | 5512 | 5767 | 4854 | 5091 | 7249 | 7681 | 7750 | 7956
636 | 134 | 641 | 56 | 8349 | 7432 | 10802 | 10842 | 1736 | 1682 | 1676 | 1561 | 2137 | 2547 | 2135 | 2166 | 5409 | 5712 | 4701 | 5066 | 7114 | 7413 | 7549 | 7761
638 | 132 | 628 | 55 | 7985 | 7215 | 10268 | 10487 | 1698 | 1627 | 1619 | 1513 | 2063 | 2447 | 2104 | 2108 | 5313 | 5580 | 4650 | 4964 | 6920 | 7285 | 7337 | 7548
640 | 119 | 610 | 52 | 7850 | 6900 | 9906 | 10074 | 1621 | 1591 | 1559 | 1483 | 1992 | 2376 | 1992 | 2056 | 5073 | 5427 | 4512 | 4822 | 6670 | 7131 | 7160 | 7349
End Time | 29.9 A4: 2025-07-02 11:58:24
Mode | A1: Absorbance
Name | A1: blue 1
Measurement wavelength [nm] | 29.9 A4: 640
Number of flashes | 29.9 A4: 10
Settle time [ms] | 29.9 A4: 50
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-07-02 11:58:27
Temperature [°C] | 29.9 A4: 30
<> | A1: 1; A2: 2; A3: 3; 29.9 A4: 4; 29.9 A5: 5; 29.9 A6: 6; 29.9 A7: 7; 29.9 A8: 8; 29.9 A9: 9; 29.9 A10: 10; 29.9 A11: 11; 29.9 A12: 12
A | A1: 0.0439; A2: 0.0698; A3: 0.0405; 29.9 A4: 0.0799; 29.9 A5: 0.0798; 29.9 A6: 0.0942; 29.9 A7: 0.0994; 29.9 A8: 0.1293; 29.9 A9: 0.1199; 29.9 A10: 0.1751; 29.9 A11: 0.1397; 29.9 A12: 0.1981
B | A1: 0.2013; A2: 0.2655; A3: 0.2478; 29.9 A4: 0.0523; 29.9 A5: 0.0526; 29.9 A6: 0.05; 29.9 A7: 0.0492; 29.9 A8: 0.058; 29.9 A9: 0.0593; 29.9 A10: 0.059; 29.9 A11: 0.0596
C
D
E
F
G
H
End Time | 29.9 A4: 2025-07-02 11:58:35
Mode | A1: Absorbance
Name | A1: blue 2
Measurement wavelength [nm] | 29.9 A4: 640
Number of flashes | 29.9 A4: 10
Settle time [ms] | 29.9 A4: 50
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-07-02 11:58:37
Temperature [°C] | 29.9 A4: 30
<> | A1: 1; A2: 2; A3: 3; 29.9 A4: 4; 29.9 A5: 5; 29.9 A6: 6; 29.9 A7: 7; 29.9 A8: 8; 29.9 A9: 9; 29.9 A10: 10; 29.9 A11: 11; 29.9 A12: 12
A | A1: 0.0441; A2: 0.0728; A3: 0.0405; 29.9 A4: 0.0797; 29.9 A5: 0.0795; 29.9 A6: 0.0943; 29.9 A7: 0.0992; 29.9 A8: 0.1548; 29.9 A9: 0.1495; 29.9 A10: 0.198; 29.9 A11: 0.1835; 29.9 A12: 0.2745
B | A1: 0.2504; A2: 0.3272; A3: 0.3248; 29.9 A4: 0.0523; 29.9 A5: 0.0524; 29.9 A6: 0.0501; 29.9 A7: 0.0494; 29.9 A8: 0.058; 29.9 A9: 0.0591; 29.9 A10: 0.0591; 29.9 A11: 0.0595
C
D
E
F
G
H
End Time | 29.9 A4: 2025-07-02 11:58:45
Mode | A1: Absorbance
Name | A1: red 1
Measurement wavelength [nm] | 29.9 A4: 530
Number of flashes | 29.9 A4: 10
Settle time [ms] | 29.9 A4: 50
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-07-02 11:58:48
Temperature [°C] | 29.9 A4: 30
<> | A1: 1; A2: 2; A3: 3; 29.9 A4: 4; 29.9 A5: 5; 29.9 A6: 6; 29.9 A7: 7; 29.9 A8: 8; 29.9 A9: 9; 29.9 A10: 10; 29.9 A11: 11; 29.9 A12: 12
A | A1: 0.0468; A2: 0.0931; A3: 0.0433; 29.9 A4: 0.1423; 29.9 A5: 0.1437; 29.9 A6: 0.1942; 29.9 A7: 0.2098; 29.9 A8: 0.149; 29.9 A9: 0.1436; 29.9 A10: 0.1685; 29.9 A11: 0.158; 29.9 A12: 0.2197
B | A1: 0.2035; A2: 0.2423; A3: 0.2425; 29.9 A4: 0.1799; 29.9 A5: 0.1843; 29.9 A6: 0.179; 29.9 A7: 0.1815; 29.9 A8: 0.2872; 29.9 A9: 0.2998; 29.9 A10: 0.2966; 29.9 A11: 0.2991
C
D
E
F
G
H
End Time | 29.9 A4: 2025-07-02 11:58:55
Mode | A1: Absorbance
Name | A1: red 2
Measurement wavelength [nm] | 29.9 A4: 530
Number of flashes | 29.9 A4: 10
Settle time [ms] | 29.9 A4: 50
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-07-02 11:58:58
Temperature [°C] | 29.9 A4: 30
<> | A1: 1; A2: 2; A3: 3; 29.9 A4: 4; 29.9 A5: 5; 29.9 A6: 6; 29.9 A7: 7; 29.9 A8: 8; 29.9 A9: 9; 29.9 A10: 10; 29.9 A11: 11; 29.9 A12: 12
A | A1: 0.0469; A2: 0.0932; A3: 0.0431; 29.9 A4: 0.1422; 29.9 A5: 0.1439; 29.9 A6: 0.194; 29.9 A7: 0.2094; 29.9 A8: 0.1488; 29.9 A9: 0.1435; 29.9 A10: 0.1692; 29.9 A11: 0.158; 29.9 A12: 0.2231
B | A1: 0.2073; A2: 0.2464; A3: 0.2469; 29.9 A4: 0.1799; 29.9 A5: 0.1845; 29.9 A6: 0.1795; 29.9 A7: 0.1815; 29.9 A8: 0.287; 29.9 A9: 0.2995; 29.9 A10: 0.2965; 29.9 A11: 0.2992
C
D
E
F
G
H
End Time | 29.9 A4: 2025-07-02 11:59:05
Ex | Blank | BlankB | BlankR | DOE 3.7 | DOE 3.7 | DOE 4.7 | DOE 4.7 | DOE 3.7 | DOE 3.7 | DOE 3.7 | DOE 3.7 | DOE 4.7 | DOE 4.7 | DOE 4.7 | DOE 4.7 | DOE 3.7 | DOE 3.7 | DOE 3.7 | DOE 3.7 | DOE 4.7 | DOE 4.7 | DOE 4.7 | DOE 4.7
Ex | Blank | BlankB | BlankR | f | f | f | f | b | b | b | b | b | b | b | b | r | r | r | r | r | r | r | r
Ex | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1