## Result sheet
Method name: LS_241112_Fluorescence_Actino_Sample (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1708008206
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦PODI:V1.10.2
Date: |  |  |  | 2025-07-05
Time: |  |  |  | 14:42
System |  |  |  | IBVT171
User |  |  |  | IBVT171\Tecan
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Wait
Shaking
Wait
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Label 1
| Absorbance |  |  |  |  | blue 1
| Absorbance |  |  |  |  | blue 2
| Absorbance |  |  |  |  | red 1
| Absorbance |  |  |  |  | red 2
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | E3-E12;F1-F12;G1
Start Time |  |  |  | 2025-07-05 14:14:05
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 30
Wait minimum [°C] |  |  |  | 29
Wait maximum [°C] |  |  |  | 31
End Time |  |  |  | 2025-07-05 14:19:58
Start Time |  |  |  | 2025-07-05 14:19:58
Shaking (Linear) Duration [s] |  |  |  | 7
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-07-05 14:20:05
Start Time |  |  |  | 2025-07-05 14:20:05
Wait (Time) hh:mm:ss |  |  |  | 00:05:01
Wait position |  |  |  | Current
End Time |  |  |  | 2025-07-05 14:25:06
Start Time |  |  |  | 2025-07-05 14:25:06
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-07-05 14:25:16
Start Time |  |  |  | 2025-07-05 14:25:16
Wait (Time) hh:mm:ss |  |  |  | 00:00:10
Wait position |  |  |  | Current
End Time |  |  |  | 2025-07-05 14:25:26
Mode | Fluorescence Intensity Scan Top Reading
Name | Label 1
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | E3-E12;F1-F12;G1
Start Time |  |  |  | 2025-07-05 14:25:26
Temperature [°C] |  |  |  | 29.8
Wavel. | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1
520 | 2764 | 2784 | 3117 | 5070 | 4483 | 3091 | 4128 | 2792 | 2650 | 2745 | 3066 | 3133 | 3142 | 3012 | 2798 | 3879 | 3405 | 3443 | 3129 | 3164 | 3143 | 3376 | 3295
522 | 451 | 1119 | 305 | 3928 | 3077 | 1826 | 3032 | 1027 | 1202 | 1186 | 1260 | 1247 | 1067 | 1040 | 1008 | 921 | 750 | 731 | 603 | 643 | 595 | 702 | 620
524 | 391 | 1098 | 201 | 3905 | 3023 | 1897 | 3112 | 1015 | 1217 | 1196 | 1236 | 1229 | 1032 | 999 | 991 | 829 | 667 | 639 | 485 | 618 | 577 | 684 | 543
526 | 386 | 1162 | 192 | 3948 | 3089 | 1999 | 3278 | 1050 | 1242 | 1238 | 1295 | 1281 | 1086 | 1046 | 1030 | 820 | 660 | 635 | 486 | 684 | 644 | 740 | 597
528 | 393 | 1188 | 190 | 3962 | 3080 | 2088 | 3407 | 1084 | 1296 | 1268 | 1335 | 1326 | 1124 | 1083 | 1062 | 808 | 656 | 630 | 485 | 749 | 710 | 822 | 662
530 | 394 | 1238 | 194 | 3956 | 3082 | 2185 | 3512 | 1113 | 1345 | 1307 | 1387 | 1383 | 1153 | 1129 | 1104 | 794 | 651 | 623 | 482 | 830 | 772 | 912 | 732
532 | 390 | 1279 | 189 | 3916 | 3084 | 2279 | 3607 | 1152 | 1371 | 1354 | 1437 | 1434 | 1193 | 1156 | 1153 | 788 | 643 | 614 | 470 | 886 | 867 | 985 | 787
534 | 396 | 1313 | 193 | 3939 | 3064 | 2344 | 3680 | 1169 | 1416 | 1379 | 1475 | 1490 | 1223 | 1195 | 1175 | 783 | 646 | 620 | 470 | 971 | 928 | 1060 | 847
536 | 402 | 1353 | 190 | 3915 | 3035 | 2400 | 3721 | 1219 | 1467 | 1432 | 1514 | 1528 | 1266 | 1211 | 1218 | 764 | 628 | 609 | 467 | 1032 | 1006 | 1135 | 900
538 | 398 | 1383 | 191 | 3874 | 3007 | 2419 | 3749 | 1228 | 1479 | 1450 | 1566 | 1568 | 1289 | 1233 | 1236 | 762 | 624 | 606 | 463 | 1075 | 1042 | 1186 | 947
540 | 407 | 1423 | 193 | 3791 | 2970 | 2464 | 3764 | 1254 | 1520 | 1486 | 1611 | 1625 | 1320 | 1271 | 1267 | 753 | 618 | 602 | 462 | 1118 | 1104 | 1246 | 990
542 | 411 | 1450 | 194 | 3784 | 2931 | 2450 | 3730 | 1290 | 1547 | 1512 | 1644 | 1655 | 1353 | 1302 | 1284 | 747 | 608 | 600 | 461 | 1151 | 1112 | 1280 | 1021
544 | 410 | 1499 | 193 | 3734 | 2924 | 2418 | 3742 | 1310 | 1576 | 1534 | 1661 | 1679 | 1358 | 1330 | 1296 | 735 | 609 | 591 | 462 | 1162 | 1123 | 1305 | 1044
546 | 417 | 1516 | 196 | 3673 | 2872 | 2422 | 3675 | 1322 | 1608 | 1574 | 1716 | 1728 | 1390 | 1342 | 1325 | 718 | 600 | 586 | 453 | 1178 | 1135 | 1317 | 1058
548 | 416 | 1543 | 196 | 3609 | 2836 | 2379 | 3634 | 1337 | 1622 | 1574 | 1722 | 1728 | 1410 | 1325 | 1332 | 705 | 587 | 575 | 442 | 1167 | 1134 | 1310 | 1043
550 | 415 | 1541 | 193 | 3529 | 2769 | 2313 | 3539 | 1348 | 1652 | 1584 | 1743 | 1740 | 1430 | 1354 | 1343 | 690 | 577 | 568 | 441 | 1144 | 1117 | 1304 | 1051
552 | 423 | 1561 | 198 | 3462 | 2712 | 2252 | 3490 | 1378 | 1652 | 1613 | 1747 | 1767 | 1435 | 1352 | 1344 | 685 | 560 | 555 | 432 | 1127 | 1102 | 1271 | 1030
554 | 427 | 1578 | 198 | 3382 | 2656 | 2207 | 3391 | 1375 | 1667 | 1628 | 1776 | 1752 | 1426 | 1357 | 1333 | 675 | 555 | 545 | 419 | 1098 | 1072 | 1243 | 996
556 | 429 | 1585 | 202 | 3296 | 2605 | 2144 | 3329 | 1379 | 1685 | 1624 | 1773 | 1765 | 1424 | 1362 | 1339 | 662 | 535 | 541 | 422 | 1052 | 1039 | 1211 | 977
558 | 430 | 1591 | 198 | 3220 | 2552 | 2083 | 3211 | 1395 | 1669 | 1628 | 1771 | 1787 | 1417 | 1354 | 1335 | 646 | 536 | 529 | 415 | 1020 | 1006 | 1156 | 948
560 | 432 | 1592 | 198 | 3154 | 2496 | 2032 | 3151 | 1398 | 1684 | 1639 | 1780 | 1782 | 1434 | 1353 | 1346 | 628 | 520 | 524 | 403 | 975 | 965 | 1134 | 916
562 | 428 | 1608 | 201 | 3079 | 2440 | 2009 | 3078 | 1387 | 1681 | 1639 | 1769 | 1773 | 1430 | 1361 | 1337 | 606 | 516 | 505 | 395 | 958 | 937 | 1090 | 904
564 | 431 | 1589 | 200 | 3019 | 2379 | 1962 | 2989 | 1388 | 1672 | 1616 | 1775 | 1773 | 1440 | 1341 | 1332 | 605 | 503 | 498 | 391 | 919 | 911 | 1067 | 868
566 | 424 | 1602 | 198 | 2939 | 2320 | 1896 | 2941 | 1397 | 1674 | 1636 | 1763 | 1765 | 1411 | 1325 | 1311 | 592 | 488 | 487 | 376 | 883 | 874 | 1023 | 848
568 | 425 | 1583 | 199 | 2877 | 2290 | 1853 | 2851 | 1372 | 1649 | 1628 | 1752 | 1757 | 1393 | 1315 | 1299 | 581 | 478 | 474 | 371 | 859 | 844 | 1010 | 817
570 | 425 | 1576 | 195 | 2781 | 2211 | 1804 | 2761 | 1357 | 1639 | 1612 | 1716 | 1720 | 1395 | 1301 | 1281 | 567 | 459 | 462 | 359 | 832 | 821 | 968 | 799
572 | 421 | 1557 | 188 | 2695 | 2149 | 1740 | 2703 | 1362 | 1623 | 1586 | 1707 | 1700 | 1359 | 1280 | 1278 | 548 | 452 | 450 | 342 | 794 | 803 | 955 | 775
574 | 410 | 1553 | 191 | 2636 | 2094 | 1709 | 2613 | 1344 | 1597 | 1584 | 1686 | 1687 | 1340 | 1260 | 1240 | 532 | 438 | 440 | 341 | 781 | 781 | 914 | 757
576 | 404 | 1539 | 182 | 2564 | 2054 | 1663 | 2551 | 1324 | 1572 | 1564 | 1654 | 1663 | 1319 | 1233 | 1229 | 517 | 425 | 430 | 334 | 754 | 753 | 890 | 721
578 | 397 | 1498 | 181 | 2475 | 1988 | 1601 | 2455 | 1314 | 1570 | 1541 | 1655 | 1633 | 1291 | 1213 | 1203 | 505 | 410 | 416 | 319 | 734 | 725 | 871 | 718
580 | 384 | 1485 | 172 | 2435 | 1930 | 1572 | 2381 | 1291 | 1546 | 1532 | 1614 | 1609 | 1269 | 1183 | 1188 | 485 | 406 | 399 | 309 | 715 | 709 | 846 | 704
582 | 375 | 1464 | 167 | 2335 | 1881 | 1504 | 2300 | 1264 | 1518 | 1503 | 1602 | 1548 | 1243 | 1169 | 1159 | 483 | 388 | 394 | 303 | 690 | 678 | 825 | 682
584 | 364 | 1429 | 155 | 2263 | 1814 | 1443 | 2214 | 1244 | 1484 | 1472 | 1565 | 1564 | 1203 | 1134 | 1129 | 460 | 384 | 370 | 292 | 667 | 664 | 796 | 664
586 | 350 | 1411 | 149 | 2196 | 1790 | 1385 | 2166 | 1240 | 1480 | 1439 | 1530 | 1516 | 1179 | 1117 | 1103 | 442 | 375 | 365 | 284 | 638 | 643 | 771 | 643
588 | 342 | 1370 | 143 | 2123 | 1702 | 1325 | 2063 | 1198 | 1438 | 1412 | 1491 | 1471 | 1146 | 1091 | 1061 | 439 | 352 | 348 | 273 | 618 | 614 | 749 | 612
590 | 326 | 1344 | 136 | 2044 | 1670 | 1256 | 1970 | 1174 | 1408 | 1390 | 1482 | 1438 | 1125 | 1053 | 1032 | 411 | 342 | 334 | 268 | 599 | 584 | 716 | 593
592 | 308 | 1332 | 132 | 1997 | 1597 | 1223 | 1901 | 1150 | 1366 | 1353 | 1440 | 1419 | 1085 | 1018 | 1016 | 399 | 327 | 325 | 256 | 556 | 570 | 682 | 572
594 | 297 | 1290 | 125 | 1922 | 1560 | 1166 | 1824 | 1127 | 1336 | 1344 | 1417 | 1390 | 1063 | 988 | 983 | 394 | 320 | 316 | 254 | 537 | 539 | 654 | 555
596 | 285 | 1256 | 117 | 1839 | 1478 | 1093 | 1733 | 1100 | 1325 | 1301 | 1370 | 1344 | 1022 | 957 | 945 | 378 | 310 | 304 | 235 | 509 | 509 | 633 | 527
598 | 264 | 1225 | 114 | 1755 | 1429 | 1053 | 1667 | 1085 | 1290 | 1276 | 1343 | 1295 | 991 | 926 | 923 | 359 | 303 | 296 | 227 | 485 | 503 | 608 | 507
600 | 263 | 1199 | 107 | 1704 | 1384 | 993 | 1581 | 1050 | 1239 | 1247 | 1313 | 1264 | 951 | 891 | 890 | 359 | 291 | 279 | 226 | 467 | 469 | 576 | 482
602 | 250 | 1158 | 98 | 1642 | 1331 | 953 | 1502 | 1024 | 1214 | 1218 | 1273 | 1230 | 925 | 868 | 854 | 338 | 280 | 272 | 213 | 439 | 442 | 547 | 459
604 | 235 | 1138 | 96 | 1576 | 1291 | 911 | 1448 | 1006 | 1190 | 1181 | 1255 | 1198 | 914 | 844 | 830 | 330 | 270 | 270 | 208 | 424 | 417 | 525 | 446
606 | 234 | 1107 | 90 | 1518 | 1235 | 862 | 1380 | 984 | 1150 | 1166 | 1220 | 1166 | 875 | 808 | 808 | 325 | 256 | 255 | 200 | 396 | 399 | 498 | 420
608 | 220 | 1084 | 89 | 1467 | 1186 | 814 | 1323 | 963 | 1124 | 1147 | 1183 | 1131 | 836 | 786 | 788 | 313 | 252 | 248 | 196 | 374 | 380 | 487 | 402
610 | 211 | 1061 | 85 | 1402 | 1141 | 788 | 1272 | 947 | 1114 | 1098 | 1165 | 1104 | 829 | 757 | 748 | 308 | 247 | 241 | 188 | 358 | 362 | 460 | 390
612 | 205 | 1032 | 80 | 1361 | 1106 | 761 | 1220 | 925 | 1078 | 1087 | 1133 | 1064 | 793 | 736 | 731 | 297 | 237 | 236 | 185 | 342 | 350 | 438 | 372
614 | 197 | 1001 | 77 | 1304 | 1065 | 715 | 1163 | 884 | 1047 | 1048 | 1105 | 1045 | 763 | 714 | 705 | 286 | 232 | 231 | 183 | 327 | 333 | 423 | 356
616 | 187 | 967 | 75 | 1252 | 1014 | 681 | 1108 | 871 | 1020 | 1029 | 1081 | 1010 | 735 | 687 | 688 | 278 | 224 | 223 | 174 | 307 | 313 | 402 | 337
618 | 187 | 955 | 71 | 1197 | 977 | 650 | 1075 | 853 | 988 | 1005 | 1055 | 986 | 710 | 663 | 655 | 266 | 221 | 214 | 169 | 295 | 296 | 385 | 330
620 | 177 | 933 | 69 | 1155 | 945 | 616 | 1022 | 825 | 962 | 975 | 1020 | 959 | 687 | 635 | 641 | 267 | 210 | 215 | 164 | 287 | 282 | 369 | 315
622 | 170 | 896 | 66 | 1117 | 911 | 597 | 981 | 801 | 939 | 952 | 993 | 939 | 676 | 626 | 610 | 259 | 199 | 202 | 160 | 277 | 270 | 352 | 302
624 | 166 | 878 | 63 | 1063 | 870 | 582 | 928 | 791 | 927 | 930 | 967 | 903 | 650 | 598 | 594 | 249 | 206 | 198 | 156 | 260 | 263 | 347 | 290
626 | 159 | 851 | 64 | 1040 | 845 | 548 | 890 | 763 | 899 | 904 | 939 | 879 | 626 | 577 | 573 | 243 | 190 | 194 | 152 | 249 | 252 | 325 | 278
628 | 158 | 822 | 62 | 990 | 805 | 515 | 875 | 736 | 867 | 874 | 923 | 839 | 603 | 561 | 551 | 237 | 191 | 191 | 149 | 238 | 244 | 313 | 274
630 | 154 | 792 | 61 | 937 | 768 | 493 | 815 | 726 | 841 | 842 | 884 | 814 | 581 | 544 | 537 | 230 | 184 | 180 | 146 | 231 | 231 | 297 | 259
632 | 142 | 772 | 57 | 909 | 731 | 474 | 792 | 694 | 801 | 829 | 858 | 802 | 565 | 517 | 519 | 227 | 181 | 179 | 136 | 219 | 222 | 293 | 252
634 | 141 | 761 | 57 | 867 | 713 | 458 | 759 | 683 | 793 | 803 | 826 | 776 | 549 | 504 | 498 | 211 | 175 | 171 | 136 | 206 | 211 | 279 | 244
636 | 136 | 724 | 54 | 843 | 682 | 431 | 730 | 670 | 776 | 795 | 818 | 752 | 526 | 491 | 481 | 207 | 168 | 165 | 131 | 202 | 202 | 264 | 232
638 | 127 | 712 | 53 | 806 | 654 | 418 | 698 | 649 | 755 | 764 | 797 | 729 | 502 | 477 | 472 | 202 | 160 | 160 | 124 | 198 | 194 | 263 | 225
640 | 126 | 682 | 48 | 782 | 634 | 392 | 658 | 617 | 725 | 732 | 760 | 702 | 491 | 463 | 448 | 202 | 157 | 155 | 123 | 189 | 186 | 251 | 218
End Time | 29.8 E6: 2025-07-05 14:41:55
Mode | E3: Absorbance
Name | E3: blue 1
Measurement wavelength [nm] | 29.8 E6: 640
Number of flashes | 29.8 E6: 10
Settle time [ms] | 29.8 E6: 50
Part of Plate | 29.8 E6: E3-E12;F1-F12;G1
Start Time | 29.8 E6: 2025-07-05 14:41:58
Temperature [°C] | 29.8 E6: 29.7
<> | E3: 1; E4: 2; E5: 3; 29.8 E6: 4; 29.8 E7: 5; 29.8 E8: 6; 29.8 E9: 7; 29.8 E10: 8; 29.8 E11: 9; 29.8 E12: 10; 29.8 F1: 11; 29.8 F2: 12
A
B
C
D
E | E5: 0.0413; 29.8 E6: 0.0772; 29.8 E7: 0.0405; 29.8 E8: 0.044; 29.8 E9: 0.0446; 29.8 E10: 0.0497; 29.8 E11: 0.0556; 29.8 E12: 0.0954; 29.8 F1: 0.0999; 29.8 F2: 0.1414
F | E3: 0.0672; E4: 0.0744; E5: 0.0564; 29.8 E6: 0.0565; 29.8 E7: 0.056; 29.8 E8: 0.0442; 29.8 E9: 0.0431; 29.8 E10: 0.0423; 29.8 E11: 0.0417; 29.8 E12: 0.0414; 29.8 F1: 0.0409; 29.8 F2: 0.0452
G | E3: 0.0414
H
End Time | 29.8 E6: 2025-07-05 14:42:06
Mode | E3: Absorbance
Name | E3: blue 2
Measurement wavelength [nm] | 29.8 E6: 640
Number of flashes | 29.8 E6: 10
Settle time [ms] | 29.8 E6: 50
Part of Plate | 29.8 E6: E3-E12;F1-F12;G1
Start Time | 29.8 E6: 2025-07-05 14:42:09
Temperature [°C] | 29.8 E6: 29.7
<> | E3: 1; E4: 2; E5: 3; 29.8 E6: 4; 29.8 E7: 5; 29.8 E8: 6; 29.8 E9: 7; 29.8 E10: 8; 29.8 E11: 9; 29.8 E12: 10; 29.8 F1: 11; 29.8 F2: 12
A
B
C
D
E | E5: 0.0411; 29.8 E6: 0.0799; 29.8 E7: 0.0404; 29.8 E8: 0.0441; 29.8 E9: 0.0446; 29.8 E10: 0.0497; 29.8 E11: 0.0556; 29.8 E12: 0.0975; 29.8 F1: 0.1013; 29.8 F2: 0.1428
F | E3: 0.0667; E4: 0.0741; E5: 0.0566; 29.8 E6: 0.0561; 29.8 E7: 0.0561; 29.8 E8: 0.0443; 29.8 E9: 0.043; 29.8 E10: 0.0421; 29.8 E11: 0.0418; 29.8 E12: 0.0414; 29.8 F1: 0.041; 29.8 F2: 0.0449
G | E3: 0.0415
H
End Time | 29.8 E6: 2025-07-05 14:42:16
Mode | E3: Absorbance
Name | E3: red 1
Measurement wavelength [nm] | 29.8 E6: 530
Number of flashes | 29.8 E6: 10
Settle time [ms] | 29.8 E6: 50
Part of Plate | 29.8 E6: E3-E12;F1-F12;G1
Start Time | 29.8 E6: 2025-07-05 14:42:19
Temperature [°C] | 29.8 E6: 29.7
<> | E3: 1; E4: 2; E5: 3; 29.8 E6: 4; 29.8 E7: 5; 29.8 E8: 6; 29.8 E9: 7; 29.8 E10: 8; 29.8 E11: 9; 29.8 E12: 10; 29.8 F1: 11; 29.8 F2: 12
A
B
C
D
E | E5: 0.0495; 29.8 E6: 0.0993; 29.8 E7: 0.0433; 29.8 E8: 0.0479; 29.8 E9: 0.0493; 29.8 E10: 0.0581; 29.8 E11: 0.0688; 29.8 E12: 0.1222; 29.8 F1: 0.1295; 29.8 F2: 0.1839
F | E3: 0.0842; E4: 0.0929; E5: 0.0684; 29.8 E6: 0.0671; 29.8 E7: 0.067; 29.8 E8: 0.0499; 29.8 E9: 0.0483; 29.8 E10: 0.047; 29.8 E11: 0.0462; 29.8 E12: 0.0501; 29.8 F1: 0.0507; 29.8 F2: 0.0603
G | E3: 0.0546
H
End Time | 29.8 E6: 2025-07-05 14:42:27
Mode | E3: Absorbance
Name | E3: red 2
Measurement wavelength [nm] | 29.8 E6: 530
Number of flashes | 29.8 E6: 10
Settle time [ms] | 29.8 E6: 50
Part of Plate | 29.8 E6: E3-E12;F1-F12;G1
Start Time | 29.8 E6: 2025-07-05 14:42:29
Temperature [°C] | 29.8 E6: 29.7
<> | E3: 1; E4: 2; E5: 3; 29.8 E6: 4; 29.8 E7: 5; 29.8 E8: 6; 29.8 E9: 7; 29.8 E10: 8; 29.8 E11: 9; 29.8 E12: 10; 29.8 F1: 11; 29.8 F2: 12
A
B
C
D
E | E5: 0.0439; 29.8 E6: 0.0995; 29.8 E7: 0.0467; 29.8 E8: 0.0481; 29.8 E9: 0.0492; 29.8 E10: 0.0581; 29.8 E11: 0.0684; 29.8 E12: 0.1223; 29.8 F1: 0.13; 29.8 F2: 0.1843
F | E3: 0.0853; E4: 0.0922; E5: 0.0684; 29.8 E6: 0.0669; 29.8 E7: 0.0668; 29.8 E8: 0.0498; 29.8 E9: 0.0483; 29.8 E10: 0.0471; 29.8 E11: 0.0462; 29.8 E12: 0.0501; 29.8 F1: 0.0507; 29.8 F2: 0.0605
G | E3: 0.0546
H
End Time | 29.8 E6: 2025-07-05 14:42:37
Ex | Blank | BlankB | BlankR | DOE 5.3 | DOE 5.3 | DOE 6.3 | DOE 6.3 | DOE 5.3 | DOE 5.3 | DOE 5.3 | DOE 5.3 | DOE 6.3 | DOE 6.3 | DOE 6.3 | DOE 6.3 | DOE 5.3 | DOE 5.3 | DOE 5.3 | DOE 5.3 | DOE 6.3 | DOE 6.3 | DOE 6.3 | DOE 6.3
Ex | Blank | BlankB | BlankR | f | f | f | f | b | b | b | b | b | b | b | b | r | r | r | r | r | r | r | r
Ex | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1