## Result sheet
Method name: LS_241112_Fluorescence_Actino_Sample (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1708008206
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦PODI:V1.10.2
Date: |  |  |  | 2025-07-07
Time: |  |  |  | 11:50
System |  |  |  | IBVT171
User |  |  |  | IBVT171\Tecan
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Wait
Shaking
Wait
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Label 1
| Absorbance |  |  |  |  | blue 1
| Absorbance |  |  |  |  | blue 2
| Absorbance |  |  |  |  | red 1
| Absorbance |  |  |  |  | red 2
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | G1-G12;H1-H11
Start Time |  |  |  | 2025-07-07 11:27:19
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 30
Wait minimum [°C] |  |  |  | 29
Wait maximum [°C] |  |  |  | 31
End Time |  |  |  | 2025-07-07 11:27:19
Start Time |  |  |  | 2025-07-07 11:27:19
Shaking (Linear) Duration [s] |  |  |  | 7
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-07-07 11:27:26
Start Time |  |  |  | 2025-07-07 11:27:26
Wait (Time) hh:mm:ss |  |  |  | 00:05:01
Wait position |  |  |  | Current
End Time |  |  |  | 2025-07-07 11:32:27
Start Time |  |  |  | 2025-07-07 11:32:27
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-07-07 11:32:37
Start Time |  |  |  | 2025-07-07 11:32:37
Wait (Time) hh:mm:ss |  |  |  | 00:00:10
Wait position |  |  |  | Current
End Time |  |  |  | 2025-07-07 11:32:47
Mode | Fluorescence Intensity Scan Top Reading
Name | Label 1
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | G1-G12;H1-H11
Start Time |  |  |  | 2025-07-07 11:32:47
Temperature [°C] |  |  |  | 29.8
Wavel. | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11
520 | 1950 | 2435 | 2585 | 10944 | 8902 | 18437 | 10879 | 2997 | 3074 | 2553 | 2569 | 3148 | 3274 | 2839 | 3024 | 4576 | 4447 | 4029 | 3825 | 5428 | 5526 | 4353 | 4373
522 | 510 | 911 | 310 | 9802 | 7721 | 17906 | 10040 | 1531 | 1460 | 1231 | 1201 | 1941 | 1935 | 1700 | 1594 | 2356 | 2618 | 2091 | 2002 | 3838 | 4037 | 3160 | 2839
524 | 458 | 897 | 234 | 10023 | 7832 | 18392 | 10431 | 1596 | 1497 | 1229 | 1207 | 2010 | 1993 | 1745 | 1637 | 2324 | 2649 | 2068 | 1967 | 4019 | 4185 | 3355 | 3019
526 | 461 | 938 | 228 | 10218 | 7923 | 18792 | 10666 | 1711 | 1591 | 1286 | 1279 | 2120 | 2081 | 1835 | 1712 | 2375 | 2720 | 2094 | 1982 | 4318 | 4425 | 3602 | 3296
528 | 467 | 975 | 224 | 10268 | 8012 | 19170 | 10849 | 1805 | 1664 | 1353 | 1320 | 2195 | 2149 | 1922 | 1783 | 2406 | 2767 | 2123 | 2027 | 4620 | 4738 | 3857 | 3531
530 | 471 | 994 | 230 | 10307 | 7954 | 19513 | 11097 | 1888 | 1749 | 1407 | 1372 | 2322 | 2230 | 1984 | 1868 | 2460 | 2827 | 2140 | 2032 | 4976 | 4932 | 4204 | 3824
532 | 476 | 1019 | 228 | 10384 | 7990 | 19696 | 11199 | 1960 | 1826 | 1451 | 1413 | 2403 | 2341 | 2081 | 1919 | 2499 | 2868 | 2151 | 2054 | 5284 | 5248 | 4465 | 4118
534 | 475 | 1046 | 228 | 10362 | 7992 | 19737 | 11491 | 2054 | 1895 | 1512 | 1458 | 2499 | 2394 | 2164 | 1989 | 2541 | 2877 | 2192 | 2045 | 5581 | 5462 | 4744 | 4325
536 | 477 | 1077 | 226 | 10328 | 7982 | 19690 | 11566 | 2110 | 1950 | 1551 | 1516 | 2570 | 2486 | 2231 | 2062 | 2548 | 2907 | 2184 | 2053 | 5831 | 5717 | 5032 | 4602
538 | 481 | 1109 | 228 | 10315 | 7897 | 19771 | 11550 | 2181 | 2020 | 1575 | 1539 | 2640 | 2546 | 2272 | 2121 | 2576 | 2927 | 2187 | 2051 | 6093 | 5917 | 5285 | 4812
540 | 482 | 1122 | 230 | 10197 | 7877 | 19810 | 11659 | 2218 | 2034 | 1626 | 1591 | 2699 | 2585 | 2339 | 2154 | 2558 | 2957 | 2205 | 2058 | 6339 | 6104 | 5472 | 5068
542 | 483 | 1157 | 238 | 10162 | 7807 | 19794 | 11589 | 2266 | 2103 | 1664 | 1609 | 2768 | 2631 | 2362 | 2198 | 2586 | 2972 | 2209 | 2082 | 6590 | 6206 | 5619 | 5233
544 | 499 | 1191 | 239 | 10075 | 7712 | 19507 | 11570 | 2278 | 2115 | 1680 | 1634 | 2782 | 2664 | 2413 | 2230 | 2615 | 2988 | 2209 | 2050 | 6703 | 6309 | 5824 | 5378
546 | 494 | 1209 | 242 | 9908 | 7611 | 19524 | 11513 | 2310 | 2119 | 1688 | 1654 | 2815 | 2697 | 2406 | 2239 | 2619 | 2993 | 2204 | 2052 | 6832 | 6392 | 5928 | 5408
548 | 494 | 1235 | 242 | 9793 | 7509 | 19245 | 11367 | 2319 | 2115 | 1699 | 1656 | 2804 | 2668 | 2405 | 2221 | 2587 | 2988 | 2191 | 2036 | 6814 | 6423 | 5905 | 5478
550 | 501 | 1233 | 244 | 9569 | 7376 | 18881 | 11158 | 2279 | 2098 | 1700 | 1666 | 2788 | 2653 | 2383 | 2205 | 2585 | 2979 | 2150 | 2001 | 6735 | 6388 | 5894 | 5456
552 | 498 | 1254 | 251 | 9393 | 7250 | 18597 | 11084 | 2248 | 2087 | 1720 | 1671 | 2747 | 2620 | 2375 | 2196 | 2572 | 2926 | 2123 | 1994 | 6722 | 6338 | 5812 | 5375
554 | 514 | 1260 | 254 | 9255 | 7108 | 18338 | 10788 | 2229 | 2052 | 1718 | 1666 | 2724 | 2615 | 2339 | 2178 | 2528 | 2893 | 2116 | 1953 | 6690 | 6227 | 5735 | 5268
556 | 511 | 1276 | 255 | 9130 | 6982 | 17958 | 10530 | 2212 | 2031 | 1705 | 1686 | 2677 | 2540 | 2325 | 2152 | 2513 | 2853 | 2064 | 1909 | 6525 | 6152 | 5695 | 5226
558 | 512 | 1285 | 260 | 8931 | 6822 | 17525 | 10441 | 2173 | 2016 | 1698 | 1675 | 2639 | 2516 | 2290 | 2135 | 2464 | 2809 | 2034 | 1892 | 6400 | 6059 | 5480 | 5067
560 | 521 | 1276 | 262 | 8668 | 6638 | 17120 | 10104 | 2134 | 1991 | 1680 | 1658 | 2577 | 2485 | 2213 | 2093 | 2425 | 2734 | 2000 | 1863 | 6289 | 5883 | 5431 | 4941
562 | 522 | 1305 | 266 | 8524 | 6492 | 16844 | 9901 | 2119 | 1969 | 1687 | 1667 | 2554 | 2462 | 2210 | 2079 | 2400 | 2742 | 1962 | 1851 | 6188 | 5854 | 5298 | 4898
564 | 519 | 1295 | 266 | 8295 | 6370 | 16414 | 9611 | 2091 | 1945 | 1665 | 1634 | 2501 | 2384 | 2176 | 2049 | 2375 | 2720 | 1927 | 1811 | 6110 | 5733 | 5200 | 4736
566 | 517 | 1296 | 261 | 8066 | 6146 | 15905 | 9362 | 2070 | 1906 | 1664 | 1633 | 2442 | 2381 | 2136 | 2019 | 2330 | 2628 | 1901 | 1763 | 5905 | 5615 | 5044 | 4648
568 | 522 | 1284 | 255 | 7842 | 6013 | 15530 | 9077 | 2005 | 1859 | 1641 | 1612 | 2411 | 2330 | 2105 | 1977 | 2281 | 2615 | 1835 | 1727 | 5815 | 5507 | 4941 | 4545
570 | 516 | 1273 | 251 | 7618 | 5763 | 15041 | 8740 | 1972 | 1848 | 1614 | 1583 | 2362 | 2261 | 2052 | 1950 | 2253 | 2554 | 1787 | 1670 | 5627 | 5382 | 4855 | 4431
572 | 508 | 1267 | 254 | 7365 | 5572 | 14514 | 8492 | 1950 | 1801 | 1581 | 1565 | 2295 | 2246 | 2037 | 1895 | 2190 | 2504 | 1763 | 1648 | 5553 | 5278 | 4743 | 4341
574 | 508 | 1253 | 247 | 7091 | 5430 | 14045 | 8289 | 1885 | 1757 | 1563 | 1530 | 2243 | 2182 | 1980 | 1866 | 2140 | 2457 | 1718 | 1599 | 5461 | 5205 | 4636 | 4301
576 | 497 | 1241 | 235 | 6907 | 5268 | 13709 | 7971 | 1859 | 1717 | 1531 | 1518 | 2199 | 2153 | 1958 | 1837 | 2101 | 2395 | 1666 | 1569 | 5410 | 5136 | 4593 | 4234
578 | 486 | 1228 | 228 | 6683 | 5070 | 13315 | 7670 | 1824 | 1699 | 1492 | 1488 | 2179 | 2115 | 1934 | 1815 | 2074 | 2341 | 1621 | 1536 | 5317 | 5071 | 4520 | 4109
580 | 467 | 1201 | 216 | 6471 | 4928 | 12798 | 7429 | 1795 | 1646 | 1468 | 1468 | 2113 | 2058 | 1867 | 1786 | 2045 | 2305 | 1578 | 1499 | 5236 | 4973 | 4426 | 4059
582 | 456 | 1190 | 211 | 6221 | 4771 | 12405 | 7184 | 1728 | 1597 | 1436 | 1432 | 2071 | 2017 | 1834 | 1722 | 1992 | 2270 | 1550 | 1472 | 5205 | 4913 | 4361 | 4014
584 | 430 | 1162 | 198 | 6016 | 4617 | 12026 | 6947 | 1668 | 1553 | 1408 | 1400 | 2030 | 1959 | 1792 | 1672 | 1926 | 2188 | 1514 | 1420 | 5050 | 4782 | 4277 | 3879
586 | 423 | 1136 | 189 | 5869 | 4410 | 11627 | 6685 | 1622 | 1525 | 1379 | 1358 | 1985 | 1920 | 1750 | 1631 | 1902 | 2161 | 1480 | 1380 | 4984 | 4698 | 4208 | 3860
588 | 403 | 1110 | 179 | 5584 | 4265 | 11134 | 6443 | 1577 | 1457 | 1346 | 1337 | 1912 | 1874 | 1699 | 1599 | 1862 | 2091 | 1428 | 1337 | 4861 | 4602 | 4076 | 3730
590 | 388 | 1095 | 169 | 5379 | 4101 | 10735 | 6247 | 1535 | 1433 | 1303 | 1296 | 1879 | 1822 | 1644 | 1568 | 1810 | 2070 | 1400 | 1307 | 4731 | 4495 | 3998 | 3633
592 | 374 | 1068 | 157 | 5224 | 3950 | 10365 | 5959 | 1483 | 1395 | 1251 | 1267 | 1802 | 1767 | 1588 | 1488 | 1787 | 2010 | 1357 | 1263 | 4602 | 4406 | 3880 | 3531
594 | 353 | 1038 | 151 | 5058 | 3805 | 9972 | 5695 | 1444 | 1349 | 1233 | 1218 | 1755 | 1728 | 1540 | 1459 | 1749 | 1962 | 1325 | 1234 | 4480 | 4259 | 3803 | 3452
596 | 340 | 1000 | 142 | 4828 | 3643 | 9547 | 5496 | 1403 | 1294 | 1182 | 1183 | 1720 | 1675 | 1494 | 1410 | 1690 | 1907 | 1281 | 1202 | 4364 | 4142 | 3687 | 3351
598 | 327 | 972 | 135 | 4668 | 3506 | 9320 | 5312 | 1355 | 1252 | 1169 | 1152 | 1628 | 1623 | 1446 | 1376 | 1636 | 1880 | 1244 | 1163 | 4253 | 4054 | 3559 | 3251
600 | 302 | 939 | 127 | 4464 | 3373 | 8991 | 5063 | 1304 | 1223 | 1130 | 1126 | 1593 | 1573 | 1383 | 1324 | 1607 | 1815 | 1195 | 1132 | 4143 | 3912 | 3427 | 3152
602 | 288 | 926 | 116 | 4266 | 3189 | 8532 | 4862 | 1260 | 1178 | 1086 | 1089 | 1539 | 1518 | 1341 | 1274 | 1570 | 1758 | 1173 | 1087 | 3984 | 3787 | 3318 | 3047
604 | 281 | 901 | 109 | 4095 | 3069 | 8245 | 4707 | 1221 | 1146 | 1069 | 1058 | 1483 | 1481 | 1303 | 1239 | 1526 | 1704 | 1137 | 1061 | 3884 | 3699 | 3254 | 2946
606 | 272 | 864 | 106 | 3978 | 2982 | 7897 | 4460 | 1191 | 1113 | 1029 | 1047 | 1437 | 1425 | 1273 | 1196 | 1489 | 1667 | 1109 | 1027 | 3730 | 3555 | 3123 | 2824
608 | 259 | 846 | 100 | 3805 | 2875 | 7560 | 4284 | 1142 | 1068 | 1003 | 1007 | 1390 | 1381 | 1215 | 1165 | 1442 | 1622 | 1081 | 1002 | 3607 | 3420 | 2982 | 2739
610 | 251 | 821 | 100 | 3659 | 2730 | 7348 | 4144 | 1116 | 1042 | 976 | 978 | 1349 | 1351 | 1176 | 1124 | 1409 | 1583 | 1046 | 971 | 3501 | 3357 | 2910 | 2652
612 | 242 | 802 | 93 | 3500 | 2639 | 7033 | 3923 | 1070 | 1003 | 955 | 959 | 1301 | 1296 | 1142 | 1095 | 1379 | 1521 | 1012 | 950 | 3372 | 3229 | 2776 | 2552
614 | 227 | 783 | 91 | 3382 | 2528 | 6736 | 3772 | 1032 | 973 | 933 | 924 | 1266 | 1249 | 1115 | 1049 | 1340 | 1506 | 973 | 909 | 3254 | 3145 | 2702 | 2477
616 | 217 | 754 | 88 | 3219 | 2417 | 6456 | 3591 | 991 | 928 | 899 | 895 | 1218 | 1219 | 1063 | 1022 | 1305 | 1444 | 954 | 890 | 3140 | 3017 | 2599 | 2360
618 | 219 | 735 | 81 | 3071 | 2306 | 6211 | 3447 | 961 | 900 | 860 | 876 | 1186 | 1185 | 1028 | 991 | 1257 | 1416 | 915 | 862 | 3059 | 2922 | 2540 | 2295
620 | 207 | 714 | 80 | 2933 | 2187 | 5974 | 3293 | 932 | 870 | 836 | 846 | 1149 | 1136 | 1015 | 962 | 1210 | 1390 | 895 | 831 | 2914 | 2856 | 2417 | 2208
622 | 196 | 699 | 78 | 2831 | 2128 | 5674 | 3141 | 893 | 835 | 808 | 808 | 1107 | 1100 | 968 | 916 | 1177 | 1324 | 868 | 809 | 2848 | 2769 | 2352 | 2118
624 | 184 | 665 | 75 | 2745 | 2020 | 5459 | 3006 | 872 | 813 | 795 | 796 | 1073 | 1072 | 950 | 896 | 1156 | 1309 | 852 | 783 | 2756 | 2660 | 2263 | 2057
626 | 187 | 657 | 77 | 2594 | 1944 | 5231 | 2892 | 836 | 780 | 761 | 777 | 1028 | 1046 | 909 | 874 | 1129 | 1272 | 815 | 757 | 2677 | 2554 | 2172 | 2004
628 | 177 | 630 | 69 | 2497 | 1869 | 4998 | 2719 | 813 | 756 | 742 | 742 | 994 | 1011 | 873 | 838 | 1093 | 1217 | 795 | 747 | 2570 | 2472 | 2125 | 1910
630 | 171 | 608 | 68 | 2370 | 1778 | 4778 | 2633 | 780 | 733 | 718 | 722 | 964 | 964 | 845 | 803 | 1069 | 1196 | 768 | 703 | 2489 | 2423 | 2066 | 1858
632 | 167 | 598 | 66 | 2249 | 1700 | 4575 | 2490 | 754 | 707 | 694 | 698 | 930 | 944 | 820 | 788 | 1037 | 1157 | 744 | 691 | 2433 | 2343 | 1988 | 1794
634 | 161 | 578 | 61 | 2188 | 1625 | 4373 | 2405 | 735 | 692 | 670 | 680 | 907 | 899 | 794 | 758 | 997 | 1130 | 725 | 666 | 2330 | 2275 | 1926 | 1755
636 | 155 | 561 | 61 | 2087 | 1555 | 4174 | 2302 | 711 | 660 | 655 | 652 | 876 | 883 | 771 | 723 | 963 | 1098 | 715 | 651 | 2254 | 2212 | 1860 | 1690
638 | 149 | 542 | 57 | 1997 | 1501 | 4055 | 2182 | 687 | 642 | 635 | 631 | 852 | 861 | 734 | 707 | 953 | 1067 | 681 | 632 | 2180 | 2129 | 1798 | 1644
640 | 144 | 524 | 57 | 1907 | 1417 | 3896 | 2091 | 660 | 615 | 609 | 617 | 818 | 827 | 726 | 683 | 907 | 1023 | 653 | 616 | 2099 | 2067 | 1737 | 1559
End Time | 29.8 G4: 2025-07-07 11:49:18
Mode | G1: Absorbance
Name | G1: blue 1
Measurement wavelength [nm] | 29.8 G4: 640
Number of flashes | 29.8 G4: 10
Settle time [ms] | 29.8 G4: 50
Part of Plate | 29.8 G4: G1-G12;H1-H11
Start Time | 29.8 G4: 2025-07-07 11:49:23
Temperature [°C] | 29.8 G4: 29.8
<> | G1: 1; G2: 2; G3: 3; 29.8 G4: 4; 29.8 G5: 5; 29.8 G6: 6; 29.8 G7: 7; 29.8 G8: 8; 29.8 G9: 9; 29.8 G10: 10; 29.8 G11: 11; 29.8 G12: 12
A
B
C
D
E
F
G | G1: 0.0474; G2: 0.0982; G3: 0.0409; 29.8 G4: 0.0456; 29.8 G5: 0.0434; 29.8 G6: 0.0695; 29.8 G7: 0.0666; 29.8 G8: 0.0881; 29.8 G9: 0.0877; 29.8 G10: 0.0912; 29.8 G11: 0.0907; 29.8 G12: 0.1
H | G1: 0.1062; G2: 0.0955; G3: 0.0955; 29.8 G4: 0.0422; 29.8 G5: 0.042; 29.8 G6: 0.0428; 29.8 G7: 0.0428; 29.8 G8: 0.0447; 29.8 G9: 0.0466; 29.8 G10: 0.0445; 29.8 G11: 0.0441
End Time | 29.8 G4: 2025-07-07 11:49:31
Mode | G1: Absorbance
Name | G1: blue 2
Measurement wavelength [nm] | 29.8 G4: 640
Number of flashes | 29.8 G4: 10
Settle time [ms] | 29.8 G4: 50
Part of Plate | 29.8 G4: G1-G12;H1-H11
Start Time | 29.8 G4: 2025-07-07 11:49:34
Temperature [°C] | 29.8 G4: 29.9
<> | G1: 1; G2: 2; G3: 3; 29.8 G4: 4; 29.8 G5: 5; 29.8 G6: 6; 29.8 G7: 7; 29.8 G8: 8; 29.8 G9: 9; 29.8 G10: 10; 29.8 G11: 11; 29.8 G12: 12
A
B
C
D
E
F
G | G1: 0.0484; G2: 0.1029; G3: 0.0428; 29.8 G4: 0.0456; 29.8 G5: 0.0438; 29.8 G6: 0.0695; 29.8 G7: 0.0664; 29.8 G8: 0.0897; 29.8 G9: 0.0899; 29.8 G10: 0.0921; 29.8 G11: 0.0929; 29.8 G12: 0.1113
H | G1: 0.1115; G2: 0.0968; G3: 0.0987; 29.8 G4: 0.0421; 29.8 G5: 0.0418; 29.8 G6: 0.0427; 29.8 G7: 0.0426; 29.8 G8: 0.0447; 29.8 G9: 0.046; 29.8 G10: 0.0444; 29.8 G11: 0.044
End Time | 29.8 G4: 2025-07-07 11:49:41
Mode | G1: Absorbance
Name | G1: red 1
Measurement wavelength [nm] | 29.8 G4: 530
Number of flashes | 29.8 G4: 10
Settle time [ms] | 29.8 G4: 50
Part of Plate | 29.8 G4: G1-G12;H1-H11
Start Time | 29.8 G4: 2025-07-07 11:49:43
Temperature [°C] | 29.8 G4: 29.9
<> | G1: 1; G2: 2; G3: 3; 29.8 G4: 4; 29.8 G5: 5; 29.8 G6: 6; 29.8 G7: 7; 29.8 G8: 8; 29.8 G9: 9; 29.8 G10: 10; 29.8 G11: 11; 29.8 G12: 12
A
B
C
D
E
F
G | G1: 0.0538; G2: 0.1302; G3: 0.0436; 29.8 G4: 0.0527; 29.8 G5: 0.0492; 29.8 G6: 0.0878; 29.8 G7: 0.0919; 29.8 G8: 0.1108; 29.8 G9: 0.1108; 29.8 G10: 0.114; 29.8 G11: 0.1138; 29.8 G12: 0.1231
H | G1: 0.1223; G2: 0.1168; G3: 0.1172; 29.8 G4: 0.064; 29.8 G5: 0.0651; 29.8 G6: 0.0558; 29.8 G7: 0.0546; 29.8 G8: 0.1283; 29.8 G9: 0.11; 29.8 G10: 0.1189; 29.8 G11: 0.1195
End Time | 29.8 G4: 2025-07-07 11:49:51
Mode | G1: Absorbance
Name | G1: red 2
Measurement wavelength [nm] | 29.8 G4: 530
Number of flashes | 29.8 G4: 10
Settle time [ms] | 29.8 G4: 50
Part of Plate | 29.8 G4: G1-G12;H1-H11
Start Time | 29.8 G4: 2025-07-07 11:49:54
Temperature [°C] | 29.8 G4: 30
<> | G1: 1; G2: 2; G3: 3; 29.8 G4: 4; 29.8 G5: 5; 29.8 G6: 6; 29.8 G7: 7; 29.8 G8: 8; 29.8 G9: 9; 29.8 G10: 10; 29.8 G11: 11; 29.8 G12: 12
A
B
C
D
E
F
G | G1: 0.0525; G2: 0.1291; G3: 0.0482; 29.8 G4: 0.0528; 29.8 G5: 0.0492; 29.8 G6: 0.0881; 29.8 G7: 0.0918; 29.8 G8: 0.1109; 29.8 G9: 0.1119; 29.8 G10: 0.1138; 29.8 G11: 0.1132; 29.8 G12: 0.1225
H | G1: 0.1224; G2: 0.1186; G3: 0.1185; 29.8 G4: 0.0642; 29.8 G5: 0.0652; 29.8 G6: 0.0558; 29.8 G7: 0.0546; 29.8 G8: 0.1284; 29.8 G9: 0.1102; 29.8 G10: 0.1184; 29.8 G11: 0.1195
End Time | 29.8 G4: 2025-07-07 11:50:01
Ex | Blank | BlankB | BlankR | DOE 5.5 | DOE 5.5 | DOE 6.5 | DOE 6.5 | DOE 5.5 | DOE 5.5 | DOE 5.5 | DOE 5.5 | DOE 6.5 | DOE 6.5 | DOE 6.5 | DOE 6.5 | DOE 5.5 | DOE 5.5 | DOE 5.5 | DOE 5.5 | DOE 6.5 | DOE 6.5 | DOE 6.5 | DOE 6.5
Ex | Blank | BlankB | BlankR | f | f | f | f | b | b | b | b | b | b | b | b | r | r | r | r | r | r | r | r
Ex | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1