## Result sheet
Method name: LS_241112_Fluorescence_Actino_Sample (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1708008206
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦PODI:V1.10.2
Date: |  |  |  | 2025-07-06
Time: |  |  |  | 11:00
System |  |  |  | IBVT171
User |  |  |  | IBVT171\Tecan
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Wait
Shaking
Wait
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Label 1
| Absorbance |  |  |  |  | blue 1
| Absorbance |  |  |  |  | blue 2
| Absorbance |  |  |  |  | red 1
| Absorbance |  |  |  |  | red 2
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | G2-G12;H1-H12
Start Time |  |  |  | 2025-07-06 10:37:59
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 30
Wait minimum [°C] |  |  |  | 29
Wait maximum [°C] |  |  |  | 31
End Time |  |  |  | 2025-07-06 10:37:59
Start Time |  |  |  | 2025-07-06 10:37:59
Shaking (Linear) Duration [s] |  |  |  | 7
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-07-06 10:38:06
Start Time |  |  |  | 2025-07-06 10:38:06
Wait (Time) hh:mm:ss |  |  |  | 00:05:01
Wait position |  |  |  | Current
End Time |  |  |  | 2025-07-06 10:43:07
Start Time |  |  |  | 2025-07-06 10:43:07
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-07-06 10:43:17
Start Time |  |  |  | 2025-07-06 10:43:17
Wait (Time) hh:mm:ss |  |  |  | 00:00:10
Wait position |  |  |  | Current
End Time |  |  |  | 2025-07-06 10:43:27
Mode | Fluorescence Intensity Scan Top Reading
Name | Label 1
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | G2-G12;H1-H12
Start Time |  |  |  | 2025-07-06 10:43:27
Temperature [°C] |  |  |  | 29.9
Wavel. | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
520 | 2093 | 2366 | 2395 | 29975 | 30358 | 36576 | 38560 | 3409 | 3300 | 3186 | 3162 | 3528 | 3168 | 3517 | 3240 | 9557 | 9448 | 9014 | 8973 | 13781 | 13509 | 14081 | 14254
522 | 503 | 778 | 310 | 30079 | 30318 | 36148 | 38074 | 2284 | 2133 | 1863 | 1806 | 2116 | 1893 | 2097 | 1893 | 7364 | 7922 | 7255 | 7282 | 11683 | 11775 | 12311 | 12733
524 | 458 | 751 | 242 | 31022 | 31044 | 36533 | 38449 | 2391 | 2197 | 1882 | 1849 | 2195 | 1937 | 2178 | 1964 | 7659 | 8153 | 7471 | 7569 | 11732 | 11786 | 12473 | 12735
526 | 464 | 773 | 241 | 32205 | 31797 | 36955 | 38978 | 2498 | 2325 | 1992 | 1920 | 2305 | 2043 | 2292 | 2070 | 7943 | 8585 | 7732 | 7853 | 11751 | 11940 | 12417 | 12780
528 | 462 | 797 | 242 | 32830 | 32844 | 36994 | 39321 | 2651 | 2435 | 2051 | 1975 | 2407 | 2135 | 2399 | 2168 | 8342 | 8928 | 7981 | 8061 | 11803 | 11833 | 12415 | 12811
530 | 464 | 822 | 244 | 33728 | 33231 | 36993 | 39350 | 2787 | 2522 | 2138 | 2038 | 2524 | 2250 | 2513 | 2262 | 8648 | 9283 | 8243 | 8401 | 11661 | 11814 | 12464 | 12954
532 | 472 | 841 | 238 | 34379 | 33782 | 37078 | 39104 | 2917 | 2664 | 2175 | 2114 | 2645 | 2345 | 2623 | 2371 | 9004 | 9592 | 8553 | 8635 | 11654 | 11754 | 12419 | 12827
534 | 471 | 867 | 243 | 35010 | 34192 | 36981 | 38972 | 3022 | 2721 | 2232 | 2164 | 2733 | 2405 | 2703 | 2432 | 9303 | 10002 | 8822 | 8870 | 11594 | 11686 | 12352 | 12879
536 | 467 | 881 | 247 | 35259 | 34497 | 36302 | 38664 | 3117 | 2816 | 2305 | 2202 | 2817 | 2487 | 2783 | 2502 | 9696 | 10274 | 9062 | 9133 | 11507 | 11605 | 12362 | 12825
538 | 480 | 906 | 247 | 35382 | 34475 | 35781 | 38245 | 3239 | 2872 | 2345 | 2237 | 2866 | 2570 | 2840 | 2559 | 9890 | 10474 | 9221 | 9348 | 11369 | 11470 | 12286 | 12824
540 | 483 | 926 | 247 | 35673 | 34748 | 35511 | 38124 | 3290 | 2959 | 2363 | 2258 | 2915 | 2618 | 2908 | 2602 | 10164 | 10919 | 9589 | 9656 | 11243 | 11385 | 12255 | 12720
542 | 486 | 951 | 254 | 36102 | 34840 | 35066 | 37649 | 3335 | 2961 | 2399 | 2301 | 2957 | 2644 | 2939 | 2642 | 10535 | 11202 | 9750 | 9970 | 11198 | 11245 | 12103 | 12792
544 | 496 | 957 | 252 | 36013 | 34800 | 34540 | 36785 | 3375 | 3034 | 2447 | 2312 | 2991 | 2682 | 2992 | 2683 | 10678 | 11422 | 9923 | 10150 | 11150 | 11203 | 12080 | 12677
546 | 495 | 970 | 258 | 36032 | 34676 | 33856 | 36386 | 3402 | 3047 | 2434 | 2356 | 3035 | 2691 | 3001 | 2699 | 10967 | 11749 | 10180 | 10313 | 10938 | 11052 | 11964 | 12524
548 | 499 | 977 | 259 | 35622 | 34705 | 32911 | 35391 | 3375 | 3023 | 2439 | 2332 | 2991 | 2681 | 3000 | 2677 | 11119 | 11816 | 10266 | 10467 | 10797 | 10902 | 11788 | 12294
550 | 498 | 983 | 265 | 35322 | 34140 | 32017 | 34196 | 3355 | 3008 | 2444 | 2326 | 2980 | 2667 | 2955 | 2688 | 11156 | 11938 | 10361 | 10481 | 10497 | 10660 | 11557 | 12127
552 | 502 | 1005 | 265 | 34992 | 33692 | 31440 | 33526 | 3323 | 3006 | 2416 | 2325 | 2953 | 2659 | 2982 | 2657 | 11261 | 12038 | 10449 | 10579 | 10349 | 10426 | 11361 | 12000
554 | 509 | 1015 | 268 | 34689 | 33280 | 30092 | 32479 | 3267 | 2940 | 2407 | 2301 | 2915 | 2622 | 2897 | 2635 | 11301 | 12051 | 10495 | 10670 | 10030 | 10185 | 11078 | 11744
556 | 501 | 1026 | 267 | 34007 | 32804 | 29288 | 31656 | 3206 | 2891 | 2405 | 2298 | 2866 | 2592 | 2863 | 2614 | 11205 | 12104 | 10502 | 10635 | 9816 | 9949 | 10905 | 11538
558 | 510 | 1033 | 275 | 33225 | 32065 | 28273 | 30394 | 3149 | 2867 | 2393 | 2280 | 2850 | 2552 | 2810 | 2581 | 11268 | 11999 | 10442 | 10632 | 9581 | 9692 | 10685 | 11172
560 | 523 | 1036 | 279 | 32688 | 31648 | 27511 | 29321 | 3094 | 2828 | 2383 | 2272 | 2820 | 2537 | 2798 | 2529 | 11196 | 11994 | 10425 | 10559 | 9370 | 9481 | 10341 | 10946
562 | 526 | 1054 | 283 | 32246 | 31040 | 26637 | 28543 | 3065 | 2771 | 2346 | 2246 | 2778 | 2492 | 2766 | 2515 | 11055 | 11875 | 10399 | 10519 | 9201 | 9299 | 10205 | 10779
564 | 516 | 1047 | 284 | 31703 | 30423 | 25749 | 27672 | 2966 | 2732 | 2309 | 2235 | 2715 | 2447 | 2702 | 2452 | 11025 | 11813 | 10278 | 10412 | 8921 | 9012 | 9918 | 10522
566 | 516 | 1055 | 276 | 30627 | 29725 | 24613 | 26306 | 2917 | 2676 | 2291 | 2189 | 2656 | 2400 | 2657 | 2399 | 10822 | 11618 | 10039 | 10225 | 8620 | 8700 | 9702 | 10189
568 | 511 | 1041 | 275 | 29845 | 28768 | 23648 | 25416 | 2857 | 2623 | 2245 | 2156 | 2624 | 2364 | 2594 | 2348 | 10625 | 11408 | 9887 | 9999 | 8412 | 8496 | 9451 | 9969
570 | 513 | 1027 | 269 | 28806 | 28097 | 22679 | 24165 | 2805 | 2574 | 2225 | 2141 | 2557 | 2299 | 2536 | 2328 | 10460 | 11175 | 9687 | 9880 | 8106 | 8265 | 9157 | 9613
572 | 502 | 1022 | 263 | 28116 | 27040 | 21912 | 23552 | 2755 | 2483 | 2213 | 2089 | 2491 | 2254 | 2483 | 2287 | 10232 | 10896 | 9446 | 9626 | 7883 | 7983 | 8853 | 9387
574 | 499 | 1004 | 262 | 27060 | 26206 | 20864 | 22472 | 2684 | 2478 | 2165 | 2067 | 2442 | 2210 | 2441 | 2214 | 10007 | 10618 | 9232 | 9427 | 7674 | 7732 | 8631 | 9087
576 | 492 | 1010 | 250 | 26431 | 25452 | 19917 | 21506 | 2619 | 2413 | 2110 | 2023 | 2389 | 2171 | 2383 | 2191 | 9687 | 10421 | 8999 | 9154 | 7421 | 7529 | 8382 | 8826
578 | 481 | 981 | 241 | 25415 | 24686 | 19268 | 20602 | 2589 | 2358 | 2072 | 2013 | 2347 | 2118 | 2312 | 2129 | 9507 | 10167 | 8720 | 8885 | 7258 | 7280 | 8091 | 8564
580 | 471 | 974 | 235 | 24580 | 23827 | 18333 | 19670 | 2521 | 2291 | 2021 | 1960 | 2249 | 2079 | 2266 | 2063 | 9217 | 9813 | 8517 | 8587 | 6986 | 7052 | 7887 | 8247
582 | 455 | 952 | 227 | 23770 | 23035 | 17531 | 18858 | 2447 | 2245 | 1985 | 1922 | 2212 | 2023 | 2201 | 2008 | 8935 | 9539 | 8278 | 8321 | 6813 | 6889 | 7610 | 8021
584 | 441 | 932 | 211 | 22841 | 22183 | 16925 | 18033 | 2381 | 2194 | 1949 | 1877 | 2137 | 1969 | 2157 | 1942 | 8716 | 9284 | 7979 | 8045 | 6524 | 6630 | 7323 | 7804
586 | 422 | 913 | 202 | 22192 | 21482 | 16137 | 17346 | 2358 | 2142 | 1923 | 1822 | 2082 | 1909 | 2093 | 1917 | 8452 | 9068 | 7743 | 7844 | 6347 | 6452 | 7151 | 7588
588 | 403 | 882 | 191 | 21299 | 21010 | 15376 | 16510 | 2278 | 2080 | 1859 | 1793 | 2019 | 1838 | 2028 | 1856 | 8185 | 8754 | 7422 | 7615 | 6145 | 6240 | 6910 | 7316
590 | 392 | 866 | 174 | 20407 | 20042 | 14895 | 15834 | 2203 | 2024 | 1811 | 1737 | 1970 | 1794 | 1976 | 1797 | 7938 | 8463 | 7244 | 7398 | 5966 | 6011 | 6728 | 7090
592 | 377 | 832 | 166 | 19883 | 19421 | 14073 | 15161 | 2155 | 1999 | 1775 | 1694 | 1913 | 1735 | 1900 | 1741 | 7657 | 8239 | 6989 | 7102 | 5726 | 5851 | 6465 | 6876
594 | 356 | 813 | 163 | 19043 | 18866 | 13532 | 14483 | 2105 | 1920 | 1736 | 1662 | 1833 | 1684 | 1845 | 1690 | 7483 | 7965 | 6823 | 6827 | 5590 | 5677 | 6280 | 6648
596 | 343 | 787 | 152 | 18340 | 18011 | 12951 | 13826 | 2043 | 1861 | 1695 | 1616 | 1789 | 1636 | 1765 | 1638 | 7194 | 7683 | 6499 | 6695 | 5389 | 5450 | 6080 | 6369
598 | 323 | 766 | 139 | 17848 | 17602 | 12445 | 13209 | 1985 | 1816 | 1659 | 1577 | 1734 | 1578 | 1713 | 1569 | 6976 | 7436 | 6265 | 6423 | 5207 | 5255 | 5847 | 6165
600 | 304 | 740 | 135 | 17094 | 16736 | 11676 | 12540 | 1919 | 1758 | 1592 | 1522 | 1695 | 1527 | 1670 | 1521 | 6737 | 7182 | 6102 | 6199 | 5030 | 5063 | 5665 | 5971
602 | 289 | 714 | 126 | 16467 | 16165 | 11217 | 11996 | 1878 | 1692 | 1565 | 1495 | 1616 | 1464 | 1616 | 1472 | 6414 | 6871 | 5891 | 5999 | 4773 | 4924 | 5437 | 5797
604 | 277 | 695 | 123 | 15941 | 15634 | 10746 | 11486 | 1817 | 1665 | 1517 | 1473 | 1569 | 1448 | 1572 | 1425 | 6273 | 6751 | 5670 | 5801 | 4676 | 4726 | 5278 | 5549
606 | 268 | 677 | 113 | 15406 | 15059 | 10262 | 10996 | 1761 | 1621 | 1469 | 1413 | 1507 | 1397 | 1517 | 1399 | 6070 | 6419 | 5502 | 5585 | 4477 | 4558 | 5077 | 5390
608 | 263 | 655 | 107 | 14715 | 14666 | 9858 | 10480 | 1711 | 1573 | 1456 | 1377 | 1484 | 1344 | 1462 | 1351 | 5863 | 6209 | 5344 | 5418 | 4362 | 4394 | 4930 | 5120
610 | 243 | 634 | 104 | 14290 | 13974 | 9455 | 10055 | 1676 | 1543 | 1401 | 1354 | 1439 | 1308 | 1429 | 1318 | 5666 | 6040 | 5133 | 5209 | 4160 | 4268 | 4763 | 5020
612 | 238 | 612 | 101 | 13681 | 13420 | 8961 | 9677 | 1636 | 1487 | 1383 | 1305 | 1379 | 1273 | 1378 | 1270 | 5479 | 5852 | 4917 | 5050 | 4049 | 4133 | 4560 | 4867
614 | 232 | 596 | 96 | 13274 | 13009 | 8486 | 9212 | 1594 | 1449 | 1337 | 1277 | 1337 | 1218 | 1336 | 1233 | 5262 | 5656 | 4800 | 4869 | 3901 | 3923 | 4428 | 4687
616 | 218 | 573 | 94 | 12691 | 12413 | 8071 | 8745 | 1538 | 1403 | 1298 | 1239 | 1291 | 1174 | 1273 | 1193 | 5058 | 5425 | 4603 | 4643 | 3741 | 3834 | 4251 | 4480
618 | 216 | 555 | 89 | 12182 | 12038 | 7770 | 8296 | 1490 | 1378 | 1262 | 1198 | 1239 | 1149 | 1247 | 1140 | 4849 | 5230 | 4422 | 4492 | 3606 | 3684 | 4091 | 4331
620 | 209 | 545 | 88 | 11723 | 11427 | 7381 | 7842 | 1444 | 1308 | 1235 | 1170 | 1220 | 1111 | 1211 | 1114 | 4718 | 5021 | 4233 | 4347 | 3493 | 3530 | 3934 | 4179
622 | 200 | 531 | 83 | 11210 | 10994 | 6983 | 7552 | 1405 | 1287 | 1187 | 1146 | 1166 | 1055 | 1166 | 1066 | 4497 | 4808 | 4113 | 4134 | 3324 | 3388 | 3823 | 4046
624 | 192 | 511 | 79 | 10698 | 10590 | 6679 | 7165 | 1366 | 1240 | 1162 | 1091 | 1120 | 1031 | 1121 | 1027 | 4358 | 4674 | 3926 | 4018 | 3213 | 3276 | 3650 | 3823
626 | 188 | 492 | 77 | 10379 | 10163 | 6416 | 6821 | 1302 | 1189 | 1116 | 1083 | 1072 | 1007 | 1097 | 1002 | 4221 | 4463 | 3815 | 3893 | 3110 | 3142 | 3537 | 3709
628 | 180 | 481 | 74 | 9884 | 9751 | 6025 | 6509 | 1280 | 1149 | 1091 | 1026 | 1047 | 969 | 1060 | 957 | 4056 | 4325 | 3659 | 3723 | 3017 | 3038 | 3412 | 3601
630 | 171 | 463 | 77 | 9444 | 9253 | 5749 | 6236 | 1222 | 1121 | 1052 | 997 | 1010 | 928 | 1007 | 944 | 3870 | 4131 | 3477 | 3578 | 2877 | 2921 | 3242 | 3430
632 | 162 | 447 | 70 | 9066 | 8932 | 5547 | 5882 | 1187 | 1078 | 1023 | 957 | 964 | 891 | 970 | 901 | 3730 | 3964 | 3344 | 3429 | 2758 | 2814 | 3132 | 3305
634 | 156 | 438 | 69 | 8702 | 8614 | 5312 | 5651 | 1151 | 1042 | 990 | 937 | 945 | 860 | 950 | 875 | 3574 | 3791 | 3200 | 3305 | 2666 | 2740 | 3020 | 3186
636 | 154 | 424 | 64 | 8363 | 8200 | 5054 | 5371 | 1117 | 1018 | 963 | 916 | 900 | 833 | 918 | 835 | 3422 | 3669 | 3126 | 3176 | 2601 | 2620 | 2916 | 3038
638 | 149 | 405 | 61 | 8021 | 7876 | 4817 | 5140 | 1062 | 989 | 917 | 875 | 870 | 804 | 894 | 802 | 3322 | 3547 | 3014 | 3032 | 2465 | 2510 | 2807 | 2925
640 | 144 | 405 | 62 | 7742 | 7633 | 4600 | 4907 | 1036 | 940 | 890 | 849 | 828 | 771 | 844 | 779 | 3190 | 3366 | 2861 | 2911 | 2382 | 2397 | 2664 | 2800
End Time | 29.9 G5: 2025-07-06 10:59:57
Mode | G2: Absorbance
Name | G2: blue 1
Measurement wavelength [nm] | 29.9 G5: 640
Number of flashes | 29.9 G5: 10
Settle time [ms] | 29.9 G5: 50
Part of Plate | 29.9 G5: G2-G12;H1-H12
Start Time | 29.9 G5: 2025-07-06 11:00:01
Temperature [°C] | 29.9 G5: 29.8
<> | G2: 1; G3: 2; G4: 3; 29.9 G5: 4; 29.9 G6: 5; 29.9 G7: 6; 29.9 G8: 7; 29.9 G9: 8; 29.9 G10: 9; 29.9 G11: 10; 29.9 G12: 11; 29.9 H1: 12
A
B
C
D
E
F
G | G3: 0.0427; G4: 0.0916; 29.9 G5: 0.0408; 29.9 G6: 0.057; 29.9 G7: 0.0669; 29.9 G8: 0.082; 29.9 G9: 0.0495; 29.9 G10: 0.0929; 29.9 G11: 0.0935; 29.9 G12: 0.0927; 29.9 H1: 0.0912
H | G2: 0.088; G3: 0.0927; G4: 0.0915; 29.9 G5: 0.0915; 29.9 G6: 0.0466; 29.9 G7: 0.0436; 29.9 G8: 0.0435; 29.9 G9: 0.0438; 29.9 G10: 0.0447; 29.9 G11: 0.0443; 29.9 G12: 0.0449; 29.9 H1: 0.0457
End Time | 29.9 G5: 2025-07-06 11:00:09
Mode | G2: Absorbance
Name | G2: blue 2
Measurement wavelength [nm] | 29.9 G5: 640
Number of flashes | 29.9 G5: 10
Settle time [ms] | 29.9 G5: 50
Part of Plate | 29.9 G5: G2-G12;H1-H12
Start Time | 29.9 G5: 2025-07-06 11:00:12
Temperature [°C] | 29.9 G5: 29.9
<> | G2: 1; G3: 2; G4: 3; 29.9 G5: 4; 29.9 G6: 5; 29.9 G7: 6; 29.9 G8: 7; 29.9 G9: 8; 29.9 G10: 9; 29.9 G11: 10; 29.9 G12: 11; 29.9 H1: 12
A
B
C
D
E
F
G | G3: 0.0421; G4: 0.0968; 29.9 G5: 0.0413; 29.9 G6: 0.0574; 29.9 G7: 0.0673; 29.9 G8: 0.0818; 29.9 G9: 0.0485; 29.9 G10: 0.0976; 29.9 G11: 0.0987; 29.9 G12: 0.0953; 29.9 H1: 0.0954
H | G2: 0.088; G3: 0.0932; G4: 0.0914; 29.9 G5: 0.0907; 29.9 G6: 0.0465; 29.9 G7: 0.0435; 29.9 G8: 0.0434; 29.9 G9: 0.0438; 29.9 G10: 0.0449; 29.9 G11: 0.0444; 29.9 G12: 0.0449; 29.9 H1: 0.0457
End Time | 29.9 G5: 2025-07-06 11:00:20
Mode | G2: Absorbance
Name | G2: red 1
Measurement wavelength [nm] | 29.9 G5: 530
Number of flashes | 29.9 G5: 10
Settle time [ms] | 29.9 G5: 50
Part of Plate | 29.9 G5: G2-G12;H1-H12
Start Time | 29.9 G5: 2025-07-06 11:00:23
Temperature [°C] | 29.9 G5: 29.9
<> | G2: 1; G3: 2; G4: 3; 29.9 G5: 4; 29.9 G6: 5; 29.9 G7: 6; 29.9 G8: 7; 29.9 G9: 8; 29.9 G10: 9; 29.9 G11: 10; 29.9 G12: 11; 29.9 H1: 12
A
B
C
D
E
F
G | G3: 0.0444; G4: 0.1204; 29.9 G5: 0.0434; 29.9 G6: 0.0756; 29.9 G7: 0.0822; 29.9 G8: 0.0961; 29.9 G9: 0.0609; 29.9 G10: 0.1177; 29.9 G11: 0.1169; 29.9 G12: 0.1168; 29.9 H1: 0.1139
H | G2: 0.1107; G3: 0.1156; G4: 0.1144; 29.9 G5: 0.1134; 29.9 G6: 0.0912; 29.9 G7: 0.0891; 29.9 G8: 0.0741; 29.9 G9: 0.0737; 29.9 G10: 0.0791; 29.9 G11: 0.0794; 29.9 G12: 0.0752; 29.9 H1: 0.0815
End Time | 29.9 G5: 2025-07-06 11:00:30
Mode | G2: Absorbance
Name | G2: red 2
Measurement wavelength [nm] | 29.9 G5: 530
Number of flashes | 29.9 G5: 10
Settle time [ms] | 29.9 G5: 50
Part of Plate | 29.9 G5: G2-G12;H1-H12
Start Time | 29.9 G5: 2025-07-06 11:00:33
Temperature [°C] | 29.9 G5: 29.9
<> | G2: 1; G3: 2; G4: 3; 29.9 G5: 4; 29.9 G6: 5; 29.9 G7: 6; 29.9 G8: 7; 29.9 G9: 8; 29.9 G10: 9; 29.9 G11: 10; 29.9 G12: 11; 29.9 H1: 12
A
B
C
D
E
F
G | G3: 0.0452; G4: 0.1186; 29.9 G5: 0.0437; 29.9 G6: 0.0755; 29.9 G7: 0.0827; 29.9 G8: 0.0962; 29.9 G9: 0.0608; 29.9 G10: 0.116; 29.9 G11: 0.116; 29.9 G12: 0.1164; 29.9 H1: 0.1145
H | G2: 0.1104; G3: 0.1155; G4: 0.1147; 29.9 G5: 0.1134; 29.9 G6: 0.0911; 29.9 G7: 0.0889; 29.9 G8: 0.074; 29.9 G9: 0.0738; 29.9 G10: 0.0789; 29.9 G11: 0.0795; 29.9 G12: 0.0752; 29.9 H1: 0.0816
End Time | 29.9 G5: 2025-07-06 11:00:40
Ex | Blank | BlankB | BlankR | DOE 7.3 | DOE 7.3 | DOE 8.3 | DOE 8.3 | DOE 7.3 | DOE 7.3 | DOE 7.3 | DOE 7.3 | DOE 8.3 | DOE 8.3 | DOE 8.3 | DOE 8.3 | DOE 7.3 | DOE 7.3 | DOE 7.3 | DOE 7.3 | DOE 8.3 | DOE 8.3 | DOE 8.3 | DOE 8.3
Ex | Blank | BlankB | BlankR | f | f | f | f | b | b | b | b | b | b | b | b | r | r | r | r | r | r | r | r
Ex | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1