## Result sheet
Method name: LS_241112_Fluorescence_Actino_Sample (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1708008206
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦PODI:V1.10.2
Date: |  |  |  | 2025-07-08
Time: |  |  |  | 12:10
System |  |  |  | IBVT171
User |  |  |  | IBVT171\Tecan
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Wait
Shaking
Wait
| Fluorescence Intensity Scan Top Reading |  |  |  |  | Label 1
| Absorbance |  |  |  |  | blue 1
| Absorbance |  |  |  |  | blue 2
| Absorbance |  |  |  |  | red 1
| Absorbance |  |  |  |  | red 2
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | A1-A12;B1-B11
Start Time |  |  |  | 2025-07-08 11:47:26
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 30
Wait minimum [°C] |  |  |  | 29
Wait maximum [°C] |  |  |  | 31
End Time |  |  |  | 2025-07-08 11:47:26
Start Time |  |  |  | 2025-07-08 11:47:26
Shaking (Linear) Duration [s] |  |  |  | 7
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-07-08 11:47:33
Start Time |  |  |  | 2025-07-08 11:47:33
Wait (Time) hh:mm:ss |  |  |  | 00:05:01
Wait position |  |  |  | Current
End Time |  |  |  | 2025-07-08 11:52:35
Start Time |  |  |  | 2025-07-08 11:52:35
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2025-07-08 11:52:45
Start Time |  |  |  | 2025-07-08 11:52:45
Wait (Time) hh:mm:ss |  |  |  | 00:00:10
Wait position |  |  |  | Current
End Time |  |  |  | 2025-07-08 11:52:55
Mode | Fluorescence Intensity Scan Top Reading
Name | Label 1
Scan selection |  |  |  | Emission Scan
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 483
Excitation bandwidth [nm] |  |  |  | 20
Emission wavelength start [nm] |  |  |  | 520
Emission wavelength end [nm] |  |  |  | 640
Emission wavelength step size [nm] |  |  |  | 2
Emission scan number |  |  |  | 61
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-A12;B1-B11
Start Time |  |  |  | 2025-07-08 11:52:55
Temperature [°C] |  |  |  | 29.9
Wavel. | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11
520 | 2291 | 3352 | 2963 | 38738 | 38097 | 31467 | 30868 | 5785 | 5973 | 5220 | 5300 | 5746 | 4813 | 5079 | 5022 | 10254 | 10162 | 9735 | 9754 | 8679 | 8933 | 8775 | 8613
522 | 545 | 867 | 333 | 38691 | 37785 | 31312 | 29444 | 4587 | 4547 | 3769 | 3463 | 3947 | 3186 | 3792 | 3570 | 8621 | 9206 | 8181 | 8637 | 6965 | 7239 | 6938 | 7237
524 | 487 | 817 | 249 | 39688 | 38909 | 31956 | 29994 | 4845 | 4783 | 3952 | 3641 | 4184 | 3343 | 4004 | 3813 | 9195 | 9771 | 8724 | 9215 | 7245 | 7529 | 7235 | 7555
526 | 479 | 837 | 239 | 40411 | 39876 | 32436 | 30559 | 5182 | 5122 | 4178 | 3840 | 4514 | 3561 | 4309 | 4092 | 10056 | 10689 | 9404 | 9948 | 7639 | 8031 | 7625 | 8037
528 | 486 | 857 | 241 | 40648 | 40447 | 32809 | 30916 | 5580 | 5470 | 4423 | 4053 | 4857 | 3772 | 4566 | 4326 | 10651 | 11522 | 10042 | 10599 | 7993 | 8433 | 7941 | 8521
530 | 492 | 903 | 239 | 41450 | 40758 | 33362 | 31235 | 5968 | 5834 | 4723 | 4273 | 5236 | 3981 | 4889 | 4671 | 11561 | 12644 | 10915 | 11455 | 8389 | 8987 | 8433 | 8936
532 | 491 | 924 | 238 | 41622 | 41409 | 33410 | 31283 | 6363 | 6184 | 4926 | 4542 | 5561 | 4221 | 5205 | 4912 | 12549 | 13624 | 11654 | 12203 | 8920 | 9510 | 8875 | 9468
534 | 494 | 948 | 239 | 41757 | 41675 | 33779 | 31542 | 6648 | 6417 | 5207 | 4669 | 5885 | 4448 | 5438 | 5209 | 13286 | 14674 | 12363 | 13011 | 9312 | 9933 | 9261 | 9955
536 | 502 | 981 | 244 | 42002 | 41826 | 33808 | 31438 | 6942 | 6728 | 5314 | 4862 | 6195 | 4618 | 5714 | 5383 | 14102 | 15557 | 13175 | 13779 | 9750 | 10369 | 9675 | 10391
538 | 501 | 993 | 242 | 41763 | 41612 | 33550 | 31214 | 7167 | 6956 | 5568 | 4970 | 6481 | 4737 | 5899 | 5599 | 14880 | 16483 | 13892 | 14516 | 10133 | 10748 | 10051 | 10880
540 | 508 | 1022 | 242 | 41875 | 41542 | 33543 | 31032 | 7360 | 7149 | 5726 | 5098 | 6670 | 4871 | 6062 | 5786 | 15578 | 17532 | 14499 | 15434 | 10497 | 11246 | 10422 | 11341
542 | 506 | 1057 | 246 | 41926 | 41806 | 33367 | 31321 | 7519 | 7312 | 5802 | 5205 | 6837 | 5041 | 6250 | 5927 | 16380 | 18221 | 15127 | 15891 | 10749 | 11489 | 10733 | 11616
544 | 513 | 1065 | 251 | 41771 | 41688 | 33157 | 31116 | 7605 | 7301 | 5873 | 5252 | 7031 | 5076 | 6317 | 5997 | 16945 | 18936 | 15609 | 16571 | 11074 | 11956 | 11004 | 11950
546 | 513 | 1079 | 253 | 41465 | 41215 | 32855 | 30710 | 7556 | 7259 | 5881 | 5281 | 6989 | 5137 | 6335 | 6050 | 17335 | 19649 | 16146 | 16981 | 11250 | 12162 | 11269 | 12242
548 | 518 | 1108 | 256 | 40970 | 40630 | 32389 | 30513 | 7530 | 7327 | 5836 | 5270 | 7003 | 5136 | 6375 | 6021 | 17619 | 19901 | 16367 | 17415 | 11258 | 12280 | 11171 | 12366
550 | 524 | 1104 | 257 | 40463 | 40201 | 31892 | 29973 | 7363 | 7094 | 5745 | 5205 | 6948 | 5068 | 6313 | 5965 | 17797 | 19998 | 16608 | 17417 | 11393 | 12249 | 11355 | 12358
552 | 518 | 1127 | 264 | 40085 | 39675 | 31680 | 29371 | 7147 | 6899 | 5681 | 5069 | 6828 | 4991 | 6194 | 5896 | 17913 | 20270 | 16695 | 17572 | 11402 | 12289 | 11364 | 12357
554 | 521 | 1136 | 271 | 39494 | 38672 | 30869 | 28686 | 6849 | 6700 | 5544 | 4994 | 6682 | 4949 | 6113 | 5751 | 17942 | 20171 | 16710 | 17511 | 11365 | 12133 | 11315 | 12358
556 | 528 | 1138 | 268 | 38696 | 38302 | 30260 | 28248 | 6642 | 6507 | 5399 | 4863 | 6478 | 4782 | 5964 | 5600 | 17965 | 19964 | 16668 | 17667 | 11323 | 12204 | 11257 | 12225
558 | 526 | 1152 | 269 | 37692 | 37776 | 29528 | 27690 | 6372 | 6193 | 5290 | 4673 | 6308 | 4661 | 5787 | 5445 | 17840 | 20019 | 16559 | 17551 | 11262 | 12061 | 11186 | 12215
560 | 522 | 1148 | 275 | 37291 | 37074 | 28921 | 27210 | 6032 | 5906 | 5104 | 4550 | 6106 | 4572 | 5629 | 5299 | 17696 | 19867 | 16470 | 17335 | 11259 | 12038 | 11227 | 12033
562 | 537 | 1167 | 273 | 36470 | 36302 | 28574 | 26578 | 5851 | 5723 | 4930 | 4384 | 5951 | 4458 | 5466 | 5173 | 17428 | 19803 | 16288 | 17215 | 11137 | 11902 | 11155 | 12007
564 | 529 | 1154 | 274 | 35376 | 35290 | 27773 | 25771 | 5533 | 5463 | 4803 | 4255 | 5690 | 4317 | 5327 | 4986 | 17353 | 19514 | 16190 | 17241 | 11104 | 11828 | 11084 | 11946
566 | 538 | 1155 | 271 | 34737 | 34258 | 26901 | 25037 | 5261 | 5139 | 4601 | 4100 | 5477 | 4214 | 5135 | 4841 | 17073 | 19202 | 15967 | 16979 | 11078 | 11789 | 10952 | 11882
568 | 529 | 1166 | 268 | 33762 | 33499 | 26167 | 24375 | 5040 | 4940 | 4457 | 3970 | 5323 | 4072 | 4990 | 4697 | 16935 | 19110 | 15788 | 16708 | 10986 | 11781 | 10968 | 11886
570 | 526 | 1155 | 269 | 32768 | 32452 | 25430 | 23620 | 4790 | 4723 | 4287 | 3800 | 5160 | 3940 | 4870 | 4559 | 16783 | 18852 | 15443 | 16434 | 10932 | 11650 | 10926 | 11755
572 | 523 | 1143 | 257 | 31552 | 31504 | 24431 | 22932 | 4586 | 4521 | 4141 | 3693 | 4979 | 3851 | 4669 | 4440 | 16640 | 18668 | 15348 | 16325 | 10860 | 11627 | 10938 | 11707
574 | 510 | 1120 | 250 | 31054 | 30367 | 23736 | 22387 | 4371 | 4304 | 4004 | 3544 | 4814 | 3727 | 4557 | 4276 | 16461 | 18451 | 15033 | 16126 | 10946 | 11608 | 10862 | 11840
576 | 506 | 1112 | 248 | 29770 | 29794 | 23015 | 21633 | 4225 | 4187 | 3913 | 3453 | 4680 | 3639 | 4438 | 4123 | 16300 | 18098 | 14933 | 15975 | 10811 | 11602 | 10802 | 11775
578 | 500 | 1107 | 241 | 28942 | 28634 | 22502 | 20808 | 4056 | 3978 | 3726 | 3358 | 4551 | 3527 | 4289 | 4059 | 16148 | 17983 | 14829 | 15722 | 10891 | 11597 | 10886 | 11817
580 | 478 | 1080 | 227 | 28106 | 27404 | 21536 | 20238 | 3902 | 3826 | 3614 | 3239 | 4397 | 3417 | 4123 | 3913 | 15870 | 17728 | 14515 | 15661 | 10983 | 11624 | 10899 | 11801
582 | 466 | 1079 | 217 | 27213 | 26686 | 21160 | 19675 | 3721 | 3673 | 3511 | 3106 | 4284 | 3357 | 4044 | 3794 | 15682 | 17521 | 14316 | 15313 | 10831 | 11629 | 10754 | 11765
584 | 443 | 1042 | 210 | 26285 | 25636 | 20320 | 18931 | 3620 | 3549 | 3428 | 3029 | 4113 | 3233 | 3901 | 3681 | 15418 | 17227 | 14130 | 14996 | 10851 | 11558 | 10805 | 11776
586 | 436 | 1015 | 201 | 25537 | 24971 | 19751 | 18342 | 3507 | 3401 | 3309 | 2909 | 4007 | 3149 | 3800 | 3580 | 15316 | 16898 | 13916 | 14627 | 10727 | 11494 | 10728 | 11749
588 | 425 | 1009 | 181 | 24471 | 24117 | 18997 | 17770 | 3326 | 3316 | 3174 | 2825 | 3869 | 3073 | 3670 | 3453 | 15040 | 16689 | 13616 | 14469 | 10788 | 11380 | 10697 | 11599
590 | 403 | 995 | 177 | 23868 | 23340 | 18502 | 17312 | 3234 | 3174 | 3088 | 2756 | 3773 | 2992 | 3561 | 3377 | 14748 | 16261 | 13456 | 14198 | 10741 | 11291 | 10633 | 11605
592 | 385 | 971 | 171 | 22733 | 22338 | 17961 | 16668 | 3105 | 3033 | 2957 | 2646 | 3634 | 2872 | 3442 | 3261 | 14385 | 15886 | 13018 | 13925 | 10574 | 11210 | 10476 | 11419
594 | 372 | 956 | 159 | 22156 | 21536 | 17318 | 16187 | 2949 | 2965 | 2876 | 2531 | 3519 | 2768 | 3347 | 3146 | 13943 | 15423 | 12684 | 13522 | 10432 | 11001 | 10390 | 11340
596 | 353 | 916 | 150 | 21335 | 20720 | 16720 | 15585 | 2842 | 2819 | 2781 | 2449 | 3390 | 2699 | 3211 | 3030 | 13676 | 15101 | 12409 | 13160 | 10301 | 10856 | 10323 | 11197
598 | 335 | 897 | 142 | 20482 | 20190 | 16003 | 15015 | 2740 | 2694 | 2710 | 2369 | 3265 | 2616 | 3110 | 2943 | 13343 | 14695 | 12117 | 12893 | 10094 | 10697 | 10087 | 11046
600 | 325 | 869 | 133 | 19709 | 19212 | 15507 | 14554 | 2613 | 2624 | 2593 | 2264 | 3113 | 2527 | 2990 | 2816 | 12916 | 14227 | 11652 | 12518 | 9930 | 10540 | 9839 | 10858
602 | 305 | 846 | 126 | 18945 | 18561 | 15052 | 14027 | 2479 | 2536 | 2501 | 2174 | 3000 | 2420 | 2871 | 2735 | 12538 | 13800 | 11284 | 12068 | 9729 | 10298 | 9631 | 10617
604 | 293 | 827 | 120 | 18390 | 17898 | 14460 | 13503 | 2387 | 2425 | 2415 | 2111 | 2916 | 2339 | 2782 | 2633 | 12117 | 13354 | 11010 | 11731 | 9521 | 10078 | 9501 | 10417
606 | 283 | 808 | 114 | 17772 | 17354 | 14007 | 13083 | 2281 | 2340 | 2329 | 2034 | 2805 | 2262 | 2683 | 2536 | 11825 | 13076 | 10718 | 11360 | 9313 | 9880 | 9334 | 10162
608 | 275 | 775 | 108 | 17063 | 16620 | 13559 | 12605 | 2181 | 2226 | 2231 | 1962 | 2696 | 2173 | 2570 | 2442 | 11426 | 12605 | 10405 | 11003 | 9231 | 9673 | 9114 | 9932
610 | 267 | 769 | 108 | 16522 | 16157 | 13062 | 12298 | 2103 | 2147 | 2168 | 1905 | 2610 | 2120 | 2458 | 2343 | 11120 | 12205 | 10050 | 10810 | 8988 | 9508 | 8969 | 9734
612 | 254 | 742 | 97 | 15982 | 15591 | 12693 | 11803 | 2015 | 2062 | 2081 | 1833 | 2500 | 2064 | 2398 | 2257 | 10842 | 11764 | 9782 | 10389 | 8825 | 9352 | 8712 | 9521
614 | 246 | 736 | 96 | 15322 | 14860 | 12103 | 11447 | 1929 | 1968 | 1979 | 1759 | 2417 | 1968 | 2304 | 2197 | 10552 | 11467 | 9472 | 10031 | 8571 | 9029 | 8581 | 9250
616 | 238 | 706 | 93 | 14803 | 14428 | 11714 | 10914 | 1847 | 1885 | 1931 | 1704 | 2309 | 1903 | 2212 | 2124 | 10196 | 11105 | 9098 | 9814 | 8325 | 8882 | 8367 | 9065
618 | 233 | 677 | 87 | 14181 | 13650 | 11336 | 10500 | 1751 | 1838 | 1864 | 1628 | 2236 | 1835 | 2144 | 2052 | 9829 | 10717 | 8912 | 9492 | 8207 | 8672 | 8173 | 8866
620 | 220 | 673 | 86 | 13727 | 13252 | 10867 | 10064 | 1702 | 1751 | 1775 | 1574 | 2147 | 1757 | 2056 | 1965 | 9512 | 10452 | 8653 | 9192 | 7984 | 8391 | 7990 | 8747
622 | 210 | 641 | 80 | 13141 | 12829 | 10488 | 9779 | 1622 | 1687 | 1711 | 1514 | 2065 | 1716 | 1972 | 1886 | 9265 | 10069 | 8364 | 8883 | 7834 | 8259 | 7820 | 8528
624 | 206 | 624 | 80 | 12624 | 12266 | 10101 | 9388 | 1567 | 1620 | 1665 | 1453 | 1989 | 1660 | 1899 | 1813 | 8989 | 9800 | 8050 | 8604 | 7667 | 8072 | 7746 | 8379
626 | 198 | 617 | 79 | 12232 | 11774 | 9744 | 9103 | 1475 | 1561 | 1586 | 1406 | 1901 | 1592 | 1841 | 1770 | 8724 | 9418 | 7892 | 8369 | 7535 | 7936 | 7514 | 8168
628 | 192 | 596 | 75 | 11735 | 11383 | 9333 | 8735 | 1450 | 1499 | 1554 | 1347 | 1881 | 1543 | 1766 | 1699 | 8460 | 9258 | 7577 | 8092 | 7332 | 7705 | 7295 | 7989
630 | 181 | 573 | 70 | 11193 | 10842 | 9093 | 8388 | 1386 | 1456 | 1483 | 1319 | 1795 | 1502 | 1715 | 1636 | 8203 | 8873 | 7408 | 7808 | 7161 | 7484 | 7094 | 7811
632 | 177 | 552 | 72 | 10764 | 10415 | 8693 | 8015 | 1346 | 1402 | 1422 | 1268 | 1731 | 1446 | 1649 | 1582 | 8000 | 8612 | 7185 | 7571 | 7032 | 7325 | 6990 | 7664
634 | 170 | 551 | 68 | 10321 | 9945 | 8344 | 7683 | 1296 | 1337 | 1390 | 1235 | 1682 | 1381 | 1594 | 1538 | 7654 | 8338 | 6906 | 7260 | 6906 | 7200 | 6873 | 7406
636 | 168 | 526 | 65 | 9837 | 9584 | 8051 | 7472 | 1263 | 1295 | 1338 | 1178 | 1620 | 1356 | 1520 | 1481 | 7494 | 8127 | 6730 | 7097 | 6677 | 7006 | 6671 | 7260
638 | 156 | 510 | 62 | 9474 | 9185 | 7735 | 7145 | 1212 | 1269 | 1309 | 1164 | 1569 | 1305 | 1483 | 1418 | 7219 | 7864 | 6483 | 6946 | 6522 | 6871 | 6502 | 7007
640 | 157 | 486 | 60 | 9123 | 8887 | 7547 | 6964 | 1193 | 1235 | 1267 | 1117 | 1529 | 1250 | 1432 | 1401 | 6899 | 7623 | 6229 | 6694 | 6282 | 6672 | 6282 | 6909
End Time | 29.9 A4: 2025-07-08 12:09:25
Mode | A1: Absorbance
Name | A1: blue 1
Measurement wavelength [nm] | 29.9 A4: 640
Number of flashes | 29.9 A4: 10
Settle time [ms] | 29.9 A4: 50
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-07-08 12:09:30
Temperature [°C] | 29.9 A4: 29.9
<> | A1: 1; A2: 2; A3: 3; 29.9 A4: 4; 29.9 A5: 5; 29.9 A6: 6; 29.9 A7: 7; 29.9 A8: 8; 29.9 A9: 9; 29.9 A10: 10; 29.9 A11: 11; 29.9 A12: 12
A | A1: 0.0418; A2: 0.0873; A3: 0.0407; 29.9 A4: 0.0553; 29.9 A5: 0.0544; 29.9 A6: 0.0751; 29.9 A7: 0.0734; 29.9 A8: 0.7225; 29.9 A9: 0.5755; 29.9 A10: 0.3605; 29.9 A11: 0.3691; 29.9 A12: 0.1698
B | A1: 0.1628; A2: 0.1623; A3: 0.1673; 29.9 A4: 0.0504; 29.9 A5: 0.0517; 29.9 A6: 0.0508; 29.9 A7: 0.0493; 29.9 A8: 0.051; 29.9 A9: 0.0512; 29.9 A10: 0.051; 29.9 A11: 0.0522
C
D
E
F
G
H
End Time | 29.9 A4: 2025-07-08 12:09:38
Mode | A1: Absorbance
Name | A1: blue 2
Measurement wavelength [nm] | 29.9 A4: 640
Number of flashes | 29.9 A4: 10
Settle time [ms] | 29.9 A4: 50
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-07-08 12:09:41
Temperature [°C] | 29.9 A4: 29.9
<> | A1: 1; A2: 2; A3: 3; 29.9 A4: 4; 29.9 A5: 5; 29.9 A6: 6; 29.9 A7: 7; 29.9 A8: 8; 29.9 A9: 9; 29.9 A10: 10; 29.9 A11: 11; 29.9 A12: 12
A | A1: 0.042; A2: 0.0913; A3: 0.0407; 29.9 A4: 0.0553; 29.9 A5: 0.0546; 29.9 A6: 0.0753; 29.9 A7: 0.0731; 29.9 A8: 0.783; 29.9 A9: 0.6215; 29.9 A10: 0.4105; 29.9 A11: 0.4076; 29.9 A12: 0.2063
B | A1: 0.1892; A2: 0.1859; A3: 0.1919; 29.9 A4: 0.0503; 29.9 A5: 0.0515; 29.9 A6: 0.0506; 29.9 A7: 0.0492; 29.9 A8: 0.0509; 29.9 A9: 0.0509; 29.9 A10: 0.0509; 29.9 A11: 0.0523
C
D
E
F
G
H
End Time | 29.9 A4: 2025-07-08 12:09:49
Mode | A1: Absorbance
Name | A1: red 1
Measurement wavelength [nm] | 29.9 A4: 530
Number of flashes | 29.9 A4: 10
Settle time [ms] | 29.9 A4: 50
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-07-08 12:09:52
Temperature [°C] | 29.9 A4: 29.9
<> | A1: 1; A2: 2; A3: 3; 29.9 A4: 4; 29.9 A5: 5; 29.9 A6: 6; 29.9 A7: 7; 29.9 A8: 8; 29.9 A9: 9; 29.9 A10: 10; 29.9 A11: 11; 29.9 A12: 12
A | A1: 0.0446; A2: 0.1136; A3: 0.0433; 29.9 A4: 0.1074; 29.9 A5: 0.1002; 29.9 A6: 0.1405; 29.9 A7: 0.1366; 29.9 A8: 0.3782; 29.9 A9: 0.3135; 29.9 A10: 0.2377; 29.9 A11: 0.2313; 29.9 A12: 0.1681
B | A1: 0.1545; A2: 0.1513; A3: 0.1561; 29.9 A4: 0.3052; 29.9 A5: 0.3408; 29.9 A6: 0.2771; 29.9 A7: 0.2818; 29.9 A8: 0.24; 29.9 A9: 0.257; 29.9 A10: 0.2505; 29.9 A11: 0.2709
C
D
E
F
G
H
End Time | 29.9 A4: 2025-07-08 12:09:59
Mode | A1: Absorbance
Name | A1: red 2
Measurement wavelength [nm] | 29.9 A4: 530
Number of flashes | 29.9 A4: 10
Settle time [ms] | 29.9 A4: 50
Part of Plate | 29.9 A4: A1-A12;B1-B11
Start Time | 29.9 A4: 2025-07-08 12:10:02
Temperature [°C] | 29.9 A4: 29.9
<> | A1: 1; A2: 2; A3: 3; 29.9 A4: 4; 29.9 A5: 5; 29.9 A6: 6; 29.9 A7: 7; 29.9 A8: 8; 29.9 A9: 9; 29.9 A10: 10; 29.9 A11: 11; 29.9 A12: 12
A | A1: 0.0451; A2: 0.1137; A3: 0.0435; 29.9 A4: 0.1072; 29.9 A5: 0.1002; 29.9 A6: 0.1401; 29.9 A7: 0.1368; 29.9 A8: 0.382; 29.9 A9: 0.3147; 29.9 A10: 0.2374; 29.9 A11: 0.2319; 29.9 A12: 0.1684
B | A1: 0.155; A2: 0.1527; A3: 0.1563; 29.9 A4: 0.3049; 29.9 A5: 0.3402; 29.9 A6: 0.2768; 29.9 A7: 0.2818; 29.9 A8: 0.2402; 29.9 A9: 0.2574; 29.9 A10: 0.2505; 29.9 A11: 0.2708
C
D
E
F
G
H
End Time | 29.9 A4: 2025-07-08 12:10:09
Ex | Blank | BlankB | BlankR | DOE 7.5 | DOE 7.5 | DOE 8.5 | DOE 8.5 | DOE 7.5 | DOE 7.5 | DOE 7.5 | DOE 7.5 | DOE 8.5 | DOE 8.5 | DOE 8.5 | DOE 8.5 | DOE 7.5 | DOE 7.5 | DOE 7.5 | DOE 7.5 | DOE 8.5 | DOE 8.5 | DOE 8.5 | DOE 8.5
Ex | Blank | BlankB | BlankR | f | f | f | f | b | b | b | b | b | b | b | b | r | r | r | r | r | r | r | r
Ex | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1